## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-01 00:00:00 | 4.476 | 50.28 | 5.448 | 60.76 | 6.086 | 57.1752 | 6.137 | 56.96 | 23.82 | 969.21 | 20.8012 | 9.88
2020-06-01 00:15:00 | 4.596 | 56.78 | 5.785 | 75.07 | 5.62 | 70.6409 | 5.516 | 55.12 | 24.11 | 968.765 | 19.9826 | 6.9057
2020-06-01 00:30:00 | 4.04 | 54.02 | 5.294 | 70.09 | 5.236 | 65.9547 | 5.271 | 55.57 | 24.15 | 968.616 | 19.9144 | 6.6138
2020-06-01 00:45:00 | 3.445 | 48.94 | 4.747 | 64.07 | 5.442 | 60.2899 | 5.404 | 51.12 | 24.16 | 968.765 | 20.528 | 7.0313
2020-06-01 01:00:00 | 4.494 | 58.31 | 4.642 | 72.96 | 3.619 | 68.6554 | 3.585 | 64.08 | 24.29 | 968.32 | 21.142 | 6.115
2020-06-01 01:15:00 | 3.825 | 70.91 | 3.461 | 88.9 | 2.919 | 83.6549 | 2.783 | 69.58 | 24.43 | 968.765 | 21.1415 | 10.183
2020-06-01 01:30:00 | 4.29 | 74.31 | 3.87 | 86.3 | 3.601 | 81.2083 | 3.483 | 72.48 | 24.35 | 968.32 | 20.4591 | 12.0711
2020-06-01 01:45:00 | 3.376 | 85.7 | 4.584 | 100.2 | 3.53 | 94.2882 | 3.407 | 89.7 | 23.94 | 968.616 | 20.8676 | 12.9837
2020-06-01 02:00:00 | 3.164 | 87.2 | 4.336 | 104.5 | 3.954 | 98.3345 | 3.972 | 93.1 | 24.65 | 968.616 | 19.5043 | 15.171
2020-06-01 02:15:00 | 3.986 | 86.8 | 5.898 | 105.6 | 3.55 | 99.3696 | 3.394 | 87.5 | 24.11 | 968.172 | 22.0262 | 15.8767
2020-06-01 02:30:00 | 4.563 | 86.1 | 5.76 | 101.6 | 3.161 | 95.6056 | 3.068 | 87.9 | 24.15 | 968.023 | 21.412 | 17.3214
2020-06-01 02:45:00 | 4.785 | 88.3 | 6.194 | 104 | 5.46 | 97.864 | 5.523 | 94.6 | 24.6 | 968.172 | 21.0706 | 17.3325
2020-06-01 03:00:00 | 4.461 | 85.3 | 5.555 | 101 | 4.168 | 95.041 | 4.107 | 89.9 | 24.28 | 968.172 | 21.3433 | 18.6035
2020-06-01 03:15:00 | 4.543 | 84.4 | 5.798 | 99.8 | 4.333 | 93.9118 | 4.324 | 89 | 24.03 | 968.172 | 19.5704 | 21.1789
2020-06-01 03:30:00 | 4.198 | 84.1 | 5.801 | 99.1 | 3.565 | 93.2531 | 3.356 | 87.3 | 23.89 | 967.875 | 19.2636 | 21.9732
2020-06-01 03:45:00 | 5.16 | 90 | 7 | 108.3 | 4.878 | 101.91 | 4.522 | 92.6 | 24.15 | 968.172 | 17.8668 | 24.9402
2020-06-01 04:00:00 | 4.244 | 107.6 | 4.555 | 129.8 | 4.188 | 122.142 | 4.202 | 111.2 | 23.95 | 968.468 | 18.4114 | 28.4318
2020-06-01 04:15:00 | 3.595 | 104.1 | 4.456 | 120.4 | 4.934 | 113.296 | 4.996 | 110.6 | 23.69 | 968.172 | 19.1275 | 30.3421
2020-06-01 04:30:00 | 4.754 | 100 | 5.537 | 115.7 | 5.872 | 108.874 | 6.071 | 108.2 | 23.87 | 968.32 | 19.2304 | 27.9921
2020-06-01 04:45:00 | 5.017 | 100.4 | 6.217 | 113 | 6.203 | 106.333 | 6.529 | 106.6 | 23.83 | 968.023 | 18.4808 | 29.1486
2020-06-01 05:00:00 | 5.628 | 99.5 | 6.69 | 112.8 | 6.77 | 106.145 | 7.036 | 106.9 | 23.82 | 968.468 | 18.617 | 31.9235
2020-06-01 05:15:00 | 5.25 | 108.5 | 6.522 | 124.5 | 7.309 | 117.154 | 7.662 | 110.2 | 23.44 | 968.32 | 22.0949 | 43.2371
2020-06-01 05:30:00 | 5.926 | 103.7 | 6.386 | 122.8 | 6.706 | 115.555 | 7.044 | 111.3 | 22.86 | 968.023 | 21.1418 | 48.6537
2020-06-01 05:45:00 | 6.654 | 100.3 | 8.45 | 117.3 | 9.15 | 110.379 | 9.58 | 107 | 23.32 | 968.023 | 24.3474 | 52.5333
2020-06-01 06:00:00 | 7.665 | 100.3 | 9.43 | 114.7 | 10.1 | 107.933 | 10.51 | 105.7 | 22.84 | 968.172 | 28.6434 | 47.2497
2020-06-01 06:15:00 | 6.91 | 106.5 | 7.593 | 125.7 | 8.16 | 118.284 | 8.53 | 113 | 22.59 | 968.468 | 35.9411 | 64.2289
2020-06-01 06:30:00 | 7.474 | 103.6 | 8.76 | 118.9 | 9.62 | 111.885 | 9.94 | 109.7 | 22.45 | 968.023 | 32.8718 | 53.8154
2020-06-01 06:45:00 | 8.34 | 115.1 | 9.12 | 133.5 | 10.26 | 125.623 | 10.55 | 117.3 | 22.54 | 968.765 | 34.3727 | 58.1347
2020-06-01 07:00:00 | 7.762 | 131.8 | 8.22 | 149.6 | 8.14 | 140.774 | 7.999 | 134.1 | 22.31 | 968.616 | 36.1454 | 52.6109
2020-06-01 07:15:00 | 7.195 | 128.4 | 7.511 | 147.7 | 7.571 | 138.986 | 7.619 | 136.1 | 22.05 | 968.913 | 39.6906 | 44.0869
2020-06-01 07:30:00 | 8.09 | 132.3 | 8.36 | 147.3 | 8.87 | 138.609 | 8.75 | 138.4 | 21.28 | 968.616 | 42.1421 | 46.5514
2020-06-01 07:45:00 | 8.11 | 119.7 | 8.41 | 137.3 | 8.65 | 129.199 | 8.62 | 123.6 | 21.51 | 968.32 | 37.4361 | 49.8057
2020-06-01 08:00:00 | 7.767 | 128.9 | 8 | 145.4 | 7.703 | 136.821 | 7.594 | 133.5 | 22.95 | 968.616 | 34.5038 | 56.1099
2020-06-01 08:15:00 | 6.738 | 114.9 | 7.649 | 132 | 7.983 | 124.212 | 8.19 | 122.7 | 22.88 | 968.765 | 40.567 | 68.665
2020-06-01 08:30:00 | 6.618 | 116.1 | 7.151 | 140.1 | 7.332 | 131.834 | 7.474 | 122.7 | 22.34 | 968.467 | 43.7703 | 70.848
2020-06-01 08:45:00 | 10.31 | 133.5 | 10.38 | 154.6 | 9.68 | 145.479 | 9.62 | 135.9 | 22.22 | 968.172 | 46.9746 | 65.432
2020-06-01 09:00:00 | 9.74 | 121.8 | 10.26 | 138.2 | 10.78 | 130.046 | 10.9 | 127.2 | 21.53 | 968.023 | 52.1614 | 31.2104
2020-06-01 09:15:00 | 5.847 | 137.7 | 6.12 | 154.3 | 6.343 | 145.196 | 6.384 | 141.5 | 20.32 | 967.133 | 54.5259 | 52.9624
2020-06-01 09:30:00 | 9.6 | 121.7 | 10.65 | 135.4 | 9.84 | 127.411 | 9.53 | 132.2 | 19.64 | 967.276 | 59.8222 | 51.1551
2020-06-01 09:45:00 | 8.31 | 132.3 | 9.28 | 146.6 | 9.55 | 137.951 | 9.43 | 139.7 | 17.36 | 965.696 | 58.468 | 67.838
2020-06-01 10:00:00 | 10.65 | 132.1 | 10.81 | 146.6 | 11.03 | 137.951 | 10.84 | 139.5 | 20.55 | 967.339 | 48.8487 | 59.2247
2020-06-01 10:15:00 | 10.2 | 124 | 10.58 | 136.2 | 10.3 | 128.164 | 10.2 | 131.4 | 21.5 | 968.173 | 48.8408 | 65.6205
2020-06-01 10:30:00 | 7.913 | 127.1 | 8.57 | 139.6 | 9.4 | 131.364 | 9.38 | 136 | 22.12 | 968.056 | 44.024 | 60.9576
2020-06-01 10:45:00 | 9.2 | 134.2 | 9.2 | 153.4 | 9.35 | 144.349 | 9.44 | 140.8 | 23.36 | 968.172 | 44.8682 | 62.1021
2020-06-01 11:00:00 | 10.25 | 136.3 | 10.18 | 151.7 | 10.78 | 142.75 | 10.7 | 142.1 | 22.95 | 968.172 | 50.5542 | 70.3979
2020-06-01 11:15:00 | 10.48 | 132.1 | 10.27 | 150.4 | 10.38 | 141.526 | 10.25 | 137.6 | 23.15 | 967.875 | 46.3269 | 70.9817
2020-06-01 11:30:00 | 11.35 | 136.7 | 11.46 | 151.7 | 11.13 | 142.75 | 11.05 | 141.5 | 23.6 | 968.319 | 46.7688 | 76.7891
2020-06-01 11:45:00 | 11.08 | 133 | 10.98 | 152 | 10.77 | 143.032 | 10.59 | 139.3 | 23.97 | 968.089 | 45.9789 | 75.1199
2020-06-01 12:00:00 | 11.24 | 140.8 | 11.42 | 160.8 | 10.71 | 151.313 | 10.48 | 143.9 | 24.83 | 967.56 | 44.0014 | 79.3525
2020-06-01 12:15:00 | 12.38 | 143 | 12.64 | 160.1 | 12.21 | 150.654 | 11.97 | 147.4 | 24.9 | 967.441 | 43.865 | 76.2912
2020-06-01 12:30:00 | 12.24 | 135.1 | 12.69 | 153.4 | 12.36 | 144.349 | 12.12 | 140 | 24.52 | 967.168 | 45.6033 | 73.2725
2020-06-01 12:45:00 | 11.64 | 136.9 | 12.02 | 153.9 | 11.67 | 144.82 | 11.56 | 141.2 | 24.64 | 967.335 | 46.5576 | 74.1445
2020-06-01 13:00:00 | 12.12 | 131 | 12.45 | 145.3 | 12.12 | 136.727 | 11.94 | 137.6 | 24.86 | 967.059 | 45.8078 | 81.8229
2020-06-01 13:15:00 | 12.36 | 136 | 12.21 | 152.2 | 11.93 | 143.22 | 11.85 | 142.8 | 25.47 | 966.768 | 45.0239 | 79.4119
2020-06-01 13:30:00 | 9.87 | 135.2 | 9.89 | 154.4 | 9.83 | 145.29 | 9.7 | 140.9 | 26.4 | 966.546 | 43.1493 | 80.204
2020-06-01 13:45:00 | 12.15 | 143.2 | 12.45 | 159.5 | 12.05 | 150.089 | 11.79 | 149.1 | 26.49 | 966.839 | 43.5924 | 81.8852
2020-06-01 14:00:00 | 9.53 | 133 | 9.87 | 150.8 | 10.21 | 141.903 | 10.13 | 139.1 | 26.86 | 966.542 | 43.2175 | 81.5305
2020-06-01 14:15:00 | 11.25 | 147.3 | 11.44 | 163.1 | 11.16 | 153.477 | 10.93 | 153 | 27.01 | 966.542 | 43.0437 | 77.1099
2020-06-01 14:30:00 | 12.66 | 142.4 | 13.03 | 159.8 | 12.89 | 150.372 | 12.67 | 147.8 | 27.16 | 966.097 | 43.5235 | 81.4713
2020-06-01 14:45:00 | 11.65 | 143.6 | 11.87 | 163.5 | 11.34 | 153.854 | 11.21 | 148.9 | 27.72 | 965.478 | 43.1457 | 85.5837
2020-06-01 15:00:00 | 12.52 | 142.3 | 13.03 | 159 | 12.7 | 149.619 | 12.42 | 147.6 | 27.87 | 964.788 | 44.9778 | 82.1881
2020-06-01 15:15:00 | 12.11 | 149.2 | 12.41 | 165.9 | 12.34 | 156.112 | 12.23 | 155.4 | 28.2 | 964.913 | 47.0869 | 75.7924
2020-06-01 15:30:00 | 11.16 | 145.3 | 10.96 | 162.1 | 10.68 | 152.536 | 10.57 | 152.2 | 28.64 | 964.765 | 47.0188 | 76.2858
2020-06-01 15:45:00 | 13.27 | 148.7 | 13.46 | 164.3 | 13.12 | 154.606 | 12.95 | 155.3 | 28.68 | 963.283 | 48.109 | 79.4475
2020-06-01 16:00:00 | 11.08 | 148.2 | 10.84 | 166.9 | 10.64 | 157.053 | 10.68 | 153.9 | 29.05 | 964.172 | 47.7002 | 80.5107
2020-06-01 16:15:00 | 11.31 | 149.6 | 10.93 | 170 | 11.04 | 159.97 | 10.96 | 155.5 | 29.02 | 963.135 | 48.4498 | 78.8722
2020-06-01 16:30:00 | 13.84 | 150 | 13.76 | 165 | 13.64 | 155.265 | 13.37 | 154.9 | 28.94 | 961.801 | 49.4038 | 83.1804
2020-06-01 16:45:00 | 14.59 | 145.4 | 15.14 | 161.5 | 15.16 | 151.971 | 14.92 | 150.4 | 28.79 | 960.467 | 49.5746 | 82.9419
2020-06-01 17:00:00 | 13.19 | 159.4 | 13.39 | 173.4 | 13.12 | 163.169 | 13.05 | 165.5 | 28.78 | 963.084 | 50.1313 | 47.6894
2020-06-01 17:15:00 | 11.28 | 8.44 | 13.54 | 27.93 | 12.23 | 26.2821 | 12.2 | 7.723 | 19.97 | 962.387 | 97.9522 | 12.6717
2020-06-01 17:30:00 | 5.163 | 27.23 | 7.861 | 45.29 | 8.02 | 42.6179 | 7.966 | 32.38 | 18.81 | 961.619 | 82.9706 | 34.3604
2020-06-01 17:45:00 | 5.794 | 63.11 | 6.069 | 79.06 | 5.552 | 74.3955 | 5.702 | 67.18 | 21.06 | 961.497 | 73.44 | 40.6269
2020-06-01 18:00:00 | 6.812 | 57.46 | 7.22 | 71.75 | 6.427 | 67.5167 | 6.353 | 63.61 | 22.12 | 961.497 | 68.131 | 27.279
2020-06-01 18:15:00 | 6.082 | 77.44 | 5.496 | 82.2 | 7.434 | 77.3502 | 7.744 | 94.8 | 22.39 | 961.348 | 64.6886 | 31.0958
2020-06-01 18:30:00 | 7.423 | 96.9 | 7.785 | 105.1 | 9.01 | 98.8991 | 9.32 | 111.9 | 23.16 | 961.348 | 60.3576 | 52.1104
2020-06-01 18:45:00 | 9.17 | 121.2 | 10.49 | 133.4 | 12.47 | 125.529 | 12.57 | 128 | 25.87 | 961.645 | 56.7 | 54.1287
2020-06-01 19:00:00 | 11.2 | 125.9 | 11.79 | 140.2 | 11.98 | 131.928 | 12 | 133 | 26.67 | 961.645 | 55.4345 | 72.4366
2020-06-01 19:15:00 | 11.15 | 123.6 | 11.96 | 138.3 | 12.73 | 130.14 | 12.75 | 129.8 | 26.15 | 961.793 | 56.1446 | 82.0736
2020-06-01 19:30:00 | 10.95 | 124.7 | 11.48 | 144 | 11.89 | 135.504 | 11.98 | 128.8 | 26.17 | 961.793 | 55.7014 | 84.4531
2020-06-01 19:45:00 | 10.48 | 124.4 | 10.82 | 141.8 | 11.95 | 133.434 | 12.13 | 128.6 | 25.83 | 961.346 | 54.8833 | 88.728
2020-06-01 20:00:00 | 11.68 | 127.7 | 12.1 | 143 | 12.53 | 134.563 | 12.5 | 132.7 | 24.89 | 961.497 | 58.9058 | 88.7095
2020-06-01 20:15:00 | 11.86 | 126.4 | 12.38 | 142.5 | 13.21 | 134.092 | 13.2 | 132 | 24.04 | 961.348 | 62.4169 | 88.2514
2020-06-01 20:30:00 | 12.92 | 128.8 | 13.57 | 146.4 | 14.2 | 137.762 | 14.17 | 132.6 | 23.6 | 960.903 | 64.4365 | 89.9436
2020-06-01 20:45:00 | 13.46 | 132.8 | 13.65 | 150.5 | 13.55 | 141.62 | 13.57 | 136.2 | 23.81 | 960.903 | 65.121 | 92.36
2020-06-01 21:00:00 | 13.02 | 128.2 | 13.35 | 147.5 | 14.06 | 138.798 | 14.03 | 133.2 | 23.44 | 960.755 | 67.0303 | 92.1162
2020-06-01 21:15:00 | 14.36 | 130.4 | 14.86 | 147.5 | 16.32 | 138.798 | 16.27 | 135.6 | 23.3 | 960.607 | 67.0994 | 90.9449
2020-06-01 21:30:00 | 13.1 | 132.9 | 13.15 | 148.4 | 14.07 | 139.644 | 13.98 | 137.9 | 22.96 | 960.903 | 67.3082 | 87.6591
2020-06-01 21:45:00 | 12.59 | 131.4 | 13.33 | 148.9 | 14.19 | 140.115 | 14.17 | 135.6 | 23 | 960.903 | 67.0413 | 88.6504
2020-06-01 22:00:00 | 12.12 | 132.3 | 12.64 | 149.5 | 13.06 | 140.68 | 13.02 | 135.9 | 23.01 | 960.903 | 65.9503 | 85.8276
2020-06-01 22:15:00 | 13.66 | 132.7 | 14.2 | 148.6 | 14.97 | 139.833 | 14.88 | 138.4 | 23.32 | 961.2 | 63.9045 | 87.3351
2020-06-01 22:30:00 | 12.54 | 134.9 | 13.38 | 150.7 | 13.28 | 141.809 | 13.13 | 141.2 | 23.38 | 961.052 | 63.5626 | 87.1873
2020-06-01 22:45:00 | 11.97 | 136.9 | 11.74 | 155.6 | 12.83 | 146.42 | 12.88 | 142.5 | 23.32 | 960.903 | 63.2215 | 85.1329
2020-06-01 23:00:00 | 12.55 | 142.4 | 12.6 | 157.2 | 13.31 | 147.925 | 13.29 | 147.5 | 23.47 | 961.052 | 61.3105 | 84.1575
2020-06-01 23:15:00 | 12.59 | 139.7 | 13.47 | 156.7 | 14.61 | 147.455 | 14.47 | 145.8 | 23.53 | 960.903 | 59.1936 | 84.2129
2020-06-01 23:30:00 | 13.89 | 140.7 | 14.33 | 157.3 | 15.41 | 148.019 | 15.29 | 146.1 | 23.81 | 961.052 | 59.3283 | 82.4431
2020-06-01 23:45:00 | 12.99 | 144.9 | 13.32 | 161.8 | 14.21 | 152.254 | 14.21 | 150.8 | 23.71 | 960.903 | 60.0763 | 81.2903