## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-02 00:00:00 | 12.25 | 144.6 | 13.05 | 159.7 | 13.72 | 150.278 | 13.52 | 151.6 | 23.55 | 961.2 | 60.6908 | 80.0562
2020-06-02 00:15:00 | 11.64 | 145.6 | 12.48 | 163.5 | 13.46 | 153.854 | 13.37 | 151.6 | 23.32 | 960.31 | 61.6458 | 77.6361
2020-06-02 00:30:00 | 10.89 | 145.8 | 11.39 | 163.5 | 12.76 | 153.854 | 12.73 | 152.5 | 23.1 | 960.458 | 62.8776 | 79.7532
2020-06-02 00:45:00 | 11.56 | 146.4 | 12.3 | 162.4 | 13.53 | 152.818 | 13.41 | 152.1 | 23.24 | 960.161 | 62.6757 | 78.5339
2020-06-02 01:00:00 | 9.33 | 150.1 | 9.48 | 170.2 | 10.19 | 160.158 | 10.26 | 153.8 | 23.06 | 960.31 | 63.7677 | 75.8219
2020-06-02 01:15:00 | 7.831 | 157.5 | 7.762 | 174.2 | 8.16 | 163.922 | 8.28 | 159.9 | 22.99 | 961.052 | 63.8011 | 41.2788
2020-06-02 01:30:00 | 5.62 | 161.3 | 5.898 | 177.9 | 6.353 | 167.404 | 6.448 | 163.8 | 23.15 | 961.645 | 63.6999 | 20.4881
2020-06-02 01:45:00 | 1.169 | 133.9 | 2.497 | 137.3 | 3.865 | 129.199 | 4.011 | 148.2 | 22.77 | 961.793 | 64.4498 | 6.599
2020-06-02 02:00:00 | 4.964 | 177.1 | 5.223 | 189.9 | 5.582 | 178.696 | 5.577 | 184.1 | 23.23 | 961.348 | 61.7903 | 1.5592
2020-06-02 02:15:00 | 2.85 | 168.4 | 3.653 | 180.8 | 4.064 | 170.133 | 4.013 | 172.8 | 23.13 | 961.052 | 62.7451 | 2.6751
2020-06-02 02:30:00 | 2.315 | 149 | 3.339 | 162.3 | 3.204 | 152.724 | 3.091 | 159.9 | 22.81 | 960.903 | 64.8593 | 2.2354
2020-06-02 02:45:00 | 3.493 | 169.8 | 4.154 | 178 | 3.944 | 167.498 | 3.825 | 182.8 | 22.64 | 961.052 | 65.6777 | 1.489
2020-06-02 03:00:00 | 2.732 | 235.7 | 2.024 | 275.7 | 2.08 | 259.434 | 1.994 | 218.5 | 20.99 | 960.755 | 76.0443 | -0.40643
2020-06-02 03:15:00 | 0 | 144.9 | 0.045 | 227.6 | 1.537 | 214.172 | 1.5 | 172.8 | 21.58 | 960.873 | 69.0196 | -0.32145
2020-06-02 03:30:00 | 0.411 | 175.5 | 0.038 | 227.8 | 0.524 | 214.36 | 0.222 | 167.7 | 21.83 | 961.044 | 70.1834 | -0.25125
2020-06-02 03:45:00 | 1.355 | 175.6 | 0.195 | 228.7 | 0 | 215.207 | 0 | 167.7 | 21.75 | 961.345 | 71.3501 | -0.25125
2020-06-02 04:00:00 | 0.46 | 175.6 | 0.004 | 228.3 | 0 | 214.83 | 0 | 167.7 | 21.65 | 961.196 | 69.5087 | -0.25125
2020-06-02 04:15:00 | 0.026 | 215.5 | 0.294 | 223.4 | 1.305 | 210.219 | 1.229 | 250.3 | 21.95 | 961.345 | 68.4856 | -0.25125
2020-06-02 04:30:00 | 0.019 | 251.5 | 0.677 | 223.8 | 1.271 | 210.596 | 1.011 | 265.6 | 22.25 | 961.196 | 65.7569 | -0.25125
2020-06-02 04:45:00 | 0.613 | 256.4 | 0.335 | 225.2 | 0.712 | 211.913 | 0.604 | 295.4 | 22.76 | 961.196 | 65.075 | -0.25125
2020-06-02 05:00:00 | 0 | 299.9 | 0.699 | 225.4 | 2.042 | 212.101 | 2.006 | 308.9 | 22.8 | 961.79 | 64.5975 | -0.24016
2020-06-02 05:15:00 | 0.004 | 305.8 | 1.474 | 300.6 | 2.347 | 282.865 | 2.444 | 320.4 | 23.02 | 961.79 | 63.1648 | -0.25125
2020-06-02 05:30:00 | 0.53 | 317.4 | 1.986 | 303.8 | 3.087 | 285.876 | 3.213 | 321.4 | 23.32 | 962.087 | 62.3429 | -0.27711
2020-06-02 05:45:00 | 0 | 312.5 | 1.738 | 317.3 | 3.283 | 298.579 | 3.244 | 321.2 | 23.35 | 962.27 | 62.2682 | -0.24016
2020-06-02 06:00:00 | 0 | 316.1 | 1.429 | 303.9 | 2.599 | 285.97 | 2.526 | 323.2 | 23.56 | 962.42 | 60.4945 | -0.22539
2020-06-02 06:15:00 | 0 | 307.3 | 0.973 | 310.8 | 2.116 | 292.463 | 2.18 | 322.2 | 24.05 | 962.832 | 58.0733 | -0.24016
2020-06-02 06:30:00 | 0 | 277.5 | 0.329 | 297.6 | 1.146 | 280.042 | 0.99 | 297 | 24.6 | 963.277 | 59.0524 | -0.22539
2020-06-02 06:45:00 | 0.275 | 297.9 | 1.208 | 298.4 | 1.948 | 280.794 | 1.958 | 299.5 | 24.44 | 963.425 | 60.0662 | -0.24016
2020-06-02 07:00:00 | 1.306 | 267.6 | 1.705 | 293.1 | 1.729 | 275.807 | 1.622 | 275.4 | 23.96 | 964.017 | 61.1529 | -0.22539
2020-06-02 07:15:00 | 0.637 | 273.2 | 1.331 | 289.2 | 1.645 | 272.137 | 1.531 | 281.7 | 24.03 | 963.733 | 60.4295 | -0.22539
2020-06-02 07:30:00 | 1.372 | 283.6 | 1.832 | 307 | 1.568 | 288.887 | 1.292 | 286.4 | 24.42 | 964.169 | 58.6867 | -0.22539
2020-06-02 07:45:00 | 1.955 | 144 | 1.866 | 159.6 | 0.494 | 150.184 | 0.141 | 186.5 | 25.17 | 964.171 | 60.7299 | -0.24016
2020-06-02 08:00:00 | 0 | 186.4 | 0.135 | 162.3 | 0.053 | 152.724 | 0 | 177 | 26.12 | 964.47 | 52.8791 | -0.22539
2020-06-02 08:15:00 | 2.393 | 282.8 | 2.71 | 293.3 | 2.502 | 275.995 | 2.355 | 284.7 | 25.26 | 965.062 | 57.9557 | -0.30298
2020-06-02 08:30:00 | 2.758 | 275.7 | 2.643 | 295.4 | 2.54 | 277.971 | 2.432 | 272.8 | 24.55 | 964.617 | 59.8949 | -0.17735
2020-06-02 08:45:00 | 1.247 | 259.2 | 1.325 | 266.1 | 1.175 | 250.4 | 0.903 | 258.7 | 24.69 | 964.765 | 58.0578 | -0.24016
2020-06-02 09:00:00 | 1.01 | 260.6 | 1.43 | 260.3 | 0.552 | 244.942 | 0.325 | 252.9 | 25.64 | 965.062 | 50.454 | -0.25125
2020-06-02 09:15:00 | 1.546 | 261.2 | 1.926 | 269.5 | 1.304 | 253.6 | 0.951 | 267.5 | 26.2 | 965.21 | 48.4703 | -0.25125
2020-06-02 09:30:00 | 1.827 | 304.9 | 2.313 | 316 | 2.184 | 297.356 | 2.01 | 303.4 | 27.18 | 965.655 | 41.8937 | -0.25125
2020-06-02 09:45:00 | 3.037 | 293.9 | 3.211 | 311.6 | 2.952 | 293.216 | 2.923 | 287 | 27.25 | 965.655 | 35.218 | -0.23647
2020-06-02 10:00:00 | 3.685 | 298.4 | 3.822 | 312.5 | 3.792 | 294.062 | 3.825 | 302.1 | 26.92 | 965.655 | 31.7098 | 0.42491
2020-06-02 10:15:00 | 2.725 | 287.9 | 3.025 | 300.2 | 2.993 | 282.488 | 2.913 | 286.9 | 27.49 | 965.655 | 23.7738 | 2.5457
2020-06-02 10:30:00 | 4.749 | 301 | 5.164 | 314.8 | 4.285 | 296.227 | 4.135 | 306.8 | 27.73 | 965.951 | 29.9397 | 4.2269
2020-06-02 10:45:00 | 4.384 | 310.5 | 4.637 | 324.3 | 4.466 | 305.166 | 4.441 | 313.2 | 27.74 | 965.951 | 25.0362 | 3.6911
2020-06-02 11:00:00 | 3.333 | 329.5 | 3.916 | 343.8 | 4.033 | 323.516 | 4.092 | 333 | 28.06 | 965.951 | 28.9886 | 4.9104
2020-06-02 11:15:00 | 3.807 | 301.7 | 4.07 | 309.8 | 3.507 | 291.522 | 3.374 | 308 | 27.73 | 965.803 | 31.4767 | 5.3538
2020-06-02 11:30:00 | 3.505 | 294.7 | 3.979 | 302.8 | 4.453 | 284.935 | 4.505 | 297.5 | 27.81 | 965.951 | 32.4987 | 5.1765
2020-06-02 11:45:00 | 5.252 | 283.6 | 5.527 | 296.3 | 5.277 | 278.818 | 5.251 | 286.3 | 27.79 | 965.951 | 31.7152 | 7.5781
2020-06-02 12:00:00 | 4.438 | 278 | 4.64 | 290.2 | 4.402 | 273.078 | 4.321 | 280.3 | 27.67 | 965.506 | 30.6261 | 9.2962
2020-06-02 12:15:00 | 4.011 | 340.6 | 3.996 | 338.7 | 3.888 | 318.717 | 3.696 | 341.1 | 29.08 | 965.655 | 28.3778 | 6.7246
2020-06-02 12:30:00 | 3.953 | 309.4 | 4.039 | 323.7 | 4.321 | 304.602 | 4.242 | 312.1 | 28.43 | 965.506 | 31.3071 | 3.9461
2020-06-02 12:45:00 | 3.547 | 294.4 | 4.062 | 305.9 | 3.756 | 287.852 | 3.72 | 295.3 | 28.32 | 965.358 | 27.9019 | 4.4264
2020-06-02 13:00:00 | 4.645 | 316.7 | 4.545 | 316.4 | 4.155 | 297.732 | 4.087 | 329.9 | 28.79 | 965.506 | 26.5071 | 4.8403
2020-06-02 13:15:00 | 4.167 | 301.5 | 4.952 | 305.6 | 4.14 | 287.57 | 4.179 | 312.5 | 28.93 | 965.655 | 26.8794 | 3.4251
2020-06-02 13:30:00 | 2.883 | 352.7 | 2.993 | 343.7 | 2.723 | 323.422 | 2.49 | 8.92 | 30.14 | 965.655 | 26.299 | 2.4534
2020-06-02 13:45:00 | 2.976 | 341.9 | 3.529 | 333.5 | 3.452 | 313.823 | 3.559 | 347.7 | 29.42 | 965.951 | 26.2306 | 0.70941
2020-06-02 14:00:00 | 3.122 | 357.5 | 3.514 | 341.4 | 3.063 | 321.257 | 2.866 | 11.86 | 29.98 | 965.951 | 26.4309 | -0.2143
2020-06-02 14:15:00 | 1.945 | 309.6 | 2.028 | 279.7 | 1.557 | 263.198 | 1.688 | 338.2 | 29.32 | 965.951 | 26.1924 | -0.32145
2020-06-02 14:30:00 | 2.372 | 310.5 | 2.766 | 328.7 | 2.754 | 309.307 | 2.699 | 306.2 | 29.86 | 965.803 | 25.7493 | -0.24755
2020-06-02 14:45:00 | 1.912 | 172.8 | 1.797 | 198.6 | 1.515 | 186.883 | 1.405 | 183.9 | 29.29 | 965.358 | 27.5545 | -0.27342
2020-06-02 15:00:00 | 2.755 | 312.6 | 3.152 | 314 | 2.209 | 295.474 | 2.314 | 314.5 | 29.56 | 965.21 | 27.861 | -0.26233
2020-06-02 15:15:00 | 1.959 | 274.3 | 2.301 | 286.2 | 1.76 | 269.314 | 1.587 | 266.1 | 29.03 | 965.21 | 28.1679 | -0.26233
2020-06-02 15:30:00 | 1.064 | 319.1 | 1.594 | 352.2 | 1.162 | 331.42 | 1.12 | 313.5 | 29.36 | 964.913 | 27.7281 | -0.14779
2020-06-02 15:45:00 | 3.56 | 259.1 | 3.783 | 270.3 | 3.499 | 254.352 | 3.397 | 260.3 | 28.87 | 964.469 | 24.3228 | -0.22908
2020-06-02 16:00:00 | 2.952 | 231.9 | 3.042 | 237.9 | 2.713 | 223.864 | 2.658 | 235.5 | 29.03 | 964.172 | 21.3959 | -0.26233
2020-06-02 16:15:00 | 2.702 | 278.4 | 2.937 | 295.9 | 2.57 | 278.442 | 2.482 | 278.6 | 29.23 | 964.172 | 20.7496 | -0.25125
2020-06-02 16:30:00 | 3.005 | 270.7 | 3.177 | 280.5 | 3.128 | 263.951 | 3.028 | 272.8 | 29.16 | 964.172 | 22.6917 | -0.25125
2020-06-02 16:45:00 | 2.587 | 284.2 | 3.431 | 303.4 | 2.968 | 285.499 | 2.814 | 283.7 | 28.98 | 963.876 | 23.3049 | -0.2143
2020-06-02 17:00:00 | 2.62 | 301 | 3.295 | 313.2 | 2.947 | 294.721 | 2.829 | 302.5 | 28.93 | 963.728 | 24.3952 | -0.25125
2020-06-02 17:15:00 | 2.249 | 257 | 2.329 | 279.6 | 2.207 | 263.104 | 2.06 | 255.9 | 28.87 | 963.876 | 25.3492 | -0.25125
2020-06-02 17:30:00 | 1.381 | 271 | 1.996 | 277.7 | 2.08 | 261.316 | 1.927 | 274.4 | 28.79 | 963.579 | 26.1669 | -0.26233
2020-06-02 17:45:00 | 0.557 | 307.9 | 0.773 | 316.8 | 0.021 | 298.109 | 0 | 303.5 | 28.75 | 963.431 | 26.1669 | -0.25125
2020-06-02 18:00:00 | 0.011 | 277.2 | 0.255 | 316.7 | 0 | 298.015 | 0 | 303 | 28.68 | 963.297 | 26.7477 | -0.28081
2020-06-02 18:15:00 | 0 | 247.8 | 0.24 | 316.8 | 0.703 | 298.109 | 0.679 | 258.4 | 28.96 | 963.497 | 25.7612 | -0.25125
2020-06-02 18:30:00 | 0.359 | 226.9 | 0.825 | 268.5 | 1.469 | 252.658 | 1.474 | 224.5 | 28.63 | 963.394 | 25.8336 | -0.25125
2020-06-02 18:45:00 | 1.386 | 201.7 | 1.866 | 228.4 | 1.935 | 214.924 | 1.889 | 209.3 | 28.49 | 963.131 | 26.5847 | -0.25125
2020-06-02 19:00:00 | 2.556 | 161 | 2.848 | 175.4 | 2.713 | 165.051 | 2.666 | 175.9 | 28.27 | 963.131 | 26.5143 | -0.25125
2020-06-02 19:15:00 | 2.334 | 167 | 3.272 | 168 | 3.26 | 158.088 | 3.226 | 171.2 | 28.17 | 963.131 | 25.6298 | -0.30298
2020-06-02 19:30:00 | 2.239 | 195.3 | 2.684 | 199.2 | 2.818 | 187.447 | 2.809 | 201.2 | 28.25 | 962.835 | 23.2447 | -0.2882
2020-06-02 19:45:00 | 1.956 | 185.2 | 2.937 | 190.5 | 2.93 | 179.26 | 2.928 | 194.3 | 28.1 | 962.538 | 24.7444 | -0.16257
2020-06-02 20:00:00 | 1.627 | 190.1 | 2.301 | 195.3 | 2.261 | 183.777 | 2.253 | 196.8 | 28.1 | 962.39 | 24.8125 | 0.066507
2020-06-02 20:15:00 | 2.661 | 168.9 | 3.198 | 173.7 | 3.039 | 163.452 | 3 | 183.3 | 27.87 | 962.545 | 25.835 | 2.0728
2020-06-02 20:30:00 | 3.154 | 150.4 | 4.438 | 167.1 | 4.944 | 157.241 | 4.747 | 158 | 27.32 | 962.333 | 28.2549 | 4.5964
2020-06-02 20:45:00 | 4.466 | 141.4 | 5.346 | 157.1 | 5.59 | 147.831 | 5.508 | 148.1 | 27.28 | 962.457 | 28.494 | 13.5453
2020-06-02 21:00:00 | 5.528 | 134.6 | 5.946 | 149 | 6.528 | 140.209 | 6.432 | 141.2 | 27.23 | 962.502 | 27.676 | 18.2415
2020-06-02 21:15:00 | 4.157 | 141.7 | 4.602 | 160.7 | 6.076 | 151.219 | 6.147 | 146.1 | 27.15 | 962.811 | 28.1545 | 18.5555
2020-06-02 21:30:00 | 4.821 | 143.2 | 5.783 | 158 | 6.854 | 148.678 | 6.888 | 147.8 | 26.95 | 962.832 | 28.1559 | 24.0091
2020-06-02 21:45:00 | 4.788 | 142.2 | 5.839 | 158.9 | 6.92 | 149.525 | 6.84 | 147.4 | 26.75 | 962.535 | 28.0208 | 24.1791
2020-06-02 22:00:00 | 5.508 | 145.2 | 6.486 | 162.6 | 7.838 | 153.007 | 7.736 | 151.4 | 26.74 | 962.238 | 28.2938 | 22.3132
2020-06-02 22:15:00 | 5.079 | 147.3 | 5.668 | 165 | 7.357 | 155.265 | 7.38 | 151.4 | 26.62 | 962.089 | 27.953 | 23.2295
2020-06-02 22:30:00 | 6.149 | 150.7 | 6.964 | 168 | 7.917 | 158.088 | 7.892 | 156.5 | 26.64 | 962.09 | 27.5439 | 22.897
2020-06-02 22:45:00 | 5.868 | 148.7 | 6.189 | 166.8 | 7.975 | 156.959 | 7.96 | 155.5 | 26.48 | 962.363 | 28.9415 | 23.7616
2020-06-02 23:00:00 | 6.256 | 146.3 | 6.701 | 166.6 | 8.08 | 156.771 | 8 | 152.6 | 26.37 | 962.238 | 29.2824 | 29.5551
2020-06-02 23:15:00 | 6.131 | 149.8 | 6.708 | 170.1 | 7.912 | 160.064 | 8.02 | 154.3 | 26.14 | 962.238 | 30.3392 | 36.3684
2020-06-02 23:30:00 | 7.647 | 157 | 8.19 | 172.4 | 8.16 | 162.228 | 8.07 | 162.6 | 26.05 | 962.386 | 30.4755 | 43.3405
2020-06-02 23:45:00 | 6.823 | 153.5 | 7.278 | 169.8 | 8.42 | 159.782 | 8.51 | 159.4 | 25.24 | 961.942 | 32.2482 | 45.8863