## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-03 00:00:00 | 7.458 | 155.9 | 8.07 | 173 | 9.05 | 162.793 | 9.05 | 162.1 | 25.4 | 961.497 | 31.9756 | 45.4392
2020-06-03 00:15:00 | 7.803 | 161.3 | 7.769 | 173.7 | 7.899 | 163.452 | 7.922 | 166.3 | 25.77 | 961.645 | 31.0211 | 44.1054
2020-06-03 00:30:00 | 8.41 | 166.1 | 7.923 | 183.2 | 8.19 | 172.391 | 8.21 | 167.9 | 26.06 | 961.497 | 28.704 | 45.6129
2020-06-03 00:45:00 | 7.499 | 166.9 | 7.6 | 180.9 | 7.68 | 170.227 | 7.833 | 171.3 | 26.05 | 961.645 | 29.5892 | 48.1549
2020-06-03 01:00:00 | 8.62 | 164.3 | 8.87 | 176.6 | 9.03 | 166.181 | 9.16 | 173.4 | 26.31 | 961.645 | 28.6347 | 46.3223
2020-06-03 01:15:00 | 8.41 | 167.5 | 8.64 | 182 | 8.79 | 171.262 | 8.96 | 173 | 26.06 | 961.2 | 27.953 | 47.418
2020-06-03 01:30:00 | 9.26 | 167.5 | 8.99 | 179.4 | 9.11 | 168.815 | 9.23 | 175.2 | 25.96 | 961.052 | 26.5894 | 46.6622
2020-06-03 01:45:00 | 9.15 | 165.8 | 9.57 | 177.7 | 9.41 | 167.216 | 9.56 | 173.9 | 25.71 | 961.052 | 27.3394 | 43.8689
2020-06-03 02:00:00 | 7.972 | 162.5 | 8.55 | 175.9 | 9.16 | 165.522 | 9.35 | 171.9 | 25.36 | 960.607 | 27.0326 | 43.5364
2020-06-03 02:15:00 | 8.12 | 163.7 | 8.64 | 176 | 8.73 | 165.616 | 8.76 | 172.1 | 25.44 | 960.458 | 27.9871 | 40.2036
2020-06-03 02:30:00 | 7.806 | 159.5 | 8.29 | 171.5 | 8.41 | 161.382 | 8.47 | 168.9 | 24.81 | 960.31 | 30.0675 | 35.1195
2020-06-03 02:45:00 | 6.498 | 157.9 | 7.447 | 168.3 | 7.576 | 158.37 | 7.571 | 169.4 | 24.51 | 960.458 | 30.8894 | 29.1302
2020-06-03 03:00:00 | 6.887 | 158.9 | 7.572 | 165.7 | 8.06 | 155.924 | 8.2 | 172 | 24.45 | 960.31 | 30.6171 | 26.965
2020-06-03 03:15:00 | 7.543 | 158 | 8.09 | 168.2 | 8.19 | 158.276 | 8.22 | 172.1 | 24.76 | 960.31 | 28.3669 | 27.7668
2020-06-03 03:30:00 | 7.139 | 159.5 | 8.57 | 169 | 8.22 | 159.029 | 8.18 | 172.8 | 24.78 | 960.161 | 29.1169 | 27.752
2020-06-03 03:45:00 | 6.624 | 167.6 | 7.079 | 175.6 | 6.396 | 165.24 | 6.407 | 181.7 | 24.43 | 960.161 | 30.2762 | 29.0563
2020-06-03 04:00:00 | 6.851 | 174.5 | 7.26 | 181.1 | 6.905 | 170.415 | 7.161 | 184 | 24.62 | 960.013 | 28.7078 | 29.4664
2020-06-03 04:15:00 | 7.032 | 174.1 | 6.795 | 180.8 | 6.167 | 170.133 | 6.402 | 186.4 | 25.12 | 959.865 | 27.4804 | 34.0813
2020-06-03 04:30:00 | 7.224 | 172.3 | 7.322 | 178.3 | 6.75 | 167.78 | 6.792 | 181.2 | 25.04 | 959.717 | 28.435 | 41.3527
2020-06-03 04:45:00 | 7.195 | 166.5 | 7.447 | 172.2 | 6.589 | 162.04 | 6.685 | 179.7 | 25.02 | 959.865 | 26.798 | 39.4905
2020-06-03 05:00:00 | 7.691 | 164.6 | 8.57 | 171.5 | 8.46 | 161.382 | 8.47 | 179.2 | 24.91 | 959.568 | 28.0941 | 44.1386
2020-06-03 05:15:00 | 7.489 | 164 | 8.45 | 170.3 | 8.48 | 160.252 | 8.54 | 177.9 | 25.11 | 959.42 | 29.5942 | 41.8072
2020-06-03 05:30:00 | 7.64 | 163.9 | 8.29 | 171.4 | 8.71 | 161.287 | 8.6 | 175.6 | 25.11 | 959.717 | 26.4915 | 34.4027
2020-06-03 05:45:00 | 5.755 | 170.7 | 6.138 | 177.2 | 6.065 | 166.745 | 6.068 | 183.1 | 25.27 | 960.013 | 29.3894 | 32.4814
2020-06-03 06:00:00 | 5.487 | 172.1 | 6.156 | 180.1 | 6.266 | 169.474 | 6.445 | 181.6 | 25.19 | 960.161 | 27.6809 | 33.7118
2020-06-03 06:15:00 | 6.22 | 158.1 | 6.79 | 166.6 | 6.963 | 156.771 | 7.107 | 174.2 | 24.87 | 960.458 | 28.6347 | 38.3229
2020-06-03 06:30:00 | 6.736 | 148.1 | 7.258 | 161.4 | 7.296 | 151.877 | 7.219 | 161.8 | 24.84 | 960.458 | 29.4524 | 40.1741
2020-06-03 06:45:00 | 7.293 | 148.9 | 7.843 | 162.1 | 8.16 | 152.536 | 8.02 | 160.1 | 25.05 | 960.195 | 29.9935 | 45.5131
2020-06-03 07:00:00 | 8.15 | 148.2 | 8.32 | 163.2 | 8.26 | 153.571 | 8.23 | 157.7 | 24.89 | 960.193 | 30.8794 | 43.7581
2020-06-03 07:15:00 | 6.912 | 151.8 | 7.514 | 166.3 | 7.93 | 156.488 | 7.866 | 157.9 | 24.44 | 960.166 | 32.5153 | 44.9404
2020-06-03 07:30:00 | 8.72 | 160.1 | 8.88 | 169.1 | 8.41 | 159.123 | 8.42 | 171.5 | 25.03 | 960.314 | 29.9932 | 45.0919
2020-06-03 07:45:00 | 8.33 | 160.1 | 8.32 | 171.6 | 7.871 | 161.476 | 7.96 | 170.6 | 25.62 | 960.759 | 30.7425 | 44.4896
2020-06-03 08:00:00 | 8.16 | 155.9 | 8.57 | 168.4 | 8.38 | 158.464 | 8.4 | 165.5 | 25.9 | 960.907 | 29.7862 | 40.1223
2020-06-03 08:15:00 | 7.859 | 156.8 | 8.05 | 172.2 | 7.948 | 162.04 | 8.02 | 166.7 | 26.05 | 961.056 | 29.5837 | 38.1751
2020-06-03 08:30:00 | 8.3 | 157.3 | 8.37 | 170.6 | 7.998 | 160.535 | 7.881 | 165.7 | 26.02 | 961.352 | 32.1043 | 29.8728
2020-06-03 08:45:00 | 7.635 | 163.4 | 7.547 | 178.2 | 7.223 | 167.686 | 7.301 | 169.1 | 26.65 | 961.286 | 30.7405 | 25.2025
2020-06-03 09:00:00 | 7.152 | 170.7 | 6.721 | 187.1 | 5.788 | 176.061 | 5.844 | 172.3 | 27.42 | 961.368 | 29.3716 | 19.7748
2020-06-03 09:15:00 | 6.81 | 163.9 | 6.741 | 174.6 | 6.503 | 164.299 | 6.412 | 172.1 | 27.52 | 961.801 | 31.7888 | 16.5862
2020-06-03 09:30:00 | 6.32 | 172.6 | 6.194 | 185.2 | 5.903 | 174.273 | 5.979 | 181.2 | 28.2 | 961.652 | 28.075 | 15.3004
2020-06-03 09:45:00 | 6.955 | 153.8 | 6.931 | 166.6 | 6.427 | 156.771 | 6.241 | 163.2 | 27.76 | 961.949 | 30.0511 | 13.1536
2020-06-03 10:00:00 | 6.493 | 150.4 | 6.726 | 163.9 | 5.969 | 154.23 | 5.742 | 161.6 | 28.37 | 962.394 | 29.4717 | 10.7335
2020-06-03 10:15:00 | 5.329 | 160.3 | 5.734 | 177 | 5.585 | 166.557 | 5.518 | 166.5 | 29.4 | 962.097 | 27.4244 | 8.742
2020-06-03 10:30:00 | 6.207 | 154.2 | 6.12 | 169.1 | 5.292 | 159.123 | 5.162 | 162 | 29.18 | 962.542 | 29.0581 | 8.2247
2020-06-03 10:45:00 | 5.962 | 169.1 | 5.898 | 186 | 4.929 | 175.026 | 4.803 | 172.3 | 29.96 | 962.542 | 28.9195 | 8.9194
2020-06-03 11:00:00 | 5.658 | 152.1 | 5.555 | 167.5 | 4.926 | 157.617 | 4.815 | 160.3 | 29.91 | 962.69 | 28.2027 | 7.5338
2020-06-03 11:15:00 | 4.257 | 160.3 | 4.527 | 185.4 | 4.298 | 174.461 | 4.288 | 162.4 | 30.6 | 962.394 | 27.5205 | 6.078
2020-06-03 11:30:00 | 5.717 | 163.9 | 5.514 | 178.6 | 5.013 | 168.063 | 4.917 | 171 | 31.36 | 962.245 | 23.842 | 7.6262
2020-06-03 11:45:00 | 5.559 | 141.5 | 5.338 | 157.3 | 4.834 | 148.019 | 4.792 | 148.4 | 31.7 | 962.245 | 21.6962 | 8.8344
2020-06-03 12:00:00 | 5.025 | 171.7 | 5.289 | 189.8 | 3.682 | 178.602 | 4.912 | 178.2 | 32.45 | 962.097 | 22.139 | 10.5229
2020-06-03 12:15:00 | 5.957 | 149.8 | 5.841 | 167.2 | 4.098 | 157.335 | 4.925 | 154.6 | 32.09 | 962.245 | 20.436 | 7.3343
2020-06-03 12:30:00 | 5.934 | 168.4 | 5.898 | 189.3 | 4.851 | 178.131 | 5.847 | 173.1 | 32.54 | 962.097 | 20.7425 | 10.7077
2020-06-03 12:45:00 | 6.741 | 161.2 | 6.511 | 174.8 | 4.079 | 164.487 | 5.34 | 166.7 | 32.87 | 961.949 | 20.1635 | 8.2838
2020-06-03 13:00:00 | 6.22 | 165.3 | 5.852 | 184.8 | 4.121 | 173.897 | 5.717 | 165.8 | 33.28 | 961.801 | 18.9373 | 7.5892
2020-06-03 13:15:00 | 4.768 | 148.1 | 4.99 | 160.1 | 5.086 | 150.654 | 5.024 | 154.4 | 33.17 | 961.504 | 18.154 | 7.6557
2020-06-03 13:30:00 | 6.363 | 161.5 | 6.401 | 174.4 | 6.366 | 164.11 | 6.387 | 173.7 | 33.66 | 961.504 | 17.2003 | 5.0139
2020-06-03 13:45:00 | 6.085 | 236.2 | 6.11 | 245 | 6.172 | 230.545 | 6.168 | 239 | 34.64 | 962.394 | 14.0668 | 6.5694
2020-06-03 14:00:00 | 6.598 | 168.5 | 6.519 | 182.7 | 5.93 | 171.921 | 5.997 | 172.5 | 34.46 | 962.245 | 17.064 | 5.9487
2020-06-03 14:15:00 | 4.818 | 195.5 | 4.924 | 207.2 | 4.55 | 194.975 | 4.556 | 202.8 | 34.75 | 962.058 | 13.5559 | 6.0485
2020-06-03 14:30:00 | 6.243 | 176.4 | 6.317 | 188.5 | 5.547 | 177.378 | 5.539 | 179.5 | 34.44 | 961.841 | 16.5191 | 3.6394
2020-06-03 14:45:00 | 5.378 | 174.1 | 5.09 | 187.8 | 4.979 | 176.72 | 4.841 | 180.7 | 34.79 | 962.298 | 15.7016 | 6.5657
2020-06-03 15:00:00 | 6.511 | 164.8 | 6.514 | 180.1 | 6.043 | 169.474 | 5.949 | 175.6 | 35.15 | 961.699 | 14.8156 | 5.1395
2020-06-03 15:15:00 | 6.971 | 184.1 | 6.744 | 200.2 | 5.824 | 188.388 | 5.765 | 185.1 | 35.18 | 961.242 | 13.1794 | 9.4366
2020-06-03 15:30:00 | 7.466 | 180.6 | 7.391 | 194.6 | 6.589 | 183.119 | 6.598 | 183.6 | 35.35 | 961.333 | 14.8815 | 8.5166
2020-06-03 15:45:00 | 6.851 | 168.5 | 6.964 | 182.4 | 6.47 | 171.638 | 6.374 | 175.1 | 35.07 | 961.49 | 13.8596 | 9.2593
2020-06-03 16:00:00 | 7.234 | 151.9 | 6.984 | 167.5 | 6.671 | 157.617 | 6.639 | 159.7 | 34.9 | 961.63 | 14.3698 | 11.1252
2020-06-03 16:15:00 | 6.994 | 149.9 | 7.087 | 167.9 | 6.732 | 157.994 | 6.583 | 159.4 | 35.18 | 960.973 | 14.6759 | 14.2141
2020-06-03 16:30:00 | 7.433 | 153.5 | 7.552 | 172 | 7.004 | 161.852 | 6.82 | 163.1 | 35.15 | 961.138 | 14.2331 | 15.2856
2020-06-03 16:45:00 | 6.429 | 162.7 | 6.205 | 181 | 5.577 | 170.321 | 5.462 | 167 | 34.87 | 960.903 | 14.8127 | 19.0691
2020-06-03 17:00:00 | 7.635 | 159.1 | 7.191 | 173.3 | 6.668 | 163.075 | 6.488 | 172.3 | 34.84 | 961.013 | 14.3367 | 30.5305
2020-06-03 17:15:00 | 7.959 | 172.6 | 7.92 | 188.6 | 7.019 | 177.473 | 6.919 | 177.8 | 34.8 | 960.457 | 13.7585 | 31.6205
2020-06-03 17:30:00 | 7.308 | 172.5 | 7.245 | 187.3 | 5.994 | 176.249 | 5.847 | 174.2 | 34.67 | 960.485 | 13.6239 | 31.3951
2020-06-03 17:45:00 | 8.17 | 175.2 | 7.585 | 193.1 | 6.867 | 181.707 | 6.802 | 175.5 | 34.67 | 960.333 | 13.2834 | 30.8741
2020-06-03 18:00:00 | 8.78 | 177.6 | 8.34 | 193.6 | 7.439 | 182.178 | 7.449 | 179.3 | 34.46 | 960.375 | 12.8747 | 24.3121
2020-06-03 18:15:00 | 8.11 | 179.1 | 8.45 | 191.4 | 8.16 | 180.107 | 8.13 | 182.9 | 34.36 | 960.382 | 12.7384 | 24.9513
2020-06-03 18:30:00 | 9.18 | 178.6 | 9.17 | 191.9 | 8.8 | 180.578 | 8.87 | 182 | 34.32 | 960.317 | 12.6022 | 23.8946
2020-06-03 18:45:00 | 8.85 | 179.2 | 8.68 | 191.4 | 8.18 | 180.107 | 8.28 | 182.6 | 34.18 | 960.318 | 12.9428 | 23.3108
2020-06-03 19:00:00 | 6.003 | 166.8 | 5.872 | 180.7 | 5.402 | 170.039 | 5.404 | 171.8 | 33.79 | 960.318 | 14.9864 | 19.2649
2020-06-03 19:15:00 | 5.661 | 162.3 | 5.591 | 172.9 | 5.559 | 162.699 | 5.531 | 167.2 | 33.2 | 960.021 | 16.2807 | 18.537
2020-06-03 19:30:00 | 7.857 | 157.5 | 8.07 | 172.5 | 8.34 | 162.322 | 8.38 | 165.1 | 32.87 | 960.021 | 16.4195 | 37.1517
2020-06-03 19:45:00 | 6.807 | 157.5 | 7.138 | 173 | 7.34 | 162.793 | 7.288 | 165.1 | 32.37 | 960.021 | 16.8308 | 45.539
2020-06-03 20:00:00 | 7.341 | 161 | 7.483 | 178.4 | 7.024 | 167.874 | 6.983 | 164.5 | 32.09 | 959.725 | 16.7632 | 44.8074
2020-06-03 20:15:00 | 7.448 | 156.4 | 7.552 | 173.6 | 7.698 | 163.358 | 7.726 | 159.6 | 31.89 | 959.725 | 17.1039 | 42.7678
2020-06-03 20:30:00 | 7.607 | 157.4 | 7.802 | 171.7 | 7.149 | 161.57 | 7.097 | 164.7 | 31.57 | 959.428 | 17.5128 | 43.3997
2020-06-03 20:45:00 | 6.805 | 162 | 6.803 | 180.9 | 7.418 | 170.227 | 7.545 | 166 | 31.32 | 959.725 | 17.6491 | 45.7015
2020-06-03 21:00:00 | 8.28 | 162.1 | 8.01 | 180 | 7.744 | 169.38 | 7.785 | 166.1 | 31.48 | 959.873 | 17.9898 | 46.459
2020-06-03 21:15:00 | 8.27 | 160.4 | 8.55 | 175.1 | 8.89 | 164.769 | 8.73 | 167.8 | 31.13 | 959.873 | 18.4668 | 43.6324
2020-06-03 21:30:00 | 8.23 | 163 | 8.15 | 174.4 | 7.658 | 164.11 | 7.601 | 170.6 | 30.87 | 959.878 | 18.808 | 41.5633
2020-06-03 21:45:00 | 8.36 | 161.1 | 8.48 | 173 | 8.89 | 162.793 | 8.93 | 167 | 30.56 | 959.946 | 20.377 | 48.5634
2020-06-03 22:00:00 | 9.18 | 159.3 | 9.31 | 175.1 | 9.58 | 164.769 | 9.62 | 163.3 | 30.4 | 960.013 | 20.9247 | 47.0797
2020-06-03 22:15:00 | 8.9 | 156.6 | 8.69 | 173.2 | 8.64 | 162.981 | 8.56 | 163.8 | 30.03 | 960.594 | 21.403 | 50.7265
2020-06-03 22:30:00 | 7.65 | 157.3 | 7.981 | 177.3 | 9.09 | 166.839 | 9.25 | 163 | 29.91 | 960.165 | 20.7902 | 52.7107
2020-06-03 22:45:00 | 8.35 | 157.6 | 8.43 | 172 | 9.1 | 161.852 | 9.11 | 162.5 | 29.89 | 960.461 | 20.9607 | 47.3273
2020-06-03 23:00:00 | 7.64 | 154.1 | 7.951 | 172.1 | 9.01 | 161.946 | 9.02 | 158.7 | 29.52 | 960.61 | 21.4372 | 46.3334
2020-06-03 23:15:00 | 6.915 | 151.8 | 7.616 | 168 | 8.96 | 158.088 | 9.05 | 160 | 29.41 | 960.462 | 21.9482 | 42.0252
2020-06-03 23:30:00 | 7.724 | 153.4 | 8.26 | 166.9 | 8.82 | 157.053 | 8.79 | 160.5 | 28.71 | 960.017 | 23.243 | 38.6629
2020-06-03 23:45:00 | 7.584 | 153 | 8.33 | 166.9 | 8.94 | 157.053 | 8.84 | 162.8 | 28.44 | 960.166 | 23.858 | 38.4338