## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-04 00:00:00 | 7.882 | 151.1 | 8.64 | 163.7 | 9.43 | 154.042 | 9.38 | 162.5 | 28.13 | 960.017 | 24.2672 | 40.8317
2020-06-04 00:15:00 | 7.808 | 154.5 | 8.96 | 166.9 | 9.63 | 157.053 | 9.48 | 163.6 | 28.1 | 959.869 | 23.5855 | 40.4549
2020-06-04 00:30:00 | 8.11 | 156.9 | 9.05 | 168 | 9.62 | 158.088 | 9.58 | 165.9 | 28.33 | 960.017 | 23.381 | 38.7146
2020-06-04 00:45:00 | 7.88 | 156.3 | 8.4 | 167.9 | 9.15 | 157.994 | 9.23 | 167.9 | 28.15 | 959.869 | 23.4492 | 37.1147
2020-06-04 01:00:00 | 7.908 | 154.8 | 8.69 | 166.9 | 9.45 | 157.053 | 9.44 | 163.9 | 28.2 | 959.573 | 22.9039 | 39.3538
2020-06-04 01:15:00 | 8.16 | 159.7 | 8.65 | 170.2 | 9.98 | 160.158 | 10.22 | 170.9 | 28.32 | 959.576 | 22.4267 | 38.8144
2020-06-04 01:30:00 | 7.839 | 161.2 | 9.07 | 170.7 | 9.98 | 160.629 | 10.19 | 172.5 | 28.08 | 959.74 | 21.6087 | 42.2099
2020-06-04 01:45:00 | 7.548 | 158.1 | 8.73 | 169 | 9.44 | 159.029 | 9.48 | 169.4 | 28.12 | 959.87 | 22.6994 | 42.923
2020-06-04 02:00:00 | 7.964 | 157.8 | 9 | 167.9 | 9.94 | 157.994 | 10.11 | 169.3 | 27.73 | 959.598 | 23.3129 | 46.546
2020-06-04 02:15:00 | 8.52 | 158.7 | 9.63 | 170.1 | 10.75 | 160.064 | 10.8 | 169.7 | 27.89 | 959.322 | 21.7451 | 47.9887
2020-06-04 02:30:00 | 8.64 | 161 | 9.48 | 172 | 10.69 | 161.852 | 10.95 | 172.8 | 27.82 | 959.463 | 22.4267 | 49.7733
2020-06-04 02:45:00 | 8.95 | 158.6 | 9.7 | 169.9 | 10.63 | 159.876 | 10.78 | 169.8 | 27.68 | 959.316 | 22.6312 | 51.9606
2020-06-04 03:00:00 | 8.59 | 156.5 | 9.59 | 170.3 | 10.45 | 160.252 | 10.52 | 166.2 | 27.25 | 959.43 | 23.381 | 53.0543
2020-06-04 03:15:00 | 9.03 | 156.9 | 9.67 | 169.6 | 10.21 | 159.594 | 10.29 | 168.1 | 27.25 | 959.569 | 23.1765 | 52.9545
2020-06-04 03:30:00 | 8.26 | 152.7 | 9 | 165.8 | 9.78 | 156.018 | 9.74 | 160 | 26.94 | 959.655 | 24.3354 | 52.5481
2020-06-04 03:45:00 | 8.54 | 155.3 | 9.28 | 169.9 | 9.93 | 159.876 | 10.03 | 163.6 | 27.07 | 959.564 | 23.5868 | 53.93
2020-06-04 04:00:00 | 9.12 | 159 | 10.11 | 170.4 | 10.86 | 160.346 | 10.95 | 169.2 | 27.1 | 959.42 | 22.7024 | 58.1236
2020-06-04 04:15:00 | 8.8 | 155.6 | 9.72 | 168.6 | 10.57 | 158.653 | 10.61 | 166.4 | 26.95 | 959.567 | 22.9073 | 57.2886
2020-06-04 04:30:00 | 8.36 | 150.1 | 9.13 | 163.5 | 10.46 | 153.854 | 10.42 | 160.4 | 26.63 | 959.42 | 23.9984 | 53.5863
2020-06-04 04:45:00 | 7.961 | 148.7 | 8.67 | 162.1 | 9.77 | 152.536 | 9.74 | 159.3 | 26.5 | 959.123 | 23.9985 | 56.1099
2020-06-04 05:00:00 | 8.18 | 146.4 | 8.91 | 160.6 | 9.5 | 151.125 | 9.51 | 159.8 | 26.77 | 959.717 | 23.7941 | 52.7254
2020-06-04 05:15:00 | 9.12 | 148.7 | 9.71 | 159.5 | 10.32 | 150.089 | 10.12 | 157.7 | 26.76 | 959.865 | 23.8623 | 53.6381
2020-06-04 05:30:00 | 9.11 | 149.2 | 9.56 | 161.4 | 10.33 | 151.877 | 10.24 | 158.4 | 26.57 | 959.717 | 25.5326 | 58.7074
2020-06-04 05:45:00 | 8.83 | 148.8 | 9.11 | 162.2 | 9.29 | 152.63 | 9.24 | 156.1 | 26.02 | 959.99 | 27.4748 | 58.0608
2020-06-04 06:00:00 | 7.987 | 147.9 | 8.38 | 165.2 | 9.41 | 155.453 | 9.3 | 154.4 | 25.52 | 959.865 | 29.3837 | 57.2627
2020-06-04 06:15:00 | 8.67 | 147.6 | 8.67 | 165.3 | 10 | 155.547 | 10.02 | 152.1 | 25.45 | 960.011 | 29.3819 | 58.2899
2020-06-04 06:30:00 | 8.81 | 146.8 | 9.52 | 160.1 | 9.49 | 150.654 | 9.39 | 157.9 | 25.82 | 960.52 | 29.2436 | 43.4551
2020-06-04 06:45:00 | 6.991 | 146.5 | 7.905 | 160.8 | 8.37 | 151.313 | 8.31 | 155.4 | 25.73 | 960.56 | 30.4022 | 38.0606
2020-06-04 07:00:00 | 6.455 | 145.6 | 7.299 | 160.7 | 7.482 | 151.219 | 7.413 | 156.6 | 26.04 | 960.463 | 29.1752 | 33.8485
2020-06-04 07:15:00 | 5.097 | 146.5 | 6.23 | 162.4 | 6.284 | 152.818 | 6.094 | 154.2 | 26.78 | 961.056 | 26.5844 | 30.5933
2020-06-04 07:30:00 | 5.007 | 146.4 | 5.962 | 161.1 | 6.312 | 151.595 | 6.318 | 155.3 | 27.19 | 961.352 | 27.1289 | 33.5861
2020-06-04 07:45:00 | 6.493 | 146.4 | 7.352 | 159.7 | 7.22 | 150.278 | 7.061 | 156.1 | 27.31 | 961.024 | 27.0559 | 35.1158
2020-06-04 08:00:00 | 5.515 | 145.3 | 6.24 | 161 | 7.207 | 151.501 | 7.077 | 152 | 27.6 | 961.356 | 26.2351 | 35.3042
2020-06-04 08:15:00 | 6.606 | 148.7 | 6.849 | 164.9 | 6.971 | 155.171 | 6.898 | 154.4 | 27.88 | 961.504 | 26.4055 | 31.6907
2020-06-04 08:30:00 | 6.698 | 150.1 | 6.954 | 164.1 | 6.859 | 154.418 | 6.799 | 157.8 | 28.08 | 961.801 | 27.3935 | 30.9887
2020-06-04 08:45:00 | 7.469 | 146.8 | 7.646 | 159.3 | 7.34 | 149.901 | 7.288 | 156 | 28.28 | 962.097 | 27.5298 | 29.98
2020-06-04 09:00:00 | 7.653 | 147.1 | 8.19 | 160.8 | 7.889 | 151.313 | 7.68 | 156 | 28.64 | 961.801 | 29.6415 | 27.0167
2020-06-04 09:15:00 | 8.12 | 153.7 | 8.36 | 164.4 | 7.703 | 154.7 | 7.652 | 167 | 29.51 | 961.949 | 25.2123 | 27.1423
2020-06-04 09:30:00 | 8.22 | 156.2 | 8.53 | 168.2 | 7.574 | 158.276 | 7.502 | 166.9 | 30.14 | 961.949 | 25.9243 | 32.0121
2020-06-04 09:45:00 | 8.41 | 153.4 | 8.17 | 166.3 | 8.49 | 156.488 | 8.48 | 163.6 | 31.17 | 962.69 | 24.7999 | 24.9033
2020-06-04 10:00:00 | 8.31 | 156.6 | 7.933 | 171 | 7.207 | 160.911 | 7.135 | 167.7 | 31.06 | 962.986 | 24.9664 | 19.095
2020-06-04 10:15:00 | 6.795 | 169.6 | 6.685 | 185 | 6.17 | 174.085 | 6.203 | 175.9 | 31.6 | 963.135 | 24.3188 | 13.7374
2020-06-04 10:30:00 | 5.865 | 169.2 | 5.627 | 181.8 | 5.14 | 171.074 | 5.195 | 178.9 | 31.78 | 963.431 | 23.3992 | 9.9133
2020-06-04 10:45:00 | 5.858 | 157.1 | 5.987 | 176.4 | 5.526 | 165.992 | 5.391 | 164.9 | 32.19 | 963.579 | 25 | 9.9946
2020-06-04 11:00:00 | 6.024 | 160.4 | 5.68 | 174.9 | 5.521 | 164.581 | 5.414 | 165.8 | 32.45 | 963.579 | 25.6471 | 9.7211
2020-06-04 11:15:00 | 5.949 | 162.3 | 5.836 | 179.7 | 5.328 | 169.098 | 5.332 | 171.9 | 32.56 | 963.579 | 23.876 | 7.5042
2020-06-04 11:30:00 | 5.845 | 166.9 | 6.056 | 180.5 | 5.369 | 169.85 | 5.256 | 174.3 | 32.91 | 963.727 | 24.0804 | 5.5829
2020-06-04 11:45:00 | 3.572 | 178.4 | 4.034 | 192.1 | 3.424 | 180.766 | 3.371 | 183 | 33.46 | 964.009 | 23.876 | 6.4364
2020-06-04 12:00:00 | 4.566 | 152.1 | 4.921 | 169.2 | 4.74 | 159.217 | 4.668 | 164 | 34.25 | 963.792 | 22.173 | 5.2836
2020-06-04 12:15:00 | 5.689 | 172.9 | 5.384 | 187.3 | 4.456 | 176.249 | 4.403 | 187.6 | 34.66 | 963.798 | 18.2561 | 6.7468
2020-06-04 12:30:00 | 4.91 | 164.5 | 5.182 | 179.3 | 4.305 | 168.721 | 4.339 | 179.5 | 34.65 | 964.123 | 21.6621 | 7.9402
2020-06-04 12:45:00 | 4.624 | 294.2 | 5.057 | 312.9 | 4.967 | 294.439 | 4.94 | 291.3 | 34.11 | 963.813 | 24.7275 | 8.79
2020-06-04 13:00:00 | 5.406 | 261 | 5.381 | 274.8 | 4.946 | 258.587 | 4.856 | 259.8 | 34.1 | 963.589 | 24.5572 | 7.4562
2020-06-04 13:15:00 | 5.194 | 250.6 | 5.08 | 266.2 | 4.906 | 250.494 | 4.805 | 254.8 | 33.74 | 963.822 | 25.4768 | 7.6668
2020-06-04 13:30:00 | 3.945 | 253.3 | 4.374 | 264.3 | 4.42 | 248.706 | 4.342 | 254 | 33.8 | 963.548 | 24.6594 | 9.1558
2020-06-04 13:45:00 | 4.045 | 259.1 | 4.141 | 266.4 | 4.461 | 250.682 | 4.314 | 266.4 | 34.36 | 964.124 | 22.0027 | 7.2419
2020-06-04 14:00:00 | 3.109 | 287.2 | 3.75 | 299.8 | 4.394 | 282.112 | 4.309 | 285.2 | 35.25 | 964.224 | 21.8324 | 6.6618
2020-06-04 14:15:00 | 4.366 | 230.3 | 4.54 | 251.8 | 4.435 | 236.944 | 4.464 | 231.9 | 35.32 | 964.122 | 20.6744 | 5.679
2020-06-04 14:30:00 | 4.32 | 236.9 | 4.532 | 248.2 | 4.593 | 233.556 | 4.596 | 233.9 | 35.85 | 964.155 | 20.0909 | 7.0461
2020-06-04 14:45:00 | 3.92 | 258.6 | 4.172 | 268.7 | 4.285 | 252.847 | 4.194 | 263.1 | 35.64 | 964.062 | 18.8292 | 4.0939
2020-06-04 15:00:00 | 3.088 | 285.9 | 3.886 | 300 | 4.394 | 282.3 | 4.331 | 286.4 | 36.32 | 964.224 | 19.0671 | 5.1358
2020-06-04 15:15:00 | 5.168 | 251.5 | 4.972 | 265.1 | 4.908 | 249.459 | 4.846 | 251.8 | 35.66 | 963.882 | 19.3735 | 4.6407
2020-06-04 15:30:00 | 4.446 | 251.6 | 4.504 | 265.4 | 4.127 | 249.741 | 4.041 | 253.4 | 35.33 | 963.586 | 18.8966 | 4.8846
2020-06-04 15:45:00 | 2.469 | 255.2 | 2.986 | 262.9 | 3.052 | 247.389 | 2.951 | 261.7 | 35.61 | 963.733 | 19.4416 | 5.6273
2020-06-04 16:00:00 | 4.096 | 279.6 | 4.65 | 299.5 | 4.964 | 281.829 | 4.854 | 277.1 | 35.92 | 963.881 | 19.3054 | 4.1936
2020-06-04 16:15:00 | 3.228 | 268.1 | 3.898 | 278.6 | 3.858 | 262.163 | 3.761 | 273.8 | 35.76 | 963.593 | 21.0075 | 2.9263
2020-06-04 16:30:00 | 2.815 | 11.15 | 2.99 | 345 | 3.972 | 324.645 | 3.695 | 19.5 | 35.46 | 963.289 | 26.1485 | 6.4955
2020-06-04 16:45:00 | 4.586 | 10.75 | 5.305 | 26.1 | 5.079 | 24.5601 | 5.131 | 5.868 | 33.89 | 962.696 | 27.8514 | 9.1928
2020-06-04 17:00:00 | 2.552 | 13.69 | 4.671 | 36.08 | 3.784 | 33.9513 | 3.613 | 5.526 | 34.02 | 962.956 | 27.7156 | 10.1202
2020-06-04 17:15:00 | 3.51 | 1.548 | 4.103 | 22.44 | 4.471 | 21.116 | 4.505 | 355.9 | 33.67 | 962.967 | 28.3302 | 7.5449
2020-06-04 17:30:00 | 2.814 | 14.82 | 3.497 | 26.2 | 3.303 | 24.6542 | 3.259 | 7.077 | 33.58 | 962.895 | 28.0986 | 6.3071
2020-06-04 17:45:00 | 2.765 | 11.97 | 3.471 | 34.6 | 3.428 | 32.5586 | 3.445 | 5.806 | 33.39 | 963.013 | 28.5082 | 2.409
2020-06-04 18:00:00 | 2.737 | 304.1 | 3.377 | 327.6 | 2.744 | 308.272 | 2.59 | 298.6 | 33.37 | 962.767 | 27.3161 | 1.7366
2020-06-04 18:15:00 | 1.995 | 319.6 | 2.485 | 324.1 | 2.309 | 304.978 | 2.144 | 322.3 | 33.62 | 962.985 | 33.515 | 3.3586
2020-06-04 18:30:00 | 4.204 | 1.986 | 4.784 | 18.88 | 5.386 | 17.7661 | 5.623 | 359.1 | 30.52 | 962.245 | 48.5695 | 9.8098
2020-06-04 18:45:00 | 4.186 | 18.05 | 4.456 | 28.55 | 4.171 | 26.8655 | 4.219 | 19.19 | 29.59 | 961.652 | 47.4841 | 9.4699
2020-06-04 19:00:00 | 2.965 | 13.32 | 2.908 | 19.04 | 2.361 | 17.9166 | 2.166 | 35.69 | 29.64 | 961.8 | 46.2009 | 6.9241
2020-06-04 19:15:00 | 2.942 | 34.21 | 3.234 | 33.47 | 1.999 | 31.4953 | 1.793 | 77.32 | 29.3 | 962.097 | 46.5417 | 5.8194
2020-06-04 19:30:00 | 2.196 | 79.53 | 2.279 | 66.82 | 2.302 | 62.8776 | 2.466 | 123.4 | 28.9 | 961.921 | 49.0706 | 1.574
2020-06-04 19:45:00 | 2.078 | 136.4 | 3.402 | 144.5 | 3.988 | 135.975 | 4.082 | 154.6 | 30.45 | 962.092 | 42.8074 | 1.7994
2020-06-04 20:00:00 | 1.859 | 132.7 | 2.656 | 132.1 | 3.916 | 124.306 | 3.972 | 151.8 | 28.93 | 962.093 | 48.5996 | 4.0126
2020-06-04 20:15:00 | 2.426 | 92.4 | 2.219 | 72.33 | 1.844 | 68.0625 | 2.156 | 147.6 | 27.74 | 961.648 | 53.0666 | 3.5988
2020-06-04 20:30:00 | 3.12 | 71.37 | 3.656 | 40.83 | 2.179 | 38.421 | 2.093 | 122.4 | 26.21 | 961.648 | 55.351 | 2.4497
2020-06-04 20:45:00 | 2.242 | 140.6 | 2.036 | 112.1 | 2.97 | 105.486 | 3.285 | 151.2 | 26.03 | 961.883 | 42.6039 | 0.41752
2020-06-04 21:00:00 | 3.81 | 164.8 | 4.699 | 172.4 | 5.491 | 162.228 | 5.541 | 172.9 | 30.89 | 962.637 | 27.846 | 0.75005
2020-06-04 21:15:00 | 3.771 | 156.5 | 4.295 | 164.8 | 4.613 | 155.077 | 4.538 | 166.3 | 31.46 | 963.137 | 28.1186 | 1.0604
2020-06-04 21:30:00 | 4.4 | 169.4 | 4.957 | 179.2 | 4.959 | 168.627 | 4.994 | 178.1 | 31.62 | 963.28 | 27.3347 | 1.2563
2020-06-04 21:45:00 | 3.529 | 166.5 | 3.855 | 176.7 | 4.021 | 166.275 | 4.023 | 177.7 | 31.39 | 963.576 | 28.3569 | 0.89785
2020-06-04 22:00:00 | 1.891 | 170 | 3.085 | 183.3 | 3.68 | 172.485 | 3.73 | 179.8 | 30.93 | 963.873 | 29.8564 | 0.23647
2020-06-04 22:15:00 | 3.133 | 170.9 | 4.07 | 181.8 | 4.616 | 171.074 | 4.67 | 179 | 31.17 | 963.576 | 29.311 | 1.4188
2020-06-04 22:30:00 | 5.278 | 168.3 | 5.392 | 179.2 | 5.414 | 168.627 | 5.511 | 176.4 | 31.25 | 963.576 | 28.0154 | 7.3527
2020-06-04 22:45:00 | 5.995 | 169.9 | 6.412 | 181.5 | 6.928 | 170.792 | 6.932 | 177.1 | 31.09 | 963.872 | 28.764 | 8.3614
2020-06-04 23:00:00 | 5.679 | 162.4 | 6.187 | 174.1 | 6.622 | 163.828 | 6.687 | 169.5 | 30.65 | 963.534 | 30.7416 | 10.8776
2020-06-04 23:15:00 | 5.812 | 162 | 6.509 | 173.3 | 7.024 | 163.075 | 7.051 | 171.2 | 30.2 | 963.569 | 28.2879 | 8.7679
2020-06-04 23:30:00 | 5.671 | 159.7 | 6.054 | 171.8 | 6.091 | 161.664 | 6.257 | 169.9 | 30.49 | 963.823 | 31.9691 | 8.7272
2020-06-04 23:45:00 | 6.205 | 156.8 | 6.913 | 169.5 | 7.279 | 159.499 | 7.235 | 164.4 | 29.99 | 963.576 | 31.0837 | 13.4603