## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-05 00:00:00 | 6.008 | 160.8 | 6.741 | 173.3 | 6.996 | 163.075 | 7.013 | 169 | 29.91 | 963.873 | 30.6743 | 3.6394
2020-06-05 00:15:00 | 3.447 | 168.4 | 4.067 | 182.1 | 4.832 | 171.356 | 4.833 | 176.8 | 28.31 | 963.428 | 52.1443 | 0.97174
2020-06-05 00:30:00 | 2.125 | 157.5 | 3.64 | 165.7 | 5.274 | 155.924 | 5.421 | 165.9 | 27.59 | 962.686 | 34.6966 | 2.5051
2020-06-05 00:45:00 | 4.152 | 167.7 | 5.839 | 178.2 | 6.302 | 167.686 | 6.249 | 177.4 | 28.57 | 962.835 | 32.6176 | 5.2615
2020-06-05 01:00:00 | 4.134 | 176.5 | 5.11 | 186.1 | 5.577 | 175.12 | 5.671 | 182.1 | 28.82 | 963.131 | 32.7198 | 3.4251
2020-06-05 01:15:00 | 3.784 | 175.5 | 4.931 | 186.1 | 5.585 | 175.12 | 5.579 | 184 | 29.04 | 963.28 | 31.9018 | 2.18
2020-06-05 01:30:00 | 3.508 | 176.7 | 4.474 | 185.4 | 4.885 | 174.461 | 4.981 | 187 | 29.2 | 963.428 | 31.2202 | 2.0728
2020-06-05 01:45:00 | 3.253 | 186.5 | 4.172 | 194 | 5.028 | 182.554 | 5.243 | 196.9 | 29.31 | 962.983 | 31.152 | 2.93
2020-06-05 02:00:00 | 3.136 | 198.9 | 4.272 | 204.3 | 5.257 | 192.246 | 5.406 | 207.5 | 29.46 | 963.28 | 32.1063 | 2.313
2020-06-05 02:15:00 | 3.072 | 201 | 4.3 | 205.7 | 4.898 | 193.564 | 5.085 | 211 | 29.26 | 963.28 | 32.379 | 1.4447
2020-06-05 02:30:00 | 0.926 | 189.1 | 2.16 | 199.7 | 3.382 | 187.918 | 3.585 | 203.7 | 28.27 | 963.131 | 47.3753 | 0.97544
2020-06-05 02:45:00 | 2.691 | 356.7 | 2.28 | 5.721 | 0.541 | 5.3835 | 0.339 | 189 | 21.82 | 961.805 | 78.4594 | 7.2825
2020-06-05 03:00:00 | 4.114 | 11.37 | 3.778 | 9.6 | 3.331 | 9.0336 | 2.977 | 20.61 | 19.07 | 961.788 | 83.347 | 11.2619
2020-06-05 03:15:00 | 4.356 | 8.61 | 4.287 | 20.41 | 4.036 | 19.2058 | 3.792 | 17.29 | 18.32 | 960.903 | 84.5322 | 8.8159
2020-06-05 03:30:00 | 3.044 | 325.8 | 2.727 | 11.33 | 3.598 | 10.6615 | 3.988 | 311.9 | 19.01 | 961.334 | 71.1446 | 3.6431
2020-06-05 03:45:00 | 2.827 | 344.9 | 3.31 | 7.039 | 1.972 | 6.6237 | 1.517 | 330.5 | 22.59 | 962.235 | 74.7612 | 1.0863
2020-06-05 04:00:00 | 3.092 | 148.8 | 1.937 | 56.9 | 1.576 | 53.5429 | 1.607 | 162.8 | 22.28 | 962.235 | 72.2374 | 1.9767
2020-06-05 04:15:00 | 3.005 | 117.2 | 1.414 | 48.07 | 0.522 | 45.2339 | 0.049 | 144.8 | 22.2 | 962.235 | 77.3533 | 1.7255
2020-06-05 04:30:00 | 3.136 | 327.3 | 1.677 | 353.7 | 1.574 | 332.832 | 1.473 | 320.3 | 22.59 | 962.532 | 56.7528 | -0.27711
2020-06-05 04:45:00 | 1.739 | 311.7 | 1.697 | 301.4 | 1.429 | 283.617 | 1.254 | 320.1 | 25.96 | 963.125 | 44.2644 | -0.29559
2020-06-05 05:00:00 | 4.111 | 340.4 | 3.584 | 344.6 | 3.487 | 324.269 | 3.412 | 346.3 | 26.42 | 963.134 | 73.3163 | 4.3599
2020-06-05 05:15:00 | 3.649 | 359.1 | 3.712 | 29.45 | 3.222 | 27.7124 | 3.183 | 352.2 | 19.58 | 961.497 | 84.2285 | 2.9928
2020-06-05 05:30:00 | 3.212 | 52.71 | 3.039 | 53.9 | 2.042 | 50.7199 | 1.966 | 5.966 | 20.37 | 961.767 | 75.5038 | 1.5408
2020-06-05 05:45:00 | 3.11 | 46.31 | 2.945 | 75.99 | 2.589 | 71.5066 | 2.503 | 39.77 | 20.15 | 961.938 | 53.4788 | -0.084982
2020-06-05 06:00:00 | 2.919 | 63.66 | 3.328 | 84.2 | 3.092 | 79.2322 | 3.04 | 67.25 | 24.53 | 962.977 | 50.5457 | -0.29189
2020-06-05 06:15:00 | 1.308 | 127.5 | 2.26 | 152.9 | 2.484 | 143.879 | 2.401 | 119.2 | 25.5 | 963.005 | 47.1954 | -0.073897
2020-06-05 06:30:00 | 1.98 | 141.6 | 2.699 | 175.7 | 2.67 | 165.334 | 2.302 | 147 | 25.55 | 963.277 | 61.1666 | 0.19213
2020-06-05 06:45:00 | 2.819 | 140.3 | 2.543 | 183.9 | 1.8 | 173.05 | 1.351 | 131.7 | 22.21 | 962.98 | 59.1193 | 0.25864
2020-06-05 07:00:00 | 1.89 | 110.1 | 2.761 | 132.9 | 3.548 | 125.059 | 3.603 | 119.4 | 22.82 | 963.277 | 59.589 | 0.29559
2020-06-05 07:15:00 | 0.834 | 94.3 | 1.204 | 50.67 | 2.779 | 47.6805 | 3.216 | 119.7 | 21.45 | 963.425 | 66.4053 | 0.22908
2020-06-05 07:30:00 | 0.53 | 116.2 | 0.434 | 57.13 | 1.658 | 53.7593 | 1.795 | 130.2 | 20.82 | 963.277 | 67.0851 | -0.040643
2020-06-05 07:45:00 | 0.378 | 70.78 | 0.546 | 52.91 | 1.199 | 49.7883 | 1.673 | 116.6 | 20.73 | 963.573 | 66.1288 | 0.084982
2020-06-05 08:00:00 | 1.237 | 24.87 | 0.998 | 2.333 | 1.38 | 2.1953 | 1.039 | 63.46 | 21 | 963.845 | 64.353 | 0.0073897
2020-06-05 08:15:00 | 2.76 | 334.7 | 2.115 | 337.8 | 0.952 | 317.87 | 0.734 | 337.7 | 21.6 | 964.223 | 65.3034 | 0.55423
2020-06-05 08:30:00 | 3.378 | 295.4 | 3.103 | 308.8 | 0.567 | 290.581 | 0.155 | 304.6 | 20.1 | 964.508 | 67.8937 | 3.4547
2020-06-05 08:45:00 | 3.741 | 300.6 | 3.666 | 313.1 | 2.008 | 294.627 | 1.725 | 315.1 | 20.03 | 964.415 | 68.6435 | 4.4449
2020-06-05 09:00:00 | 3.976 | 312 | 4.182 | 320.7 | 3.563 | 301.779 | 3.468 | 316.5 | 20.24 | 964.738 | 67.4875 | 5.5829
2020-06-05 09:15:00 | 3.774 | 326.7 | 4.019 | 325.2 | 3.68 | 306.013 | 3.715 | 340.8 | 20.94 | 965.205 | 66.8803 | 4.8403
2020-06-05 09:30:00 | 4.086 | 322.3 | 4.479 | 319.1 | 4.257 | 300.273 | 4.067 | 341.1 | 21.49 | 965.157 | 62.5095 | 4.5631
2020-06-05 09:45:00 | 3.736 | 319.6 | 4.093 | 321.1 | 3.558 | 302.155 | 3.463 | 334.4 | 22.66 | 965.073 | 62.5767 | 3.6431
2020-06-05 10:00:00 | 2.88 | 7.919 | 2.953 | 357.6 | 2.788 | 336.502 | 2.587 | 7.484 | 23.39 | 965.356 | 60.7703 | 3.1517
2020-06-05 10:15:00 | 3.348 | 351.2 | 4.515 | 332.6 | 3.971 | 312.977 | 3.884 | 3.931 | 23.47 | 966.245 | 57.3955 | 5.6642
2020-06-05 10:30:00 | 4.052 | 351.2 | 3.988 | 357.3 | 3.33 | 336.219 | 3.43 | 340.9 | 24.36 | 966.406 | 57.6953 | 7.0017
2020-06-05 10:45:00 | 3.591 | 9.91 | 3.573 | 8.28 | 3.313 | 7.7915 | 3.092 | 9.11 | 24.49 | 966.109 | 56.2536 | 3.4066
2020-06-05 11:00:00 | 1.734 | 14.53 | 2.805 | 38.53 | 2.484 | 36.2567 | 2.33 | 2.027 | 25.15 | 966.544 | 53.6627 | 2.1172
2020-06-05 11:15:00 | 1.648 | 17.59 | 2.292 | 14.35 | 2.91 | 13.5033 | 2.61 | 24.75 | 25.6 | 966.84 | 52.8791 | 1.308
2020-06-05 11:30:00 | 1.257 | 22.66 | 2.364 | 34.58 | 3.214 | 32.5398 | 3.026 | 14.36 | 26.18 | 966.989 | 50.2215 | 1.5186
2020-06-05 11:45:00 | 1.346 | 16.08 | 2.128 | 18.35 | 2.371 | 17.2673 | 2.035 | 16.88 | 26.68 | 966.989 | 52.6065 | 0.0073897
2020-06-05 12:00:00 | 1.236 | 5.715 | 1.353 | 10.67 | 0.783 | 10.0405 | 0.549 | 13.78 | 26.57 | 966.84 | 52.1295 | -0.20691
2020-06-05 12:15:00 | 5.49 | 302 | 5.619 | 315.4 | 4.781 | 296.791 | 4.634 | 304.7 | 25.37 | 966.544 | 57.3084 | 4.0495
2020-06-05 12:30:00 | 3.93 | 314.9 | 4.047 | 323.9 | 3.837 | 304.79 | 3.792 | 314.3 | 24.81 | 965.951 | 56.0818 | 12.943
2020-06-05 12:45:00 | 3.185 | 8.44 | 5.138 | 30.3 | 4.771 | 28.5123 | 4.646 | 359.4 | 24.32 | 965.909 | 61.6186 | 16.4199
2020-06-05 13:00:00 | 3.676 | 355.3 | 4.092 | 359.5 | 4.259 | 338.289 | 4.151 | 353 | 24.12 | 965.8 | 62.8449 | 8.5129
2020-06-05 13:15:00 | 1.979 | 37 | 2.529 | 56.31 | 3.519 | 52.9877 | 3.114 | 20.73 | 25.04 | 966.097 | 59.3665 | 5.5977
2020-06-05 13:30:00 | 1.891 | 18.34 | 3.096 | 37.56 | 2.902 | 35.344 | 2.668 | 15.81 | 24.71 | 965.949 | 59.1636 | 3.6468
2020-06-05 13:45:00 | 1.834 | 23.98 | 3.58 | 36.48 | 3.657 | 34.3277 | 3.369 | 22.07 | 25.92 | 965.949 | 55.1453 | 4.5114
2020-06-05 14:00:00 | 2.154 | 21.08 | 4.235 | 34.59 | 3.985 | 32.5492 | 3.723 | 9.67 | 27.16 | 966.523 | 53.7806 | 5.4203
2020-06-05 14:15:00 | 3.116 | 17.76 | 4.729 | 31.56 | 4.631 | 29.698 | 4.494 | 19.58 | 26.54 | 966.43 | 52.5397 | 6.1261
2020-06-05 14:30:00 | 3.273 | 9.42 | 5.098 | 27.96 | 5.13 | 26.3104 | 4.981 | 6.359 | 27.08 | 965.951 | 51.7547 | 8.4316
2020-06-05 14:45:00 | 3.613 | 21.03 | 5.555 | 39.79 | 4.86 | 37.4424 | 4.578 | 16.51 | 27.17 | 966.099 | 51.414 | 7.1384
2020-06-05 15:00:00 | 1.967 | 15.32 | 5.026 | 35.14 | 4.054 | 33.0667 | 3.84 | 9.89 | 27.55 | 966.099 | 53.8671 | 9.2297
2020-06-05 15:15:00 | 2.456 | 22.44 | 4.656 | 35.25 | 5.549 | 33.1702 | 5.345 | 21.67 | 27.53 | 966.248 | 51.5162 | 9.2186
2020-06-05 15:30:00 | 2.917 | 18.64 | 4.74 | 30.56 | 5.363 | 28.757 | 5.225 | 13.56 | 28.38 | 966.396 | 52.5383 | 5.3501
2020-06-05 15:45:00 | 3.858 | 8 | 4.609 | 28.68 | 3.621 | 26.9879 | 3.649 | 1.632 | 27.64 | 966.248 | 52.4647 | 4.5557
2020-06-05 16:00:00 | 2.55 | 15.85 | 3.696 | 31.69 | 3.647 | 29.8203 | 3.606 | 12.47 | 27.77 | 965.951 | 52.9767 | 4.6555
2020-06-05 16:15:00 | 2.789 | 12.88 | 4.116 | 36.88 | 3.766 | 34.7041 | 3.58 | 5.225 | 27.88 | 965.951 | 54.7812 | 4.5521
2020-06-05 16:30:00 | 3.117 | 10.32 | 3.805 | 28.95 | 3.207 | 27.2419 | 3.211 | 3.36 | 27.73 | 965.506 | 56.3873 | 2.0248
2020-06-05 16:45:00 | 2.777 | 10.45 | 3.625 | 28.63 | 3.28 | 26.9408 | 3.131 | 7.973 | 27.54 | 965.358 | 55.9114 | 1.4299
2020-06-05 17:00:00 | 3.161 | 4.72 | 3.211 | 27.03 | 2.818 | 25.4352 | 2.753 | 356.3 | 27.69 | 965.21 | 55.9455 | 0.84612
2020-06-05 17:15:00 | 1.767 | 4.589 | 2.624 | 33.48 | 2.228 | 31.5047 | 2.174 | 351.7 | 27.86 | 965.506 | 55.1618 | 1.4668
2020-06-05 17:30:00 | 3.348 | 354 | 3.062 | 11.91 | 3.092 | 11.2073 | 2.956 | 353.6 | 27.69 | 964.913 | 54.6848 | 0.58379
2020-06-05 17:45:00 | 2.835 | 352.3 | 2.505 | 15.49 | 2.502 | 14.5761 | 2.457 | 351.7 | 27.91 | 965.358 | 54.3782 | 0.62073
2020-06-05 18:00:00 | 2.949 | 2.041 | 2.633 | 15.31 | 2.164 | 14.4067 | 2.19 | 0.257 | 27.81 | 964.913 | 55.0596 | 0.2882
2020-06-05 18:15:00 | 2.278 | 355.1 | 2.671 | 7.344 | 2.54 | 6.9107 | 2.401 | 0.907 | 27.57 | 964.469 | 56.0818 | 0.18105
2020-06-05 18:30:00 | 2.316 | 349.7 | 2.781 | 4.992 | 2.637 | 4.6975 | 2.564 | 356.7 | 27.28 | 964.85 | 56.9156 | 0.45816
2020-06-05 18:45:00 | 2.395 | 346.7 | 2.876 | 350.2 | 2.573 | 329.538 | 2.325 | 355.5 | 27 | 964.911 | 58.3148 | 0.12562
2020-06-05 19:00:00 | 3.087 | 347.7 | 3.267 | 353.1 | 3.336 | 332.267 | 3.193 | 354.7 | 26.87 | 964.911 | 59.032 | 0.45077
2020-06-05 19:15:00 | 2.896 | 348.3 | 3.316 | 355.4 | 2.751 | 334.431 | 2.551 | 355.3 | 26.54 | 965.207 | 58.4867 | 0.91632
2020-06-05 19:30:00 | 3.141 | 341 | 3.533 | 352.9 | 3.077 | 332.079 | 2.946 | 348.3 | 26.49 | 965.225 | 59.3047 | 1.1565
2020-06-05 19:45:00 | 3.746 | 0.118 | 3.725 | 10.59 | 3.542 | 9.9652 | 3.364 | 353.5 | 26.19 | 965.323 | 58.2832 | 2.7933
2020-06-05 20:00:00 | 4.42 | 356.2 | 4.157 | 9.6 | 3.471 | 9.0336 | 3.552 | 356.7 | 26.2 | 965.353 | 57.8822 | 3.3993
2020-06-05 20:15:00 | 3.904 | 8.23 | 3.745 | 14.01 | 3.797 | 13.1834 | 4.245 | 0.851 | 26.22 | 965.353 | 58.0194 | 3.9609
2020-06-05 20:30:00 | 4.402 | 16.47 | 4.44 | 15.39 | 4.893 | 14.482 | 4.759 | 0.96 | 26.18 | 965.205 | 57.9512 | 7.0682
2020-06-05 20:45:00 | 3.657 | 10.05 | 5.315 | 29.03 | 5.079 | 27.3172 | 4.991 | 12.93 | 25.95 | 965.205 | 59.0421 | 6.0115
2020-06-05 21:00:00 | 4.241 | 20.26 | 4.944 | 39.27 | 5.241 | 36.9531 | 5.22 | 23.39 | 26.06 | 965.055 | 58.9739 | 6.0189
2020-06-05 21:15:00 | 4.004 | 10.35 | 5.179 | 30.34 | 5.096 | 28.5499 | 4.973 | 18.45 | 26.32 | 965.057 | 58.4285 | 6.5325
2020-06-05 21:30:00 | 3.608 | 13.21 | 4.814 | 31.66 | 5.178 | 29.7921 | 5.09 | 16.56 | 26.26 | 965.501 | 59.2466 | 4.9289
2020-06-05 21:45:00 | 3.605 | 14.69 | 4.752 | 32.46 | 5.107 | 30.5449 | 5.088 | 16.89 | 26.16 | 965.353 | 58.9057 | 3.0519
2020-06-05 22:00:00 | 3.401 | 19.46 | 4.53 | 37.51 | 4.768 | 35.2969 | 4.82 | 20.67 | 26.31 | 965.338 | 59.4512 | 1.5888
2020-06-05 22:15:00 | 3.787 | 16.67 | 4.238 | 36.38 | 4.534 | 34.2336 | 4.482 | 20.48 | 26.28 | 965.65 | 59.7239 | 0.45816
2020-06-05 22:30:00 | 3.159 | 17.3 | 4.277 | 35.76 | 4.199 | 33.6502 | 3.998 | 28.03 | 26.17 | 965.501 | 61.0533 | 0.46925
2020-06-05 22:45:00 | 3.087 | 40.42 | 3.832 | 52.2 | 3.532 | 49.1202 | 3.448 | 49.26 | 26.13 | 965.798 | 61.5647 | -0.022169
2020-06-05 23:00:00 | 2.99 | 30.8 | 3.781 | 46.11 | 3.336 | 43.3895 | 3.343 | 46.7 | 25.7 | 965.65 | 62.5873 | 0.10346
2020-06-05 23:15:00 | 2.117 | 61.9 | 2.919 | 54.17 | 3.26 | 50.974 | 3.315 | 80.8 | 25.76 | 966.095 | 60.2011 | -0.34362
2020-06-05 23:30:00 | 1.496 | 92.2 | 2.444 | 85.1 | 3.189 | 80.0791 | 3.315 | 107.7 | 26 | 966.095 | 56.1786 | -0.20691
2020-06-05 23:45:00 | 0.179 | 138.9 | 0.24 | 147.6 | 1.08 | 138.892 | 1.004 | 125.5 | 27.09 | 966.391 | 56.1104 | -0.26603