## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-06 00:00:00 | 1.537 | 144.2 | 0.469 | 146.2 | 0.695 | 137.574 | 0.539 | 125.6 | 26.32 | 966.243 | 62.7237 | -0.25125
2020-06-06 00:15:00 | 1.037 | 120.4 | 1.693 | 127 | 2.146 | 119.507 | 2.169 | 118.5 | 25.8 | 966.54 | 53.5879 | -0.15888
2020-06-06 00:30:00 | 1.407 | 131.2 | 2.52 | 155 | 3.176 | 145.855 | 3.188 | 132.7 | 26.77 | 966.54 | 54.5423 | -0.084981
2020-06-06 00:45:00 | 0.123 | 160.6 | 1.363 | 161.8 | 1.489 | 152.254 | 1.262 | 147.9 | 26.52 | 966.391 | 55.0196 | -0.19583
2020-06-06 01:00:00 | 1.229 | 128.9 | 2.15 | 158.3 | 2.797 | 148.96 | 2.793 | 133.9 | 26.49 | 966.243 | 58.9398 | -0.2882
2020-06-06 01:15:00 | 0.026 | 144.1 | 0.817 | 159.9 | 1.532 | 150.466 | 1.554 | 151.3 | 26.44 | 966.391 | 57.8831 | -0.25125
2020-06-06 01:30:00 | 1.13 | 164.6 | 0.497 | 153.4 | 0.105 | 144.349 | 0.046 | 152.3 | 25.54 | 966.54 | 78.6092 | 0.97174
2020-06-06 01:45:00 | 2.888 | 5.738 | 2.878 | 25.3 | 1.854 | 23.8073 | 1.368 | 337.8 | 22.11 | 965.65 | 84.0029 | 1.9139
2020-06-06 02:00:00 | 2.13 | 290.4 | 2.531 | 316.3 | 2.543 | 297.638 | 2.378 | 284.7 | 22.35 | 965.65 | 81.2819 | 2.6935
2020-06-06 02:15:00 | 3.96 | 348.4 | 3.824 | 27.96 | 2.271 | 26.3104 | 2.09 | 330.6 | 21.36 | 965.205 | 85.0456 | 4.2047
2020-06-06 02:30:00 | 3.511 | 342 | 3.369 | 7.61 | 2.927 | 7.161 | 2.837 | 336.5 | 22.15 | 965.057 | 87.5702 | 4.6481
2020-06-06 02:45:00 | 3.991 | 349.5 | 3.188 | 22.72 | 2.767 | 21.3795 | 2.574 | 344 | 20.75 | 965.413 | 88.8661 | 3.3697
2020-06-06 03:00:00 | 3.981 | 9.64 | 3.257 | 21.9 | 3.375 | 20.6079 | 3.331 | 353.7 | 20.58 | 965.347 | 84.1996 | 2.1245
2020-06-06 03:15:00 | 3.102 | 11.47 | 3.602 | 10.29 | 3.871 | 9.6829 | 4.125 | 6.798 | 24.19 | 966.093 | 68.6856 | 1.0235
2020-06-06 03:30:00 | 2.653 | 11.45 | 4.095 | 30.84 | 4.005 | 29.0204 | 3.797 | 16.71 | 24.58 | 966.317 | 66.2235 | 1.8626e-09
2020-06-06 03:45:00 | 2.589 | 21.64 | 3.459 | 34.26 | 2.395 | 32.2387 | 2.141 | 21.78 | 25.05 | 966.392 | 63.6999 | -0.31406
2020-06-06 04:00:00 | 2.153 | 30.89 | 2.293 | 34.44 | 0.228 | 32.408 | 0.068 | 37.72 | 25.53 | 966.392 | 60.5533 | -0.27342
2020-06-06 04:15:00 | 1.799 | 78.41 | 1.673 | 34.58 | 0.083 | 32.5398 | 0.009 | 56.18 | 25.79 | 966.243 | 63.1436 | -0.24016
2020-06-06 04:30:00 | 0.412 | 62.45 | 0.357 | 34.57 | 0 | 32.5304 | 0 | 56.17 | 25.76 | 966.54 | 62.3935 | -0.25125
2020-06-06 04:45:00 | 0 | 62.46 | 0 | 34.49 | 0 | 32.4551 | 0 | 56.17 | 25.81 | 966.243 | 62.188 | -0.25125
2020-06-06 05:00:00 | 1.675 | 138 | 2.04 | 150.4 | 1.162 | 141.526 | 0.447 | 100.5 | 25.55 | 966.095 | 65.6656 | 1.4114
2020-06-06 05:15:00 | 2.541 | 144.7 | 4.121 | 158.2 | 3.593 | 148.866 | 3.387 | 153.6 | 24.7 | 966.095 | 71.289 | 12.4147
2020-06-06 05:30:00 | 5.595 | 142 | 6.376 | 156.6 | 5.714 | 147.361 | 5.307 | 149.3 | 24.51 | 965.65 | 71.1207 | 20.6468
2020-06-06 05:45:00 | 4.338 | 135.3 | 5.652 | 149.4 | 5.592 | 140.585 | 5.36 | 146.4 | 24.32 | 965.947 | 72.2451 | 22.7122
2020-06-06 06:00:00 | 4.456 | 134.2 | 5.606 | 151.2 | 5.867 | 142.279 | 5.722 | 141.1 | 24.71 | 966.095 | 69.8252 | 17.4212
2020-06-06 06:15:00 | 5.697 | 123.4 | 6.394 | 140.1 | 6.648 | 131.834 | 6.499 | 132.9 | 24.61 | 965.947 | 71.727 | 18.3375
2020-06-06 06:30:00 | 6.044 | 126.1 | 6.749 | 140.2 | 6.943 | 131.928 | 6.72 | 134.5 | 24.39 | 966.095 | 73.4278 | 15.8472
2020-06-06 06:45:00 | 5.178 | 132.1 | 5.89 | 150.3 | 5.809 | 141.432 | 5.717 | 137.3 | 24.43 | 966.243 | 74.1094 | 16.4199
2020-06-06 07:00:00 | 6.108 | 138.6 | 6.235 | 157.7 | 5.371 | 148.396 | 5.22 | 139.3 | 24.42 | 966.837 | 74.2458 | 11.369
2020-06-06 07:15:00 | 5.171 | 146.6 | 5.591 | 160.9 | 5.208 | 151.407 | 5.129 | 152.5 | 24.47 | 967.128 | 72.3995 | 2.1578
2020-06-06 07:30:00 | 3.049 | 149.5 | 3.011 | 166.6 | 2.309 | 156.771 | 2.2 | 153.5 | 25 | 967.299 | 70.3477 | -0.2845
2020-06-06 07:45:00 | 1.433 | 163.3 | 1.85 | 180.9 | 2.04 | 170.227 | 1.981 | 170.9 | 25.5 | 967.729 | 65.0307 | -0.33623
2020-06-06 08:00:00 | 2.464 | 132 | 1.595 | 309.2 | 1.543 | 290.957 | 1.476 | 83.4 | 23.3 | 967.58 | 76.1372 | -0.25125
2020-06-06 08:15:00 | 3.009 | 0.21 | 3.116 | 24.59 | 3.161 | 23.1392 | 3.145 | 349.5 | 23.04 | 967.728 | 75.321 | -0.18105
2020-06-06 08:30:00 | 2.538 | 13.93 | 2.712 | 30.04 | 1.782 | 28.2676 | 1.629 | 13.89 | 23.15 | 967.728 | 73.6842 | -0.13671
2020-06-06 08:45:00 | 2.204 | 24.15 | 2.403 | 32.69 | 1.615 | 30.7613 | 1.535 | 4.855 | 23.87 | 968.321 | 69.3219 | -0.20691
2020-06-06 09:00:00 | 2.137 | 30.57 | 2.375 | 47.3 | 1.765 | 44.5093 | 1.529 | 31.8 | 24.78 | 968.594 | 68.1634 | -0.23647
2020-06-06 09:15:00 | 1.768 | 2.055 | 1.881 | 21.76 | 0.77 | 20.4762 | 0.428 | 1.511 | 25.84 | 968.64 | 62.2154 | -0.2882
2020-06-06 09:30:00 | 2.161 | 20.39 | 2.502 | 11.58 | 2.191 | 10.8968 | 1.89 | 32.34 | 26.98 | 968.768 | 60.1022 | -0.24386
2020-06-06 09:45:00 | 3.33 | 355.5 | 3.707 | 330.1 | 3.163 | 310.624 | 3.105 | 16.66 | 26.95 | 969.212 | 58.1882 | -0.25494
2020-06-06 10:00:00 | 2.694 | 347.7 | 3.425 | 336.5 | 3.074 | 316.646 | 2.864 | 5.636 | 27.55 | 969.36 | 59.8866 | -0.26603
2020-06-06 10:15:00 | 3.049 | 342.6 | 4.083 | 327.8 | 3.733 | 308.46 | 3.531 | 14.37 | 27.63 | 969.509 | 58.3487 | -0.29189
2020-06-06 10:30:00 | 1.535 | 17.5 | 2.638 | 23.76 | 3.347 | 22.3582 | 3.224 | 16.8 | 28.46 | 969.212 | 57.3574 | -0.23647
2020-06-06 10:45:00 | 1.655 | 28.28 | 2.414 | 37.53 | 2.593 | 35.3157 | 2.526 | 16.01 | 28.75 | 969.657 | 53.2698 | -0.26972
2020-06-06 11:00:00 | 2.258 | 3.786 | 2.8 | 2.326 | 3.425 | 2.1888 | 3.202 | 9.33 | 29.3 | 969.805 | 55.0409 | -0.2882
2020-06-06 11:15:00 | 2.79 | 18.68 | 3.397 | 11.26 | 3.024 | 10.5957 | 2.951 | 16.54 | 29.71 | 969.509 | 53.3038 | 0.19213
2020-06-06 11:30:00 | 3.92 | 309.4 | 4.701 | 312.3 | 3.83 | 293.874 | 3.812 | 317.4 | 28.97 | 969.509 | 52.8951 | 0.55792
2020-06-06 11:45:00 | 2.213 | 357.9 | 3.647 | 0.351 | 3.542 | 0.33029 | 3.356 | 359.1 | 30.01 | 969.36 | 49.4551 | 0.7131
2020-06-06 12:00:00 | 3.43 | 0.694 | 4.112 | 359.9 | 3.772 | 338.666 | 3.718 | 1.311 | 30.4 | 969.212 | 47.9905 | 1.2156
2020-06-06 12:15:00 | 4.264 | 317.7 | 5.151 | 318.5 | 4.636 | 299.708 | 4.634 | 328.4 | 30.13 | 969.36 | 48.876 | 1.6516
2020-06-06 12:30:00 | 4.749 | 322.5 | 5.057 | 316.7 | 4.226 | 298.015 | 4.267 | 335.5 | 29.77 | 969.212 | 50.1022 | 0.5727
2020-06-06 12:45:00 | 3.999 | 301 | 3.914 | 305.2 | 3.616 | 287.193 | 3.545 | 315.5 | 30.08 | 968.768 | 48.2017 | -0.12932
2020-06-06 13:00:00 | 3.381 | 287.5 | 3.08 | 302.3 | 2.769 | 284.464 | 2.618 | 283 | 29.77 | 968.916 | 46.8742 | -0.23278
2020-06-06 13:15:00 | 3.429 | 289 | 3.791 | 300.7 | 3.265 | 282.959 | 3.145 | 286.5 | 30.2 | 968.916 | 45.001 | -0.18844
2020-06-06 13:30:00 | 4.114 | 289.2 | 4.267 | 300.6 | 4.074 | 282.865 | 3.972 | 293.7 | 30.64 | 968.916 | 46.2609 | -0.24386
2020-06-06 13:45:00 | 4.203 | 268.2 | 4.415 | 277.5 | 4.575 | 261.128 | 4.492 | 272.6 | 30.57 | 969.064 | 45.7834 | -0.22539
2020-06-06 14:00:00 | 3.128 | 288.8 | 3.622 | 299.1 | 3.069 | 281.453 | 2.803 | 289.9 | 30.53 | 969.212 | 44.3836 | -0.077592
2020-06-06 14:15:00 | 3.695 | 297.3 | 3.998 | 304.5 | 3.286 | 286.534 | 3.359 | 302.6 | 31.42 | 969.36 | 43.3924 | -0.26603
2020-06-06 14:30:00 | 3.475 | 297.4 | 3.402 | 317.4 | 3.052 | 298.673 | 2.849 | 295.7 | 31 | 969.064 | 42.4046 | -0.022169
2020-06-06 14:45:00 | 3.51 | 298.1 | 4.044 | 314.2 | 4.144 | 295.662 | 3.996 | 295.4 | 31.53 | 969.064 | 42.4387 | -0.19583
2020-06-06 15:00:00 | 1.908 | 293.7 | 2.449 | 308.9 | 2.415 | 290.675 | 2.261 | 299.7 | 31.87 | 969.497 | 40.0886 | -0.081287
2020-06-06 15:15:00 | 3.12 | 280.4 | 3.385 | 288.8 | 2.226 | 271.761 | 2.024 | 276.8 | 32.37 | 969.106 | 39.8501 | -0.32145
2020-06-06 15:30:00 | 2.409 | 274.5 | 2.983 | 289.4 | 2.31 | 272.325 | 2.16 | 264.3 | 32 | 969.409 | 40.8719 | -0.23278
2020-06-06 15:45:00 | 0.969 | 196.1 | 1.368 | 214.2 | 1.087 | 201.562 | 1.135 | 191.9 | 31.86 | 969.14 | 38.7262 | -0.26972
2020-06-06 16:00:00 | 2.447 | 287 | 2.986 | 299 | 2.317 | 281.359 | 2.272 | 286.6 | 32.45 | 969.16 | 39.3382 | -0.29928
2020-06-06 16:15:00 | 1.705 | 306.4 | 2.059 | 321.8 | 1.88 | 302.814 | 1.759 | 306.9 | 32.57 | 968.86 | 37.0904 | -0.2882
2020-06-06 16:30:00 | 3 | 262.1 | 3.18 | 275.4 | 2.907 | 259.151 | 2.755 | 259.8 | 32.83 | 968.628 | 39.7104 | -0.29928
2020-06-06 16:45:00 | 1.224 | 258.5 | 1.962 | 273.3 | 1.671 | 257.175 | 1.523 | 266.1 | 32.94 | 968.841 | 38.4868 | -0.29928
2020-06-06 17:00:00 | 1.497 | 294.2 | 2.049 | 316.9 | 1.751 | 298.203 | 1.652 | 290.6 | 32.65 | 968.697 | 37.9765 | -0.26972
2020-06-06 17:15:00 | 1.436 | 174.7 | 1.832 | 203.2 | 0.969 | 191.211 | 0.967 | 186.9 | 32.73 | 968.692 | 38.1471 | -0.2882
2020-06-06 17:30:00 | 1.366 | 328.4 | 1.747 | 330 | 1.432 | 310.53 | 1.425 | 319.7 | 33.18 | 968.534 | 38.9986 | -0.26972
2020-06-06 17:45:00 | 0.004 | 198.6 | 0.715 | 235.3 | 0.155 | 221.417 | 0.099 | 181.4 | 32.66 | 967.923 | 38.8283 | -0.24386
2020-06-06 18:00:00 | 1.817 | 256.5 | 2.069 | 274.1 | 1.419 | 257.928 | 1.172 | 248.4 | 32 | 967.562 | 41.2125 | -0.26972
2020-06-06 18:15:00 | 2.268 | 235.9 | 2.577 | 253 | 1.812 | 238.073 | 1.772 | 236.5 | 31.47 | 966.988 | 42.3024 | -0.25125
2020-06-06 18:30:00 | 0.723 | 265 | 1.762 | 272 | 1.398 | 255.952 | 1.252 | 260.6 | 31.27 | 967.136 | 42.2366 | -0.25125
2020-06-06 18:45:00 | 0.043 | 197.7 | 0.045 | 239.1 | 0.157 | 224.993 | 0.341 | 196.8 | 31.27 | 966.84 | 37.9528 | -0.25125
2020-06-06 19:00:00 | 0.004 | 188.2 | 0 | 175.6 | 0 | 165.24 | 0 | 202.4 | 31.47 | 966.84 | 41.7716 | -0.25125
2020-06-06 19:15:00 | 0 | 188.2 | 0.011 | 175.6 | 0 | 165.24 | 0 | 201.8 | 31.1 | 966.543 | 41.8739 | -0.25125
2020-06-06 19:30:00 | 0 | 188.1 | 0 | 175.6 | 0 | 165.24 | 0 | 201.7 | 30.95 | 966.247 | 42.7257 | -0.25125
2020-06-06 19:45:00 | 0 | 188.2 | 0 | 175.6 | 0 | 165.24 | 0 | 201.7 | 30.86 | 966.247 | 43.2027 | -0.26972
2020-06-06 20:00:00 | 0 | 197.5 | 0.004 | 175.6 | 0.365 | 165.24 | 0.361 | 201.7 | 30.67 | 966.262 | 42.119 | -0.25125
2020-06-06 20:15:00 | 0 | 196.1 | 1.449 | 216.6 | 1.699 | 203.821 | 1.792 | 198.6 | 30.89 | 966.088 | 42.6017 | -0.25125
2020-06-06 20:30:00 | 0 | 195.8 | 1.528 | 215.7 | 1.383 | 202.974 | 1.375 | 197.2 | 30.78 | 966.521 | 41.1028 | -0.25864
2020-06-06 20:45:00 | 2.508 | 159.5 | 2.917 | 168.1 | 2.912 | 158.182 | 2.898 | 169 | 30.95 | 966.245 | 39.6702 | -0.20322
2020-06-06 21:00:00 | 3.314 | 171.5 | 4.057 | 181.4 | 4.285 | 170.697 | 4.311 | 180.3 | 31.27 | 966.69 | 39.5348 | 0.15518
2020-06-06 21:15:00 | 4.147 | 168.6 | 4.921 | 181.2 | 5.297 | 170.509 | 5.243 | 173.4 | 31.31 | 967.18 | 40.0083 | 0.9348
2020-06-06 21:30:00 | 3.999 | 147.8 | 4.66 | 161.1 | 5.224 | 151.595 | 5.223 | 155.4 | 30.88 | 967.115 | 41.7101 | 5.025
2020-06-06 21:45:00 | 4.162 | 149.2 | 4.783 | 167.5 | 6.002 | 157.617 | 6.03 | 153 | 30.34 | 967.139 | 42.1894 | 12.8618
2020-06-06 22:00:00 | 5.472 | 153.6 | 5.719 | 169.8 | 5.597 | 159.782 | 5.526 | 160.1 | 30.09 | 967.173 | 42.0562 | 16.8707
2020-06-06 22:15:00 | 6.151 | 162.3 | 6.271 | 176.9 | 6.671 | 166.463 | 6.771 | 172.7 | 30.1 | 967.125 | 41.1028 | 21.7479
2020-06-06 22:30:00 | 6.542 | 164.9 | 6.731 | 175.6 | 6.549 | 165.24 | 6.667 | 174.1 | 29.86 | 967.134 | 38.9901 | 21.8033
2020-06-06 22:45:00 | 6.031 | 170.7 | 5.946 | 182.8 | 6.144 | 172.015 | 6.308 | 176.6 | 30.07 | 967.135 | 33.673 | 26.1854
2020-06-06 23:00:00 | 9.05 | 176.1 | 9.4 | 188.7 | 9.64 | 177.567 | 9.74 | 181.7 | 30.61 | 967.58 | 30.2994 | 29.1339
2020-06-06 23:15:00 | 8.3 | 174.5 | 8.37 | 188.3 | 8.4 | 177.19 | 8.55 | 179.3 | 30.39 | 967.427 | 31.492 | 25.6053
2020-06-06 23:30:00 | 8.52 | 173.2 | 8.53 | 185.1 | 8.3 | 174.179 | 8.4 | 180.4 | 30.19 | 967.388 | 33.6713 | 20.0113
2020-06-06 23:45:00 | 6.493 | 179.4 | 6.335 | 187.4 | 6.895 | 176.343 | 7.049 | 185.4 | 29.69 | 967.278 | 35.923 | 17.7685