## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-07 00:00:00 | 5.342 | 177.8 | 5.66 | 188 | 5.287 | 176.908 | 5.34 | 185.7 | 29.08 | 967.283 | 37.5594 | 12.6622
2020-06-07 00:15:00 | 3.828 | 172.4 | 4.77 | 182.8 | 4.262 | 172.015 | 4.281 | 186.4 | 28.62 | 966.987 | 37.489 | 9.662
2020-06-07 00:30:00 | 3.294 | 176.3 | 4.226 | 184.7 | 4.369 | 173.803 | 4.352 | 186.6 | 28.77 | 966.838 | 36.8771 | 6.8318
2020-06-07 00:45:00 | 3.409 | 175.6 | 4.113 | 179.7 | 4.01 | 169.098 | 3.906 | 188.4 | 28.9 | 966.987 | 36.8098 | 5.243
2020-06-07 01:00:00 | 3.021 | 185.9 | 4.159 | 190.5 | 4.099 | 179.26 | 4.1 | 195.3 | 28.79 | 966.987 | 36.3326 | 6.6803
2020-06-07 01:15:00 | 3.22 | 185.2 | 4.474 | 192.9 | 4.105 | 181.519 | 4.161 | 193.2 | 29.06 | 967.135 | 34.2195 | 9.3516
2020-06-07 01:30:00 | 3.383 | 178.8 | 5.031 | 184.1 | 4.995 | 173.238 | 4.968 | 190 | 29.21 | 967.135 | 32.2427 | 11.3136
2020-06-07 01:45:00 | 4.308 | 183.2 | 4.857 | 192.9 | 5.046 | 181.519 | 5.185 | 191.5 | 29.21 | 967.283 | 31.9018 | 12.9763
2020-06-07 02:00:00 | 4.096 | 171.4 | 5.266 | 178.6 | 5.44 | 168.063 | 5.612 | 182.5 | 29.06 | 967.431 | 34.2874 | 11.5686
2020-06-07 02:15:00 | 3.493 | 183.7 | 4.809 | 191.5 | 5.249 | 180.201 | 5.383 | 191.9 | 28.35 | 967.283 | 32.5153 | 10.9515
2020-06-07 02:30:00 | 6.024 | 163.9 | 7.089 | 178.2 | 7.157 | 167.686 | 7.179 | 171.2 | 28.43 | 966.838 | 37.1506 | 22.5829
2020-06-07 02:45:00 | 6.95 | 147.1 | 7.526 | 161.9 | 8.39 | 152.348 | 8.33 | 156.7 | 27.36 | 966.838 | 37.9686 | 19.9374
2020-06-07 03:00:00 | 5.143 | 146.6 | 5.88 | 160.7 | 7.185 | 151.219 | 7.316 | 155.6 | 27 | 966.575 | 37.4233 | 23.0189
2020-06-07 03:15:00 | 5.852 | 150.8 | 6.657 | 165.9 | 8.01 | 156.112 | 7.976 | 159.8 | 26.91 | 966.883 | 37.6278 | 21.903
2020-06-07 03:30:00 | 4.596 | 154.8 | 5.146 | 171.2 | 6.182 | 161.099 | 6.282 | 164.2 | 26.53 | 966.962 | 38.2081 | 17.5025
2020-06-07 03:45:00 | 6.279 | 160.8 | 6.79 | 172.7 | 6.93 | 162.511 | 7.059 | 172.6 | 26.59 | 966.984 | 37.9734 | 18.3708
2020-06-07 04:00:00 | 6.207 | 163 | 6.511 | 174 | 6.643 | 163.734 | 6.651 | 174 | 26.59 | 966.837 | 39.1341 | 18.1639
2020-06-07 04:15:00 | 5.646 | 165.1 | 5.969 | 177.1 | 5.992 | 166.651 | 6.017 | 176.3 | 26.41 | 967.133 | 40.4295 | 18.6848
2020-06-07 04:30:00 | 5.413 | 167.8 | 5.957 | 176.3 | 5.862 | 165.898 | 5.898 | 177.8 | 25.85 | 966.829 | 41.7931 | 17.5653
2020-06-07 04:45:00 | 5.283 | 162.6 | 5.596 | 172.3 | 5.363 | 162.134 | 5.493 | 175.1 | 25.79 | 967.133 | 42.9521 | 16.9372
2020-06-07 05:00:00 | 5.709 | 173.1 | 6.284 | 182.4 | 6.343 | 171.638 | 6.376 | 183.9 | 25.54 | 966.985 | 43.0885 | 18.7994
2020-06-07 05:15:00 | 5.528 | 169.8 | 6.102 | 179.9 | 6.477 | 169.286 | 6.466 | 179.9 | 25.65 | 967.133 | 44.1111 | 17.6133
2020-06-07 05:30:00 | 5.592 | 162.2 | 6.113 | 170.6 | 6.114 | 160.535 | 6.043 | 175.5 | 25.09 | 967.133 | 45.3384 | 16.1834
2020-06-07 05:45:00 | 5.842 | 166.3 | 6.345 | 176 | 6.399 | 165.616 | 6.417 | 179 | 25.16 | 967.578 | 46.2928 | 18.5075
2020-06-07 06:00:00 | 5.702 | 163.3 | 6.24 | 174.2 | 6.266 | 163.922 | 6.371 | 175.2 | 25.02 | 967.726 | 46.361 | 18.2562
2020-06-07 06:15:00 | 5.543 | 164.3 | 5.893 | 172.7 | 5.714 | 162.511 | 5.732 | 178.8 | 25.05 | 967.875 | 47.2473 | 17.1034
2020-06-07 06:30:00 | 6.161 | 175.2 | 6.43 | 187.5 | 5.923 | 176.438 | 6.015 | 185.2 | 25.61 | 968.172 | 46.4974 | 16.5086
2020-06-07 06:45:00 | 5.444 | 182 | 5.553 | 191.5 | 5.376 | 180.201 | 5.577 | 192.1 | 25.95 | 968.114 | 46.4904 | 16.3645
2020-06-07 07:00:00 | 5.625 | 165.6 | 5.857 | 177 | 6.129 | 166.557 | 6.16 | 177 | 26.21 | 967.981 | 47.0007 | 17.3658
2020-06-07 07:15:00 | 5.648 | 167.4 | 5.785 | 175.8 | 5.211 | 165.428 | 5.299 | 180.4 | 25.63 | 967.877 | 48.4663 | 18.4077
2020-06-07 07:30:00 | 5.541 | 159.3 | 5.698 | 173.2 | 5.956 | 162.981 | 5.997 | 167.6 | 25.45 | 967.938 | 48.8071 | 17.3584
2020-06-07 07:45:00 | 6.537 | 163.1 | 6.337 | 173.3 | 6.106 | 163.075 | 6.152 | 173.3 | 26.17 | 968.174 | 47.8528 | 15.0306
2020-06-07 08:00:00 | 6.003 | 165.7 | 5.79 | 175.7 | 5.717 | 165.334 | 5.699 | 174.5 | 26.18 | 968.766 | 47.7819 | 9.784
2020-06-07 08:15:00 | 5.845 | 174.9 | 6.054 | 188 | 6.071 | 176.908 | 6.15 | 182 | 27.66 | 968.957 | 45.5312 | 9.9872
2020-06-07 08:30:00 | 6.8 | 178.3 | 7.112 | 194.6 | 6.658 | 183.119 | 6.603 | 181.2 | 27.56 | 968.917 | 45.7923 | 10.7668
2020-06-07 08:45:00 | 6.519 | 175 | 6.176 | 193.5 | 5.597 | 182.083 | 5.579 | 178.1 | 27.93 | 968.768 | 47.9728 | 11.4097
2020-06-07 09:00:00 | 6.098 | 159.8 | 6.391 | 169.3 | 5.585 | 159.311 | 5.531 | 173.2 | 27.72 | 969.064 | 48.7905 | 9.5696
2020-06-07 09:15:00 | 7.157 | 156.4 | 7.375 | 169.8 | 6.511 | 159.782 | 6.486 | 164.6 | 27.47 | 969.212 | 47.0188 | 15.4445
2020-06-07 09:30:00 | 6.603 | 153.9 | 6.504 | 166.8 | 5.829 | 156.959 | 5.712 | 162.6 | 27.89 | 969.36 | 45.9966 | 18.271
2020-06-07 09:45:00 | 6.583 | 149.5 | 6.509 | 161.8 | 5.506 | 152.254 | 5.355 | 158.5 | 28.37 | 969.509 | 45.0426 | 19.0174
2020-06-07 10:00:00 | 6.874 | 152.6 | 6.741 | 166.4 | 5.91 | 156.582 | 5.926 | 163.1 | 28.99 | 969.657 | 42.7939 | 17.7981
2020-06-07 10:15:00 | 7.249 | 163.1 | 6.836 | 174.4 | 5.603 | 164.11 | 5.569 | 172.4 | 28.87 | 969.36 | 41.9421 | 15.8583
2020-06-07 10:30:00 | 6.491 | 169.4 | 6.409 | 185.6 | 6.274 | 174.65 | 6.341 | 176.4 | 29.17 | 969.36 | 42.0784 | 14.0367
2020-06-07 10:45:00 | 4.931 | 167.6 | 4.558 | 189.1 | 4.346 | 177.943 | 4.214 | 166.1 | 29.96 | 969.509 | 42.4159 | 14.1576
2020-06-07 11:00:00 | 6.008 | 164.4 | 6.082 | 181.3 | 5.44 | 170.603 | 5.411 | 170.8 | 30.34 | 970.102 | 39.2097 | 14.6722
2020-06-07 11:15:00 | 6.498 | 163.6 | 6.455 | 179.6 | 5.946 | 169.004 | 5.908 | 170.3 | 30.53 | 969.657 | 40.3975 | 18.2378
2020-06-07 11:30:00 | 6.184 | 150.1 | 6.391 | 164.7 | 6.035 | 154.983 | 5.931 | 158.8 | 30.37 | 969.805 | 38.2557 | 18.3819
2020-06-07 11:45:00 | 5.628 | 169.1 | 5.78 | 185.6 | 5.336 | 174.65 | 5.386 | 177 | 31.23 | 969.36 | 37.2675 | 16.4421
2020-06-07 12:00:00 | 7.407 | 169.7 | 7.145 | 183.3 | 6.193 | 172.485 | 6.175 | 176.7 | 30.87 | 969.212 | 37.2987 | 14.5983
2020-06-07 12:15:00 | 7.747 | 180.4 | 7.352 | 192.5 | 6.549 | 181.143 | 6.562 | 185.3 | 31.18 | 969.212 | 36.4824 | 17.1847
2020-06-07 12:30:00 | 6.904 | 182.3 | 7.181 | 193.3 | 6.762 | 181.895 | 6.669 | 185.4 | 31.11 | 969.064 | 36.3822 | 17.6946
2020-06-07 12:45:00 | 7.091 | 175.7 | 6.926 | 189.7 | 6.269 | 178.508 | 6.356 | 184.8 | 31.99 | 969.064 | 34.5769 | 18.4373
2020-06-07 13:00:00 | 8.27 | 191.8 | 7.974 | 206.7 | 6.772 | 194.505 | 6.771 | 193 | 32.04 | 968.768 | 32.8735 | 22.3464
2020-06-07 13:15:00 | 6.667 | 166.3 | 6.787 | 182.1 | 6.605 | 171.356 | 6.511 | 173.3 | 32.15 | 968.768 | 34.168 | 22.2747
2020-06-07 13:30:00 | 6.491 | 154.2 | 6.215 | 168.5 | 5.628 | 158.559 | 5.398 | 157.7 | 32.44 | 968.768 | 33.0425 | 20.2056
2020-06-07 13:45:00 | 8.31 | 185.3 | 8.03 | 196.4 | 7.324 | 184.812 | 7.494 | 188.3 | 32.59 | 969.064 | 30.8592 | 29.8755
2020-06-07 14:00:00 | 7.744 | 177.9 | 7.565 | 192 | 7.151 | 180.672 | 7.153 | 182.9 | 33.1 | 969.212 | 30.2453 | 23.0855
2020-06-07 14:15:00 | 7.622 | 149.8 | 7.861 | 166.8 | 7.625 | 156.959 | 7.507 | 155.7 | 33.02 | 969.212 | 28.2698 | 25.4464
2020-06-07 14:30:00 | 8.23 | 162.6 | 7.871 | 180.2 | 6.849 | 169.568 | 6.822 | 166.1 | 33.16 | 969.509 | 28.4401 | 23.4844
2020-06-07 14:45:00 | 4.949 | 146 | 5.131 | 170.9 | 5.475 | 160.817 | 5.393 | 151.8 | 33.63 | 969.212 | 26.124 | 30.2059
2020-06-07 15:00:00 | 6.945 | 162.7 | 7.104 | 177.3 | 6.551 | 166.839 | 6.435 | 169.4 | 33.93 | 969.331 | 24.3188 | 23.3329
2020-06-07 15:15:00 | 7.66 | 181 | 7.48 | 198.9 | 6.788 | 187.165 | 6.814 | 181 | 33.82 | 969.013 | 24.455 | 28.128
2020-06-07 15:30:00 | 6.437 | 190.8 | 6.263 | 205.9 | 5.404 | 193.958 | 5.396 | 188.9 | 33.77 | 969.098 | 26.3283 | 22.1136
2020-06-07 15:45:00 | 5.584 | 180.4 | 5.517 | 202.7 | 5.582 | 190.943 | 5.648 | 182.2 | 33.77 | 968.912 | 24.5913 | 33.0097
2020-06-07 16:00:00 | 7.032 | 179.1 | 6.539 | 193.6 | 6.025 | 182.371 | 5.974 | 181.3 | 33.86 | 968.858 | 24.0804 | 31.6057
2020-06-07 16:15:00 | 7.732 | 155.7 | 7.693 | 171.6 | 6.653 | 161.647 | 6.529 | 160.1 | 33.81 | 968.918 | 21.1172 | 31.3603
2020-06-07 16:30:00 | 7.308 | 163.3 | 7.554 | 183.3 | 6.676 | 172.669 | 6.537 | 163.5 | 33.97 | 968.806 | 20.9809 | 29.5551
2020-06-07 16:45:00 | 6.593 | 169 | 6.575 | 180.4 | 6.427 | 169.937 | 6.394 | 172.8 | 33.69 | 968.498 | 19.5504 | 34.9902
2020-06-07 17:00:00 | 6.524 | 171.8 | 6.33 | 186 | 5.893 | 175.212 | 5.992 | 176.1 | 33.92 | 968.653 | 19.7207 | 36.5162
2020-06-07 17:15:00 | 8.52 | 182.6 | 8.13 | 195.8 | 7.49 | 184.444 | 7.329 | 185.1 | 33.58 | 967.79 | 22.139 | 38.7552
2020-06-07 17:30:00 | 8.78 | 180.4 | 7.979 | 196.8 | 7.149 | 185.386 | 7.049 | 180.6 | 33.5 | 967.532 | 21.1853 | 35.4475
2020-06-07 17:45:00 | 7.997 | 178.7 | 7.785 | 196.4 | 7.444 | 185.009 | 7.466 | 176.9 | 33.5 | 967.839 | 21.5259 | 35.6553
2020-06-07 18:00:00 | 8.5 | 180.2 | 8.04 | 193.5 | 6.968 | 182.277 | 7.011 | 181.2 | 33.19 | 967.581 | 22.6839 | 27.0278
2020-06-07 18:15:00 | 8.61 | 181.2 | 8.07 | 198.3 | 7.073 | 186.799 | 7.123 | 183.5 | 32.86 | 967.581 | 24.7956 | 31.0367
2020-06-07 18:30:00 | 8.19 | 175 | 7.958 | 190.6 | 7.413 | 179.545 | 7.319 | 177.6 | 32.54 | 966.988 | 26.6349 | 32.6921
2020-06-07 18:45:00 | 7.839 | 175.9 | 7.792 | 192.1 | 7.574 | 180.958 | 7.589 | 177.8 | 32.21 | 967.285 | 27.4533 | 38.4966
2020-06-07 19:00:00 | 9.16 | 174.3 | 8.87 | 188.9 | 8.45 | 177.944 | 8.43 | 177.6 | 32.01 | 966.988 | 27.287 | 36.3647
2020-06-07 19:15:00 | 7.824 | 171.2 | 7.363 | 193 | 7.029 | 181.806 | 7.087 | 171 | 31.8 | 966.988 | 28.177 | 31.0589
2020-06-07 19:30:00 | 6.927 | 167.3 | 6.665 | 187.4 | 6.111 | 176.531 | 6.175 | 168 | 31.48 | 966.988 | 29.2334 | 29.4331
2020-06-07 19:45:00 | 7.479 | 176 | 7.189 | 194.2 | 6.844 | 182.936 | 6.812 | 173.7 | 31.48 | 967.136 | 29.506 | 28.8494
2020-06-07 20:00:00 | 6.003 | 173.3 | 5.893 | 188.4 | 6.081 | 177.473 | 6.272 | 173.8 | 31.25 | 966.988 | 30.46 | 29.895
2020-06-07 20:15:00 | 6.376 | 159.7 | 6.274 | 179.2 | 5.989 | 168.806 | 5.941 | 167.6 | 30.94 | 967.285 | 30.1874 | 27.3825
2020-06-07 20:30:00 | 5.546 | 170.9 | 5.363 | 188.1 | 4.977 | 177.19 | 4.818 | 174.3 | 30.99 | 967.136 | 30.7325 | 23.8946
2020-06-07 20:45:00 | 6.103 | 174.8 | 6.337 | 192.6 | 5.778 | 181.429 | 5.839 | 175.7 | 30.94 | 967.601 | 30.3918 | 21.1715
2020-06-07 21:00:00 | 5.612 | 171.7 | 5.524 | 182.9 | 5.234 | 172.292 | 5.261 | 176.1 | 30.68 | 967.751 | 31.8913 | 22.1728
2020-06-07 21:15:00 | 5.855 | 164 | 5.816 | 181.2 | 5.323 | 170.69 | 5.358 | 170.5 | 30.63 | 967.944 | 32.4725 | 19.882
2020-06-07 21:30:00 | 5.467 | 163.9 | 5.793 | 176.7 | 5.496 | 166.451 | 5.661 | 169.9 | 30.52 | 967.706 | 33.3947 | 19.6824
2020-06-07 21:45:00 | 6.835 | 157.8 | 6.772 | 169.2 | 6.071 | 159.386 | 6.071 | 165.5 | 30.28 | 967.797 | 32.1019 | 22.4462
2020-06-07 22:00:00 | 6.818 | 152.7 | 7.122 | 166.3 | 7.286 | 156.655 | 7.268 | 157.2 | 30.16 | 968.161 | 33.7404 | 27.5303
2020-06-07 22:15:00 | 8.22 | 150.1 | 8.37 | 165 | 9.03 | 155.43 | 9.07 | 156.7 | 30.13 | 968.602 | 32.1056 | 32.1156
2020-06-07 22:30:00 | 8.26 | 150 | 8.63 | 166.5 | 8.61 | 156.843 | 8.53 | 154 | 29.81 | 968.457 | 32.2416 | 31.0293
2020-06-07 22:45:00 | 6.205 | 153.5 | 6.529 | 171.3 | 7.045 | 161.365 | 7.054 | 157 | 29.43 | 968.321 | 33.06 | 36.8302
2020-06-07 23:00:00 | 8.35 | 146.8 | 8.7 | 165.3 | 9.57 | 155.713 | 9.48 | 152.5 | 29.31 | 968.321 | 33.6045 | 39.4314
2020-06-07 23:15:00 | 8.24 | 153.1 | 9.24 | 169.7 | 10.49 | 159.857 | 10.47 | 157.8 | 29.1 | 968.618 | 34.2842 | 35.8991
2020-06-07 23:30:00 | 8.19 | 154.2 | 8.6 | 171.3 | 9.23 | 161.365 | 9.12 | 157.9 | 28.66 | 968.173 | 34.694 | 39.8378
2020-06-07 23:45:00 | 7.783 | 151.3 | 8.13 | 170 | 8.74 | 160.14 | 8.78 | 156.1 | 28.39 | 968.025 | 35.0713 | 39.4002