## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-08 00:00:00 | 8.01 | 155.4 | 8.29 | 173.6 | 8.5 | 163.531 | 8.46 | 159.5 | 28.13 | 968.025 | 35.7191 | 36.4275
2020-06-08 00:15:00 | 6.427 | 162.4 | 6.501 | 177.4 | 6.579 | 167.111 | 6.781 | 167.8 | 27.76 | 968.025 | 36.9121 | 39.3575
2020-06-08 00:30:00 | 6.971 | 156.4 | 7.485 | 171.9 | 7.665 | 161.93 | 7.757 | 160.5 | 27.54 | 967.876 | 37.5937 | 38.0089
2020-06-08 00:45:00 | 7.17 | 155.2 | 7.547 | 176 | 7.457 | 165.792 | 7.413 | 161.7 | 27.35 | 968.082 | 38.9911 | 40.9574
2020-06-08 01:00:00 | 7.226 | 158.5 | 7.987 | 176.3 | 8.48 | 166.075 | 8.6 | 162 | 27.16 | 967.719 | 40.2181 | 46.7435
2020-06-08 01:15:00 | 7.691 | 158.3 | 7.923 | 173.2 | 8.21 | 163.154 | 8.13 | 162.8 | 26.98 | 967.683 | 41.6496 | 43.5696
2020-06-08 01:30:00 | 7.305 | 155.9 | 7.565 | 169.4 | 7.528 | 159.575 | 7.612 | 164.4 | 26.74 | 967.688 | 42.6043 | 37.68
2020-06-08 01:45:00 | 7.788 | 156.4 | 8.13 | 172.3 | 8.18 | 162.307 | 8.11 | 160.1 | 26.63 | 967.702 | 43.4262 | 40.078
2020-06-08 02:00:00 | 7.642 | 154.3 | 7.792 | 170.5 | 7.892 | 160.611 | 7.843 | 159.8 | 26.47 | 967.875 | 44.1443 | 41.4636
2020-06-08 02:15:00 | 7.737 | 155.3 | 7.879 | 171.1 | 7.843 | 161.176 | 7.777 | 158.9 | 26.22 | 967.875 | 44.9292 | 35.1232
2020-06-08 02:30:00 | 5.334 | 150.8 | 6.066 | 167.5 | 6.722 | 157.785 | 6.713 | 155.7 | 26 | 967.875 | 45.8156 | 33.2388
2020-06-08 02:45:00 | 6.072 | 147.4 | 6.483 | 163.9 | 7.06 | 154.394 | 7.028 | 152.6 | 25.89 | 967.875 | 45.8837 | 32.9543
2020-06-08 03:00:00 | 6.664 | 145.1 | 7.043 | 160.3 | 7.703 | 151.003 | 7.589 | 152.2 | 25.81 | 967.43 | 46.0201 | 31.9087
2020-06-08 03:15:00 | 6.218 | 144 | 6.396 | 159.2 | 7.129 | 149.966 | 7.077 | 150 | 25.65 | 967.578 | 45.8156 | 36.1245
2020-06-08 03:30:00 | 6.562 | 141.3 | 7.046 | 157.4 | 7.548 | 148.271 | 7.39 | 147.7 | 25.66 | 967.281 | 45.2021 | 34.0074
2020-06-08 03:45:00 | 6.874 | 147.7 | 7.491 | 163 | 8.2 | 153.546 | 8.23 | 154.2 | 25.56 | 967.578 | 44.521 | 40.1704
2020-06-08 04:00:00 | 7.387 | 146.9 | 7.971 | 163.4 | 8.37 | 153.923 | 8.38 | 153.2 | 25.64 | 967.578 | 44.4544 | 44.1349
2020-06-08 04:15:00 | 6.345 | 147.1 | 6.718 | 164.8 | 7.396 | 155.242 | 7.342 | 152.8 | 25.48 | 967.43 | 44.181 | 41.4414
2020-06-08 04:30:00 | 6.754 | 142.7 | 7.041 | 158.4 | 7.505 | 149.213 | 7.37 | 148.6 | 25.32 | 967.578 | 43.1596 | 36.1984
2020-06-08 04:45:00 | 6.746 | 137.6 | 6.874 | 152.7 | 6.854 | 143.843 | 6.817 | 145.4 | 25.49 | 967.726 | 42.6173 | 33.2906
2020-06-08 05:00:00 | 7.55 | 134.2 | 7.698 | 148.1 | 7.675 | 139.51 | 7.576 | 143 | 25.54 | 967.578 | 43.0249 | 34.2217
2020-06-08 05:15:00 | 7.586 | 135.2 | 7.953 | 151.3 | 7.991 | 142.525 | 7.831 | 142.7 | 25.54 | 967.875 | 43.0244 | 33.0984
2020-06-08 05:30:00 | 6.968 | 135.2 | 7.143 | 147.9 | 7.535 | 139.322 | 7.51 | 141.7 | 25.47 | 968.023 | 44.5224 | 31.7757
2020-06-08 05:45:00 | 7.259 | 131.7 | 7.687 | 146.3 | 7.925 | 137.815 | 7.823 | 138.7 | 25.48 | 968.172 | 44.793 | 27.5155
2020-06-08 06:00:00 | 6.578 | 127.9 | 7.181 | 143 | 7.38 | 134.706 | 7.326 | 133.2 | 25.54 | 968.468 | 44.3498 | 27.1054
2020-06-08 06:15:00 | 6.636 | 130.5 | 6.997 | 145 | 7.838 | 136.59 | 7.907 | 137.1 | 25.66 | 968.616 | 44.6552 | 24.1347
2020-06-08 06:30:00 | 6.029 | 132.2 | 6.391 | 150.2 | 6.747 | 141.488 | 6.863 | 136.2 | 25.55 | 968.497 | 46.5578 | 18.5296
2020-06-08 06:45:00 | 6.644 | 127.6 | 6.928 | 144.7 | 7.281 | 136.307 | 7.265 | 134 | 25.88 | 968.621 | 45.4669 | 20.3106
2020-06-08 07:00:00 | 4.711 | 116.8 | 5.169 | 136.5 | 5.676 | 128.583 | 5.778 | 120.7 | 26.1 | 969.063 | 46.1486 | 23.8539
2020-06-08 07:15:00 | 5.855 | 117.4 | 5.841 | 137.9 | 6.32 | 129.902 | 6.351 | 123 | 26.18 | 969.063 | 45.9748 | 27.2162
2020-06-08 07:30:00 | 6.452 | 136.1 | 6.637 | 156.3 | 6.617 | 147.235 | 6.506 | 138.5 | 26.49 | 969.359 | 45.0558 | 24.7
2020-06-08 07:45:00 | 7.535 | 126.5 | 7.47 | 145 | 7.279 | 136.59 | 7.153 | 130.4 | 26.46 | 969.354 | 45.8754 | 21.1567
2020-06-08 08:00:00 | 7.313 | 131.6 | 7.409 | 150 | 7.726 | 141.3 | 7.861 | 134.6 | 26.61 | 969.582 | 46.2135 | 23.0411
2020-06-08 08:15:00 | 7.908 | 134 | 8.27 | 153.3 | 7.884 | 144.409 | 7.831 | 136.6 | 26.73 | 969.522 | 46.203 | 23.466
2020-06-08 08:30:00 | 6.547 | 134.7 | 6.895 | 151.6 | 7.073 | 142.807 | 7.079 | 137.9 | 26.9 | 969.657 | 44.736 | 21.8255
2020-06-08 08:45:00 | 6.698 | 132.6 | 6.897 | 154.3 | 6.444 | 145.351 | 6.275 | 136.9 | 27.51 | 969.805 | 42.9302 | 22.9339
2020-06-08 09:00:00 | 7.144 | 131.1 | 7.041 | 148.3 | 7.027 | 139.699 | 6.97 | 136.3 | 27.43 | 969.805 | 42.1124 | 21.1123
2020-06-08 09:15:00 | 6.552 | 130.8 | 6.585 | 146.3 | 6.409 | 137.815 | 6.3 | 136.8 | 27.88 | 970.102 | 41.2266 | 18.1786
2020-06-08 09:30:00 | 8.5 | 143.7 | 8.3 | 160.6 | 8.06 | 151.285 | 7.853 | 148.9 | 28.21 | 970.102 | 37.9216 | 21.892
2020-06-08 09:45:00 | 6.049 | 133.7 | 6.284 | 155.2 | 5.885 | 146.198 | 5.783 | 136.6 | 28.97 | 970.398 | 36.1159 | 20.9128
2020-06-08 10:00:00 | 6.938 | 138.1 | 6.869 | 157.4 | 6.612 | 148.271 | 6.514 | 138.8 | 28.99 | 970.398 | 34.4435 | 21.0015
2020-06-08 10:15:00 | 7.239 | 150.4 | 7.135 | 169.6 | 6.813 | 159.763 | 6.713 | 151.7 | 29.17 | 970.546 | 33.8961 | 21.0532
2020-06-08 10:30:00 | 7.218 | 135.8 | 7.611 | 150.9 | 7.576 | 142.148 | 7.446 | 144.5 | 29.45 | 970.546 | 33.2487 | 24.508
2020-06-08 10:45:00 | 7.438 | 138.9 | 7.273 | 155.4 | 6.689 | 146.387 | 6.659 | 146 | 30.02 | 970.546 | 32.7713 | 23.4734
2020-06-08 11:00:00 | 5.48 | 121.2 | 5.977 | 138.9 | 6.124 | 130.844 | 6.134 | 128.5 | 30.11 | 970.546 | 31.3405 | 24.6557
2020-06-08 11:15:00 | 4.903 | 113.6 | 5.665 | 128.4 | 5.636 | 120.953 | 5.646 | 120.1 | 30.24 | 970.695 | 30.4878 | 22.6309
2020-06-08 11:30:00 | 6.818 | 144 | 6.992 | 161.6 | 6.953 | 152.227 | 6.898 | 150.2 | 30.7 | 970.991 | 29.8052 | 21.7405
2020-06-08 11:45:00 | 8.72 | 149.1 | 8.32 | 168 | 7.581 | 158.256 | 7.385 | 153.8 | 30.78 | 970.398 | 29.328 | 24.2328
2020-06-08 12:00:00 | 7.435 | 150.4 | 7.736 | 165.8 | 7.017 | 156.184 | 6.87 | 155.3 | 31.44 | 970.843 | 28.5093 | 29.1191
2020-06-08 12:15:00 | 6.907 | 140 | 7.191 | 161.7 | 6.216 | 152.321 | 5.877 | 138.8 | 31.38 | 970.843 | 27.8622 | 30.0494
2020-06-08 12:30:00 | 9.28 | 155.8 | 8.75 | 173.9 | 8.03 | 163.814 | 7.966 | 159.4 | 31.76 | 970.546 | 28.1345 | 33.755
2020-06-08 12:45:00 | 6.177 | 133.9 | 6.529 | 155 | 6.877 | 146.01 | 6.98 | 139.7 | 31.98 | 970.25 | 28.7818 | 27.5909
2020-06-08 13:00:00 | 9.67 | 140.8 | 10.08 | 157.2 | 9.74 | 148.082 | 9.55 | 146.8 | 32.09 | 970.102 | 28.1682 | 39.1173
2020-06-08 13:15:00 | 8.77 | 156.6 | 9.02 | 172 | 9.53 | 162.024 | 9.54 | 161 | 32.1 | 970.695 | 28.0314 | 40.3366
2020-06-08 13:30:00 | 8.45 | 137 | 9.09 | 152.1 | 9.05 | 143.278 | 8.88 | 142.9 | 31.84 | 970.398 | 28.7126 | 25.6607
2020-06-08 13:45:00 | 9.65 | 143.2 | 9.93 | 158.7 | 9.5 | 149.495 | 9.34 | 149 | 31.99 | 970.843 | 28.8828 | 37.6785
2020-06-08 14:00:00 | 6.58 | 150.8 | 6.578 | 169.4 | 6.388 | 159.575 | 6.231 | 155.5 | 32.04 | 970.991 | 28.5422 | 26.7359
2020-06-08 14:15:00 | 7.027 | 149.8 | 7.365 | 172.1 | 6.956 | 162.118 | 6.751 | 152.4 | 32.6 | 971.287 | 28.1676 | 24.6446
2020-06-08 14:30:00 | 6.391 | 129.2 | 6.58 | 149.8 | 6.432 | 141.112 | 6.399 | 133.4 | 32.63 | 970.546 | 28.7807 | 25.1213
2020-06-08 14:45:00 | 6.159 | 123.8 | 6.754 | 139.8 | 6.706 | 131.692 | 6.639 | 130 | 32.16 | 970.843 | 29.2575 | 28.7976
2020-06-08 15:00:00 | 7.247 | 132.1 | 7.457 | 148.8 | 7.129 | 140.17 | 7.051 | 135.1 | 32.18 | 970.991 | 28.951 | 26.529
2020-06-08 15:15:00 | 7.134 | 137.1 | 7.731 | 157.6 | 7.576 | 148.459 | 7.489 | 141 | 32.7 | 970.546 | 29.0191 | 30.8615
2020-06-08 15:30:00 | 3.958 | 133.3 | 4.218 | 151.3 | 4.229 | 142.525 | 4.227 | 135.6 | 32.63 | 971.139 | 27.827 | 15.5479
2020-06-08 15:45:00 | 6.123 | 150.4 | 6.545 | 165.9 | 6.358 | 156.278 | 6.361 | 158.3 | 32.61 | 970.961 | 26.8733 | 20.584
2020-06-08 16:00:00 | 7.06 | 145.2 | 7.557 | 158.5 | 7.495 | 149.307 | 7.252 | 151 | 32.47 | 970.614 | 27.3501 | 25.5868
2020-06-08 16:15:00 | 7.326 | 154.7 | 7.475 | 170.2 | 7.248 | 160.328 | 7.204 | 162.3 | 32.35 | 970.692 | 26.6689 | 21.6592
2020-06-08 16:30:00 | 7.471 | 156.4 | 7.352 | 171.9 | 6.717 | 161.93 | 6.621 | 161.1 | 32.29 | 970.249 | 26.4986 | 17.0776
2020-06-08 16:45:00 | 6.258 | 145.8 | 6.608 | 166.5 | 6.673 | 156.843 | 6.621 | 149.6 | 32.07 | 969.805 | 28.1335 | 15.8213
2020-06-08 17:00:00 | 6.35 | 153.4 | 6.833 | 171.7 | 6.513 | 161.741 | 6.318 | 156.1 | 32.01 | 969.508 | 29.1553 | 16.6194
2020-06-08 17:15:00 | 5.993 | 129.5 | 6.401 | 145.3 | 6.676 | 136.873 | 6.56 | 135.4 | 31.86 | 969.508 | 27.7292 | 17.6909
2020-06-08 17:30:00 | 5.52 | 134.6 | 5.918 | 149.5 | 5.681 | 140.829 | 5.572 | 138.1 | 31.83 | 969.36 | 29.4331 | 17.0295
2020-06-08 17:45:00 | 6.207 | 133.8 | 6.596 | 150.3 | 6.615 | 141.583 | 6.537 | 136.7 | 31.77 | 969.063 | 29.5697 | 18.4225
2020-06-08 18:00:00 | 4.714 | 132.3 | 5.128 | 150 | 4.837 | 141.3 | 4.787 | 137.7 | 31.73 | 968.915 | 30.254 | 17.4581
2020-06-08 18:15:00 | 5.577 | 126.6 | 5.742 | 144 | 6.109 | 135.648 | 6.063 | 132.3 | 31.52 | 968.767 | 30.6643 | 16.5123
2020-06-08 18:30:00 | 5.612 | 130.2 | 5.931 | 151 | 6.091 | 142.242 | 5.984 | 133.3 | 31.41 | 968.767 | 31.7547 | 14.5577
2020-06-08 18:45:00 | 3.56 | 103.3 | 4.221 | 115.3 | 4.173 | 108.613 | 4.191 | 112 | 31.17 | 968.767 | 33.0494 | 14.5983
2020-06-08 19:00:00 | 3.57 | 113.1 | 3.786 | 132.9 | 3.204 | 125.192 | 3.163 | 116 | 30.99 | 968.767 | 33.5945 | 12.0156
2020-06-08 19:15:00 | 3.034 | 111.5 | 3.52 | 128.7 | 3.939 | 121.235 | 4.026 | 115.4 | 30.82 | 968.767 | 34.276 | 12.5957
2020-06-08 19:30:00 | 3.419 | 110.5 | 3.942 | 138 | 4.016 | 129.996 | 4.003 | 114.1 | 30.66 | 968.915 | 34.753 | 13.7559
2020-06-08 19:45:00 | 4.308 | 116.4 | 4.609 | 131.3 | 5.061 | 123.685 | 5.134 | 119.6 | 30.59 | 968.93 | 34.9574 | 13.8409
2020-06-08 20:00:00 | 4.701 | 120.8 | 5.223 | 135.9 | 5.631 | 128.018 | 5.597 | 129.9 | 30.54 | 968.793 | 35.3677 | 11.7127
2020-06-08 20:15:00 | 4.8 | 114.5 | 5.202 | 130.5 | 4.944 | 122.931 | 5.001 | 117.5 | 30.4 | 968.883 | 35.9158 | 12.2743
2020-06-08 20:30:00 | 4.76 | 121.9 | 5.259 | 139 | 5.852 | 130.938 | 5.796 | 126.1 | 30.31 | 969.41 | 36.3976 | 12.9615
2020-06-08 20:45:00 | 4.476 | 112.7 | 5.011 | 132.1 | 5.249 | 124.438 | 5.243 | 117.9 | 30.11 | 969.269 | 37.2163 | 17.1995
2020-06-08 21:00:00 | 5.104 | 100.7 | 5.801 | 117.1 | 5.666 | 110.308 | 5.763 | 107.3 | 29.88 | 969.645 | 38.1708 | 40.3306
2020-06-08 21:15:00 | 5.865 | 97.1 | 7.163 | 113.9 | 7.602 | 107.294 | 7.719 | 102.4 | 29.28 | 969.507 | 37.6272 | 43.6435
2020-06-08 21:30:00 | 6.35 | 100.7 | 7.023 | 116.6 | 7.889 | 109.837 | 8.16 | 107.7 | 29.02 | 969.804 | 38.7171 | 44.8287
2020-06-08 21:45:00 | 6.938 | 100 | 7.992 | 115.9 | 8.64 | 109.178 | 8.99 | 105.7 | 28.74 | 968.914 | 41.4077 | 49.6439
2020-06-08 22:00:00 | 5.932 | 100.4 | 7.519 | 113.5 | 7.922 | 106.917 | 8.02 | 106.4 | 28.4 | 969.507 | 43.7589 | 49.4333
2020-06-08 22:15:00 | 6.705 | 102.7 | 8.48 | 118.9 | 9.13 | 112.004 | 9.32 | 108.5 | 28.1 | 969.211 | 46.4894 | 57.5806
2020-06-08 22:30:00 | 6.58 | 108.3 | 7.802 | 121.8 | 8.23 | 114.736 | 8.25 | 114.7 | 27.82 | 969.359 | 48.2617 | 58.2115
2020-06-08 22:45:00 | 7.06 | 113.3 | 7.918 | 132.7 | 8.88 | 125.003 | 8.88 | 116.2 | 27.51 | 968.914 | 50.1704 | 59.3503
2020-06-08 23:00:00 | 7.64 | 123.6 | 7.831 | 144.1 | 8.82 | 135.742 | 8.92 | 125.8 | 27.25 | 969.064 | 51.0566 | 65.6226
2020-06-08 23:15:00 | 9.11 | 124.1 | 9.72 | 143.8 | 9.89 | 135.46 | 9.96 | 127.2 | 27.03 | 969.094 | 51.3292 | 73.6514
2020-06-08 23:30:00 | 10.88 | 133.3 | 11.27 | 151.4 | 11.62 | 142.619 | 11.48 | 137.5 | 26.87 | 968.957 | 50.1022 | 71.2034
2020-06-08 23:45:00 | 10.9 | 132.8 | 10.89 | 152.3 | 11.27 | 143.467 | 11.2 | 133.6 | 26.62 | 968.989 | 50.3749 | 74.7911