## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-09 00:00:00 | 11.54 | 129.1 | 11.95 | 147.2 | 12.32 | 138.662 | 12.23 | 133.2 | 26.4 | 968.863 | 49.2171 | 75.2566
2020-06-09 00:15:00 | 11.19 | 130.3 | 11.94 | 148.8 | 11.99 | 140.17 | 11.94 | 132.2 | 26.39 | 968.318 | 47.8568 | 77.1779
2020-06-09 00:30:00 | 11.27 | 130.2 | 11.38 | 149.6 | 11.25 | 140.923 | 11.25 | 132.9 | 26.13 | 968.76 | 46.9055 | 73.1091
2020-06-09 00:45:00 | 11.2 | 133.3 | 11.27 | 154.8 | 9.99 | 145.822 | 9.79 | 133.7 | 25.96 | 968.415 | 47.1784 | 77.5918
2020-06-09 01:00:00 | 11.43 | 128.8 | 11.34 | 146.6 | 11.63 | 138.097 | 11.71 | 131.5 | 25.79 | 968.763 | 46.4292 | 79.0845
2020-06-09 01:15:00 | 10.94 | 129.3 | 11.4 | 151.4 | 10.53 | 142.619 | 10.46 | 128.8 | 25.64 | 968.32 | 45.2361 | 82.0034
2020-06-09 01:30:00 | 10.92 | 126.9 | 11.27 | 148.3 | 11.38 | 139.699 | 11.43 | 129.8 | 25.66 | 968.32 | 44.5884 | 80.0267
2020-06-09 01:45:00 | 10.82 | 127 | 10.57 | 146 | 10.95 | 137.532 | 10.94 | 130.2 | 25.52 | 968.32 | 43.1566 | 77.908
2020-06-09 02:00:00 | 10.6 | 128.7 | 10.82 | 148.3 | 10.83 | 139.699 | 10.76 | 134.3 | 25.35 | 968.023 | 42.0658 | 78.1386
2020-06-09 02:15:00 | 10.74 | 130.2 | 10.97 | 148.6 | 10.98 | 139.981 | 11.03 | 132.6 | 25.27 | 968.023 | 42.0317 | 75.434
2020-06-09 02:30:00 | 8.77 | 122.1 | 9.01 | 144.3 | 9.35 | 135.931 | 9.29 | 127.4 | 25.2 | 968.023 | 42.544 | 72.5926
2020-06-09 02:45:00 | 9.96 | 126.2 | 10.28 | 145.4 | 10.47 | 136.967 | 10.6 | 130.5 | 25.1 | 967.726 | 42.8167 | 73.3648
2020-06-09 03:00:00 | 9.25 | 127.3 | 9.51 | 146.5 | 9.4 | 138.003 | 9.46 | 129.8 | 25.04 | 967.578 | 43.7032 | 73.1579
2020-06-09 03:15:00 | 9.46 | 127.5 | 9.93 | 151 | 10.14 | 142.242 | 10.07 | 131.3 | 24.89 | 967.726 | 44.3184 | 69.755
2020-06-09 03:30:00 | 8.68 | 127.7 | 9.24 | 142.6 | 9.36 | 134.329 | 9.38 | 132.4 | 24.7 | 967.578 | 45.5813 | 72.7601
2020-06-09 03:45:00 | 11.18 | 132.5 | 11.3 | 149.6 | 10.94 | 140.923 | 10.92 | 135.7 | 24.64 | 967.578 | 45.3771 | 74.6126
2020-06-09 04:00:00 | 10.53 | 122 | 11.77 | 134.9 | 12.11 | 127.076 | 12.06 | 130.9 | 24.7 | 967.43 | 46.3334 | 75.614
2020-06-09 04:15:00 | 11.81 | 127.6 | 12.56 | 144.7 | 13.46 | 136.307 | 13.36 | 135 | 24.55 | 967.133 | 48.0736 | 79.9335
2020-06-09 04:30:00 | 11.21 | 127.6 | 11.78 | 140.8 | 12.17 | 132.634 | 12.15 | 133.8 | 24.34 | 967.43 | 51.0057 | 78.5561
2020-06-09 04:45:00 | 11.35 | 131 | 11.89 | 147.2 | 12.4 | 138.662 | 12.31 | 136.6 | 23.98 | 967.43 | 51.3126 | 78.2531
2020-06-09 05:00:00 | 11.71 | 130.3 | 11.99 | 147 | 12.04 | 138.474 | 11.91 | 135.1 | 23.68 | 967.43 | 53.8016 | 77.4513
2020-06-09 05:15:00 | 11.04 | 136.7 | 11.04 | 151.9 | 11.6 | 143.09 | 11.43 | 142.1 | 23.64 | 967.43 | 56.5973 | 75.1642
2020-06-09 05:30:00 | 10.33 | 138.8 | 10.61 | 155.7 | 10.78 | 146.669 | 10.64 | 144.2 | 23.47 | 967.875 | 57.8929 | 73.4166
2020-06-09 05:45:00 | 9.35 | 136.4 | 9.74 | 154.7 | 10.21 | 145.727 | 10.17 | 142.9 | 23.33 | 968.023 | 58.9158 | 70.3018
2020-06-09 06:00:00 | 9.55 | 138 | 9.69 | 155.1 | 10.33 | 146.104 | 10.32 | 143.7 | 23.27 | 968.172 | 59.5295 | 65.7313
2020-06-09 06:15:00 | 9.87 | 137 | 10.01 | 156.2 | 10.57 | 147.14 | 10.61 | 141.9 | 23.18 | 968.023 | 60.8944 | 67.8817
2020-06-09 06:30:00 | 8.91 | 134.3 | 9.17 | 151.5 | 9.19 | 142.713 | 9.13 | 140.6 | 23.06 | 968.32 | 61.5766 | 63.6326
2020-06-09 06:45:00 | 8.06 | 133.6 | 8.25 | 152 | 8.79 | 143.184 | 8.82 | 140.5 | 23.18 | 968.023 | 62.2574 | 61.6079
2020-06-09 07:00:00 | 8.23 | 138.4 | 8.5 | 154.7 | 9.31 | 145.727 | 9.37 | 143.8 | 23.08 | 968.172 | 62.668 | 58.5337
2020-06-09 07:15:00 | 8.11 | 136.1 | 8.56 | 154 | 9.04 | 145.068 | 9.01 | 140.7 | 22.87 | 968.172 | 61.1662 | 56.0545
2020-06-09 07:30:00 | 8.42 | 135 | 8.76 | 152.9 | 9.21 | 144.032 | 9.21 | 140.6 | 23.15 | 968.616 | 62.6672 | 55.8845
2020-06-09 07:45:00 | 8.11 | 136.1 | 8.31 | 154.8 | 8.7 | 145.822 | 8.68 | 141.3 | 22.97 | 968.616 | 65.0204 | 56.8628
2020-06-09 08:00:00 | 9.59 | 135 | 9.99 | 148.8 | 10.08 | 140.17 | 10.01 | 141.5 | 22.93 | 968.468 | 64.5086 | 71.4049
2020-06-09 08:15:00 | 10.08 | 134.2 | 10.55 | 149.8 | 11.29 | 141.112 | 11.21 | 140.2 | 22.83 | 968.468 | 65.8052 | 70.5264
2020-06-09 08:30:00 | 11.01 | 136.2 | 11.44 | 154 | 11.42 | 145.068 | 11.29 | 141.4 | 22.85 | 968.616 | 65.464 | 59.3577
2020-06-09 08:45:00 | 9.38 | 138.4 | 9.77 | 157.2 | 9.37 | 148.082 | 9.19 | 143.3 | 22.95 | 968.468 | 65.9437 | 51.7315
2020-06-09 09:00:00 | 9.8 | 136 | 10.16 | 151.8 | 10.43 | 142.996 | 10.28 | 142.3 | 22.72 | 969.21 | 67.4447 | 34.1847
2020-06-09 09:15:00 | 6.927 | 131.1 | 7.475 | 149.1 | 7.762 | 140.452 | 7.668 | 137.3 | 22.45 | 969.358 | 68.535 | 28.6942
2020-06-09 09:30:00 | 5.635 | 131.3 | 5.481 | 154.4 | 5.211 | 145.445 | 5.146 | 134.8 | 22.09 | 969.506 | 69.3557 | 24.5486
2020-06-09 09:45:00 | 7.553 | 143.6 | 7.56 | 163.8 | 7.197 | 154.3 | 7.166 | 149.7 | 21.84 | 969.506 | 72.1533 | 29.2262
2020-06-09 10:00:00 | 6.917 | 142.7 | 7.122 | 163.9 | 6.671 | 154.394 | 6.399 | 147 | 21.87 | 969.951 | 70.9893 | 28.018
2020-06-09 10:15:00 | 7.083 | 142.3 | 6.972 | 163.9 | 5.979 | 154.394 | 5.791 | 143.5 | 22.03 | 969.506 | 72.7248 | 26.8541
2020-06-09 10:30:00 | 7.104 | 152.1 | 7.222 | 170.9 | 7.233 | 160.988 | 7.033 | 156.8 | 21.63 | 969.803 | 75.7587 | 19.845
2020-06-09 10:45:00 | 6.828 | 138.4 | 7.368 | 155 | 7.347 | 146.01 | 7.105 | 144.4 | 21.63 | 969.951 | 76.4442 | 13.4418
2020-06-09 11:00:00 | 6.733 | 145.6 | 6.721 | 160.2 | 6.378 | 150.908 | 6.239 | 150.3 | 21.64 | 970.1 | 76.6539 | 10.5377
2020-06-09 11:15:00 | 6.075 | 145.2 | 6.12 | 159.6 | 5.811 | 150.343 | 5.638 | 150.5 | 21.75 | 970.396 | 76.9275 | 12.0748
2020-06-09 11:30:00 | 4.183 | 134.1 | 4.371 | 150.5 | 4.328 | 141.771 | 4.255 | 135.4 | 22.3 | 970.841 | 75.0087 | 9.2112
2020-06-09 11:45:00 | 4.369 | 123.8 | 4.448 | 138.5 | 4.298 | 130.467 | 4.156 | 132.1 | 22.25 | 970.545 | 72.0074 | 7.1495
2020-06-09 12:00:00 | 6.317 | 156.7 | 6.345 | 174.8 | 5.694 | 164.662 | 5.516 | 159.7 | 22.83 | 970.693 | 73.5691 | 9.9576
2020-06-09 12:15:00 | 6.391 | 143.4 | 6.199 | 160.2 | 5.656 | 150.908 | 5.465 | 146.7 | 22.53 | 970.396 | 72.1341 | 10.9441
2020-06-09 12:30:00 | 5.914 | 151 | 5.609 | 166.8 | 5.104 | 157.126 | 4.981 | 155 | 23.11 | 970.396 | 69.0643 | 5.4166
2020-06-09 12:45:00 | 4.481 | 152.5 | 4.244 | 174.5 | 3.563 | 164.379 | 3.481 | 156.1 | 23.34 | 970.545 | 68.6893 | 2.9189
2020-06-09 13:00:00 | 3.44 | 143.4 | 3.459 | 154.8 | 3.123 | 145.822 | 3.007 | 154.9 | 23.54 | 970.396 | 67.1894 | 0.4286
2020-06-09 13:15:00 | 3.955 | 147.2 | 3.686 | 172.4 | 3.242 | 162.401 | 3.05 | 147 | 23.75 | 970.545 | 65.8599 | 0.66507
2020-06-09 13:30:00 | 4.44 | 153.4 | 4.448 | 170.4 | 3.927 | 160.517 | 3.758 | 156.8 | 23.57 | 970.246 | 66.9508 | 0.19213
2020-06-09 13:45:00 | 2.679 | 129.5 | 2.75 | 145.7 | 2.571 | 137.249 | 2.368 | 133.1 | 23.75 | 970.248 | 64.5645 | -0.16627
2020-06-09 14:00:00 | 2.827 | 138.1 | 2.909 | 157.4 | 2.612 | 148.271 | 2.511 | 142.8 | 23.68 | 970.248 | 66.8144 | -0.24755
2020-06-09 14:15:00 | 0.845 | 46.7 | 1.471 | 68.16 | 1.664 | 64.2067 | 1.563 | 70.34 | 23.82 | 970.396 | 65.9281 | -0.26972
2020-06-09 14:30:00 | 1.638 | 103.2 | 2.35 | 119.6 | 1.999 | 112.663 | 1.999 | 105.6 | 23.99 | 969.803 | 65.2463 | -0.24386
2020-06-09 14:45:00 | 2.995 | 99.2 | 3.719 | 113.1 | 3.448 | 106.54 | 3.534 | 104.4 | 23.82 | 969.655 | 64.9054 | -0.066507
2020-06-09 15:00:00 | 2.556 | 98.5 | 3.326 | 114.1 | 3.064 | 107.482 | 3.05 | 101.8 | 23.9 | 969.655 | 64.0191 | -0.19583
2020-06-09 15:15:00 | 2.599 | 73.49 | 3.364 | 87.3 | 3.603 | 82.2366 | 3.626 | 81.8 | 24.15 | 969.655 | 64.2243 | -0.040643
2020-06-09 15:30:00 | 3.583 | 100.9 | 4.448 | 115.7 | 4.094 | 108.989 | 4.191 | 104.9 | 24.18 | 969.506 | 63.0671 | 0.90524
2020-06-09 15:45:00 | 3.388 | 104.4 | 4.267 | 122.1 | 4.204 | 115.018 | 4.235 | 108.2 | 24.24 | 969.358 | 63.0646 | 1.5297
2020-06-09 16:00:00 | 2.536 | 107.2 | 3.093 | 117.2 | 3.275 | 110.402 | 3.249 | 117.9 | 24.34 | 969.655 | 62.6555 | 1.1934
2020-06-09 16:15:00 | 2.673 | 106.8 | 3.52 | 121.3 | 3.883 | 114.265 | 3.855 | 111.2 | 24.77 | 969.951 | 62.2465 | 0.84981
2020-06-09 16:30:00 | 3.557 | 102.3 | 3.768 | 118.2 | 3.367 | 111.344 | 3.224 | 111 | 24.53 | 969.49 | 62.1101 | 0.5727
2020-06-09 16:45:00 | 3.266 | 133.1 | 3.643 | 152.9 | 2.909 | 144.032 | 2.747 | 131.9 | 24.69 | 969.506 | 62.9283 | 1.1971
2020-06-09 17:00:00 | 2.891 | 111.6 | 3.663 | 127.3 | 3.537 | 119.917 | 3.565 | 118 | 24.75 | 969.358 | 61.5647 | 1.3745
2020-06-09 17:15:00 | 2.587 | 106.6 | 3.144 | 122.6 | 3.504 | 115.489 | 3.583 | 109.8 | 24.72 | 969.339 | 63.1328 | 2.2686
2020-06-09 17:30:00 | 2.957 | 89 | 3.95 | 110.6 | 4.14 | 104.185 | 4.151 | 92.3 | 24.51 | 968.913 | 63.7464 | 1.3486
2020-06-09 17:45:00 | 1.788 | 83.5 | 2.491 | 107.2 | 2.068 | 100.982 | 1.955 | 82.3 | 24.48 | 968.912 | 64.1555 | 1.175
2020-06-09 18:00:00 | 2.536 | 77.01 | 3.19 | 92.8 | 3.141 | 87.4176 | 3.086 | 83.9 | 24.44 | 968.913 | 64.7691 | 0.94588
2020-06-09 18:15:00 | 2.684 | 69.03 | 3.607 | 79.56 | 3.794 | 74.9455 | 3.769 | 79.33 | 24.43 | 968.765 | 65.008 | 1.5925
2020-06-09 18:30:00 | 1.883 | 71.58 | 3.093 | 84.6 | 3.354 | 79.6932 | 3.399 | 77.19 | 24.38 | 968.023 | 65.523 | 3.7133
2020-06-09 18:45:00 | 2.475 | 68.42 | 3.575 | 79.65 | 3.184 | 75.0303 | 3.173 | 80.9 | 24.31 | 968.32 | 66.4802 | 4.5077
2020-06-09 19:00:00 | 2.814 | 67.34 | 3.592 | 76.6 | 3.265 | 72.1572 | 3.201 | 77.55 | 24.18 | 968.172 | 66.2426 | 1.2267
2020-06-09 19:15:00 | 2.727 | 63.35 | 3.776 | 79.83 | 3.865 | 75.1999 | 3.876 | 69.3 | 24.19 | 968.32 | 66.1438 | -0.15149
2020-06-09 19:30:00 | 1.725 | 28.74 | 2.623 | 37.33 | 2.322 | 35.1649 | 2.281 | 41.48 | 24.17 | 968.172 | 66.5521 | -0.31776
2020-06-09 19:45:00 | 0.601 | 28.58 | 2.331 | 42.12 | 2.123 | 39.677 | 1.996 | 28.82 | 23.94 | 967.875 | 67.5073 | -0.26972
2020-06-09 20:00:00 | 2.324 | 79.74 | 3.359 | 94 | 3.69 | 88.548 | 3.797 | 86.1 | 23.87 | 967.875 | 66.6892 | -0.018474
2020-06-09 20:15:00 | 1.19 | 35.6 | 1.968 | 37.21 | 1.692 | 35.0518 | 1.817 | 58.08 | 24.17 | 968.468 | 67.0303 | -0.25864
2020-06-09 20:30:00 | 0.074 | 25.64 | 0.802 | 13.87 | 0.473 | 13.0655 | 0.393 | 7.253 | 23.92 | 968.616 | 67.2349 | -0.25125
2020-06-09 20:45:00 | 0.182 | 78.66 | 1.153 | 79.59 | 0.338 | 74.9738 | 0.181 | 83.5 | 23.93 | 968.172 | 67.0985 | -0.25125
2020-06-09 21:00:00 | 0.796 | 44.46 | 1.917 | 59.2 | 1.76 | 55.7664 | 1.601 | 78.57 | 23.91 | 968.616 | 68.0199 | -0.062812
2020-06-09 21:15:00 | 1.719 | 40.99 | 2.165 | 55.6 | 2.024 | 52.3752 | 1.938 | 78.29 | 23.76 | 968.616 | 67.7135 | 0.2143
2020-06-09 21:30:00 | 0 | 66.99 | 0.192 | 70.7 | 0.264 | 66.5994 | 0.198 | 78.19 | 23.89 | 969.062 | 67.3036 | -0.25125
2020-06-09 21:45:00 | 0.2 | 72.75 | 0.534 | 73.59 | 0.216 | 69.3218 | 0.119 | 78.31 | 23.9 | 968.913 | 69.1442 | -0.24016
2020-06-09 22:00:00 | 1.094 | 129.3 | 2.009 | 135 | 1.856 | 127.17 | 1.693 | 110.4 | 23.53 | 968.616 | 67.9518 | 0.54684
2020-06-09 22:15:00 | 1.872 | 128.2 | 1.971 | 145.2 | 1.912 | 136.778 | 1.815 | 124.2 | 23.89 | 968.765 | 66.8956 | 1.0937
2020-06-09 22:30:00 | 3.736 | 114.8 | 4.446 | 132.6 | 4.644 | 124.909 | 4.606 | 119.6 | 23.93 | 968.765 | 67.8498 | 2.058
2020-06-09 22:45:00 | 1.771 | 113.8 | 2.054 | 127.1 | 2.123 | 119.728 | 2.205 | 118.7 | 23.76 | 968.765 | 68.6671 | 2.3795
2020-06-09 23:00:00 | 3.136 | 109.4 | 3.566 | 136.4 | 3.504 | 128.489 | 3.59 | 111.7 | 23.62 | 968.468 | 69.8954 | 6.9426
2020-06-09 23:15:00 | 4.2 | 120.2 | 4.913 | 132 | 4.982 | 124.344 | 4.907 | 124.1 | 23.54 | 968.616 | 70.6446 | 9.3701
2020-06-09 23:30:00 | 3.268 | 134.5 | 3.18 | 150.6 | 2.723 | 141.865 | 2.737 | 141.6 | 23.42 | 968.32 | 71.6699 | 4.9178
2020-06-09 23:45:00 | 2.462 | 156.7 | 2.554 | 173.8 | 2.25 | 163.72 | 2.021 | 151.2 | 23.17 | 968.023 | 73.1013 | 2.1689