## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-10 00:00:00 | 1.887 | 127.6 | 2.081 | 145.3 | 2.634 | 136.873 | 2.605 | 123.9 | 22.95 | 968.172 | 74.8806 | 2.0543
2020-06-10 00:15:00 | 0.554 | 129.3 | 0.879 | 157.6 | 0.633 | 148.459 | 0.315 | 124.5 | 22.8 | 968.023 | 78.7722 | 0.29559
2020-06-10 00:30:00 | 1.776 | 149.4 | 2.033 | 165.5 | 2.121 | 155.901 | 2.05 | 148.8 | 22.66 | 968.023 | 80.4433 | 0.022169
2020-06-10 00:45:00 | 1.826 | 149.9 | 2.426 | 166.7 | 2.004 | 157.031 | 1.863 | 147.8 | 22.53 | 967.875 | 83.1372 | -0.011085
2020-06-10 01:00:00 | 4.037 | 139.7 | 4.2 | 156.2 | 4.272 | 147.14 | 4.181 | 142.9 | 22.3 | 967.578 | 87.0247 | 0.55792
2020-06-10 01:15:00 | 3.118 | 141 | 3.244 | 157.5 | 3.517 | 148.365 | 3.471 | 143.4 | 22.14 | 967.296 | 87.8431 | 0.41013
2020-06-10 01:30:00 | 4.111 | 130.3 | 4.152 | 147.2 | 4.229 | 138.662 | 4.143 | 131.5 | 22.07 | 967.165 | 88.1841 | 1.3154
2020-06-10 01:45:00 | 1.797 | 131.5 | 2.439 | 150.8 | 2.49 | 142.054 | 2.452 | 134.9 | 22.06 | 967.064 | 88.6615 | 0.25494
2020-06-10 02:00:00 | 1.895 | 118 | 2.162 | 135.7 | 2.088 | 127.829 | 2.09 | 120.8 | 21.94 | 967.282 | 89.3776 | -0.073897
2020-06-10 02:15:00 | 0.015 | 114.3 | 1.193 | 124 | 1.239 | 116.808 | 1.056 | 107.8 | 22 | 967.053 | 88.901 | -0.24016
2020-06-10 02:30:00 | 2.489 | 121.7 | 2.963 | 143.9 | 2.754 | 135.554 | 2.691 | 122.2 | 21.93 | 966.605 | 89.9592 | -0.2882
2020-06-10 02:45:00 | 3.621 | 103.3 | 4.075 | 125.8 | 5 | 118.504 | 5.177 | 109.7 | 21.8 | 966.646 | 90.6412 | 2.5568
2020-06-10 03:00:00 | 2.602 | 100.7 | 3.786 | 119.9 | 4.336 | 112.946 | 4.423 | 107 | 21.77 | 966.191 | 90.9143 | 1.7255
2020-06-10 03:15:00 | 1.62 | 91 | 3.18 | 104.1 | 3.499 | 98.0622 | 3.603 | 98.3 | 21.7 | 966.057 | 90.8456 | 3.3549
2020-06-10 03:30:00 | 3.36 | 100.2 | 3.96 | 114 | 4.593 | 107.388 | 4.663 | 107.5 | 21.83 | 966.039 | 90.1664 | 3.5434
2020-06-10 03:45:00 | 2.231 | 118.8 | 2.753 | 141.5 | 2.324 | 133.293 | 2.401 | 108.9 | 21.75 | 965.89 | 91.6669 | 3.2995
2020-06-10 04:00:00 | 0.119 | 86.8 | 1.212 | 101.1 | 1.681 | 95.2362 | 1.426 | 88.5 | 21.72 | 966.225 | 91.9436 | 0.97913
2020-06-10 04:15:00 | 3.478 | 120.8 | 3.799 | 142.9 | 3.662 | 134.612 | 3.72 | 120.3 | 21.68 | 966.389 | 91.807 | 1.3006
2020-06-10 04:30:00 | 3.866 | 129.5 | 3.863 | 147.8 | 3.998 | 139.228 | 3.86 | 128.8 | 21.66 | 966.241 | 92.0135 | 3.4916
2020-06-10 04:45:00 | 2.597 | 131.9 | 3.249 | 149.9 | 3.334 | 141.206 | 3.251 | 130.1 | 21.51 | 966.39 | 92.9719 | 1.8955
2020-06-10 05:00:00 | 1.897 | 136.7 | 2.472 | 157.4 | 2.092 | 148.271 | 1.802 | 135.2 | 21.57 | 966.39 | 92.972 | 0.58009
2020-06-10 05:15:00 | 0 | 109.6 | 0.627 | 133 | 0.158 | 125.286 | 0.049 | 110.8 | 21.46 | 966.093 | 93.2463 | -0.051728
2020-06-10 05:30:00 | 0.093 | 91.3 | 1.223 | 109.5 | 0.893 | 103.149 | 0.639 | 100.4 | 21.41 | 966.538 | 93.5195 | -0.26233
2020-06-10 05:45:00 | 0.686 | 126.6 | 1.853 | 141.9 | 2.149 | 133.67 | 2.073 | 125.8 | 21.52 | 966.835 | 92.564 | -0.24016
2020-06-10 06:00:00 | 0.292 | 137.8 | 1.945 | 154.8 | 2.044 | 145.822 | 1.871 | 126.7 | 21.67 | 967.235 | 91.5965 | -0.22539
2020-06-10 06:15:00 | 0.056 | 83.3 | 0.931 | 125.2 | 1.229 | 117.938 | 1.155 | 102.5 | 22.12 | 967.297 | 87.6386 | -0.22539
2020-06-10 06:30:00 | 0 | 75.08 | 0.075 | 93.9 | 0 | 88.4538 | 0 | 82.8 | 23.17 | 967.727 | 84.966 | -0.22539
2020-06-10 06:45:00 | 0 | 135.3 | 1.005 | 151.1 | 0.684 | 142.336 | 0.141 | 124.6 | 22.97 | 968.172 | 84.1322 | -0.22539
2020-06-10 07:00:00 | 0 | 135.3 | 0.918 | 151.1 | 0.118 | 142.336 | 0 | 124.6 | 23.27 | 968.725 | 83.1298 | -0.22539
2020-06-10 07:15:00 | 0.041 | 114.5 | 0.293 | 151.1 | 0.442 | 142.336 | 0.564 | 89.2 | 23.36 | 968.322 | 83.3674 | -0.24386
2020-06-10 07:30:00 | 0.097 | 283 | 0 | 292 | 0.034 | 275.064 | 0.028 | 334 | 23.44 | 968.47 | 79.2761 | -0.22539
2020-06-10 07:45:00 | 1.128 | 13.25 | 1.381 | 336.9 | 1.695 | 317.36 | 1.693 | 28.58 | 24.17 | 968.766 | 75.1843 | -0.24016
2020-06-10 08:00:00 | 1.123 | 34.95 | 1.734 | 43.5 | 1.645 | 40.977 | 1.447 | 33.84 | 24.84 | 968.549 | 74.4188 | -0.22539
2020-06-10 08:15:00 | 2.242 | 32.45 | 2.293 | 47.2 | 2.067 | 44.4624 | 1.991 | 44 | 24.72 | 968.323 | 69.8467 | -0.22539
2020-06-10 08:30:00 | 2.869 | 4.721 | 3.515 | 13.7 | 3.08 | 12.9054 | 3.068 | 3.252 | 24.78 | 968.026 | 73.322 | -0.25494
2020-06-10 08:45:00 | 2.029 | 14.81 | 2.597 | 20.7 | 2.879 | 19.4994 | 2.895 | 13.26 | 24.81 | 967.878 | 67.4276 | -0.2882
2020-06-10 09:00:00 | 3.051 | 6.826 | 3.65 | 18.4 | 3.301 | 17.3328 | 3.267 | 8.14 | 25.05 | 967.582 | 67.8706 | -0.11824
2020-06-10 09:15:00 | 3.053 | 15.27 | 4.532 | 32.9 | 3.555 | 30.9918 | 3.272 | 13.77 | 25.79 | 968.323 | 66.2351 | -0.21061
2020-06-10 09:30:00 | 3.002 | 1.845 | 3.423 | 10.12 | 3.201 | 9.533 | 3.249 | 359.8 | 25.72 | 968.323 | 62.5554 | -0.044338
2020-06-10 09:45:00 | 2.755 | 16.68 | 4.476 | 36.08 | 4.117 | 33.9874 | 3.97 | 17.03 | 26.12 | 968.471 | 65.2103 | 2.3314
2020-06-10 10:00:00 | 2.227 | 15.96 | 3.421 | 31.35 | 3.554 | 29.5317 | 3.595 | 14.89 | 26.18 | 968.471 | 62.4438 | 1.1269
2020-06-10 10:15:00 | 2.948 | 29.91 | 3.855 | 50.54 | 3.405 | 47.6087 | 3.394 | 25.75 | 26.48 | 968.323 | 59.3098 | 2.9152
2020-06-10 10:30:00 | 2.753 | 9.07 | 4.18 | 25.92 | 4.87 | 24.4166 | 4.897 | 5.65 | 26.95 | 968.471 | 55.6642 | 5.1913
2020-06-10 10:45:00 | 3.685 | 10.27 | 4.824 | 26.86 | 4.184 | 25.3021 | 3.94 | 10.09 | 27.03 | 968.323 | 50.247 | 5.8748
2020-06-10 11:00:00 | 3.095 | 13.26 | 5.709 | 25.85 | 5.287 | 24.3507 | 5.05 | 13.95 | 27.52 | 968.323 | 49.3966 | 5.8046
2020-06-10 11:15:00 | 3.485 | 12.83 | 5.005 | 37.89 | 4.428 | 35.6924 | 4.319 | 10.99 | 27.92 | 968.619 | 48.4417 | 7.1902
2020-06-10 11:30:00 | 2.907 | 8.75 | 4.387 | 31.59 | 4.425 | 29.7578 | 4.107 | 4.937 | 28.44 | 968.471 | 41.6624 | 6.8909
2020-06-10 11:45:00 | 3.218 | 25.21 | 3.952 | 37.81 | 4.051 | 35.617 | 3.865 | 23.38 | 29.47 | 968.471 | 43.2932 | 3.6172
2020-06-10 12:00:00 | 3.485 | 5.903 | 4.851 | 25.85 | 4.87 | 24.3507 | 4.772 | 356.2 | 29.72 | 968.026 | 39.9878 | 5.8933
2020-06-10 12:15:00 | 4.072 | 16.89 | 5.775 | 31.07 | 5.417 | 29.2679 | 5.223 | 11.25 | 28.75 | 968.026 | 40.4016 | 5.1765
2020-06-10 12:30:00 | 4.56 | 13.28 | 5.867 | 32.28 | 5.32 | 30.4078 | 5.312 | 6.098 | 29.16 | 967.582 | 39.3159 | 6.3441
2020-06-10 12:45:00 | 4.09 | 14.64 | 5.632 | 31.48 | 5.409 | 29.6542 | 5.363 | 11.31 | 29.12 | 967.73 | 37.0015 | 4.2084
2020-06-10 13:00:00 | 3.331 | 25.55 | 4.253 | 39.2 | 5.007 | 36.9264 | 5.011 | 26.65 | 29.8 | 967.582 | 33.5605 | 7.6335
2020-06-10 13:15:00 | 3.134 | 15.49 | 4.832 | 29.9 | 4.461 | 28.1658 | 4.357 | 12.66 | 29.05 | 967.433 | 34.6848 | 8.1065
2020-06-10 13:30:00 | 3.856 | 16.27 | 6.036 | 28.02 | 5.689 | 26.3948 | 5.427 | 11.42 | 29.96 | 967.433 | 33.7308 | 9.8726
2020-06-10 13:45:00 | 2.324 | 15.01 | 5.236 | 32.89 | 5.76 | 30.9824 | 5.505 | 11.33 | 30.94 | 968.026 | 33.6953 | 7.8368
2020-06-10 14:00:00 | 1.933 | 14.24 | 3.403 | 43.17 | 3.869 | 40.6661 | 3.949 | 359.4 | 30.39 | 968.026 | 30.6255 | 5.3391
2020-06-10 14:15:00 | 2.254 | 7.051 | 3.455 | 17.55 | 3.044 | 16.5321 | 2.926 | 351.2 | 30.48 | 967.433 | 28.7819 | 5.8379
2020-06-10 14:30:00 | 2.533 | 9 | 3.65 | 29.36 | 3.812 | 27.6571 | 3.792 | 1.333 | 30.49 | 967.73 | 32.2207 | 6.0041
2020-06-10 14:45:00 | 3.428 | 16.56 | 5.322 | 27.62 | 6.068 | 26.018 | 5.954 | 14.75 | 31.22 | 967.285 | 33.3106 | 6.9094
2020-06-10 15:00:00 | 3.165 | 11.35 | 4.366 | 26.16 | 5.056 | 24.6427 | 4.683 | 6.387 | 31.16 | 967.582 | 34.7412 | 7.1421
2020-06-10 15:15:00 | 3.995 | 9.78 | 5.68 | 30.64 | 5.511 | 28.8629 | 5.462 | 4.577 | 31.21 | 967.285 | 35.9673 | 9.9761
2020-06-10 15:30:00 | 4.212 | 19.66 | 6.703 | 36.81 | 6.21 | 34.675 | 6.127 | 20.22 | 30.75 | 966.989 | 36.1717 | 6.6101
2020-06-10 15:45:00 | 2.53 | 16.78 | 6.401 | 35.48 | 6.327 | 33.4222 | 5.73 | 13.85 | 31.27 | 967.137 | 34.4346 | 4.1752
2020-06-10 16:00:00 | 3.639 | 358.4 | 4.153 | 8.42 | 4.219 | 7.9316 | 4.204 | 358 | 30.41 | 966.395 | 34.673 | 4.6296
2020-06-10 16:15:00 | 1.717 | 7.236 | 4.245 | 23.97 | 4.102 | 22.5797 | 3.962 | 6.943 | 31.09 | 966.84 | 34.1281 | 6.9389
2020-06-10 16:30:00 | 3.322 | 0.767 | 4.566 | 25.48 | 4.679 | 24.0022 | 4.777 | 353.5 | 30.38 | 966.692 | 33.8897 | 8.6422
2020-06-10 16:45:00 | 3.813 | 6.091 | 4.144 | 20.8 | 4.115 | 19.5936 | 4.281 | 0.524 | 30.62 | 966.692 | 34.8433 | 6.3588
2020-06-10 17:00:00 | 1.806 | 5.814 | 3.039 | 16.57 | 3.738 | 15.6089 | 3.598 | 0.926 | 30.8 | 966.395 | 34.7071 | 6.4438
2020-06-10 17:15:00 | 2.162 | 358.3 | 2.9 | 17.72 | 2.777 | 16.6922 | 2.727 | 351.9 | 30.9 | 966.099 | 35.763 | 7.7666
2020-06-10 17:30:00 | 2.162 | 11.61 | 3.704 | 33.94 | 3.827 | 31.9715 | 3.814 | 357.3 | 30.49 | 966.543 | 35.6948 | 7.9883
2020-06-10 17:45:00 | 4.144 | 2.759 | 5.051 | 22.4 | 5.221 | 21.1008 | 5.279 | 358.8 | 30.44 | 966.099 | 36.3079 | 8.2247
2020-06-10 18:00:00 | 2.79 | 2.071 | 3.76 | 26.17 | 3.364 | 24.6521 | 3.384 | 349.5 | 30.26 | 965.802 | 36.6485 | 8.2395
2020-06-10 18:15:00 | 3.975 | 354.7 | 4.566 | 12.16 | 5.091 | 11.4547 | 5.286 | 348.7 | 30.15 | 965.951 | 37.063 | 8.1656
2020-06-10 18:30:00 | 3.17 | 353.1 | 3.98 | 19.25 | 4.618 | 18.1335 | 4.815 | 350.2 | 30.05 | 965.358 | 38.0894 | 6.9648
2020-06-10 18:45:00 | 4.476 | 357 | 4.21 | 14.03 | 5.231 | 13.2163 | 5.47 | 358.5 | 29.81 | 965.209 | 38.7734 | 7.7296
2020-06-10 19:00:00 | 4.349 | 7.964 | 4.783 | 23.77 | 4.753 | 22.3913 | 4.568 | 7.671 | 29.64 | 965.061 | 39.523 | 5.1284
2020-06-10 19:15:00 | 3.695 | 9.12 | 4.821 | 24.85 | 4.59 | 23.4087 | 4.084 | 12.46 | 29.45 | 964.913 | 40.1363 | 4.0533
2020-06-10 19:30:00 | 3.207 | 14.4 | 4.829 | 29.93 | 5.084 | 28.1941 | 4.474 | 17.59 | 29.21 | 965.246 | 40.6234 | 4.1235
2020-06-10 19:45:00 | 2.954 | 24.23 | 4.54 | 41.56 | 4.936 | 39.1495 | 4.861 | 28.25 | 29.08 | 965.201 | 41.3753 | 4.2786
2020-06-10 20:00:00 | 2.965 | 24.96 | 4.438 | 43.15 | 4.644 | 40.6473 | 4.601 | 29.17 | 29.02 | 965.652 | 41.5787 | 3.5434
2020-06-10 20:15:00 | 2.878 | 27.32 | 4.205 | 46.11 | 4.295 | 43.4356 | 4.25 | 28.66 | 29.04 | 965.355 | 41.6128 | 3.9313
2020-06-10 20:30:00 | 2.926 | 26.56 | 4.599 | 44.39 | 4.74 | 41.8154 | 4.67 | 29.41 | 28.92 | 965.504 | 41.9886 | 5.6199
2020-06-10 20:45:00 | 3.58 | 38.73 | 4.85 | 56.29 | 4.959 | 53.0252 | 4.907 | 42.71 | 28.77 | 965.504 | 42.7398 | 4.2047
2020-06-10 21:00:00 | 3.669 | 37.17 | 4.63 | 55.12 | 4.679 | 51.923 | 4.645 | 40.9 | 28.83 | 965.355 | 42.4676 | 5.0545
2020-06-10 21:15:00 | 3.371 | 37.96 | 5.123 | 53.69 | 5.081 | 50.576 | 5.042 | 42.36 | 28.76 | 965.504 | 42.8084 | 5.9598
2020-06-10 21:30:00 | 3.184 | 29.95 | 3.645 | 46.4 | 3.962 | 43.7088 | 4.033 | 41.16 | 28.71 | 965.504 | 43.3877 | 7.7629
2020-06-10 21:45:00 | 3.268 | 50.15 | 4.389 | 62.33 | 4.723 | 58.7149 | 4.912 | 58.95 | 28.51 | 965.355 | 43.6264 | 6.1113
2020-06-10 22:00:00 | 3.133 | 54 | 4.32 | 61.27 | 4.021 | 57.7163 | 4.041 | 60.64 | 28.41 | 965.652 | 43.9673 | 4.7701
2020-06-10 22:15:00 | 3.358 | 55.33 | 4.008 | 64.19 | 3.886 | 60.467 | 3.934 | 63.01 | 28.35 | 965.652 | 44.4444 | 4.674
2020-06-10 22:30:00 | 3.411 | 47.94 | 4.448 | 64.34 | 4.532 | 60.6083 | 4.617 | 58.44 | 28.17 | 965.504 | 45.1261 | 5.6716
2020-06-10 22:45:00 | 3.95 | 57.44 | 4.704 | 69.95 | 4.69 | 65.8929 | 4.787 | 65.65 | 28.05 | 965.355 | 45.8078 | 7.2899
2020-06-10 23:00:00 | 3.069 | 60.96 | 3.615 | 72.66 | 2.947 | 68.4457 | 3.089 | 67.71 | 27.91 | 965.36 | 46.5576 | 6.817
2020-06-10 23:15:00 | 3.501 | 74.05 | 3.19 | 88.3 | 2.769 | 83.1786 | 2.5 | 71.15 | 27.7 | 965.381 | 47.3074 | 8.343
2020-06-10 23:30:00 | 2.592 | 91.9 | 3.333 | 105.7 | 3.881 | 99.5694 | 4.161 | 100.9 | 27.68 | 965.267 | 46.7621 | 12.2447
2020-06-10 23:45:00 | 4.578 | 98.8 | 5.284 | 112.1 | 5.529 | 105.598 | 5.633 | 106.6 | 27.73 | 965.545 | 48.0572 | 19.0987