## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-11 00:00:00 | 5.301 | 88.5 | 5.916 | 102 | 6.172 | 96.084 | 6.351 | 96.3 | 27.57 | 965.086 | 48.5344 | 24.3232
2020-06-11 00:15:00 | 5.743 | 88.5 | 6.846 | 103.8 | 7.452 | 97.7796 | 7.65 | 96.5 | 27.49 | 965.118 | 49.182 | 31.6945
2020-06-11 00:30:00 | 6.675 | 99.3 | 7.948 | 113.3 | 7.889 | 106.729 | 8.1 | 106.6 | 27.42 | 965.424 | 51.7723 | 35.2156
2020-06-11 00:45:00 | 6.077 | 101.3 | 7.447 | 112.3 | 7.736 | 105.787 | 8.13 | 105.4 | 27.3 | 965.183 | 54.0559 | 38.3119
2020-06-11 01:00:00 | 5.96 | 102.5 | 7.409 | 118.6 | 8.12 | 111.721 | 8.43 | 107.8 | 26.99 | 965.392 | 57.6346 | 36.6676
2020-06-11 01:15:00 | 6.409 | 100.2 | 7.992 | 115.6 | 8.24 | 108.895 | 8.42 | 106.8 | 26.8 | 965.094 | 58.6571 | 38.0273
2020-06-11 01:30:00 | 5.278 | 107 | 6.291 | 121.7 | 6.498 | 114.641 | 6.725 | 111.4 | 26.69 | 965.438 | 58.8279 | 34.75
2020-06-11 01:45:00 | 6.544 | 112.7 | 7.161 | 131.4 | 7.988 | 123.779 | 8.2 | 117 | 26.65 | 965.328 | 60.329 | 37.8869
2020-06-11 02:00:00 | 5.566 | 111.3 | 6.655 | 130.1 | 7.843 | 122.554 | 8.03 | 117.9 | 26.57 | 965.353 | 61.1149 | 36.5309
2020-06-11 02:15:00 | 6.588 | 117.6 | 7.179 | 136.7 | 8.12 | 128.771 | 8.21 | 122.1 | 26.37 | 965.332 | 61.8677 | 32.474
2020-06-11 02:30:00 | 6.861 | 129.5 | 7.135 | 142.2 | 7.831 | 133.952 | 7.775 | 136.7 | 26.41 | 965.205 | 61.1537 | 33.4568
2020-06-11 02:45:00 | 7.535 | 131.6 | 7.557 | 148.7 | 8.03 | 140.075 | 8.08 | 137.2 | 26.42 | 965.205 | 61.1553 | 30.6118
2020-06-11 03:00:00 | 6.749 | 130.4 | 7.281 | 146.4 | 7.299 | 137.909 | 7.25 | 136.8 | 26.22 | 965.325 | 62.5531 | 30.6931
2020-06-11 03:15:00 | 7.977 | 130.2 | 8.13 | 143.3 | 8.43 | 134.989 | 8.34 | 137 | 26.08 | 964.76 | 62.7237 | 30.4086
2020-06-11 03:30:00 | 8.36 | 128.5 | 8.58 | 143.5 | 9.14 | 135.177 | 9.1 | 135.4 | 26.03 | 964.612 | 64.36 | 32.2745
2020-06-11 03:45:00 | 8.65 | 129.9 | 8.88 | 145.2 | 8.85 | 136.778 | 8.74 | 136.9 | 25.87 | 964.612 | 62.5873 | 29.6918
2020-06-11 04:00:00 | 8.17 | 131.6 | 8.69 | 144.7 | 8.81 | 136.307 | 8.63 | 139.3 | 25.81 | 964.582 | 63.7464 | 29.156
2020-06-11 04:15:00 | 8.16 | 133 | 8.23 | 145.5 | 8.11 | 137.061 | 7.917 | 140.3 | 25.79 | 964.611 | 62.2124 | 27.4047
2020-06-11 04:30:00 | 7.318 | 136.6 | 7.271 | 151.4 | 7.045 | 142.619 | 6.955 | 145.2 | 25.82 | 964.908 | 64.0873 | 25.6681
2020-06-11 04:45:00 | 6.126 | 141.3 | 6.568 | 155.8 | 6.945 | 146.764 | 6.863 | 146.5 | 25.52 | 964.908 | 64.9054 | 27.5783
2020-06-11 05:00:00 | 7.811 | 133.8 | 8.05 | 147.5 | 7.535 | 138.945 | 7.278 | 140.5 | 25.69 | 964.908 | 64.5645 | 23.7061
2020-06-11 05:15:00 | 6.491 | 134.6 | 7.03 | 149 | 7.111 | 140.358 | 6.873 | 141.7 | 25.62 | 964.76 | 63.5418 | 25.7198
2020-06-11 05:30:00 | 6.174 | 133.1 | 6.693 | 147 | 6.783 | 138.474 | 6.578 | 141.2 | 25.78 | 965.057 | 63.4737 | 27.2421
2020-06-11 05:45:00 | 6.486 | 132.2 | 6.938 | 146.9 | 6.915 | 138.38 | 6.764 | 140.6 | 25.52 | 965.057 | 64.769 | 28.2286
2020-06-11 06:00:00 | 7.395 | 129.7 | 7.828 | 143.3 | 7.533 | 134.989 | 7.324 | 138.2 | 25.57 | 965.205 | 63.6441 | 32.0121
2020-06-11 06:15:00 | 7.116 | 123.7 | 7.892 | 136.9 | 7.764 | 128.96 | 7.54 | 132 | 25.59 | 965.798 | 67.4256 | 29.6844
2020-06-11 06:30:00 | 6.721 | 129.1 | 7.117 | 144.2 | 6.35 | 135.836 | 6.231 | 134.6 | 25.34 | 965.768 | 67.5189 | 23.4475
2020-06-11 06:45:00 | 6.082 | 140.5 | 6.248 | 157.8 | 6.366 | 148.648 | 6.313 | 145.2 | 25.48 | 965.099 | 68.439 | 24.6668
2020-06-11 07:00:00 | 4.622 | 115.5 | 5.246 | 133.2 | 5.847 | 125.474 | 5.834 | 122.5 | 25.67 | 965.515 | 66.8371 | 19.9965
2020-06-11 07:15:00 | 5.559 | 114.2 | 6.624 | 128 | 6.523 | 120.576 | 6.438 | 121.6 | 25.75 | 965.949 | 66.2577 | 17.3362
2020-06-11 07:30:00 | 5.886 | 113.1 | 6.389 | 127.4 | 6.495 | 120.011 | 6.435 | 118.9 | 25.78 | 965.801 | 65.914 | 17.4877
2020-06-11 07:45:00 | 5.242 | 121.2 | 5.563 | 140.6 | 5.62 | 132.445 | 5.521 | 124.9 | 26.12 | 966.245 | 64.5499 | 17.2697
2020-06-11 08:00:00 | 3.012 | 104.1 | 3.484 | 118.9 | 3.825 | 112.004 | 3.901 | 109.8 | 26.51 | 966.394 | 63.4602 | 13.512
2020-06-11 08:15:00 | 3.618 | 97.7 | 3.99 | 111 | 4.242 | 104.562 | 4.181 | 106.5 | 27.32 | 966.255 | 59.1488 | 19.74
2020-06-11 08:30:00 | 4.308 | 105.6 | 4.315 | 127.5 | 4.392 | 120.105 | 4.41 | 111.8 | 27.37 | 966.099 | 59.3527 | 20.2884
2020-06-11 08:45:00 | 4.76 | 106.9 | 4.944 | 133.6 | 4.565 | 125.851 | 4.645 | 102.2 | 27.78 | 966.396 | 57.7854 | 19.2428
2020-06-11 09:00:00 | 5.745 | 125.5 | 6.049 | 144.3 | 5.671 | 135.931 | 5.531 | 133.4 | 27.82 | 966.396 | 59.1414 | 16.9852
2020-06-11 09:15:00 | 5.367 | 134 | 5.703 | 151.2 | 5.338 | 142.43 | 5.297 | 142.8 | 27.74 | 966.396 | 58.187 | 17.2882
2020-06-11 09:30:00 | 6.631 | 144.6 | 6.744 | 163.1 | 6.633 | 153.64 | 6.478 | 149.9 | 28.1 | 966.248 | 54.029 | 16.5972
2020-06-11 09:45:00 | 6.963 | 147.1 | 7.291 | 163.5 | 7.154 | 154.017 | 7.008 | 151.3 | 28.23 | 966.544 | 50.4856 | 15.6033
2020-06-11 10:00:00 | 7.285 | 145.8 | 7.383 | 164.9 | 6.742 | 155.336 | 6.641 | 151.6 | 28.44 | 966.544 | 47.5899 | 16.6379
2020-06-11 10:15:00 | 7.234 | 140.8 | 7.148 | 157.3 | 7.065 | 148.177 | 6.932 | 144.7 | 28.91 | 966.396 | 41.5602 | 16.4162
2020-06-11 10:30:00 | 5.487 | 127.6 | 5.473 | 145 | 5.768 | 136.59 | 5.709 | 130.2 | 29.4 | 967.137 | 39.3804 | 14.0478
2020-06-11 10:45:00 | 6.468 | 125.7 | 6.637 | 141.8 | 6.477 | 133.576 | 6.325 | 130.5 | 29.23 | 966.84 | 42.9528 | 8.6903
2020-06-11 11:00:00 | 6.136 | 148.5 | 6.46 | 163 | 6.269 | 153.546 | 6.089 | 153.6 | 29.43 | 966.544 | 42.8816 | 14.1328
2020-06-11 11:15:00 | 6.041 | 135.7 | 6.256 | 151 | 6.549 | 142.242 | 6.552 | 140.7 | 29.5 | 966.692 | 41.3147 | 18.3512
2020-06-11 11:30:00 | 6.067 | 171.6 | 5.89 | 186 | 5.216 | 175.212 | 5.187 | 173.6 | 30.12 | 966.396 | 30.8924 | 14.3803
2020-06-11 11:45:00 | 6.514 | 96.3 | 7.375 | 111.4 | 7.286 | 104.939 | 7.426 | 103.6 | 30.47 | 966.396 | 34.1281 | 10.2606
2020-06-11 12:00:00 | 5.756 | 165.8 | 6.064 | 184.9 | 5.707 | 174.176 | 5.615 | 170.1 | 30.58 | 966.396 | 30.5858 | 12.0341
2020-06-11 12:15:00 | 5.132 | 136.8 | 5.268 | 155.8 | 5.109 | 146.764 | 4.981 | 144.9 | 31.24 | 966.248 | 28.7812 | 8.694
2020-06-11 12:30:00 | 5.569 | 152.9 | 5.133 | 175 | 4.339 | 164.85 | 4.278 | 156.7 | 31.28 | 966.396 | 29.9051 | 13.9798
2020-06-11 12:45:00 | 5.293 | 123.9 | 5.445 | 148.3 | 5.045 | 139.699 | 5.021 | 122.7 | 31.7 | 966.099 | 26.5668 | 11.2914
2020-06-11 13:00:00 | 5.944 | 137 | 6.701 | 152.3 | 6.528 | 143.467 | 6.382 | 144.7 | 31.45 | 965.803 | 34.7412 | 10.1793
2020-06-11 13:15:00 | 2.614 | 126 | 3.437 | 150.9 | 3.541 | 142.148 | 3.531 | 123.9 | 31.53 | 966.099 | 32.357 | 11.0217
2020-06-11 13:30:00 | 7.489 | 187.9 | 7.222 | 203.6 | 6.541 | 191.791 | 6.504 | 188.6 | 31.34 | 965.358 | 31.1989 | 9.8542
2020-06-11 13:45:00 | 5.837 | 145.2 | 5.882 | 159.8 | 5.74 | 150.532 | 5.658 | 151.6 | 31.54 | 965.506 | 27.7248 | 13.0096
2020-06-11 14:00:00 | 5.191 | 172.5 | 5.057 | 188.6 | 4.565 | 177.661 | 4.556 | 173.2 | 31.73 | 965.803 | 28.0313 | 11.709
2020-06-11 14:15:00 | 4.652 | 120.3 | 4.954 | 137 | 4.768 | 129.054 | 4.711 | 124 | 31.29 | 965.655 | 26.4986 | 14.7831
2020-06-11 14:30:00 | 3.294 | 89.1 | 3.97 | 114.9 | 4.42 | 108.236 | 4.438 | 95.3 | 31.59 | 964.913 | 24.8638 | 7.9513
2020-06-11 14:45:00 | 3.59 | 121.6 | 3.719 | 136.1 | 4.265 | 128.206 | 4.321 | 128 | 31.41 | 964.469 | 26.8419 | 6.1778
2020-06-11 15:00:00 | 2.668 | 123.2 | 3.111 | 141.6 | 3.214 | 133.387 | 3.234 | 128 | 31.26 | 964.469 | 23.6759 | 6.4327
2020-06-11 15:15:00 | 3.682 | 129.6 | 4.159 | 150.8 | 3.812 | 142.054 | 3.758 | 132.9 | 31.48 | 964.765 | 22.8937 | 9.263
2020-06-11 15:30:00 | 4.619 | 97.6 | 5.172 | 112.6 | 5.084 | 106.069 | 5.123 | 105 | 31.29 | 964.617 | 22.7597 | 10.9109
2020-06-11 15:45:00 | 5.168 | 105.9 | 5.9 | 120 | 6.002 | 113.04 | 6.058 | 111.5 | 31.26 | 964.024 | 21.5331 | 15.8509
2020-06-11 16:00:00 | 5.383 | 104.7 | 6.148 | 116.2 | 6.091 | 109.46 | 6.196 | 112.2 | 31.16 | 964.024 | 19.9659 | 17.6946
2020-06-11 16:15:00 | 3.685 | 119.5 | 4.093 | 133.3 | 4.046 | 125.569 | 3.995 | 126.8 | 30.93 | 964.024 | 19.0119 | 13.1536
2020-06-11 16:30:00 | 3.401 | 102.9 | 4.108 | 117.8 | 4.453 | 110.968 | 4.601 | 110.6 | 30.93 | 963.728 | 18.4668 | 9.2186
2020-06-11 16:45:00 | 3.411 | 117.4 | 3.768 | 133.9 | 3.568 | 126.134 | 3.623 | 119.8 | 30.87 | 964.024 | 18.9097 | 9.5844
2020-06-11 17:00:00 | 3.36 | 123.8 | 3.313 | 142.7 | 3.108 | 134.423 | 3.165 | 126.5 | 30.73 | 963.876 | 19.8978 | 6.9611
2020-06-11 17:15:00 | 5.071 | 143 | 5.432 | 156.5 | 5.277 | 147.423 | 5.159 | 148.8 | 30.65 | 963.728 | 21.6014 | 3.1406
2020-06-11 17:30:00 | 4.249 | 152.1 | 4.279 | 168.8 | 4.12 | 159.01 | 4.102 | 158.4 | 30.59 | 963.728 | 18.6031 | 3.7096
2020-06-11 17:45:00 | 5.362 | 143 | 5.282 | 157.4 | 4.575 | 148.271 | 4.522 | 152.2 | 30.59 | 963.431 | 23.9864 | 6.0595
2020-06-11 18:00:00 | 4.499 | 154.4 | 4.479 | 172.8 | 4.361 | 162.778 | 4.309 | 161.1 | 30.34 | 963.431 | 23.4412 | 5.5275
2020-06-11 18:15:00 | 5.109 | 142.5 | 5.432 | 159.5 | 5.315 | 150.249 | 5.236 | 147.5 | 30.2 | 963.135 | 25.3833 | 10.3825
2020-06-11 18:30:00 | 4.714 | 148.4 | 4.653 | 165.2 | 4.819 | 155.618 | 4.749 | 152.6 | 29.86 | 963.144 | 25.4855 | 8.7753
2020-06-11 18:45:00 | 3.973 | 141.3 | 4.246 | 160.3 | 4.176 | 151.003 | 4.125 | 144.6 | 29.84 | 963.373 | 25.2833 | 11.3727
2020-06-11 19:00:00 | 5.043 | 134.8 | 5.417 | 151.3 | 5.674 | 142.525 | 5.516 | 139.8 | 29.92 | 963.301 | 23.5146 | 11.0439
2020-06-11 19:15:00 | 5.454 | 123.1 | 5.647 | 138.4 | 5.928 | 130.373 | 5.783 | 129.7 | 30.02 | 963.546 | 22.971 | 12.2521
2020-06-11 19:30:00 | 6.064 | 135 | 6.148 | 152.2 | 6.297 | 143.372 | 6.221 | 138.3 | 30.03 | 963.818 | 23.1756 | 9.2002
2020-06-11 19:45:00 | 4.461 | 140.5 | 4.65 | 158.3 | 4.611 | 149.119 | 4.553 | 144.5 | 29.76 | 963.722 | 23.4486 | 8.9304
2020-06-11 20:00:00 | 4.292 | 133.9 | 4.573 | 149.1 | 5.074 | 140.452 | 5.078 | 139.3 | 29.73 | 964.021 | 22.8353 | 4.2232
2020-06-11 20:15:00 | 4.415 | 177.1 | 4.32 | 194.6 | 3.537 | 183.313 | 3.43 | 175.2 | 29.49 | 964.462 | 24.0626 | 1.3043
2020-06-11 20:30:00 | 3.46 | 156.4 | 3.702 | 176.9 | 3.86 | 166.64 | 3.842 | 160.8 | 29.18 | 964.466 | 25.0164 | 0.7131
2020-06-11 20:45:00 | 2.188 | 163.9 | 2.641 | 173.1 | 2.634 | 163.06 | 2.628 | 169.4 | 28.94 | 964.614 | 25.425 | 0.25864
2020-06-11 21:00:00 | 2.463 | 275.2 | 3.101 | 293.3 | 2.642 | 276.289 | 2.602 | 272 | 27.9 | 964.466 | 54.1205 | 1.1158
2020-06-11 21:15:00 | 3.171 | 256.7 | 3.579 | 270.6 | 3.242 | 254.905 | 3.135 | 256.3 | 26.66 | 964.318 | 55.691 | 0.1404
2020-06-11 21:30:00 | 2.249 | 275.9 | 2.646 | 292.5 | 2.693 | 275.535 | 2.679 | 275.7 | 26.45 | 964.318 | 57.4642 | -0.048033
2020-06-11 21:45:00 | 0.004 | 288.6 | 0.427 | 300 | 0.183 | 282.6 | 0.191 | 288.7 | 26.19 | 964.05 | 58.1459 | -0.26972
2020-06-11 22:00:00 | 0.197 | 131.3 | 0.626 | 122.3 | 0.397 | 115.207 | 0.37 | 153.7 | 26.13 | 964.284 | 55.6926 | -0.26972
2020-06-11 22:15:00 | 2.509 | 122.1 | 2.973 | 136.5 | 3.471 | 128.583 | 3.514 | 128.2 | 26.64 | 964.298 | 39.4027 | -0.28081
2020-06-11 22:30:00 | 1.115 | 156.7 | 2.104 | 170.5 | 2.395 | 160.611 | 2.368 | 154.2 | 27.4 | 964.418 | 58.4542 | -0.15888
2020-06-11 22:45:00 | 2.324 | 215.9 | 3.042 | 230.2 | 2.54 | 216.848 | 2.5 | 217.2 | 25.68 | 964.572 | 60.9424 | 0.025864
2020-06-11 23:00:00 | 4.091 | 177.2 | 4.589 | 189.6 | 4.941 | 178.603 | 5.004 | 183.1 | 25.39 | 964.314 | 61.631 | 2.0617
2020-06-11 23:15:00 | 5.717 | 158.6 | 6.169 | 177.2 | 5.824 | 166.922 | 5.775 | 163.6 | 25.66 | 964.164 | 46.4292 | 5.5644
2020-06-11 23:30:00 | 5.125 | 156.5 | 5.42 | 177.1 | 5.147 | 166.828 | 5.027 | 165.4 | 25.94 | 964.463 | 43.7702 | 2.7342
2020-06-11 23:45:00 | 1.345 | 148.9 | 1.589 | 165.4 | 1.337 | 155.807 | 1.396 | 158.8 | 25.96 | 964.167 | 42.134 | 0.35101