## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-12 00:00:00 | 3.064 | 171.6 | 3.362 | 182.3 | 3.395 | 171.727 | 3.438 | 178.6 | 25.92 | 963.87 | 47.7927 | -0.055423
2020-06-12 00:15:00 | 2.377 | 189.6 | 2.579 | 202.2 | 2.337 | 190.472 | 2.335 | 195.9 | 25.68 | 964.167 | 54.5423 | -0.17366
2020-06-12 00:30:00 | 0 | 145 | 0.504 | 186.6 | 1.178 | 175.777 | 1.215 | 152.2 | 25.54 | 963.87 | 50.5198 | -0.073897
2020-06-12 00:45:00 | 3.156 | 129.8 | 3.316 | 144.1 | 3.812 | 135.742 | 3.85 | 136.6 | 26.13 | 964.018 | 35.0094 | 1.053
2020-06-12 01:00:00 | 4.857 | 158.2 | 5.243 | 175.9 | 5.531 | 165.698 | 5.518 | 163.3 | 26.2 | 964.018 | 40.3613 | 2.0469
2020-06-12 01:15:00 | 5.163 | 175.4 | 5.013 | 187 | 4.562 | 176.154 | 4.563 | 180.8 | 25.24 | 963.573 | 58.1558 | 0.92741
2020-06-12 01:30:00 | 3.095 | 164.4 | 2.993 | 186.6 | 2.406 | 175.777 | 2.368 | 163.6 | 24.72 | 963.424 | 61.5647 | 2.2612
2020-06-12 01:45:00 | 3.703 | 143.2 | 3.781 | 158 | 3.832 | 148.836 | 3.736 | 147.9 | 24.07 | 962.683 | 65.3838 | 13.2386
2020-06-12 02:00:00 | 4.438 | 153.8 | 4.591 | 170 | 4.186 | 160.14 | 4.112 | 155.3 | 24.21 | 962.832 | 66.2057 | 21.3752
2020-06-12 02:15:00 | 4.129 | 143.4 | 4.548 | 159.9 | 4.613 | 150.626 | 4.502 | 149.1 | 23.47 | 962.386 | 66.0074 | 17.2845
2020-06-12 02:30:00 | 6.205 | 140.5 | 6.547 | 158.8 | 6.518 | 149.59 | 6.499 | 146.2 | 22.94 | 962.09 | 56.3273 | 24.2567
2020-06-12 02:45:00 | 7.453 | 133.6 | 7.897 | 152 | 7.909 | 143.184 | 7.831 | 136.5 | 23.27 | 962.238 | 47.9454 | 14.9493
2020-06-12 03:00:00 | 4.701 | 174.2 | 5.126 | 188 | 5.259 | 177.096 | 5.299 | 173.3 | 23.02 | 962.246 | 56.5047 | 9.6472
2020-06-12 03:15:00 | 4.185 | 184.4 | 4.466 | 200.8 | 3.855 | 189.154 | 3.756 | 186.7 | 22.46 | 962.353 | 65.5413 | 2.627
2020-06-12 03:30:00 | 1.586 | 134.9 | 1.899 | 156.3 | 2.406 | 147.235 | 2.551 | 128.9 | 21.87 | 962.228 | 56.7464 | 1.5703
2020-06-12 03:45:00 | 1.554 | 150.6 | 2.577 | 162 | 2.815 | 152.604 | 2.816 | 151.2 | 22.39 | 962.087 | 57.7762 | 1.2119
2020-06-12 04:00:00 | 2.377 | 160.3 | 2.912 | 177.9 | 2.795 | 167.582 | 2.702 | 165.2 | 22.3 | 962.532 | 58.9018 | 0.099761
2020-06-12 04:15:00 | 2.291 | 182.9 | 2.776 | 195.8 | 2.319 | 184.444 | 2.241 | 180.7 | 22.29 | 962.383 | 57.2262 | -0.26972
2020-06-12 04:30:00 | 0.428 | 118 | 1.761 | 140.4 | 2.718 | 132.257 | 2.819 | 120.4 | 22.5 | 962.365 | 46.0361 | -0.26233
2020-06-12 04:45:00 | 1.78 | 104.7 | 2.444 | 114.2 | 2.741 | 107.576 | 2.816 | 114.2 | 22.72 | 962.311 | 57.4254 | 5.3987
2020-06-12 05:00:00 | 7.594 | 151.3 | 7.805 | 167.1 | 6.813 | 157.408 | 6.662 | 158 | 21.48 | 962.037 | 69.2242 | 17.4692
2020-06-12 05:15:00 | 6.7 | 148.7 | 6.632 | 164.4 | 6.46 | 154.865 | 6.348 | 154 | 19.37 | 961.492 | 85.3318 | 32.522
2020-06-12 05:30:00 | 7.951 | 149.3 | 7.813 | 165 | 7.401 | 155.43 | 7.308 | 152.8 | 18.55 | 961.493 | 90.044 | 25.003
2020-06-12 05:45:00 | 6.593 | 139.4 | 6.823 | 157.3 | 6.772 | 148.177 | 6.552 | 139.7 | 17.88 | 961.66 | 86.1333 | 20.5729
2020-06-12 06:00:00 | 6.008 | 133.1 | 6.473 | 151.6 | 7.108 | 142.807 | 7.044 | 134.4 | 17.11 | 961.489 | 72.8637 | 27.4786
2020-06-12 06:15:00 | 5.51 | 111.9 | 5.844 | 133.8 | 5.951 | 126.04 | 6.012 | 110.7 | 17.06 | 961.49 | 76.0748 | 35.1417
2020-06-12 06:30:00 | 3.853 | 120 | 4.269 | 146.3 | 3.492 | 137.815 | 3.685 | 115.8 | 16.41 | 961.49 | 82.3004 | 28.5501
2020-06-12 06:45:00 | 5.242 | 119.4 | 5.43 | 143.1 | 5.17 | 134.8 | 5.067 | 115.1 | 15.93 | 960.896 | 87.5959 | 37.7761
2020-06-12 07:00:00 | 6.991 | 112.4 | 7.227 | 136.8 | 7.101 | 128.866 | 7.252 | 109.8 | 15.82 | 960.747 | 83.3305 | 48.7572
2020-06-12 07:15:00 | 8.7 | 111.5 | 8.99 | 131.2 | 9.59 | 123.59 | 9.84 | 112.1 | 15.71 | 960.631 | 88.1078 | 56.3242
2020-06-12 07:30:00 | 6.932 | 105.1 | 7.629 | 127 | 8.2 | 119.634 | 8.61 | 106.3 | 15.61 | 961.042 | 88.5855 | 50.3238
2020-06-12 07:45:00 | 7.956 | 91.7 | 9.69 | 107.7 | 9.96 | 101.453 | 10.59 | 97.2 | 15.72 | 961.172 | 86.5737 | 24.2862
2020-06-12 08:00:00 | 6.774 | 89.3 | 8.75 | 109.3 | 8.43 | 102.961 | 8.76 | 94.3 | 15.99 | 960.874 | 83.8108 | 40.78
2020-06-12 08:15:00 | 7.065 | 86.6 | 8.9 | 102.9 | 9.64 | 96.9318 | 10.12 | 92.6 | 16.16 | 960.744 | 83.6805 | 44.401
2020-06-12 08:30:00 | 7.167 | 85 | 8.75 | 101.2 | 9.02 | 95.3304 | 9.04 | 92 | 16.65 | 960.88 | 78.2131 | 32.3668
2020-06-12 08:45:00 | 6.389 | 86.4 | 7.887 | 103.7 | 8.07 | 97.6854 | 8.26 | 90.1 | 17.03 | 961.604 | 81.4537 | 19.4866
2020-06-12 09:00:00 | 3.57 | 88.8 | 4.456 | 97.1 | 5.035 | 91.4682 | 5.108 | 88.8 | 16.59 | 961.198 | 80.9418 | 16.6933
2020-06-12 09:15:00 | 3.871 | 81.5 | 4.607 | 90.3 | 5.6 | 85.0626 | 5.915 | 87.5 | 16.84 | 961.193 | 80.43 | 18.9619
2020-06-12 09:30:00 | 4.918 | 73.94 | 5.271 | 90.7 | 4.7 | 85.4394 | 4.688 | 81.1 | 16.69 | 960.896 | 80.8736 | 22.1949
2020-06-12 09:45:00 | 4.997 | 89.1 | 6.036 | 108.5 | 6.396 | 102.207 | 6.776 | 97.5 | 17.67 | 960.896 | 74.3218 | 20.8426
2020-06-12 10:00:00 | 5.651 | 86.5 | 6.634 | 104.3 | 5.48 | 98.2506 | 5.472 | 88.3 | 17.81 | 961.49 | 72.6156 | 17.569
2020-06-12 10:15:00 | 2.148 | 72.88 | 2.261 | 65.7 | 2.559 | 61.8894 | 2.889 | 82.6 | 17.82 | 962.083 | 77.7805 | 4.1973
2020-06-12 10:30:00 | 1.713 | 50.58 | 2.41 | 54.84 | 2.846 | 51.6593 | 2.885 | 64.47 | 17.99 | 962.083 | 81.0168 | 1.9435
2020-06-12 10:45:00 | 1.809 | 61.74 | 3.16 | 75.99 | 3.603 | 71.5826 | 3.738 | 72.32 | 17.85 | 962.083 | 86.4745 | 0.65029
2020-06-12 11:00:00 | 1.139 | 24.88 | 2.418 | 33.89 | 2.749 | 31.9244 | 2.798 | 44.62 | 17.75 | 962.232 | 88.76 | 2.1282
2020-06-12 11:15:00 | 0.405 | 73.64 | 2.125 | 89.1 | 4.695 | 83.9322 | 4.836 | 73.15 | 18.23 | 962.618 | 78.2535 | 1.8733
2020-06-12 11:30:00 | 1.631 | 78.56 | 3.139 | 94.5 | 2.324 | 89.019 | 2.164 | 82 | 19.33 | 962.714 | 60.9927 | 3.9941
2020-06-12 11:45:00 | 4.499 | 91.2 | 6.614 | 109.7 | 5.704 | 103.337 | 5.561 | 94.5 | 20.33 | 963.126 | 52.9336 | 8.2617
2020-06-12 12:00:00 | 4.525 | 96.9 | 5.146 | 111 | 5.582 | 104.562 | 5.816 | 101.8 | 20.87 | 962.977 | 57.0238 | 4.5299
2020-06-12 12:15:00 | 3.792 | 91.6 | 5.476 | 108.3 | 5.936 | 102.019 | 5.885 | 94.9 | 20.63 | 962.872 | 61.8926 | 3.1295
2020-06-12 12:30:00 | 2.421 | 82.2 | 3.091 | 95 | 2.64 | 89.49 | 2.559 | 87.1 | 21.36 | 963.573 | 60.9378 | 0.70202
2020-06-12 12:45:00 | 0.741 | 51.09 | 1.142 | 41.38 | 1.372 | 38.98 | 1.317 | 51.63 | 22.5 | 964.464 | 54.8927 | -0.34731
2020-06-12 13:00:00 | 1.752 | 24.37 | 2.088 | 21.69 | 1.767 | 20.432 | 1.559 | 36.83 | 22.92 | 964.167 | 52.2567 | -0.26972
2020-06-12 13:15:00 | 1.531 | 48.72 | 2.21 | 59.33 | 2.001 | 55.8889 | 1.821 | 58.16 | 23.43 | 964.034 | 45.876 | -0.23278
2020-06-12 13:30:00 | 1.159 | 38 | 2.311 | 59.22 | 3.28 | 55.7852 | 3.157 | 52.68 | 23.74 | 964.169 | 45.0571 | 0.31406
2020-06-12 13:45:00 | 1.876 | 65.53 | 1.986 | 91.5 | 1.97 | 86.193 | 1.988 | 71.46 | 24.42 | 964.466 | 56.0614 | 1.4816
2020-06-12 14:00:00 | 0.962 | 29.72 | 2.242 | 45.84 | 3.067 | 43.1813 | 2.946 | 35.63 | 23.4 | 963.873 | 52.4855 | 1.7366
2020-06-12 14:15:00 | 1.412 | 43.14 | 2.454 | 55 | 2.627 | 51.81 | 2.521 | 52 | 24.18 | 963.873 | 53.3705 | 0.23278
2020-06-12 14:30:00 | 1.638 | 34.52 | 2.325 | 48.59 | 2.515 | 45.7718 | 2.514 | 39.74 | 24.66 | 964.466 | 48.3966 | 0.040643
2020-06-12 14:45:00 | 1.518 | 16.65 | 1.933 | 30.26 | 1.801 | 28.5049 | 1.604 | 30.48 | 25.03 | 963.959 | 60.5232 | 0.044338
2020-06-12 15:00:00 | 3.881 | 224.7 | 3.755 | 243.3 | 3.253 | 229.189 | 3.188 | 225.9 | 23.01 | 962.991 | 66.386 | 0.055423
2020-06-12 15:15:00 | 3.353 | 243.9 | 3.105 | 254.8 | 2.853 | 240.022 | 2.707 | 244.5 | 22.91 | 963.131 | 65.0261 | -0.12193
2020-06-12 15:30:00 | 3.383 | 198.7 | 3.124 | 204.7 | 2.586 | 192.827 | 2.492 | 209.6 | 23.02 | 962.686 | 65.4396 | -0.23278
2020-06-12 15:45:00 | 2.477 | 212.2 | 2.173 | 210 | 1.933 | 197.82 | 1.742 | 223.5 | 23.28 | 962.44 | 62.7471 | -0.24016
2020-06-12 16:00:00 | 2.194 | 205.4 | 1.986 | 205.6 | 1.719 | 193.675 | 1.577 | 210.4 | 23.83 | 963.299 | 59.8841 | -0.25125
2020-06-12 16:15:00 | 2.827 | 196.2 | 2.408 | 203.5 | 1.784 | 191.697 | 1.542 | 199 | 24.56 | 963.725 | 57.1574 | -0.26233
2020-06-12 16:30:00 | 2.804 | 183.3 | 2.735 | 195.3 | 1.905 | 183.973 | 1.861 | 184 | 24.91 | 963.873 | 58.4172 | -0.26233
2020-06-12 16:45:00 | 3.943 | 191.7 | 3.822 | 200.9 | 3.156 | 189.248 | 3.165 | 198.3 | 24.72 | 963.38 | 58.9282 | 0.11824
2020-06-12 17:00:00 | 4.172 | 190.5 | 4.003 | 203.3 | 3.476 | 191.509 | 3.458 | 197.6 | 24.75 | 963.074 | 60.3225 | 0.2845
2020-06-12 17:15:00 | 4.088 | 191.5 | 3.806 | 204.1 | 3.237 | 192.262 | 3.17 | 196 | 24.29 | 962.834 | 59.4727 | 1.1491
2020-06-12 17:30:00 | 4.691 | 180.8 | 4.249 | 192.4 | 3.311 | 181.241 | 3.16 | 186.2 | 24.28 | 962.835 | 60.8024 | 0.39535
2020-06-12 17:45:00 | 4.624 | 187.9 | 4.287 | 199.9 | 3.474 | 188.306 | 3.43 | 192.1 | 24.06 | 962.538 | 60.1183 | 0.32515
2020-06-12 18:00:00 | 3.771 | 184.7 | 3.886 | 195.5 | 3.316 | 184.161 | 3.303 | 192.4 | 23.97 | 962.686 | 63.4609 | 0.27711
2020-06-12 18:15:00 | 4.024 | 173.5 | 3.814 | 191.9 | 3.064 | 180.77 | 3.017 | 176.1 | 23.67 | 962.538 | 63.7355 | 0.32515
2020-06-12 18:30:00 | 4.326 | 181.7 | 4.18 | 198.6 | 3.754 | 187.081 | 3.672 | 184.9 | 23.51 | 961.797 | 64.4853 | 1.0382
2020-06-12 18:45:00 | 4.351 | 177.2 | 4.208 | 189.3 | 3.977 | 178.321 | 4.003 | 181.9 | 23.31 | 961.742 | 66.4622 | 1.3117
2020-06-12 19:00:00 | 4.859 | 179.2 | 4.837 | 192.9 | 4.272 | 181.712 | 4.209 | 184 | 23.09 | 961.645 | 68.212 | 2.7046
2020-06-12 19:15:00 | 4.663 | 175.3 | 4.517 | 186.4 | 4.227 | 175.589 | 4.222 | 182.6 | 22.84 | 961.645 | 67.9113 | 1.6405
2020-06-12 19:30:00 | 3.506 | 175.3 | 3.648 | 193.7 | 3.499 | 182.465 | 3.494 | 179.7 | 22.68 | 961.497 | 69.076 | 1.3375
2020-06-12 19:45:00 | 3.881 | 167.6 | 4.003 | 181.8 | 4.041 | 171.256 | 3.975 | 174.8 | 22.42 | 961.348 | 67.99 | 1.5777
2020-06-12 20:00:00 | 4.223 | 169.2 | 4.499 | 181.2 | 4.443 | 170.69 | 4.454 | 173.9 | 22.37 | 961.052 | 69.9743 | 1.3745
2020-06-12 20:15:00 | 4.492 | 163.1 | 4.52 | 176.6 | 4.354 | 166.357 | 4.316 | 170.6 | 22.29 | 961.052 | 71.0656 | 1.489
2020-06-12 20:30:00 | 4.762 | 164.1 | 4.796 | 179 | 4.667 | 168.618 | 4.617 | 170 | 22.08 | 961.081 | 74.0665 | 3.5877
2020-06-12 20:45:00 | 5.196 | 159.1 | 4.888 | 174.4 | 4.514 | 164.285 | 4.472 | 165.1 | 21.9 | 961.221 | 78.295 | 3.7429
2020-06-12 21:00:00 | 5.079 | 166.9 | 4.967 | 178.6 | 4.72 | 168.241 | 4.726 | 171.6 | 21.48 | 961.604 | 82.9678 | 6.2369
2020-06-12 21:15:00 | 4.977 | 153.3 | 4.816 | 166.8 | 4.379 | 157.126 | 4.232 | 159.5 | 21.16 | 961.753 | 90.166 | 5.4019
2020-06-12 21:30:00 | 5.28 | 157.5 | 5.23 | 169.6 | 5.107 | 159.763 | 4.958 | 164.8 | 20.69 | 961.79 | 93.518 | 5.1986
2020-06-12 21:45:00 | 5.275 | 159.6 | 5.379 | 171.9 | 4.99 | 161.93 | 4.915 | 166.2 | 20.54 | 961.79 | 94.2019 | 4.9991
2020-06-12 22:00:00 | 4.834 | 158.7 | 4.837 | 172.1 | 4.941 | 162.118 | 4.843 | 165.1 | 20.5 | 961.938 | 94.884 | 3.6542
2020-06-12 22:15:00 | 4.229 | 161.7 | 4.543 | 176.4 | 4.41 | 166.169 | 4.288 | 168.2 | 20.35 | 962.235 | 95.1569 | 4.9474
2020-06-12 22:30:00 | 3.784 | 162.7 | 3.643 | 174.9 | 3.82 | 164.756 | 3.797 | 167.3 | 20.29 | 961.79 | 95.5661 | 4.4929
2020-06-12 22:45:00 | 4.103 | 158.7 | 4.228 | 172.5 | 4.402 | 162.495 | 4.329 | 162.7 | 20.21 | 961.79 | 95.6685 | 4.105
2020-06-12 23:00:00 | 4.198 | 159.6 | 4.287 | 172.1 | 4.051 | 162.118 | 3.975 | 164.1 | 20.11 | 961.938 | 96.0436 | 5.2356
2020-06-12 23:15:00 | 3.932 | 154.1 | 3.975 | 167.9 | 3.873 | 158.162 | 3.774 | 157.7 | 20.03 | 961.79 | 96.8668 | 5.1469
2020-06-12 23:30:00 | 5.278 | 151.7 | 5.555 | 165.4 | 5.763 | 155.807 | 5.646 | 157.7 | 19.82 | 961.493 | 98.1721 | 11.4688
2020-06-12 23:45:00 | 5.998 | 146.4 | 6.082 | 160.6 | 6.167 | 151.285 | 6.061 | 151.9 | 19.7 | 961.651 | 98.8229 | 17.6688