## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-13 00:00:00 | 5.492 | 149.6 | 5.68 | 164.2 | 5.547 | 154.676 | 5.539 | 155.1 | 19.61 | 961.699 | 99.0619 | 14.3101
2020-06-13 00:15:00 | 4.987 | 151.6 | 5.016 | 172.1 | 5.03 | 162.118 | 5.014 | 155.5 | 19.55 | 961.436 | 99.1301 | 16.4051
2020-06-13 00:30:00 | 5.577 | 150.8 | 5.68 | 171.3 | 5.758 | 161.365 | 5.758 | 152.5 | 19.48 | 961.768 | 98.7208 | 11.9454
2020-06-13 00:45:00 | 5.661 | 149.7 | 5.657 | 164.2 | 5.567 | 154.676 | 5.467 | 154 | 19.51 | 961.369 | 98.6184 | 16.2906
2020-06-13 01:00:00 | 5.314 | 144.5 | 5.236 | 161.9 | 5.417 | 152.51 | 5.378 | 148.3 | 19.31 | 961.31 | 99.1301 | 15.2782
2020-06-13 01:15:00 | 4.79 | 144.5 | 4.952 | 164.5 | 5.567 | 154.959 | 5.541 | 147.1 | 19.18 | 961.415 | 99.5395 | 11.7348
2020-06-13 01:30:00 | 5.26 | 161.1 | 5.026 | 177 | 4.743 | 166.734 | 4.647 | 161.6 | 19.16 | 961.732 | 99.5736 | 8.3614
2020-06-13 01:45:00 | 4.686 | 156.3 | 5.023 | 171.7 | 4.995 | 161.741 | 4.966 | 161.4 | 19.22 | 962.083 | 99.3348 | 5.8526
2020-06-13 02:00:00 | 4.466 | 156.9 | 4.893 | 172.2 | 4.796 | 162.212 | 4.825 | 161.9 | 19.16 | 962.232 | 99.4371 | 6.2997
2020-06-13 02:15:00 | 4.486 | 157.9 | 4.686 | 174 | 4.733 | 163.908 | 4.721 | 161.9 | 19.12 | 962.232 | 99.5395 | 2.7379
2020-06-13 02:30:00 | 3.026 | 164.4 | 3.208 | 177.6 | 3.085 | 167.299 | 2.966 | 167.8 | 19.1 | 962.083 | 99.5395 | 1.4779
2020-06-13 02:45:00 | 2.434 | 169.8 | 2.94 | 181.8 | 2.82 | 171.256 | 2.803 | 173.2 | 18.95 | 961.786 | 99.7441 | 0.82026
2020-06-13 03:00:00 | 2.482 | 156.2 | 3.047 | 170.9 | 3.151 | 160.988 | 3.086 | 159.1 | 18.95 | 961.786 | 99.9147 | 0.98283
2020-06-13 03:15:00 | 3.33 | 160.3 | 3.983 | 170.2 | 4.064 | 160.328 | 3.998 | 163.4 | 18.79 | 961.49 | 99.8806 | 2.0063
2020-06-13 03:30:00 | 4.206 | 155.2 | 4.43 | 169.3 | 4.57 | 159.481 | 4.505 | 157.9 | 18.74 | 961.49 | 99.8806 | 1.0715
2020-06-13 03:45:00 | 2.178 | 144.4 | 2.641 | 163.9 | 2.891 | 154.394 | 2.857 | 145.2 | 18.67 | 961.49 | 99.8806 | -0.0036948
2020-06-13 04:00:00 | 0.892 | 135.7 | 2.294 | 150.4 | 3.008 | 141.677 | 2.979 | 140 | 18.62 | 961.49 | 99.8806 | -0.15888
2020-06-13 04:15:00 | 1.386 | 141.7 | 2.081 | 159.6 | 2.365 | 150.343 | 2.281 | 144.3 | 18.62 | 961.49 | 99.8806 | 0.2845
2020-06-13 04:30:00 | 3.156 | 165 | 3.29 | 185.5 | 3.301 | 174.741 | 3.249 | 164.2 | 18.61 | 961.49 | 99.8806 | 0.46186
2020-06-13 04:45:00 | 1.852 | 148.1 | 2.316 | 164.1 | 2.207 | 154.582 | 1.991 | 157.1 | 18.61 | 961.786 | 99.8806 | 0.059118
2020-06-13 05:00:00 | 0.341 | 129.2 | 1.319 | 161.9 | 1.795 | 152.51 | 1.703 | 142.9 | 18.58 | 961.786 | 99.8806 | -0.11084
2020-06-13 05:15:00 | 1.343 | 119.4 | 2.321 | 125.6 | 2.924 | 118.315 | 2.872 | 126.2 | 18.4 | 961.935 | 99.8806 | 0.53945
2020-06-13 05:30:00 | 0 | 111.3 | 0.716 | 140.4 | 1.748 | 132.257 | 1.879 | 112.1 | 18.57 | 961.935 | 99.8806 | 0.87568
2020-06-13 05:45:00 | 2.73 | 124.2 | 3.392 | 141.9 | 3.718 | 133.67 | 3.769 | 128.2 | 18.6 | 961.786 | 99.5395 | 1.7846
2020-06-13 06:00:00 | 3.463 | 114.9 | 4.563 | 137.5 | 4.679 | 129.525 | 4.752 | 120.8 | 19.13 | 962.054 | 93.5698 | 2.4718
2020-06-13 06:15:00 | 5.967 | 119 | 6.885 | 136.3 | 6.394 | 128.395 | 6.147 | 125.8 | 19.49 | 961.966 | 91.0796 | 4.7811
2020-06-13 06:30:00 | 3.866 | 133.3 | 4.195 | 148.7 | 4.384 | 140.075 | 4.372 | 139.3 | 19.67 | 962.386 | 89.6357 | 4.4264
2020-06-13 06:45:00 | 3.708 | 132.8 | 3.65 | 152.7 | 3.7 | 143.843 | 3.781 | 134.5 | 19.93 | 962.805 | 89.5582 | 8.3688
2020-06-13 07:00:00 | 5.676 | 132.4 | 6.182 | 151 | 6.236 | 142.242 | 6.287 | 134.5 | 20.07 | 962.696 | 88.5934 | 8.8418
2020-06-13 07:15:00 | 3.197 | 123.6 | 3.571 | 145.9 | 3.904 | 137.438 | 4.059 | 128.6 | 20.55 | 962.98 | 86.1272 | 4.988
2020-06-13 07:30:00 | 2.284 | 142.8 | 2.315 | 158 | 2.768 | 148.836 | 2.675 | 143.1 | 21.36 | 963.425 | 84.0739 | 2.8413
2020-06-13 07:45:00 | 3.095 | 116.4 | 3.183 | 137 | 2.821 | 129.054 | 2.765 | 123.3 | 20.97 | 963.277 | 84.6089 | 1.0826
2020-06-13 08:00:00 | 2.857 | 142.4 | 2.766 | 157.1 | 2.398 | 147.988 | 2.309 | 146.2 | 21.56 | 963.929 | 80.7783 | 1.6811
2020-06-13 08:15:00 | 3.82 | 144.1 | 3.712 | 161.7 | 2.841 | 152.321 | 2.615 | 147.8 | 21.83 | 963.726 | 82.8903 | 0.8572
2020-06-13 08:30:00 | 1.897 | 111.7 | 2.269 | 135.7 | 1.808 | 127.829 | 1.806 | 115.6 | 22.8 | 964.169 | 73.6878 | 0.062812
2020-06-13 08:45:00 | 2.277 | 97.1 | 2.559 | 125.4 | 2.818 | 118.127 | 2.915 | 91.3 | 23.65 | 964.288 | 76.2416 | 0.073897
2020-06-13 09:00:00 | 2.85 | 143.3 | 2.528 | 162.8 | 2.27 | 153.358 | 2.112 | 140.2 | 23.35 | 964.325 | 73.8676 | -0.022169
2020-06-13 09:15:00 | 4.28 | 147.3 | 3.778 | 166.4 | 3.087 | 156.749 | 2.954 | 152.7 | 23.06 | 964.321 | 74.2079 | 0.33993
2020-06-13 09:30:00 | 4.647 | 156.7 | 4.397 | 174 | 3.492 | 163.908 | 3.341 | 157.2 | 22.92 | 963.876 | 73.7309 | 0.70202
2020-06-13 09:45:00 | 5.656 | 175.8 | 5.317 | 193.9 | 4.489 | 182.654 | 4.492 | 178.4 | 23.47 | 963.431 | 72.984 | 1.3523
2020-06-13 10:00:00 | 6.149 | 161.8 | 5.829 | 177.4 | 5.183 | 167.111 | 5.106 | 166.5 | 23.35 | 963.851 | 74.7759 | 2.9891
2020-06-13 10:15:00 | 5.482 | 158.3 | 5.031 | 172.8 | 4.539 | 162.778 | 4.479 | 163.3 | 23.56 | 964.021 | 70.6162 | 6.9648
2020-06-13 10:30:00 | 6.991 | 145.9 | 7.258 | 161.1 | 6.755 | 151.756 | 6.621 | 150.6 | 23.62 | 964.021 | 70.277 | 12.7103
2020-06-13 10:45:00 | 6.7 | 151.9 | 6.407 | 167.9 | 6.101 | 158.162 | 6.028 | 156.9 | 23.7 | 964.021 | 70.0065 | 15.1858
2020-06-13 11:00:00 | 6.514 | 142.9 | 6.404 | 157.4 | 5.76 | 148.271 | 5.564 | 149.6 | 23.84 | 964.318 | 70.9611 | 11.709
2020-06-13 11:15:00 | 6.133 | 145.7 | 6.332 | 162.3 | 5.651 | 152.887 | 5.539 | 149 | 24.07 | 964.614 | 68.439 | 8.9563
2020-06-13 11:30:00 | 4.959 | 157.7 | 4.819 | 177.2 | 4.239 | 166.922 | 4.255 | 159.5 | 24.39 | 964.466 | 68.848 | 6.1852
2020-06-13 11:45:00 | 4.083 | 139.3 | 4.215 | 157 | 3.937 | 147.894 | 3.85 | 144.1 | 24.59 | 964.318 | 65.6437 | 11.7903
2020-06-13 12:00:00 | 5.258 | 152.1 | 5.338 | 167 | 4.773 | 157.314 | 4.734 | 158.2 | 24.73 | 964.466 | 63.7349 | 11.5242
2020-06-13 12:15:00 | 5.02 | 156.5 | 5.115 | 169.7 | 4.87 | 159.857 | 4.836 | 162.1 | 25.14 | 964.911 | 60.7307 | 9.4282
2020-06-13 12:30:00 | 6.858 | 137.4 | 6.92 | 154.6 | 6.132 | 145.633 | 6.007 | 141.1 | 24.87 | 964.466 | 63.6284 | 11.1843
2020-06-13 12:45:00 | 4.857 | 129.2 | 5.2 | 142.2 | 5.155 | 133.952 | 5.169 | 134.7 | 24.97 | 964.466 | 62.2332 | 7.3601
2020-06-13 13:00:00 | 5.199 | 136.1 | 5.259 | 152.3 | 4.776 | 143.467 | 4.729 | 140.9 | 25.08 | 963.873 | 61.278 | 6.6359
2020-06-13 13:15:00 | 4.512 | 153.5 | 4.571 | 166.6 | 3.99 | 156.937 | 3.901 | 157.9 | 25.52 | 964.021 | 60.6292 | 5.8379
2020-06-13 13:30:00 | 4.323 | 142.9 | 4.185 | 157.6 | 3.67 | 148.459 | 3.644 | 146.3 | 25.65 | 964.169 | 60.4589 | 5.1839
2020-06-13 13:45:00 | 4.594 | 170 | 4.663 | 190.3 | 4.537 | 179.263 | 4.517 | 169.2 | 26.34 | 964.021 | 60.0852 | 7.12
2020-06-13 14:00:00 | 4.378 | 160.8 | 4.517 | 178.5 | 4.054 | 168.147 | 4.028 | 169.3 | 26.71 | 964.318 | 58.381 | 6.2702
2020-06-13 14:15:00 | 4.354 | 127.2 | 4.614 | 138.4 | 4.318 | 130.373 | 4.352 | 133.6 | 26.39 | 964.614 | 58.6545 | 5.6235
2020-06-13 14:30:00 | 6.059 | 147.2 | 5.862 | 161.4 | 5.419 | 152.039 | 5.37 | 154.8 | 26.97 | 964.673 | 56.7018 | 3.5618
2020-06-13 14:45:00 | 4.153 | 142.6 | 4.077 | 155.5 | 3.807 | 146.481 | 3.743 | 150 | 27 | 964.172 | 57.6832 | 2.7305
2020-06-13 15:00:00 | 4.686 | 150.1 | 4.589 | 161.4 | 4.425 | 152.039 | 4.309 | 156.9 | 26.81 | 964.913 | 56.4906 | 1.3117
2020-06-13 15:15:00 | 4.995 | 200.1 | 4.873 | 214.8 | 4.216 | 202.342 | 4.237 | 202.9 | 27.54 | 964.172 | 55.0937 | 1.0161
2020-06-13 15:30:00 | 5.753 | 190.6 | 5.501 | 203.5 | 4.806 | 191.697 | 4.757 | 195.4 | 26.99 | 963.431 | 56.3203 | 1.3819
2020-06-13 15:45:00 | 4.846 | 197.2 | 4.558 | 204.4 | 3.815 | 192.545 | 3.776 | 201.7 | 27.04 | 963.283 | 54.5486 | 1.4595
2020-06-13 16:00:00 | 5.089 | 190.9 | 4.77 | 206.6 | 4.265 | 194.617 | 4.293 | 194.5 | 27.02 | 962.986 | 55.1959 | 3.5434
2020-06-13 16:15:00 | 5.138 | 187.9 | 4.944 | 201.3 | 4.842 | 189.625 | 4.887 | 192.4 | 27.28 | 962.986 | 57.2062 | 8.0252
2020-06-13 16:30:00 | 4.456 | 145.7 | 4.54 | 163.1 | 4.227 | 153.64 | 4.217 | 154.5 | 26.76 | 963.431 | 56.8654 | 7.9365
2020-06-13 16:45:00 | 5.587 | 184.1 | 5.412 | 197.2 | 4.715 | 185.762 | 4.706 | 192.3 | 26.83 | 963.431 | 58.3305 | 8.125
2020-06-13 17:00:00 | 6.458 | 187.2 | 6.102 | 202.2 | 5.043 | 190.472 | 4.976 | 186.9 | 26.9 | 963.431 | 57.6491 | 6.6138
2020-06-13 17:15:00 | 5.24 | 180.8 | 5.225 | 195.4 | 4.692 | 184.067 | 4.736 | 185.7 | 26.76 | 962.901 | 57.4527 | 8.0548
2020-06-13 17:30:00 | 4.867 | 179.5 | 4.484 | 199.3 | 4.4 | 187.741 | 4.38 | 178.8 | 26.52 | 962.832 | 57.8729 | 9.6066
2020-06-13 17:45:00 | 5.763 | 174.7 | 5.583 | 193.4 | 4.73 | 182.183 | 4.734 | 177.5 | 26.37 | 962.538 | 59.2341 | 13.3384
2020-06-13 18:00:00 | 6.371 | 183.4 | 5.839 | 201.9 | 5.137 | 190.19 | 5.06 | 183.8 | 26.28 | 962.242 | 58.4867 | 14.7461
2020-06-13 18:15:00 | 6.47 | 184.9 | 5.808 | 203.2 | 5.28 | 191.414 | 5.269 | 187 | 26.21 | 962.538 | 60.8043 | 17.1847
2020-06-13 18:30:00 | 6.435 | 184.5 | 5.962 | 196.6 | 5.501 | 185.197 | 5.505 | 184.6 | 26 | 963.161 | 62.5085 | 12.6659
2020-06-13 18:45:00 | 7.653 | 181.2 | 6.951 | 197.6 | 6.081 | 186.139 | 5.992 | 179.5 | 25.81 | 962.7 | 65.167 | 19.6492
2020-06-13 19:00:00 | 6.542 | 160.9 | 6.529 | 178.6 | 5.753 | 168.241 | 5.735 | 164.4 | 25.55 | 963.113 | 66.2652 | 22.4055
2020-06-13 19:15:00 | 5.988 | 161.2 | 6.097 | 171.7 | 5.257 | 161.741 | 5.22 | 171.6 | 25.36 | 963.128 | 67.3939 | 16.309
2020-06-13 19:30:00 | 5.464 | 159.9 | 5.54 | 174.5 | 5.557 | 164.379 | 5.419 | 167.7 | 25.16 | 963.276 | 68.7234 | 14.9198
2020-06-13 19:45:00 | 6.922 | 155.6 | 6.716 | 171 | 6.228 | 161.082 | 6.05 | 160.1 | 24.97 | 963.276 | 70.3596 | 14.4136
2020-06-13 20:00:00 | 6.927 | 161.3 | 6.759 | 172.2 | 5.534 | 162.212 | 5.475 | 169.9 | 24.73 | 963.722 | 72.2004 | 16.2019
2020-06-13 20:15:00 | 5.725 | 175.5 | 5.714 | 191.7 | 5.015 | 180.581 | 4.897 | 175.3 | 24.43 | 964.018 | 73.701 | 11.5796
2020-06-13 20:30:00 | 6.276 | 170.3 | 6.038 | 185.4 | 5.725 | 174.647 | 5.724 | 172.3 | 24.3 | 964.018 | 74.4903 | 10.9885
2020-06-13 20:45:00 | 5.623 | 166.1 | 5.593 | 179.7 | 5.59 | 169.277 | 5.661 | 172.8 | 24.14 | 963.87 | 75.6898 | 15.7142
2020-06-13 21:00:00 | 6.233 | 160.9 | 6.284 | 175.2 | 5.971 | 165.038 | 5.928 | 166.2 | 23.95 | 963.87 | 76.3037 | 12.6142
2020-06-13 21:15:00 | 5.829 | 160.6 | 6.061 | 177.9 | 6.16 | 167.582 | 6.091 | 165.4 | 23.84 | 963.87 | 77.0542 | 19.1171
2020-06-13 21:30:00 | 7.563 | 160.7 | 7.58 | 172.1 | 7.134 | 162.118 | 7.041 | 166.5 | 23.76 | 964.018 | 77.8043 | 22.1432
2020-06-13 21:45:00 | 7.479 | 158.1 | 7.45 | 170.3 | 6.879 | 160.423 | 6.794 | 165.6 | 23.62 | 964.018 | 79.0317 | 19.0617
2020-06-13 22:00:00 | 6.307 | 167.8 | 6.102 | 180.5 | 5.946 | 170.031 | 5.951 | 168.9 | 23.55 | 963.87 | 80.3955 | 13.9296
2020-06-13 22:15:00 | 5.62 | 172.6 | 5.128 | 190.6 | 4.761 | 179.545 | 4.815 | 172.4 | 23.53 | 964.167 | 80.941 | 8.3762
2020-06-13 22:30:00 | 5.911 | 164.2 | 5.601 | 175.6 | 5.455 | 165.415 | 5.365 | 168.9 | 23.3 | 964.315 | 82.7139 | 9.6879
2020-06-13 22:45:00 | 6.21 | 166.1 | 5.974 | 178.6 | 5.536 | 168.241 | 5.595 | 170.4 | 23.24 | 964.167 | 83.3975 | 11.6425
2020-06-13 23:00:00 | 5.007 | 169.1 | 5.31 | 183.6 | 5.028 | 172.951 | 5.011 | 173 | 23.1 | 964.167 | 84.6954 | 12.5625
2020-06-13 23:15:00 | 6.018 | 156.7 | 6.358 | 169.4 | 6.126 | 159.575 | 6.058 | 165.2 | 22.88 | 964.018 | 85.8579 | 11.4355
2020-06-13 23:30:00 | 5.462 | 157.4 | 5.834 | 171.3 | 5.801 | 161.365 | 5.722 | 166.4 | 22.69 | 963.573 | 86.954 | 11.4355
2020-06-13 23:45:00 | 4.512 | 157.3 | 4.911 | 168.5 | 4.959 | 158.727 | 4.945 | 168.3 | 22.6 | 963.87 | 87.7067 | 8.9711