## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-14 00:00:00 | 5.531 | 162.2 | 6.038 | 174.4 | 6.022 | 164.285 | 6.028 | 169.6 | 22.53 | 964.018 | 88.6615 | 16.8633
2020-06-14 00:15:00 | 6.243 | 162.7 | 6.524 | 177.1 | 6.635 | 166.828 | 6.631 | 169.8 | 22.41 | 964.018 | 89.0025 | 20.2588
2020-06-14 00:30:00 | 4.632 | 160.8 | 4.988 | 176.7 | 5.089 | 166.451 | 5.014 | 165 | 22.49 | 963.276 | 88.9343 | 20.0261
2020-06-14 00:45:00 | 6.481 | 158.9 | 7.214 | 171.5 | 7.162 | 161.553 | 7.148 | 168.7 | 22.64 | 963.573 | 88.3205 | 16.7229
2020-06-14 01:00:00 | 6.634 | 167.2 | 7.396 | 179.5 | 7.174 | 169.089 | 7.179 | 175.3 | 22.47 | 963.722 | 87.2975 | 20.3549
2020-06-14 01:15:00 | 8.18 | 167.7 | 8.34 | 178.9 | 8.06 | 168.524 | 8.03 | 174.1 | 22.73 | 963.425 | 88.1841 | 23.6064
2020-06-14 01:30:00 | 7.543 | 160.8 | 8.42 | 173 | 8.2 | 162.966 | 8.22 | 170.1 | 22.52 | 964.018 | 89.2071 | 22.993
2020-06-14 01:45:00 | 7.083 | 165.1 | 7.327 | 177.2 | 7.055 | 166.922 | 7.176 | 172.7 | 22.43 | 963.87 | 89.2071 | 19.3425
2020-06-14 02:00:00 | 6.721 | 169.8 | 6.537 | 180.2 | 5.956 | 169.748 | 5.992 | 178.3 | 22.51 | 963.87 | 88.7297 | 15.0971
2020-06-14 02:15:00 | 6.039 | 178.7 | 5.923 | 189.7 | 5.534 | 178.697 | 5.533 | 186.7 | 22.55 | 964.167 | 88.6615 | 12.8322
2020-06-14 02:30:00 | 5.658 | 167.2 | 6.243 | 179 | 5.885 | 168.618 | 5.834 | 177.3 | 22.52 | 963.87 | 88.8661 | 11.8383
2020-06-14 02:45:00 | 5.355 | 179.2 | 5.721 | 191.1 | 5.102 | 180.016 | 5.162 | 185.4 | 22.57 | 964.76 | 88.4569 | 7.4968
2020-06-14 03:00:00 | 4.185 | 176.6 | 4.614 | 187.6 | 4.298 | 176.719 | 4.252 | 184.6 | 22.55 | 964.612 | 89.2071 | 5.4979
2020-06-14 03:15:00 | 4.469 | 183.6 | 4.645 | 198.5 | 4.517 | 186.987 | 4.533 | 191.4 | 22.51 | 964.612 | 89.4799 | 3.3549
2020-06-14 03:30:00 | 3.411 | 198.4 | 3.786 | 206.4 | 4.14 | 194.429 | 4.334 | 213.2 | 22.63 | 964.908 | 87.5021 | 0.5025
2020-06-14 03:45:00 | 2.837 | 216.3 | 3.528 | 216.6 | 4.318 | 204.037 | 4.37 | 227.3 | 22.96 | 965.502 | 86.3427 | 0.76853
2020-06-14 04:00:00 | 1.994 | 225.2 | 2.978 | 224.9 | 3.764 | 211.856 | 3.792 | 232.7 | 23.02 | 965.502 | 86.6837 | -0.26233
2020-06-14 04:15:00 | 1.358 | 249.7 | 2.219 | 259.1 | 2.594 | 244.072 | 2.549 | 252.3 | 23.32 | 965.65 | 84.2967 | -0.066507
2020-06-14 04:30:00 | 2.16 | 247.1 | 2.963 | 256.7 | 3.581 | 241.811 | 3.552 | 253.6 | 23.36 | 965.798 | 83.6146 | 0.11084
2020-06-14 04:45:00 | 1.689 | 268.1 | 2.802 | 282.4 | 3.41 | 266.021 | 3.394 | 268.9 | 23.34 | 965.947 | 83.6146 | 0.014779
2020-06-14 05:00:00 | 2.819 | 289.9 | 3.377 | 304 | 3.731 | 286.368 | 3.741 | 289.8 | 23.36 | 966.54 | 84.8423 | 0.43969
2020-06-14 05:15:00 | 2.431 | 304.7 | 3.157 | 321 | 3.947 | 302.382 | 4.125 | 301.3 | 23.17 | 966.392 | 86.2745 | 0.22539
2020-06-14 05:30:00 | 2.694 | 332.7 | 3.211 | 346.1 | 2.772 | 326.026 | 2.783 | 322.7 | 22.98 | 966.392 | 87.9113 | 3.3106
2020-06-14 05:45:00 | 2.476 | 341.2 | 3.525 | 2.167 | 3.965 | 2.0413 | 4.011 | 339.1 | 22.54 | 966.985 | 88.8661 | 4.6038
2020-06-14 06:00:00 | 3.005 | 341.2 | 3.99 | 4.672 | 5.096 | 4.401 | 5.05 | 340 | 22.58 | 966.837 | 89.2071 | 10.2754
2020-06-14 06:15:00 | 3.455 | 347.9 | 3.827 | 16.16 | 5.234 | 15.2227 | 5.505 | 346.9 | 22.54 | 967.282 | 89.3407 | 10.5673
2020-06-14 06:30:00 | 3.724 | 359.8 | 4.428 | 33.92 | 4.333 | 31.9526 | 4.398 | 346.7 | 22.68 | 967.43 | 88.5786 | 10.9257
2020-06-14 06:45:00 | 5.183 | 5.914 | 5.466 | 31.67 | 5.564 | 29.8331 | 5.908 | 353.7 | 22.39 | 967.578 | 90.4876 | 7.9254
2020-06-14 07:00:00 | 5.883 | 7.769 | 5.921 | 25.49 | 5.508 | 24.0116 | 5.47 | 5.226 | 22.32 | 968.023 | 89.6677 | 6.9168
2020-06-14 07:15:00 | 5.919 | 7.849 | 6.151 | 29.37 | 5.898 | 27.6665 | 6.236 | 0.977 | 22.6 | 968.172 | 88.5725 | 11.9085
2020-06-14 07:30:00 | 7.497 | 0.584 | 7.266 | 23.6 | 7.665 | 22.2312 | 7.932 | 358.8 | 23.05 | 968.172 | 75.8823 | 28.6979
2020-06-14 07:45:00 | 8.17 | 9.95 | 9.42 | 26.54 | 8.48 | 25.0007 | 8.38 | 6.947 | 23.64 | 968.32 | 68.4848 | 30.8076
2020-06-14 08:00:00 | 8.05 | 12.45 | 8.94 | 26.97 | 7.899 | 25.4057 | 7.808 | 8.62 | 23.99 | 968.617 | 61.1556 | 36.3314
2020-06-14 08:15:00 | 7.004 | 12.53 | 8.04 | 28.75 | 7.253 | 27.0825 | 7.372 | 7.237 | 24.54 | 968.592 | 53.0378 | 34.484
2020-06-14 08:30:00 | 6.629 | 13.21 | 8.04 | 31.89 | 7.144 | 30.0404 | 7.061 | 12.08 | 25 | 968.947 | 50.1704 | 26.7802
2020-06-14 08:45:00 | 4.53 | 20.14 | 7.107 | 36.73 | 6.536 | 34.5997 | 6.201 | 20.33 | 25.37 | 969.211 | 47.9891 | 14.9678
2020-06-14 09:00:00 | 4.037 | 16.82 | 7.018 | 33.5 | 6.292 | 31.557 | 6.045 | 16.44 | 26.16 | 969.211 | 44.168 | 16.0947
2020-06-14 09:15:00 | 6.144 | 16.7 | 8.77 | 33.67 | 7.927 | 31.7171 | 7.604 | 20.53 | 26.32 | 969.603 | 44.5102 | 15.5479
2020-06-14 09:30:00 | 5.868 | 4.073 | 6.621 | 29.22 | 6.241 | 27.5252 | 6.387 | 358.1 | 26.27 | 969.685 | 44.8759 | 18.4067
2020-06-14 09:45:00 | 5.054 | 17.2 | 7.511 | 30.76 | 6.79 | 28.9759 | 6.338 | 16.97 | 27.23 | 970.102 | 44.9745 | 19.2132
2020-06-14 10:00:00 | 4.552 | 14.52 | 7.081 | 35 | 6.394 | 32.97 | 6.213 | 8.65 | 27.01 | 970.102 | 43.1005 | 18.4225
2020-06-14 10:15:00 | 4.038 | 14.08 | 6.169 | 35.3 | 5.865 | 33.2526 | 5.881 | 10.17 | 27.24 | 970.398 | 41.2947 | 14.4173
2020-06-14 10:30:00 | 4.571 | 11.89 | 5.997 | 27.83 | 6.139 | 26.2159 | 5.984 | 12.02 | 27.55 | 970.102 | 41.1244 | 25.5277
2020-06-14 10:45:00 | 3.8 | 15.54 | 7.081 | 28.67 | 7.212 | 27.0071 | 6.995 | 21.88 | 28.26 | 970.398 | 40 | 23.3071
2020-06-14 11:00:00 | 4.179 | 11.8 | 6.614 | 24.96 | 6.495 | 23.5123 | 6.203 | 6.413 | 27.98 | 970.546 | 41.1558 | 25.0769
2020-06-14 11:15:00 | 5.761 | 10.21 | 6.409 | 22.5 | 6.381 | 21.195 | 6.41 | 8.74 | 27.68 | 970.546 | 38.6672 | 26.0428
2020-06-14 11:30:00 | 5.109 | 6.477 | 6.294 | 32.49 | 5.608 | 30.6056 | 5.607 | 3.936 | 27.75 | 970.695 | 39.8262 | 24.416
2020-06-14 11:45:00 | 4.012 | 18.36 | 6.334 | 36.22 | 7.329 | 34.1192 | 7.171 | 18.96 | 28.09 | 970.398 | 38.4997 | 22.2688
2020-06-14 12:00:00 | 4.739 | 4.834 | 5.136 | 28.67 | 5.096 | 27.0071 | 5.157 | 350.3 | 27.95 | 970.546 | 35.5366 | 27.7926
2020-06-14 12:15:00 | 3.735 | 3.362 | 4.819 | 18.59 | 5.318 | 17.5118 | 5.325 | 1.298 | 29.07 | 970.546 | 32.2998 | 31.0019
2020-06-14 12:30:00 | 4.238 | 16.93 | 7.45 | 35.76 | 6.195 | 33.6859 | 5.826 | 10.99 | 28.2 | 970.398 | 28.8586 | 25.0648
2020-06-14 12:45:00 | 3.078 | 16.07 | 5.661 | 36.65 | 5.582 | 34.5243 | 5.37 | 14.49 | 28.73 | 970.25 | 29.3015 | 19.201
2020-06-14 13:00:00 | 4.198 | 17.77 | 6.675 | 35.63 | 6.083 | 33.5635 | 5.819 | 15.54 | 28.76 | 969.953 | 29.983 | 17.1958
2020-06-14 13:15:00 | 4.65 | 16.46 | 7.197 | 35.26 | 6.47 | 33.2149 | 6.348 | 12.13 | 29.35 | 970.25 | 27.9046 | 14.4616
2020-06-14 13:30:00 | 2.184 | 347.9 | 3.688 | 358.4 | 4.941 | 337.613 | 4.905 | 355.6 | 29.95 | 970.398 | 28.109 | 10.3234
2020-06-14 13:45:00 | 4.502 | 12.88 | 5.315 | 40.61 | 4.728 | 38.2546 | 4.79 | 6.688 | 28.95 | 970.546 | 26.0307 | 7.4332
2020-06-14 14:00:00 | 3.943 | 12.29 | 4.152 | 11.02 | 5.603 | 10.3808 | 5.335 | 15.11 | 30.45 | 970.843 | 24.7019 | 8.609
2020-06-14 14:15:00 | 2.177 | 17.93 | 3.417 | 37.84 | 3.635 | 35.6453 | 3.486 | 13.06 | 30.01 | 971.139 | 24.4258 | 3.9461
2020-06-14 14:30:00 | 3.889 | 358.7 | 4.993 | 17.92 | 4.827 | 16.8806 | 4.761 | 353.7 | 30.85 | 970.695 | 23.6047 | 5.5792
2020-06-14 14:45:00 | 4.154 | 16.61 | 5.522 | 28.64 | 4.969 | 26.9789 | 4.838 | 17.34 | 30.09 | 970.843 | 22.9223 | 6.4143
2020-06-14 15:00:00 | 2.382 | 26.12 | 5.496 | 39.53 | 5.791 | 37.2373 | 5.505 | 25.51 | 31.69 | 971.287 | 22.7861 | 5.1617
2020-06-14 15:15:00 | 4.114 | 352.2 | 4.52 | 13.25 | 4.664 | 12.4815 | 4.668 | 351.9 | 30.4 | 970.631 | 22.0709 | 2.7896
2020-06-14 15:30:00 | 1.99 | 18.42 | 3.39 | 33.44 | 2.947 | 31.5005 | 2.796 | 10.65 | 31 | 970.821 | 19.5845 | 2.058
2020-06-14 15:45:00 | 2.562 | 359.9 | 3.513 | 21.91 | 3.548 | 20.6392 | 3.555 | 351.5 | 31.18 | 970.749 | 21.1853 | 2.5975
2020-06-14 16:00:00 | 1.93 | 5.7 | 3.55 | 23.99 | 3.809 | 22.5986 | 3.756 | 359.8 | 31.68 | 970.594 | 21.3897 | 2.1541
2020-06-14 16:15:00 | 2.018 | 21.21 | 3.277 | 41.74 | 3.341 | 39.3191 | 3.193 | 14.16 | 31.46 | 971.111 | 19.9249 | 2.5421
2020-06-14 16:30:00 | 2.411 | 5.478 | 2.833 | 358.9 | 4.074 | 338.084 | 3.942 | 1.797 | 31.66 | 970.554 | 20.3301 | 3.3217
2020-06-14 16:45:00 | 2.467 | 354.4 | 3.303 | 4.399 | 3.364 | 4.1439 | 3.278 | 340.3 | 31.39 | 970.279 | 19.6171 | 2.797
2020-06-14 17:00:00 | 2.315 | 17.57 | 2.248 | 19.81 | 2.879 | 18.661 | 2.8 | 20.01 | 31.63 | 970.315 | 20.2997 | 2.0285
2020-06-14 17:15:00 | 2.186 | 351.8 | 2.777 | 343.8 | 2.862 | 323.86 | 2.761 | 351.3 | 31.67 | 970.604 | 19.9591 | 1.0272
2020-06-14 17:30:00 | 1.719 | 14.33 | 2.984 | 15.25 | 3.441 | 14.3655 | 3.161 | 13.81 | 31.39 | 970.441 | 19.6866 | 1.2821
2020-06-14 17:45:00 | 1.313 | 17.68 | 3.318 | 31.36 | 3.865 | 29.5411 | 3.527 | 10.41 | 31.11 | 970.303 | 21.3896 | 1.1232
2020-06-14 18:00:00 | 2.296 | 328.2 | 3.078 | 339.6 | 3.392 | 319.903 | 3.361 | 328.8 | 31.08 | 970.071 | 21.7984 | 0.6429
2020-06-14 18:15:00 | 1.852 | 346.1 | 2.433 | 15.16 | 2.296 | 14.2807 | 2.246 | 340.5 | 30.14 | 969.308 | 22.3433 | 0.20691
2020-06-14 18:30:00 | 2.051 | 333.2 | 2.779 | 353.6 | 2.724 | 333.091 | 2.672 | 333.5 | 30.24 | 969.508 | 22.6839 | 0.68355
2020-06-14 18:45:00 | 2.581 | 3.063 | 3.236 | 16.82 | 3.514 | 15.8444 | 3.532 | 5.257 | 29.74 | 968.619 | 24.3869 | 0.29928
2020-06-14 19:00:00 | 3.424 | 344.8 | 3.607 | 9.57 | 3.713 | 9.0149 | 3.687 | 347.1 | 29.47 | 968.47 | 24.9363 | 1.0161
2020-06-14 19:15:00 | 3.524 | 354.7 | 3.566 | 5.518 | 3.591 | 5.198 | 3.573 | 356 | 29.36 | 968.174 | 25.5536 | 0.77961
2020-06-14 19:30:00 | 3.881 | 356.1 | 3.916 | 6.877 | 3.553 | 6.4781 | 3.967 | 356.7 | 29.27 | 968.322 | 25.6899 | 0.40643
2020-06-14 19:45:00 | 3.171 | 3.553 | 3.725 | 11.43 | 3.375 | 10.7671 | 2.699 | 1.5 | 29.18 | 967.982 | 26.5154 | 0.14779
2020-06-14 20:00:00 | 2.967 | 2.947 | 3.236 | 18.11 | 3.047 | 17.0596 | 2.648 | 5.25 | 28.92 | 968.321 | 26.7193 | 0.52097
2020-06-14 20:15:00 | 3.118 | 1.581 | 3.121 | 19.08 | 3.029 | 17.9734 | 2.49 | 5.788 | 28.92 | 968.025 | 26.8572 | 0.90154
2020-06-14 20:30:00 | 2.98 | 7.641 | 3.824 | 24.05 | 3.474 | 22.6551 | 3.593 | 12.47 | 28.69 | 968.173 | 27.1302 | 2.3241
2020-06-14 20:45:00 | 2.436 | 20.49 | 3.888 | 34.18 | 4.351 | 32.1976 | 4.334 | 24.26 | 28.51 | 968.173 | 26.5167 | 2.2502
2020-06-14 21:00:00 | 2.04 | 22.8 | 3.336 | 38.61 | 3.662 | 36.3706 | 3.69 | 25.38 | 28.54 | 968.469 | 26.653 | 1.6146
2020-06-14 21:15:00 | 1.719 | 23.14 | 3.057 | 38.68 | 3.253 | 36.4366 | 3.277 | 28.06 | 28.57 | 968.345 | 26.0395 | 1.4188
2020-06-14 21:30:00 | 1.496 | 35.37 | 3.029 | 46.89 | 3.158 | 44.1704 | 3.155 | 39.27 | 28.49 | 968.512 | 25.3579 | 1.271
2020-06-14 21:45:00 | 1.434 | 37.01 | 2.965 | 49.3 | 3.428 | 46.4406 | 3.404 | 39.94 | 28.35 | 968.262 | 26.1759 | 1.755
2020-06-14 22:00:00 | 2.579 | 32.23 | 3.643 | 51.43 | 3.832 | 48.4471 | 3.886 | 36.65 | 28.1 | 968.146 | 26.1759 | 1.8326
2020-06-14 22:15:00 | 1.855 | 43.64 | 3.096 | 57.88 | 3.176 | 54.523 | 3.224 | 46.28 | 27.99 | 968.01 | 25.5624 | 1.5592
2020-06-14 22:30:00 | 2.906 | 37.72 | 3.175 | 55.26 | 3.431 | 52.0549 | 3.371 | 37.39 | 28.19 | 968.014 | 24.949 | 0.070202
2020-06-14 22:45:00 | 3.291 | 29.68 | 3.469 | 50.96 | 3.166 | 48.0043 | 3.056 | 30.51 | 28.38 | 968.142 | 25.0854 | -0.073897
2020-06-14 23:00:00 | 3.187 | 43.37 | 3.87 | 63.71 | 3.568 | 60.0148 | 3.443 | 40.23 | 28.1 | 968.097 | 25.801 | 0.41382
2020-06-14 23:15:00 | 2.314 | 45.7 | 3.114 | 63.9 | 3.479 | 60.1938 | 3.389 | 45.56 | 27.65 | 968.391 | 25.4942 | 0.17735
2020-06-14 23:30:00 | 3.605 | 56.84 | 4.013 | 77.29 | 3.329 | 72.8072 | 3.224 | 58.96 | 27.92 | 968.29 | 25.3924 | -0.22908
2020-06-14 23:45:00 | 3.279 | 50.82 | 3.269 | 69.52 | 2.35 | 65.4878 | 2.157 | 51.77 | 28.21 | 968.149 | 24.2002 | -0.2882