## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-15 00:00:00 | 2.079 | 33.01 | 2.704 | 58.01 | 2.044 | 54.6454 | 1.932 | 35.16 | 28.17 | 968.467 | 24.3362 | -0.24016
2020-06-15 00:15:00 | 1.228 | 12.49 | 1.332 | 54.28 | 0.588 | 51.1318 | 0.645 | 11.87 | 28.53 | 968.161 | 23.7905 | -0.24016
2020-06-15 00:30:00 | 0 | 343.6 | 0.518 | 52.95 | 0.395 | 49.8789 | 0.291 | 345.6 | 28.65 | 968.314 | 23.5862 | -0.24016
2020-06-15 00:45:00 | 0 | 330.2 | 0.023 | 52.18 | 0.05 | 49.1536 | 0 | 322.2 | 28.64 | 968.3 | 23.3822 | -0.24016
2020-06-15 01:00:00 | 0 | 329.9 | 0 | 52.18 | 0 | 49.1536 | 0 | 322.2 | 28.35 | 968.319 | 24.3042 | -0.24016
2020-06-15 01:15:00 | 0 | 329.9 | 0.331 | 53.73 | 0 | 50.6137 | 0 | 322.2 | 27.67 | 968.023 | 26.3166 | -0.24016
2020-06-15 01:30:00 | 0.037 | 329.9 | 0 | 54.34 | 0 | 51.1883 | 0 | 322.2 | 27.41 | 967.429 | 25.4985 | -0.25125
2020-06-15 01:45:00 | 0 | 329.9 | 0 | 54.33 | 0 | 51.1789 | 0 | 322.2 | 27.79 | 967.578 | 25.0895 | -0.24016
2020-06-15 02:00:00 | 0 | 329.9 | 0 | 54.33 | 0 | 51.1789 | 0 | 322.2 | 27.56 | 967.875 | 27.203 | -0.25125
2020-06-15 02:15:00 | 0 | 296.3 | 1.05 | 339.3 | 0 | 319.621 | 0 | 322.2 | 27.36 | 967.578 | 27.1349 | -0.25125
2020-06-15 02:30:00 | 0 | 296.3 | 0 | 339.3 | 0 | 319.621 | 0 | 322.2 | 27.53 | 967.43 | 25.9077 | -0.24016
2020-06-15 02:45:00 | 0 | 272.2 | 0.971 | 314 | 0 | 295.788 | 0.009 | 321.2 | 27.67 | 967.726 | 27.2712 | -0.24016
2020-06-15 03:00:00 | 1.373 | 151.2 | 2.027 | 171.7 | 1.869 | 161.741 | 1.792 | 162.3 | 26.98 | 967.875 | 28.4302 | -0.25125
2020-06-15 03:15:00 | 1.783 | 155 | 2.301 | 165.3 | 1.202 | 155.713 | 0.942 | 175.5 | 27.24 | 967.43 | 28.0211 | -0.2845
2020-06-15 03:30:00 | 0.704 | 148.8 | 1.339 | 160.8 | 0.171 | 151.474 | 0 | 174.6 | 27.47 | 967.133 | 26.2144 | 0.95696
2020-06-15 03:45:00 | 0 | 139 | 0 | 160.8 | 0 | 151.474 | 0 | 174.6 | 27.73 | 967.281 | 25.6008 | 2.1098
2020-06-15 04:00:00 | 0 | 341.1 | 0.188 | 76.33 | 0.385 | 71.9029 | 0.357 | 333 | 27.83 | 967.281 | 24.8509 | 4.1161
2020-06-15 04:15:00 | 0 | 339.2 | 0 | 76.33 | 0 | 71.9029 | 0 | 333.1 | 27.83 | 967.578 | 25.9417 | 2.8081
2020-06-15 04:30:00 | 0 | 339.2 | 0 | 76.33 | 0 | 71.9029 | 0 | 333.1 | 27.49 | 967.43 | 26.3851 | 3.2515
2020-06-15 04:45:00 | 0 | 339.2 | 0 | 76.33 | 0 | 71.9029 | 0 | 333.1 | 27.43 | 967.578 | 26.828 | 3.2847
2020-06-15 05:00:00 | 0 | 339.2 | 0 | 76.33 | 0 | 71.9029 | 0 | 333.1 | 27.41 | 967.43 | 26.5213 | 3.2182
2020-06-15 05:15:00 | 0 | 339.2 | 0 | 76.33 | 0 | 71.9029 | 0 | 333.1 | 27.54 | 967.43 | 26.8622 | 2.5421
2020-06-15 05:30:00 | 0.54 | 339.2 | 0.105 | 76.82 | 0 | 72.3644 | 0 | 333.1 | 27.29 | 967.578 | 26.453 | 3.3623
2020-06-15 05:45:00 | 0 | 339.2 | 0 | 76.81 | 0 | 72.355 | 0 | 333.1 | 27.6 | 967.875 | 24.9531 | 3.7318
2020-06-15 06:00:00 | 0 | 339.2 | 0 | 76.82 | 0 | 72.3644 | 0 | 333.1 | 27.82 | 968.172 | 28.6007 | 3.5618
2020-06-15 06:15:00 | 0 | 339.2 | 0 | 76.81 | 0 | 72.355 | 0 | 333.1 | 27.21 | 968.171 | 28.701 | 6.0559
2020-06-15 06:30:00 | 1.629 | 124.3 | 2.04 | 153.5 | 0 | 144.597 | 0 | 333.1 | 27.16 | 968.419 | 30.1977 | 7.785
2020-06-15 06:45:00 | 0.544 | 142 | 2.196 | 160.7 | 0.166 | 151.379 | 0.025 | 342.1 | 26.71 | 968.71 | 32.8903 | 7.2752
2020-06-15 07:00:00 | 1.482 | 138 | 2.763 | 155.5 | 1.11 | 146.481 | 0.815 | 136.6 | 26.87 | 969.065 | 36.5372 | 7.5412
2020-06-15 07:15:00 | 1.982 | 121.6 | 2.302 | 149.6 | 0.488 | 140.923 | 0.321 | 113.6 | 26.55 | 968.915 | 36.9446 | 5.3834
2020-06-15 07:30:00 | 0.169 | 123.4 | 1.419 | 152.5 | 0.602 | 143.655 | 0.416 | 124 | 26.93 | 969.242 | 36.3215 | 5.2356
2020-06-15 07:45:00 | 1.85 | 144.6 | 2.114 | 163.9 | 1.578 | 154.394 | 1.292 | 140.3 | 27.09 | 968.916 | 37.4106 | 4.3636
2020-06-15 08:00:00 | 1.064 | 110.7 | 1.188 | 145.8 | 0.283 | 137.344 | 0.065 | 108.8 | 27.24 | 969.064 | 37.4446 | 3.3475
2020-06-15 08:15:00 | 2.171 | 130.9 | 2.007 | 153.8 | 1.169 | 144.88 | 1.015 | 137.9 | 27.35 | 968.768 | 37.9557 | 3.1628
2020-06-15 08:30:00 | 0.71 | 136.9 | 0.999 | 154.1 | 0 | 145.162 | 0.015 | 131.9 | 27.21 | 968.768 | 37.1039 | 1.9435
2020-06-15 08:45:00 | 0.229 | 74.43 | 0.614 | 69.67 | 0.059 | 65.6291 | 0.051 | 59.9 | 28.41 | 969.212 | 33.799 | 1.1343
2020-06-15 09:00:00 | 0.113 | 26.84 | 1.276 | 39.29 | 1.295 | 37.0112 | 0.99 | 36.16 | 29.85 | 969.657 | 23.3049 | 0.32145
2020-06-15 09:15:00 | 0.782 | 16.86 | 1.554 | 25.67 | 1.124 | 24.1811 | 0.905 | 20.97 | 29.97 | 969.953 | 23.9451 | -0.12932
2020-06-15 09:30:00 | 0.978 | 32.99 | 1.383 | 37.73 | 1.358 | 35.5417 | 1.191 | 30.1 | 30.37 | 969.953 | 22.8202 | -0.15149
2020-06-15 09:45:00 | 1.591 | 8.31 | 2.41 | 15.47 | 2.68 | 14.5727 | 2.549 | 2.808 | 31.49 | 970.083 | 21.6621 | -0.35101
2020-06-15 10:00:00 | 2.005 | 23.47 | 3.229 | 35.73 | 3.273 | 33.6577 | 3.106 | 25.34 | 31.32 | 970.003 | 22.752 | -0.28081
2020-06-15 10:15:00 | 2.197 | 332.2 | 2.512 | 332.9 | 2.348 | 313.592 | 2.226 | 332.5 | 32.37 | 970.351 | 18.8687 | -0.29559
2020-06-15 10:30:00 | 2.473 | 22.95 | 3.911 | 36.39 | 3.637 | 34.2794 | 3.511 | 29.52 | 32.28 | 970.071 | 19.0681 | 0.17366
2020-06-15 10:45:00 | 1.098 | 11.33 | 1.835 | 11.68 | 2.246 | 11.0026 | 2.167 | 15.25 | 32.07 | 970.34 | 17.2292 | 1.3154
2020-06-15 11:00:00 | 3.461 | 2.328 | 3.988 | 16.02 | 4.336 | 15.0908 | 4.367 | 3.82 | 31.97 | 969.73 | 18.9993 | 2.5901
2020-06-15 11:15:00 | 2.859 | 16.64 | 4.568 | 32.64 | 4.809 | 30.7469 | 4.472 | 12.22 | 31.46 | 969.703 | 21.3893 | 4.3008
2020-06-15 11:30:00 | 3.268 | 6.744 | 4.563 | 28.36 | 4.394 | 26.7151 | 4.497 | 359.7 | 30.47 | 969.166 | 21.3896 | 4.7146
2020-06-15 11:45:00 | 3.504 | 9.76 | 3.719 | 30.49 | 3.637 | 28.7216 | 3.565 | 5.526 | 30.14 | 969.358 | 21.1512 | 6.5657
2020-06-15 12:00:00 | 2.581 | 17.45 | 4.645 | 32.51 | 4.204 | 30.6244 | 3.773 | 14.07 | 30.51 | 968.915 | 20.4019 | 5.6716
2020-06-15 12:15:00 | 2.006 | 5.402 | 3.592 | 27.83 | 3.855 | 26.2159 | 3.695 | 358.1 | 30.27 | 968.915 | 20.0281 | 4.0939
2020-06-15 12:30:00 | 1.909 | 15.86 | 3.267 | 43.18 | 2.969 | 40.6756 | 2.802 | 1.186 | 30.63 | 969.212 | 18.7 | 4.1013
2020-06-15 12:45:00 | 2.206 | 15.93 | 3.734 | 32.21 | 3.86 | 30.3418 | 3.537 | 12.34 | 31.15 | 968.767 | 19.9596 | 6.211
2020-06-15 13:00:00 | 2.771 | 8.73 | 4.177 | 34.37 | 3.713 | 32.3765 | 3.736 | 3.454 | 30.48 | 968.47 | 21.5599 | 3.3623
2020-06-15 13:15:00 | 1.043 | 1.824 | 2.76 | 29.98 | 3.09 | 28.2412 | 3.142 | 349 | 30.58 | 968.767 | 21.0515 | 4.3377
2020-06-15 13:30:00 | 1.417 | 26.43 | 2.026 | 18.42 | 2.971 | 17.3516 | 2.573 | 22.49 | 30.72 | 968.619 | 19.69 | 3.8981
2020-06-15 13:45:00 | 3.261 | 351.7 | 3.413 | 338.3 | 2.557 | 318.679 | 2.417 | 0.477 | 30.25 | 968.322 | 20.9852 | 2.7711
2020-06-15 14:00:00 | 2.776 | 1.547 | 2.604 | 352.7 | 2.413 | 332.243 | 2.115 | 5.902 | 30.52 | 968.47 | 21.0549 | 2.9448
2020-06-15 14:15:00 | 1.474 | 10.9 | 2.114 | 26.53 | 2.426 | 24.9913 | 2.453 | 358.9 | 30.64 | 968.619 | 20.3391 | 3.0446
2020-06-15 14:30:00 | 1.196 | 26.49 | 2.532 | 11.25 | 3.921 | 10.5975 | 3.608 | 27.8 | 30.65 | 968.322 | 21.1233 | 3.3734
2020-06-15 14:45:00 | 1.973 | 6.984 | 2.272 | 353.7 | 2.859 | 333.185 | 2.73 | 17.24 | 30.37 | 968.47 | 22.4861 | 2.2132
2020-06-15 15:00:00 | 1.206 | 28.43 | 1.903 | 358.6 | 3.219 | 337.801 | 3.169 | 30.98 | 30.38 | 968.322 | 24.1222 | 0.98652
2020-06-15 15:15:00 | 0.077 | 17.69 | 1.597 | 30.99 | 2.614 | 29.1926 | 2.235 | 14.93 | 30.26 | 968.026 | 25.0079 | -0.20322
2020-06-15 15:30:00 | 2.003 | 12.49 | 3.241 | 32.87 | 2.909 | 30.9635 | 2.847 | 356.4 | 29.56 | 967.581 | 24.5315 | 0.60965
2020-06-15 15:45:00 | 1.46 | 354.7 | 2.332 | 14.78 | 2.93 | 13.9228 | 3.038 | 342.2 | 29.45 | 967.581 | 24.1227 | 1.9804
2020-06-15 16:00:00 | 1.851 | 12.44 | 2.595 | 38.99 | 2.878 | 36.7286 | 2.859 | 355.6 | 29.78 | 967.581 | 21.7376 | 2.5273
2020-06-15 16:15:00 | 1.932 | 10.43 | 2.722 | 28.16 | 2.268 | 26.5267 | 1.991 | 8.71 | 29.51 | 966.988 | 21.0562 | -0.37318
2020-06-15 16:30:00 | 3.746 | 350.8 | 3.791 | 7.912 | 4.244 | 7.4531 | 4.174 | 357.2 | 29.33 | 967.136 | 20.7836 | -0.11824
2020-06-15 16:45:00 | 3.352 | 359 | 3.574 | 11.9 | 4.013 | 11.2098 | 4.263 | 11.1 | 29.21 | 967.16 | 24.533 | 1.9361
2020-06-15 17:00:00 | 1.028 | 101.4 | 1.27 | 138 | 0.54 | 129.996 | 0.829 | 77 | 28.92 | 967.251 | 24.9478 | -0.27342
2020-06-15 17:15:00 | 1.55 | 8.26 | 2.032 | 21.52 | 2.25 | 20.2718 | 1.952 | 6.245 | 28.96 | 967.431 | 26.3801 | -0.25125
2020-06-15 17:30:00 | 2.052 | 8.19 | 2.329 | 350.4 | 1.976 | 330.077 | 1.696 | 4.238 | 28.66 | 967.283 | 27.5379 | 1.5297
2020-06-15 17:45:00 | 1.16 | 203.6 | 1.651 | 206.9 | 1.678 | 194.9 | 1.523 | 210.1 | 28.1 | 967.283 | 29.4458 | -0.25125
2020-06-15 18:00:00 | 0.074 | 264.5 | 0.86 | 254.2 | 0.5 | 239.456 | 0.392 | 262.6 | 27.92 | 966.838 | 27.471 | -0.25864
2020-06-15 18:15:00 | 1.819 | 134.8 | 2.316 | 155.9 | 2.467 | 146.858 | 2.399 | 133.2 | 28.15 | 966.245 | 29.5842 | -0.27711
2020-06-15 18:30:00 | 3.748 | 165.1 | 4.134 | 181.4 | 4.028 | 170.879 | 3.995 | 161 | 27.81 | 965.949 | 27.2665 | 1.8733
2020-06-15 18:45:00 | 1.261 | 142.3 | 1.664 | 172.6 | 1.441 | 162.589 | 1.386 | 155.1 | 28.62 | 966.245 | 24.4717 | 0.13671
2020-06-15 19:00:00 | 0.457 | 120.8 | 0.566 | 111.9 | 0.46 | 105.41 | 0.471 | 138.7 | 28.65 | 966.69 | 24.7444 | -0.29559
2020-06-15 19:15:00 | 3.556 | 12.59 | 4.737 | 18.68 | 4.178 | 17.5966 | 3.685 | 10.33 | 28.03 | 966.542 | 31.8337 | 2.7075
2020-06-15 19:30:00 | 4.724 | 355.2 | 4.883 | 12.87 | 5.819 | 12.1235 | 5.839 | 352.7 | 27.17 | 966.69 | 34.1513 | 9.965
2020-06-15 19:45:00 | 4.109 | 6.665 | 4.039 | 22.43 | 4.651 | 21.1291 | 4.836 | 357.6 | 26.8 | 966.245 | 32.7198 | 7.5523
2020-06-15 20:00:00 | 3.194 | 9.37 | 4.279 | 30.03 | 3.685 | 28.2883 | 3.756 | 6.844 | 26.77 | 966.625 | 34.9352 | 5.812
2020-06-15 20:15:00 | 3.817 | 350.4 | 4.256 | 8.1 | 4.949 | 7.6302 | 4.973 | 348.7 | 26.92 | 966.584 | 34.3558 | 4.6998
2020-06-15 20:30:00 | 3.005 | 3.846 | 3.037 | 18.86 | 3.306 | 17.7661 | 3.369 | 12.53 | 27.12 | 966.825 | 32.7884 | 0.54684
2020-06-15 20:45:00 | 4.693 | 348.2 | 5.103 | 19.53 | 4.654 | 18.3973 | 4.571 | 352.1 | 27.5 | 966.94 | 33.4035 | 4.6703
2020-06-15 21:00:00 | 2.814 | 12.73 | 3.523 | 36.25 | 3.492 | 34.1475 | 3.389 | 9.48 | 26.86 | 967.124 | 33.9488 | 1.4632
2020-06-15 21:15:00 | 2.559 | 12.75 | 3.561 | 33.14 | 3.319 | 31.2179 | 3.191 | 13.6 | 27.18 | 967.384 | 33.0637 | 0.059118
2020-06-15 21:30:00 | 1.879 | 24.27 | 2.224 | 41.92 | 2.604 | 39.4886 | 2.671 | 23.47 | 27.21 | 967.108 | 33.2685 | 0.033254
2020-06-15 21:45:00 | 1.487 | 7.11 | 2.295 | 29.12 | 2.657 | 27.431 | 2.258 | 11.89 | 27.16 | 966.985 | 33.3378 | -0.040643
2020-06-15 22:00:00 | 2.523 | 351.6 | 2.735 | 12.25 | 3.461 | 11.5395 | 3.254 | 356.3 | 27.16 | 966.985 | 34.1567 | 0.25125
2020-06-15 22:15:00 | 3.417 | 356.8 | 3.538 | 14.09 | 3.113 | 13.2728 | 3.667 | 0.291 | 27.18 | 966.985 | 34.8375 | 0.75375
2020-06-15 22:30:00 | 3.314 | 5.688 | 3.748 | 18.44 | 3.891 | 17.3705 | 4.482 | 0.243 | 26.95 | 966.97 | 35.1113 | 1.223
2020-06-15 22:45:00 | 3.585 | 1.817 | 4.116 | 22 | 3.858 | 20.724 | 4.884 | 0.2 | 26.77 | 967.281 | 36.3388 | 1.7698
2020-06-15 23:00:00 | 2.16 | 15.1 | 3.359 | 32.56 | 2.927 | 30.6715 | 2.872 | 9.42 | 26.48 | 966.982 | 36.9524 | 1.1676
2020-06-15 23:15:00 | 2.788 | 11.09 | 3.321 | 20.78 | 4.303 | 19.5748 | 4.354 | 356.5 | 26.62 | 967.281 | 35.9979 | 1.7735
2020-06-15 23:30:00 | 2.809 | 6.78 | 4.049 | 28.58 | 3.606 | 26.9224 | 3.382 | 4.647 | 26.44 | 966.985 | 35.9298 | 3.063
2020-06-15 23:45:00 | 3.802 | 6.477 | 4.466 | 27.51 | 3.723 | 25.9144 | 3.31 | 7.877 | 26.36 | 966.807 | 36.0661 | 4.0422