## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-16 00:00:00 | 3.429 | 4.611 | 4.742 | 27.19 | 4.847 | 25.613 | 3.392 | 7.733 | 26.21 | 966.391 | 36.6797 | 4.5225
2020-06-16 00:15:00 | 3.891 | 6.913 | 4.474 | 23.4 | 3.782 | 22.0428 | 3.394 | 9.2 | 26.07 | 966.54 | 37.0888 | 4.7405
2020-06-16 00:30:00 | 4.553 | 0.26 | 3.993 | 19.55 | 4.547 | 18.4161 | 4.716 | 2.231 | 26.18 | 966.362 | 37.8388 | 5.8194
2020-06-16 00:45:00 | 3.128 | 14.62 | 4.387 | 31.9 | 4.303 | 30.0498 | 3.825 | 12.71 | 25.81 | 966.095 | 40.225 | 5.6642
2020-06-16 01:00:00 | 3.34 | 12.57 | 4.727 | 32.94 | 3.985 | 31.0295 | 3.606 | 9.89 | 25.85 | 966.391 | 39.6796 | 5.1432
2020-06-16 01:15:00 | 3.294 | 12.58 | 4.509 | 31.09 | 4.15 | 29.2868 | 4.061 | 10.18 | 25.87 | 966.083 | 35.248 | 5.5312
2020-06-16 01:30:00 | 3.187 | 14.36 | 4.589 | 33.96 | 4.692 | 31.9903 | 4.466 | 14.62 | 26.08 | 966.243 | 34.4299 | 5.642
2020-06-16 01:45:00 | 3.026 | 23.8 | 4.775 | 41.59 | 5.094 | 39.1778 | 5.093 | 25.14 | 26.06 | 966.095 | 33.4754 | 6.5214
2020-06-16 02:00:00 | 2.398 | 33.05 | 3.883 | 51.81 | 4.417 | 48.805 | 4.39 | 34.13 | 26.07 | 965.798 | 32.0436 | 4.2047
2020-06-16 02:15:00 | 3.284 | 33.63 | 4.292 | 53.49 | 4.295 | 50.3876 | 4.275 | 33.05 | 26.41 | 965.798 | 32.1118 | 3.6505
2020-06-16 02:30:00 | 2.906 | 34.45 | 4.218 | 51.02 | 4.356 | 48.0608 | 4.316 | 38.59 | 26.39 | 966.243 | 32.7936 | 3.935
2020-06-16 02:45:00 | 2.992 | 42.75 | 4.075 | 64.74 | 4.023 | 60.9851 | 3.988 | 43.49 | 26.26 | 966.095 | 33.0663 | 3.6246
2020-06-16 03:00:00 | 4.103 | 46.51 | 5.811 | 65.59 | 5.903 | 61.7858 | 5.847 | 48.76 | 26.41 | 966.243 | 32.2482 | 4.6888
2020-06-16 03:15:00 | 3.049 | 68.11 | 3.765 | 82.8 | 2.843 | 77.9976 | 2.722 | 71.74 | 26.33 | 965.946 | 34.7026 | 7.0128
2020-06-16 03:30:00 | 2.347 | 77.28 | 3.321 | 84.7 | 3.342 | 79.7874 | 3.392 | 85.7 | 26.38 | 966.095 | 44.5202 | 11.8974
2020-06-16 03:45:00 | 3.478 | 98 | 4.139 | 113.5 | 4.275 | 106.917 | 4.507 | 104 | 25.82 | 966.224 | 50.588 | 12.9689
2020-06-16 04:00:00 | 2.771 | 102.6 | 3.74 | 118.5 | 4.443 | 111.627 | 4.512 | 111.2 | 25.33 | 966.243 | 57.3376 | 19.2095
2020-06-16 04:15:00 | 3.907 | 137.8 | 4.182 | 160.8 | 3.705 | 151.474 | 3.659 | 137.2 | 24.85 | 966.095 | 63.4737 | 23.6027
2020-06-16 04:30:00 | 6.935 | 141.7 | 6.913 | 159.4 | 6.757 | 150.155 | 6.756 | 147.1 | 24.06 | 966.095 | 73.3266 | 24.6668
2020-06-16 04:45:00 | 5.722 | 138.5 | 6.087 | 154.9 | 6.691 | 145.916 | 6.679 | 144.7 | 23.57 | 965.798 | 76.4385 | 21.6038
2020-06-16 05:00:00 | 3.003 | 129 | 3.561 | 148.9 | 3.23 | 140.264 | 3.308 | 134.4 | 23.33 | 965.798 | 82.509 | 18.537
2020-06-16 05:15:00 | 2.557 | 108 | 3.326 | 121 | 3.441 | 113.982 | 3.483 | 116.2 | 23.26 | 965.947 | 83.6672 | 17.0295
2020-06-16 05:30:00 | 3.737 | 143.9 | 4.356 | 158 | 3.504 | 148.836 | 3.409 | 150.2 | 23.21 | 965.798 | 84.6232 | 15.958
2020-06-16 05:45:00 | 2.753 | 112.4 | 3.479 | 132.9 | 3.194 | 125.192 | 3.193 | 124.9 | 23.21 | 965.65 | 84.896 | 14.7461
2020-06-16 06:00:00 | 2.245 | 116.3 | 3.062 | 135.1 | 2.711 | 127.264 | 2.777 | 123.5 | 23.26 | 965.65 | 84.3164 | 14.4653
2020-06-16 06:15:00 | 2.88 | 127.1 | 3.451 | 140.7 | 3.204 | 132.539 | 3.46 | 145.6 | 23.29 | 965.947 | 83.4299 | 9.4662
2020-06-16 06:30:00 | 3.991 | 135.5 | 3.87 | 154 | 4.033 | 145.068 | 4.074 | 138.1 | 23.33 | 965.65 | 82.8503 | 11.2397
2020-06-16 06:45:00 | 5.291 | 138.5 | 5.553 | 153.6 | 5.475 | 144.691 | 5.416 | 142.8 | 23.42 | 966.243 | 82.6457 | 7.338
2020-06-16 07:00:00 | 4.417 | 136.4 | 4.55 | 154.8 | 4.758 | 145.822 | 4.856 | 142 | 23.51 | 966.391 | 80.4635 | 6.8613
2020-06-16 07:15:00 | 2.497 | 119.1 | 2.945 | 150.4 | 3.13 | 141.677 | 3.239 | 121.8 | 24.08 | 966.688 | 76.2336 | 5.3649
2020-06-16 07:30:00 | 3.891 | 139.4 | 3.942 | 159.7 | 3.057 | 150.437 | 2.951 | 140.6 | 24.48 | 966.985 | 76.8026 | 2.8672
2020-06-16 07:45:00 | 2.972 | 136 | 3.032 | 155 | 2.439 | 146.01 | 2.495 | 136.1 | 24.81 | 967.325 | 71.2003 | 3.1776
2020-06-16 08:00:00 | 2.981 | 143.1 | 3.717 | 160.2 | 3.306 | 150.908 | 3.315 | 148.7 | 26.46 | 967.58 | 68.844 | 1.5186
2020-06-16 08:15:00 | 0.931 | 144.8 | 1.548 | 173.2 | 0.546 | 163.154 | 0.521 | 151.2 | 25.79 | 967.728 | 69.3931 | 0.80548
2020-06-16 08:30:00 | 0.182 | 101.8 | 1.152 | 150.5 | 0.947 | 141.771 | 0.985 | 112.6 | 25.58 | 967.283 | 69.7998 | 1.3154
2020-06-16 08:45:00 | 1.888 | 99.7 | 2.242 | 113.5 | 1.586 | 106.917 | 1.584 | 111.9 | 25.31 | 967.135 | 68.5742 | 0.33254
2020-06-16 09:00:00 | 0.576 | 106.1 | 1.067 | 97.3 | 0.118 | 91.6566 | 0.169 | 115.8 | 25.97 | 967.135 | 67.9616 | 0.1441
2020-06-16 09:15:00 | 1.039 | 132.7 | 1.311 | 166.2 | 0.605 | 156.56 | 0.442 | 130.9 | 25.85 | 967.283 | 68.5745 | 0.081287
2020-06-16 09:30:00 | 1.092 | 125.5 | 1.427 | 138.7 | 0.109 | 130.655 | 0.03 | 123.4 | 25.47 | 966.987 | 69.6319 | 0.30667
2020-06-16 09:45:00 | 2.599 | 142.3 | 2.676 | 161.9 | 2.075 | 152.51 | 1.937 | 145.1 | 25.47 | 966.69 | 66.5985 | 1.1232
2020-06-16 10:00:00 | 2.684 | 132.5 | 3.103 | 157 | 2.688 | 147.894 | 2.704 | 131.2 | 25.65 | 966.542 | 67.0756 | 1.3154
2020-06-16 10:15:00 | 1.598 | 131 | 2.408 | 163.6 | 1.746 | 154.111 | 1.711 | 126.4 | 25.85 | 966.839 | 62.7812 | 1.3006
2020-06-16 10:30:00 | 2.633 | 150.2 | 2.697 | 170.8 | 2.2 | 160.894 | 2.192 | 152.3 | 26.11 | 966.987 | 62.6108 | 0.32145
2020-06-16 10:45:00 | 3.511 | 133.3 | 3.791 | 150.7 | 3.855 | 141.959 | 3.809 | 137.3 | 25.51 | 966.839 | 66.6326 | 0.9311
2020-06-16 11:00:00 | 4.088 | 148.1 | 4.08 | 167 | 3.553 | 157.314 | 3.43 | 152.9 | 25.45 | 966.735 | 69.8705 | 1.1639
2020-06-16 11:15:00 | 4.397 | 152.4 | 4.65 | 168.7 | 4.557 | 158.915 | 4.515 | 157.3 | 25.14 | 966.7 | 73.4833 | 1.5112
2020-06-16 11:30:00 | 3.815 | 178 | 4.075 | 191.2 | 3.387 | 180.11 | 3.43 | 182.5 | 24.83 | 966.688 | 78.402 | 4.674
2020-06-16 11:45:00 | 6.389 | 178.4 | 6.153 | 191.7 | 5.542 | 180.581 | 5.559 | 183.6 | 24.16 | 966.243 | 83.8589 | 7.2012
2020-06-16 12:00:00 | 5.919 | 196.6 | 5.726 | 206.6 | 5.274 | 194.617 | 5.325 | 202.8 | 23.8 | 965.947 | 83.2461 | 6.1926
2020-06-16 12:15:00 | 5.937 | 198.4 | 5.875 | 208.9 | 5.412 | 196.784 | 5.495 | 202.5 | 23.57 | 966.095 | 87.9634 | 2.8746
2020-06-16 12:30:00 | 2.971 | 213.1 | 3.633 | 222.2 | 3.738 | 209.312 | 3.865 | 217.7 | 23.31 | 966.391 | 79.269 | 1.489
2020-06-16 12:45:00 | 3 | 225.6 | 3.239 | 237.8 | 2.645 | 224.008 | 2.648 | 219 | 23.51 | 965.947 | 80.4637 | -0.20322
2020-06-16 13:00:00 | 0.321 | 330.8 | 1.596 | 339.4 | 0.123 | 319.715 | 0.073 | 286.4 | 23.47 | 966.095 | 82.032 | -0.27342
2020-06-16 13:15:00 | 2.502 | 20.08 | 2.413 | 23.6 | 2.207 | 22.2312 | 2.283 | 48.79 | 23.53 | 965.65 | 83.3267 | 0.044338
2020-06-16 13:30:00 | 0.685 | 20.15 | 2.283 | 36.68 | 2.265 | 34.5526 | 2.371 | 33.16 | 23.8 | 966.243 | 75.5776 | -0.044338
2020-06-16 13:45:00 | 0.057 | 78.8 | 0.926 | 46.24 | 0.961 | 43.5581 | 0.969 | 71.15 | 24.7 | 966.97 | 62.3828 | 0.18474
2020-06-16 14:00:00 | 4.629 | 154.9 | 4.555 | 173 | 4.417 | 162.966 | 4.423 | 161.7 | 25.77 | 966.724 | 70.3138 | 0.41013
2020-06-16 14:15:00 | 3.771 | 206.3 | 3.755 | 212.8 | 3.733 | 200.458 | 3.848 | 211 | 24.94 | 966.097 | 71.3702 | 2.0211
2020-06-16 14:30:00 | 3.286 | 203.2 | 3.648 | 212 | 3.489 | 199.704 | 3.593 | 213.7 | 24.86 | 965.966 | 73.756 | 6.1371
2020-06-16 14:45:00 | 4.68 | 228.4 | 4.821 | 236.3 | 4.717 | 222.595 | 4.871 | 229.5 | 24.34 | 965.717 | 82.6858 | 4.0643
2020-06-16 15:00:00 | 4.264 | 227 | 4.195 | 242.6 | 3.787 | 228.529 | 3.792 | 229.8 | 23.6 | 965.772 | 86.3081 | 3.9091
2020-06-16 15:15:00 | 4.798 | 259.3 | 4.727 | 271.3 | 4.486 | 255.565 | 4.385 | 260.9 | 23.43 | 965.947 | 89.654 | 2.0506
2020-06-16 15:30:00 | 2.366 | 262.4 | 2.628 | 284 | 2.245 | 267.528 | 2.233 | 259.7 | 23.26 | 965.65 | 91.3584 | 0.72049
2020-06-16 15:45:00 | 3.718 | 252 | 3.615 | 265.8 | 3.006 | 250.384 | 2.913 | 251.7 | 22.87 | 965.798 | 88.0869 | 0.1441
2020-06-16 16:00:00 | 2.562 | 249 | 2.924 | 269.9 | 1.451 | 254.246 | 1.435 | 238.4 | 22.86 | 965.798 | 81.819 | 0.12932
2020-06-16 16:15:00 | 1.572 | 228.6 | 1.692 | 265 | 0.515 | 249.63 | 0.534 | 224.1 | 22.78 | 965.353 | 76.1971 | -0.18474
2020-06-16 16:30:00 | 2.697 | 301 | 2.763 | 317.7 | 1.535 | 299.273 | 1.299 | 293.2 | 23.03 | 965.501 | 74.3237 | -0.27711
2020-06-16 16:45:00 | 3.044 | 337.1 | 3.397 | 352.5 | 2.001 | 332.055 | 1.5 | 343.6 | 23.19 | 965.057 | 74.7346 | -0.26972
2020-06-16 17:00:00 | 2.622 | 353.1 | 2.863 | 13.16 | 2.84 | 12.3967 | 2.799 | 345.1 | 22.98 | 965.353 | 77.4633 | -0.24016
2020-06-16 17:15:00 | 0.787 | 23.37 | 1.647 | 18.84 | 1.555 | 17.7473 | 1.462 | 19.64 | 22.9 | 965.057 | 81.6229 | -0.25494
2020-06-16 17:30:00 | 2.204 | 309.1 | 2.538 | 322.3 | 2.451 | 303.607 | 2.46 | 311.5 | 22.63 | 965.205 | 83.7709 | -0.22539
2020-06-16 17:45:00 | 1.826 | 305.5 | 2.357 | 320.3 | 2.189 | 301.723 | 2.18 | 306.6 | 22.34 | 965.057 | 87.3508 | 0.26233
2020-06-16 18:00:00 | 2.186 | 307.2 | 2.142 | 316.8 | 1.559 | 298.426 | 1.604 | 308 | 22.03 | 964.76 | 90.1594 | 1.0161
2020-06-16 18:15:00 | 0.95 | 317.7 | 1.893 | 326 | 1.555 | 307.092 | 1.678 | 311.5 | 21.79 | 964.76 | 93.0946 | 0.77592
2020-06-16 18:30:00 | 1.538 | 301.3 | 2.298 | 314.5 | 1.76 | 296.259 | 1.711 | 296 | 21.04 | 964.783 | 93.5038 | 0.4323
2020-06-16 18:45:00 | 1.901 | 1.77 | 2.288 | 11.32 | 1.709 | 10.6634 | 1.672 | 7.73 | 20.89 | 964.737 | 95.3145 | 0.55792
2020-06-16 19:00:00 | 2.311 | 349.4 | 2.479 | 0.862 | 1.439 | 0.812 | 1.369 | 2.921 | 20.29 | 965.054 | 96.4519 | 0.67616
2020-06-16 19:15:00 | 2.196 | 6.856 | 2.991 | 26.59 | 2.08 | 25.0478 | 2.057 | 9.84 | 19.81 | 964.609 | 96.4529 | 0.66138
2020-06-16 19:30:00 | 2.469 | 21.06 | 3.234 | 38.33 | 2.197 | 36.1069 | 2.105 | 25.34 | 19.66 | 964.461 | 95.0887 | 0.099761
2020-06-16 19:45:00 | 2.388 | 13.66 | 2.674 | 36.24 | 0.581 | 34.1381 | 0.733 | 347.6 | 19.77 | 964.461 | 95.1667 | 0.30298
2020-06-16 20:00:00 | 2.832 | 14.88 | 3.009 | 30.08 | 1.548 | 28.3354 | 2.101 | 8.36 | 19.63 | 964.188 | 92.0344 | 0.11824
2020-06-16 20:15:00 | 2.308 | 353.3 | 2.518 | 13.52 | 2.177 | 12.7358 | 2.243 | 0.241 | 19.71 | 964.403 | 89.7834 | 0.33993
2020-06-16 20:30:00 | 1.91 | 330.4 | 2.574 | 352.4 | 2.339 | 331.961 | 2.373 | 337.1 | 19.95 | 964.315 | 88.453 | -0.059118
2020-06-16 20:45:00 | 1.468 | 328.1 | 2.275 | 351.8 | 2.212 | 331.396 | 2.276 | 330.4 | 20 | 964.256 | 85.9628 | -0.12932
2020-06-16 21:00:00 | 0.455 | 330 | 1.81 | 352.4 | 1.61 | 331.961 | 1.724 | 324.9 | 20.13 | 964.633 | 79.0721 | -0.048033
2020-06-16 21:15:00 | 2.467 | 340.3 | 2.536 | 356.9 | 2.314 | 336.2 | 2.34 | 334.7 | 20.4 | 964.496 | 79.1056 | -0.14779
2020-06-16 21:30:00 | 2.022 | 345.8 | 2.231 | 356.9 | 2.06 | 336.2 | 2.085 | 341.6 | 20.45 | 964.612 | 80.0262 | -0.20322
2020-06-16 21:45:00 | 1.902 | 340 | 2.145 | 352.7 | 2.164 | 332.243 | 2.215 | 334.9 | 20.49 | 964.758 | 79.0697 | -0.26972
2020-06-16 22:00:00 | 1.647 | 323.6 | 2.17 | 338.4 | 1.927 | 318.773 | 2.014 | 327.4 | 20.33 | 964.614 | 82.7487 | -0.22539
2020-06-16 22:15:00 | 0.037 | 318.4 | 0.651 | 319.5 | 0 | 300.969 | 0 | 327.5 | 20.07 | 964.758 | 84.3856 | -0.22539
2020-06-16 22:30:00 | 0.796 | 163.5 | 1.464 | 174.2 | 0.596 | 164.096 | 0.519 | 182.7 | 20.04 | 964.758 | 86.5046 | -0.22539
2020-06-16 22:45:00 | 0 | 162 | 0.019 | 174.2 | 0 | 164.096 | 0 | 181.9 | 19.94 | 964.758 | 79.6169 | -0.24016
2020-06-16 23:00:00 | 0.846 | 209.7 | 1.544 | 204.3 | 1.109 | 192.451 | 0.976 | 181.9 | 20.2 | 964.773 | 84.3921 | -0.25864
2020-06-16 23:15:00 | 2.515 | 226.2 | 2.472 | 232 | 1.831 | 218.544 | 1.739 | 221.7 | 19.81 | 964.759 | 84.5979 | -0.24016
2020-06-16 23:30:00 | 1.259 | 259.6 | 1.927 | 263.4 | 1.732 | 238.985 | 1.79 | 271 | 19.74 | 964.641 | 83.2679 | -0.24016
2020-06-16 23:45:00 | 2.291 | 264.2 | 2.883 | 274.8 | 2.787 | 258.862 | 2.76 | 259.6 | 19.47 | 964.639 | 87.1908 | -0.24386