## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-17 00:00:00 | 2.737 | 239.8 | 3.162 | 249.3 | 2.868 | 250.289 | 2.88 | 256.3 | 19.29 | 964.55 | 88.4871 | -0.24016
2020-06-17 00:15:00 | 2.689 | 218.9 | 2.924 | 224.3 | 2.935 | 211.291 | 2.987 | 228.9 | 19.21 | 964.229 | 90.4315 | -0.27711
2020-06-17 00:30:00 | 2.666 | 244.5 | 3.114 | 252.6 | 2.996 | 225.892 | 3.063 | 236.8 | 18.97 | 964.353 | 90.2268 | -0.25864
2020-06-17 00:45:00 | 2.408 | 249.7 | 2.929 | 256.7 | 2.917 | 241.811 | 2.951 | 253.6 | 18.95 | 963.952 | 90.9432 | -0.25864
2020-06-17 01:00:00 | 0.809 | 209.9 | 1.7 | 227.5 | 2.174 | 221.935 | 2.205 | 230.8 | 18.79 | 963.864 | 93.2969 | -0.27711
2020-06-17 01:15:00 | 0.126 | 222.2 | 1.442 | 229.5 | 1.243 | 216.377 | 1.349 | 216.8 | 18.6 | 963.418 | 94.2862 | -0.25864
2020-06-17 01:30:00 | 0.99 | 222.3 | 1.978 | 229.5 | 1.429 | 216.189 | 1.599 | 216.9 | 18.45 | 963.568 | 96.1624 | -0.27711
2020-06-17 01:45:00 | 1.309 | 257.7 | 2.234 | 251.9 | 1.871 | 233.71 | 2.322 | 243.3 | 18.33 | 963.271 | 97.2198 | -0.27711
2020-06-17 02:00:00 | 1.731 | 279.6 | 2.569 | 286.2 | 2.278 | 269.6 | 2.332 | 273.5 | 18.14 | 963.271 | 97.2881 | -0.2882
2020-06-17 02:15:00 | 2.16 | 291.1 | 2.597 | 303.9 | 1.49 | 286.274 | 1.395 | 297.3 | 18.06 | 962.974 | 97.561 | -0.26972
2020-06-17 02:30:00 | 1.956 | 305.3 | 2.405 | 312 | 1.912 | 293.904 | 2.078 | 301.4 | 17.98 | 962.825 | 98.5162 | -0.25494
2020-06-17 02:45:00 | 1.152 | 313.8 | 2.058 | 320.6 | 2.421 | 302.005 | 2.699 | 325.8 | 17.88 | 962.677 | 99.267 | 0.19213
2020-06-17 03:00:00 | 0.222 | 338.4 | 1.413 | 357.9 | 1.925 | 337.142 | 2.185 | 337.7 | 17.86 | 962.677 | 99.6777 | 0.31406
2020-06-17 03:15:00 | 1.29 | 338 | 2.142 | 349.8 | 2.342 | 324.236 | 2.587 | 329.1 | 17.63 | 962.677 | 99.883 | 0.47663
2020-06-17 03:30:00 | 2.589 | 15.46 | 3.497 | 33.53 | 3.082 | 31.5853 | 2.949 | 16.16 | 17.79 | 962.083 | 99.8842 | 0.76853
2020-06-17 03:45:00 | 2.661 | 20.66 | 3.919 | 36.4 | 3.766 | 35.3909 | 3.802 | 23.9 | 17.79 | 962.083 | 99.8838 | 1.3708
2020-06-17 04:00:00 | 2.845 | 20.75 | 3.776 | 36.56 | 3.296 | 34.4395 | 3.341 | 27.05 | 17.47 | 962.083 | 99.9206 | 1.0678
2020-06-17 04:15:00 | 3.2 | 31.96 | 4.302 | 41.75 | 4.389 | 39.8843 | 4.464 | 43.93 | 17.05 | 961.786 | 99.883 | 1.7403
2020-06-17 04:30:00 | 0.825 | 33.96 | 3.914 | 42.96 | 4.786 | 40.4683 | 4.861 | 41.74 | 17.4 | 961.49 | 99.6827 | 3.0039
2020-06-17 04:45:00 | 0.784 | 30.13 | 3.41 | 34.52 | 3.695 | 32.5178 | 3.769 | 37.25 | 17.59 | 961.786 | 99.7828 | 1.0124
2020-06-17 05:00:00 | 1.426 | 29.18 | 3.047 | 41.23 | 3.487 | 38.8387 | 3.651 | 36.9 | 17.71 | 962.232 | 99.784 | 0.29928
2020-06-17 05:15:00 | 1.907 | 16.67 | 4.249 | 29.52 | 4.295 | 27.8078 | 4.273 | 23.78 | 17.59 | 962.083 | 99.8827 | 1.2784
2020-06-17 05:30:00 | 2.883 | 19.62 | 4.284 | 34.9 | 4.555 | 32.8758 | 4.606 | 24.58 | 17.6 | 962.083 | 99.8856 | 2.4645
2020-06-17 05:45:00 | 3.348 | 11.61 | 4.885 | 26.11 | 4.7 | 24.5956 | 4.138 | 17.54 | 17.58 | 962.083 | 99.883 | 3.5212
2020-06-17 06:00:00 | 3.58 | 23.07 | 5.274 | 38.64 | 5.554 | 36.3989 | 5.541 | 27.08 | 17.61 | 962.083 | 99.887 | 4.0237
2020-06-17 06:15:00 | 4.517 | 10.21 | 5.062 | 26.71 | 4.573 | 25.1608 | 4.431 | 15.14 | 17.6 | 961.935 | 99.8854 | 7.3491
2020-06-17 06:30:00 | 4.331 | 8.34 | 4.732 | 21.91 | 4.621 | 20.6392 | 4.474 | 13.34 | 17.39 | 962.083 | 99.8824 | 6.5657
2020-06-17 06:45:00 | 2.926 | 23.06 | 3.888 | 37.67 | 4.211 | 35.4851 | 4.286 | 29.84 | 17.28 | 962.083 | 99.8827 | 4.1197
2020-06-17 07:00:00 | 2.538 | 30.29 | 4.011 | 42.31 | 4.112 | 39.856 | 4.199 | 37.01 | 17.37 | 962.083 | 99.8839 | 3.0593
2020-06-17 07:15:00 | 1.64 | 37.44 | 2.628 | 50.39 | 3.181 | 47.4674 | 3.254 | 42.14 | 17.68 | 962.38 | 99.882 | 1.7292
2020-06-17 07:30:00 | 1.75 | 40.46 | 2.29 | 53.2 | 2.833 | 50.1144 | 2.938 | 44.61 | 18.03 | 962.529 | 99.8812 | 0.70202
2020-06-17 07:45:00 | 2.186 | 36.77 | 3.134 | 52.36 | 3.448 | 42.5972 | 3.545 | 42.97 | 18.13 | 962.677 | 99.1984 | 0.16627
2020-06-17 08:00:00 | 2.018 | 40.98 | 2.97 | 58.9 | 3.433 | 55.4838 | 3.56 | 46.57 | 18.33 | 962.974 | 98.175 | -0.15888
2020-06-17 08:15:00 | 0.811 | 29.93 | 1.327 | 43.97 | 2.436 | 41.4197 | 2.533 | 40.7 | 18.47 | 962.677 | 97.9704 | -0.26603
2020-06-17 08:30:00 | 0.11 | 43.94 | 0.338 | 59.8 | 1.597 | 56.3316 | 1.836 | 53.92 | 18.52 | 963.419 | 98.5162 | -0.23647
2020-06-17 08:45:00 | 0.026 | 56.29 | 0.105 | 63.7 | 0.734 | 60.0054 | 1.081 | 68.29 | 18.7 | 962.973 | 98.789 | -0.16996
2020-06-17 09:00:00 | 0.686 | 69.43 | 1.723 | 80.4 | 2.558 | 75.7368 | 2.776 | 76.73 | 18.75 | 963.042 | 99.062 | 0.11084
2020-06-17 09:15:00 | 0.962 | 83.7 | 1.912 | 96 | 2.317 | 90.432 | 2.424 | 91.3 | 18.57 | 962.736 | 98.3797 | -0.084981
2020-06-17 09:30:00 | 1.888 | 125.1 | 1.821 | 137.5 | 2.028 | 129.525 | 1.915 | 129.9 | 18.68 | 962.918 | 94.218 | -0.13301
2020-06-17 09:45:00 | 0.916 | 149.1 | 1.037 | 156.7 | 1.346 | 147.611 | 1.417 | 142.6 | 18.77 | 963.116 | 94.525 | -0.20322
2020-06-17 10:00:00 | 1.426 | 121 | 1.12 | 141.8 | 1.371 | 133.576 | 1.377 | 117.2 | 18.95 | 963.052 | 95.3096 | -0.20691
2020-06-17 10:15:00 | 2.162 | 100.5 | 2.551 | 113.6 | 2.337 | 107.011 | 2.186 | 110.8 | 18.78 | 963.213 | 93.9451 | -0.15149
2020-06-17 10:30:00 | 1.995 | 89.3 | 2.067 | 95.7 | 2.591 | 90.1494 | 2.635 | 94.7 | 18.72 | 962.885 | 93.0923 | -0.2882
2020-06-17 10:45:00 | 2.264 | 65.31 | 2.779 | 74.4 | 2.965 | 70.0848 | 3.025 | 72.76 | 18.57 | 962.825 | 94.9003 | 0.13671
2020-06-17 11:00:00 | 2.33 | 71.43 | 3.275 | 86 | 3.611 | 81.012 | 3.595 | 76.65 | 18.4 | 962.237 | 94.1498 | 0.90893
2020-06-17 11:15:00 | 2.063 | 62.21 | 2.546 | 75.62 | 2.561 | 71.234 | 2.602 | 72.69 | 18.3 | 962.375 | 94.9685 | 0.69094
2020-06-17 11:30:00 | 1.907 | 67.41 | 2.237 | 84.4 | 2.284 | 79.5048 | 2.32 | 74.12 | 18.08 | 962.38 | 96.4012 | -0.19952
2020-06-17 11:45:00 | 0.126 | 75.29 | 0.316 | 72.27 | 0.909 | 68.0783 | 1.348 | 96.6 | 18.04 | 962.38 | 96.8788 | -0.26972
2020-06-17 12:00:00 | 0 | 164.4 | 0 | 125.3 | 0 | 118.033 | 0.015 | 111 | 18.13 | 962.38 | 97.6975 | -0.25125
2020-06-17 12:15:00 | 0 | 69.41 | 0 | 70.67 | 0 | 66.5711 | 0 | 111 | 18.14 | 962.38 | 98.2433 | -0.24386
2020-06-17 12:30:00 | 0 | 69.41 | 0 | 70.66 | 0 | 66.5617 | 0.018 | 58.89 | 18.01 | 962.825 | 99.2666 | -0.24386
2020-06-17 12:45:00 | 0.937 | 243.2 | 0.241 | 294.4 | 0.141 | 277.325 | 0.169 | 317.8 | 18.21 | 962.677 | 99.1302 | -0.24016
2020-06-17 13:00:00 | 0 | 309.3 | 0.083 | 266.7 | 0.708 | 251.231 | 0.737 | 314.1 | 18.1 | 962.669 | 99.8806 | -0.2845
2020-06-17 13:15:00 | 1.698 | 302.7 | 1.944 | 312.8 | 1.93 | 294.658 | 1.966 | 306 | 17.77 | 962.515 | 99.8806 | -0.28081
2020-06-17 13:30:00 | 2.005 | 345 | 2.14 | 18.34 | 2.164 | 17.2763 | 2.318 | 337.5 | 17.67 | 962.38 | 99.8806 | -0.28081
2020-06-17 13:45:00 | 0.625 | 36.33 | 0.756 | 57.49 | 0.507 | 54.1556 | 0.417 | 9.32 | 17.57 | 962.529 | 99.8806 | -0.28081
2020-06-17 14:00:00 | 0.293 | 84.2 | 0 | 108.8 | 0 | 102.49 | 0 | 0.195 | 17.64 | 962.38 | 99.8806 | -0.25864
2020-06-17 14:15:00 | 1.753 | 269.1 | 1.494 | 281.5 | 1.242 | 265.173 | 1.113 | 314.4 | 17.59 | 962.38 | 99.8806 | -0.26233
2020-06-17 14:30:00 | 2.245 | 301.5 | 2.091 | 319.3 | 1.912 | 300.781 | 1.925 | 299 | 17.45 | 962.232 | 99.8823 | -0.27711
2020-06-17 14:45:00 | 1.621 | 307.4 | 1.746 | 329.3 | 1.859 | 310.201 | 1.787 | 310.6 | 17.31 | 962.38 | 99.8826 | -0.25125
2020-06-17 15:00:00 | 1.935 | 342.4 | 1.641 | 356.3 | 1.985 | 335.635 | 2.007 | 332.9 | 17.18 | 962.38 | 99.9536 | -0.25125
2020-06-17 15:15:00 | 1.823 | 2.359 | 1.622 | 7.718 | 2.128 | 7.2704 | 1.978 | 2.322 | 16.92 | 962.232 | 99.8856 | -0.24016
2020-06-17 15:30:00 | 0.805 | 7.125 | 1.567 | 24.71 | 2.111 | 23.2768 | 1.943 | 3.38 | 16.9 | 961.935 | 99.8828 | -0.26233
2020-06-17 15:45:00 | 0.052 | 8.09 | 0.397 | 19.1 | 1.133 | 17.9922 | 1.02 | 3.8 | 16.88 | 961.786 | 99.885 | -0.23647
2020-06-17 16:00:00 | 0.349 | 5.931 | 0.825 | 4.611 | 1.289 | 4.3436 | 1.016 | 3.118 | 16.77 | 961.935 | 99.8859 | -0.24016
2020-06-17 16:15:00 | 0 | 0.099 | 0 | 45.11 | 0 | 42.4936 | 0 | 3.118 | 16.93 | 961.786 | 99.8904 | -0.24386
2020-06-17 16:30:00 | 0.399 | 0.099 | 0.135 | 44.98 | 0.324 | 42.3712 | 0.17 | 3.13 | 16.88 | 961.638 | 99.8899 | -0.22539
2020-06-17 16:45:00 | 1.668 | 34.28 | 2.109 | 43.27 | 2.174 | 40.7603 | 2.213 | 38.28 | 16.74 | 961.49 | 99.8908 | -0.25125
2020-06-17 17:00:00 | 1.307 | 57.13 | 2.147 | 60.64 | 2.919 | 57.1229 | 3.017 | 60.76 | 17.05 | 961.638 | 99.8968 | -0.26972
2020-06-17 17:15:00 | 1.308 | 54.47 | 2.28 | 68.52 | 3.191 | 64.5458 | 3.229 | 61.78 | 17.09 | 961.638 | 99.8948 | -0.28081
2020-06-17 17:30:00 | 2.057 | 62.97 | 2.405 | 79.16 | 3.059 | 74.5687 | 3.119 | 65.2 | 17.1 | 961.49 | 99.8918 | -0.28081
2020-06-17 17:45:00 | 1.657 | 81 | 2.715 | 95.2 | 3.784 | 89.6784 | 3.881 | 89.6 | 17.25 | 961.49 | 99.8889 | -0.24386
2020-06-17 18:00:00 | 2.148 | 102.3 | 2.04 | 120.5 | 2.594 | 113.511 | 2.811 | 105.2 | 17.36 | 961.49 | 99.6147 | -0.24386
2020-06-17 18:15:00 | 1.98 | 100.6 | 2.706 | 118.3 | 3.415 | 111.439 | 3.629 | 105.6 | 17.44 | 961.49 | 98.9313 | 0.062812
2020-06-17 18:30:00 | 1.365 | 84.5 | 1.951 | 94.7 | 3.588 | 89.2074 | 3.807 | 93.7 | 17.45 | 961.49 | 98.1797 | -0.048033
2020-06-17 18:45:00 | 0.891 | 49.2 | 1.562 | 52.26 | 2.299 | 49.2289 | 2.444 | 67.19 | 17.55 | 961.786 | 97.5715 | -0.12932
2020-06-17 19:00:00 | 0.396 | 36.87 | 0.098 | 55.18 | 1.127 | 51.9796 | 1.354 | 59.37 | 17.5 | 961.935 | 97.8422 | -0.23278
2020-06-17 19:15:00 | 0.249 | 77.23 | 0.397 | 96.1 | 1.653 | 90.5262 | 1.778 | 90.2 | 17.47 | 961.935 | 97.2319 | -0.23647
2020-06-17 19:30:00 | 1.715 | 89.8 | 2.227 | 101.5 | 3.184 | 95.613 | 3.374 | 96 | 17.48 | 961.49 | 96.8912 | -0.062812
2020-06-17 19:45:00 | 0.897 | 97.9 | 1.295 | 109.2 | 2.614 | 102.866 | 2.817 | 106.4 | 17.53 | 961.935 | 95.4627 | -0.19583
2020-06-17 20:00:00 | 1.462 | 110.8 | 1.337 | 134.6 | 2.548 | 126.793 | 2.607 | 109.1 | 17.66 | 962.083 | 94.6075 | -0.16996
2020-06-17 20:15:00 | 0 | 110.3 | 0 | 133.7 | 0.433 | 125.945 | 0.61 | 109.8 | 17.55 | 962.38 | 95.939 | -0.25125
2020-06-17 20:30:00 | 0 | 69.57 | 0 | 314.9 | 0 | 296.636 | 0 | 104.3 | 17.4 | 962.083 | 97.7815 | -0.26972
2020-06-17 20:45:00 | 0 | 65.43 | 0 | 314.9 | 0.006 | 296.636 | 0 | 66.95 | 17.39 | 962.083 | 98.3259 | -0.24016
2020-06-17 21:00:00 | 0 | 46.83 | 0 | 315.1 | 0.418 | 296.824 | 0.783 | 66.45 | 17.4 | 962.083 | 98.8729 | -0.25125
2020-06-17 21:15:00 | 0 | 49.11 | 0 | 4.092 | 0 | 3.8547 | 0 | 66.57 | 17.32 | 961.786 | 99.212 | -0.25864
2020-06-17 21:30:00 | 0 | 81.2 | 0 | 4.092 | 0.944 | 3.8547 | 1.182 | 88 | 17.31 | 961.786 | 99.1412 | -0.26972
2020-06-17 21:45:00 | 0.537 | 79.39 | 0 | 4.092 | 0 | 3.8547 | 0.006 | 92.9 | 17.48 | 962.083 | 99.0048 | -0.25494
2020-06-17 22:00:00 | 1.51 | 314.6 | 1.289 | 318.9 | 1.062 | 300.404 | 1.043 | 346.2 | 17.45 | 962.38 | 99.6183 | -0.23647
2020-06-17 22:15:00 | 1.381 | 343.3 | 1.319 | 355.6 | 1.565 | 334.975 | 1.501 | 343.1 | 17.38 | 962.38 | 99.8869 | -0.24016
2020-06-17 22:30:00 | 1.516 | 338.3 | 1.261 | 350.7 | 1.741 | 330.359 | 1.667 | 333.8 | 17.33 | 962.232 | 99.8868 | -0.26972
2020-06-17 22:45:00 | 1.645 | 27.69 | 2.735 | 44.93 | 2.622 | 42.3241 | 2.689 | 32.13 | 17.38 | 961.638 | 99.8849 | -0.26233
2020-06-17 23:00:00 | 1.473 | 23.7 | 2.004 | 33.27 | 1.966 | 31.3403 | 1.983 | 34.77 | 17.33 | 961.638 | 99.8866 | -0.26233
2020-06-17 23:15:00 | 2.86 | 336.4 | 2.753 | 350 | 2.629 | 329.7 | 2.686 | 340.9 | 17.25 | 961.786 | 99.8836 | -0.30667
2020-06-17 23:30:00 | 2.497 | 335 | 2.347 | 358.1 | 2.566 | 337.33 | 2.674 | 333.3 | 17.25 | 961.786 | 99.8843 | -0.19213
2020-06-17 23:45:00 | 1.654 | 357.8 | 1.57 | 14.25 | 1.975 | 13.4235 | 2.09 | 348.8 | 17.26 | 961.49 | 99.89 | -0.20691