## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-18 00:00:00 | 1.841 | 353.4 | 1.308 | 2.25 | 1.46 | 2.1195 | 1.619 | 353.7 | 17.24 | 961.49 | 99.8838 | -0.23647
2020-06-18 00:15:00 | 1.685 | 332.8 | 1.388 | 346.7 | 1.507 | 326.591 | 1.632 | 340.9 | 17.3 | 961.786 | 99.8856 | -0.19583
2020-06-18 00:30:00 | 1.984 | 321.9 | 2.492 | 334.6 | 2.637 | 315.193 | 2.768 | 327.9 | 17.05 | 961.49 | 99.8859 | -0.27342
2020-06-18 00:45:00 | 1.683 | 333.5 | 1.71 | 349.3 | 2.39 | 329.041 | 2.646 | 328.5 | 17.06 | 961.49 | 99.9535 | -0.25864
2020-06-18 01:00:00 | 1.425 | 332.3 | 1.329 | 352 | 1.875 | 331.584 | 2.218 | 325.7 | 17.11 | 961.49 | 99.8863 | -0.26972
2020-06-18 01:15:00 | 1.702 | 335.4 | 1.908 | 357.6 | 2.8 | 336.859 | 3.264 | 330.7 | 16.95 | 961.341 | 99.8878 | -0.23278
2020-06-18 01:30:00 | 3.036 | 334 | 3.042 | 348.6 | 3.382 | 328.381 | 3.646 | 332.4 | 16.95 | 961.193 | 99.8894 | 0.036949
2020-06-18 01:45:00 | 1.334 | 352.6 | 1.881 | 21.07 | 1.952 | 19.8479 | 2.272 | 334.1 | 16.98 | 961.193 | 99.8886 | -0.12932
2020-06-18 02:00:00 | 2.162 | 352.9 | 2.714 | 24.12 | 3.245 | 22.721 | 3.504 | 351.9 | 16.98 | 961.044 | 99.9244 | 0.1404
2020-06-18 02:15:00 | 2.097 | 358 | 2.311 | 7.843 | 2.589 | 7.3881 | 2.783 | 0.066 | 16.87 | 961.044 | 99.8938 | 0.39165
2020-06-18 02:30:00 | 2.072 | 359.6 | 1.789 | 18.24 | 2.067 | 17.1821 | 2.215 | 359.4 | 16.79 | 960.896 | 99.9644 | 0.4988
2020-06-18 02:45:00 | 0.683 | 27.5 | 1.011 | 32.71 | 1.416 | 30.8128 | 1.53 | 34.66 | 16.88 | 960.747 | 99.9345 | -0.27711
2020-06-18 03:00:00 | 0.54 | 21.94 | 0.42 | 16.17 | 0.405 | 15.2321 | 0.577 | 34.21 | 16.45 | 960.45 | 99.8977 | -0.26972
2020-06-18 03:15:00 | 1.316 | 88.8 | 1.166 | 84.3 | 1.519 | 79.4106 | 1.717 | 95.6 | 16.34 | 960.302 | 99.908 | -0.19583
2020-06-18 03:30:00 | 1.572 | 122 | 0.951 | 129 | 0.88 | 121.518 | 1.231 | 119.3 | 16.18 | 960.302 | 99.9142 | 0.69094
2020-06-18 03:45:00 | 0 | 133.3 | 0.079 | 149.9 | 0 | 141.206 | 0 | 117.7 | 16.22 | 960.302 | 99.9145 | 0.32884
2020-06-18 04:00:00 | 0.235 | 133.4 | 0.301 | 149.9 | 0.11 | 141.206 | 0.347 | 117.7 | 16.06 | 960.154 | 99.9488 | 0.56531
2020-06-18 04:15:00 | 1.509 | 111.6 | 1.787 | 131.5 | 2.278 | 123.873 | 2.569 | 112.1 | 15.95 | 960.005 | 99.9147 | 1.4668
2020-06-18 04:30:00 | 0 | 116.9 | 0.109 | 148.6 | 1.608 | 139.981 | 1.809 | 119.1 | 16.02 | 960.005 | 99.9147 | 1.611
2020-06-18 04:45:00 | 1.456 | 150.9 | 1.444 | 174.2 | 1.999 | 164.096 | 2.146 | 143.1 | 15.98 | 960.154 | 99.9147 | 1.393
2020-06-18 05:00:00 | 0 | 129.6 | 0.12 | 171 | 0.356 | 161.082 | 0.778 | 133.2 | 15.89 | 960.302 | 99.9147 | 2.1282
2020-06-18 05:15:00 | 0.153 | 93.5 | 0.603 | 108.3 | 1.577 | 102.019 | 1.914 | 109.8 | 15.93 | 960.45 | 99.9147 | 3.0113
2020-06-18 05:30:00 | 0.466 | 109.7 | 0.518 | 135 | 0.937 | 127.17 | 1.421 | 113.9 | 15.84 | 960.599 | 99.9147 | 2.7194
2020-06-18 05:45:00 | 0.858 | 81 | 1.178 | 96.8 | 1.579 | 91.1856 | 1.82 | 79.01 | 15.79 | 960.747 | 99.9147 | 1.9213
2020-06-18 06:00:00 | 0.026 | 70.74 | 0.276 | 85.8 | 1.069 | 80.8236 | 1.498 | 80.3 | 15.86 | 960.896 | 99.9147 | 1.2821
2020-06-18 06:15:00 | 0.509 | 64.7 | 0.282 | 69.66 | 0.339 | 65.6197 | 0.879 | 71.09 | 15.77 | 960.896 | 99.9147 | 0.15888
2020-06-18 06:30:00 | 0.825 | 25.98 | 1.003 | 48.11 | 1.037 | 45.3196 | 1.27 | 34.82 | 15.76 | 961.044 | 99.9147 | -0.18474
2020-06-18 06:45:00 | 0.074 | 17.26 | 0.342 | 37.43 | 0.611 | 35.2591 | 0.821 | 24.19 | 15.74 | 961.193 | 99.9488 | -0.25125
2020-06-18 07:00:00 | 0 | 17.25 | 0 | 37.42 | 0 | 35.2496 | 0.059 | 19.64 | 15.86 | 961.49 | 99.9147 | -0.24016
2020-06-18 07:15:00 | 0 | 17.43 | 0 | 37.45 | 0 | 35.2779 | 0.074 | 19.72 | 15.9 | 961.49 | 99.9147 | -0.25125
2020-06-18 07:30:00 | 0.302 | 17.73 | 0.593 | 37.55 | 0.984 | 35.3721 | 1.166 | 19.98 | 15.9 | 961.786 | 99.9147 | -0.25125
2020-06-18 07:45:00 | 1.385 | 110.1 | 1.193 | 125.6 | 0.903 | 118.315 | 1.228 | 94.1 | 16.08 | 962.083 | 99.9147 | 1.2599
2020-06-18 08:00:00 | 4.18 | 101.1 | 5.151 | 118 | 5.618 | 111.156 | 5.834 | 106.6 | 15.42 | 962.083 | 99.9147 | 7.9033
2020-06-18 08:15:00 | 4.428 | 93.2 | 4.816 | 106.4 | 5.391 | 100.229 | 5.801 | 99.5 | 15.42 | 962.083 | 99.9147 | 5.8526
2020-06-18 08:30:00 | 2.502 | 85 | 2.535 | 94.7 | 3.11 | 89.2074 | 3.414 | 93.5 | 15.62 | 962.083 | 99.9147 | 3.4436
2020-06-18 08:45:00 | 2.373 | 78.41 | 2.633 | 85.3 | 3.736 | 80.3526 | 3.916 | 89.6 | 15.89 | 962.529 | 99.9147 | 3.4177
2020-06-18 09:00:00 | 2.998 | 67.55 | 3.87 | 81 | 4.656 | 76.302 | 4.787 | 76.99 | 16.23 | 962.677 | 99.7765 | 3.3365
2020-06-18 09:15:00 | 1.159 | 72.21 | 1.946 | 98.6 | 2.413 | 92.8812 | 2.551 | 77.51 | 16.8 | 963.271 | 99.2103 | 3.5507
2020-06-18 09:30:00 | 0.564 | 82.9 | 1.293 | 79.45 | 2.376 | 74.8419 | 2.584 | 90.9 | 17.14 | 963.864 | 97.324 | 2.1763
2020-06-18 09:45:00 | 1.934 | 97.1 | 3.075 | 113.2 | 3.403 | 106.634 | 3.565 | 106.2 | 17.35 | 963.864 | 94.9344 | 2.4164
2020-06-18 10:00:00 | 2.384 | 88.3 | 2.904 | 99.3 | 3.395 | 93.5406 | 3.601 | 91.5 | 17.25 | 964.269 | 94.832 | 0.56901
2020-06-18 10:15:00 | 1.618 | 92.1 | 1.978 | 102.5 | 2.81 | 96.555 | 3.14 | 93 | 17.28 | 964.265 | 94.6274 | 0.80178
2020-06-18 10:30:00 | 1.554 | 59.24 | 2.725 | 75.23 | 3.158 | 70.8667 | 3.157 | 66.25 | 17.05 | 964.157 | 96.0942 | 0.062812
2020-06-18 10:45:00 | 1.716 | 82.3 | 1.96 | 91.7 | 1.939 | 86.3814 | 2.079 | 83.3 | 16.73 | 963.863 | 97.0152 | -0.26603
2020-06-18 11:00:00 | 1.999 | 60.65 | 2.379 | 75.58 | 2.441 | 71.1964 | 2.59 | 67.37 | 16.64 | 964.161 | 98.2433 | 0.12193
2020-06-18 11:15:00 | 3.046 | 66.23 | 4.144 | 78.63 | 4.374 | 74.0695 | 4.497 | 77.6 | 16.55 | 963.864 | 98.8574 | 0.90524
2020-06-18 11:30:00 | 2.619 | 71.43 | 2.891 | 81.6 | 2.892 | 76.8672 | 3.132 | 79.67 | 16.58 | 964.161 | 99.0665 | 0.89046
2020-06-18 11:45:00 | 2.469 | 72.68 | 2.554 | 82.3 | 2.514 | 77.5266 | 2.908 | 87.9 | 16.54 | 964.161 | 99.5429 | 0.5727
2020-06-18 12:00:00 | 1.061 | 79.87 | 1.198 | 98.3 | 2.37 | 92.5986 | 2.61 | 90.2 | 16.87 | 964.458 | 99.817 | 0.24755
2020-06-18 12:15:00 | 0.082 | 58.12 | 0.084 | 65.58 | 0.613 | 61.7764 | 0.884 | 71.44 | 16.81 | 964.458 | 99.9151 | -0.15888
2020-06-18 12:30:00 | 1.46 | 24.34 | 2.248 | 37.57 | 2.388 | 35.3909 | 2.416 | 28.05 | 16.72 | 964.161 | 99.9492 | -0.17366
2020-06-18 12:45:00 | 2.645 | 10.83 | 2.901 | 24.95 | 2.813 | 23.5029 | 2.885 | 16.36 | 16.75 | 964.31 | 99.9489 | -0.31037
2020-06-18 13:00:00 | 2.993 | 9.43 | 3.083 | 20.84 | 3.001 | 19.6313 | 3.178 | 12.14 | 16.92 | 964.31 | 99.8806 | -0.2845
2020-06-18 13:15:00 | 1.553 | 27.87 | 2.279 | 39.37 | 2.79 | 37.0865 | 2.951 | 38.4 | 17.46 | 964.903 | 99.9148 | -0.26233
2020-06-18 13:30:00 | 1.217 | 27.23 | 2.721 | 42.16 | 3.166 | 39.7147 | 3.157 | 36.81 | 18.06 | 965.521 | 97.6923 | -0.22539
2020-06-18 13:45:00 | 1.297 | 89 | 1.054 | 112.4 | 1.607 | 105.881 | 1.832 | 90.1 | 18.32 | 965.5 | 95.2934 | -0.22539
2020-06-18 14:00:00 | 1.454 | 59.13 | 1.998 | 68.8 | 2.299 | 64.8096 | 2.334 | 65.26 | 18.39 | 965.203 | 92.0181 | -0.24016
2020-06-18 14:15:00 | 2.095 | 53.23 | 2.707 | 64.87 | 2.352 | 61.1075 | 2.192 | 62.31 | 18.41 | 964.758 | 91.2005 | -0.18844
2020-06-18 14:30:00 | 1.402 | 94.6 | 1.804 | 111.4 | 2.179 | 104.939 | 2.266 | 100.6 | 18.54 | 964.758 | 91.4052 | -0.22169
2020-06-18 14:45:00 | 1.473 | 97.4 | 1.496 | 110.4 | 1.784 | 103.997 | 1.811 | 103.5 | 18.63 | 964.758 | 89.6316 | -0.19213
2020-06-18 15:00:00 | 3.787 | 102.4 | 4.108 | 120.7 | 5.13 | 113.699 | 5.332 | 104.3 | 18.67 | 964.758 | 87.3806 | 0.42491
2020-06-18 15:15:00 | 3.82 | 115.4 | 3.973 | 140 | 4.672 | 131.88 | 4.828 | 117.5 | 19.05 | 964.461 | 86.5279 | 8.4316
2020-06-18 15:30:00 | 4.514 | 125.6 | 4.315 | 148.5 | 4.45 | 139.887 | 4.5 | 123.2 | 19.02 | 964.313 | 88.6767 | 13.2497
2020-06-18 15:45:00 | 4.859 | 120.3 | 4.883 | 148.9 | 4.501 | 140.264 | 4.617 | 116.2 | 19.27 | 964.758 | 85.266 | 17.4286
2020-06-18 16:00:00 | 4.78 | 126.7 | 4.742 | 154.3 | 4.56 | 145.351 | 4.489 | 127.8 | 19.08 | 964.758 | 86.8349 | 14.7018
2020-06-18 16:15:00 | 5.219 | 131.7 | 4.944 | 154.3 | 4.573 | 145.351 | 4.594 | 133.8 | 18.81 | 964.164 | 87.0395 | 15.4888
2020-06-18 16:30:00 | 7.328 | 129.8 | 7.099 | 151.8 | 7.207 | 142.996 | 7.291 | 133.8 | 18.92 | 964.164 | 83.2878 | 28.7755
2020-06-18 16:45:00 | 6.223 | 127.2 | 6.506 | 145.5 | 6.778 | 137.061 | 6.781 | 128.2 | 19.13 | 964.164 | 79.7408 | 29.1597
2020-06-18 17:00:00 | 7.019 | 116.9 | 7.386 | 138.4 | 8.13 | 130.373 | 8.38 | 123.1 | 19.38 | 964.164 | 78.0355 | 32.2191
2020-06-18 17:15:00 | 5.921 | 117.2 | 6.302 | 136.6 | 6.513 | 128.677 | 6.682 | 117.2 | 19.49 | 964.313 | 77.3533 | 31.0847
2020-06-18 17:30:00 | 6.128 | 117.7 | 6.752 | 136.8 | 6.951 | 128.866 | 7.005 | 120.8 | 19.93 | 965.055 | 73.9768 | 25.7531
2020-06-18 17:45:00 | 4.382 | 117.1 | 5.005 | 139.8 | 4.542 | 131.692 | 4.451 | 123.5 | 20.28 | 965.8 | 73.385 | 27.1165
2020-06-18 18:00:00 | 5.342 | 126.1 | 5.463 | 143.2 | 5.239 | 134.894 | 5.274 | 129.9 | 20.15 | 965.799 | 74.1678 | 25.9378
2020-06-18 18:15:00 | 5.641 | 128.4 | 5.801 | 146.9 | 5.956 | 138.38 | 5.954 | 127.3 | 20.08 | 965.65 | 75.6573 | 30.6081
2020-06-18 18:30:00 | 6.994 | 133.6 | 6.931 | 154.4 | 6.785 | 145.445 | 6.738 | 135.6 | 19.81 | 965.057 | 77.2597 | 28.1104
2020-06-18 18:45:00 | 7.377 | 134.3 | 7.516 | 152.9 | 7.19 | 144.032 | 7.067 | 136.4 | 19.67 | 964.76 | 77.8086 | 26.3923
2020-06-18 19:00:00 | 8.1 | 137.1 | 8.25 | 154.6 | 8.55 | 145.633 | 8.45 | 139.7 | 19.42 | 964.464 | 83.1372 | 37.2145
2020-06-18 19:15:00 | 8.5 | 135.2 | 8.67 | 155 | 8.87 | 146.01 | 8.79 | 138.5 | 19.27 | 964.064 | 82.728 | 25.8639
2020-06-18 19:30:00 | 6.641 | 137.6 | 6.862 | 155.1 | 6.981 | 146.104 | 6.995 | 141.8 | 19.06 | 964.164 | 86.289 | 14.2141
2020-06-18 19:45:00 | 2.422 | 137.3 | 3.134 | 156 | 3.499 | 146.952 | 3.494 | 140.8 | 18.94 | 964.312 | 86.2944 | 3.8796
2020-06-18 20:00:00 | 3.09 | 157.6 | 3.085 | 173.9 | 2.856 | 163.814 | 2.811 | 159.3 | 18.84 | 964.437 | 86.8497 | -0.014779
2020-06-18 20:15:00 | 0.915 | 109.8 | 1.451 | 135.9 | 1.381 | 128.018 | 1.434 | 124.7 | 18.77 | 965.049 | 84.6665 | -0.41013
2020-06-18 20:30:00 | 0 | 94.9 | 0.06 | 126.3 | 0 | 118.975 | 0 | 122.7 | 18.85 | 965.052 | 85.1441 | -0.32515
2020-06-18 20:45:00 | 0 | 108.1 | 0.253 | 126.3 | 0.626 | 118.975 | 0.749 | 113.8 | 18.68 | 965.052 | 85.7923 | -0.24016
2020-06-18 21:00:00 | 3.562 | 124.7 | 3.592 | 138.8 | 3.339 | 130.75 | 3.313 | 129.6 | 18.9 | 965.2 | 81.3922 | -0.26972
2020-06-18 21:15:00 | 4.665 | 141.2 | 4.783 | 159.1 | 4.901 | 149.872 | 4.869 | 144.9 | 18.77 | 964.903 | 84.121 | 1.574
2020-06-18 21:30:00 | 3.554 | 145.2 | 3.753 | 166.7 | 4.102 | 157.031 | 4.087 | 149.4 | 18.38 | 965.052 | 86.1675 | 1.7292
2020-06-18 21:45:00 | 4.407 | 142.8 | 4.737 | 156.9 | 4.621 | 147.8 | 4.505 | 149.7 | 18.45 | 965.052 | 85.6221 | 1.8696
2020-06-18 22:00:00 | 2.315 | 139.4 | 2.378 | 171.4 | 2.807 | 161.459 | 3.142 | 136.4 | 18.24 | 965.646 | 85.5541 | 2.0211
2020-06-18 22:15:00 | 0.747 | 136.9 | 1.769 | 156.1 | 2.677 | 147.046 | 2.966 | 144.2 | 18.07 | 965.646 | 86.5791 | 2.8155
2020-06-18 22:30:00 | 3.297 | 149 | 4.001 | 169 | 4.125 | 159.198 | 4.196 | 154.9 | 18.07 | 965.794 | 86.8537 | 2.1541
2020-06-18 22:45:00 | 5.329 | 144.1 | 5.481 | 163.6 | 5.412 | 154.111 | 5.353 | 150.4 | 18.34 | 965.2 | 84.4629 | 6.1187
2020-06-18 23:00:00 | 5.357 | 152.7 | 5.471 | 171.8 | 5.694 | 161.836 | 5.628 | 156.4 | 18.12 | 965.2 | 86.6477 | 10.1239
2020-06-18 23:15:00 | 5.038 | 149.1 | 5.315 | 167.7 | 5.514 | 157.973 | 5.477 | 153 | 18.02 | 965.2 | 87.7716 | 10.1387
2020-06-18 23:30:00 | 5.148 | 141.8 | 5.537 | 156.8 | 6.083 | 147.706 | 6.043 | 143.7 | 18.1 | 965.2 | 84.3275 | 8.2099
2020-06-18 23:45:00 | 3.846 | 130.9 | 4.331 | 150.6 | 4.934 | 141.865 | 4.713 | 131.7 | 18.13 | 965.052 | 84.3273 | 5.5386