## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-19 00:00:00 | 1.798 | 149.3 | 2.753 | 173 | 3.705 | 162.966 | 3.682 | 147.7 | 18.29 | 965.052 | 83.8156 | 4.3636
2020-06-19 00:15:00 | 1.554 | 140 | 3.08 | 158.3 | 3.944 | 149.119 | 3.736 | 140.7 | 18.57 | 965.052 | 81.192 | 1.6701
2020-06-19 00:30:00 | 2.919 | 159.9 | 3.195 | 182.5 | 3.466 | 171.915 | 3.427 | 162.9 | 18.55 | 965.646 | 80.4736 | 2.0137
2020-06-19 00:45:00 | 2.837 | 159.9 | 3.459 | 182.6 | 3.853 | 172.009 | 3.708 | 161.3 | 18.14 | 965.497 | 83.444 | 1.877
2020-06-19 01:00:00 | 3.437 | 170.4 | 3.681 | 188.7 | 4.102 | 177.755 | 4.033 | 167.2 | 18.01 | 965.349 | 86.6492 | 2.712
2020-06-19 01:15:00 | 3.866 | 167 | 4.126 | 181.1 | 3.977 | 170.596 | 3.896 | 170.2 | 17.91 | 965.052 | 85.3547 | 3.5175
2020-06-19 01:30:00 | 3.756 | 169.4 | 4.149 | 183.8 | 4.756 | 173.14 | 4.759 | 174.2 | 18.13 | 965.497 | 84.8395 | 5.2873
2020-06-19 01:45:00 | 4.037 | 166.5 | 4.387 | 182 | 4.45 | 171.444 | 4.377 | 171.5 | 18.06 | 965.2 | 86.5102 | 5.8526
2020-06-19 02:00:00 | 3.726 | 169.5 | 4.251 | 185.4 | 4.425 | 174.647 | 4.357 | 172.6 | 17.7 | 965.2 | 88.8983 | 5.1765
2020-06-19 02:15:00 | 3.733 | 176 | 3.875 | 188.4 | 4.033 | 177.473 | 4.021 | 177.9 | 17.68 | 965.349 | 89.582 | 3.8796
2020-06-19 02:30:00 | 3.529 | 183.6 | 3.837 | 194.2 | 3.904 | 182.936 | 3.99 | 189.3 | 17.78 | 965.349 | 89.7536 | 1.3671
2020-06-19 02:45:00 | 3.7 | 176.8 | 3.778 | 189.6 | 3.99 | 178.603 | 3.957 | 176.1 | 17.87 | 965.349 | 89.958 | 0.34362
2020-06-19 03:00:00 | 3.674 | 173.5 | 3.878 | 187.3 | 3.792 | 176.437 | 3.705 | 173.6 | 18.06 | 965.646 | 88.0804 | 0.25494
2020-06-19 03:15:00 | 3.368 | 177.3 | 3.53 | 188.2 | 3.614 | 177.284 | 3.545 | 179.1 | 17.99 | 965.646 | 88.4907 | 0.062812
2020-06-19 03:30:00 | 3.212 | 186 | 3.328 | 197.7 | 3.573 | 186.233 | 3.664 | 192.4 | 18.07 | 965.943 | 89.3747 | 0.044338
2020-06-19 03:45:00 | 2.663 | 178.6 | 3.047 | 193.8 | 3.438 | 182.56 | 3.547 | 187.4 | 17.61 | 965.943 | 92.3817 | -0.055423
2020-06-19 04:00:00 | 0.616 | 186.9 | 1.619 | 189.7 | 1.877 | 178.697 | 1.815 | 193.7 | 17.52 | 966.091 | 93.6086 | -0.29559
2020-06-19 04:15:00 | 0.425 | 188.5 | 0.203 | 189.4 | 0.563 | 178.415 | 0.003 | 193.8 | 17.39 | 966.239 | 93.9541 | -0.24016
2020-06-19 04:30:00 | 1.931 | 358 | 2.012 | 18.78 | 0.567 | 17.6908 | 0.132 | 341.8 | 17.11 | 966.388 | 95.3572 | -0.25494
2020-06-19 04:45:00 | 2.829 | 16.57 | 2.602 | 27.84 | 0.447 | 26.2253 | 0 | 341.8 | 16.88 | 966.239 | 93.321 | -0.20691
2020-06-19 05:00:00 | 2.788 | 28.23 | 2.756 | 39.9 | 0.121 | 37.5858 | 0 | 342.1 | 17.22 | 966.091 | 92.7433 | -0.20322
2020-06-19 05:15:00 | 1.526 | 141.3 | 1.069 | 97 | 1.487 | 91.374 | 1.221 | 134 | 17.48 | 966.685 | 92.71 | -0.25864
2020-06-19 05:30:00 | 3.501 | 159.3 | 3.653 | 171.7 | 3.553 | 161.741 | 3.448 | 163.6 | 17.29 | 966.981 | 94.7761 | -0.25864
2020-06-19 05:45:00 | 3.092 | 164.5 | 2.942 | 176.8 | 2.591 | 166.546 | 2.455 | 173.5 | 17.06 | 966.833 | 96.5392 | -0.25864
2020-06-19 06:00:00 | 0.007 | 162.1 | 0.431 | 177.4 | 0.301 | 167.111 | 0.211 | 174.5 | 17.24 | 967.278 | 96.4041 | -0.24016
2020-06-19 06:15:00 | 0 | 76.71 | 0.086 | 161.1 | 0 | 151.756 | 0 | 174.5 | 18.03 | 967.427 | 94.4909 | -0.24016
2020-06-19 06:30:00 | 1.803 | 15.21 | 1.945 | 56.61 | 1.288 | 53.3266 | 0.831 | 130 | 18.18 | 967.587 | 92.7171 | -0.24016
2020-06-19 06:45:00 | 1.27 | 25.35 | 1.448 | 43.57 | 1.312 | 41.0429 | 0.968 | 1.851 | 18.65 | 967.726 | 90.0432 | -0.25125
2020-06-19 07:00:00 | 1.825 | 53.01 | 1.729 | 57.02 | 1.335 | 53.7128 | 0.71 | 62.08 | 18.75 | 968.022 | 89.7629 | -0.25125
2020-06-19 07:15:00 | 0.588 | 55.5 | 0.489 | 52.71 | 1.194 | 49.6528 | 0.951 | 75.44 | 19.21 | 968.049 | 87.5024 | -0.25864
2020-06-19 07:30:00 | 0.074 | 107.4 | 0.015 | 70.71 | 0.05 | 66.6088 | 0.009 | 109 | 20.32 | 968.172 | 79.6893 | -0.25125
2020-06-19 07:45:00 | 0 | 107.4 | 0.053 | 70.69 | 0.295 | 66.59 | 0.006 | 108.8 | 20.25 | 968.765 | 84.0778 | -0.24016
2020-06-19 08:00:00 | 2.029 | 198.3 | 1.833 | 184.2 | 1.322 | 173.516 | 1.212 | 197.1 | 20.76 | 969.21 | 78.3498 | -0.24016
2020-06-19 08:15:00 | 1.714 | 180.4 | 1.52 | 207.8 | 0.895 | 195.748 | 0.443 | 165.8 | 20.18 | 968.913 | 81.2739 | -0.24016
2020-06-19 08:30:00 | 2.686 | 168.9 | 2.303 | 195.5 | 1.729 | 184.161 | 1.551 | 167.5 | 20.31 | 968.617 | 80.3929 | -0.22539
2020-06-19 08:45:00 | 2.824 | 159.9 | 2.881 | 172 | 2.374 | 162.024 | 2.24 | 163.2 | 20.65 | 968.765 | 81.1418 | -0.24016
2020-06-19 09:00:00 | 2.594 | 147.6 | 2.216 | 165.2 | 1.556 | 155.618 | 1.38 | 155.2 | 20.52 | 968.913 | 76.2322 | -0.26233
2020-06-19 09:15:00 | 2.474 | 122 | 2.032 | 155.5 | 1.882 | 146.481 | 1.793 | 121.8 | 20.66 | 969.062 | 79.5065 | -0.13301
2020-06-19 09:30:00 | 3.593 | 146.6 | 3.216 | 169.2 | 2.66 | 159.386 | 2.498 | 144.9 | 20.95 | 969.358 | 80.1776 | 0.32145
2020-06-19 09:45:00 | 3.396 | 138.3 | 3.339 | 156.1 | 2.985 | 147.046 | 2.872 | 142 | 21.17 | 969.355 | 78.3024 | 1.2193
2020-06-19 10:00:00 | 3.963 | 144 | 3.822 | 165.7 | 3.021 | 156.089 | 2.905 | 146.9 | 21.51 | 969.802 | 73.8708 | 1.3597
2020-06-19 10:15:00 | 3.542 | 145.5 | 3.408 | 166.6 | 2.762 | 156.937 | 2.651 | 149.2 | 22.33 | 969.604 | 68.7461 | 2.1393
2020-06-19 10:30:00 | 4.251 | 148.1 | 4.072 | 172.3 | 3.553 | 162.307 | 3.455 | 153 | 22.15 | 969.508 | 72.2563 | 3.5138
2020-06-19 10:45:00 | 4.982 | 147.2 | 4.581 | 168.2 | 3.822 | 158.444 | 3.695 | 147.8 | 22.45 | 969.827 | 73.1084 | 4.201
2020-06-19 11:00:00 | 4.382 | 141.5 | 4.379 | 164.8 | 3.545 | 155.242 | 3.444 | 144.2 | 22.8 | 969.433 | 68.439 | 5.0915
2020-06-19 11:15:00 | 4.836 | 136.7 | 4.821 | 155.4 | 4.252 | 146.387 | 4.016 | 137.6 | 23.33 | 969.213 | 66.0191 | 5.4093
2020-06-19 11:30:00 | 5.178 | 151.6 | 4.901 | 171.1 | 4.066 | 161.176 | 3.87 | 156.9 | 23.67 | 969.359 | 61.2815 | 5.2023
2020-06-19 11:45:00 | 5.753 | 153.2 | 5.762 | 170.3 | 4.979 | 160.423 | 4.864 | 155.6 | 23.83 | 969.656 | 60.634 | 6.3145
2020-06-19 12:00:00 | 5.947 | 149.8 | 5.53 | 170.7 | 5.096 | 160.799 | 4.976 | 153.3 | 24.03 | 969.508 | 59.1684 | 5.9709
2020-06-19 12:15:00 | 5.638 | 148.5 | 5.481 | 167.5 | 4.873 | 157.785 | 4.866 | 148.5 | 24.44 | 969.953 | 56.9871 | 5.1174
2020-06-19 12:30:00 | 6.187 | 147 | 6.028 | 163.4 | 5.656 | 153.923 | 5.485 | 149.9 | 24.45 | 969.804 | 54.3286 | 6.7135
2020-06-19 12:45:00 | 4.267 | 159.3 | 4.115 | 173.9 | 3.47 | 163.814 | 3.557 | 161 | 25.44 | 970.397 | 54.5672 | 5.7196
2020-06-19 13:00:00 | 5.115 | 147.9 | 5.164 | 167.3 | 4.779 | 157.597 | 4.79 | 157.2 | 25.26 | 969.656 | 53.9877 | 8.6829
2020-06-19 13:15:00 | 5.306 | 149.2 | 5.159 | 160.1 | 4.283 | 150.814 | 4.24 | 158.6 | 25.41 | 969.953 | 53.135 | 8.2838
2020-06-19 13:30:00 | 5.063 | 176.5 | 5.072 | 193.1 | 4.781 | 181.9 | 4.754 | 179.6 | 25.68 | 969.804 | 49.5896 | 9.6435
2020-06-19 13:45:00 | 4.992 | 171.8 | 5.046 | 188.2 | 4.519 | 177.284 | 4.502 | 177.4 | 25.63 | 969.359 | 49.178 | 11.4503
2020-06-19 14:00:00 | 5.942 | 143 | 6.049 | 155.9 | 5.32 | 146.858 | 5.256 | 155.3 | 25.17 | 969.359 | 49.7948 | 10.7261
2020-06-19 14:15:00 | 5.669 | 155.4 | 5.634 | 175 | 5.376 | 164.85 | 5.266 | 158.8 | 25.27 | 969.508 | 46.4212 | 9.6583
2020-06-19 14:30:00 | 4.154 | 156.4 | 4.166 | 179.3 | 3.949 | 168.901 | 3.848 | 154.7 | 25.73 | 969.211 | 48.3299 | 10.8222
2020-06-19 14:45:00 | 5.005 | 167.4 | 5.049 | 180.2 | 4.768 | 169.748 | 4.678 | 173.4 | 25.65 | 969.953 | 49.6909 | 11.0698
2020-06-19 15:00:00 | 6.077 | 192.5 | 6.179 | 203.2 | 5.239 | 191.414 | 5.093 | 195.4 | 26.03 | 969.804 | 50.0989 | 14.7572
2020-06-19 15:15:00 | 6.164 | 186.8 | 5.997 | 200.4 | 5.47 | 188.777 | 5.48 | 188.8 | 25.8 | 968.915 | 47.8173 | 17.0074
2020-06-19 15:30:00 | 7.844 | 181.5 | 7.025 | 198 | 6.312 | 186.516 | 6.241 | 182.1 | 25.91 | 968.766 | 47.0632 | 19.0543
2020-06-19 15:45:00 | 6.685 | 177.7 | 6.496 | 193.9 | 6.233 | 182.654 | 6.318 | 179.4 | 25.76 | 969.211 | 47.1012 | 17.0997
2020-06-19 16:00:00 | 6.519 | 180.5 | 6.32 | 199.3 | 5.59 | 187.741 | 5.602 | 181.7 | 26.1 | 969.063 | 45.7038 | 18.8622
2020-06-19 16:15:00 | 7.895 | 184.2 | 6.926 | 203.3 | 5.987 | 191.509 | 6.01 | 183.3 | 26.14 | 968.766 | 45.4641 | 20.8833
2020-06-19 16:30:00 | 6.973 | 179.5 | 6.189 | 199.5 | 5.508 | 187.929 | 5.556 | 180.1 | 25.91 | 968.47 | 43.8978 | 17.7907
2020-06-19 16:45:00 | 5.801 | 188.2 | 5.486 | 202.3 | 4.735 | 190.567 | 4.678 | 186.4 | 25.97 | 968.618 | 43.6918 | 16.6157
2020-06-19 17:00:00 | 6.698 | 183.6 | 6.655 | 197.1 | 6.271 | 185.668 | 6.31 | 188.5 | 25.76 | 968.321 | 46.6929 | 17.5838
2020-06-19 17:15:00 | 6.731 | 174.6 | 6.302 | 192.3 | 5.638 | 181.147 | 5.582 | 179.8 | 25.36 | 968.025 | 51.8746 | 13.9037
2020-06-19 17:30:00 | 6.79 | 183.2 | 6.412 | 199.5 | 5.516 | 187.929 | 5.483 | 185.8 | 25.1 | 967.728 | 52.8289 | 14.2658
2020-06-19 17:45:00 | 6.736 | 181.5 | 6.44 | 195.8 | 6.121 | 184.444 | 6.137 | 185.8 | 25.01 | 967.753 | 52.7607 | 12.3149
2020-06-19 18:00:00 | 6.93 | 180.9 | 6.685 | 195.6 | 6.058 | 184.255 | 6.084 | 185.5 | 24.93 | 968.095 | 53.3061 | 14.203
2020-06-19 18:15:00 | 6.445 | 180.4 | 6.205 | 196.8 | 5.793 | 185.386 | 5.78 | 182.1 | 24.71 | 968.075 | 53.5796 | 13.0022
2020-06-19 18:30:00 | 5.845 | 185.1 | 5.617 | 201.6 | 4.911 | 189.907 | 4.869 | 184.3 | 24.74 | 968.013 | 53.0389 | 9.2999
2020-06-19 18:45:00 | 5.444 | 180 | 5.236 | 194 | 5.056 | 182.748 | 5.098 | 184.4 | 24.55 | 968.023 | 52.7011 | 6.4918
2020-06-19 19:00:00 | 5.171 | 178.4 | 5.005 | 191.9 | 5.071 | 180.77 | 5.113 | 184.4 | 24.44 | 968.318 | 53.9287 | 8.3836
2020-06-19 19:15:00 | 3.935 | 171 | 4.144 | 186.9 | 4.005 | 176.06 | 4.054 | 174 | 24.17 | 967.875 | 56.0446 | 9.3073
2020-06-19 19:30:00 | 5.393 | 174 | 5.213 | 190.7 | 4.967 | 179.639 | 4.95 | 175.8 | 24.08 | 967.43 | 56.6613 | 12.8248
2020-06-19 19:45:00 | 4.987 | 169.8 | 4.757 | 185.1 | 4.473 | 174.364 | 4.558 | 178.3 | 23.92 | 967.578 | 58.4043 | 11.1252
2020-06-19 20:00:00 | 5.227 | 169.6 | 4.944 | 185.2 | 4.74 | 174.458 | 4.668 | 170.9 | 23.87 | 967.43 | 59.5636 | 9.9613
2020-06-19 20:15:00 | 3.917 | 170 | 4.287 | 184.4 | 4.73 | 173.705 | 4.846 | 169.9 | 23.63 | 967.875 | 61.3365 | 13.2904
2020-06-19 20:30:00 | 4.167 | 169 | 4.036 | 177.1 | 3.947 | 166.828 | 3.977 | 171.8 | 23.63 | 967.578 | 62.8026 | 14.5134
2020-06-19 20:45:00 | 4.208 | 166.5 | 4.254 | 179.3 | 4.099 | 168.901 | 4.031 | 169.1 | 23.35 | 967.43 | 63.4845 | 14.4764
2020-06-19 21:00:00 | 5.086 | 154.6 | 5.292 | 167.8 | 5.684 | 158.068 | 5.681 | 159.6 | 23.18 | 967.43 | 64.1691 | 17.6688
2020-06-19 21:15:00 | 5.265 | 156.7 | 5.53 | 169.4 | 5.692 | 159.575 | 5.638 | 163.4 | 23.04 | 967.133 | 63.6304 | 27.8924
2020-06-19 21:30:00 | 5.924 | 148.2 | 6.289 | 166.2 | 7.215 | 156.56 | 7.357 | 154.6 | 22.84 | 966.837 | 64.7228 | 34.0369
2020-06-19 21:45:00 | 7.372 | 151.4 | 7.69 | 167.3 | 8.28 | 157.597 | 8.32 | 158.3 | 23.05 | 966.837 | 62.3018 | 32.7289
2020-06-19 22:00:00 | 6.746 | 154.8 | 6.785 | 170.9 | 7.098 | 160.988 | 6.983 | 162.2 | 22.95 | 966.688 | 61.9949 | 36.5679
2020-06-19 22:15:00 | 7.778 | 152.2 | 8.5 | 168.5 | 8.76 | 158.727 | 8.82 | 158.6 | 22.9 | 966.985 | 61.0401 | 43.4181
2020-06-19 22:30:00 | 8.31 | 151.7 | 8.78 | 167.8 | 8.86 | 158.068 | 8.93 | 157.7 | 22.91 | 966.837 | 62.5405 | 40.6913
2020-06-19 22:45:00 | 8.21 | 153 | 8.41 | 165.4 | 7.576 | 155.807 | 7.497 | 159.9 | 22.8 | 967.133 | 64.2796 | 32.6772
2020-06-19 23:00:00 | 6.92 | 152.4 | 7.317 | 165.4 | 7.042 | 155.807 | 6.858 | 158 | 22.56 | 967.133 | 64.5865 | 29.2817
2020-06-19 23:15:00 | 6.419 | 147.4 | 6.923 | 167 | 8.12 | 157.314 | 8.13 | 151.5 | 22.45 | 966.985 | 64.7229 | 27.0647
2020-06-19 23:30:00 | 6.994 | 148 | 7.01 | 171.1 | 7.665 | 161.176 | 7.645 | 150.8 | 22.3 | 966.574 | 66.9054 | 30.8372
2020-06-19 23:45:00 | 5.6 | 150.9 | 5.908 | 170.2 | 6.689 | 160.328 | 6.664 | 151.6 | 22.22 | 966.869 | 67.792 | 22.1802