## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-20 00:00:00 | 5.408 | 151.1 | 5.747 | 169.1 | 6.289 | 159.292 | 6.379 | 158.8 | 22.24 | 966.983 | 68.4058 | 20.1295
2020-06-20 00:15:00 | 4.428 | 160.6 | 4.76 | 176.9 | 5.674 | 166.64 | 5.76 | 158.2 | 22.19 | 966.974 | 68.27 | 28.0143
2020-06-20 00:30:00 | 6.151 | 151.6 | 7.066 | 169 | 7.945 | 159.198 | 8.06 | 156 | 22.14 | 966.739 | 68.8832 | 27.7594
2020-06-20 00:45:00 | 6.054 | 149.9 | 6.146 | 170.6 | 6.6 | 160.705 | 6.626 | 156.9 | 22.07 | 966.512 | 69.7016 | 24.0534
2020-06-20 01:00:00 | 5.52 | 159.8 | 5.784 | 173.3 | 5.312 | 163.249 | 5.031 | 163 | 22.03 | 966.79 | 70.3837 | 25.7605
2020-06-20 01:15:00 | 6.246 | 180.1 | 6.291 | 198.9 | 5.374 | 187.364 | 5.327 | 178 | 21.94 | 966.81 | 70.3498 | 33.3275
2020-06-20 01:30:00 | 6.555 | 158.1 | 6.486 | 172.4 | 6.358 | 162.401 | 6.323 | 162.3 | 21.79 | 966.768 | 72.4317 | 29.7324
2020-06-20 01:45:00 | 6.276 | 156.2 | 6.501 | 173.2 | 6.325 | 163.154 | 6.252 | 160.5 | 21.61 | 966.828 | 73.5253 | 28.5057
2020-06-20 02:00:00 | 4.78 | 154.5 | 5.588 | 174.5 | 6.564 | 164.379 | 6.529 | 158 | 21.52 | 966.686 | 74.414 | 22.8083
2020-06-20 02:15:00 | 6.452 | 150.7 | 6.481 | 175.5 | 7.251 | 165.321 | 7.319 | 153.6 | 21.49 | 966.378 | 73.9405 | 27.4564
2020-06-20 02:30:00 | 6.504 | 157.5 | 6.913 | 173.4 | 6.724 | 163.343 | 6.679 | 159.7 | 21.46 | 966.686 | 73.8063 | 33.8152
2020-06-20 02:45:00 | 6.634 | 148.8 | 7.133 | 163.6 | 8.29 | 154.111 | 8.3 | 153 | 21.15 | 966.093 | 74.9658 | 33.5455
2020-06-20 03:00:00 | 5.306 | 145 | 5.742 | 167.1 | 6.694 | 157.408 | 6.855 | 147.5 | 21.13 | 966.39 | 74.1469 | 27.1904
2020-06-20 03:15:00 | 5.408 | 148 | 5.849 | 168 | 6.65 | 158.256 | 6.707 | 152.4 | 21.2 | 966.241 | 73.397 | 25.2321
2020-06-20 03:30:00 | 4.989 | 145.5 | 5.801 | 164.5 | 6.923 | 154.959 | 6.873 | 148.4 | 21.18 | 966.093 | 73.6357 | 30.1352
2020-06-20 03:45:00 | 5.453 | 156.3 | 6.038 | 170.9 | 6.582 | 160.988 | 6.685 | 156.3 | 21.16 | 965.945 | 73.5334 | 35.2858
2020-06-20 04:00:00 | 5.269 | 151.5 | 5.673 | 173.1 | 5.936 | 163.06 | 6.028 | 157.1 | 21.08 | 966.241 | 74.4884 | 30.767
2020-06-20 04:15:00 | 4.636 | 152.2 | 5.246 | 172.9 | 5.796 | 162.872 | 5.859 | 154.8 | 20.92 | 966.241 | 76.1937 | 31.6242
2020-06-20 04:30:00 | 7.249 | 144.4 | 7.168 | 165.1 | 8.34 | 155.524 | 8.42 | 149.8 | 20.78 | 965.648 | 76.6712 | 40.5251
2020-06-20 04:45:00 | 6.807 | 148.1 | 7.447 | 162.1 | 8.18 | 152.698 | 8.26 | 150.7 | 20.91 | 965.648 | 77.4897 | 34.5431
2020-06-20 05:00:00 | 7.67 | 143.9 | 8.08 | 160.2 | 8.95 | 150.908 | 8.95 | 150.1 | 20.89 | 965.945 | 77.1487 | 36.5125
2020-06-20 05:15:00 | 5.952 | 142.8 | 6.527 | 162.2 | 7.874 | 152.792 | 7.958 | 147.6 | 20.65 | 965.945 | 78.854 | 37.8833
2020-06-20 05:30:00 | 7.104 | 143 | 7.887 | 159.8 | 8.21 | 150.532 | 8.32 | 150.7 | 20.59 | 965.945 | 79.1951 | 40.5805
2020-06-20 05:45:00 | 7.336 | 148.1 | 7.843 | 163.2 | 8.69 | 153.734 | 8.72 | 152.9 | 20.58 | 966.093 | 79.1951 | 39.7602
2020-06-20 06:00:00 | 7.65 | 147.8 | 8.35 | 165.8 | 8.94 | 156.184 | 8.82 | 152.2 | 20.62 | 966.39 | 79.2633 | 40.1593
2020-06-20 06:15:00 | 6.989 | 146.2 | 7.57 | 164.9 | 7.983 | 155.336 | 7.94 | 154.8 | 20.65 | 966.538 | 79.4675 | 37.4657
2020-06-20 06:30:00 | 8.37 | 146.5 | 9.03 | 163.2 | 9.29 | 153.734 | 9.14 | 153.1 | 20.63 | 966.468 | 78.5014 | 37.0297
2020-06-20 06:45:00 | 7.956 | 145.6 | 8.24 | 163 | 9.22 | 153.546 | 9.29 | 152.1 | 20.73 | 966.732 | 76.249 | 37.3881
2020-06-20 07:00:00 | 7.944 | 146.9 | 8.32 | 164.1 | 8.27 | 154.582 | 8.29 | 154 | 20.7 | 966.541 | 76.7946 | 34.8424
2020-06-20 07:15:00 | 7.609 | 145.2 | 7.915 | 162.6 | 8.58 | 153.169 | 8.44 | 151 | 20.64 | 966.392 | 77.613 | 35.4965
2020-06-20 07:30:00 | 8.29 | 144.4 | 8.53 | 161.6 | 8.68 | 152.227 | 8.54 | 151.9 | 20.79 | 966.837 | 77.5354 | 32.8435
2020-06-20 07:45:00 | 8.27 | 140.7 | 8.17 | 156.1 | 8.13 | 147.046 | 7.971 | 147.7 | 21.13 | 966.688 | 75.3836 | 31.2177
2020-06-20 08:00:00 | 6.968 | 154.6 | 7.23 | 172.7 | 7.085 | 162.683 | 7.242 | 160.9 | 22.06 | 967.282 | 69.5533 | 31.8902
2020-06-20 08:15:00 | 8.41 | 152.8 | 8.31 | 166 | 7.449 | 156.372 | 7.242 | 160.2 | 22.45 | 967.578 | 65.3172 | 32.6033
2020-06-20 08:30:00 | 6.455 | 157.1 | 6.207 | 173.4 | 5.737 | 163.343 | 5.623 | 166.2 | 22.81 | 968.023 | 64.2918 | 28.9528
2020-06-20 08:45:00 | 6.373 | 165 | 6.207 | 176.7 | 5.915 | 166.451 | 5.829 | 170.9 | 22.84 | 967.97 | 63.3317 | 30.3125
2020-06-20 09:00:00 | 6.498 | 161.4 | 6.578 | 175.5 | 6.213 | 165.321 | 6.124 | 168.9 | 23.19 | 967.932 | 62.645 | 27.9035
2020-06-20 09:15:00 | 6.399 | 161.3 | 6.642 | 177.6 | 6.162 | 167.299 | 6.076 | 163.8 | 23.45 | 968.339 | 64.6899 | 29.6474
2020-06-20 09:30:00 | 6.409 | 158.2 | 6.864 | 178.6 | 6.63 | 168.241 | 6.715 | 160.7 | 23.38 | 968.321 | 62.4404 | 29.5735
2020-06-20 09:45:00 | 7.693 | 155 | 7.854 | 169 | 7.444 | 159.198 | 7.286 | 159 | 23.89 | 968.321 | 62.6789 | 30.4307
2020-06-20 10:00:00 | 6.861 | 144.8 | 7.35 | 163.5 | 6.986 | 154.017 | 6.779 | 151.7 | 24.43 | 968.47 | 57.4642 | 32.4703
2020-06-20 10:15:00 | 7.39 | 169.9 | 7.125 | 189.2 | 6.009 | 178.226 | 5.979 | 173.7 | 24.44 | 968.47 | 56.6462 | 35.0478
2020-06-20 10:30:00 | 8.69 | 136.6 | 9.06 | 152.8 | 8.18 | 143.938 | 8.05 | 143.9 | 25.05 | 968.025 | 53.1323 | 32.8767
2020-06-20 10:45:00 | 6.376 | 145.9 | 6.632 | 163.5 | 5.946 | 154.017 | 5.987 | 149.7 | 25.06 | 968.321 | 53.0982 | 27.8185
2020-06-20 11:00:00 | 6.468 | 163.4 | 6.879 | 177.7 | 6.536 | 167.393 | 6.519 | 167 | 25.6 | 968.321 | 53.6788 | 29.1671
2020-06-20 11:15:00 | 4.813 | 153.3 | 5.074 | 170.8 | 4.84 | 160.894 | 4.68 | 157 | 25.42 | 968.025 | 51.9399 | 28.5137
2020-06-20 11:30:00 | 8.98 | 156 | 8.62 | 174.7 | 7.914 | 164.567 | 7.787 | 159.2 | 25.72 | 967.728 | 51.0895 | 29.6437
2020-06-20 11:45:00 | 7.229 | 164.3 | 6.938 | 187.1 | 6.36 | 176.248 | 6.374 | 166.2 | 26.16 | 968.025 | 50.7812 | 34.5209
2020-06-20 12:00:00 | 8.06 | 137.4 | 8.19 | 152.3 | 7.747 | 143.467 | 7.589 | 142.5 | 26.21 | 967.417 | 50.5109 | 33.4014
2020-06-20 12:15:00 | 6.664 | 167.3 | 6.775 | 181.5 | 6.722 | 170.973 | 6.715 | 172.4 | 26.84 | 967.58 | 47.7161 | 41.1311
2020-06-20 12:30:00 | 6.907 | 180.9 | 6.79 | 201.2 | 6.137 | 189.53 | 6.297 | 181.6 | 27.11 | 967.431 | 44.921 | 34.7455
2020-06-20 12:45:00 | 9.26 | 177.7 | 9.04 | 195.9 | 7.912 | 184.538 | 7.8 | 177.5 | 26.91 | 967.283 | 46.1136 | 42.6887
2020-06-20 13:00:00 | 9.39 | 182.4 | 9.14 | 200 | 8.01 | 188.4 | 7.897 | 183.4 | 27.13 | 966.838 | 44.307 | 36.6492
2020-06-20 13:15:00 | 8.53 | 184.6 | 7.987 | 196.4 | 7.337 | 185.009 | 7.37 | 187.3 | 27.22 | 966.837 | 44.2388 | 32.0271
2020-06-20 13:30:00 | 8.89 | 189 | 8.59 | 201.4 | 7.769 | 189.719 | 7.688 | 190.3 | 27.67 | 966.838 | 43.012 | 34.1847
2020-06-20 13:45:00 | 7.298 | 184.5 | 7.03 | 198.4 | 6.109 | 186.893 | 6.005 | 186.9 | 27.68 | 967.267 | 44.0681 | 27.512
2020-06-20 14:00:00 | 6.889 | 153.2 | 7.071 | 168.9 | 6.689 | 159.104 | 6.555 | 160.5 | 27.63 | 967.041 | 43.0772 | 27.7963
2020-06-20 14:15:00 | 6.797 | 151 | 6.258 | 165.7 | 5.842 | 156.089 | 5.674 | 159 | 28.06 | 967.658 | 42.3891 | 26.1859
2020-06-20 14:30:00 | 6.557 | 141 | 6.652 | 157.5 | 6.477 | 148.365 | 6.328 | 142.8 | 28.12 | 967.433 | 41.1925 | 27.5932
2020-06-20 14:45:00 | 7.433 | 153.4 | 7.537 | 169.5 | 7.027 | 159.669 | 6.835 | 157.6 | 28.23 | 967.433 | 41.8399 | 21.8993
2020-06-20 15:00:00 | 7.545 | 138.9 | 7.825 | 156.4 | 7.866 | 147.329 | 7.703 | 145 | 28.06 | 966.989 | 42.9302 | 28.6749
2020-06-20 15:15:00 | 8.98 | 155.8 | 8.65 | 166.7 | 7.673 | 157.031 | 7.665 | 164.2 | 27.97 | 966.84 | 41.6695 | 27.9811
2020-06-20 15:30:00 | 7.402 | 146.1 | 7.629 | 163.2 | 6.991 | 153.734 | 6.804 | 153.7 | 28.37 | 967.582 | 40.954 | 30.3236
2020-06-20 15:45:00 | 6.71 | 147.9 | 6.539 | 167.6 | 5.554 | 157.879 | 5.452 | 151.7 | 28.41 | 967.433 | 41.7717 | 28.9454
2020-06-20 16:00:00 | 8.31 | 154.1 | 8.18 | 169.9 | 7.742 | 160.046 | 7.78 | 161.5 | 27.99 | 967.137 | 42.3162 | 27.363
2020-06-20 16:15:00 | 8.67 | 141.6 | 8.8 | 156.9 | 8.3 | 147.8 | 7.976 | 149.4 | 28.13 | 966.84 | 43.2709 | 31.4099
2020-06-20 16:30:00 | 8.68 | 148.2 | 8.75 | 163.4 | 8.08 | 153.923 | 7.851 | 154.6 | 27.87 | 966.396 | 43.8501 | 34.208
2020-06-20 16:45:00 | 6.506 | 162.8 | 6.836 | 174 | 6.099 | 163.908 | 6.056 | 171.8 | 28.03 | 966.692 | 46.5758 | 30.9654
2020-06-20 17:00:00 | 8.16 | 180.1 | 7.751 | 197.4 | 6.739 | 185.951 | 6.713 | 180.4 | 27.71 | 965.951 | 47.632 | 39.9331
2020-06-20 17:15:00 | 8.56 | 186.4 | 8.12 | 198.8 | 6.742 | 187.27 | 6.733 | 187.1 | 27.6 | 965.803 | 47.4276 | 38.8144
2020-06-20 17:30:00 | 8.58 | 186.7 | 8.16 | 201.1 | 7.162 | 189.436 | 7.161 | 185.3 | 27.53 | 965.358 | 46.9165 | 35.6922
2020-06-20 17:45:00 | 9.31 | 185.1 | 8.84 | 199.2 | 7.876 | 187.646 | 7.833 | 187 | 27.32 | 965.557 | 46.2753 | 34.9754
2020-06-20 18:00:00 | 9.67 | 181.9 | 9.15 | 197.6 | 7.846 | 186.139 | 7.785 | 182.3 | 26.99 | 965.499 | 46.6933 | 44.8443
2020-06-20 18:15:00 | 9.19 | 184.6 | 8.24 | 199.3 | 7.258 | 187.741 | 7.324 | 185.3 | 26.75 | 965.504 | 47.3042 | 38.2453
2020-06-20 18:30:00 | 7.711 | 174.1 | 7.769 | 196.3 | 6.546 | 184.915 | 6.387 | 173.7 | 26.47 | 965.207 | 49.0789 | 32.8583
2020-06-20 18:45:00 | 5.715 | 169.4 | 5.934 | 187.1 | 6.007 | 176.248 | 6.01 | 173.2 | 26.28 | 965.059 | 50.5112 | 20.0002
2020-06-20 19:00:00 | 5.092 | 170.8 | 4.86 | 189.6 | 4.768 | 178.603 | 4.874 | 171.9 | 26.12 | 965.209 | 51.8064 | 19.9189
2020-06-20 19:15:00 | 6.493 | 176 | 6.391 | 194.4 | 6.198 | 183.125 | 6.17 | 175.8 | 26.02 | 964.845 | 52.1472 | 20.7798
2020-06-20 19:30:00 | 5.584 | 170.2 | 5.87 | 183.4 | 5.381 | 172.763 | 5.345 | 174.8 | 25.75 | 965.121 | 52.6945 | 21.988
2020-06-20 19:45:00 | 5.495 | 180.5 | 5.287 | 194.3 | 4.669 | 183.031 | 4.64 | 178.1 | 25.67 | 964.759 | 52.3934 | 20.0815
2020-06-20 20:00:00 | 5.265 | 166.1 | 5.466 | 182.2 | 5.122 | 171.632 | 4.907 | 167.1 | 25.41 | 964.463 | 53.7924 | 20.4214
2020-06-20 20:15:00 | 4.946 | 159.9 | 5.305 | 178.3 | 4.87 | 167.959 | 4.823 | 165.1 | 25.27 | 964.611 | 55.0196 | 17.351
2020-06-20 20:30:00 | 5.418 | 172.1 | 5.151 | 181.6 | 5.127 | 171.067 | 5.174 | 175.9 | 25.16 | 964.463 | 54.2696 | 18.6664
2020-06-20 20:45:00 | 4.251 | 159.7 | 4.52 | 172.2 | 4.016 | 162.212 | 3.837 | 171.9 | 24.99 | 965.057 | 54.8151 | 14.1402
2020-06-20 21:00:00 | 5.6 | 173 | 5.392 | 197.4 | 4.573 | 185.951 | 4.479 | 166.6 | 24.98 | 965.205 | 54.2719 | 14.7794
2020-06-20 21:15:00 | 5.893 | 160.6 | 6.031 | 176 | 6.007 | 165.792 | 6.076 | 164.3 | 24.75 | 965.057 | 55.2975 | 17.0332
2020-06-20 21:30:00 | 6.327 | 159.6 | 6.384 | 175.3 | 5.954 | 165.133 | 5.943 | 165.1 | 24.71 | 965.205 | 56.1866 | 17.2882
2020-06-20 21:45:00 | 5.357 | 158.1 | 6.146 | 168.1 | 6.195 | 158.35 | 6.081 | 164.7 | 24.37 | 965.057 | 57.8925 | 15.8878
2020-06-20 22:00:00 | 5.725 | 157.5 | 5.706 | 170.9 | 5.394 | 160.988 | 5.302 | 164.8 | 24.15 | 965.205 | 58.7794 | 22.0545
2020-06-20 22:15:00 | 6.807 | 158 | 7.151 | 172.9 | 6.839 | 162.872 | 6.883 | 160.6 | 24.2 | 964.76 | 58.984 | 28.0919
2020-06-20 22:30:00 | 7.104 | 155.5 | 6.951 | 171.9 | 7.317 | 161.93 | 7.354 | 161.5 | 24.1 | 964.908 | 57.5179 | 35.0641
2020-06-20 22:45:00 | 5.97 | 150.3 | 6.552 | 166.9 | 7.001 | 157.22 | 7.036 | 156.2 | 23.73 | 964.76 | 58.9158 | 32.2966
2020-06-20 23:00:00 | 6.777 | 154.1 | 7.283 | 169.4 | 7.294 | 159.575 | 7.393 | 159.6 | 23.87 | 964.76 | 56.2564 | 31.7978
2020-06-20 23:15:00 | 7.012 | 148.7 | 7.549 | 164.8 | 8.05 | 155.242 | 8.09 | 155.8 | 23.77 | 964.76 | 56.0862 | 31.8533
2020-06-20 23:30:00 | 6.881 | 151.6 | 7.654 | 167.8 | 8.53 | 158.068 | 8.61 | 157.1 | 23.59 | 964.612 | 57.0065 | 42.2395
2020-06-20 23:45:00 | 7.844 | 151.3 | 7.92 | 167.2 | 7.973 | 157.502 | 7.894 | 156.7 | 23.52 | 964.463 | 57.8938 | 44.9367