## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-21 00:00:00 | 6.963 | 150.4 | 7.258 | 167.4 | 7.614 | 157.691 | 7.533 | 156.1 | 23.34 | 964.612 | 59.261 | 36.8081
2020-06-21 00:15:00 | 8.47 | 152.6 | 8.62 | 168.4 | 8.57 | 158.633 | 8.58 | 156.5 | 23.18 | 964.463 | 60.2542 | 40.9943
2020-06-21 00:30:00 | 7.132 | 145.9 | 7.45 | 160.5 | 7.782 | 151.191 | 7.739 | 152.3 | 23.04 | 964.315 | 61.5854 | 36.0949
2020-06-21 00:45:00 | 6.504 | 144.3 | 7.007 | 159 | 7.833 | 149.778 | 7.787 | 149.5 | 22.84 | 964.315 | 62.0972 | 31.7609
2020-06-21 01:00:00 | 7.173 | 141 | 7.583 | 152.8 | 8.53 | 143.938 | 8.53 | 147.8 | 23.12 | 964.315 | 60.1534 | 34.1664
2020-06-21 01:15:00 | 8.56 | 140.8 | 8.88 | 157.1 | 9.33 | 147.988 | 9.35 | 146.6 | 22.96 | 963.87 | 60.6308 | 36.4681
2020-06-21 01:30:00 | 8.42 | 139.4 | 8.49 | 154.3 | 9.18 | 145.351 | 9.2 | 145.9 | 23.04 | 963.722 | 61.4493 | 36.6713
2020-06-21 01:45:00 | 10.04 | 139.6 | 10.1 | 154.1 | 10.46 | 145.162 | 10.42 | 146.6 | 23.02 | 963.276 | 61.4493 | 38.5077
2020-06-21 02:00:00 | 9.72 | 135.9 | 10.23 | 149.6 | 10.17 | 140.923 | 10.01 | 143.8 | 23.02 | 963.276 | 61.9949 | 41.2012
2020-06-21 02:15:00 | 9.47 | 136.7 | 9.67 | 153.2 | 9.65 | 144.314 | 9.6 | 140.4 | 22.79 | 963.276 | 62.9838 | 46.5128
2020-06-21 02:30:00 | 9.63 | 134.9 | 10.09 | 151 | 10.53 | 142.242 | 10.29 | 142.3 | 22.73 | 962.98 | 64.1773 | 56.0434
2020-06-21 02:45:00 | 9.43 | 139.8 | 9.57 | 158.3 | 10.07 | 149.119 | 10.12 | 143.3 | 22.49 | 962.98 | 65.9505 | 54.5913
2020-06-21 03:00:00 | 8.43 | 130.8 | 8.44 | 147.4 | 8.63 | 138.851 | 8.56 | 134.3 | 22.61 | 963.276 | 64.8252 | 44.6855
2020-06-21 03:15:00 | 8.45 | 129.4 | 8.63 | 145 | 8.8 | 136.59 | 8.69 | 135.3 | 22.47 | 963.425 | 66.1551 | 43.141
2020-06-21 03:30:00 | 9.1 | 132.5 | 9.47 | 146.8 | 9.89 | 138.286 | 9.89 | 138.5 | 22.37 | 963.425 | 67.11 | 49.958
2020-06-21 03:45:00 | 9.81 | 132.3 | 10.2 | 147.8 | 10.15 | 139.228 | 10.01 | 138 | 22.35 | 963.579 | 66.8031 | 46.544
2020-06-21 04:00:00 | 9.9 | 134.1 | 10.23 | 148.9 | 10.52 | 140.264 | 10.36 | 140.8 | 22.19 | 963.319 | 67.2464 | 47.1462
2020-06-21 04:15:00 | 8.89 | 133.8 | 9.02 | 151.1 | 9.75 | 142.336 | 9.61 | 140.3 | 22.18 | 963.455 | 68.133 | 43.9095
2020-06-21 04:30:00 | 7.504 | 132.5 | 7.383 | 152.2 | 7.97 | 143.372 | 7.999 | 137.2 | 22.06 | 963.725 | 68.6786 | 44.6522
2020-06-21 04:45:00 | 7.778 | 131.5 | 8.15 | 146.3 | 8.51 | 137.815 | 8.43 | 136.7 | 22.06 | 963.506 | 69.4288 | 45.188
2020-06-21 05:00:00 | 7.425 | 135 | 8.01 | 152.5 | 8.53 | 143.655 | 8.46 | 139.6 | 21.91 | 964.276 | 69.9744 | 42.7124
2020-06-21 05:15:00 | 6.547 | 136.5 | 7.301 | 150.4 | 8.36 | 141.677 | 8.43 | 140.3 | 21.83 | 963.827 | 71.2708 | 43.9317
2020-06-21 05:30:00 | 7.627 | 140.4 | 7.746 | 153.7 | 8.37 | 144.785 | 8.43 | 144.8 | 21.74 | 963.589 | 71.477 | 46.8396
2020-06-21 05:45:00 | 8.55 | 136.1 | 8.95 | 152.6 | 9.06 | 143.749 | 8.96 | 143.5 | 21.72 | 963.587 | 72.4983 | 47.9148
2020-06-21 06:00:00 | 8.93 | 138.6 | 9.55 | 153.5 | 10.15 | 144.597 | 10.04 | 146.4 | 21.72 | 963.618 | 72.9071 | 48.081
2020-06-21 06:15:00 | 8.42 | 139.9 | 8.55 | 153.9 | 8.87 | 144.974 | 8.85 | 145.6 | 21.67 | 964.02 | 74.1688 | 45.5057
2020-06-21 06:30:00 | 7.308 | 141.5 | 7.255 | 156.7 | 7.622 | 147.611 | 7.67 | 146.1 | 21.72 | 964.315 | 74.5439 | 39.5016
2020-06-21 06:45:00 | 6.733 | 134.7 | 6.9 | 148 | 7.022 | 139.416 | 6.947 | 142 | 21.72 | 964.612 | 74.2632 | 34.6761
2020-06-21 07:00:00 | 5.015 | 137.6 | 5.448 | 152.4 | 5.865 | 143.561 | 5.763 | 142.2 | 21.92 | 965.057 | 75.1449 | 25.5572
2020-06-21 07:15:00 | 6.659 | 143.5 | 6.568 | 160.3 | 6.859 | 151.003 | 6.898 | 150.9 | 22.01 | 965.205 | 74.8035 | 27.7594
2020-06-21 07:30:00 | 5.513 | 135.2 | 6.107 | 149.6 | 6.5 | 140.923 | 6.394 | 139.5 | 22.09 | 965.65 | 74.7931 | 28.491
2020-06-21 07:45:00 | 6.463 | 135.1 | 6.634 | 151.1 | 6.305 | 142.336 | 6.183 | 142.1 | 22.2 | 965.642 | 75.0639 | 25.1656
2020-06-21 08:00:00 | 5.709 | 139.4 | 5.918 | 156 | 5.6 | 146.952 | 5.508 | 144.3 | 22.41 | 965.352 | 75.2344 | 20.5988
2020-06-21 08:15:00 | 5.829 | 137.9 | 6.102 | 155 | 5.839 | 146.01 | 5.661 | 143.7 | 22.53 | 965.597 | 76.348 | 17.7057
2020-06-21 08:30:00 | 6.082 | 142.3 | 5.918 | 160.6 | 5.636 | 151.285 | 5.475 | 145 | 22.59 | 965.289 | 76.6871 | 14.7424
2020-06-21 08:45:00 | 5.117 | 137.2 | 5.013 | 160.5 | 4.593 | 151.191 | 4.484 | 143.1 | 23.24 | 965.505 | 73.8241 | 10.7742
2020-06-21 09:00:00 | 6.437 | 144.8 | 6.276 | 163.3 | 6.104 | 153.829 | 5.938 | 147.1 | 23.14 | 965.652 | 74.5058 | 12.9393
2020-06-21 09:15:00 | 6.417 | 144.4 | 6.299 | 161.4 | 5.539 | 152.039 | 5.485 | 148.2 | 23.38 | 965.356 | 73.0735 | 15.6883
2020-06-21 09:30:00 | 6.481 | 130 | 6.872 | 146.9 | 6.437 | 138.38 | 6.239 | 134.9 | 23.51 | 965.059 | 73.2073 | 11.7976
2020-06-21 09:45:00 | 5.515 | 147.6 | 5.228 | 163.8 | 4.789 | 154.3 | 4.612 | 152.9 | 24.37 | 965.652 | 70.6148 | 7.8663
2020-06-21 10:00:00 | 4.07 | 122.3 | 4.54 | 145.7 | 4.191 | 137.249 | 4.118 | 132.2 | 24.75 | 966.097 | 67.1778 | 6.5325
2020-06-21 10:15:00 | 5.625 | 124.7 | 5.813 | 140 | 5.59 | 131.88 | 5.48 | 130.2 | 25.03 | 965.924 | 60.8282 | 5.4314
2020-06-21 10:30:00 | 5.658 | 138.3 | 5.683 | 155.5 | 5.053 | 146.481 | 4.818 | 143.6 | 25.08 | 966.262 | 63.0351 | 6.0522
2020-06-21 10:45:00 | 4.504 | 132.8 | 4.627 | 151.4 | 4.283 | 142.619 | 4.107 | 137.4 | 25.72 | 965.655 | 61.7036 | 5.158
2020-06-21 11:00:00 | 5.875 | 152.4 | 5.691 | 171.1 | 5.453 | 161.176 | 5.342 | 155 | 25.74 | 966.248 | 60.6474 | 5.7861
2020-06-21 11:15:00 | 5.278 | 127.6 | 5.683 | 144.9 | 5.814 | 136.496 | 5.656 | 131.4 | 26.03 | 966.248 | 54.9915 | 6.6766
2020-06-21 11:30:00 | 5.863 | 152 | 5.895 | 167.8 | 5.361 | 158.068 | 5.195 | 156 | 26.16 | 965.951 | 55.5707 | 7.5079
2020-06-21 11:45:00 | 6.062 | 146.5 | 5.921 | 163.9 | 5.409 | 154.394 | 5.233 | 151.4 | 26.4 | 965.803 | 54.1056 | 9.3738
2020-06-21 12:00:00 | 5.549 | 135.9 | 5.637 | 154.1 | 5.48 | 145.162 | 5.274 | 144.9 | 26.86 | 965.951 | 54.5826 | 10.9996
2020-06-21 12:15:00 | 3.179 | 118.8 | 3.299 | 129.2 | 3.146 | 121.706 | 3.01 | 123 | 26.76 | 965.954 | 52.5724 | 7.4155
2020-06-21 12:30:00 | 5.852 | 152.4 | 6.118 | 168.7 | 5.427 | 158.915 | 5.299 | 158.5 | 27.3 | 965.956 | 51.5171 | 8.2506
2020-06-21 12:45:00 | 6.281 | 149.5 | 6.02 | 168.8 | 5.521 | 159.01 | 5.391 | 152.8 | 27.31 | 965.803 | 48.9608 | 9.8763
2020-06-21 13:00:00 | 5.551 | 149.3 | 5.76 | 169 | 5.348 | 159.198 | 5.223 | 157 | 27.34 | 965.506 | 50.3918 | 9.1928
2020-06-21 13:15:00 | 6.264 | 139.8 | 6.542 | 155.7 | 6.238 | 146.669 | 6.081 | 144 | 27.46 | 965.803 | 48.5179 | 11.1215
2020-06-21 13:30:00 | 5.084 | 133.4 | 5.077 | 151.4 | 4.809 | 142.619 | 4.612 | 139.1 | 27.79 | 965.951 | 47.0528 | 9.0265
2020-06-21 13:45:00 | 5.891 | 133.4 | 6.151 | 149.2 | 6.307 | 140.546 | 6.157 | 138.7 | 27.92 | 966.099 | 43.9523 | 10.3456
2020-06-21 14:00:00 | 5.715 | 151.6 | 5.757 | 171.1 | 5.618 | 161.176 | 5.381 | 154.8 | 28.35 | 966.544 | 38.8757 | 10.7557
2020-06-21 14:15:00 | 5.102 | 135.7 | 5.095 | 153 | 4.753 | 144.126 | 4.601 | 143.7 | 28.54 | 966.396 | 39.1823 | 9.5401
2020-06-21 14:30:00 | 5.291 | 130.6 | 5.645 | 144.5 | 5.592 | 136.119 | 5.536 | 138.6 | 28.66 | 966.692 | 38.6365 | 8.1989
2020-06-21 14:45:00 | 5.725 | 145.3 | 5.916 | 166.8 | 5.455 | 157.126 | 5.388 | 149.8 | 29.05 | 966.099 | 39.6876 | 15.8915
2020-06-21 15:00:00 | 3.419 | 127.5 | 4.4 | 160.1 | 4.323 | 150.814 | 4.326 | 125.2 | 29.24 | 966.544 | 39.0054 | 14.6242
2020-06-21 15:15:00 | 4.956 | 135 | 5.059 | 148.1 | 4.824 | 139.51 | 4.596 | 144.7 | 28.65 | 966.248 | 36.5866 | 10.6485
2020-06-21 15:30:00 | 4.545 | 131.6 | 5.167 | 149.1 | 4.918 | 140.452 | 4.795 | 136.6 | 28.69 | 965.506 | 38.0525 | 13.6894
2020-06-21 15:45:00 | 5.079 | 145.2 | 5.287 | 162.2 | 4.957 | 152.792 | 4.828 | 148.5 | 28.29 | 965.21 | 37.8193 | 9.5364
2020-06-21 16:00:00 | 5.531 | 130.7 | 5.686 | 146.9 | 5.727 | 138.38 | 5.638 | 135.2 | 28.14 | 965.21 | 40.3407 | 12.1819
2020-06-21 16:15:00 | 4.834 | 137.8 | 4.873 | 158.4 | 4.277 | 149.213 | 4.224 | 139.7 | 28.06 | 965.358 | 42.3169 | 13.368
2020-06-21 16:30:00 | 5.301 | 133.1 | 5.369 | 150.6 | 5.526 | 141.865 | 5.406 | 137 | 28 | 965.062 | 42.2487 | 17.4508
2020-06-21 16:45:00 | 6.851 | 133.2 | 7 | 150.4 | 6.925 | 141.677 | 6.835 | 136.4 | 27.91 | 965.21 | 42.4191 | 24.1865
2020-06-21 17:00:00 | 6.823 | 134.2 | 6.956 | 152.5 | 6.533 | 143.655 | 6.44 | 137.1 | 27.85 | 965.358 | 43.816 | 28.1436
2020-06-21 17:15:00 | 7.007 | 141 | 6.92 | 158.4 | 6.633 | 149.213 | 6.427 | 145.1 | 27.56 | 965.506 | 44.7019 | 28.236
2020-06-21 17:30:00 | 6.332 | 133.5 | 6.511 | 150.2 | 6.401 | 141.488 | 6.341 | 137.6 | 27.44 | 965.062 | 44.9063 | 27.7594
2020-06-21 17:45:00 | 7.724 | 140.8 | 7.657 | 161 | 6.859 | 151.662 | 6.621 | 143.6 | 27.13 | 964.913 | 45.9966 | 28.4134
2020-06-21 18:00:00 | 6.419 | 139.1 | 6.703 | 158.5 | 6.582 | 149.307 | 6.415 | 142.8 | 26.85 | 964.943 | 46.8831 | 26.7913
2020-06-21 18:15:00 | 6.166 | 142.4 | 6.614 | 163.1 | 6.399 | 153.64 | 6.31 | 148.1 | 26.68 | 965.216 | 47.1642 | 25.8898
2020-06-21 18:30:00 | 6.215 | 131 | 6.424 | 147.5 | 6.518 | 138.945 | 6.364 | 134.7 | 26.46 | 964.902 | 47.9189 | 28.3321
2020-06-21 18:45:00 | 6.715 | 130.4 | 6.979 | 146.5 | 7.223 | 138.003 | 7.077 | 135.1 | 26.32 | 965.059 | 47.031 | 27.0463
2020-06-21 19:00:00 | 7.624 | 136.3 | 7.91 | 153.6 | 7.96 | 144.691 | 7.838 | 139.4 | 26.18 | 964.318 | 48.807 | 26.7248
2020-06-21 19:15:00 | 7.578 | 133 | 7.841 | 149.9 | 7.68 | 141.206 | 7.507 | 138.4 | 25.95 | 964.318 | 49.7614 | 25.4686
2020-06-21 19:30:00 | 5.148 | 137.6 | 5.55 | 156.3 | 5.895 | 147.235 | 5.908 | 144.5 | 25.67 | 964.305 | 51.6701 | 21.7479
2020-06-21 19:45:00 | 6.634 | 144.6 | 6.77 | 160.4 | 6.892 | 151.097 | 6.753 | 146.9 | 25.42 | 964.28 | 51.9509 | 20.547
2020-06-21 20:00:00 | 5.715 | 135.6 | 5.992 | 150.7 | 6.322 | 141.959 | 6.198 | 141.7 | 25.52 | 964.314 | 52.9061 | 22.7529
2020-06-21 20:15:00 | 5.771 | 142.2 | 6.1 | 156.8 | 6.381 | 147.706 | 6.259 | 148.7 | 25.22 | 964.315 | 53.656 | 27.6596
2020-06-21 20:30:00 | 5.643 | 137.2 | 6 | 154.3 | 6.152 | 145.351 | 6.129 | 141.3 | 25.09 | 964.612 | 54.8151 | 30.6931
2020-06-21 20:45:00 | 6.777 | 137.9 | 7.066 | 155.2 | 7.2 | 146.198 | 7.14 | 144.4 | 25 | 963.87 | 55.9064 | 28.9565
2020-06-21 21:00:00 | 6.504 | 137.1 | 6.713 | 153.9 | 6.79 | 144.974 | 6.674 | 142.6 | 24.72 | 964.315 | 57.8881 | 31.9419
2020-06-21 21:15:00 | 7.39 | 133.6 | 7.705 | 150.2 | 8.18 | 141.488 | 8.04 | 137.1 | 24.66 | 964.315 | 58.5029 | 36.8302
2020-06-21 21:30:00 | 7.05 | 132.2 | 7.102 | 153.1 | 7.375 | 144.22 | 7.362 | 136.1 | 24.44 | 964.463 | 59.6656 | 36.4275
2020-06-21 21:45:00 | 6.864 | 131.8 | 7.432 | 147.9 | 7.759 | 139.322 | 7.622 | 137.2 | 24.41 | 964.167 | 60.0749 | 38.6629
2020-06-21 22:00:00 | 8.3 | 130 | 8.59 | 147.7 | 8.57 | 139.133 | 8.48 | 135.9 | 24.56 | 964.167 | 59.8704 | 35.7033
2020-06-21 22:15:00 | 6.858 | 134 | 7.189 | 154.3 | 7.342 | 145.351 | 7.283 | 138.3 | 24.38 | 964.612 | 61.5411 | 28.4244
2020-06-21 22:30:00 | 8.42 | 132.6 | 8.52 | 153.5 | 7.612 | 144.597 | 7.632 | 135.7 | 24.23 | 964.315 | 62.8708 | 27.4675
2020-06-21 22:45:00 | 5.063 | 133.1 | 5.98 | 160.1 | 5.173 | 150.814 | 5.014 | 134.4 | 23.83 | 963.87 | 64.2346 | 31.1217
2020-06-21 23:00:00 | 6.493 | 130.6 | 6.678 | 151.5 | 6.91 | 142.713 | 7.008 | 133.3 | 23.6 | 963.87 | 66.2121 | 27.2717
2020-06-21 23:15:00 | 4.861 | 133.9 | 5.202 | 157.3 | 4.756 | 148.177 | 4.68 | 138.8 | 23.25 | 964.018 | 69.6556 | 24.4488
2020-06-21 23:30:00 | 6.325 | 133 | 6.813 | 152.8 | 7.182 | 143.938 | 7.036 | 135.7 | 22.98 | 964.018 | 72.0794 | 28.1141
2020-06-21 23:45:00 | 7.073 | 125.4 | 7.623 | 144.3 | 8.01 | 135.931 | 8.06 | 129.7 | 22.83 | 964.018 | 74.2011 | 37.0999