## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-22 00:00:00 | 7.691 | 125.8 | 7.843 | 148.4 | 8.66 | 139.793 | 8.72 | 129.4 | 22.61 | 964.018 | 76.5216 | 39.9265
2020-06-22 00:15:00 | 8.56 | 128 | 8.58 | 145.4 | 8.94 | 136.967 | 8.92 | 131.3 | 22.34 | 963.722 | 78.0903 | 36.4533
2020-06-22 00:30:00 | 6.475 | 121.3 | 7.041 | 139.9 | 7.426 | 131.786 | 7.471 | 126.3 | 22.01 | 963.87 | 81.8414 | 31.7166
2020-06-22 00:45:00 | 6.399 | 122.2 | 6.977 | 138.8 | 7.937 | 130.75 | 7.907 | 126.5 | 21.79 | 963.87 | 82.8985 | 27.5155
2020-06-22 01:00:00 | 6.289 | 119.7 | 6.951 | 140.2 | 7.642 | 132.068 | 7.711 | 126.3 | 21.74 | 964.178 | 83.5464 | 26.8948
2020-06-22 01:15:00 | 7.497 | 124.3 | 7.923 | 138.8 | 8.12 | 130.75 | 8.02 | 132 | 21.62 | 963.929 | 83.9897 | 28.7718
2020-06-22 01:30:00 | 7.098 | 125.4 | 7.468 | 141.6 | 7.97 | 133.387 | 7.948 | 132.1 | 21.39 | 963.713 | 85.291 | 29.2447
2020-06-22 01:45:00 | 6.33 | 125 | 6.969 | 141 | 7.668 | 132.822 | 7.678 | 131 | 21.17 | 963.719 | 85.8752 | 26.0893
2020-06-22 02:00:00 | 7.476 | 126.2 | 7.741 | 141.9 | 7.902 | 133.67 | 7.864 | 132.5 | 21.08 | 963.719 | 86.2874 | 27.1386
2020-06-22 02:15:00 | 7.101 | 121.6 | 7.273 | 138.9 | 7.767 | 130.844 | 7.795 | 127.8 | 20.9 | 963.719 | 85.9481 | 27.497
2020-06-22 02:30:00 | 7.058 | 125.1 | 7.534 | 140.9 | 8.19 | 132.728 | 8.15 | 129.4 | 20.91 | 963.57 | 86.0163 | 22.0841
2020-06-22 02:45:00 | 6.749 | 120.7 | 7.071 | 139.1 | 7.296 | 131.032 | 7.268 | 125.9 | 20.62 | 964.016 | 87.2442 | 20.8833
2020-06-22 03:00:00 | 5.301 | 127.5 | 5.89 | 143 | 6.208 | 134.706 | 6.254 | 132.3 | 20.45 | 963.867 | 87.7899 | 16.8042
2020-06-22 03:15:00 | 6.09 | 129.6 | 6.358 | 145.3 | 6.549 | 136.873 | 6.496 | 134.6 | 20.25 | 963.719 | 87.8581 | 17.2808
2020-06-22 03:30:00 | 5.138 | 120 | 5.435 | 135.1 | 5.826 | 127.264 | 5.811 | 125.9 | 20.16 | 963.867 | 88.1309 | 15.777
2020-06-22 03:45:00 | 4.392 | 110.1 | 4.931 | 125.4 | 5.249 | 118.127 | 5.325 | 119.8 | 20.01 | 963.867 | 88.6085 | 17.0739
2020-06-22 04:00:00 | 4.203 | 118.3 | 4.786 | 132.7 | 5.369 | 125.003 | 5.36 | 125.2 | 19.78 | 963.57 | 87.2525 | 19.8672
2020-06-22 04:15:00 | 6.304 | 121 | 6.632 | 138.1 | 7.185 | 130.09 | 7.095 | 127.1 | 19.7 | 963.732 | 86.9855 | 25.8713
2020-06-22 04:30:00 | 6.539 | 112.2 | 6.959 | 130.7 | 7.678 | 123.119 | 7.683 | 118.6 | 19.38 | 963.589 | 88.0778 | 26.5068
2020-06-22 04:45:00 | 6.284 | 116.9 | 6.826 | 132.7 | 7.729 | 125.003 | 7.874 | 122 | 19.18 | 963.691 | 88.3848 | 29.9874
2020-06-22 05:00:00 | 5.837 | 113 | 6.056 | 134.7 | 6.928 | 126.887 | 6.977 | 117.2 | 19.04 | 963.836 | 87.4637 | 36.3758
2020-06-22 05:15:00 | 5.789 | 110.1 | 6.151 | 129.7 | 6.635 | 122.177 | 6.797 | 120.4 | 18.84 | 963.815 | 87.1226 | 39.5718
2020-06-22 05:30:00 | 4.982 | 104.5 | 5.645 | 115.6 | 6.241 | 108.895 | 6.496 | 112.3 | 18.75 | 964.004 | 86.3722 | 42.8122
2020-06-22 05:45:00 | 5.61 | 110.3 | 5.903 | 127.6 | 6.299 | 120.199 | 6.402 | 115.2 | 18.74 | 963.988 | 87.0885 | 47.2164
2020-06-22 06:00:00 | 6.156 | 116.3 | 6.972 | 132.6 | 7.637 | 124.909 | 7.729 | 121.2 | 18.86 | 964.151 | 85.8264 | 45.0513
2020-06-22 06:15:00 | 6.23 | 111.3 | 6.678 | 125.7 | 7.134 | 118.409 | 7.375 | 119.7 | 19.17 | 963.765 | 83.5056 | 44.9145
2020-06-22 06:30:00 | 5.635 | 122.7 | 5.565 | 142.9 | 6.2 | 134.612 | 6.236 | 124.4 | 19.23 | 964.313 | 83.0155 | 44.4083
2020-06-22 06:45:00 | 7.241 | 124.8 | 7.406 | 145.5 | 6.839 | 137.061 | 6.758 | 130 | 19.41 | 964.164 | 81.7164 | 54.6209
2020-06-22 07:00:00 | 8.44 | 135.4 | 8.64 | 153.2 | 8.71 | 144.314 | 8.64 | 139.3 | 19.32 | 964.204 | 81.3641 | 52.3781
2020-06-22 07:15:00 | 8.07 | 129.4 | 8.1 | 150 | 8.14 | 141.3 | 8.05 | 132.9 | 19.46 | 964.474 | 80.682 | 48.1291
2020-06-22 07:30:00 | 8.02 | 127.1 | 8.4 | 143.3 | 8.54 | 134.989 | 8.42 | 131 | 19.48 | 964.615 | 80.5797 | 49.4851
2020-06-22 07:45:00 | 8.16 | 128.8 | 8.12 | 145.9 | 8.07 | 137.438 | 7.988 | 132.5 | 19.67 | 964.467 | 80.6138 | 45.8235
2020-06-22 08:00:00 | 7.635 | 134.9 | 7.759 | 152 | 7.48 | 143.184 | 7.252 | 137.3 | 19.78 | 964.76 | 79.8636 | 39.2356
2020-06-22 08:15:00 | 7.87 | 145.3 | 8.09 | 162.5 | 7.312 | 153.075 | 7.186 | 149 | 20.2 | 964.764 | 77.8858 | 40.8687
2020-06-22 08:30:00 | 7.512 | 140.7 | 7.57 | 158.9 | 6.554 | 149.684 | 6.336 | 145.3 | 20.61 | 964.908 | 77.8769 | 39.7824
2020-06-22 08:45:00 | 6.889 | 133.6 | 7.161 | 153.5 | 6.933 | 144.597 | 6.827 | 137.7 | 20.84 | 964.76 | 74.1221 | 36.2612
2020-06-22 09:00:00 | 8.75 | 138.9 | 8.52 | 156.4 | 8.33 | 147.329 | 8.17 | 142 | 21.12 | 965.205 | 72.6901 | 33.8115
2020-06-22 09:15:00 | 7.198 | 141.8 | 7.332 | 158.6 | 7.474 | 149.401 | 7.334 | 146.6 | 21.48 | 965.502 | 71.2473 | 29.6844
2020-06-22 09:30:00 | 7.193 | 149.5 | 7.071 | 167.6 | 6.554 | 157.879 | 6.443 | 156.8 | 22.01 | 965.798 | 69.4733 | 21.3045
2020-06-22 09:45:00 | 7.111 | 144.1 | 7.207 | 162.2 | 6.841 | 152.792 | 6.687 | 148.9 | 22.1 | 965.65 | 67.428 | 20.6172
2020-06-22 10:00:00 | 5.332 | 133.8 | 5.798 | 148.3 | 5.923 | 139.699 | 5.816 | 142.4 | 22.54 | 966.332 | 65.1344 | 19.0691
2020-06-22 10:15:00 | 6.243 | 138.4 | 6.36 | 156.5 | 5.908 | 147.423 | 5.78 | 141.2 | 22.44 | 966.23 | 66.1554 | 16.6231
2020-06-22 10:30:00 | 7.824 | 147.6 | 7.764 | 164.6 | 7.266 | 155.053 | 7.138 | 150.3 | 22.69 | 965.956 | 64.5535 | 13.8372
2020-06-22 10:45:00 | 6.759 | 148.1 | 6.593 | 165 | 6.419 | 155.43 | 6.234 | 153.6 | 23.09 | 966.097 | 61.6905 | 14.506
2020-06-22 11:00:00 | 6.149 | 148.4 | 6.189 | 165.6 | 5.648 | 155.995 | 5.472 | 152.9 | 23.58 | 966.246 | 62.4744 | 13.6968
2020-06-22 11:15:00 | 5.49 | 148.7 | 5.384 | 163.3 | 5.063 | 153.829 | 5.045 | 152 | 24.06 | 966.542 | 60.0545 | 13.0539
2020-06-22 11:30:00 | 5 | 148.8 | 4.942 | 170.3 | 4.445 | 160.423 | 4.255 | 151 | 23.98 | 966.542 | 58.2822 | 10.2828
2020-06-22 11:45:00 | 5.107 | 135.5 | 5.294 | 151 | 4.916 | 142.242 | 4.803 | 135.5 | 24.57 | 966.542 | 56.7143 | 9.4921
2020-06-22 12:00:00 | 5.258 | 132.4 | 5.762 | 148.6 | 5.305 | 139.981 | 5.106 | 138.5 | 24.84 | 966.394 | 56.5091 | 12.2189
2020-06-22 12:15:00 | 7.042 | 146.2 | 7.084 | 166.7 | 6.889 | 157.031 | 6.799 | 151 | 25.45 | 966.097 | 50.4082 | 14.3803
2020-06-22 12:30:00 | 6.013 | 130.4 | 5.982 | 154.2 | 5.727 | 145.256 | 5.809 | 131.6 | 25.45 | 965.949 | 51.7034 | 10.0906
2020-06-22 12:45:00 | 3.752 | 142.1 | 4.155 | 163.2 | 4.359 | 153.734 | 4.23 | 145.5 | 25.9 | 966.245 | 50.1022 | 14.2141
2020-06-22 13:00:00 | 6.79 | 147.5 | 6.78 | 163.7 | 6.666 | 154.205 | 6.542 | 151 | 25.62 | 966.394 | 47.5117 | 17.5173
2020-06-22 13:15:00 | 7.88 | 153.8 | 7.552 | 170.1 | 7.289 | 160.234 | 7.146 | 156.2 | 26.18 | 966.394 | 48.1591 | 22.5525
2020-06-22 13:30:00 | 7.423 | 148.9 | 7.276 | 163.9 | 6.778 | 154.394 | 6.644 | 155.4 | 26.55 | 966.245 | 46.417 | 19.1171
2020-06-22 13:45:00 | 7.622 | 151 | 7.491 | 172.2 | 6.9 | 162.212 | 6.853 | 154.9 | 26.44 | 966.394 | 47.1671 | 23.3588
2020-06-22 14:00:00 | 7.218 | 150.8 | 7.069 | 168.7 | 6.862 | 158.915 | 6.758 | 155.9 | 26.8 | 966.394 | 47.3742 | 22.2947
2020-06-22 14:15:00 | 5.605 | 134.5 | 6.327 | 153.2 | 6.315 | 144.314 | 6.18 | 142 | 26.99 | 966.987 | 47.9196 | 29.4331
2020-06-22 14:30:00 | 5.268 | 125.2 | 5.969 | 151.8 | 5.6 | 142.996 | 5.554 | 124.7 | 27.48 | 966.898 | 45.8636 | 22.888
2020-06-22 14:45:00 | 7.004 | 145.7 | 7.181 | 163.2 | 7.04 | 153.734 | 6.942 | 150.9 | 26.85 | 966.248 | 48.8245 | 30.0871
2020-06-22 15:00:00 | 6.8 | 135.6 | 6.979 | 151.7 | 7.098 | 142.901 | 6.975 | 138.9 | 26.73 | 966.248 | 48.9949 | 24.7407
2020-06-22 15:15:00 | 7.757 | 138.5 | 7.905 | 154.5 | 7.391 | 145.539 | 7.27 | 143 | 26.7 | 966.396 | 48.4157 | 23.2775
2020-06-22 15:30:00 | 5.592 | 144.2 | 6.054 | 160 | 5.542 | 150.72 | 5.279 | 148.8 | 26.8 | 966.248 | 47.7343 | 26.6879
2020-06-22 15:45:00 | 7.152 | 137.7 | 7.375 | 155.4 | 7.2 | 146.387 | 7.079 | 141.2 | 26.31 | 965.803 | 50.2215 | 29.2262
2020-06-22 16:00:00 | 7.584 | 148.7 | 7.8 | 164 | 7.487 | 154.488 | 7.308 | 153.2 | 26.13 | 965.761 | 51.7618 | 25.7642
2020-06-22 16:15:00 | 7.576 | 142 | 7.56 | 157.9 | 7.375 | 148.742 | 7.255 | 147.6 | 26.02 | 965.942 | 52.4175 | 26.6177
2020-06-22 16:30:00 | 8.03 | 151 | 8.1 | 166.1 | 7.775 | 156.466 | 7.604 | 157.3 | 25.83 | 966.095 | 52.2478 | 24.7333
2020-06-22 16:45:00 | 7.714 | 148.3 | 7.682 | 163.6 | 7.146 | 154.111 | 7.059 | 155.7 | 25.77 | 965.78 | 52.8265 | 25.7826
2020-06-22 17:00:00 | 8.16 | 142.2 | 8.15 | 158 | 7.864 | 148.836 | 7.757 | 147.2 | 25.47 | 965.652 | 53.2354 | 30.5785
2020-06-22 17:15:00 | 8.01 | 140.8 | 8.08 | 158.7 | 7.942 | 149.495 | 7.775 | 147.1 | 25.3 | 965.355 | 54.3274 | 29.4073
2020-06-22 17:30:00 | 7.354 | 153 | 7.158 | 169.7 | 7.207 | 159.857 | 7.184 | 156 | 25.22 | 964.614 | 53.7832 | 26.5179
2020-06-22 17:45:00 | 5.812 | 137.2 | 5.934 | 156.5 | 5.946 | 147.423 | 5.849 | 144.3 | 25.17 | 964.679 | 53.7832 | 24.1902
2020-06-22 18:00:00 | 6.567 | 141.2 | 6.816 | 158.4 | 6.691 | 149.213 | 6.555 | 148.7 | 25.02 | 964.829 | 53.9888 | 23.2738
2020-06-22 18:15:00 | 6.984 | 149.7 | 7.191 | 168.8 | 6.775 | 159.01 | 6.738 | 156.4 | 24.91 | 964.76 | 55.4281 | 24.1532
2020-06-22 18:30:00 | 5.817 | 150.6 | 6.159 | 168.9 | 5.923 | 159.104 | 5.862 | 153.9 | 24.78 | 964.908 | 56.5195 | 24.2973
2020-06-22 18:45:00 | 7.208 | 152.9 | 7.294 | 167 | 6.826 | 157.314 | 6.598 | 159.4 | 24.51 | 964.458 | 58.4285 | 25.8196
2020-06-22 19:00:00 | 6.521 | 152.3 | 6.453 | 170.4 | 7.09 | 160.517 | 6.975 | 157.4 | 24.32 | 964.612 | 59.1103 | 35.6675
2020-06-22 19:15:00 | 7.208 | 169.4 | 6.782 | 187 | 5.399 | 176.154 | 5.416 | 169.3 | 23.87 | 964.463 | 63.34 | 42.9969
2020-06-22 19:30:00 | 8.66 | 147.9 | 8.6 | 165 | 8.43 | 155.43 | 8.22 | 152 | 22.4 | 964.167 | 72.8943 | 36.5309
2020-06-22 19:45:00 | 5.52 | 144.4 | 5.795 | 158.1 | 6.203 | 148.93 | 6.066 | 149.1 | 21.61 | 963.87 | 79.7136 | 29.4664
2020-06-22 20:00:00 | 4.726 | 133.5 | 5.271 | 149.2 | 5.605 | 140.546 | 5.572 | 138.1 | 21.6 | 963.722 | 76.1807 | 23.0041
2020-06-22 20:15:00 | 5.531 | 140.2 | 5.854 | 160.9 | 5.239 | 151.568 | 4.955 | 137.5 | 22.11 | 963.885 | 69.7016 | 19.9189
2020-06-22 20:30:00 | 5.426 | 137.5 | 5.57 | 151 | 5.689 | 142.242 | 5.592 | 144.6 | 22.24 | 964.057 | 71.4749 | 25.1102
2020-06-22 20:45:00 | 5.633 | 133.2 | 6.097 | 148.6 | 6.083 | 139.981 | 6.033 | 136.8 | 22.2 | 963.998 | 75.5328 | 24.2419
2020-06-22 21:00:00 | 4.548 | 133.9 | 4.85 | 149.6 | 4.964 | 140.923 | 4.808 | 140 | 21.45 | 964.097 | 82.5244 | 18.5555
2020-06-22 21:15:00 | 5.061 | 133.1 | 5.1 | 151 | 5.44 | 142.242 | 5.345 | 136.7 | 21.43 | 964.164 | 82.9459 | 18.1712
2020-06-22 21:30:00 | 4.042 | 134.6 | 4.599 | 149.6 | 5.224 | 140.923 | 5.174 | 141 | 21.54 | 964.312 | 83.2871 | 14.5577
2020-06-22 21:45:00 | 4.798 | 125.9 | 5.305 | 140.8 | 5.745 | 132.634 | 5.681 | 129 | 21.57 | 964.164 | 81.7858 | 16.8005
2020-06-22 22:00:00 | 5.477 | 136.3 | 6.054 | 156.4 | 5.623 | 147.329 | 5.447 | 137 | 21.73 | 964.312 | 81.2721 | 16.0947
2020-06-22 22:15:00 | 6.35 | 143 | 6.534 | 158.7 | 6.348 | 149.495 | 6.213 | 147.2 | 21.71 | 964.312 | 82.6366 | 18.973
2020-06-22 22:30:00 | 7.001 | 135.1 | 7.145 | 153.9 | 7.029 | 144.974 | 6.98 | 139.8 | 21.59 | 964.164 | 84.3717 | 17.4618
2020-06-22 22:45:00 | 6.779 | 135.8 | 7.143 | 152.2 | 7.294 | 143.372 | 7.143 | 141 | 21.45 | 964.312 | 84.9166 | 8.8787
2020-06-22 23:00:00 | 6.026 | 128 | 6.123 | 145.9 | 6.025 | 137.438 | 5.852 | 131.6 | 21.33 | 964.312 | 85.5995 | 8.742
2020-06-22 23:15:00 | 2.911 | 106.9 | 3.287 | 123.8 | 3.652 | 116.62 | 3.736 | 113 | 21.22 | 964.164 | 86.7227 | 6.0004
2020-06-22 23:30:00 | 2.561 | 129.6 | 3.185 | 146.8 | 3.181 | 138.286 | 3.203 | 127.5 | 21.12 | 964.164 | 87.3731 | 2.9152
2020-06-22 23:45:00 | 3.337 | 127.3 | 3.776 | 148.1 | 3.7 | 139.51 | 3.618 | 130.2 | 21.05 | 964.016 | 87.9931 | 2.9448