## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-23 00:00:00 | 1.69 | 117.3 | 2.321 | 126.7 | 2.482 | 119.351 | 2.33 | 127.7 | 20.95 | 963.719 | 88.5696 | 2.1282
2020-06-23 00:15:00 | 2.266 | 112.1 | 2.807 | 121.9 | 2.622 | 114.83 | 2.498 | 121.9 | 20.8 | 963.57 | 90.1068 | 2.9596
2020-06-23 00:30:00 | 3.411 | 135 | 3.781 | 161.2 | 3.222 | 151.85 | 2.997 | 132 | 20.78 | 963.719 | 89.9719 | 4.5705
2020-06-23 00:45:00 | 4.89 | 130.9 | 4.903 | 145.7 | 4.931 | 137.249 | 4.904 | 136.3 | 20.66 | 963.274 | 89.7681 | 7.9624
2020-06-23 01:00:00 | 4.951 | 129.6 | 4.995 | 149.9 | 5.122 | 141.206 | 5.065 | 132.4 | 20.61 | 963.274 | 90.723 | 8.9822
2020-06-23 01:15:00 | 6.036 | 136.6 | 6.644 | 154.5 | 6.887 | 145.539 | 6.832 | 140.8 | 20.56 | 963.125 | 90.2455 | 11.8974
2020-06-23 01:30:00 | 5.017 | 148.8 | 5.356 | 166 | 5.198 | 156.372 | 5.034 | 153.5 | 20.49 | 963.125 | 91.7462 | 11.4392
2020-06-23 01:45:00 | 6.948 | 138.9 | 6.933 | 161.9 | 6.439 | 152.51 | 6.308 | 143.4 | 20.36 | 962.68 | 92.2919 | 13.7079
2020-06-23 02:00:00 | 6.792 | 138.8 | 6.915 | 157.2 | 6.47 | 148.082 | 6.241 | 141.4 | 20.3 | 962.68 | 92.8717 | 13.8002
2020-06-23 02:15:00 | 6.294 | 143.8 | 6.274 | 162.2 | 5.895 | 152.792 | 5.638 | 144.8 | 20.23 | 962.828 | 93.3833 | 11.8198
2020-06-23 02:30:00 | 4.897 | 131.8 | 5.351 | 150 | 5.503 | 141.3 | 5.294 | 135.2 | 20.21 | 962.68 | 93.0423 | 8.827
2020-06-23 02:45:00 | 4.042 | 138.7 | 4.374 | 154.8 | 4.295 | 145.822 | 4.097 | 140.3 | 20.17 | 962.532 | 93.588 | 7.1902
2020-06-23 03:00:00 | 4.027 | 136.2 | 3.97 | 155.5 | 3.502 | 146.481 | 3.272 | 137.1 | 20.04 | 962.383 | 94.3383 | 1.6996
2020-06-23 03:15:00 | 0.257 | 96.5 | 0.833 | 99.1 | 0.975 | 93.3522 | 0.742 | 99.7 | 20.1 | 962.383 | 93.7926 | -0.40274
2020-06-23 03:30:00 | 1.048 | 117.9 | 1.631 | 140 | 1.627 | 131.88 | 1.368 | 113.6 | 20.06 | 962.383 | 94.4065 | -0.073897
2020-06-23 03:45:00 | 2.755 | 122.8 | 3.075 | 140.9 | 3.141 | 132.728 | 3.081 | 124.8 | 20 | 962.532 | 94.7481 | 0.83134
2020-06-23 04:00:00 | 0.71 | 104.3 | 2.113 | 116.5 | 2.825 | 109.743 | 2.905 | 107.6 | 19.88 | 962.087 | 95.9505 | 0.99391
2020-06-23 04:15:00 | 0.777 | 94 | 2.735 | 103.9 | 3.53 | 97.8738 | 3.478 | 99.9 | 19.71 | 961.966 | 96.8074 | 0.36949
2020-06-23 04:30:00 | 0.063 | 219.8 | 0.551 | 266.7 | 0.319 | 251.231 | 0.118 | 25 | 19.76 | 962.236 | 96.5372 | -0.018474
2020-06-23 04:45:00 | 1.197 | 4.864 | 1.718 | 21.05 | 1.51 | 19.8291 | 1.238 | 22 | 19.76 | 962.25 | 96.1272 | -0.2882
2020-06-23 05:00:00 | 1.255 | 6.141 | 2.492 | 26.88 | 2.393 | 25.321 | 1.973 | 13.79 | 19.75 | 962.126 | 97.3563 | -0.27711
2020-06-23 05:15:00 | 0.683 | 18.16 | 2.735 | 27.89 | 3.074 | 26.2724 | 2.938 | 12.21 | 19.59 | 962.405 | 98.482 | -0.24016
2020-06-23 05:30:00 | 0.753 | 17.35 | 2.042 | 29.58 | 1.938 | 27.8644 | 1.672 | 27.86 | 19.57 | 962.122 | 97.3563 | -0.25864
2020-06-23 05:45:00 | 1.457 | 7.832 | 2.316 | 19.84 | 2.576 | 18.6893 | 2.098 | 17.56 | 19.76 | 962.384 | 96.8787 | -0.19213
2020-06-23 06:00:00 | 2.468 | 4.156 | 2.94 | 11.81 | 2.94 | 11.125 | 2.348 | 16.18 | 19.7 | 962.255 | 98.0367 | -0.19213
2020-06-23 06:15:00 | 0.736 | 16.31 | 2.633 | 33.48 | 3.001 | 31.5382 | 2.926 | 20.37 | 19.69 | 962.414 | 98.7886 | -0.14779
2020-06-23 06:30:00 | 0.737 | 24.75 | 2.538 | 43.96 | 3.375 | 41.4103 | 3.354 | 31.17 | 19.65 | 962.384 | 99.2948 | -0.044338
2020-06-23 06:45:00 | 1.68 | 33.18 | 4.019 | 44.26 | 4.913 | 41.6929 | 4.95 | 40.81 | 19.55 | 962.087 | 99.6651 | 0.54684
2020-06-23 07:00:00 | 1.661 | 24.97 | 3.564 | 37.65 | 4.066 | 35.4663 | 3.921 | 29.06 | 19.8 | 962.68 | 98.9771 | 0.8572
2020-06-23 07:15:00 | 1.439 | 28.85 | 3.103 | 38.16 | 3.474 | 35.9467 | 3.483 | 38.39 | 20.23 | 962.384 | 96.794 | 0.23278
2020-06-23 07:30:00 | 1.408 | 13.78 | 2.858 | 22.92 | 2.95 | 21.5906 | 2.658 | 21.46 | 20.42 | 962.532 | 95.3616 | 0.14779
2020-06-23 07:45:00 | 3.401 | 8.02 | 4.458 | 20.45 | 4.374 | 19.2639 | 3.855 | 14.19 | 20.53 | 962.384 | 93.4516 | 0.92371
2020-06-23 08:00:00 | 4.614 | 6.198 | 4.709 | 15.82 | 4.585 | 14.9024 | 4.191 | 7.368 | 20.58 | 962.384 | 94.4699 | 1.5334
2020-06-23 08:15:00 | 4.144 | 8.91 | 4.862 | 22.97 | 4.415 | 21.6377 | 3.937 | 10.37 | 20.61 | 962.339 | 94.3939 | 2.1208
2020-06-23 08:30:00 | 3.751 | 10.6 | 4.947 | 25.74 | 4.611 | 24.2471 | 4.306 | 15.69 | 20.94 | 962.694 | 93.3675 | 3.3069
2020-06-23 08:45:00 | 3.71 | 14.38 | 4.499 | 29.04 | 4.621 | 27.3557 | 4.517 | 11.9 | 21.35 | 962.541 | 89.2754 | 3.4399
2020-06-23 09:00:00 | 4.494 | 8.36 | 5.358 | 25.57 | 5.053 | 24.0869 | 4.892 | 7.567 | 21.45 | 962.535 | 86.9565 | 2.9707
2020-06-23 09:15:00 | 2.973 | 15.7 | 5.399 | 32.65 | 5.109 | 30.7563 | 4.943 | 19.6 | 21.71 | 962.683 | 85.4561 | 4.1752
2020-06-23 09:30:00 | 4.468 | 14.41 | 7.67 | 29.1 | 7.05 | 27.4122 | 6.639 | 19.53 | 22.05 | 962.683 | 73.7937 | 6.3958
2020-06-23 09:45:00 | 4.604 | 8.66 | 6.148 | 26.41 | 5.801 | 24.8782 | 5.778 | 4.892 | 22.32 | 962.683 | 72.0856 | 6.7431
2020-06-23 10:00:00 | 4.075 | 16.85 | 5.836 | 32.44 | 5.292 | 30.5585 | 5.034 | 21.05 | 22.2 | 963.425 | 73.338 | 5.2725
2020-06-23 10:15:00 | 2.787 | 32.52 | 5.036 | 49.73 | 4.875 | 46.8457 | 4.683 | 32.62 | 22.68 | 963.277 | 70.6444 | 7.3121
2020-06-23 10:30:00 | 3.358 | 23.06 | 5.351 | 35.35 | 5.239 | 33.2997 | 5.083 | 30.69 | 23.02 | 963.573 | 70.7112 | 8.3393
2020-06-23 10:45:00 | 3.258 | 20.05 | 5.379 | 31.92 | 5.366 | 30.0686 | 4.991 | 22.46 | 23.3 | 963.573 | 68.8939 | 5.7344
2020-06-23 11:00:00 | 3.971 | 15.9 | 5.57 | 29.6 | 5.282 | 27.8832 | 4.955 | 21.37 | 23.39 | 963.722 | 64.2228 | 5.2282
2020-06-23 11:15:00 | 3.987 | 16.33 | 5.844 | 31.29 | 5.559 | 29.4752 | 5.363 | 23.54 | 23.53 | 963.366 | 62.1339 | 5.0287
2020-06-23 11:30:00 | 2.961 | 25.77 | 4.663 | 40.62 | 4.766 | 38.264 | 4.55 | 26.57 | 23.7 | 963.292 | 61.1452 | 2.9042
2020-06-23 11:45:00 | 2.991 | 17.82 | 4.259 | 31.96 | 3.927 | 30.1063 | 3.519 | 14.11 | 23.5 | 963.132 | 63.6674 | 2.4386
2020-06-23 12:00:00 | 2.529 | 20.27 | 4.752 | 38.48 | 4.14 | 36.2482 | 3.865 | 18.05 | 23.65 | 963.133 | 62.4404 | 3.3254
2020-06-23 12:15:00 | 3.902 | 12.27 | 5.66 | 29.05 | 4.857 | 27.3651 | 4.436 | 15.86 | 23.58 | 962.625 | 63.94 | 6.0706
2020-06-23 12:30:00 | 3.254 | 14.47 | 4.934 | 25.24 | 4.918 | 23.7761 | 4.589 | 14.63 | 23.61 | 962.755 | 65.9168 | 7.5818
2020-06-23 12:45:00 | 4.188 | 14.36 | 5.537 | 28.02 | 4.941 | 26.3948 | 4.734 | 13.85 | 23.55 | 962.791 | 67.7613 | 9.4514
2020-06-23 13:00:00 | 3.95 | 14.43 | 5.624 | 30.43 | 5.292 | 28.6651 | 4.955 | 18.81 | 23.38 | 962.68 | 70.4945 | 12.714
2020-06-23 13:15:00 | 4.08 | 14.05 | 6.793 | 29.49 | 5.77 | 27.7796 | 5.37 | 12.8 | 23.58 | 962.683 | 69.5756 | 21.0865
2020-06-23 13:30:00 | 4.449 | 16.75 | 7.199 | 31.48 | 6.154 | 29.6542 | 5.852 | 13.67 | 23.44 | 962.831 | 74.7217 | 24.822
2020-06-23 13:45:00 | 4.815 | 4.027 | 6.555 | 28.43 | 6.088 | 26.7811 | 6.048 | 358 | 23.02 | 962.087 | 76.1851 | 29.5772
2020-06-23 14:00:00 | 6.465 | 2.775 | 6.547 | 23.77 | 6.475 | 22.3913 | 6.733 | 0.974 | 22.58 | 962.055 | 80.9272 | 22.0324
2020-06-23 14:15:00 | 5.097 | 8.69 | 6.524 | 28.97 | 5.961 | 27.2897 | 5.984 | 1.048 | 22.54 | 962.386 | 82.0521 | 22.9339
2020-06-23 14:30:00 | 6.271 | 9.93 | 7.365 | 26.61 | 6.157 | 25.0666 | 5.755 | 11.96 | 22.09 | 962.09 | 84.1316 | 22.8341
2020-06-23 14:45:00 | 4.778 | 14.35 | 8.12 | 31.4 | 7.454 | 29.5788 | 6.814 | 16.59 | 22.01 | 961.793 | 82.4708 | 30.4307
2020-06-23 15:00:00 | 6.91 | 9.48 | 8.32 | 26.46 | 6.859 | 24.9253 | 6.407 | 12.37 | 21.62 | 961.942 | 84.0767 | 35.1195
2020-06-23 15:15:00 | 6.519 | 11.29 | 8.63 | 27.1 | 7.706 | 25.5282 | 7.11 | 17.57 | 21.53 | 961.497 | 82.5776 | 31.033
2020-06-23 15:30:00 | 4.451 | 14.37 | 7.501 | 29.41 | 6.923 | 27.7042 | 6.511 | 19.8 | 21.66 | 961.497 | 81.4183 | 25.0954
2020-06-23 15:45:00 | 5.086 | 12.61 | 7.253 | 27.74 | 6.343 | 26.1311 | 5.915 | 18.97 | 21.72 | 961.793 | 80.5319 | 20.4436
2020-06-23 16:00:00 | 5.337 | 13.16 | 6.91 | 31.02 | 5.844 | 29.2208 | 5.747 | 12.39 | 21.65 | 961.942 | 83.6004 | 21.9474
2020-06-23 16:15:00 | 5.934 | 7.066 | 7.225 | 23.54 | 6.233 | 22.1747 | 5.921 | 9.61 | 20.97 | 961.052 | 86.8053 | 18.4188
2020-06-23 16:30:00 | 5.186 | 11.59 | 6.954 | 24.78 | 6.416 | 23.3428 | 5.778 | 11.66 | 21.02 | 961.645 | 86.4017 | 15.9913
2020-06-23 16:45:00 | 5.383 | 9.63 | 6.591 | 27.7 | 5.88 | 26.0934 | 5.559 | 11.78 | 21.17 | 961.348 | 85.5896 | 18.7994
2020-06-23 17:00:00 | 5.921 | 12.99 | 7.918 | 28.68 | 7.182 | 27.0166 | 6.735 | 13.13 | 21.3 | 960.903 | 84.5009 | 24.9845
2020-06-23 17:15:00 | 4.941 | 18.14 | 8.85 | 34.43 | 8.23 | 32.4331 | 7.848 | 20.47 | 21.35 | 961.052 | 83.4777 | 28.1843
2020-06-23 17:30:00 | 6.631 | 11.65 | 9.81 | 30.01 | 8.42 | 28.2694 | 7.329 | 13.98 | 21.34 | 960.607 | 82.8644 | 23.684
2020-06-23 17:45:00 | 4.744 | 15.73 | 7.585 | 32.96 | 6.467 | 31.0483 | 5.949 | 14.11 | 21.45 | 960.903 | 82.2506 | 22.8896
2020-06-23 18:00:00 | 6.473 | 9.76 | 7.884 | 28.03 | 6.999 | 26.4043 | 6.898 | 8.55 | 21.4 | 960.607 | 81.5686 | 22.6605
2020-06-23 18:15:00 | 5.605 | 8.43 | 6.736 | 21.37 | 6.778 | 20.1305 | 6.758 | 5.519 | 21.42 | 960.922 | 81.9778 | 25.8602
2020-06-23 18:30:00 | 4.642 | 11.55 | 6.749 | 30.8 | 5.564 | 29.0136 | 5.241 | 8.41 | 21.39 | 960.635 | 82.1824 | 22.0915
2020-06-23 18:45:00 | 5.222 | 7.929 | 6.041 | 23.14 | 6.129 | 21.7979 | 6.364 | 2.271 | 21.31 | 960.998 | 81.4322 | 24.4451
2020-06-23 19:00:00 | 5.37 | 3.797 | 5.68 | 22.72 | 6.03 | 21.4022 | 6.119 | 2.382 | 21.07 | 960.902 | 83.41 | 21.1234
2020-06-23 19:15:00 | 6.008 | 6.997 | 6.355 | 21.28 | 6.073 | 20.0458 | 6.193 | 8.18 | 20.96 | 960.881 | 84.638 | 17.1958
2020-06-23 19:30:00 | 4.287 | 17.01 | 7.363 | 31.51 | 7.179 | 29.6824 | 6.555 | 21.45 | 20.85 | 960.897 | 85.6683 | 11.587
2020-06-23 19:45:00 | 4.368 | 22.09 | 6.961 | 35.5 | 7.185 | 33.441 | 6.993 | 26.02 | 20.78 | 960.603 | 86.8673 | 8.5388
2020-06-23 20:00:00 | 3.051 | 17.97 | 5.08 | 31.61 | 4.982 | 29.7766 | 4.866 | 23.27 | 20.74 | 960.9 | 87.7214 | 5.1247
2020-06-23 20:15:00 | 3.922 | 9.92 | 4.962 | 24.47 | 4.603 | 23.0507 | 4.095 | 15.47 | 20.64 | 960.9 | 88.3356 | 4.3451
2020-06-23 20:30:00 | 3.771 | 6.317 | 4.517 | 22.99 | 4.336 | 21.6566 | 3.98 | 9.21 | 20.56 | 960.9 | 89.1882 | 4.8329
2020-06-23 20:45:00 | 4.109 | 1.453 | 4.456 | 18.3 | 4.804 | 17.2386 | 4.861 | 3.91 | 20.51 | 961.196 | 90.2455 | 5.3169
2020-06-23 21:00:00 | 5.051 | 5.808 | 5.057 | 21.48 | 4.621 | 20.2342 | 4.357 | 7.752 | 20.37 | 961.196 | 90.5184 | 5.158
2020-06-23 21:15:00 | 4.737 | 0.63 | 4.492 | 10.89 | 4.547 | 10.2584 | 4.505 | 5.222 | 20.27 | 961.196 | 91.678 | 6.6249
2020-06-23 21:30:00 | 4.223 | 350.9 | 4.129 | 14.73 | 4.936 | 13.8757 | 4.904 | 351 | 20.12 | 961.196 | 92.8376 | 9.0561
2020-06-23 21:45:00 | 3.09 | 353.1 | 3.939 | 26.94 | 4.842 | 25.3775 | 4.971 | 344.3 | 20.03 | 961.196 | 93.5198 | 11.9602
2020-06-23 22:00:00 | 3.43 | 348.4 | 4.098 | 22.48 | 4.883 | 21.1762 | 5.024 | 347.2 | 19.84 | 961.345 | 95.1569 | 12.2484
2020-06-23 22:15:00 | 4.548 | 3.547 | 4.76 | 21.71 | 5.28 | 20.4508 | 5.495 | 3.184 | 19.67 | 961.345 | 96.798 | 9.3258
2020-06-23 22:30:00 | 4.068 | 12.6 | 5.778 | 28.13 | 5.806 | 26.4985 | 4.772 | 16.45 | 19.48 | 961.048 | 97.7599 | 8.0289
2020-06-23 22:45:00 | 3.247 | 13.26 | 5.455 | 28.07 | 5.702 | 26.4419 | 5.027 | 18.27 | 19.47 | 960.91 | 98.242 | 5.3464
2020-06-23 23:00:00 | 2.917 | 16.33 | 5.164 | 31.13 | 5.262 | 29.3245 | 4.981 | 21.22 | 19.44 | 961.23 | 98.5843 | 3.8389
2020-06-23 23:15:00 | 3.199 | 19.54 | 5.88 | 33.75 | 6.015 | 31.7925 | 5.844 | 25.59 | 19.47 | 961.101 | 98.5839 | 3.7503
2020-06-23 23:30:00 | 4.014 | 354.5 | 4.149 | 5.732 | 4.682 | 5.3995 | 4.716 | 359.6 | 19.49 | 961.253 | 98.5158 | 3.0556
2020-06-23 23:45:00 | 3.181 | 357.4 | 3.561 | 23.1 | 4.071 | 21.7602 | 4.23 | 356.9 | 19.37 | 961.323 | 98.9937 | 2.9522