## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-24 00:00:00 | 3.123 | 357 | 3.249 | 14.68 | 4.12 | 13.8286 | 4.095 | 358.7 | 19.29 | 961.003 | 99.3689 | 2.8192
2020-06-24 00:15:00 | 3.68 | 350 | 3.824 | 5.203 | 4.687 | 4.9012 | 4.566 | 352.9 | 19.23 | 961.092 | 99.6077 | 5.2578
2020-06-24 00:30:00 | 4.239 | 3.676 | 4.238 | 18.7 | 4.837 | 17.6154 | 5.024 | 5.251 | 19.15 | 960.755 | 99.8806 | 7.0498
2020-06-24 00:45:00 | 4.4 | 5.39 | 4.686 | 23.35 | 4.519 | 21.9957 | 4.321 | 5.653 | 19.02 | 960.786 | 99.9147 | 7.8146
2020-06-24 01:00:00 | 4.41 | 354 | 4.53 | 10.58 | 5.44 | 9.9664 | 5.765 | 358.1 | 18.92 | 961.147 | 99.8806 | 8.1434
2020-06-24 01:15:00 | 2.001 | 346.9 | 3.004 | 18.35 | 4.504 | 17.2857 | 4.624 | 343.6 | 18.88 | 961.164 | 99.9147 | 9.093
2020-06-24 01:30:00 | 4.308 | 358.4 | 4.896 | 18.96 | 5.465 | 17.8603 | 5.696 | 358.5 | 18.82 | 961.018 | 99.8806 | 8.9637
2020-06-24 01:45:00 | 4.959 | 359 | 5.149 | 22.46 | 5.999 | 21.1573 | 6.275 | 356.2 | 18.74 | 961.04 | 99.8806 | 18.6516
2020-06-24 02:00:00 | 6.496 | 4.205 | 6.557 | 24.81 | 6.727 | 23.371 | 6.865 | 5.022 | 18.64 | 960.45 | 99.9147 | 22.1617
2020-06-24 02:15:00 | 5.475 | 9.71 | 6.772 | 26.65 | 6.485 | 25.1043 | 5.582 | 16.27 | 18.54 | 960.302 | 99.8806 | 10.6596
2020-06-24 02:30:00 | 6.315 | 2.991 | 6.033 | 15.23 | 6.411 | 14.3467 | 6.478 | 4.373 | 18.42 | 960.292 | 99.8806 | 16.6933
2020-06-24 02:45:00 | 5.845 | 10.93 | 7.041 | 27.54 | 6.582 | 25.9427 | 6.056 | 15.49 | 18.44 | 960.302 | 99.8806 | 9.6251
2020-06-24 03:00:00 | 5.171 | 12.16 | 6.772 | 28.76 | 6.091 | 27.0919 | 5.737 | 15.54 | 18.34 | 960.302 | 99.8806 | 6.4549
2020-06-24 03:15:00 | 4.103 | 8.15 | 5.519 | 24.78 | 5.587 | 23.3428 | 5.172 | 11.67 | 18.22 | 960.302 | 99.8806 | 6.4771
2020-06-24 03:30:00 | 5.209 | 7.318 | 5.962 | 22.53 | 5.778 | 21.2233 | 5.322 | 14.17 | 18.17 | 960.302 | 99.9147 | 9.1226
2020-06-24 03:45:00 | 6.154 | 6.012 | 6.44 | 22.61 | 6.36 | 21.2986 | 6.122 | 11.43 | 18.14 | 960.302 | 99.8806 | 11.7607
2020-06-24 04:00:00 | 4.765 | 13.65 | 7.396 | 27.99 | 7.706 | 26.3666 | 7.158 | 19.55 | 18.07 | 960.302 | 99.8806 | 10.7926
2020-06-24 04:15:00 | 5.278 | 10.26 | 7.235 | 25.04 | 6.986 | 23.5877 | 6.394 | 17.85 | 17.99 | 960.302 | 99.9147 | 7.6372
2020-06-24 04:30:00 | 4.752 | 9.79 | 6.621 | 25.59 | 6.821 | 24.1058 | 6.366 | 14.87 | 18 | 960.302 | 99.8806 | 8.2802
2020-06-24 04:45:00 | 4.382 | 15.05 | 7.033 | 29.24 | 7.101 | 27.5441 | 6.634 | 20.44 | 17.92 | 960.302 | 99.8806 | 6.3145
2020-06-24 05:00:00 | 3.687 | 13.39 | 5.885 | 27.2 | 6.063 | 25.6224 | 5.449 | 19.14 | 17.89 | 960.599 | 99.8807 | 5.9561
2020-06-24 05:15:00 | 5.112 | 9.55 | 5.985 | 22.33 | 6.897 | 21.0349 | 6.091 | 16.79 | 17.88 | 960.896 | 99.8806 | 8.0991
2020-06-24 05:30:00 | 4.548 | 12.88 | 5.944 | 26.16 | 6.541 | 24.6427 | 5.997 | 18.74 | 17.92 | 960.896 | 99.9148 | 5.9228
2020-06-24 05:45:00 | 3.519 | 18.69 | 5.532 | 32.29 | 5.781 | 30.4172 | 5.768 | 24.86 | 17.93 | 961.044 | 99.8806 | 4.1789
2020-06-24 06:00:00 | 3.113 | 22.34 | 5.215 | 36.92 | 5.806 | 34.7786 | 5.893 | 27.45 | 18.06 | 961.341 | 99.9148 | 2.7009
2020-06-24 06:15:00 | 2.85 | 21.9 | 4.036 | 33.49 | 4.16 | 31.5476 | 4.166 | 30.12 | 18.28 | 961.623 | 99.8806 | 0.92741
2020-06-24 06:30:00 | 4.251 | 356.1 | 4.167 | 8.81 | 4.277 | 8.299 | 4.054 | 1.999 | 18.87 | 962.147 | 97.5597 | 0.92371
2020-06-24 06:45:00 | 3.889 | 7.112 | 3.648 | 16.87 | 3.782 | 15.8915 | 3.69 | 5.087 | 19.19 | 961.939 | 95.2935 | 1.9952
2020-06-24 07:00:00 | 2.7 | 356.3 | 3.53 | 22.6 | 3.934 | 21.2892 | 3.977 | 349.9 | 19.49 | 962.384 | 96.5149 | 3.6099
2020-06-24 07:15:00 | 3.202 | 8 | 4.244 | 33.55 | 4.209 | 31.6041 | 4.09 | 3.137 | 19.44 | 962.101 | 95.891 | 3.6653
2020-06-24 07:30:00 | 4.057 | 13.78 | 5.593 | 34.02 | 4.499 | 32.0468 | 4.438 | 11.03 | 19.19 | 962.09 | 95.9591 | 4.0569
2020-06-24 07:45:00 | 3.68 | 14.29 | 4.361 | 33.39 | 4.036 | 31.4534 | 3.921 | 10.12 | 19.3 | 961.793 | 95.5499 | 2.9411
2020-06-24 08:00:00 | 3.208 | 15.28 | 4.678 | 35.53 | 4.224 | 33.4693 | 4.125 | 15.82 | 19.9 | 962.09 | 92.5775 | 1.6996
2020-06-24 08:15:00 | 2.591 | 5.125 | 3.584 | 32.43 | 3.199 | 30.5491 | 3.193 | 2.163 | 20.51 | 962.832 | 89.0556 | 4.323
2020-06-24 08:30:00 | 3.608 | 17.51 | 4.757 | 38.8 | 3.363 | 36.5496 | 3.178 | 8.1 | 21.13 | 963.128 | 86.2515 | 8.2395
2020-06-24 08:45:00 | 3.489 | 14.81 | 4.681 | 32.76 | 4.417 | 30.8599 | 4.428 | 5.653 | 21.77 | 963.425 | 83.7226 | 8.7605
2020-06-24 09:00:00 | 4.065 | 13.08 | 5.931 | 34.89 | 5.114 | 32.8664 | 4.864 | 5.013 | 21.94 | 963.395 | 81.5697 | 13.7337
2020-06-24 09:15:00 | 5.526 | 12.08 | 6.984 | 32.26 | 5.653 | 30.3889 | 5.564 | 5.255 | 22.19 | 963.312 | 78.9375 | 14.9013
2020-06-24 09:30:00 | 4.709 | 11.84 | 6.054 | 32.34 | 5.371 | 30.4643 | 5.243 | 10.52 | 22.37 | 963.394 | 78.255 | 12.6105
2020-06-24 09:45:00 | 4.895 | 8.94 | 5.847 | 28.37 | 5.221 | 26.7245 | 5.139 | 6.468 | 22.6 | 963.3 | 76.6871 | 11.757
2020-06-24 10:00:00 | 4.354 | 11.7 | 6.005 | 30.37 | 4.944 | 28.6085 | 4.795 | 10.26 | 23.06 | 963.281 | 73.0743 | 11.2656
2020-06-24 10:15:00 | 4.834 | 15.73 | 6.578 | 31.34 | 5.885 | 29.5223 | 5.561 | 19.41 | 23.34 | 963.576 | 65.576 | 10.8813
2020-06-24 10:30:00 | 3.434 | 356 | 4.543 | 15.33 | 5.313 | 14.4409 | 5.258 | 357.3 | 23.93 | 963.576 | 65.0989 | 15.4445
2020-06-24 10:45:00 | 4.661 | 16.24 | 7.048 | 32.06 | 6.493 | 30.2005 | 6.127 | 17.78 | 24.16 | 963.576 | 65.5023 | 18.8363
2020-06-24 11:00:00 | 3.678 | 7.099 | 5.381 | 28.33 | 4.893 | 26.6869 | 4.772 | 5.831 | 24.9 | 963.873 | 62.743 | 15.2708
2020-06-24 11:15:00 | 4.034 | 13.28 | 5.297 | 28.22 | 5.351 | 26.5832 | 5.266 | 10.57 | 24.31 | 963.873 | 64.6198 | 16.2536
2020-06-24 11:30:00 | 3.203 | 20.98 | 5.026 | 37.44 | 5.219 | 35.2685 | 5.134 | 9.05 | 25.22 | 964.169 | 59.2351 | 17.3647
2020-06-24 11:45:00 | 3.255 | 21.14 | 5.251 | 37.53 | 5.636 | 35.3533 | 5.503 | 22.64 | 25.37 | 963.991 | 62.6362 | 16.3312
2020-06-24 12:00:00 | 5.898 | 4.169 | 6.793 | 30.01 | 6.157 | 28.2694 | 6.183 | 359 | 25.1 | 963.935 | 63.9927 | 14.5946
2020-06-24 12:15:00 | 4.134 | 19.4 | 5.02 | 31.91 | 5.269 | 30.0592 | 4.981 | 17.73 | 25.91 | 963.888 | 62.8754 | 17.143
2020-06-24 12:30:00 | 3.222 | 18.72 | 5.934 | 31.39 | 6.831 | 29.5694 | 6.514 | 23.55 | 25.87 | 964.146 | 63.4602 | 20.1776
2020-06-24 12:45:00 | 5.812 | 11.58 | 6.972 | 29.52 | 6.007 | 27.8078 | 5.956 | 8.41 | 25.54 | 963.816 | 63.9685 | 19.4238
2020-06-24 13:00:00 | 4.005 | 2.143 | 5.749 | 31.35 | 5.552 | 29.5317 | 5.648 | 350.8 | 25.84 | 963.718 | 59.3702 | 18.7281
2020-06-24 13:15:00 | 4.212 | 16.06 | 5.946 | 38.96 | 5.099 | 36.7003 | 4.869 | 3.629 | 26.26 | 963.72 | 61.4131 | 14.5946
2020-06-24 13:30:00 | 5.165 | 16.45 | 7.935 | 33.06 | 6.757 | 31.1425 | 6.455 | 15.55 | 26.29 | 963.655 | 59.9114 | 16.2462
2020-06-24 13:45:00 | 4.33 | 21.22 | 6.023 | 40.91 | 5.47 | 38.5372 | 5.281 | 21.88 | 26.26 | 963.426 | 57.3884 | 14.9604
2020-06-24 14:00:00 | 4.29 | 11.39 | 5.634 | 27.93 | 5.257 | 26.3101 | 5.187 | 15 | 26.07 | 963.5 | 58.915 | 9.6288
2020-06-24 14:15:00 | 3.426 | 10.61 | 4.875 | 24.13 | 4.733 | 22.7305 | 4.627 | 8.15 | 26.41 | 963.436 | 58.469 | 7.2678
2020-06-24 14:30:00 | 4.129 | 17.02 | 5.307 | 34.88 | 4.453 | 32.857 | 4.331 | 11.72 | 26.75 | 963.431 | 57.9217 | 5.291
2020-06-24 14:45:00 | 3.871 | 10.96 | 4.384 | 25.94 | 4.107 | 24.4355 | 4.041 | 11.68 | 26.73 | 963.579 | 55.8774 | 2.4053
2020-06-24 15:00:00 | 3.575 | 7.19 | 4.425 | 24.67 | 3.868 | 23.2391 | 3.751 | 4.431 | 27.5 | 963.579 | 53.6286 | 2.7748
2020-06-24 15:15:00 | 1.518 | 22.69 | 2.763 | 12.63 | 2.263 | 11.8975 | 1.875 | 5.647 | 27.65 | 963.728 | 51.3421 | 0.30667
2020-06-24 15:30:00 | 1.129 | 18.69 | 2.003 | 20.55 | 3.013 | 19.3581 | 2.711 | 15.19 | 28.97 | 964.172 | 49.4637 | -0.14779
2020-06-24 15:45:00 | 3.125 | 12.18 | 4.085 | 26.32 | 3.914 | 24.7934 | 3.682 | 8.74 | 28.49 | 964.024 | 51.1581 | 0.036949
2020-06-24 16:00:00 | 2.603 | 11.93 | 3.446 | 25.33 | 2.802 | 23.8609 | 2.511 | 8.71 | 28.01 | 963.728 | 51.0899 | 0.044338
2020-06-24 16:15:00 | 1.95 | 21.94 | 2.739 | 18.92 | 2.762 | 17.8226 | 2.695 | 11.85 | 28.8 | 964.024 | 51.2262 | 0.66877
2020-06-24 16:30:00 | 1.248 | 9.81 | 1.812 | 31.69 | 1.383 | 29.852 | 1.281 | 13.32 | 28.13 | 964.024 | 50.4768 | 0.70571
2020-06-24 16:45:00 | 0.728 | 7.927 | 1.373 | 20.13 | 1.396 | 18.9625 | 1.128 | 5.744 | 28.45 | 964.172 | 50.545 | 0.85351
2020-06-24 17:00:00 | 1.427 | 342.4 | 2.09 | 352.6 | 2.134 | 332.149 | 2.032 | 332.8 | 28.69 | 963.971 | 51.5668 | 1.2452
2020-06-24 17:15:00 | 3.815 | 301.4 | 4.614 | 308.2 | 4.188 | 290.324 | 4.112 | 305.7 | 28.24 | 962.837 | 53.951 | 0.54314
2020-06-24 17:30:00 | 3.784 | 298.6 | 4.374 | 309.4 | 3.759 | 291.455 | 3.687 | 300.7 | 27.93 | 962.838 | 53.7466 | 0.69833
2020-06-24 17:45:00 | 3.925 | 293.7 | 4.826 | 305.2 | 4.501 | 287.498 | 4.415 | 296.6 | 27.61 | 962.541 | 55.5231 | 1.6036
2020-06-24 18:00:00 | 2.061 | 326.3 | 2.593 | 338.4 | 2.322 | 318.773 | 1.974 | 331.1 | 27.63 | 962.245 | 55.8078 | 1.223
2020-06-24 18:15:00 | 1.918 | 322 | 2.428 | 333 | 2.095 | 313.686 | 1.846 | 328 | 27.33 | 961.8 | 56.8313 | 0.99391
2020-06-24 18:30:00 | 2.04 | 341.9 | 2.426 | 356.9 | 2.317 | 336.2 | 2.29 | 337.9 | 27.01 | 961.504 | 57.9216 | 1.2267
2020-06-24 18:45:00 | 4.073 | 340.4 | 4.42 | 355.4 | 4.244 | 334.787 | 4.176 | 343.6 | 26.65 | 961.724 | 59.0842 | 3.8242
2020-06-24 19:00:00 | 2.937 | 345.2 | 3.272 | 5.047 | 3.596 | 4.7543 | 3.534 | 349.3 | 26.15 | 961.645 | 61.1436 | 5.4795
2020-06-24 19:15:00 | 4.04 | 346.7 | 4.333 | 5.443 | 4.868 | 5.1273 | 4.861 | 350.7 | 25.79 | 961.797 | 62.5765 | 5.4905
2020-06-24 19:30:00 | 3.902 | 7.945 | 3.891 | 9.89 | 3.504 | 9.3164 | 3.389 | 5.981 | 25.63 | 961.859 | 62.4403 | 5.0102
2020-06-24 19:45:00 | 4.471 | 5.38 | 4.507 | 12.27 | 4.252 | 11.5583 | 4.382 | 10.1 | 25.41 | 962.184 | 63.1937 | 8.5277
2020-06-24 20:00:00 | 4.234 | 12.55 | 4.215 | 18.85 | 4.537 | 17.7567 | 4.298 | 6.547 | 25.08 | 962.683 | 63.9167 | 10.231
2020-06-24 20:15:00 | 4.208 | 8.85 | 4.532 | 20.78 | 4.524 | 19.5748 | 4.288 | 9.68 | 24.81 | 962.386 | 65.1099 | 11.2323
2020-06-24 20:30:00 | 3.815 | 9.05 | 4.512 | 20.34 | 4.829 | 19.1603 | 4.538 | 11.1 | 24.66 | 962.238 | 66.2358 | 11.8605
2020-06-24 20:45:00 | 3.948 | 10.99 | 5.156 | 25.33 | 5.196 | 23.8609 | 4.787 | 17.18 | 24.4 | 962.535 | 67.6398 | 10.1867
2020-06-24 21:00:00 | 3.171 | 28.33 | 4.568 | 42.38 | 4.524 | 39.922 | 4.438 | 34.88 | 24.24 | 962.09 | 67.9158 | 6.9131
2020-06-24 21:15:00 | 2.651 | 39.79 | 3.932 | 53.66 | 4.054 | 50.5477 | 4.013 | 46.69 | 24.37 | 962.09 | 66.7576 | 4.1308
2020-06-24 21:30:00 | 3.12 | 44.23 | 4.343 | 60.2 | 4.463 | 56.7084 | 4.372 | 49.41 | 24.57 | 962.683 | 64.8483 | 0.66507
2020-06-24 21:45:00 | 2.326 | 61.87 | 2.261 | 79.37 | 1.616 | 74.7665 | 1.59 | 65.1 | 24.5 | 962.832 | 64.7119 | 0.084982
2020-06-24 22:00:00 | 2.163 | 57.08 | 2.348 | 70.6 | 1.796 | 66.5052 | 1.688 | 71.48 | 24.57 | 962.98 | 64.4391 | -0.33623
2020-06-24 22:15:00 | 2.278 | 31.07 | 2.929 | 39.08 | 3.036 | 36.8134 | 2.997 | 43.26 | 24.45 | 963.128 | 65.0528 | -0.22169
2020-06-24 22:30:00 | 2.316 | 31.63 | 2.958 | 41.84 | 2.736 | 39.4133 | 2.696 | 43.42 | 24.37 | 963.128 | 65.2915 | -0.014779
2020-06-24 22:45:00 | 2.63 | 56.06 | 3.346 | 57.36 | 3.4 | 54.0331 | 3.216 | 71.94 | 24.39 | 963.128 | 65.1551 | 0.16257
2020-06-24 23:00:00 | 2.648 | 51.17 | 3.517 | 55.86 | 3.441 | 52.6201 | 3.198 | 60.54 | 24.37 | 962.98 | 65.0869 | 0.41752
2020-06-24 23:15:00 | 3.207 | 74.34 | 3.735 | 89.7 | 2.912 | 84.4974 | 2.707 | 84.2 | 24.64 | 962.98 | 64.0982 | 2.191
2020-06-24 23:30:00 | 1.489 | 86.7 | 2.687 | 104.6 | 3.723 | 98.5332 | 3.937 | 97 | 24.75 | 962.683 | 64.9163 | 4.0126
2020-06-24 23:45:00 | 2.602 | 110.9 | 3.18 | 124.9 | 3.006 | 117.656 | 2.893 | 115.7 | 24.55 | 962.832 | 64.5414 | 5.9561