## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-25 00:00:00 | 2.462 | 106.9 | 3.147 | 117 | 3.036 | 110.214 | 2.931 | 118.2 | 24.6 | 962.832 | 61.6434 | 8.1878
2020-06-25 00:15:00 | 4.642 | 124.3 | 4.87 | 140 | 4.842 | 131.88 | 4.729 | 129.6 | 25.56 | 962.832 | 58.8466 | 11.4208
2020-06-25 00:30:00 | 5.653 | 120.2 | 6.059 | 136.3 | 6.106 | 128.395 | 6.005 | 127.3 | 25.37 | 962.832 | 58.9158 | 17.5173
2020-06-25 00:45:00 | 3.401 | 109.5 | 3.927 | 120.7 | 4.532 | 113.699 | 4.606 | 117.4 | 25.26 | 962.832 | 60.1398 | 14.99
2020-06-25 01:00:00 | 5.02 | 121.8 | 5.468 | 138 | 5.798 | 129.996 | 5.834 | 128.9 | 25.1 | 962.832 | 59.012 | 11.5353
2020-06-25 01:15:00 | 5.347 | 317.6 | 6.033 | 331.1 | 6.727 | 311.896 | 6.771 | 318 | 22.44 | 963.573 | 70.2975 | 6.581
2020-06-25 01:30:00 | 6.442 | 304 | 7.056 | 316 | 6.577 | 297.672 | 6.631 | 305.4 | 22.05 | 964.167 | 81.5545 | 30.4208
2020-06-25 01:45:00 | 4.601 | 325.4 | 5.23 | 337.7 | 4.728 | 318.113 | 4.785 | 323.2 | 20.94 | 963.425 | 90.8967 | 24.0387
2020-06-25 02:00:00 | 3.174 | 353.9 | 4.318 | 22.73 | 5.114 | 21.4117 | 5.302 | 347.6 | 20.46 | 962.98 | 95.4133 | 29.7103
2020-06-25 02:15:00 | 3.289 | 4.768 | 4.681 | 27.11 | 4.677 | 25.5376 | 4.606 | 343.7 | 19.78 | 962.596 | 99.0963 | 20.632
2020-06-25 02:30:00 | 3.968 | 357.9 | 4.676 | 21.15 | 4.359 | 19.9233 | 4.438 | 356.9 | 19.52 | 962.68 | 99.9313 | 14.602
2020-06-25 02:45:00 | 5.39 | 5.124 | 5.964 | 23.15 | 6.312 | 21.8073 | 6.527 | 3.831 | 19.23 | 962.235 | 99.9318 | 24.1791
2020-06-25 03:00:00 | 7.03 | 6.256 | 6.977 | 24.45 | 6.218 | 23.0319 | 6.04 | 9.65 | 18.98 | 961.345 | 99.9394 | 33.1641
2020-06-25 03:15:00 | 6.506 | 1.89 | 6.724 | 26.18 | 6.544 | 24.6616 | 6.58 | 1.74 | 18.94 | 961.85 | 99.9146 | 31.8385
2020-06-25 03:30:00 | 7.732 | 0.442 | 8.07 | 22.87 | 8.4 | 21.5435 | 8.72 | 2.811 | 18.76 | 961.843 | 99.8806 | 56.4842
2020-06-25 03:45:00 | 8.53 | 3.023 | 9.37 | 26.2 | 9.63 | 24.6804 | 10.17 | 2.66 | 18.56 | 960.995 | 99.9488 | 74.9785
2020-06-25 04:00:00 | 7.487 | 14.28 | 10.69 | 32.19 | 10.16 | 30.323 | 9.68 | 16.71 | 18.49 | 961.49 | 99.9147 | 70.7785
2020-06-25 04:15:00 | 7.446 | 18.28 | 11.49 | 34.29 | 11.51 | 32.3012 | 11.09 | 23.77 | 18.71 | 961.49 | 99.8806 | 66.0226
2020-06-25 04:30:00 | 7.208 | 28.87 | 10.45 | 46.06 | 10.49 | 43.3885 | 10.27 | 33.45 | 18.9 | 961.49 | 96.5376 | 55.6
2020-06-25 04:45:00 | 5.373 | 18.89 | 8.54 | 31.11 | 7.787 | 29.3056 | 7.543 | 27.43 | 19.04 | 961.489 | 95.6507 | 41.8589
2020-06-25 05:00:00 | 4.737 | 27.41 | 7.514 | 42.43 | 7.126 | 39.9691 | 6.883 | 33.14 | 19.16 | 961.786 | 96.4694 | 21.9067
2020-06-25 05:15:00 | 5.806 | 21.58 | 8.67 | 38.54 | 8.75 | 36.3047 | 8.69 | 25.21 | 19.08 | 961.786 | 96.8787 | 29.3297
2020-06-25 05:30:00 | 5.766 | 53.93 | 7.764 | 69.56 | 7.2 | 65.5255 | 7.171 | 59.72 | 18.95 | 961.487 | 97.2198 | 29.6364
2020-06-25 05:45:00 | 6.113 | 54.25 | 8.02 | 69.68 | 7.82 | 65.6386 | 7.94 | 61.02 | 19.18 | 961.193 | 93.9451 | 30.2608
2020-06-25 06:00:00 | 5.732 | 56.58 | 7.631 | 70.1 | 7.355 | 66.0342 | 7.349 | 63.25 | 19.81 | 961.483 | 90.6021 | 26.8488
2020-06-25 06:15:00 | 5.252 | 67.64 | 5.236 | 79.2 | 4.033 | 74.6064 | 4.003 | 73.41 | 20.1 | 961.664 | 87.7366 | 10.5118
2020-06-25 06:30:00 | 4.198 | 75.61 | 4.729 | 83.8 | 3.754 | 78.9396 | 3.776 | 78.31 | 20.22 | 961.997 | 86.7815 | 5.9302
2020-06-25 06:45:00 | 2.412 | 81.4 | 2.876 | 89.7 | 3.459 | 84.4974 | 3.527 | 92.6 | 21.01 | 962.386 | 84.7909 | 3.6764
2020-06-25 07:00:00 | 1.824 | 94.7 | 2.768 | 104.3 | 3.492 | 98.2506 | 3.644 | 102.2 | 21.43 | 962.776 | 83.4854 | 6.7394
2020-06-25 07:15:00 | 3.7 | 85.2 | 4.453 | 96.9 | 4.829 | 91.2798 | 4.93 | 101 | 22.02 | 962.983 | 79.6577 | 13.7633
2020-06-25 07:30:00 | 3.212 | 105.9 | 3.4 | 127.2 | 4.056 | 119.822 | 4.054 | 113.2 | 22.26 | 963.277 | 79.9864 | 20.2071
2020-06-25 07:45:00 | 5.727 | 119.4 | 6.261 | 136.3 | 6.566 | 128.395 | 6.621 | 126.5 | 22.16 | 963.277 | 80.8594 | 26.7861
2020-06-25 08:00:00 | 5.27 | 122.4 | 5.619 | 141.7 | 5.913 | 133.481 | 5.867 | 129 | 22.47 | 963.571 | 79.3577 | 30.9813
2020-06-25 08:15:00 | 6.309 | 123.8 | 6.555 | 144.6 | 6.264 | 136.213 | 6.18 | 126.5 | 22.41 | 963.553 | 80.9178 | 26.5142
2020-06-25 08:30:00 | 5.972 | 134.9 | 6.233 | 157.6 | 5.659 | 148.459 | 5.48 | 138 | 22.71 | 963.906 | 81.7997 | 25.3023
2020-06-25 08:45:00 | 5.462 | 137.6 | 5.726 | 155.2 | 4.992 | 146.198 | 4.749 | 143.2 | 23.06 | 963.901 | 80.0614 | 18.6257
2020-06-25 09:00:00 | 6.215 | 150 | 6.136 | 166.5 | 5.201 | 156.843 | 4.925 | 146.5 | 22.82 | 963.873 | 78.8685 | 15.0713
2020-06-25 09:15:00 | 6.115 | 143.2 | 5.939 | 161.8 | 5.239 | 152.416 | 5.088 | 147.1 | 23.05 | 963.873 | 77.3688 | 17.5062
2020-06-25 09:30:00 | 5.881 | 147.1 | 5.841 | 166 | 5.371 | 156.372 | 5.236 | 147.8 | 23.46 | 964.021 | 76.1418 | 21.1271
2020-06-25 09:45:00 | 6.731 | 139.2 | 6.749 | 159.5 | 6.343 | 150.249 | 6.211 | 140.5 | 23.35 | 963.873 | 77.846 | 21.9991
2020-06-25 10:00:00 | 7.711 | 139.1 | 7.739 | 156.3 | 7.248 | 147.235 | 7.112 | 143.5 | 23.57 | 964.021 | 78.5958 | 19.3942
2020-06-25 10:15:00 | 7.167 | 139 | 6.734 | 158.1 | 6.126 | 148.93 | 5.984 | 144 | 23.74 | 963.576 | 77.3344 | 18.2488
2020-06-25 10:30:00 | 6.629 | 130.1 | 6.501 | 147.5 | 5.987 | 138.945 | 5.824 | 135 | 23.88 | 963.725 | 73.2783 | 17.5949
2020-06-25 10:45:00 | 6.11 | 145.8 | 6.297 | 163.9 | 5.735 | 154.394 | 5.475 | 147.9 | 24.42 | 963.873 | 73.8216 | 16.1649
2020-06-25 11:00:00 | 6.634 | 144 | 6.759 | 160.8 | 6.488 | 151.474 | 6.353 | 149.7 | 24.56 | 964.318 | 73.0355 | 14.7683
2020-06-25 11:15:00 | 7.157 | 144 | 6.869 | 160.8 | 6.231 | 151.474 | 6.02 | 148.1 | 24.77 | 964.318 | 70.4789 | 14.2547
2020-06-25 11:30:00 | 6.026 | 147.1 | 6.005 | 164.8 | 5.62 | 155.242 | 5.485 | 153.9 | 25.41 | 964.169 | 67.8242 | 12.8655
2020-06-25 11:45:00 | 6.218 | 142.2 | 6.148 | 160.4 | 3.125 | 151.097 | 5.358 | 146.7 | 25.67 | 964.318 | 67.8237 | 14.5872
2020-06-25 12:00:00 | 6.235 | 126.2 | 6.35 | 141.4 | 0.688 | 133.199 | 6.196 | 131.8 | 25.99 | 964.167 | 65.1664 | 14.7018
2020-06-25 12:15:00 | 6.335 | 138.8 | 6.851 | 153.5 | 6.302 | 144.597 | 6.152 | 147.4 | 25.78 | 964.013 | 64.1074 | 14.4321
2020-06-25 12:30:00 | 5.301 | 155.4 | 5.402 | 182.7 | 0 | 172.103 | 5.22 | 153 | 26.16 | 963.992 | 61.1772 | 10.5488
2020-06-25 12:45:00 | 6.557 | 139.7 | 6.585 | 153.9 | 0 | 144.974 | 6.262 | 145.3 | 25.89 | 963.569 | 63.2915 | 9.965
2020-06-25 13:00:00 | 5.324 | 131.8 | 5.302 | 149.1 | 0 | 140.452 | 4.859 | 137.4 | 26.35 | 963.724 | 61.2463 | 8.439
2020-06-25 13:15:00 | 4.624 | 124.8 | 4.903 | 139.6 | 0 | 131.503 | 4.612 | 132.3 | 26.65 | 963.724 | 57.6657 | 8.1989
2020-06-25 13:30:00 | 5.332 | 114.5 | 5.591 | 133.8 | 0 | 126.04 | 5.098 | 118.3 | 27.43 | 963.543 | 55.9603 | 11.3173
2020-06-25 13:45:00 | 5.186 | 129.3 | 5.422 | 145.9 | 0 | 137.438 | 4.713 | 132.5 | 27.56 | 963.959 | 56.5631 | 8.7457
2020-06-25 14:00:00 | 4.795 | 120.9 | 5.057 | 141.1 | 0 | 132.916 | 4.629 | 127.2 | 27.67 | 964.025 | 55.23 | 6.7246
2020-06-25 14:15:00 | 5.761 | 138.4 | 5.64 | 155.4 | 0 | 146.387 | 5.136 | 144.2 | 27.84 | 964.024 | 54.1738 | 7.6262
2020-06-25 14:30:00 | 5.122 | 152.7 | 4.911 | 170.3 | 0 | 160.423 | 4.357 | 156.4 | 29.04 | 964.469 | 51.4481 | 10.1239
2020-06-25 14:45:00 | 5.293 | 124.2 | 5.555 | 138.1 | 5.32 | 130.09 | 5.297 | 132.3 | 28.45 | 964.024 | 52.7054 | 12.4886
2020-06-25 15:00:00 | 6.496 | 140.3 | 6.266 | 157.7 | 5.725 | 148.553 | 5.592 | 146.8 | 28.66 | 964.172 | 52.1219 | 12.6659
2020-06-25 15:15:00 | 6.123 | 147.1 | 5.928 | 169.8 | 5.564 | 159.952 | 5.536 | 150.9 | 29.19 | 963.728 | 50.0767 | 12.3112
2020-06-25 15:30:00 | 5.444 | 129.5 | 5.775 | 145.1 | 5.748 | 136.684 | 5.681 | 135.4 | 28.99 | 963.431 | 51.0303 | 12.3001
2020-06-25 15:45:00 | 4.783 | 174.1 | 4.719 | 183.2 | 2.519 | 172.574 | 3.97 | 182.8 | 29.46 | 962.986 | 47.8283 | 13.9443
2020-06-25 16:00:00 | 4.44 | 153.1 | 4.494 | 173.8 | 2.53 | 163.72 | 4.39 | 155.9 | 29.44 | 963.283 | 47.0788 | 12.1967
2020-06-25 16:15:00 | 5.051 | 148.3 | 5.036 | 164.7 | 3.014 | 155.147 | 4.553 | 155.7 | 29.46 | 962.69 | 50.0788 | 13.767
2020-06-25 16:30:00 | 5.122 | 158.1 | 5.427 | 182.9 | 4.068 | 172.292 | 4.925 | 163.8 | 29.75 | 962.245 | 48.2396 | 17.5801
2020-06-25 16:45:00 | 7.862 | 180.2 | 7.102 | 197.2 | 5.933 | 185.762 | 5.918 | 183.2 | 29.56 | 961.949 | 48.3104 | 17.5579
2020-06-25 17:00:00 | 5.901 | 179.7 | 6.074 | 198 | 5.087 | 186.516 | 5.582 | 181.6 | 29.64 | 962.245 | 48.8583 | 14.8126
2020-06-25 17:15:00 | 7.525 | 185 | 6.877 | 200.9 | 5.895 | 189.248 | 6.127 | 184.1 | 29.6 | 961.949 | 49.6763 | 18.4816
2020-06-25 17:30:00 | 4.726 | 176.1 | 4.839 | 191.3 | 4.588 | 180.205 | 4.53 | 180.4 | 29.57 | 962.097 | 50.9029 | 15.8915
2020-06-25 17:45:00 | 7.19 | 149 | 7.079 | 166.4 | 7.04 | 156.749 | 7.018 | 155.4 | 29.33 | 962.097 | 52.5383 | 21.0532
2020-06-25 18:00:00 | 6.818 | 153.5 | 6.759 | 171.8 | 6.335 | 161.836 | 6.226 | 157.3 | 29.19 | 962.097 | 53.0835 | 19.4312
2020-06-25 18:15:00 | 5.926 | 152.1 | 6.072 | 171.3 | 5.969 | 161.365 | 5.831 | 155.8 | 29.1 | 961.801 | 53.6627 | 16.0504
2020-06-25 18:30:00 | 7.03 | 148.6 | 7.058 | 164.6 | 6.986 | 155.053 | 6.832 | 154.1 | 28.97 | 961.801 | 52.8109 | 15.6107
2020-06-25 18:45:00 | 4.785 | 137.3 | 4.998 | 159 | 4.908 | 149.778 | 4.775 | 141.2 | 28.9 | 961.504 | 53.9693 | 16.1539
2020-06-25 19:00:00 | 6.302 | 138.6 | 6.064 | 157.7 | 5.671 | 148.553 | 5.582 | 143.2 | 28.76 | 961.686 | 54.1801 | 18.2821
2020-06-25 19:15:00 | 6.672 | 139 | 6.977 | 153.5 | 7.243 | 144.597 | 7.181 | 146.5 | 28.66 | 961.487 | 53.7137 | 21.7479
2020-06-25 19:30:00 | 5.441 | 129.1 | 5.617 | 140.3 | 5.539 | 132.163 | 5.498 | 135 | 28.63 | 961.797 | 53.5096 | 20.8907
2020-06-25 19:45:00 | 7.287 | 131.6 | 7.327 | 149 | 7.396 | 140.358 | 7.316 | 137.4 | 28.61 | 961.797 | 52.0062 | 26.4255
2020-06-25 20:00:00 | 5.314 | 133.1 | 5.928 | 150.7 | 6.556 | 141.959 | 6.537 | 138 | 28.49 | 962.093 | 53.2361 | 27.9626
2020-06-25 20:15:00 | 6.843 | 127.3 | 7.232 | 142.9 | 7.391 | 134.612 | 7.395 | 132.4 | 28.63 | 962.093 | 53.2336 | 25.9156
2020-06-25 20:30:00 | 6.493 | 124.1 | 6.754 | 141.6 | 7.032 | 133.387 | 6.977 | 128.4 | 28.35 | 961.797 | 55.0767 | 23.7837
2020-06-25 20:45:00 | 5.804 | 103.7 | 6.442 | 120.5 | 6.694 | 113.511 | 6.893 | 107.9 | 27.44 | 961.797 | 61.6223 | 28.853
2020-06-25 21:00:00 | 7.328 | 99.1 | 8.64 | 113.1 | 8.79 | 106.54 | 9.07 | 105.4 | 26.89 | 961.797 | 67.212 | 39.9856
2020-06-25 21:15:00 | 7.111 | 97 | 8.87 | 111.4 | 8.67 | 104.939 | 8.91 | 104.6 | 26.62 | 961.945 | 68.7798 | 50.5122
2020-06-25 21:30:00 | 8.17 | 99.7 | 9.49 | 113.7 | 9.6 | 107.105 | 9.88 | 106.9 | 26.53 | 962.177 | 69.257 | 59.8676
2020-06-25 21:45:00 | 6.904 | 101.7 | 8.15 | 117.8 | 8.12 | 110.968 | 8.33 | 111.1 | 26.4 | 962.163 | 70.2795 | 59.5647
2020-06-25 22:00:00 | 7.027 | 111 | 7.746 | 131.1 | 8.6 | 123.496 | 8.9 | 116.9 | 26.2 | 962.185 | 71.3701 | 56.2421
2020-06-25 22:15:00 | 6.629 | 104.5 | 7.526 | 122.3 | 8.69 | 115.207 | 9.05 | 111.7 | 26.07 | 962.38 | 72.7354 | 66.134
2020-06-25 22:30:00 | 7.931 | 126.3 | 8.24 | 142.2 | 8.91 | 133.952 | 8.96 | 128.4 | 26.1 | 961.786 | 73.3536 | 72.7146
2020-06-25 22:45:00 | 9.98 | 127.1 | 10.26 | 142.5 | 11.25 | 134.235 | 11.35 | 132.1 | 25.92 | 961.793 | 74.3799 | 71.6911
2020-06-25 23:00:00 | 10.34 | 124.6 | 10.71 | 139.3 | 11.49 | 131.221 | 11.48 | 129.6 | 25.8 | 961.645 | 75.3365 | 75.1864
2020-06-25 23:15:00 | 10.47 | 127.5 | 11.02 | 144.5 | 11.26 | 136.119 | 11.26 | 132.3 | 25.65 | 960.749 | 76.2229 | 81.4143
2020-06-25 23:30:00 | 11.81 | 132.7 | 12.56 | 148.6 | 13.24 | 139.981 | 13.15 | 136.5 | 25.56 | 960.458 | 76.9729 | 82.262
2020-06-25 23:45:00 | 11.63 | 138.8 | 11.98 | 157.1 | 11.61 | 147.988 | 11.31 | 142.9 | 25.25 | 960.161 | 78.8819 | 82.8089