## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-26 00:00:00 | 10.85 | 135.5 | 11.16 | 151 | 11.36 | 142.242 | 11.4 | 140.7 | 25.24 | 960.606 | 78.8819 | 72.467
2020-06-26 00:15:00 | 10.34 | 138.8 | 10.47 | 156 | 11.33 | 146.952 | 11.32 | 144.7 | 25.1 | 960.903 | 80.0409 | 72.2453
2020-06-26 00:30:00 | 10.87 | 140.4 | 11.13 | 157.3 | 11.76 | 148.177 | 11.66 | 147 | 25.13 | 960.755 | 79.5296 | 74.5472
2020-06-26 00:45:00 | 10.91 | 142.1 | 11.62 | 158.6 | 11.97 | 149.401 | 11.76 | 148.2 | 25.25 | 960.903 | 79.1546 | 72.7183
2020-06-26 01:00:00 | 11.42 | 144.2 | 11.87 | 160.4 | 12.49 | 151.097 | 12.34 | 149.7 | 25.33 | 961.348 | 78.4741 | 57.1038
2020-06-26 01:15:00 | 7.121 | 140.7 | 7.575 | 153.6 | 7.752 | 144.691 | 7.744 | 147.2 | 25.24 | 962.238 | 78.7796 | 39.2916
2020-06-26 01:30:00 | 5.275 | 111.9 | 5.721 | 133.9 | 5.45 | 126.134 | 5.396 | 115.2 | 25.5 | 962.238 | 76.7005 | 35.1935
2020-06-26 01:45:00 | 8.01 | 115.3 | 8.54 | 128.5 | 9.17 | 121.047 | 9.18 | 124.3 | 24.4 | 961.793 | 79.1546 | 41.2345
2020-06-26 02:00:00 | 9.3 | 127.7 | 10.02 | 142.3 | 10.07 | 134.047 | 9.95 | 134.6 | 24.9 | 961.2 | 76.632 | 63.3466
2020-06-26 02:15:00 | 8.74 | 133.5 | 9.15 | 149.3 | 9.64 | 140.641 | 9.63 | 138.3 | 25.03 | 961.2 | 76.7684 | 66.5774
2020-06-26 02:30:00 | 7.941 | 142.5 | 8.27 | 158.8 | 7.991 | 149.59 | 7.948 | 150 | 24.81 | 961.497 | 76.8377 | 67.4716
2020-06-26 02:45:00 | 9.05 | 134.5 | 9.46 | 151.6 | 9.89 | 142.807 | 9.86 | 141.9 | 24.9 | 961.645 | 77.218 | 67.697
2020-06-26 03:00:00 | 7.055 | 140.1 | 7.337 | 161 | 7.569 | 151.662 | 7.688 | 142.9 | 24.81 | 961.942 | 79.2265 | 71.765
2020-06-26 03:15:00 | 6.978 | 139.8 | 7.841 | 156.6 | 8.7 | 147.517 | 8.61 | 145.9 | 24.1 | 962.238 | 83.5262 | 64.8408
2020-06-26 03:30:00 | 6.271 | 132.7 | 6.872 | 150.9 | 7.322 | 142.148 | 7.227 | 138.3 | 23.89 | 961.645 | 81.8614 | 59.0134
2020-06-26 03:45:00 | 8.23 | 138.8 | 8.81 | 155.9 | 9.11 | 146.858 | 9.01 | 146.2 | 24.44 | 961.645 | 79.5772 | 67.8411
2020-06-26 04:00:00 | 9.3 | 137.8 | 9.63 | 152.2 | 10.05 | 143.372 | 10.02 | 142.4 | 24.68 | 961.793 | 80.6001 | 76.8934
2020-06-26 04:15:00 | 9.74 | 141 | 10.09 | 157.2 | 10.93 | 148.082 | 10.78 | 146.6 | 23.62 | 961.497 | 87.044 | 79.5685
2020-06-26 04:30:00 | 10.9 | 138.6 | 11.1 | 155.8 | 11.34 | 146.764 | 11.31 | 144.8 | 23.87 | 961.497 | 82.1343 | 83.256
2020-06-26 04:45:00 | 9.85 | 138.6 | 10.1 | 157 | 10.49 | 147.894 | 10.38 | 144 | 23.86 | 961.497 | 82.8503 | 81.645
2020-06-26 05:00:00 | 8.88 | 139.9 | 9.29 | 156.8 | 9.88 | 147.706 | 9.89 | 144.7 | 23.67 | 961.793 | 85.1006 | 80.0045
2020-06-26 05:15:00 | 9.97 | 141.4 | 10.41 | 159 | 10.45 | 149.778 | 10.27 | 146 | 23.57 | 961.645 | 85.5779 | 78.7889
2020-06-26 05:30:00 | 10.52 | 145.8 | 11.08 | 162.7 | 11.21 | 153.263 | 10.99 | 150.6 | 23.38 | 961.793 | 85.987 | 81.5378
2020-06-26 05:45:00 | 10.13 | 148.6 | 10.5 | 166.3 | 11.21 | 156.655 | 11.23 | 152 | 23.49 | 961.497 | 86.703 | 82.3507
2020-06-26 06:00:00 | 11.01 | 142.9 | 10.9 | 159 | 11.48 | 149.778 | 11.36 | 149.6 | 23.44 | 961.497 | 86.5328 | 78.5709
2020-06-26 06:15:00 | 11.72 | 145.2 | 11.94 | 159.3 | 12 | 150.061 | 11.82 | 151.2 | 23.63 | 962.09 | 85.3052 | 75.7583
2020-06-26 06:30:00 | 10.03 | 140.6 | 10.4 | 156.9 | 11.38 | 147.8 | 11.32 | 146.5 | 23.81 | 962.386 | 84.1793 | 68.8571
2020-06-26 06:45:00 | 7.808 | 138.8 | 7.869 | 158.2 | 8.07 | 149.024 | 8.15 | 143.2 | 23.99 | 962.832 | 84.4187 | 61.2051
2020-06-26 07:00:00 | 9.89 | 139.7 | 10.1 | 155.1 | 9.9 | 146.104 | 9.78 | 144.5 | 23.89 | 962.98 | 85.3389 | 66.6661
2020-06-26 07:15:00 | 8.86 | 143.9 | 9.08 | 160.6 | 9.46 | 151.285 | 9.39 | 149.8 | 23.82 | 962.832 | 85.6427 | 67.6343
2020-06-26 07:30:00 | 8.97 | 137.1 | 9.37 | 154 | 9.38 | 145.068 | 9.33 | 143.8 | 23.97 | 962.832 | 84.2806 | 60.6989
2020-06-26 07:45:00 | 8.55 | 140.9 | 8.78 | 157.3 | 8.79 | 148.177 | 8.64 | 147.9 | 24.07 | 963.128 | 83.695 | 53.5161
2020-06-26 08:00:00 | 7.977 | 135.5 | 8.31 | 151 | 8.78 | 142.242 | 8.8 | 144.3 | 24.18 | 963.128 | 83.0085 | 52.3375
2020-06-26 08:15:00 | 8.55 | 140.6 | 8.3 | 156.3 | 8.46 | 147.235 | 8.42 | 144.7 | 24.34 | 963.573 | 82.768 | 52.5407
2020-06-26 08:30:00 | 9.05 | 133.2 | 9.37 | 148.8 | 9.02 | 140.17 | 8.9 | 140.2 | 24.43 | 963.717 | 82.5635 | 50.4236
2020-06-26 08:45:00 | 8.55 | 134.8 | 9.04 | 150.8 | 9.31 | 142.054 | 9.16 | 140.9 | 24.67 | 964.254 | 82.143 | 52.0086
2020-06-26 09:00:00 | 8.76 | 136.3 | 9.25 | 153.2 | 9.36 | 144.314 | 9.17 | 142 | 24.77 | 964.476 | 81.8678 | 47.8039
2020-06-26 09:15:00 | 7.872 | 135.3 | 8.23 | 149.7 | 8.21 | 141.017 | 8.14 | 141.9 | 25.13 | 964.614 | 79.8228 | 38.4707
2020-06-26 09:30:00 | 7.132 | 135.3 | 7.828 | 151.3 | 7.686 | 142.525 | 7.517 | 138 | 25.31 | 964.911 | 79.9568 | 33.6748
2020-06-26 09:45:00 | 6.394 | 133.4 | 6.772 | 152.4 | 6.711 | 143.561 | 6.776 | 137.2 | 25.24 | 965.059 | 80.5699 | 31.7055
2020-06-26 10:00:00 | 6.315 | 135.8 | 6.468 | 154 | 6.594 | 145.068 | 6.588 | 138.1 | 25.77 | 965.059 | 78.1839 | 33.7635
2020-06-26 10:15:00 | 6.511 | 125.7 | 7.079 | 143.3 | 6.915 | 134.989 | 6.873 | 134.1 | 25.76 | 964.911 | 78.5261 | 26.311
2020-06-26 10:30:00 | 5.561 | 130.9 | 6.023 | 145.1 | 5.87 | 136.684 | 5.798 | 137 | 25.84 | 965.208 | 79.4777 | 20.898
2020-06-26 10:45:00 | 4.647 | 130 | 5.138 | 147.9 | 5.208 | 139.322 | 5.103 | 136.7 | 25.99 | 965.059 | 78.1844 | 22.7159
2020-06-26 11:00:00 | 3.483 | 112.4 | 3.826 | 139.9 | 4.328 | 131.786 | 4.278 | 116.5 | 26.9 | 965.059 | 74.3349 | 27.8296
2020-06-26 11:15:00 | 5.988 | 135.1 | 6.228 | 156 | 5.61 | 146.952 | 5.559 | 135.8 | 26.46 | 964.64 | 74.3602 | 35.223
2020-06-26 11:30:00 | 6.917 | 132.6 | 7.531 | 149.7 | 6.841 | 141.017 | 6.779 | 133.8 | 26.86 | 964.635 | 71.2151 | 30.2091
2020-06-26 11:45:00 | 7.303 | 130.3 | 7.317 | 150.6 | 7.047 | 141.865 | 7.077 | 134.4 | 27.36 | 964.469 | 69.7445 | 33.7894
2020-06-26 12:00:00 | 6.519 | 129.9 | 6.982 | 142.2 | 7.258 | 133.952 | 7.303 | 134.8 | 27.51 | 964.765 | 69.7104 | 32.4334
2020-06-26 12:15:00 | 4.88 | 143.1 | 5.256 | 161.1 | 5.503 | 151.756 | 5.332 | 145.3 | 27.78 | 964.765 | 69.5401 | 18.6294
2020-06-26 12:30:00 | 5.995 | 138.6 | 6.141 | 160.9 | 5.486 | 151.568 | 5.312 | 141 | 27.99 | 965.062 | 69.029 | 15.2191
2020-06-26 12:45:00 | 4.65 | 143.1 | 5.018 | 160.4 | 5.018 | 151.097 | 4.932 | 147.5 | 28.08 | 965.062 | 69.7104 | 10.8518
2020-06-26 13:00:00 | 5.066 | 151.4 | 5.205 | 166.3 | 5.292 | 156.655 | 5.111 | 157.6 | 28.11 | 965.21 | 68.8586 | 10.0426
2020-06-26 13:15:00 | 6.713 | 177.2 | 6.69 | 189.7 | 6.063 | 178.697 | 6.152 | 183.2 | 28.57 | 965.21 | 64.8723 | 19.7933
2020-06-26 13:30:00 | 8.46 | 182.3 | 8.21 | 196.7 | 7.495 | 185.291 | 7.469 | 184.6 | 29.08 | 964.617 | 62.7939 | 19.1245
2020-06-26 13:45:00 | 7.995 | 181 | 7.756 | 194.7 | 7.07 | 183.407 | 7.117 | 186.1 | 29.15 | 965.062 | 63.7824 | 11.0402
2020-06-26 14:00:00 | 5.967 | 178.5 | 5.737 | 191.2 | 5.046 | 180.11 | 4.991 | 184.9 | 29.05 | 964.765 | 63.3731 | 6.4401
2020-06-26 14:15:00 | 6.067 | 181.7 | 5.89 | 194.6 | 5.684 | 183.313 | 5.74 | 186.3 | 29.17 | 965.062 | 63.782 | 5.0287
2020-06-26 14:30:00 | 4.979 | 184.2 | 4.85 | 197.6 | 2.213 | 186.139 | 4.698 | 187.8 | 29.27 | 965.21 | 62.9642 | 4.4006
2020-06-26 14:45:00 | 4.236 | 201 | 4.157 | 209.3 | 3.761 | 197.161 | 3.697 | 204.5 | 29.45 | 965.062 | 62.7598 | 4.2306
2020-06-26 15:00:00 | 4.221 | 207.4 | 4.438 | 216.3 | 2.845 | 203.755 | 2.637 | 237.8 | 29.58 | 965.358 | 62.351 | 7.4008
2020-06-26 15:15:00 | 4.813 | 265.8 | 5.131 | 277.3 | 5.216 | 261.217 | 5.047 | 270.1 | 29.5 | 965.358 | 65.9966 | 6.4697
2020-06-26 15:30:00 | 5.061 | 257.1 | 4.988 | 268.9 | 4.878 | 253.304 | 4.772 | 258.6 | 29.34 | 965.358 | 67.0528 | 6.8133
2020-06-26 15:45:00 | 5.084 | 258.5 | 5.121 | 268.1 | 4.972 | 252.55 | 4.795 | 262.9 | 29.25 | 965.21 | 67.121 | 13.0317
2020-06-26 16:00:00 | 7.157 | 238.2 | 7.266 | 248.8 | 6.622 | 234.37 | 6.509 | 242 | 29.3 | 965.506 | 66.3033 | 13.5194
2020-06-26 16:15:00 | 6.154 | 253.2 | 6.256 | 266.3 | 6.223 | 250.855 | 6.147 | 254.7 | 29.23 | 966.248 | 64.4923 | 9.1706
2020-06-26 16:30:00 | 4.589 | 246.4 | 4.788 | 257.6 | 4.715 | 242.659 | 4.741 | 250.6 | 29.54 | 965.951 | 64.9976 | 5.0693
2020-06-26 16:45:00 | 8.74 | 138.7 | 8.67 | 153.5 | 8.64 | 144.597 | 8.56 | 146.2 | 25.01 | 965.062 | 76.1736 | 22.978
2020-06-26 17:00:00 | 7.331 | 149.2 | 7.718 | 164.5 | 7.869 | 154.959 | 7.797 | 157.1 | 25.22 | 964.617 | 68.4156 | 24.1828
2020-06-26 17:15:00 | 6.677 | 150 | 7.025 | 165.3 | 6.694 | 155.713 | 6.542 | 158 | 25.75 | 964.457 | 70.8226 | 25.2173
2020-06-26 17:30:00 | 8.05 | 149.6 | 7.813 | 164.3 | 7.505 | 154.771 | 7.349 | 157.1 | 25.43 | 964.318 | 72.3239 | 23.6101
2020-06-26 17:45:00 | 5.605 | 134.1 | 6.358 | 154.5 | 6.569 | 145.539 | 6.445 | 139.2 | 25.36 | 964.169 | 69.3251 | 35.9028
2020-06-26 18:00:00 | 6.008 | 130.9 | 6.741 | 144.2 | 6.437 | 135.836 | 6.155 | 138.6 | 25.57 | 964.396 | 68.8821 | 32.8176
2020-06-26 18:15:00 | 5.712 | 134.6 | 6.488 | 146.8 | 5.887 | 138.286 | 5.658 | 146.1 | 25.59 | 964.552 | 66.1213 | 30.6857
2020-06-26 18:30:00 | 4.366 | 143.9 | 5.279 | 160.3 | 5.229 | 151.003 | 5.083 | 153.5 | 25.46 | 964.713 | 64.6246 | 25.5794
2020-06-26 18:45:00 | 4.507 | 145.7 | 4.977 | 164.6 | 5.374 | 155.053 | 5.388 | 148.7 | 25.41 | 964.462 | 63.507 | 23.9463
2020-06-26 19:00:00 | 5.988 | 153.1 | 6.729 | 164.8 | 7.233 | 155.242 | 7.128 | 163.3 | 25.29 | 964.611 | 59.9966 | 21.1678
2020-06-26 19:15:00 | 6.151 | 155.3 | 6.386 | 167.1 | 6.177 | 157.408 | 6.03 | 163.5 | 25.67 | 964.315 | 61.4283 | 17.5579
2020-06-26 19:30:00 | 5.63 | 156.6 | 6.258 | 170 | 5.676 | 160.14 | 5.6 | 168.8 | 25.89 | 963.999 | 64.2918 | 19.7453
2020-06-26 19:45:00 | 7.086 | 142.6 | 7.23 | 158.4 | 7.24 | 149.213 | 7.031 | 150 | 25.67 | 964.609 | 66.5417 | 32.3447
2020-06-26 20:00:00 | 6.422 | 142.9 | 7.066 | 160.8 | 7.52 | 151.474 | 7.438 | 148.5 | 24.97 | 963.573 | 66.7462 | 48.3027
2020-06-26 20:15:00 | 8.24 | 134.9 | 8.43 | 153.4 | 8.49 | 144.503 | 8.31 | 140.6 | 25.08 | 963.276 | 60.8147 | 47.4862
2020-06-26 20:30:00 | 7.599 | 142.1 | 7.813 | 159.5 | 8.25 | 150.249 | 8.19 | 145.7 | 25.04 | 963.42 | 65.1099 | 44.0463
2020-06-26 20:45:00 | 7.862 | 138.6 | 8.15 | 158.6 | 8.62 | 149.401 | 8.61 | 142.5 | 24.91 | 962.98 | 68.2461 | 48.2251
2020-06-26 21:00:00 | 7.065 | 141.3 | 7.496 | 157.9 | 8.63 | 148.742 | 8.79 | 144.8 | 25.07 | 963.128 | 66.3713 | 48.9308
2020-06-26 21:15:00 | 7.185 | 131.6 | 7.585 | 151.4 | 7.815 | 142.619 | 7.836 | 135.8 | 25.66 | 962.98 | 65.0442 | 46.6031
2020-06-26 21:30:00 | 5.638 | 150.1 | 5.289 | 170.6 | 6.605 | 160.705 | 6.746 | 151.1 | 25.15 | 963.425 | 68.7234 | 43.9613
2020-06-26 21:45:00 | 6.256 | 143.1 | 6.542 | 160.9 | 7.81 | 151.568 | 7.833 | 147.3 | 25.17 | 963.573 | 69.7461 | 40.2369
2020-06-26 22:00:00 | 6.271 | 146.9 | 6.749 | 165.6 | 7.561 | 155.995 | 7.612 | 150.7 | 25.18 | 963.87 | 71.1096 | 27.1719
2020-06-26 22:15:00 | 6.552 | 149.4 | 7.03 | 167.1 | 7.932 | 157.408 | 7.968 | 154.9 | 25.19 | 963.722 | 69.2006 | 29.5551
2020-06-26 22:30:00 | 6.613 | 143.4 | 7.452 | 160.9 | 8.59 | 151.568 | 8.58 | 148.7 | 25.28 | 963.271 | 61.6329 | 31.9937
2020-06-26 22:45:00 | 5.245 | 145.8 | 5.499 | 165.6 | 6.64 | 155.995 | 6.802 | 148.1 | 25.83 | 963.425 | 66.1327 | 35.101
2020-06-26 23:00:00 | 6.958 | 138.6 | 7.47 | 155.1 | 8.45 | 146.104 | 8.57 | 142.3 | 25.65 | 963.425 | 68.5189 | 46.6437
2020-06-26 23:15:00 | 7.724 | 140.9 | 7.664 | 156.4 | 8.26 | 147.329 | 8.28 | 145.5 | 25.5 | 963.573 | 69.712 | 45.7828
2020-06-26 23:30:00 | 7.941 | 139.7 | 7.728 | 154.1 | 8.01 | 145.162 | 8.06 | 145.4 | 25.51 | 963.425 | 72.0641 | 44.9774
2020-06-26 23:45:00 | 7.54 | 133.1 | 7.892 | 150.6 | 8.37 | 141.865 | 8.36 | 140.1 | 25.53 | 962.832 | 71.8596 | 49.3594