## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-27 00:00:00 | 7.012 | 137.3 | 7.404 | 157 | 7.886 | 147.894 | 7.958 | 141.7 | 25.78 | 963.276 | 71.5869 | 38.685
2020-06-27 00:15:00 | 5.916 | 139.8 | 6.473 | 154.4 | 7.09 | 145.445 | 7.051 | 145.8 | 25.58 | 963.425 | 72.0641 | 33.4531
2020-06-27 00:30:00 | 5.983 | 137.6 | 6.202 | 151.4 | 6.615 | 142.619 | 6.626 | 144.8 | 25.71 | 962.98 | 70.3597 | 25.2099
2020-06-27 00:45:00 | 5.268 | 138.8 | 5.64 | 152.2 | 6.327 | 143.372 | 6.31 | 144.6 | 25.85 | 963.417 | 71.246 | 12.5034
2020-06-27 01:00:00 | 2.975 | 184.9 | 2.569 | 253.4 | 1.996 | 238.703 | 1.917 | 175.7 | 25.46 | 963.276 | 71.0073 | 4.5668
2020-06-27 01:15:00 | 1.365 | 147.4 | 2.195 | 170.2 | 3.39 | 160.328 | 3.435 | 152.8 | 25.2 | 963.544 | 71.4505 | 0.9348
2020-06-27 01:30:00 | 1.661 | 27.76 | 1.343 | 6.563 | 0.068 | 6.1823 | 0.126 | 140 | 24.92 | 963.276 | 74.0413 | 1.0087
2020-06-27 01:45:00 | 1.63 | 93.3 | 1.801 | 77.02 | 1.699 | 72.5528 | 1.561 | 117.8 | 24.37 | 962.98 | 75.8139 | 0.14779
2020-06-27 02:00:00 | 1.976 | 116.4 | 2.303 | 90.4 | 2.225 | 85.1568 | 2.065 | 131.9 | 23.85 | 963.128 | 80.9299 | 0.49141
2020-06-27 02:15:00 | 1.566 | 119.6 | 1.914 | 106.1 | 1.725 | 99.9462 | 1.589 | 138.9 | 24.11 | 962.98 | 78.8224 | 0.6429
2020-06-27 02:30:00 | 3.685 | 1.445 | 3.916 | 10.99 | 2.866 | 10.3526 | 2.615 | 9.09 | 23.59 | 963.425 | 81.3483 | -0.21061
2020-06-27 02:45:00 | 3.261 | 14.12 | 3.806 | 28.76 | 2.79 | 27.0919 | 2.497 | 30.36 | 23.22 | 963.425 | 82.6457 | 0.2845
2020-06-27 03:00:00 | 2.635 | 17.44 | 3.438 | 31.98 | 2.426 | 30.1252 | 2.149 | 33.37 | 23.43 | 963.425 | 79.7136 | 0.11824
2020-06-27 03:15:00 | 2.934 | 14.88 | 3.103 | 26.71 | 2.39 | 25.1608 | 2.238 | 25.61 | 24.53 | 963.87 | 74.5312 | -0.12932
2020-06-27 03:30:00 | 2.275 | 77.13 | 2.196 | 68.08 | 1.631 | 64.1314 | 1.412 | 106.3 | 25.03 | 963.87 | 72.4845 | -0.24016
2020-06-27 03:45:00 | 1.791 | 118.9 | 2.015 | 113.9 | 2.367 | 107.294 | 2.256 | 125.9 | 25.26 | 963.87 | 73.3379 | -0.30667
2020-06-27 04:00:00 | 2.924 | 144.2 | 3.494 | 155.8 | 3.685 | 146.764 | 3.634 | 156.3 | 25.28 | 964.018 | 74.1173 | 0.46186
2020-06-27 04:15:00 | 3.378 | 150 | 4.236 | 161.9 | 4.539 | 152.51 | 4.421 | 159.7 | 25.12 | 964.167 | 74.7591 | 2.7379
2020-06-27 04:30:00 | 3.983 | 156.4 | 4.586 | 170.4 | 4.588 | 160.517 | 4.472 | 165.3 | 25.35 | 964.167 | 73.8714 | 3.5397
2020-06-27 04:45:00 | 3.577 | 154.8 | 4.277 | 167.9 | 4.428 | 158.162 | 4.321 | 165.1 | 25.39 | 964.463 | 74.4504 | 3.2441
2020-06-27 05:00:00 | 3.192 | 147.7 | 3.694 | 164.8 | 4.125 | 155.242 | 4.054 | 158.1 | 25.22 | 964.315 | 74.9617 | 2.9891
2020-06-27 05:15:00 | 1.765 | 140.7 | 2.37 | 165.7 | 3.352 | 156.089 | 3.399 | 145.1 | 25.04 | 964.612 | 76.0184 | 3.5212
2020-06-27 05:30:00 | 2.326 | 133.7 | 3.039 | 149 | 3.474 | 140.358 | 3.361 | 141.5 | 25.27 | 964.463 | 74.5867 | 3.717
2020-06-27 05:45:00 | 2.32 | 128.6 | 3.346 | 142.8 | 3.827 | 134.518 | 3.697 | 136.2 | 25.24 | 964.612 | 74.4503 | 3.4214
2020-06-27 06:00:00 | 2.024 | 132.3 | 3.137 | 150.3 | 3.746 | 141.583 | 3.613 | 140.9 | 25.3 | 964.76 | 74.1094 | 3.366
2020-06-27 06:15:00 | 1.598 | 138.3 | 2.717 | 154.2 | 3.634 | 145.256 | 3.56 | 145.2 | 25.27 | 964.612 | 74.5526 | 3.2699
2020-06-27 06:30:00 | 3.161 | 125.9 | 3.904 | 138.1 | 3.901 | 130.09 | 3.741 | 138.7 | 25.56 | 965.057 | 72.8822 | 2.5051
2020-06-27 06:45:00 | 3.782 | 139.1 | 4.382 | 148.3 | 4.28 | 139.699 | 4.14 | 151.5 | 25.85 | 965.205 | 71.5165 | 2.712
2020-06-27 07:00:00 | 3.611 | 140.6 | 4.277 | 151 | 4.303 | 142.242 | 4.186 | 151.7 | 25.97 | 965.339 | 70.7567 | 2.2428
2020-06-27 07:15:00 | 2.342 | 125.4 | 2.549 | 140.2 | 2.261 | 132.068 | 2.205 | 139 | 26.21 | 965.662 | 70.1091 | 2.5273
2020-06-27 07:30:00 | 1.418 | 120.7 | 1.846 | 142.7 | 0.529 | 134.423 | 1.229 | 124.2 | 26.84 | 965.801 | 67.7541 | 2.276
2020-06-27 07:45:00 | 2.666 | 143.2 | 2.827 | 160.8 | 0.019 | 151.474 | 2.409 | 147.7 | 27.05 | 965.728 | 65.8334 | 1.792
2020-06-27 08:00:00 | 4.44 | 149.5 | 4.169 | 167.4 | 2.282 | 157.691 | 3.573 | 155.1 | 26.92 | 965.655 | 65.7922 | 2.095
2020-06-27 08:15:00 | 3.856 | 156.2 | 3.822 | 170.6 | 3.063 | 160.705 | 3.46 | 162.9 | 26.88 | 965.803 | 66.4395 | 1.3191
2020-06-27 08:30:00 | 3.68 | 155.1 | 3.546 | 167.4 | 1.374 | 157.691 | 3.043 | 166.6 | 27.16 | 966.099 | 64.5315 | 0.787
2020-06-27 08:45:00 | 3.672 | 161.4 | 3.451 | 173.1 | 1.573 | 163.06 | 2.396 | 166.1 | 27.73 | 966.544 | 62.4175 | 0.47294
2020-06-27 09:00:00 | 2.824 | 146.9 | 2.543 | 160.4 | 0.683 | 151.097 | 1.039 | 157.5 | 27.84 | 966.544 | 63.2265 | -0.16996
2020-06-27 09:15:00 | 3.611 | 140.8 | 3.643 | 159.8 | 2.803 | 150.532 | 2.618 | 145.5 | 28.21 | 966.544 | 60.3285 | -0.17366
2020-06-27 09:30:00 | 3.018 | 156 | 3.065 | 175.5 | 2.388 | 165.321 | 2.396 | 156.1 | 28.89 | 966.692 | 57.9701 | -0.31776
2020-06-27 09:45:00 | 3.133 | 169 | 3.129 | 175.9 | 0 | 165.698 | 2.77 | 178.8 | 28.87 | 966.989 | 58.8556 | -0.23647
2020-06-27 10:00:00 | 3.171 | 200.5 | 3.379 | 218.3 | 0 | 205.639 | 2.633 | 204 | 29.18 | 966.544 | 58.3788 | -0.22539
2020-06-27 10:15:00 | 3.787 | 197.8 | 3.758 | 210.3 | 0 | 198.103 | 3.081 | 202.3 | 29.43 | 966.248 | 59.1962 | -0.25864
2020-06-27 10:30:00 | 2.741 | 220.3 | 2.417 | 243.9 | 0 | 229.754 | 1.84 | 209.5 | 29.37 | 966.544 | 58.6854 | -0.24016
2020-06-27 10:45:00 | 1.406 | 211.9 | 1.862 | 237.5 | 0 | 223.725 | 0.955 | 221.2 | 30.5 | 966.84 | 53.4741 | -0.24016
2020-06-27 11:00:00 | 1.152 | 335.8 | 1.708 | 17.07 | 1.431 | 16.0799 | 1.245 | 330.2 | 30.81 | 966.989 | 54.8365 | -0.24016
2020-06-27 11:15:00 | 1.835 | 352.5 | 1.973 | 358.1 | 1.571 | 337.33 | 1.574 | 340.9 | 30.71 | 967.137 | 52.0095 | -0.25864
2020-06-27 11:30:00 | 3.703 | 271.6 | 3.686 | 286.4 | 3.034 | 269.789 | 2.88 | 274.1 | 30.41 | 966.789 | 53.7807 | -0.22539
2020-06-27 11:45:00 | 2.594 | 230.1 | 2.814 | 241.4 | 2.341 | 227.399 | 2.321 | 257.3 | 31.26 | 966.484 | 51.4305 | -0.23647
2020-06-27 12:00:00 | 2.535 | 163.3 | 2.47 | 196.2 | 1.569 | 184.82 | 1.469 | 156.6 | 31.8 | 966.322 | 51.0899 | -0.24386
2020-06-27 12:15:00 | 2.458 | 24.76 | 2.624 | 17.76 | 2.911 | 16.7299 | 2.675 | 31.17 | 32.18 | 966.46 | 46.3215 | -0.16257
2020-06-27 12:30:00 | 2.691 | 132.1 | 3.123 | 163.8 | 2.148 | 154.3 | 2.01 | 146.8 | 32.55 | 966.481 | 45.6403 | -0.24016
2020-06-27 12:45:00 | 0.381 | 12.56 | 1.18 | 14.62 | 2.103 | 13.772 | 2.117 | 23.68 | 32.21 | 966.3 | 43.733 | -0.25494
2020-06-27 13:00:00 | 1.818 | 40.18 | 1.996 | 53.47 | 1.677 | 50.3687 | 1.584 | 28.17 | 33.16 | 966.333 | 43.8352 | -0.25864
2020-06-27 13:15:00 | 1.913 | 310.5 | 2.753 | 317.4 | 2.613 | 298.991 | 2.5 | 300.6 | 32.02 | 966.116 | 41.5531 | -0.23278
2020-06-27 13:30:00 | 2.189 | 287.7 | 2.82 | 298.1 | 2.519 | 280.81 | 2.564 | 288.7 | 32.69 | 965.898 | 38.4537 | -0.2845
2020-06-27 13:45:00 | 2.449 | 355.3 | 3.739 | 347.8 | 3.979 | 327.628 | 3.853 | 346.3 | 33.18 | 966.138 | 35.3202 | -0.16627
2020-06-27 14:00:00 | 2.116 | 22.4 | 3.801 | 30.91 | 3.855 | 29.1172 | 3.621 | 23.43 | 33.71 | 966.385 | 34.2643 | 0.30667
2020-06-27 14:15:00 | 4.062 | 283.9 | 4.683 | 299.2 | 4.944 | 281.846 | 4.897 | 287.8 | 33.67 | 967.105 | 31.4362 | 0.16257
2020-06-27 14:30:00 | 2.755 | 28.4 | 4.42 | 42.54 | 4.672 | 40.0727 | 4.423 | 33.13 | 34.24 | 966.286 | 38.7527 | 0.10715
2020-06-27 14:45:00 | 1.698 | 37.89 | 2.263 | 45.58 | 2.996 | 42.9364 | 2.643 | 43.07 | 34.11 | 966.658 | 39.8369 | 0.46186
2020-06-27 15:00:00 | 1.426 | 45.44 | 2.435 | 64.22 | 2.899 | 60.4952 | 2.789 | 51.1 | 33.68 | 966.406 | 37.5553 | 1.6764e-08
2020-06-27 15:15:00 | 2.12 | 33.47 | 4.059 | 51.41 | 4.082 | 48.4282 | 3.899 | 38.09 | 33.06 | 966.276 | 40.858 | 0.20691
2020-06-27 15:30:00 | 1.733 | 73.81 | 3.126 | 86.2 | 3.84 | 81.2004 | 3.837 | 76.88 | 33.52 | 966.412 | 43.1733 | 0.37687
2020-06-27 15:45:00 | 2.805 | 65.96 | 3.881 | 82.8 | 4.051 | 77.9976 | 4.026 | 70.32 | 32.05 | 965.611 | 43.9913 | 0.76114
2020-06-27 16:00:00 | 2.611 | 63.78 | 3.855 | 80.9 | 2.96 | 76.2078 | 2.833 | 65.04 | 32 | 965.736 | 44.3113 | 0.99761
2020-06-27 16:15:00 | 1.761 | 73.5 | 3.137 | 87.1 | 2.81 | 82.0482 | 2.73 | 77.42 | 31.86 | 965.424 | 43.6989 | 2.0026
2020-06-27 16:30:00 | 2.825 | 62.7 | 4.049 | 75.26 | 3.329 | 70.8949 | 3.224 | 66.63 | 31.8 | 965.356 | 43.2561 | 2.9596
2020-06-27 16:45:00 | 2.786 | 55.94 | 3.811 | 69.38 | 3.349 | 65.356 | 3.226 | 60.83 | 31.73 | 965.358 | 43.0858 | 2.0765
2020-06-27 17:00:00 | 2.316 | 44.63 | 3.262 | 58.53 | 3.37 | 55.1353 | 3.295 | 54.4 | 31.69 | 965.061 | 42.9836 | 1.2304
2020-06-27 17:15:00 | 0.294 | 66.62 | 1.624 | 76.46 | 1.823 | 72.0253 | 1.713 | 76.8 | 31.71 | 965.061 | 43.3939 | 0.42121
2020-06-27 17:30:00 | 1.788 | 118.2 | 2.134 | 139 | 2.011 | 130.938 | 1.864 | 110.9 | 31.46 | 965.358 | 45.9205 | 0.036948
2020-06-27 17:45:00 | 6.036 | 140.4 | 5.898 | 157.3 | 5.653 | 148.177 | 5.455 | 146.6 | 30.41 | 965.209 | 51.1669 | 2.6381
2020-06-27 18:00:00 | 4.349 | 129.4 | 4.814 | 143.8 | 4.328 | 135.46 | 4.158 | 136.8 | 29.96 | 965.358 | 50.6295 | 9.0487
2020-06-27 18:15:00 | 5.056 | 121.2 | 5.046 | 143.2 | 6.02 | 134.894 | 6.025 | 125.2 | 29.51 | 965.209 | 49.54 | 21.2712
2020-06-27 18:30:00 | 5.122 | 115.9 | 5.742 | 138.3 | 5.363 | 130.279 | 5.261 | 118.2 | 29.54 | 964.765 | 49.4719 | 18.5555
2020-06-27 18:45:00 | 4.063 | 102.5 | 5.126 | 114.2 | 4.87 | 107.576 | 5.029 | 109.1 | 30.08 | 964.765 | 49.6763 | 13.8076
2020-06-27 19:00:00 | 3.904 | 101 | 4.438 | 116.3 | 4.659 | 109.555 | 4.749 | 108.7 | 29.95 | 964.765 | 47.9046 | 12.4627
2020-06-27 19:15:00 | 3.731 | 106.9 | 4.32 | 120.2 | 4.534 | 113.228 | 4.68 | 110.7 | 30.33 | 964.765 | 46.201 | 10.7889
2020-06-27 19:30:00 | 3.649 | 105 | 4.302 | 121.6 | 4.379 | 114.547 | 4.441 | 109.2 | 30.44 | 964.765 | 42.5902 | 9.1521
2020-06-27 19:45:00 | 3.565 | 97.2 | 4.343 | 112.9 | 4.344 | 106.352 | 4.454 | 102.1 | 30.66 | 964.845 | 42.4536 | 8.8602
2020-06-27 20:00:00 | 4.821 | 94.8 | 5.698 | 110.7 | 5.567 | 104.279 | 6.063 | 99.3 | 30.44 | 964.558 | 43.4783 | 7.3306
2020-06-27 20:15:00 | 3.302 | 114.6 | 3.904 | 129.4 | 4.038 | 121.895 | 4.011 | 119.2 | 30.48 | 964.733 | 42.7296 | 4.4855
2020-06-27 20:30:00 | 3.146 | 112 | 3.768 | 125.4 | 3.71 | 118.127 | 3.697 | 119.8 | 30.93 | 964.551 | 42.3917 | 3.6911
2020-06-27 20:45:00 | 3.33 | 106.1 | 3.594 | 127 | 3.865 | 119.634 | 3.863 | 111.3 | 30.86 | 965.139 | 46.8192 | 4.8144
2020-06-27 21:00:00 | 4.469 | 91.2 | 5.369 | 106 | 5.709 | 99.852 | 6.152 | 100.3 | 30.45 | 964.956 | 47.1578 | 7.3897
2020-06-27 21:15:00 | 4.543 | 99.2 | 5.328 | 115.1 | 5.196 | 108.424 | 5.376 | 105.3 | 30.37 | 965.271 | 47.8415 | 7.1717
2020-06-27 21:30:00 | 4.428 | 96.8 | 5.32 | 111.3 | 5.328 | 104.845 | 5.607 | 102.4 | 30.4 | 965.024 | 49.476 | 7.9809
2020-06-27 21:45:00 | 4.839 | 97.3 | 5.558 | 112.3 | 5.923 | 105.787 | 6.203 | 103.5 | 30.25 | 964.807 | 50.0248 | 10.8296
2020-06-27 22:00:00 | 5.217 | 99.9 | 6.435 | 112.8 | 6.388 | 106.258 | 6.537 | 106.2 | 30.08 | 964.952 | 50.6397 | 19.7489
2020-06-27 22:15:00 | 5.6 | 112.1 | 6.205 | 131.5 | 6.617 | 123.873 | 6.758 | 115.9 | 29.55 | 965.035 | 53.0959 | 21.3525
2020-06-27 22:30:00 | 4.31 | 110.5 | 4.553 | 128.2 | 5.066 | 120.764 | 5.243 | 113.5 | 28.84 | 964.614 | 56.0999 | 19.8783
2020-06-27 22:45:00 | 4.754 | 121.2 | 5.151 | 134.9 | 5.478 | 127.076 | 5.465 | 128.1 | 28.61 | 964.318 | 58.8261 | 15.6883
2020-06-27 23:00:00 | 5.163 | 121.6 | 5.576 | 141.7 | 5.737 | 133.481 | 5.783 | 124.3 | 28.6 | 964.318 | 56.1649 | 23.344
2020-06-27 23:15:00 | 6.767 | 134.5 | 7.245 | 149.6 | 7.413 | 140.923 | 7.347 | 140.6 | 28.98 | 964.466 | 52.9948 | 31.1586
2020-06-27 23:30:00 | 7.796 | 138.5 | 8.23 | 154.9 | 8.51 | 145.916 | 8.5 | 143.2 | 28.78 | 964.466 | 55.2442 | 33.5898
2020-06-27 23:45:00 | 7.816 | 138.5 | 8.24 | 155 | 8.84 | 146.01 | 8.74 | 145 | 28.65 | 964.318 | 55.8256 | 36.2501