## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-28 00:00:00 | 10.14 | 141.9 | 10.52 | 158.1 | 10.78 | 148.93 | 10.73 | 147.8 | 28.39 | 964.169 | 58.9274 | 54.6689
2020-06-28 00:15:00 | 10.62 | 144.7 | 10.81 | 158.9 | 10.77 | 149.684 | 10.6 | 150.5 | 27.71 | 964.318 | 63.3941 | 53.8893
2020-06-28 00:30:00 | 9.28 | 145.8 | 9.81 | 162.5 | 10.55 | 153.075 | 10.43 | 151.6 | 27.25 | 964.466 | 64.758 | 51.9791
2020-06-28 00:45:00 | 9.14 | 142.1 | 9.91 | 158 | 10.22 | 148.836 | 9.96 | 148 | 27.22 | 964.466 | 64.6898 | 44.1571
2020-06-28 01:00:00 | 8.72 | 143.7 | 9.23 | 159.1 | 9.7 | 149.872 | 9.59 | 149.8 | 27.24 | 964.32 | 64.5876 | 38.0237
2020-06-28 01:15:00 | 7.916 | 142.8 | 8.2 | 160.1 | 9.18 | 150.814 | 9.09 | 149.6 | 26.92 | 964.346 | 66.0532 | 35.6811
2020-06-28 01:30:00 | 7.658 | 143.8 | 8.36 | 160.4 | 9.17 | 151.097 | 9.07 | 150.5 | 26.88 | 964.36 | 66.8711 | 31.905
2020-06-28 01:45:00 | 8.04 | 143.2 | 8.53 | 159.3 | 9.08 | 150.061 | 8.95 | 149.5 | 26.79 | 964.281 | 68.2345 | 31.1032
2020-06-28 02:00:00 | 7.318 | 144.6 | 7.856 | 160.3 | 8.17 | 151.003 | 8.09 | 151.6 | 26.74 | 964.538 | 66.2577 | 27.4342
2020-06-28 02:15:00 | 6.491 | 144.5 | 7.186 | 160.7 | 8.2 | 151.379 | 8.23 | 150.7 | 26.58 | 964.431 | 65.3044 | 22.1949
2020-06-28 02:30:00 | 5.439 | 148.1 | 5.974 | 163.7 | 6.701 | 154.205 | 6.748 | 152.1 | 26.45 | 964.709 | 64.8263 | 21.2675
2020-06-28 02:45:00 | 5.181 | 145.7 | 5.847 | 163.9 | 6.673 | 154.394 | 6.692 | 148.3 | 26.28 | 964.37 | 67.3519 | 19.5494
2020-06-28 03:00:00 | 4.17 | 144.8 | 4.509 | 161.6 | 5.302 | 152.227 | 5.335 | 150.9 | 26.1 | 964.611 | 70.5601 | 15.3484
2020-06-28 03:15:00 | 3.641 | 140.9 | 3.947 | 154.9 | 4.799 | 145.916 | 4.729 | 143.2 | 25.97 | 964.908 | 68.723 | 11.6055
2020-06-28 03:30:00 | 5.528 | 143.8 | 5.982 | 161.7 | 6.162 | 152.321 | 6.078 | 149.6 | 26.18 | 964.612 | 68.3484 | 12.7509
2020-06-28 03:45:00 | 3.057 | 151.7 | 3.73 | 174 | 3.876 | 163.908 | 3.919 | 145.9 | 25.93 | 964.893 | 70.1551 | 7.338
2020-06-28 04:00:00 | 3.966 | 146.9 | 4.328 | 163.4 | 4.42 | 153.923 | 4.339 | 149.7 | 25.89 | 964.76 | 71.4505 | 9.4699
2020-06-28 04:15:00 | 3.164 | 147.8 | 3.318 | 165.1 | 4.483 | 155.524 | 4.596 | 150.1 | 25.82 | 964.908 | 72.3368 | 10.0758
2020-06-28 04:30:00 | 4.729 | 141.3 | 5.302 | 158.8 | 6.139 | 149.59 | 6.104 | 148.2 | 25.77 | 964.76 | 74.3821 | 11.6868
2020-06-28 04:45:00 | 4.859 | 144.3 | 4.993 | 159.4 | 5.084 | 150.155 | 5.039 | 147.7 | 25.75 | 964.76 | 76.0184 | 12.4664
2020-06-28 05:00:00 | 3.649 | 141.6 | 3.794 | 156.9 | 4.071 | 147.8 | 4.016 | 145.4 | 25.54 | 964.908 | 76.9729 | 14.336
2020-06-28 05:15:00 | 4.183 | 141.5 | 4.323 | 153.9 | 4.74 | 144.974 | 4.721 | 145.1 | 25.57 | 965.053 | 76.3252 | 13.8187
2020-06-28 05:30:00 | 3.312 | 143.3 | 4.098 | 157.6 | 4.623 | 148.459 | 4.533 | 146.9 | 25.53 | 965.057 | 76.4275 | 11.842
2020-06-28 05:45:00 | 3.738 | 135.1 | 3.914 | 152.3 | 4.153 | 143.467 | 4.09 | 142.2 | 25.52 | 965.205 | 76.3252 | 10.7853
2020-06-28 06:00:00 | 3.593 | 131.8 | 3.686 | 147 | 4.041 | 138.474 | 3.962 | 140.3 | 25.52 | 965.205 | 75.7798 | 13.3606
2020-06-28 06:15:00 | 4.458 | 143.9 | 5.031 | 164.7 | 4.898 | 155.147 | 4.729 | 147.1 | 25.55 | 965.483 | 77.2456 | 15.729
2020-06-28 06:30:00 | 5.62 | 138.8 | 6.033 | 157.6 | 6.274 | 148.459 | 6.119 | 142.8 | 25.67 | 965.65 | 74.9201 | 15.5627
2020-06-28 06:45:00 | 4.982 | 136.5 | 5.56 | 153.6 | 5.671 | 144.691 | 5.651 | 139.6 | 25.58 | 965.726 | 75.3238 | 15.9691
2020-06-28 07:00:00 | 5.457 | 132.1 | 5.478 | 150.4 | 5.348 | 141.677 | 5.271 | 137.8 | 25.79 | 965.55 | 78.3231 | 14.4284
2020-06-28 07:15:00 | 5.255 | 135.2 | 5.581 | 151.8 | 5.895 | 142.996 | 5.74 | 140.3 | 25.88 | 965.801 | 76.2781 | 14.4395
2020-06-28 07:30:00 | 5.916 | 127.5 | 6.476 | 143.8 | 6.411 | 135.46 | 6.351 | 133.6 | 26.06 | 965.801 | 73.0743 | 13.2719
2020-06-28 07:45:00 | 4.806 | 130.3 | 4.883 | 150.3 | 4.659 | 141.583 | 4.492 | 133.8 | 26.49 | 965.949 | 70.139 | 11.2139
2020-06-28 08:00:00 | 5.086 | 136 | 5.034 | 157.7 | 4.361 | 148.553 | 4.039 | 137.6 | 26.93 | 965.949 | 66.4601 | 10.0278
2020-06-28 08:15:00 | 3.192 | 138.9 | 4.3 | 162.7 | 3.593 | 153.263 | 3.455 | 136.7 | 27.75 | 965.972 | 64.1935 | 9.1115
2020-06-28 08:30:00 | 4.106 | 137.7 | 4.627 | 156.7 | 4.532 | 147.611 | 4.298 | 141.1 | 27.82 | 966.248 | 63.8501 | 9.4292
2020-06-28 08:45:00 | 5.36 | 143.2 | 5.412 | 162.2 | 4.369 | 152.792 | 4.217 | 145.6 | 27.88 | 965.951 | 60.8518 | 6.1667
2020-06-28 09:00:00 | 3.373 | 143.4 | 3.653 | 162.5 | 3.151 | 153.075 | 2.849 | 145.9 | 28.09 | 966.544 | 56.1472 | 4.5705
2020-06-28 09:15:00 | 4.367 | 150.6 | 4.591 | 173.5 | 4.196 | 163.437 | 4 | 152.8 | 28.61 | 966.84 | 60.8417 | 3.5323
2020-06-28 09:30:00 | 5.181 | 143.5 | 4.903 | 162.3 | 4.55 | 152.887 | 4.426 | 146.2 | 27.85 | 966.692 | 61.7952 | 2.5457
2020-06-28 09:45:00 | 5.781 | 153.5 | 5.673 | 171.4 | 4.883 | 161.459 | 4.711 | 155.5 | 28.03 | 966.692 | 55.3987 | 2.1393
2020-06-28 10:00:00 | 4.425 | 135.2 | 4.839 | 151.8 | 4.562 | 142.996 | 4.39 | 141.5 | 28.5 | 966.692 | 59.9319 | 1.3523
2020-06-28 10:15:00 | 2.724 | 125 | 3.679 | 147.4 | 3.53 | 138.851 | 3.376 | 125 | 29.23 | 966.692 | 52.4989 | 2.2908
2020-06-28 10:30:00 | 3.943 | 102.9 | 4.584 | 119.5 | 4.346 | 112.569 | 4.296 | 110.1 | 29.83 | 966.84 | 52.1178 | 3.4621
2020-06-28 10:45:00 | 4.91 | 118.4 | 5.591 | 138.8 | 5.28 | 130.75 | 5.192 | 125.2 | 30.11 | 966.692 | 50.8175 | 4.4966
2020-06-28 11:00:00 | 3.776 | 120.5 | 4.111 | 143.5 | 4.359 | 135.177 | 4.319 | 119 | 30.28 | 966.989 | 47.718 | 5.7122
2020-06-28 11:15:00 | 3.712 | 112.1 | 4.474 | 138.6 | 3.886 | 130.561 | 3.901 | 115.4 | 30.56 | 967.113 | 49.5232 | 4.9326
2020-06-28 11:30:00 | 4.109 | 133.8 | 4.75 | 149.3 | 4.402 | 140.641 | 4.258 | 140 | 30.35 | 966.389 | 50.4087 | 7.2825
2020-06-28 11:45:00 | 5.296 | 149 | 5.703 | 169.4 | 5.04 | 159.575 | 4.892 | 152.3 | 30 | 966.395 | 48.6376 | 8.1878
2020-06-28 12:00:00 | 5.089 | 137.1 | 5.141 | 154.6 | 4.834 | 145.633 | 4.719 | 141 | 30.22 | 966.247 | 49.3529 | 9.614
2020-06-28 12:15:00 | 4.056 | 130.5 | 4.21 | 147.5 | 4.265 | 138.945 | 4.252 | 138.1 | 30.26 | 966.099 | 48.297 | 10.4158
2020-06-28 12:30:00 | 5.937 | 123 | 6.212 | 146.1 | 6.095 | 137.626 | 6.116 | 129.1 | 31.19 | 965.802 | 49.0463 | 12.5551
2020-06-28 12:45:00 | 4.328 | 115.7 | 5.036 | 131.4 | 5.417 | 123.779 | 5.411 | 120 | 31.49 | 965.951 | 45.0613 | 12.2632
2020-06-28 13:00:00 | 5.296 | 98.7 | 6.159 | 117 | 6.442 | 110.214 | 6.514 | 105.5 | 31.33 | 965.802 | 45.2657 | 16.3164
2020-06-28 13:15:00 | 4.024 | 101.1 | 4.43 | 116.7 | 4.14 | 109.931 | 4 | 105.3 | 31.21 | 965.506 | 42.4387 | 12.1671
2020-06-28 13:30:00 | 3.848 | 103.3 | 4.361 | 119.6 | 4.781 | 112.663 | 4.856 | 110.5 | 31.4 | 965.358 | 43.154 | 13.9148
2020-06-28 13:45:00 | 3.245 | 112.2 | 4.164 | 130.2 | 4.189 | 122.648 | 4.06 | 114.6 | 31.43 | 965.358 | 42.0981 | 7.774
2020-06-28 14:00:00 | 0.989 | 55.14 | 2.791 | 82 | 3.022 | 77.244 | 3.052 | 48.11 | 31.89 | 966.099 | 43.154 | 6.9278
2020-06-28 14:15:00 | 3.173 | 14.08 | 5.016 | 33.22 | 4.402 | 31.2932 | 4.281 | 12.97 | 30.48 | 964.913 | 51.3965 | 9.2519
2020-06-28 14:30:00 | 1.884 | 20.42 | 4.008 | 37.74 | 4.254 | 35.5511 | 4.002 | 22.07 | 30.25 | 964.468 | 48.8079 | 5.6753
2020-06-28 14:45:00 | 2.437 | 141 | 3.038 | 147.8 | 3.659 | 139.228 | 3.542 | 145.7 | 30.93 | 964.172 | 45.4019 | 6.551
2020-06-28 15:00:00 | 3.646 | 133.3 | 4.458 | 151.3 | 4.344 | 142.525 | 4.24 | 139.2 | 30.86 | 964.172 | 45.2352 | 7.785
2020-06-28 15:15:00 | 4.936 | 110.9 | 5.785 | 125.5 | 5.903 | 118.221 | 5.908 | 117.1 | 31.18 | 963.875 | 45.5106 | 16.7598
2020-06-28 15:30:00 | 4.992 | 121.2 | 5.512 | 138.3 | 5.241 | 130.279 | 5.159 | 125.6 | 30.89 | 963.579 | 46.4653 | 16.0245
2020-06-28 15:45:00 | 5.097 | 137 | 5.913 | 158.2 | 5.557 | 149.024 | 5.434 | 139.2 | 30.77 | 963.282 | 46.5687 | 16.0578
2020-06-28 16:00:00 | 4.823 | 119.3 | 5.568 | 143.2 | 5.114 | 134.894 | 5.037 | 119.2 | 30.55 | 963.579 | 45.652 | 16.0578
2020-06-28 16:15:00 | 4.221 | 117.9 | 5.039 | 144.2 | 4.669 | 135.836 | 4.693 | 117.7 | 30.8 | 963.282 | 43.4743 | 16.0578
2020-06-28 16:30:00 | 6.465 | 138 | 6.511 | 156.3 | 6.269 | 147.235 | 6.129 | 142.2 | 30.49 | 963.579 | 46.4678 | 16.0578
2020-06-28 16:45:00 | 3.95 | 140.1 | 4.394 | 157.7 | 4.318 | 148.553 | 4.14 | 145 | 30.64 | 963.431 | 47.4907 | 16.0578
2020-06-28 17:00:00 | 5.597 | 135.9 | 5.813 | 153.4 | 5.77 | 144.503 | 5.618 | 140.3 | 30.49 | 962.838 | 48.3758 | 16.0578
2020-06-28 17:15:00 | 5.406 | 176 | 5.128 | 192 | 4.323 | 180.864 | 4.357 | 180.4 | 29.44 | 961.948 | 54.0373 | 16.0578
2020-06-28 17:30:00 | 8.14 | 178.1 | 7.948 | 192.7 | 7.411 | 181.523 | 7.393 | 181.6 | 28.51 | 961.8 | 60.9881 | 16.0578
2020-06-28 17:45:00 | 7.091 | 178.2 | 6.81 | 190.2 | 6.391 | 179.168 | 6.338 | 183.8 | 28.13 | 961.705 | 62.2164 | 16.0578
2020-06-28 18:00:00 | 5.975 | 186.6 | 5.854 | 198.5 | 5.353 | 186.987 | 5.358 | 191.5 | 28.12 | 962.082 | 63.0865 | 16.0578
2020-06-28 18:15:00 | 6.45 | 189.4 | 6.064 | 202.8 | 5.48 | 191.038 | 5.444 | 194.7 | 28.02 | 961.945 | 63.5269 | 16.0578
2020-06-28 18:30:00 | 4.969 | 188.5 | 4.783 | 200.4 | 4.725 | 188.777 | 4.739 | 193.4 | 27.83 | 961.945 | 63.5272 | 16.0578
2020-06-28 18:45:00 | 2.536 | 237.5 | 2.684 | 266.4 | 2.043 | 250.949 | 1.953 | 228.7 | 27.48 | 962.242 | 66.8698 | -0.48402
2020-06-28 19:00:00 | 2.269 | 248.3 | 2.549 | 265 | 2.319 | 249.63 | 2.177 | 239.4 | 26.96 | 962.242 | 66.5303 | -0.29189
2020-06-28 19:15:00 | 2.528 | 255.8 | 2.973 | 277.1 | 2.253 | 261.028 | 1.948 | 245.8 | 26.6 | 962.686 | 64.2808 | -0.28081
2020-06-28 19:30:00 | 1.399 | 266.4 | 2.244 | 271.6 | 3.095 | 255.847 | 3.14 | 264 | 26.41 | 962.724 | 64.0763 | -0.26233
2020-06-28 19:45:00 | 0.847 | 274.6 | 1.784 | 293.8 | 1.888 | 276.76 | 1.733 | 270.8 | 26.38 | 962.539 | 64.0763 | -0.25125
2020-06-28 20:00:00 | 0.149 | 321.2 | 0.881 | 324.5 | 1.03 | 305.679 | 0.959 | 305.8 | 26.26 | 962.589 | 64.4853 | -0.25125
2020-06-28 20:15:00 | 0.052 | 310.1 | 0.887 | 353.5 | 0.478 | 332.997 | 0.207 | 282.4 | 26.32 | 962.681 | 64.4899 | -0.27342
2020-06-28 20:30:00 | 0.179 | 168.5 | 0.486 | 357.5 | 1.153 | 336.765 | 0.995 | 177.3 | 26.26 | 962.372 | 64.1875 | -0.10715
2020-06-28 20:45:00 | 2.62 | 216.5 | 2.669 | 232.9 | 2.324 | 219.392 | 2.314 | 220 | 26.2 | 962.683 | 65.5186 | 1.1121
2020-06-28 21:00:00 | 5.247 | 174.2 | 5.381 | 184.9 | 5.099 | 174.176 | 5.062 | 181.7 | 25.86 | 962.683 | 66.0644 | 2.7601
2020-06-28 21:15:00 | 4.392 | 178.2 | 4.492 | 191.8 | 4.367 | 180.676 | 4.349 | 185.9 | 25.78 | 962.832 | 67.0871 | 3.1443
2020-06-28 21:30:00 | 4.029 | 166.8 | 4.008 | 176.7 | 3.466 | 166.451 | 3.392 | 174.9 | 25.46 | 962.535 | 67.3598 | 1.1011
2020-06-28 21:45:00 | 2.189 | 203.2 | 2.321 | 235.3 | 2.129 | 221.653 | 1.845 | 209.7 | 25.14 | 962.98 | 72.0641 | 3.9498
2020-06-28 22:00:00 | 3.823 | 327.4 | 4.136 | 342.6 | 4.102 | 322.729 | 4.018 | 327.8 | 24.16 | 962.534 | 80.075 | 5.4979
2020-06-28 22:15:00 | 3.376 | 329.7 | 3.551 | 349.1 | 3.364 | 328.852 | 3.196 | 330.9 | 23.22 | 962.238 | 88.3608 | 9.8283
2020-06-28 22:30:00 | 3.1 | 340.7 | 3.216 | 356.6 | 2.748 | 335.917 | 2.681 | 331 | 22.66 | 961.793 | 90.6236 | 4.201
2020-06-28 22:45:00 | 2.559 | 333 | 2.84 | 348.3 | 2.545 | 328.099 | 2.516 | 330.1 | 22.47 | 961.793 | 91.8513 | 3.3106
2020-06-28 23:00:00 | 2.07 | 354.9 | 2.225 | 344.8 | 1.712 | 324.802 | 1.399 | 347.8 | 22.27 | 961.497 | 92.984 | 3.4916
2020-06-28 23:15:00 | 3.085 | 328.8 | 3.096 | 345.6 | 2.078 | 325.555 | 1.627 | 327.5 | 21.99 | 961.348 | 94.0492 | 4.6888
2020-06-28 23:30:00 | 3.422 | 324.3 | 3.239 | 344.1 | 2.456 | 324.142 | 2.33 | 323 | 21.69 | 961.2 | 95.3452 | 8.8491
2020-06-28 23:45:00 | 1.899 | 348.7 | 2.816 | 12.84 | 3.507 | 12.0953 | 3.481 | 344.2 | 21.49 | 960.926 | 96.8116 | 5.0952