## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-29 00:00:00 | 2.74 | 349.1 | 3.291 | 19.05 | 4.003 | 17.9451 | 4.036 | 344.1 | 21.36 | 961.012 | 98.1419 | 7.6446
2020-06-29 00:15:00 | 2.502 | 358.9 | 3.607 | 24.84 | 4.298 | 23.3993 | 4.286 | 348.3 | 21.28 | 961.318 | 99.0964 | 7.4599
2020-06-29 00:30:00 | 4.152 | 9.32 | 5.279 | 29.2 | 4.494 | 27.5064 | 4.479 | 6.358 | 21.16 | 960.712 | 99.8505 | 11.0402
2020-06-29 00:45:00 | 3.377 | 0.155 | 4.417 | 29.29 | 4.771 | 27.5912 | 4.841 | 347 | 21.06 | 960.9 | 99.891 | 10.8628
2020-06-29 01:00:00 | 5.73 | 3.592 | 5.568 | 22.1 | 5.483 | 20.8182 | 5.404 | 7.516 | 20.98 | 960.603 | 99.8616 | 13.2904
2020-06-29 01:15:00 | 6.105 | 1.859 | 5.946 | 18.91 | 6.638 | 17.8132 | 6.97 | 1.786 | 20.85 | 960.454 | 99.8973 | 20.063
2020-06-29 01:30:00 | 6.248 | 10.23 | 7.67 | 28.06 | 7.095 | 26.4325 | 6.812 | 14.05 | 20.78 | 960.454 | 99.8635 | 19.2243
2020-06-29 01:45:00 | 6.756 | 6.133 | 6.849 | 23.73 | 6.635 | 22.3537 | 6.741 | 5.421 | 20.76 | 960.009 | 99.352 | 28.9676
2020-06-29 02:00:00 | 6.971 | 1.934 | 6.639 | 19.55 | 7.261 | 18.4161 | 7.497 | 2.362 | 20.71 | 960.009 | 97.8512 | 29.9948
2020-06-29 02:15:00 | 6.884 | 3.92 | 7.01 | 20.63 | 7.281 | 19.4335 | 7.347 | 3.981 | 20.6 | 960.158 | 97.2715 | 31.735
2020-06-29 02:30:00 | 7.254 | 2.618 | 7.214 | 17.33 | 8.03 | 16.3249 | 8.46 | 0.409 | 20.51 | 960.009 | 97.5443 | 31.1956
2020-06-29 02:45:00 | 6.823 | 359.9 | 7.409 | 20.97 | 8.28 | 19.7537 | 8.75 | 1.146 | 20.37 | 960.158 | 98.3629 | 34.6983
2020-06-29 03:00:00 | 7.737 | 11.08 | 8.74 | 27.64 | 8.3 | 26.0369 | 8.04 | 15.51 | 20.22 | 959.713 | 99.1814 | 32.2191
2020-06-29 03:15:00 | 8.28 | 5.466 | 8.4 | 22.77 | 7.892 | 21.4493 | 7.836 | 7.993 | 20.24 | 959.564 | 99.4884 | 33.479
2020-06-29 03:30:00 | 5.942 | 16.64 | 8.99 | 33.97 | 9.13 | 31.9997 | 9.04 | 21.27 | 20.04 | 959.564 | 99.8635 | 27.5525
2020-06-29 03:45:00 | 7.19 | 15.96 | 9.02 | 31.11 | 8.73 | 29.3056 | 8.38 | 21.4 | 20.03 | 959.416 | 99.8642 | 36.6048
2020-06-29 04:00:00 | 6.077 | 16.65 | 9.59 | 33.66 | 9.45 | 31.7077 | 8.88 | 21.76 | 20.03 | 959.416 | 99.9021 | 23.3958
2020-06-29 04:15:00 | 4.785 | 22.06 | 7.935 | 36.29 | 7.663 | 34.1852 | 7.423 | 28.19 | 20.05 | 960.009 | 99.8678 | 11.2914
2020-06-29 04:30:00 | 2.907 | 31.45 | 6.1 | 43.38 | 6.154 | 40.864 | 6.033 | 40.47 | 20.12 | 959.713 | 99.8685 | 10.3419
2020-06-29 04:45:00 | 4.887 | 51.12 | 6.816 | 66.76 | 6.8 | 62.8879 | 6.797 | 54.95 | 20.25 | 959.416 | 99.8679 | 8.173
2020-06-29 05:00:00 | 4.53 | 44.99 | 5.985 | 56.12 | 6.261 | 52.865 | 6.191 | 50.82 | 20.54 | 960.009 | 99.8641 | 2.6825
2020-06-29 05:15:00 | 1.355 | 35.62 | 4.093 | 51.86 | 4.354 | 48.8521 | 4.25 | 40.75 | 20.61 | 960.158 | 99.8977 | 3.3032
2020-06-29 05:30:00 | 4.285 | 59.33 | 4.844 | 74.8 | 3.347 | 70.4616 | 3.165 | 63.17 | 20.67 | 960.009 | 99.9318 | 2.749
2020-06-29 05:45:00 | 1.992 | 23.45 | 3.635 | 35.4 | 3.675 | 33.3468 | 3.547 | 33.63 | 20.74 | 960.009 | 99.659 | 2.4164
2020-06-29 06:00:00 | 2.868 | 23.45 | 3.101 | 32.49 | 3.375 | 30.6056 | 3.287 | 30.96 | 20.65 | 960.158 | 99.8977 | 0.58009
2020-06-29 06:15:00 | 3.371 | 50.23 | 4.013 | 62.87 | 4.232 | 59.2235 | 4.301 | 56.4 | 20.68 | 960.306 | 99.7954 | 0.25864
2020-06-29 06:30:00 | 3.271 | 64.84 | 2.638 | 76.02 | 2.484 | 71.6108 | 2.63 | 75.7 | 20.94 | 960.306 | 99.3861 | -0.011085
2020-06-29 06:45:00 | 2.195 | 38.71 | 3.004 | 50.06 | 2.683 | 47.1565 | 2.569 | 53.86 | 21.45 | 960.751 | 97.1583 | -0.2845
2020-06-29 07:00:00 | 3.148 | 323.7 | 2.635 | 333.6 | 2.172 | 314.251 | 1.859 | 329.9 | 21.67 | 960.464 | 97.1867 | 1.0715
2020-06-29 07:15:00 | 1.738 | 341.5 | 1.9 | 354.5 | 2.467 | 333.939 | 2.414 | 337.2 | 21.69 | 960.755 | 97.6628 | 0.40643
2020-06-29 07:30:00 | 3.81 | 313.2 | 3.487 | 321.4 | 2.988 | 302.759 | 2.783 | 329.9 | 21.08 | 960.755 | 98.2717 | 0.42491
2020-06-29 07:45:00 | 2.694 | 346.4 | 2.413 | 349.7 | 2.271 | 329.417 | 2.115 | 349.2 | 21.03 | 960.755 | 98.1413 | 0.80548
2020-06-29 08:00:00 | 2.855 | 332 | 2.589 | 341.5 | 2.861 | 321.693 | 2.819 | 333 | 20.94 | 960.755 | 98.0733 | 1.9324
2020-06-29 08:15:00 | 1.1 | 15.82 | 2.159 | 32.34 | 3.034 | 30.4643 | 2.769 | 3.852 | 20.93 | 960.607 | 97.0503 | 1.2821
2020-06-29 08:30:00 | 2.441 | 352.9 | 2.242 | 17.01 | 2.876 | 16.0234 | 2.951 | 349.5 | 20.85 | 960.607 | 97.3231 | 0.62812
2020-06-29 08:45:00 | 0.931 | 3.035 | 1.449 | 29.49 | 2.373 | 27.7796 | 2.307 | 350.9 | 21.14 | 960.904 | 95.8227 | 0.55053
2020-06-29 09:00:00 | 2.341 | 9.91 | 2.86 | 28.26 | 2.556 | 26.6209 | 2.416 | 4.673 | 21.14 | 961.052 | 96.2319 | -0.38426
2020-06-29 09:15:00 | 1.484 | 28.34 | 1.978 | 38.69 | 1.755 | 36.446 | 1.415 | 22.69 | 21.84 | 961.645 | 92.742 | -0.25864
2020-06-29 09:30:00 | 3.567 | 306.3 | 3.773 | 317.1 | 3.42 | 298.708 | 3.318 | 307 | 22.43 | 961.942 | 90.0693 | 0.12193
2020-06-29 09:45:00 | 4.338 | 307.4 | 4.676 | 316 | 3.98 | 297.672 | 3.83 | 313.3 | 21.89 | 961.645 | 92.9266 | 3.0667
2020-06-29 10:00:00 | 2.514 | 14.71 | 3.937 | 38.26 | 3.509 | 36.0409 | 3.397 | 6.862 | 22.76 | 962.238 | 87.9496 | 2.7231
2020-06-29 10:15:00 | 2.621 | 16.51 | 3.806 | 37.51 | 3.776 | 35.3344 | 3.511 | 11.23 | 23.32 | 962.535 | 84.5392 | 2.1504
2020-06-29 10:30:00 | 1.518 | 14.15 | 3.267 | 31.96 | 3.542 | 30.1063 | 3.361 | 2.073 | 23.3 | 962.124 | 83.3675 | 3.6505
2020-06-29 10:45:00 | 4.328 | 332.9 | 4.382 | 330.1 | 3.844 | 310.954 | 3.716 | 344 | 23.22 | 962.094 | 84.3218 | 4.9178
2020-06-29 11:00:00 | 3.789 | 315.1 | 4.152 | 323.9 | 4.028 | 305.114 | 3.946 | 313.6 | 23.45 | 961.945 | 83.8446 | 6.6803
2020-06-29 11:15:00 | 2.86 | 352.2 | 3.478 | 18.19 | 3.672 | 17.135 | 3.718 | 336.5 | 23.37 | 961.649 | 85.0375 | 5.1876
2020-06-29 11:30:00 | 4.469 | 310 | 4.793 | 317 | 4.573 | 298.614 | 4.489 | 319.1 | 23.16 | 961.945 | 83.197 | 7.907
2020-06-29 11:45:00 | 4.31 | 310.4 | 4.829 | 319.1 | 4.728 | 300.592 | 4.685 | 312.4 | 23.23 | 961.797 | 83.6401 | 6.3219
2020-06-29 12:00:00 | 4.446 | 301.2 | 4.816 | 311.5 | 4.717 | 293.433 | 4.566 | 305.8 | 23.05 | 961.506 | 81.4247 | 3.6911
2020-06-29 12:15:00 | 3.817 | 308.2 | 4.09 | 316.2 | 3.863 | 297.86 | 3.771 | 309.4 | 23.92 | 961.353 | 76.7212 | 2.0359
2020-06-29 12:30:00 | 4.379 | 305 | 4.415 | 319.5 | 4.209 | 300.969 | 4.143 | 306.9 | 24.59 | 961.204 | 75.4601 | 1.1454
2020-06-29 12:45:00 | 3.891 | 280.6 | 3.748 | 284.2 | 3.591 | 267.716 | 3.537 | 291.1 | 24.62 | 961.5 | 73.4109 | 1.2156
2020-06-29 13:00:00 | 3.789 | 291.1 | 4.218 | 296.7 | 4.244 | 279.491 | 4.168 | 299.8 | 25.16 | 961.649 | 72.6618 | 1.5223
2020-06-29 13:15:00 | 4.484 | 298.1 | 5.169 | 307.1 | 5.287 | 289.288 | 5.136 | 303.1 | 25.49 | 961.649 | 71.6076 | 2.3499
2020-06-29 13:30:00 | 3.612 | 304.4 | 3.451 | 316.1 | 3.37 | 297.766 | 3.364 | 303.4 | 25.6 | 961.5 | 70.1421 | 3.1369
2020-06-29 13:45:00 | 3.792 | 306.8 | 4.039 | 318.1 | 3.741 | 299.65 | 3.654 | 309.7 | 26.48 | 961.621 | 67.3068 | 1.7624
2020-06-29 14:00:00 | 4.131 | 311.3 | 4.136 | 316.7 | 3.652 | 298.331 | 3.567 | 314.8 | 26.27 | 961.52 | 66.5764 | 2.0137
2020-06-29 14:15:00 | 4.193 | 301.4 | 4.497 | 314.9 | 4.222 | 296.636 | 4.176 | 301.9 | 26.96 | 961.504 | 64.3952 | 2.579
2020-06-29 14:30:00 | 3.588 | 325.1 | 4.031 | 323.9 | 3.666 | 305.114 | 3.545 | 334.9 | 27.51 | 961.801 | 63.6797 | 3.6357
2020-06-29 14:45:00 | 3.213 | 338.7 | 3.604 | 352.3 | 3.427 | 331.867 | 3.361 | 335 | 27.36 | 961.652 | 60.8518 | 1.9989
2020-06-29 15:00:00 | 3.414 | 303.2 | 3.558 | 312.6 | 3.741 | 294.469 | 3.692 | 304.9 | 27.95 | 962.097 | 58.6007 | 1.3634
2020-06-29 15:15:00 | 4.121 | 288.5 | 4.484 | 299.7 | 4.168 | 282.317 | 4.008 | 289.5 | 27.55 | 961.949 | 59.4111 | 1.5851
2020-06-29 15:30:00 | 2.278 | 301.6 | 2.598 | 311.3 | 2.469 | 293.245 | 2.396 | 299.7 | 27.48 | 961.504 | 60.9805 | 1.1048
2020-06-29 15:45:00 | 3.18 | 291.4 | 3.579 | 300.7 | 3.335 | 283.259 | 3.205 | 296.4 | 27.51 | 961.059 | 58.8072 | 0.48033
2020-06-29 16:00:00 | 4.052 | 310.4 | 4.042 | 313 | 3.774 | 294.846 | 3.636 | 320 | 27.57 | 961.801 | 59.3867 | 0.33623
2020-06-29 16:15:00 | 2.258 | 278.3 | 2.771 | 284.9 | 3.072 | 268.376 | 3.056 | 280.9 | 27.9 | 961.652 | 56.0782 | -0.18105
2020-06-29 16:30:00 | 3.246 | 270.2 | 3.627 | 277.1 | 3.576 | 261.028 | 3.455 | 275.3 | 27.6 | 961.504 | 59.0708 | 0.39165
2020-06-29 16:45:00 | 2.089 | 301.9 | 2.378 | 319.9 | 2.283 | 301.346 | 2.186 | 300 | 27.4 | 961.356 | 57.7785 | -0.099761
2020-06-29 17:00:00 | 3.929 | 296.5 | 4.366 | 310.2 | 4.171 | 292.208 | 4.092 | 297.2 | 27.22 | 960.763 | 62.2134 | 0.19952
2020-06-29 17:15:00 | 3.736 | 299.7 | 3.768 | 317.4 | 3.563 | 298.991 | 3.552 | 296.6 | 27.21 | 960.318 | 60.3407 | -0.17735
2020-06-29 17:30:00 | 2.143 | 308.6 | 2.418 | 323.8 | 1.971 | 305.02 | 1.674 | 307.2 | 27.18 | 960.022 | 60.2385 | -0.24755
2020-06-29 17:45:00 | 2.293 | 296.3 | 3.277 | 309.1 | 2.985 | 291.172 | 2.867 | 298.6 | 26.73 | 960.022 | 63.2368 | -0.26233
2020-06-29 18:00:00 | 3 | 285.9 | 3.285 | 302.7 | 2.851 | 285.143 | 2.709 | 283.4 | 26.51 | 960.15 | 64.8914 | -0.22908
2020-06-29 18:15:00 | 1.759 | 304.3 | 2.513 | 319.6 | 2.301 | 301.063 | 2.116 | 302.3 | 26.47 | 959.869 | 64.5496 | -0.32145
2020-06-29 18:30:00 | 2.395 | 286.6 | 2.635 | 303.8 | 2.273 | 286.18 | 2.151 | 283.6 | 26.39 | 960.166 | 64.4512 | -0.25125
2020-06-29 18:45:00 | 1.547 | 286.8 | 2.528 | 301.2 | 2.426 | 283.73 | 2.269 | 286 | 26.39 | 960.314 | 63.0538 | -0.26233
2020-06-29 19:00:00 | 1.644 | 282.5 | 2.51 | 297.9 | 2.286 | 280.622 | 2.126 | 286.2 | 26.3 | 960.036 | 64.9284 | -0.25125
2020-06-29 19:15:00 | 1.645 | 321.4 | 2.433 | 340.8 | 2.528 | 321.034 | 2.493 | 317.9 | 26.15 | 959.849 | 65.9168 | -0.25125
2020-06-29 19:30:00 | 1.426 | 313.4 | 2.07 | 313.4 | 1.808 | 295.223 | 1.713 | 317.3 | 26.07 | 959.672 | 67.2803 | -0.26233
2020-06-29 19:45:00 | 0.126 | 349.9 | 1.196 | 356.9 | 0.895 | 336.2 | 0.443 | 342.7 | 25.96 | 959.715 | 68.0402 | -0.26233
2020-06-29 20:00:00 | 0 | 327.9 | 0.135 | 356.9 | 0 | 336.2 | 0 | 341.4 | 25.88 | 959.865 | 68.2461 | -0.28081
2020-06-29 20:15:00 | 0.071 | 327.9 | 1.073 | 356.9 | 0.921 | 336.2 | 0.379 | 342.3 | 25.88 | 959.865 | 68.3825 | -0.25125
2020-06-29 20:30:00 | 1.32 | 352.4 | 1.389 | 359.6 | 1.103 | 338.743 | 0.598 | 348.1 | 25.93 | 960.161 | 68.0416 | -0.25125
2020-06-29 20:45:00 | 1.219 | 15.77 | 2.101 | 11.15 | 1.508 | 10.5033 | 1.294 | 353.7 | 25.86 | 960.458 | 67.9393 | -0.25125
2020-06-29 21:00:00 | 1.715 | 59.96 | 2.797 | 70.86 | 2.762 | 66.7501 | 2.676 | 66.03 | 25.61 | 960.013 | 67.5643 | -0.25125
2020-06-29 21:15:00 | 1.236 | 79.18 | 2.372 | 93.4 | 2.278 | 87.9828 | 2.19 | 78.75 | 25.65 | 960.012 | 67.3939 | -0.25125
2020-06-29 21:30:00 | 1.561 | 79.33 | 2.364 | 98.7 | 2.243 | 92.9754 | 2.05 | 84.4 | 25.63 | 960.161 | 65.9281 | -0.25125
2020-06-29 21:45:00 | 2.554 | 110.8 | 2.41 | 116.7 | 1.691 | 109.931 | 1.386 | 118.6 | 25.85 | 959.865 | 64.36 | -0.26972
2020-06-29 22:00:00 | 1.804 | 134 | 2.006 | 131 | 1.582 | 123.402 | 1.231 | 132 | 25.89 | 959.717 | 65.7235 | -0.28081
2020-06-29 22:15:00 | 0.898 | 188.3 | 1.897 | 157.4 | 1.706 | 148.271 | 1.525 | 186.6 | 25.6 | 959.865 | 66.5417 | -0.26233
2020-06-29 22:30:00 | 1.969 | 174.1 | 2.546 | 196.8 | 2.512 | 185.386 | 2.373 | 181.5 | 25.39 | 959.865 | 69.5415 | -0.29928
2020-06-29 22:45:00 | 1.976 | 192 | 2.336 | 204.8 | 1.948 | 192.922 | 1.752 | 187.1 | 25.05 | 959.717 | 69.4743 | -0.2882
2020-06-29 23:00:00 | 3.248 | 210.1 | 3.351 | 223.8 | 2.792 | 210.82 | 2.676 | 213.9 | 25.17 | 959.865 | 69.9506 | 0.24016
2020-06-29 23:15:00 | 3.593 | 206.2 | 4.113 | 213.4 | 4.094 | 201.023 | 4.077 | 212.6 | 24.77 | 959.568 | 71.4505 | 1.4447
2020-06-29 23:30:00 | 3.159 | 205.3 | 3.431 | 216.7 | 3.148 | 204.131 | 3.091 | 211.4 | 24.75 | 959.123 | 70.6334 | -0.084981
2020-06-29 23:45:00 | 2.395 | 189.5 | 2.745 | 204.1 | 2.856 | 192.262 | 2.735 | 198.3 | 24.64 | 958.975 | 71.9643 | 0.55053