## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-30 00:00:00 | 3.917 | 236.5 | 4.09 | 242.9 | 3.934 | 228.812 | 3.832 | 240.4 | 24.72 | 959.272 | 73.2273 | 1.2969
2020-06-30 00:15:00 | 4.32 | 231.7 | 4.619 | 243.5 | 4.773 | 229.377 | 4.775 | 238.3 | 24.27 | 958.975 | 80.1177 | 5.6457
2020-06-30 00:30:00 | 5.822 | 259.3 | 5.854 | 272.2 | 5.77 | 256.412 | 5.6 | 257.2 | 23.41 | 958.827 | 90.7598 | 23.9463
2020-06-30 00:45:00 | 7.507 | 288.8 | 8.52 | 301.9 | 8.49 | 284.39 | 8.48 | 287.1 | 22.25 | 959.123 | 97.9202 | 45.6772
2020-06-30 01:00:00 | 4.302 | 327.2 | 3.919 | 336.9 | 3.28 | 317.36 | 3.468 | 324.6 | 20.67 | 957.64 | 99.9143 | -0.45447
2020-06-30 01:15:00 | 1.342 | 320.6 | 2.618 | 332.7 | 2.863 | 313.403 | 2.806 | 317.1 | 20.9 | 958.322 | 99.8806 | -0.3547
2020-06-30 01:30:00 | 2.738 | 330.6 | 3.896 | 343.7 | 4.669 | 323.765 | 4.622 | 332.2 | 20.77 | 958.52 | 99.9227 | 9.7692
2020-06-30 01:45:00 | 1.713 | 330.2 | 2.416 | 340.5 | 2.311 | 320.751 | 2.123 | 321.1 | 20.68 | 958.229 | 99.8969 | 0.92371
2020-06-30 02:00:00 | 1.799 | 351.3 | 2.218 | 14.7 | 2.324 | 13.8474 | 2.223 | 351.4 | 20.57 | 958.229 | 99.8976 | 0.33254
2020-06-30 02:15:00 | 2.321 | 13.41 | 2.922 | 30.43 | 2.67 | 28.6651 | 2.569 | 3.04 | 20.48 | 957.783 | 99.8977 | 0.12932
2020-06-30 02:30:00 | 3.307 | 307.6 | 3.673 | 317.2 | 3.065 | 298.802 | 2.793 | 316.2 | 20.52 | 958.525 | 99.8635 | 2.0691
2020-06-30 02:45:00 | 3.127 | 8.83 | 4.042 | 19.97 | 3.911 | 18.8117 | 3.715 | 19.36 | 20.34 | 957.635 | 99.8635 | 2.7009
2020-06-30 03:00:00 | 0.984 | 351.9 | 1.371 | 352.9 | 1.678 | 332.432 | 1.214 | 354.1 | 20.3 | 958.229 | 99.9318 | -0.33254
2020-06-30 03:15:00 | 0.129 | 14.43 | 0 | 356.6 | 0.096 | 335.917 | 0.015 | 22.02 | 20.25 | 958.822 | 99.8977 | -0.31037
2020-06-30 03:30:00 | 0.004 | 176.1 | 0.231 | 228.5 | 0.078 | 215.247 | 0.031 | 149.6 | 20.3 | 958.674 | 99.8977 | -0.29928
2020-06-30 03:45:00 | 0.397 | 94.6 | 0.861 | 97.2 | 1.343 | 91.5624 | 1.151 | 115.7 | 20.36 | 958.822 | 99.8637 | -0.31776
2020-06-30 04:00:00 | 0 | 87.6 | 0.424 | 60.41 | 0.994 | 56.9062 | 0.811 | 71.63 | 20.25 | 958.971 | 99.8636 | -0.26233
2020-06-30 04:15:00 | 0.045 | 91.7 | 0.924 | 119.9 | 1.818 | 112.946 | 1.781 | 92.3 | 20.12 | 958.674 | 99.8636 | -0.24386
2020-06-30 04:30:00 | 1.154 | 86.9 | 2.224 | 104.3 | 2.645 | 98.2506 | 2.569 | 94.2 | 19.95 | 958.971 | 99.8636 | -0.15149
2020-06-30 04:45:00 | 1.56 | 79.07 | 1.649 | 88.4 | 1.22 | 83.2728 | 0.805 | 106.5 | 19.94 | 958.822 | 99.9327 | -0.081287
2020-06-30 05:00:00 | 1.21 | 127.7 | 1.755 | 139.6 | 1.917 | 131.503 | 1.572 | 129 | 19.9 | 958.971 | 99.9016 | -0.070202
2020-06-30 05:15:00 | 3.493 | 145.7 | 4.118 | 162.9 | 3.85 | 153.452 | 3.575 | 154.4 | 19.86 | 959.149 | 99.8723 | 0.61704
2020-06-30 05:30:00 | 2.73 | 131.3 | 2.86 | 147.9 | 3.047 | 139.322 | 2.781 | 136.8 | 19.7 | 959.268 | 99.8773 | -0.0073897
2020-06-30 05:45:00 | 0.052 | 94.5 | 0.212 | 126.5 | 0.006 | 119.163 | 0 | 124.9 | 19.61 | 959.416 | 99.8794 | -0.2143
2020-06-30 06:00:00 | 0.086 | 329.7 | 0.152 | 330.5 | 0 | 311.331 | 0 | 124.8 | 19.81 | 959.438 | 99.8763 | -0.029559
2020-06-30 06:15:00 | 0.311 | 3.799 | 0.616 | 356.9 | 0 | 336.2 | 0 | 15.98 | 19.85 | 959.421 | 99.875 | 0.42491
2020-06-30 06:30:00 | 0.264 | 3.799 | 0.523 | 356.9 | 0.081 | 336.2 | 0 | 16.17 | 19.72 | 959.713 | 99.8683 | 0.10346
2020-06-30 06:45:00 | 2.518 | 25.57 | 2.968 | 36.18 | 2.149 | 34.0816 | 1.792 | 41.29 | 19.4 | 959.713 | 99.8672 | -0.084981
2020-06-30 07:00:00 | 0.766 | 56.81 | 1.278 | 62.34 | 1.608 | 58.7243 | 1.246 | 70.64 | 19.19 | 960.01 | 99.8753 | -0.3621
2020-06-30 07:15:00 | 1.446 | 24.84 | 1.524 | 39.4 | 1.2 | 37.1148 | 0.847 | 40.55 | 19.18 | 960.158 | 99.944 | -0.29928
2020-06-30 07:30:00 | 0 | 5.438 | 0.167 | 34.01 | 0 | 32.0374 | 0.006 | 33.42 | 19.52 | 960.46 | 99.9386 | -0.29928
2020-06-30 07:45:00 | 0 | 337.1 | 0 | 340.4 | 0 | 320.657 | 0 | 316 | 19.59 | 960.603 | 99.9034 | -0.29928
2020-06-30 08:00:00 | 0.215 | 351 | 0.559 | 340.8 | 0.941 | 321.034 | 0.726 | 333.7 | 19.43 | 960.751 | 99.8657 | -0.29928
2020-06-30 08:15:00 | 0.106 | 21.87 | 1.493 | 38.39 | 1.478 | 36.1634 | 1.1 | 15.18 | 19.72 | 960.603 | 99.8661 | -0.28081
2020-06-30 08:30:00 | 1.729 | 16.5 | 2.393 | 33.39 | 2.057 | 31.4534 | 1.738 | 19.81 | 19.66 | 960.603 | 99.8979 | -0.25125
2020-06-30 08:45:00 | 1.502 | 1.81 | 1.451 | 23.33 | 1.783 | 21.9769 | 1.557 | 5.779 | 19.67 | 960.751 | 99.8984 | -0.28081
2020-06-30 09:00:00 | 1.801 | 353 | 1.901 | 17.38 | 2.66 | 16.372 | 2.558 | 352.3 | 19.93 | 961.345 | 99.9318 | -0.2882
2020-06-30 09:15:00 | 2.954 | 10.55 | 3.86 | 28.25 | 3.522 | 26.6115 | 3.201 | 13.33 | 19.83 | 961.197 | 99.8977 | -0.32145
2020-06-30 09:30:00 | 1.345 | 19.16 | 3.381 | 33.04 | 3.845 | 31.1237 | 3.677 | 23.6 | 20.23 | 961.939 | 99.922 | 1.0456
2020-06-30 09:45:00 | 3.782 | 355.3 | 4.215 | 19.84 | 5.292 | 18.6893 | 5.32 | 355.7 | 20.11 | 961.599 | 99.9179 | 5.1506
2020-06-30 10:00:00 | 4.216 | 12.18 | 5.264 | 30.14 | 4.524 | 28.3919 | 4.301 | 12.06 | 20.09 | 961.937 | 99.8808 | 3.5434
2020-06-30 10:15:00 | 0.577 | 16.95 | 1.903 | 45.48 | 2.3 | 42.8422 | 1.895 | 358.9 | 20.96 | 962.538 | 99.2669 | 2.4275
2020-06-30 10:30:00 | 1.902 | 10.23 | 3.314 | 30.05 | 3.242 | 28.3071 | 2.926 | 1.093 | 22.54 | 963.277 | 88.1356 | 2.9633
2020-06-30 10:45:00 | 2.304 | 16.35 | 3.989 | 37.39 | 3.441 | 35.2214 | 2.961 | 8.84 | 22.7 | 964.018 | 87.6089 | 8.9194
2020-06-30 11:00:00 | 3.106 | 10.81 | 4.584 | 34.44 | 4.28 | 32.4425 | 4.146 | 4.659 | 22.57 | 963.635 | 86.2646 | 11.151
2020-06-30 11:15:00 | 4.532 | 7.736 | 5.629 | 32.01 | 4.921 | 30.1534 | 4.899 | 1.258 | 22.38 | 963.576 | 84.2536 | 19.3277
2020-06-30 11:30:00 | 4.328 | 9.85 | 5.811 | 36.92 | 5.03 | 34.7786 | 5.154 | 358.2 | 22.29 | 963.428 | 83.5719 | 27.6153
2020-06-30 11:45:00 | 5.258 | 11.21 | 6.552 | 31.93 | 5.664 | 30.0781 | 5.752 | 1.088 | 22.51 | 963.131 | 79.6864 | 26.2519
2020-06-30 12:00:00 | 6.128 | 5.875 | 7.434 | 31.08 | 7.258 | 29.2774 | 7.321 | 0.336 | 22.59 | 963.28 | 80.6748 | 30.4714
2020-06-30 12:15:00 | 5.076 | 12.4 | 7.232 | 34.52 | 5.903 | 32.5178 | 5.722 | 5.229 | 22.66 | 963.131 | 77.2665 | 23.8318
2020-06-30 12:30:00 | 5.569 | 3.876 | 6.327 | 27.19 | 6.404 | 25.613 | 6.573 | 357.7 | 22.35 | 962.999 | 77.3688 | 23.7542
2020-06-30 12:45:00 | 4.336 | 10.97 | 6.67 | 31.46 | 6.16 | 29.6353 | 5.87 | 9.69 | 23.33 | 963.39 | 70.6583 | 16.6231
2020-06-30 13:00:00 | 5.438 | 13.87 | 7.629 | 29.39 | 6.696 | 27.6854 | 6.415 | 17.6 | 23.78 | 963.409 | 64.2166 | 15.6588
2020-06-30 13:15:00 | 3.825 | 18.56 | 7.002 | 35.91 | 6.526 | 33.8272 | 6.053 | 20.61 | 24.67 | 963.775 | 61.7597 | 15.123
2020-06-30 13:30:00 | 4.959 | 15.22 | 6.1 | 32.06 | 5.259 | 30.2005 | 4.999 | 18.2 | 24.69 | 963.92 | 60.9407 | 13.0022
2020-06-30 13:45:00 | 3.374 | 11.4 | 5.587 | 28.36 | 5.608 | 26.7151 | 5.439 | 7.948 | 25.11 | 964.466 | 55.6578 | 13.246
2020-06-30 14:00:00 | 2.912 | 21.9 | 5.711 | 34.86 | 6.071 | 32.8381 | 5.816 | 21.9 | 25.45 | 964.763 | 52.7924 | 13.2275
2020-06-30 14:15:00 | 6.626 | 10.6 | 7.989 | 26.76 | 6.973 | 25.2079 | 6.631 | 14.87 | 25.43 | 964.466 | 52.5896 | 12.0969
2020-06-30 14:30:00 | 3.848 | 16.65 | 5.164 | 34.8 | 5.694 | 32.7816 | 5.737 | 9.64 | 25.77 | 964.733 | 48.7034 | 15.7474
2020-06-30 14:45:00 | 3.648 | 9.36 | 5.675 | 27.88 | 5.402 | 26.263 | 5.236 | 6.393 | 26.35 | 964.865 | 46.5506 | 13.8963
2020-06-30 15:00:00 | 5.017 | 7.292 | 6.504 | 28.14 | 6.216 | 26.5079 | 6.338 | 2.902 | 26.02 | 964.783 | 46.61 | 16.8965
2020-06-30 15:15:00 | 4.831 | 4.108 | 6.24 | 26.66 | 5.117 | 25.1137 | 5.144 | 358.9 | 26.24 | 964.617 | 45.724 | 16.1317
2020-06-30 15:30:00 | 2.717 | 356.1 | 3.824 | 12.74 | 3.797 | 12.0011 | 3.71 | 351.6 | 26.54 | 964.913 | 43.339 | 9.9576
2020-06-30 15:45:00 | 2.891 | 15.4 | 4.916 | 28.49 | 5.651 | 26.8376 | 5.151 | 19.79 | 27.01 | 965.062 | 40.5792 | 7.8109
2020-06-30 16:00:00 | 2.781 | 13.5 | 3.737 | 29.55 | 3.83 | 27.8361 | 3.725 | 2.93 | 26.76 | 965.21 | 42.0102 | 8.3688
2020-06-30 16:15:00 | 2.947 | 10.3 | 4.832 | 32.57 | 4.242 | 30.6809 | 4.077 | 356.7 | 26.44 | 965.062 | 42.862 | 7.3564
2020-06-30 16:30:00 | 2.753 | 5.499 | 4.159 | 29.62 | 4.341 | 27.902 | 4.209 | 0.488 | 26.42 | 964.765 | 42.9642 | 8.0215
2020-06-30 16:45:00 | 4.303 | 12.46 | 5.719 | 30.33 | 4.611 | 28.5709 | 4.494 | 8.28 | 26.74 | 964.469 | 47.5639 | 14.2215
2020-06-30 17:00:00 | 4.188 | 1.234 | 5.121 | 28.32 | 5.506 | 26.6774 | 5.674 | 356.5 | 25.46 | 963.431 | 52.7768 | 13.937
2020-06-30 17:15:00 | 3.718 | 0.371 | 5.141 | 21.27 | 5.463 | 20.0363 | 5.46 | 358 | 25.27 | 964.14 | 52.5535 | 14.3766
2020-06-30 17:30:00 | 3.528 | 3.229 | 4.898 | 25.03 | 4.613 | 23.5783 | 4.647 | 2.87 | 25.19 | 964.318 | 53.7783 | 10.3271
2020-06-30 17:45:00 | 2.808 | 11.7 | 4.765 | 30.08 | 4.214 | 28.3354 | 3.939 | 11.6 | 25.21 | 964.318 | 53.3043 | 5.8674
2020-06-30 18:00:00 | 3.516 | 7.901 | 4.233 | 23.1 | 3.988 | 21.7602 | 3.69 | 9.32 | 25.04 | 964.318 | 52.0107 | 4.8181
2020-06-30 18:15:00 | 3.222 | 6.437 | 3.497 | 17.96 | 3.428 | 16.9183 | 3.371 | 7.146 | 25.11 | 964.762 | 51.3974 | 2.3388
2020-06-30 18:30:00 | 2.442 | 19.28 | 3.275 | 22.14 | 2.932 | 20.8559 | 2.699 | 7.417 | 25.09 | 964.466 | 53.6469 | 1.6553
2020-06-30 18:45:00 | 2.965 | 5.47 | 3.336 | 16.13 | 3.372 | 15.1945 | 3.135 | 6.473 | 24.85 | 964.169 | 55.5555 | 1.3634
2020-06-30 19:00:00 | 3.284 | 9.52 | 3.985 | 23.22 | 3.751 | 21.8732 | 3.415 | 12.69 | 24.58 | 964.169 | 56.4417 | 1.7661
2020-06-30 19:15:00 | 3.243 | 10.26 | 3.379 | 17.22 | 3.319 | 16.2212 | 3.04 | 9.1 | 24.37 | 964.168 | 57.8732 | 1.356
2020-06-30 19:30:00 | 0.305 | 31.95 | 1.654 | 50.18 | 2.289 | 47.2696 | 2.062 | 33.91 | 24.13 | 964.018 | 59.2805 | -0.27711
2020-06-30 19:45:00 | 0.598 | 117.2 | 1.851 | 150.4 | 1.444 | 141.677 | 1.12 | 132.7 | 24.14 | 964.018 | 56.5915 | -0.3621
2020-06-30 20:00:00 | 1.074 | 121.8 | 2.472 | 138.8 | 1.77 | 130.75 | 1.428 | 130.5 | 23.96 | 964.018 | 58.9835 | -0.17366
2020-06-30 20:15:00 | 1.565 | 136.9 | 2.881 | 161.5 | 3.418 | 152.133 | 3.315 | 139.6 | 23.26 | 963.722 | 62.2912 | 0.41752
2020-06-30 20:30:00 | 4.425 | 133.7 | 4.773 | 149.3 | 4.468 | 140.641 | 4.288 | 140.5 | 23.31 | 964.018 | 62.6679 | 0.91632
2020-06-30 20:45:00 | 4.864 | 130.5 | 4.816 | 147.7 | 4.634 | 139.133 | 4.494 | 132.8 | 23.5 | 963.87 | 60.2211 | 2.2132
2020-06-30 21:00:00 | 4.246 | 118.3 | 4.635 | 136.2 | 4.028 | 128.3 | 3.865 | 119.8 | 23.46 | 964.167 | 61.3128 | 2.5568
2020-06-30 21:15:00 | 3.256 | 128 | 4.238 | 144.3 | 3.977 | 135.931 | 3.746 | 131.1 | 23.37 | 964.167 | 63.9045 | 3.4953
2020-06-30 21:30:00 | 3.955 | 137.9 | 4.589 | 157.1 | 4.682 | 147.988 | 4.461 | 139.7 | 22.7 | 964.167 | 66.5303 | 3.7614
2020-06-30 21:45:00 | 2.937 | 140 | 3.474 | 160.6 | 4.425 | 151.285 | 4.372 | 142.6 | 22.4 | 964.32 | 68.5081 | 2.9817
2020-06-30 22:00:00 | 3.069 | 136.4 | 3.704 | 154.6 | 4.252 | 145.633 | 4.163 | 141.1 | 22.46 | 964.488 | 67.9966 | 2.627
2020-06-30 22:15:00 | 3.406 | 123.1 | 3.579 | 143.4 | 2.843 | 135.083 | 2.541 | 123.1 | 22.79 | 964.262 | 62.1995 | 2.9411
2020-06-30 22:30:00 | 1.605 | 122.3 | 1.989 | 140.7 | 2.004 | 132.539 | 1.675 | 119.7 | 23.06 | 964.442 | 63.2907 | 1.4742
2020-06-30 22:45:00 | 0.8 | 124.8 | 1.623 | 151 | 2.184 | 142.242 | 1.927 | 127.4 | 22.62 | 964.569 | 64.6547 | 1.1491
2020-06-30 23:00:00 | 1.702 | 133 | 2.648 | 152.1 | 2.51 | 143.278 | 2.284 | 140.2 | 22.88 | 964.68 | 63.632 | 1.7477
2020-06-30 23:15:00 | 3.687 | 128.7 | 4.261 | 146.4 | 4.13 | 137.909 | 3.84 | 132.7 | 22.66 | 964.688 | 64.6547 | 2.1282
2020-06-30 23:30:00 | 1.616 | 125.1 | 2.973 | 135.9 | 2.278 | 128.018 | 2.022 | 129.1 | 22.74 | 964.829 | 63.9052 | 2.6197
2020-06-30 23:45:00 | 2.372 | 140.3 | 4.146 | 153.9 | 4.069 | 144.974 | 3.845 | 147.8 | 22.51 | 964.711 | 63.8366 | 3.4584