## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-01 00:00:00 | 4.246 | 130.8 | 5.021 | 147.2 | 5.071 | 138.662 | 4.869 | 138 | 22.74 | 964.729 | 63.9752 | 5.11
2020-07-01 00:15:00 | 4.688 | 127.3 | 5.305 | 144.3 | 4.995 | 135.931 | 4.716 | 129.7 | 22.61 | 964.715 | 56.8117 | 6.7357
2020-07-01 00:30:00 | 4.463 | 148.6 | 4.558 | 169.1 | 4.982 | 159.292 | 4.884 | 150.2 | 22.09 | 964.614 | 60.1195 | 8.8602
2020-07-01 00:45:00 | 4.959 | 147.5 | 4.921 | 166.5 | 5.633 | 156.843 | 5.559 | 150.3 | 21.8 | 964.6 | 61.6911 | 8.5794
2020-07-01 01:00:00 | 4.594 | 148 | 4.814 | 166.2 | 6.017 | 156.56 | 5.949 | 152.6 | 21.57 | 964.461 | 64.8619 | 10.4305
2020-07-01 01:15:00 | 6.83 | 159.4 | 6.856 | 172.9 | 6.981 | 162.872 | 6.779 | 164.2 | 21.59 | 964.312 | 65.6533 | 13.9148
2020-07-01 01:30:00 | 5.26 | 154.5 | 5.785 | 166.9 | 6.065 | 157.22 | 5.831 | 155.1 | 21.5 | 964.164 | 65.2794 | 8.0769
2020-07-01 01:45:00 | 4.885 | 153.5 | 5.062 | 168.9 | 5.315 | 159.104 | 5.281 | 157.8 | 21.5 | 964.312 | 64.4611 | 8.6386
2020-07-01 02:00:00 | 5.186 | 147.4 | 5.617 | 162.4 | 6.457 | 152.981 | 6.244 | 151.4 | 21.18 | 963.867 | 67.7353 | 11.8974
2020-07-01 02:15:00 | 5.13 | 148.4 | 5.985 | 163.9 | 6.818 | 154.394 | 6.715 | 152.7 | 21.13 | 964.016 | 67.2578 | 13.0576
2020-07-01 02:30:00 | 4.969 | 153.8 | 5.455 | 172.7 | 5.788 | 162.683 | 5.712 | 158.7 | 20.94 | 964.312 | 64.8704 | 10.9404
2020-07-01 02:45:00 | 4.923 | 140.2 | 5.343 | 157 | 6.012 | 147.894 | 5.905 | 143.7 | 21.23 | 963.867 | 61.528 | 10.5229
2020-07-01 03:00:00 | 4.887 | 133 | 5.624 | 151.4 | 5.964 | 142.619 | 5.819 | 137.6 | 21.6 | 963.867 | 62.4147 | 12.6512
2020-07-01 03:15:00 | 4.509 | 140.8 | 5.553 | 159.5 | 6.139 | 150.249 | 5.877 | 145.9 | 21.52 | 964.312 | 61.5621 | 9.2778
2020-07-01 03:30:00 | 3.588 | 132.7 | 5.018 | 149.6 | 5.564 | 140.923 | 5.432 | 136.9 | 21.51 | 964.461 | 62.1419 | 10.7372
2020-07-01 03:45:00 | 3.021 | 127 | 4.663 | 146.9 | 5.75 | 138.38 | 5.646 | 129.8 | 21.46 | 964.164 | 63.779 | 9.2999
2020-07-01 04:00:00 | 5.5 | 124.7 | 5.977 | 141.9 | 4.903 | 133.67 | 4.561 | 129 | 21.99 | 964.016 | 65.1773 | 8.7605
2020-07-01 04:15:00 | 5.163 | 130.8 | 5.744 | 147.1 | 5.959 | 138.568 | 5.78 | 135.1 | 22.18 | 964.461 | 65.075 | 9.4403
2020-07-01 04:30:00 | 4.617 | 143.1 | 4.826 | 163.9 | 5.422 | 154.394 | 5.449 | 144 | 21.47 | 964.461 | 64.2224 | 9.5068
2020-07-01 04:45:00 | 6.082 | 153.7 | 6.297 | 171 | 6.325 | 161.082 | 6.16 | 156.4 | 21.22 | 964.461 | 62.824 | 9.0302
2020-07-01 05:00:00 | 5.903 | 159.8 | 6.583 | 170.9 | 6.332 | 160.988 | 6.252 | 164.4 | 21.36 | 964.609 | 63.4379 | 9.8357
2020-07-01 05:15:00 | 5.508 | 152.4 | 5.683 | 164.6 | 5.834 | 155.053 | 5.646 | 159.1 | 20.89 | 964.461 | 61.5962 | 8.3319
2020-07-01 05:30:00 | 3.889 | 145.8 | 5.31 | 161.8 | 5.592 | 152.416 | 5.46 | 148.5 | 21.24 | 964.757 | 62.9604 | 6.9057
2020-07-01 05:45:00 | 1.771 | 134.4 | 3.057 | 157.5 | 5.809 | 148.365 | 5.531 | 140.9 | 21.05 | 964.906 | 65.1393 | 7.6372
2020-07-01 06:00:00 | 5.796 | 133.1 | 6.527 | 149.8 | 5.114 | 141.112 | 4.604 | 138.3 | 21.82 | 964.846 | 63.496 | 9.6103
2020-07-01 06:15:00 | 5.472 | 142.2 | 6.212 | 161 | 6.569 | 151.662 | 6.387 | 146.6 | 20.98 | 964.706 | 65.8142 | 12.3038
2020-07-01 06:30:00 | 5.081 | 141.1 | 4.977 | 160.8 | 6.063 | 151.474 | 6.15 | 144.7 | 21.19 | 964.909 | 67.2464 | 8.6053
2020-07-01 06:45:00 | 3.143 | 138.6 | 3.581 | 161.7 | 3.942 | 152.321 | 4.051 | 139.4 | 21.27 | 965.057 | 69.7698 | 6.902
2020-07-01 07:00:00 | 2.755 | 138.2 | 3.267 | 157.7 | 3.316 | 148.553 | 3.236 | 134.1 | 21.72 | 965.353 | 67.7795 | 6.3884
2020-07-01 07:15:00 | 3 | 149.6 | 3.313 | 166.7 | 3.352 | 157.031 | 3.213 | 155 | 22.37 | 965.65 | 66.5767 | 6.5768
2020-07-01 07:30:00 | 6.133 | 144.9 | 6.182 | 162.3 | 6.101 | 152.887 | 5.938 | 148.8 | 22.31 | 965.65 | 69.4052 | 6.1261
2020-07-01 07:45:00 | 5.007 | 143.9 | 4.99 | 160.6 | 4.781 | 151.285 | 4.67 | 147.2 | 22.01 | 965.924 | 69.6022 | 6.5399
2020-07-01 08:00:00 | 5.536 | 147.5 | 5.527 | 164.5 | 5.122 | 154.959 | 4.953 | 151.3 | 22.22 | 965.76 | 68.439 | 6.5879
2020-07-01 08:15:00 | 6.085 | 148.9 | 6.095 | 162.8 | 5.74 | 153.358 | 5.605 | 154 | 22.05 | 966.101 | 69.3252 | 6.1519
2020-07-01 08:30:00 | 5.676 | 147 | 5.425 | 163.5 | 5.348 | 154.017 | 5.22 | 151.8 | 22.25 | 966.105 | 66.1554 | 5.8637
2020-07-01 08:45:00 | 5.033 | 144.6 | 5.049 | 159.5 | 4.529 | 150.249 | 4.347 | 151.7 | 22.51 | 965.949 | 64.0082 | 2.7896
2020-07-01 09:00:00 | 3.274 | 128 | 3.305 | 150.7 | 2.94 | 141.959 | 2.768 | 131.4 | 23.28 | 966.69 | 59.85 | 1.1565
2020-07-01 09:15:00 | 4.318 | 150.7 | 4.269 | 168.6 | 4.036 | 158.821 | 3.891 | 153.7 | 23.82 | 966.69 | 58.5493 | 1.4003
2020-07-01 09:30:00 | 4.065 | 127.9 | 3.881 | 144.2 | 3.352 | 135.836 | 3.04 | 136.5 | 24.07 | 967.283 | 56.7815 | 0.77222
2020-07-01 09:45:00 | 4.68 | 173.7 | 4.44 | 193.1 | 3.954 | 181.9 | 3.799 | 174.3 | 24.93 | 967.206 | 59.564 | 1.4779
2020-07-01 10:00:00 | 5.651 | 170.7 | 5.614 | 187.9 | 5.081 | 177.002 | 5.034 | 176.6 | 24.85 | 966.864 | 57.7175 | 2.5679
2020-07-01 10:15:00 | 5.684 | 180.2 | 5.581 | 194.6 | 4.809 | 183.313 | 4.724 | 180.6 | 24.88 | 966.734 | 57.6564 | 3.4953
2020-07-01 10:30:00 | 5.283 | 174.3 | 5.003 | 188.6 | 4.11 | 177.661 | 4.067 | 177.9 | 25.12 | 967.081 | 57.1535 | 2.6972
2020-07-01 10:45:00 | 4.714 | 173.1 | 4.553 | 199.9 | 3.506 | 188.306 | 3.361 | 173.2 | 25.55 | 967.38 | 57.7007 | 2.6714
2020-07-01 11:00:00 | 5.076 | 151.8 | 4.975 | 170.5 | 4.445 | 160.611 | 4.278 | 160 | 25.46 | 967.078 | 58.3413 | 2.7342
2020-07-01 11:15:00 | 5.015 | 188.9 | 4.896 | 201.4 | 4.592 | 189.719 | 4.627 | 195.1 | 26.08 | 967.185 | 55.6075 | 2.5457
2020-07-01 11:30:00 | 5.441 | 169.3 | 5.087 | 188.1 | 4.346 | 177.19 | 4.212 | 169.5 | 26.08 | 967.137 | 54.7871 | 5.7381
2020-07-01 11:45:00 | 5.227 | 173.6 | 5.174 | 189.1 | 4.389 | 178.132 | 4.214 | 176.8 | 26.07 | 967.037 | 55.6439 | 6.6655
2020-07-01 12:00:00 | 5.378 | 164.9 | 5.496 | 182.7 | 4.931 | 172.103 | 4.673 | 168.3 | 26.75 | 966.97 | 54.3845 | 5.9783
2020-07-01 12:15:00 | 5.127 | 155.9 | 5.172 | 175.4 | 4.789 | 165.227 | 4.673 | 158 | 26.42 | 967.029 | 56.2659 | 5.8305
2020-07-01 12:30:00 | 5.071 | 141.9 | 4.824 | 157.7 | 4.659 | 148.553 | 4.403 | 145.1 | 26.86 | 967.28 | 53.8833 | 6.6249
2020-07-01 12:45:00 | 5.543 | 179.4 | 5.358 | 193.2 | 4.486 | 181.994 | 4.466 | 183.7 | 27.11 | 967.135 | 49.3851 | 6.7357
2020-07-01 13:00:00 | 6.797 | 169.7 | 6.368 | 182.6 | 5.582 | 172.009 | 5.526 | 174.8 | 27.46 | 966.819 | 49.9991 | 8.8418
2020-07-01 13:15:00 | 6.519 | 181.8 | 6.105 | 196.9 | 5.526 | 185.48 | 5.503 | 185.5 | 27.47 | 966.69 | 49.1475 | 8.3245
2020-07-01 13:30:00 | 5.605 | 121.5 | 5.514 | 138.3 | 5.168 | 130.279 | 5.167 | 125.9 | 27.95 | 966.987 | 46.3522 | 7.2825
2020-07-01 13:45:00 | 6.251 | 167.4 | 5.888 | 183.8 | 5.201 | 173.14 | 5.144 | 169.9 | 28.07 | 966.987 | 47.7122 | 7.4451
2020-07-01 14:00:00 | 5.348 | 174 | 5.491 | 181.6 | 5.28 | 171.067 | 5.205 | 181.9 | 28.01 | 967.613 | 45.9035 | 6.4992
2020-07-01 14:15:00 | 5.623 | 165.4 | 5.836 | 180.3 | 5.254 | 169.843 | 5.121 | 173.6 | 28.23 | 967.138 | 45.3494 | 9.1447
2020-07-01 14:30:00 | 6.039 | 180.8 | 6.13 | 196.7 | 5.689 | 185.291 | 5.648 | 183.3 | 28.46 | 967.137 | 44.2249 | 9.9835
2020-07-01 14:45:00 | 4.961 | 150.1 | 5.077 | 171.5 | 4.812 | 161.553 | 4.649 | 150.5 | 28.82 | 967.73 | 42.8961 | 12.0341
2020-07-01 15:00:00 | 5.339 | 187.2 | 5.512 | 210 | 4.784 | 197.82 | 4.683 | 185 | 28.93 | 967.137 | 41.1581 | 11.5686
2020-07-01 15:15:00 | 4.606 | 186.5 | 4.691 | 204 | 4.367 | 192.168 | 4.296 | 193.2 | 28.81 | 966.989 | 40.9172 | 13.3532
2020-07-01 15:30:00 | 6.473 | 169.9 | 6.146 | 186.4 | 5.348 | 175.589 | 5.276 | 175.9 | 29.02 | 966.84 | 40.3024 | 12.2225
2020-07-01 15:45:00 | 6.654 | 183.5 | 6.887 | 196.6 | 6.259 | 185.197 | 6.247 | 187.9 | 28.9 | 966.692 | 39.4169 | 12.4258
2020-07-01 16:00:00 | 6.452 | 166.9 | 6.281 | 182.8 | 5.826 | 172.198 | 5.837 | 175.1 | 29.08 | 966.84 | 39.3147 | 13.7966
2020-07-01 16:15:00 | 6.491 | 186.3 | 6.821 | 199.6 | 6.584 | 188.023 | 6.723 | 189.6 | 29.13 | 967.137 | 38.9381 | 12.3593
2020-07-01 16:30:00 | 6.016 | 183.7 | 5.818 | 200.6 | 5.351 | 188.965 | 5.322 | 182.4 | 29.14 | 966.84 | 38.0523 | 14.6685
2020-07-01 16:45:00 | 6.843 | 186.5 | 6.739 | 198.9 | 6.088 | 187.364 | 6.137 | 189.1 | 29.06 | 966.692 | 39.9252 | 12.8876
2020-07-01 17:00:00 | 5.556 | 180.4 | 5.634 | 195.3 | 5.32 | 183.973 | 5.302 | 185.7 | 28.94 | 966.396 | 42.107 | 14.0995
2020-07-01 17:15:00 | 7.698 | 188.2 | 7.181 | 204.3 | 6.277 | 192.451 | 6.229 | 190 | 28.67 | 966.396 | 42.722 | 14.3766
2020-07-01 17:30:00 | 7.073 | 177.8 | 6.918 | 196.2 | 6.363 | 184.82 | 6.379 | 183.6 | 28.68 | 966.248 | 39.7955 | 13.5047
2020-07-01 17:45:00 | 5.998 | 186.6 | 6.003 | 200.8 | 5.615 | 189.154 | 5.612 | 190.4 | 28.6 | 965.951 | 42.2487 | 10.5488
2020-07-01 18:00:00 | 6.077 | 185.5 | 5.747 | 202.9 | 4.779 | 191.132 | 4.869 | 185.9 | 28.32 | 965.951 | 43.1686 | 7.9661
2020-07-01 18:15:00 | 6.606 | 183.8 | 6.202 | 197.1 | 5.338 | 185.668 | 5.297 | 186.6 | 28.26 | 965.655 | 42.9301 | 9.2667
2020-07-01 18:30:00 | 5.643 | 182.8 | 5.663 | 197.6 | 5.038 | 186.139 | 4.971 | 183.9 | 28.02 | 965.897 | 43.1427 | 7.7777
2020-07-01 18:45:00 | 5.303 | 179.1 | 5.284 | 195.9 | 5.246 | 184.538 | 5.33 | 181.4 | 27.96 | 965.91 | 42.8753 | 8.4723
2020-07-01 19:00:00 | 3.945 | 176.4 | 3.957 | 197.2 | 3.418 | 185.762 | 3.252 | 174.7 | 27.77 | 966.245 | 43.6924 | 5.2688
2020-07-01 19:15:00 | 4.083 | 157 | 4.369 | 172 | 4.145 | 162.024 | 4.156 | 161.6 | 27.64 | 965.652 | 43.5558 | 5.0472
2020-07-01 19:30:00 | 3.866 | 152.2 | 4.008 | 167.5 | 4.199 | 157.785 | 4.212 | 158.9 | 27.29 | 965.504 | 43.8309 | 5.6309
2020-07-01 19:45:00 | 4.31 | 157.7 | 4.581 | 173.9 | 4.542 | 163.814 | 4.512 | 162.2 | 27.14 | 965.652 | 45.9441 | 5.9967
2020-07-01 20:00:00 | 3.692 | 163.9 | 3.906 | 179.5 | 3.751 | 169.089 | 3.674 | 169.8 | 26.79 | 965.355 | 48.6707 | 5.025
2020-07-01 20:15:00 | 3.626 | 168.3 | 3.686 | 181.5 | 3.596 | 170.973 | 3.58 | 174.4 | 26.62 | 965.745 | 50.5453 | 4.8403
2020-07-01 20:30:00 | 3.889 | 161.2 | 4.267 | 175.4 | 4.11 | 165.227 | 4.067 | 164.1 | 26.38 | 965.709 | 52.4894 | 4.4818
2020-07-01 20:45:00 | 3.69 | 159.7 | 4.029 | 172.3 | 4.041 | 162.307 | 3.96 | 165.1 | 26.26 | 965.798 | 51.2335 | 4.3414
2020-07-01 21:00:00 | 3.388 | 165.2 | 3.415 | 179.4 | 3.38 | 168.995 | 3.269 | 167.8 | 26.19 | 966.095 | 51.8834 | 4.7442
2020-07-01 21:15:00 | 4.645 | 159.1 | 4.919 | 174.5 | 4.903 | 164.379 | 4.876 | 165.6 | 26.05 | 965.798 | 53.3151 | 7.4784
2020-07-01 21:30:00 | 4.446 | 157.9 | 4.673 | 172.6 | 4.725 | 162.589 | 4.604 | 161.4 | 25.73 | 965.798 | 54.7469 | 11.1621
2020-07-01 21:45:00 | 3.863 | 152.9 | 4.136 | 167.9 | 4.214 | 158.162 | 4.199 | 159.9 | 25.32 | 965.798 | 55.7695 | 10.3493
2020-07-01 22:00:00 | 3.593 | 160.6 | 3.533 | 168.9 | 3.087 | 159.104 | 2.908 | 165.3 | 25.08 | 965.65 | 57.474 | 12.2817
2020-07-01 22:15:00 | 4.098 | 154.5 | 4.637 | 170.3 | 5.015 | 160.423 | 4.963 | 162.4 | 24.96 | 965.649 | 58.8384 | 12.9689
2020-07-01 22:30:00 | 3.746 | 164 | 3.967 | 174.2 | 4.127 | 164.096 | 4.174 | 171 | 24.84 | 965.65 | 59.6575 | 13.2793
2020-07-01 22:45:00 | 5.319 | 161 | 5.706 | 179 | 5.707 | 168.618 | 5.661 | 164.9 | 24.78 | 965.353 | 61.0265 | 12.0119
2020-07-01 23:00:00 | 3.95 | 154.6 | 4.175 | 169.8 | 4.481 | 159.952 | 4.472 | 159.2 | 24.59 | 965.353 | 62.1856 | 11.7053
2020-07-01 23:15:00 | 5.663 | 159.2 | 6.084 | 172.3 | 6.116 | 162.307 | 6.142 | 166.4 | 24.63 | 965.353 | 60.5517 | 16.7044
2020-07-01 23:30:00 | 6.098 | 159.1 | 6.164 | 176.6 | 6.483 | 166.357 | 6.499 | 161.7 | 24.55 | 965.353 | 62.1882 | 19.3425
2020-07-01 23:45:00 | 5.993 | 158.9 | 6.34 | 171.4 | 6.165 | 161.459 | 6.114 | 167.5 | 24.5 | 965.65 | 61.0976 | 19.8007