## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-02 00:00:00 | 6.856 | 159.9 | 6.969 | 175.3 | 6.724 | 165.133 | 6.654 | 165.4 | 24.44 | 965.65 | 63.0071 | 21.2564
2020-07-02 00:15:00 | 5.444 | 154.9 | 5.785 | 173.2 | 6.683 | 163.154 | 6.723 | 161.7 | 24.12 | 965.353 | 65.121 | 19.9854
2020-07-02 00:30:00 | 6.32 | 159.7 | 6.407 | 171.5 | 6.701 | 161.553 | 6.644 | 164.9 | 24.11 | 965.501 | 64.3707 | 23.9426
2020-07-02 00:45:00 | 6.289 | 152.8 | 6.606 | 170.1 | 6.912 | 160.234 | 6.82 | 158.9 | 24 | 965.205 | 61.4388 | 23.0521
2020-07-02 01:00:00 | 6.858 | 153.9 | 7.14 | 170.3 | 7.449 | 160.423 | 7.301 | 158.5 | 23.94 | 965.057 | 60.4159 | 23.3514
2020-07-02 01:15:00 | 5.845 | 151.9 | 5.821 | 167.7 | 6.06 | 157.973 | 6.068 | 156.7 | 23.87 | 965.057 | 60.6887 | 18.1306
2020-07-02 01:30:00 | 4.341 | 139.2 | 4.916 | 157.1 | 5.661 | 147.988 | 5.691 | 144.6 | 23.79 | 965.057 | 61.0297 | 13.9074
2020-07-02 01:45:00 | 5.421 | 143.5 | 5.757 | 158.2 | 6.854 | 149.024 | 6.812 | 148.5 | 23.7 | 964.908 | 61.5752 | 20.5175
2020-07-02 02:00:00 | 5.475 | 142.7 | 5.992 | 157.2 | 6.615 | 148.082 | 6.537 | 147.7 | 23.68 | 964.908 | 61.7819 | 19.4792
2020-07-02 02:15:00 | 6.121 | 137.9 | 6.885 | 154.7 | 7.23 | 145.727 | 7.194 | 144.4 | 23.8 | 964.908 | 61.5776 | 20.3475
2020-07-02 02:30:00 | 6.358 | 137.8 | 6.78 | 152.3 | 7.042 | 143.467 | 6.962 | 142 | 23.83 | 964.908 | 63.4872 | 18.7735
2020-07-02 02:45:00 | 5.955 | 134.1 | 6.066 | 147.2 | 6.327 | 138.662 | 6.282 | 140.9 | 23.79 | 964.908 | 65.3259 | 18.5666
2020-07-02 03:00:00 | 6.391 | 133.7 | 6.552 | 150.1 | 6.882 | 141.394 | 6.84 | 139.9 | 23.7 | 964.612 | 66.077 | 20.68
2020-07-02 03:15:00 | 6.504 | 137.3 | 6.864 | 153.9 | 7.001 | 144.974 | 6.957 | 143.7 | 23.6 | 964.908 | 65.7357 | 21.105
2020-07-02 03:30:00 | 7.116 | 141.3 | 7.649 | 156.9 | 8.45 | 147.8 | 8.37 | 147.7 | 23.64 | 964.612 | 64.7801 | 25.7124
2020-07-02 03:45:00 | 6.486 | 138.9 | 6.984 | 155.2 | 7.548 | 146.198 | 7.568 | 145.1 | 23.64 | 964.463 | 65.3258 | 22.3575
2020-07-02 04:00:00 | 5.311 | 130.6 | 5.709 | 145.2 | 5.893 | 136.778 | 5.773 | 136 | 23.62 | 964.612 | 65.5311 | 22.8785
2020-07-02 04:15:00 | 5.214 | 138.2 | 5.008 | 160.4 | 5.046 | 151.097 | 5.101 | 140.8 | 23.55 | 964.463 | 65.1897 | 18.0567
2020-07-02 04:30:00 | 5.372 | 134.6 | 5.893 | 146.4 | 6.116 | 137.909 | 6.063 | 138.6 | 23.61 | 964.76 | 65.7356 | 12.6068
2020-07-02 04:45:00 | 4.469 | 133.8 | 4.972 | 147.1 | 5.707 | 138.568 | 5.745 | 141.9 | 23.62 | 965.057 | 65.2576 | 16.2167
2020-07-02 05:00:00 | 5.27 | 127.4 | 5.629 | 141.7 | 5.564 | 133.481 | 5.437 | 134.4 | 23.53 | 965.057 | 65.327 | 13.73
2020-07-02 05:15:00 | 5.051 | 129.1 | 5.476 | 143.6 | 5.605 | 135.271 | 5.582 | 133.9 | 23.57 | 965.057 | 63.9628 | 13.9259
2020-07-02 05:30:00 | 5.893 | 126.7 | 6.212 | 146.3 | 6.437 | 137.815 | 6.41 | 132.8 | 23.57 | 965.205 | 63.8261 | 16.5714
2020-07-02 05:45:00 | 6.864 | 132.3 | 6.961 | 148 | 6.966 | 139.416 | 6.929 | 136.5 | 23.48 | 965.501 | 63.8937 | 17.8424
2020-07-02 06:00:00 | 5.421 | 125 | 5.346 | 144.9 | 5.727 | 136.496 | 5.801 | 129.4 | 23.63 | 965.798 | 63.7572 | 15.8989
2020-07-02 06:15:00 | 4.834 | 134.4 | 5.233 | 155 | 5.595 | 146.01 | 5.541 | 136.8 | 23.7 | 965.798 | 62.4616 | 11.6203
2020-07-02 06:30:00 | 3.945 | 122.4 | 4.021 | 141.1 | 4.234 | 132.916 | 4.311 | 128.5 | 23.85 | 965.947 | 63.6171 | 9.7987
2020-07-02 06:45:00 | 3.487 | 115.2 | 3.814 | 133.1 | 3.916 | 125.38 | 4.033 | 119.7 | 23.63 | 966.243 | 63.4827 | 13.8815
2020-07-02 07:00:00 | 2.403 | 105.4 | 2.739 | 124.7 | 2.93 | 117.467 | 3.03 | 108.3 | 23.64 | 966.837 | 63.6139 | 10.3049
2020-07-02 07:15:00 | 3.777 | 122 | 4.029 | 147.3 | 4.351 | 138.757 | 4.362 | 127.1 | 23.91 | 966.837 | 63.1328 | 10.4305
2020-07-02 07:30:00 | 3.897 | 138.5 | 4.098 | 158.7 | 3.685 | 149.495 | 3.685 | 132.5 | 24.47 | 967.208 | 62.2038 | 10.6707
2020-07-02 07:45:00 | 3.217 | 111.3 | 3.832 | 133 | 3.787 | 125.286 | 3.911 | 122.5 | 24.8 | 967.286 | 61.6905 | 10.1941
2020-07-02 08:00:00 | 3.085 | 99.7 | 3.64 | 128 | 3.794 | 120.576 | 3.733 | 109.3 | 24.74 | 967.432 | 63.7346 | 11.1769
2020-07-02 08:15:00 | 3.028 | 118 | 3.517 | 144.7 | 3.55 | 136.307 | 3.626 | 115.6 | 24.35 | 967.283 | 64.6898 | 8.1324
2020-07-02 08:30:00 | 2.084 | 102.8 | 2.889 | 118.7 | 3.278 | 111.815 | 3.417 | 107.1 | 24.23 | 967.283 | 64.6898 | 9.0265
2020-07-02 08:45:00 | 2.393 | 102.7 | 2.981 | 124.2 | 3.253 | 116.996 | 3.231 | 117.1 | 25.02 | 967.728 | 65.8487 | 8.4464
2020-07-02 09:00:00 | 3.37 | 120.7 | 3.673 | 136.2 | 3.533 | 128.3 | 3.491 | 123.3 | 24.43 | 967.135 | 67.0756 | 9.832
2020-07-02 09:15:00 | 4.052 | 128.8 | 4.282 | 148.3 | 4.305 | 139.699 | 4.311 | 132.6 | 24.83 | 966.987 | 67.212 | 9.5475
2020-07-02 09:30:00 | 2.872 | 111.3 | 3.186 | 138.4 | 3.479 | 130.373 | 3.369 | 116.8 | 24.97 | 967.135 | 66.9393 | 9.2408
2020-07-02 09:45:00 | 2.42 | 92.2 | 3.696 | 108.3 | 4.346 | 102.019 | 4.405 | 97.9 | 25.06 | 967.432 | 67.1438 | 8.8122
2020-07-02 10:00:00 | 3.186 | 94.9 | 3.811 | 112 | 3.57 | 105.504 | 3.613 | 107.7 | 24.63 | 967.283 | 67.621 | 6.5547
2020-07-02 10:15:00 | 3.289 | 96 | 3.54 | 117.8 | 3.876 | 110.968 | 3.757 | 102.3 | 25.14 | 967.283 | 65.7123 | 11.5427
2020-07-02 10:30:00 | 3.881 | 100.3 | 4.456 | 119 | 4.542 | 112.098 | 4.614 | 102.3 | 25.24 | 967.58 | 64.9625 | 7.2936
2020-07-02 10:45:00 | 3.986 | 113.8 | 4.273 | 134.9 | 3.577 | 127.076 | 3.569 | 112.3 | 26.18 | 967.877 | 65.6413 | 4.4855
2020-07-02 11:00:00 | 4.438 | 121.2 | 4.525 | 142.2 | 4.751 | 133.952 | 4.767 | 126.1 | 26.48 | 967.896 | 63.0345 | 6.514
2020-07-02 11:15:00 | 3.932 | 98.3 | 4.402 | 113.8 | 4.573 | 107.2 | 4.578 | 105.3 | 26.4 | 967.73 | 63.305 | 5.8415
2020-07-02 11:30:00 | 4.435 | 109.7 | 4.99 | 128.5 | 4.758 | 121.047 | 4.754 | 116.4 | 26.05 | 967.137 | 64.259 | 7.2641
2020-07-02 11:45:00 | 3.354 | 98.6 | 3.679 | 128.4 | 3.827 | 120.953 | 3.723 | 100.1 | 27.23 | 967.582 | 61.397 | 8.3245
2020-07-02 12:00:00 | 4.183 | 103.2 | 4.834 | 116.1 | 5.137 | 109.366 | 5.113 | 111.3 | 26.83 | 967.433 | 62.385 | 5.4721
2020-07-02 12:15:00 | 4.703 | 114 | 4.998 | 126.2 | 4.743 | 118.88 | 4.782 | 124.7 | 26.87 | 967.433 | 64.6678 | 7.8331
2020-07-02 12:30:00 | 5.577 | 147.5 | 5.691 | 163.3 | 5.506 | 153.829 | 5.342 | 153.5 | 26.3 | 966.396 | 65.5537 | 7.4303
2020-07-02 12:45:00 | 4.688 | 119.8 | 5.241 | 142.1 | 4.901 | 133.858 | 4.889 | 119.5 | 26.01 | 966.041 | 68.0822 | 18.4853
2020-07-02 13:00:00 | 4.446 | 94.5 | 5.43 | 108.1 | 5.554 | 101.83 | 5.696 | 103.3 | 25.8 | 966.392 | 66.8679 | 18.6405
2020-07-02 13:15:00 | 4.195 | 95.8 | 5.243 | 119.4 | 5.13 | 112.475 | 5.243 | 99.2 | 26.96 | 966.69 | 66.0839 | 34.4655
2020-07-02 13:30:00 | 7.259 | 136.3 | 7.672 | 155.9 | 7.271 | 146.858 | 7.102 | 140.4 | 25.96 | 966.097 | 69.6292 | 55.2712
2020-07-02 13:45:00 | 6.81 | 129.5 | 7.035 | 152.3 | 6.615 | 143.467 | 6.588 | 135.5 | 25.14 | 965.652 | 75.2542 | 52.1047
2020-07-02 14:00:00 | 7.818 | 144.2 | 8 | 162.5 | 7.927 | 153.075 | 7.797 | 146.1 | 23.37 | 964.614 | 91.7519 | 48.5207
2020-07-02 14:15:00 | 3.932 | 117.5 | 4.699 | 135.4 | 5.557 | 127.547 | 5.704 | 115.8 | 22.74 | 964.758 | 87.199 | 12.2669
2020-07-02 14:30:00 | 3.757 | 84.2 | 4.752 | 97.3 | 5 | 91.6566 | 5.159 | 93.1 | 23.26 | 964.76 | 86.8036 | 6.8429
2020-07-02 14:45:00 | 4.083 | 356.5 | 4.423 | 3.797 | 4.25 | 3.5768 | 4.151 | 352.2 | 22.77 | 965.205 | 92.465 | 21.7144
2020-07-02 15:00:00 | 5.73 | 359.3 | 5.818 | 17.29 | 5.948 | 16.2872 | 6.048 | 0.092 | 20.72 | 964.315 | 97.7175 | 33.6897
2020-07-02 15:15:00 | 6.286 | 5.35 | 7.11 | 22.94 | 6.439 | 21.6095 | 6.114 | 9.25 | 20.5 | 964.315 | 98.9598 | 36.4929
2020-07-02 15:30:00 | 5.038 | 8.33 | 5.563 | 24.22 | 4.941 | 22.8152 | 4.731 | 15.47 | 20.4 | 963.994 | 98.1756 | 32.075
2020-07-02 15:45:00 | 4.332 | 13.86 | 6.954 | 29.17 | 6.177 | 27.4781 | 5.9 | 24.48 | 20.48 | 964.038 | 98.4145 | 24.1273
2020-07-02 16:00:00 | 2.34 | 52.63 | 3.029 | 80.8 | 4.216 | 76.1136 | 4.258 | 58.6 | 20.67 | 964.753 | 98.8996 | 17.4212
2020-07-02 16:15:00 | 3.83 | 86.6 | 4.438 | 102.1 | 3.787 | 96.1782 | 4.008 | 89.8 | 20.58 | 964.312 | 98.7024 | 14.0811
2020-07-02 16:30:00 | 3.082 | 76.88 | 3.576 | 90.9 | 3.591 | 85.6278 | 3.59 | 79 | 20.58 | 964.164 | 98.8404 | 6.4401
2020-07-02 16:45:00 | 3.376 | 109 | 4.428 | 120 | 4.677 | 113.04 | 4.79 | 113.9 | 20.92 | 964.757 | 96.8963 | 9.529
2020-07-02 17:00:00 | 5.732 | 117.4 | 6.169 | 136.8 | 6.528 | 128.866 | 6.501 | 120.6 | 21.08 | 964.757 | 96.4188 | 24.7162
2020-07-02 17:15:00 | 4.001 | 101.4 | 5.233 | 114.1 | 5.994 | 107.482 | 6.328 | 107.5 | 20.9 | 964.609 | 98.09 | 35.3079
2020-07-02 17:30:00 | 4.517 | 86.4 | 5.011 | 98.6 | 6.277 | 92.8812 | 6.692 | 91.8 | 21.05 | 964.164 | 97.6466 | 37.5668
2020-07-02 17:45:00 | 5.781 | 98.5 | 7.516 | 113 | 8.13 | 106.446 | 8.58 | 103.7 | 21.13 | 964.461 | 96.794 | 45.5427
2020-07-02 18:00:00 | 7.241 | 114.6 | 7.47 | 133.4 | 8.47 | 125.663 | 8.59 | 117.3 | 21.14 | 964.312 | 95.4297 | 61.7298
2020-07-02 18:15:00 | 8.39 | 117.4 | 9.02 | 134.5 | 9.64 | 126.699 | 9.77 | 122.1 | 20.86 | 964.609 | 96.9304 | 81.0243
2020-07-02 18:30:00 | 9.09 | 112.3 | 9.94 | 130.1 | 11.41 | 122.554 | 11.51 | 118.6 | 20.57 | 964.164 | 96.8963 | 81.4075
2020-07-02 18:45:00 | 8.1 | 113.3 | 8.6 | 130.6 | 9.73 | 123.025 | 9.95 | 119.8 | 20.37 | 963.719 | 96.3847 | 83.389
2020-07-02 19:00:00 | 10.3 | 116.3 | 11.31 | 135.1 | 12.27 | 127.264 | 12.44 | 123.4 | 20.71 | 963.57 | 89.0884 | 89.164
2020-07-02 19:15:00 | 11.11 | 106.4 | 12.09 | 121.6 | 13.26 | 114.547 | 13.66 | 115.2 | 20.09 | 963.125 | 93.5907 | 92.796
2020-07-02 19:30:00 | 10.27 | 108.1 | 10.88 | 122.9 | 12.33 | 115.772 | 12.74 | 114.1 | 19.93 | 962.692 | 95.5818 | 85.4839
2020-07-02 19:45:00 | 10.89 | 104.4 | 12.5 | 119.6 | 13.6 | 112.663 | 14.02 | 110.8 | 19.78 | 963.624 | 98.8572 | 82.9936
2020-07-02 20:00:00 | 10.6 | 104.5 | 11.68 | 120.7 | 13.36 | 113.699 | 14.02 | 110.1 | 20.09 | 963.504 | 91.6596 | 84.1095
2020-07-02 20:15:00 | 11.53 | 99.3 | 13.39 | 114.9 | 14.32 | 108.236 | 14.91 | 107.3 | 20.21 | 963.672 | 87.8049 | 87.6491
2020-07-02 20:30:00 | 10.13 | 97.3 | 12.49 | 113.3 | 12.98 | 106.729 | 13.74 | 105.4 | 20.68 | 964.126 | 85.8946 | 86.4097
2020-07-02 20:45:00 | 10.77 | 97 | 12.94 | 112.8 | 13.25 | 106.258 | 13.96 | 103.4 | 20.75 | 964.074 | 85.4852 | 88.728
2020-07-02 21:00:00 | 10.08 | 98.3 | 11.88 | 114.3 | 12.42 | 107.671 | 12.99 | 105.2 | 21.26 | 964.623 | 83.4381 | 82.9936
2020-07-02 21:15:00 | 9.19 | 100.5 | 9.96 | 117.2 | 10.82 | 110.402 | 11.36 | 107.8 | 21.47 | 964.758 | 84.2444 | 78.1534
2020-07-02 21:30:00 | 8.53 | 103.2 | 9.96 | 119.3 | 10.55 | 112.381 | 10.84 | 108 | 21.52 | 965.055 | 85.5389 | 67.6785
2020-07-02 21:45:00 | 7.075 | 101.8 | 8.48 | 118.1 | 9.47 | 111.25 | 9.7 | 108.1 | 21.57 | 965.055 | 84.7204 | 58.7702
2020-07-02 22:00:00 | 7.323 | 102.5 | 8.11 | 122.3 | 9.12 | 115.207 | 9.59 | 111.2 | 21.68 | 965.351 | 83.9699 | 56.9209
2020-07-02 22:15:00 | 7.918 | 104.4 | 8.78 | 121.4 | 10.15 | 114.359 | 10.49 | 112.6 | 21.69 | 965.5 | 83.2151 | 49.4592
2020-07-02 22:30:00 | 5.995 | 102.2 | 7.03 | 115.5 | 8.03 | 108.801 | 8.25 | 110.3 | 21.6 | 965.351 | 84.3708 | 43.1558
2020-07-02 22:45:00 | 6.774 | 99 | 8.16 | 115 | 8.55 | 108.33 | 8.95 | 105.2 | 21.59 | 965.462 | 84.778 | 40.7615
2020-07-02 23:00:00 | 6.626 | 96.6 | 7.611 | 112.5 | 8.46 | 105.975 | 8.82 | 105.7 | 21.46 | 965.499 | 84.3699 | 42.2469
2020-07-02 23:15:00 | 6.195 | 101 | 7.583 | 114 | 8.4 | 107.388 | 8.65 | 106.9 | 21.57 | 965.201 | 84.5062 | 35.7181
2020-07-02 23:30:00 | 4.696 | 109 | 5.951 | 123.2 | 7.243 | 116.054 | 7.543 | 113.8 | 21.48 | 965.202 | 84.3063 | 36.664
2020-07-02 23:45:00 | 5.86 | 103.8 | 7.36 | 120.7 | 8.04 | 113.699 | 8.23 | 111.1 | 21.67 | 965.17 | 84.8498 | 33.0208