## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-03 00:00:00 | 5.242 | 106.2 | 6.407 | 119.3 | 7.215 | 112.381 | 7.469 | 113.1 | 21.65 | 965.203 | 85.7348 | 22.0398
2020-07-03 00:15:00 | 3.516 | 105.8 | 4.141 | 123.1 | 4.875 | 115.96 | 5.116 | 110.6 | 21.66 | 965.344 | 86.6212 | 13.0871
2020-07-03 00:30:00 | 1.348 | 108.1 | 1.957 | 128.5 | 2.618 | 121.047 | 2.732 | 121.5 | 21.53 | 965.796 | 87.3676 | 8.5868
2020-07-03 00:45:00 | 0.144 | 100.1 | 0.995 | 120 | 1.552 | 113.04 | 1.39 | 100.5 | 21.47 | 965.784 | 87.0292 | 6.5879
2020-07-03 01:00:00 | 4.249 | 135.5 | 4.044 | 164.2 | 3.715 | 154.676 | 3.476 | 129.4 | 21.59 | 965.498 | 86.1747 | 8.827
2020-07-03 01:15:00 | 5.288 | 125.8 | 5.606 | 142.7 | 5.961 | 134.423 | 5.982 | 129.3 | 21.59 | 965.647 | 86.0396 | 15.389
2020-07-03 01:30:00 | 6.018 | 125.5 | 6.644 | 149.7 | 6.826 | 141.017 | 6.705 | 126.6 | 21.62 | 965.349 | 86.1414 | 18.0272
2020-07-03 01:45:00 | 5.835 | 132 | 6.509 | 148.6 | 7.207 | 139.981 | 7.181 | 135.7 | 21.5 | 965.339 | 88.2926 | 20.4879
2020-07-03 02:00:00 | 5.319 | 121.4 | 5.949 | 140 | 6.691 | 131.88 | 6.697 | 127.2 | 21.46 | 965.349 | 88.769 | 15.1526
2020-07-03 02:15:00 | 5.301 | 127.1 | 5.688 | 148.1 | 6.116 | 139.51 | 6.134 | 128.2 | 21.4 | 965.351 | 89.7567 | 14.4653
2020-07-03 02:30:00 | 6.179 | 124.9 | 6.307 | 144.4 | 6.246 | 136.025 | 6.269 | 128 | 21.32 | 965.351 | 90.5116 | 18.1528
2020-07-03 02:45:00 | 5.063 | 129.8 | 5.514 | 149.1 | 5.569 | 140.452 | 5.498 | 131.8 | 21.32 | 965.499 | 90.6515 | 18.356
2020-07-03 03:00:00 | 5.209 | 125.6 | 5.453 | 146 | 5.821 | 137.532 | 5.819 | 126.9 | 21.2 | 965.351 | 90.7895 | 19.3019
2020-07-03 03:15:00 | 5.572 | 121.3 | 5.688 | 139.4 | 6.081 | 131.315 | 6.045 | 125.8 | 21.14 | 965.351 | 90.8529 | 20.5138
2020-07-03 03:30:00 | 5.666 | 118.2 | 6.632 | 138 | 7.342 | 129.996 | 7.331 | 122.7 | 21.19 | 965.054 | 89.7668 | 15.0528
2020-07-03 03:45:00 | 4.481 | 118.1 | 5.011 | 143.4 | 5.605 | 135.083 | 5.78 | 120.5 | 21.16 | 965.203 | 90.3806 | 12.1523
2020-07-03 04:00:00 | 4.915 | 120.1 | 5.363 | 139.4 | 5.959 | 131.315 | 5.956 | 125.5 | 21.1 | 965.351 | 90.3793 | 11.6979
2020-07-03 04:15:00 | 4.52 | 130.6 | 4.581 | 155.1 | 5.559 | 146.104 | 5.6 | 133.4 | 20.92 | 965.351 | 92.019 | 9.8726
2020-07-03 04:30:00 | 4.765 | 125.6 | 4.967 | 146.2 | 5.025 | 137.72 | 5.108 | 130.5 | 20.85 | 965.203 | 92.427 | 11.7496
2020-07-03 04:45:00 | 4.951 | 118.7 | 5.381 | 140.8 | 6.025 | 132.634 | 6.124 | 120.3 | 20.72 | 965.499 | 92.9058 | 17.5468
2020-07-03 05:00:00 | 4.338 | 119.1 | 4.586 | 147.8 | 4.649 | 139.228 | 4.673 | 120.7 | 20.65 | 965.499 | 93.1105 | 13.9443
2020-07-03 05:15:00 | 2.711 | 113.5 | 2.973 | 134.8 | 3.036 | 126.982 | 3.007 | 118.8 | 20.64 | 965.499 | 92.7694 | 16.697
2020-07-03 05:30:00 | 2.515 | 113.9 | 2.648 | 140.9 | 3.55 | 132.728 | 3.875 | 118.3 | 20.57 | 965.499 | 92.8376 | 16.8596
2020-07-03 05:45:00 | 3.861 | 112.8 | 4.256 | 144.9 | 3.916 | 136.496 | 4.069 | 110.4 | 20.58 | 965.648 | 92.2237 | 21.1197
2020-07-03 06:00:00 | 4.17 | 115.7 | 4.123 | 145.9 | 5.005 | 137.438 | 5.19 | 120 | 20.75 | 965.648 | 91.678 | 19.324
2020-07-03 06:15:00 | 3.692 | 122.8 | 3.998 | 143.4 | 4.176 | 135.083 | 4.4 | 121.7 | 20.44 | 965.945 | 93.1787 | 15.5553
2020-07-03 06:30:00 | 3.746 | 133.5 | 4.192 | 154.2 | 4.428 | 145.256 | 4.395 | 127.3 | 20.37 | 965.945 | 93.2469 | 14.3027
2020-07-03 06:45:00 | 3.802 | 120.1 | 4.139 | 150.5 | 4.837 | 141.771 | 4.889 | 123.8 | 20.41 | 965.945 | 92.3601 | 21.6592
2020-07-03 07:00:00 | 4.864 | 139.3 | 4.247 | 166.8 | 3.28 | 157.126 | 3.519 | 130.6 | 20.54 | 965.945 | 91.4393 | 23.8613
2020-07-03 07:15:00 | 4.65 | 142.2 | 4.824 | 161.6 | 4.392 | 152.227 | 4.125 | 145 | 20.79 | 966.241 | 90.347 | 20.7133
2020-07-03 07:30:00 | 5.012 | 106.7 | 5.611 | 133.2 | 5.763 | 125.474 | 5.758 | 111.3 | 20.6 | 966.686 | 90.5463 | 21.6887
2020-07-03 07:45:00 | 3.835 | 131.9 | 4.343 | 153.4 | 3.957 | 144.503 | 3.876 | 132.5 | 20.73 | 967.219 | 89.3475 | 22.472
2020-07-03 08:00:00 | 3.715 | 116.1 | 4.172 | 136.3 | 5.226 | 128.395 | 5.299 | 115.9 | 20.67 | 966.685 | 90.1964 | 20.9239
2020-07-03 08:15:00 | 4.548 | 128.7 | 4.834 | 148.5 | 4.628 | 139.887 | 4.563 | 132.2 | 20.57 | 966.88 | 91.7988 | 23.1852
2020-07-03 08:30:00 | 4.591 | 129.9 | 5.131 | 148.3 | 4.951 | 139.699 | 4.866 | 129.2 | 20.45 | 967.025 | 92.6858 | 23.9426
2020-07-03 08:45:00 | 3.879 | 137.3 | 4.323 | 158.5 | 3.939 | 149.307 | 3.919 | 140.5 | 20.39 | 967.128 | 91.7414 | 19.2538
2020-07-03 09:00:00 | 5.066 | 136.7 | 5.289 | 151.6 | 5.43 | 142.807 | 5.398 | 141 | 20.46 | 967.132 | 89.6975 | 14.8607
2020-07-03 09:15:00 | 5.709 | 137.7 | 6.031 | 153.7 | 6.228 | 144.785 | 6.226 | 140.8 | 20.43 | 967.132 | 90.9919 | 10.582
2020-07-03 09:30:00 | 2.824 | 125 | 3.257 | 150.9 | 3.194 | 142.148 | 3.3 | 124.1 | 20.09 | 967.132 | 93.0414 | 7.1569
2020-07-03 09:45:00 | 2.806 | 121.7 | 3.359 | 146.3 | 3.019 | 137.815 | 3.112 | 126.4 | 20.09 | 967.132 | 93.1105 | 7.2456
2020-07-03 10:00:00 | 2.077 | 117.1 | 2.689 | 131.8 | 2.779 | 124.156 | 2.834 | 120.3 | 20.24 | 967.28 | 92.8376 | 5.8489
2020-07-03 10:15:00 | 2.896 | 120.1 | 3.29 | 136.7 | 3.265 | 128.771 | 3.412 | 127.1 | 20.58 | 967.428 | 88.3015 | 9.8209
2020-07-03 10:30:00 | 3.217 | 124.5 | 3.379 | 154.3 | 3.255 | 145.351 | 3.3 | 118.6 | 21.15 | 967.634 | 83.9577 | 9.1447
2020-07-03 10:45:00 | 1.879 | 80.4 | 2.326 | 97.5 | 2.983 | 91.845 | 3.103 | 96.3 | 21.75 | 968.025 | 80.2699 | 7.5523
2020-07-03 11:00:00 | 2.298 | 104.6 | 2.837 | 130.6 | 3.128 | 123.025 | 3.264 | 107.2 | 21.71 | 968.023 | 81.2136 | 8.6718
2020-07-03 11:15:00 | 3.391 | 100.7 | 4.267 | 113.5 | 4.412 | 106.917 | 4.586 | 107.6 | 22.04 | 968.468 | 80.0516 | 10.5303
2020-07-03 11:30:00 | 2.773 | 120 | 3.257 | 136.7 | 2.922 | 128.771 | 2.926 | 123 | 22.56 | 968.617 | 78.882 | 9.7729
2020-07-03 11:45:00 | 3.764 | 134.4 | 4.113 | 157 | 3.619 | 147.894 | 3.611 | 131.4 | 22.33 | 968.32 | 76.0525 | 6.5547
2020-07-03 12:00:00 | 2.803 | 136.9 | 3.673 | 155.7 | 2.965 | 146.669 | 2.816 | 135.9 | 22.42 | 968.172 | 77.4502 | 5.0619
2020-07-03 12:15:00 | 3.58 | 124.7 | 3.61 | 142.9 | 3.064 | 134.612 | 3.061 | 121 | 22.18 | 968.172 | 77.5865 | 3.4214
2020-07-03 12:30:00 | 3.011 | 133.8 | 3.379 | 151.9 | 3.064 | 143.09 | 2.949 | 133.7 | 22.41 | 968.32 | 77.1108 | 3.2108
2020-07-03 12:45:00 | 3.202 | 140.3 | 3.413 | 153.2 | 3.146 | 144.314 | 3.022 | 146.7 | 22.33 | 968.172 | 75.0646 | 1.0752
2020-07-03 13:00:00 | 3.56 | 155.1 | 3.725 | 169.1 | 3.029 | 159.292 | 2.893 | 159.2 | 22.43 | 968.023 | 76.7002 | 1.5112
2020-07-03 13:15:00 | 3.605 | 147.9 | 3.663 | 163.9 | 2.785 | 154.394 | 2.618 | 151.3 | 22.4 | 968.468 | 76.2911 | 0.20322
2020-07-03 13:30:00 | 3.138 | 156.6 | 2.988 | 174.1 | 2.339 | 164.002 | 2.294 | 160.7 | 22.97 | 968.617 | 75.5071 | -0.1441
2020-07-03 13:45:00 | 1.885 | 182.8 | 1.7 | 189.3 | 1.23 | 178.321 | 0.957 | 180.8 | 22.76 | 968.617 | 79.7 | -0.34731
2020-07-03 14:00:00 | 2.564 | 193 | 2.349 | 203.5 | 1.541 | 191.697 | 1.315 | 198.9 | 22.55 | 968.172 | 78.8137 | -0.32884
2020-07-03 14:15:00 | 2.291 | 177.7 | 1.863 | 197.5 | 0.911 | 186.045 | 0.606 | 166.7 | 22.79 | 968.32 | 79.291 | -0.26972
2020-07-03 14:30:00 | 1.559 | 166 | 1.382 | 183.2 | 0.244 | 172.574 | 0.009 | 166.7 | 22.98 | 968.172 | 78.0297 | -0.29928
2020-07-03 14:45:00 | 1.202 | 148.6 | 1.372 | 189.7 | 0.071 | 178.697 | 0.037 | 166.8 | 23.03 | 968.32 | 77.5183 | -0.26603
2020-07-03 15:00:00 | 0.434 | 96.7 | 1.246 | 143.8 | 1.204 | 135.46 | 1.118 | 112.2 | 23.11 | 968.172 | 78.4728 | -0.29559
2020-07-03 15:15:00 | 2.515 | 318.6 | 2.671 | 320.9 | 2.291 | 302.288 | 2.157 | 326.4 | 22.75 | 967.72 | 89.8586 | -0.28081
2020-07-03 15:30:00 | 1.897 | 325 | 2.308 | 313.6 | 1.444 | 295.411 | 1.138 | 345.6 | 22.05 | 967.578 | 91.4607 | -0.26972
2020-07-03 15:45:00 | 1.603 | 356.9 | 1.782 | 8.39 | 1.755 | 7.9034 | 1.559 | 348.3 | 22.16 | 967.43 | 90.5795 | -0.15518
2020-07-03 16:00:00 | 0.475 | 317.1 | 1.636 | 317.6 | 0.676 | 299.179 | 0.624 | 356.6 | 21.91 | 967.43 | 92.4975 | -0.070202
2020-07-03 16:15:00 | 2.01 | 316.2 | 2.234 | 322.8 | 1.702 | 304.078 | 1.482 | 328.9 | 21.61 | 967.578 | 93.2151 | -0.31037
2020-07-03 16:30:00 | 2.49 | 306.9 | 2.623 | 318.3 | 1.841 | 299.839 | 1.691 | 308.5 | 21.25 | 966.985 | 94.2052 | -0.26972
2020-07-03 16:45:00 | 0.636 | 25.5 | 1.116 | 37.11 | 0.756 | 34.9576 | 0.676 | 49.49 | 21.24 | 966.985 | 93.8363 | -0.29928
2020-07-03 17:00:00 | 0.62 | 127.6 | 0.799 | 245.9 | 0.675 | 231.638 | 0.608 | 141.8 | 21.23 | 966.985 | 93.1628 | -0.13301
2020-07-03 17:15:00 | 2.025 | 90.5 | 2.712 | 100.6 | 2.586 | 94.7652 | 2.666 | 103.4 | 21.19 | 966.837 | 87.6385 | -0.2143
2020-07-03 17:30:00 | 2.459 | 97.6 | 3.154 | 111.1 | 3.771 | 104.656 | 3.873 | 101.9 | 21.75 | 966.837 | 82.3529 | 0.32884
2020-07-03 17:45:00 | 2.627 | 106.3 | 3.335 | 115.6 | 3.537 | 108.895 | 3.741 | 114.6 | 22.03 | 966.985 | 76.8627 | 1.3597
2020-07-03 18:00:00 | 3.57 | 120.9 | 4.108 | 143.1 | 4.089 | 134.8 | 4.074 | 121.4 | 22.24 | 966.837 | 76.3853 | 1.8326
2020-07-03 18:15:00 | 2.931 | 133.4 | 3.098 | 150.8 | 3.029 | 142.054 | 3.099 | 133.9 | 22.28 | 966.985 | 75.8397 | 1.9065
2020-07-03 18:30:00 | 3.177 | 122.3 | 3.553 | 137.3 | 3.919 | 129.337 | 3.939 | 128.3 | 22.26 | 966.837 | 76.5899 | 1.8696
2020-07-03 18:45:00 | 3.082 | 118.6 | 3.556 | 136.8 | 3.642 | 128.866 | 3.677 | 124.4 | 22.2 | 966.837 | 78.022 | 2.7637
2020-07-03 19:00:00 | 2.929 | 120.8 | 3.062 | 134.2 | 3.522 | 126.416 | 3.613 | 122 | 22.13 | 966.985 | 78.2268 | 2.3351
2020-07-03 19:15:00 | 3.586 | 136.8 | 4.131 | 156.2 | 3.647 | 147.14 | 3.557 | 139.2 | 22.04 | 966.985 | 78.3632 | 3.4953
2020-07-03 19:30:00 | 4.645 | 134.5 | 4.982 | 152.4 | 4.776 | 143.561 | 4.647 | 137.8 | 22 | 966.985 | 78.9429 | 4.7811
2020-07-03 19:45:00 | 5.745 | 137.1 | 5.911 | 153.6 | 5.521 | 144.691 | 5.396 | 142 | 21.87 | 966.86 | 80.1364 | 11.4503
2020-07-03 20:00:00 | 5.418 | 129.5 | 5.808 | 147.5 | 5.859 | 138.945 | 5.834 | 132.8 | 21.63 | 967.072 | 79.0452 | 13.8002
2020-07-03 20:15:00 | 4.103 | 127.3 | 4.451 | 151.1 | 3.858 | 142.336 | 3.985 | 123.2 | 21.62 | 967.53 | 79.2839 | 11.6018
2020-07-03 20:30:00 | 4.221 | 118.4 | 4.653 | 139.2 | 5.046 | 131.126 | 5.136 | 121.3 | 21.46 | 967.649 | 78.9098 | 15.6477
2020-07-03 20:45:00 | 4.308 | 121.2 | 4.867 | 134.7 | 5.081 | 126.887 | 5.195 | 125.4 | 21.31 | 967.819 | 80.4796 | 21.4634
2020-07-03 21:00:00 | 4.3 | 117.9 | 4.765 | 133.1 | 5.104 | 125.38 | 5.353 | 122 | 21.12 | 967.701 | 81.369 | 27.1497
2020-07-03 21:15:00 | 5.023 | 110.5 | 6.248 | 125.4 | 7.197 | 118.127 | 7.377 | 114.8 | 20.88 | 968.021 | 81.7852 | 27.9921
2020-07-03 21:30:00 | 5.893 | 132.4 | 6.343 | 151 | 6.348 | 142.242 | 6.239 | 132.3 | 20.78 | 967.725 | 83.3558 | 29.4257
2020-07-03 21:45:00 | 6.521 | 140.5 | 7.125 | 157.3 | 6.495 | 148.177 | 6.509 | 141.8 | 20.62 | 967.874 | 83.1855 | 30.4123
2020-07-03 22:00:00 | 6.177 | 133.2 | 6.133 | 155 | 6.48 | 146.01 | 6.45 | 140.3 | 20.58 | 967.874 | 83.356 | 33.1502
2020-07-03 22:15:00 | 6.202 | 134.6 | 6.238 | 152.9 | 6.462 | 144.032 | 6.325 | 138 | 20.62 | 967.725 | 82.2646 | 29.4701
2020-07-03 22:30:00 | 6.588 | 136.1 | 6.588 | 151.2 | 6.495 | 142.43 | 6.471 | 140.7 | 20.74 | 967.725 | 82.7421 | 27.3899
2020-07-03 22:45:00 | 6.177 | 138.2 | 6.442 | 156.2 | 6.747 | 147.14 | 6.662 | 144.4 | 20.72 | 967.725 | 82.5375 | 24.955
2020-07-03 23:00:00 | 5.099 | 117.1 | 5.629 | 134.2 | 6.307 | 126.416 | 6.359 | 124.4 | 20.51 | 967.725 | 82.8445 | 25.5314
2020-07-03 23:15:00 | 5.109 | 141.4 | 5.376 | 158.8 | 5.44 | 149.59 | 5.266 | 144.7 | 20.39 | 967.874 | 83.1514 | 25.5572
2020-07-03 23:30:00 | 5.14 | 141.8 | 5.325 | 161.9 | 5.597 | 152.51 | 5.681 | 145.8 | 20.17 | 967.874 | 84.7885 | 23.3366
2020-07-03 23:45:00 | 7.121 | 139.9 | 7.337 | 156.9 | 7.375 | 147.8 | 7.28 | 145.2 | 20.11 | 967.725 | 85.1637 | 25.875