## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-04 00:00:00 | 5.855 | 141.9 | 6.015 | 157.8 | 6.427 | 148.648 | 6.432 | 147 | 20.14 | 967.725 | 86.1528 | 24.0128
2020-07-04 00:15:00 | 6.22 | 140.7 | 6.504 | 157.9 | 6.683 | 148.742 | 6.646 | 146.8 | 19.98 | 967.725 | 86.9372 | 22.7676
2020-07-04 00:30:00 | 5.487 | 141.4 | 5.824 | 161.5 | 6.203 | 152.133 | 6.221 | 146.1 | 19.85 | 967.874 | 87.8582 | 23.7616
2020-07-04 00:45:00 | 6.892 | 140 | 7.207 | 157.4 | 7.045 | 148.271 | 6.916 | 146 | 19.77 | 967.725 | 88.1328 | 27.3714
2020-07-04 01:00:00 | 6.332 | 145 | 6.657 | 164.2 | 7.19 | 154.676 | 7.189 | 150.4 | 19.62 | 967.725 | 89.2633 | 27.9109
2020-07-04 01:15:00 | 6.715 | 135.6 | 6.79 | 152 | 7.291 | 143.184 | 7.268 | 141.7 | 19.57 | 967.587 | 89.5757 | 28.6314
2020-07-04 01:30:00 | 6.368 | 136 | 6.345 | 151.3 | 6.386 | 142.525 | 6.427 | 142.8 | 19.54 | 967.581 | 89.6461 | 28.6314
2020-07-04 01:45:00 | 6.121 | 133.7 | 6.573 | 150.7 | 6.793 | 141.959 | 6.738 | 141.4 | 19.66 | 967.445 | 88.8281 | 26.9908
2020-07-04 02:00:00 | 6.23 | 135.6 | 6.271 | 150.6 | 6.416 | 141.865 | 6.379 | 143.6 | 19.66 | 967.306 | 89.374 | 32.171
2020-07-04 02:15:00 | 7.078 | 139.7 | 7.148 | 156.7 | 6.673 | 147.611 | 6.567 | 143.2 | 19.78 | 967.283 | 88.2135 | 31.7166
2020-07-04 02:30:00 | 8.2 | 141 | 8.1 | 155.2 | 7.411 | 146.198 | 7.252 | 147.7 | 19.88 | 967.28 | 88.4527 | 31.5946
2020-07-04 02:45:00 | 7.857 | 136.6 | 7.976 | 148.8 | 7.698 | 140.17 | 7.512 | 145.6 | 19.75 | 967.132 | 88.9245 | 29.023
2020-07-04 03:00:00 | 5.761 | 137.4 | 5.962 | 150.7 | 6.188 | 141.959 | 6.061 | 144.5 | 19.62 | 966.835 | 89.6428 | 28.3432
2020-07-04 03:15:00 | 6.054 | 137.6 | 6.606 | 153.5 | 6.961 | 144.597 | 6.786 | 144.8 | 19.68 | 966.835 | 89.9194 | 25.1878
2020-07-04 03:30:00 | 6.71 | 143.6 | 7.161 | 158.6 | 7.144 | 149.401 | 6.926 | 154 | 19.6 | 966.539 | 89.5774 | 24.4488
2020-07-04 03:45:00 | 6.373 | 143 | 7.283 | 160.3 | 7.696 | 151.003 | 7.52 | 150 | 19.48 | 966.594 | 90.6349 | 23.9906
2020-07-04 04:00:00 | 5.523 | 148.4 | 5.714 | 166.4 | 6.205 | 156.749 | 6.193 | 156 | 19.46 | 966.397 | 91.8983 | 26.0856
2020-07-04 04:15:00 | 7.088 | 146.7 | 7.478 | 162.4 | 8.06 | 152.981 | 7.94 | 153.4 | 19.39 | 966.296 | 91.6937 | 29.4405
2020-07-04 04:30:00 | 6.731 | 145.6 | 7.199 | 162.8 | 7.703 | 153.358 | 7.54 | 153.7 | 19.18 | 966.046 | 92.9558 | 26.0782
2020-07-04 04:45:00 | 7.561 | 146.6 | 7.593 | 161.5 | 7.823 | 152.133 | 7.706 | 155.8 | 19.03 | 966.252 | 93.604 | 25.694
2020-07-04 05:00:00 | 6.509 | 152 | 6.841 | 171.1 | 7.599 | 161.176 | 7.647 | 156.9 | 18.98 | 966.554 | 94.4226 | 32.4297
2020-07-04 05:15:00 | 7.129 | 148.3 | 7.828 | 163.8 | 8.51 | 154.3 | 8.46 | 155.5 | 18.97 | 966.142 | 93.8768 | 31.8902
2020-07-04 05:30:00 | 7.165 | 142.4 | 7.48 | 160.1 | 7.787 | 150.814 | 7.68 | 148.7 | 19.16 | 966.167 | 93.2287 | 25.5499
2020-07-04 05:45:00 | 5.232 | 148.1 | 5.655 | 170.2 | 6.236 | 160.328 | 6.17 | 152.6 | 19.24 | 966.131 | 92.9217 | 17.1404
2020-07-04 06:00:00 | 6.394 | 146 | 6.729 | 161.2 | 6.394 | 151.85 | 6.201 | 154.4 | 19.35 | 966.132 | 92.6829 | 17.0517
2020-07-04 06:15:00 | 4.489 | 150.9 | 5.062 | 164.7 | 4.99 | 155.147 | 4.894 | 162.4 | 19.54 | 966.467 | 91.6254 | 15.3853
2020-07-04 06:30:00 | 5.395 | 152.8 | 5.854 | 166.2 | 5.417 | 156.56 | 5.314 | 161.2 | 19.55 | 966.418 | 91.6254 | 19.9263
2020-07-04 06:45:00 | 5.658 | 141.1 | 5.959 | 159.7 | 6.086 | 150.437 | 6.022 | 148.4 | 19.51 | 966.543 | 92.1018 | 22.86
2020-07-04 07:00:00 | 4.333 | 144.1 | 4.719 | 160.5 | 4.527 | 151.191 | 4.385 | 149 | 19.52 | 966.54 | 91.1736 | 25.0437
2020-07-04 07:15:00 | 5.449 | 140.2 | 5.617 | 155.5 | 5.193 | 146.481 | 4.955 | 145.4 | 19.75 | 966.835 | 90.8596 | 23.3329
2020-07-04 07:30:00 | 5.942 | 142.8 | 6.294 | 159.7 | 5.918 | 150.437 | 5.679 | 147.5 | 19.71 | 966.687 | 91.1665 | 29.8248
2020-07-04 07:45:00 | 8.84 | 148.1 | 8.84 | 164.3 | 8.48 | 154.771 | 8.31 | 152.4 | 19.08 | 966.538 | 95.4298 | 33.6157
2020-07-04 08:00:00 | 6.667 | 144.9 | 7.01 | 162.6 | 7.006 | 153.169 | 6.942 | 149.4 | 19.06 | 966.538 | 94.8159 | 34.229
2020-07-04 08:15:00 | 6.968 | 144.5 | 6.966 | 159.9 | 6.673 | 150.626 | 6.573 | 151 | 19.24 | 967.28 | 94.1337 | 35.2156
2020-07-04 08:30:00 | 6.81 | 142.1 | 7.099 | 159.3 | 6.62 | 150.061 | 6.486 | 147.2 | 19.45 | 966.984 | 94.7477 | 37.3807
2020-07-04 08:45:00 | 7.655 | 146.4 | 7.322 | 162.1 | 6.778 | 152.698 | 6.639 | 151.1 | 19.45 | 967.28 | 93.9286 | 32.825
2020-07-04 09:00:00 | 7.361 | 145.3 | 7.122 | 166 | 6.46 | 156.372 | 6.333 | 149 | 19.97 | 966.913 | 92.4131 | 34.4914
2020-07-04 09:15:00 | 7.926 | 153.2 | 7.948 | 167.1 | 7.294 | 157.408 | 7.138 | 161 | 19.66 | 967.134 | 94.1177 | 33.1871
2020-07-04 09:30:00 | 6.805 | 151.7 | 6.941 | 167.4 | 6.739 | 157.691 | 6.728 | 157.2 | 19.89 | 967.138 | 92.8218 | 33.0652
2020-07-04 09:45:00 | 8.24 | 149.4 | 7.953 | 163.4 | 7.233 | 153.923 | 7.069 | 156 | 19.9 | 966.837 | 93.9813 | 30.7374
2020-07-04 10:00:00 | 6.772 | 148.2 | 6.81 | 163.5 | 6.124 | 154.017 | 5.974 | 156.2 | 20.01 | 967.133 | 92.89 | 25.5055
2020-07-04 10:15:00 | 6.95 | 146.5 | 6.951 | 162.7 | 6.381 | 153.263 | 6.234 | 153.1 | 20.25 | 967.133 | 91.9011 | 20.1923
2020-07-04 10:30:00 | 6.991 | 145.7 | 7.133 | 163.1 | 6.912 | 153.64 | 6.764 | 151.6 | 20.4 | 967.282 | 90.1961 | 20.2145
2020-07-04 10:45:00 | 5.459 | 133.7 | 5.737 | 155.9 | 5.264 | 146.858 | 5.065 | 141.7 | 21.51 | 967.43 | 81.8967 | 20.7059
2020-07-04 11:00:00 | 6.544 | 137.9 | 6.504 | 160.2 | 6.208 | 150.908 | 5.994 | 141.5 | 22.14 | 967.727 | 80.5206 | 20.9128
2020-07-04 11:15:00 | 6.294 | 143.4 | 6.207 | 162.1 | 6.236 | 152.698 | 6.147 | 149.2 | 22.13 | 967.727 | 79.4955 | 22.9524
2020-07-04 11:30:00 | 7.244 | 141.2 | 7.025 | 161.2 | 6.35 | 151.85 | 6.226 | 143.9 | 22.4 | 967.86 | 78.3626 | 18.3634
2020-07-04 11:45:00 | 7.458 | 149.8 | 7.209 | 168.1 | 6.656 | 158.35 | 6.588 | 155.8 | 22.37 | 967.74 | 80.4363 | 19.3019
2020-07-04 12:00:00 | 5.761 | 132.7 | 5.847 | 157.2 | 4.801 | 148.082 | 4.749 | 133.1 | 22.7 | 967.768 | 80.0954 | 16.5049
2020-07-04 12:15:00 | 6.871 | 149 | 7.023 | 163.3 | 6.305 | 153.829 | 6.145 | 154 | 22.64 | 967.536 | 80.8453 | 16.2721
2020-07-04 12:30:00 | 6.713 | 141.5 | 6.836 | 157.7 | 6.376 | 148.553 | 6.219 | 147.1 | 22.47 | 967.506 | 81.0181 | 18.5555
2020-07-04 12:45:00 | 6.93 | 140.5 | 6.961 | 156.8 | 6.541 | 147.706 | 6.402 | 146.4 | 22.66 | 967.552 | 81.3953 | 15.7548
2020-07-04 13:00:00 | 6.144 | 161 | 6.036 | 175 | 5.28 | 164.85 | 5.299 | 167.3 | 23.19 | 967.535 | 79.9599 | 16.915
2020-07-04 13:15:00 | 5.24 | 148.5 | 5.604 | 165.1 | 5.328 | 155.524 | 5.289 | 155 | 23.22 | 967.276 | 80.8112 | 17.6281
2020-07-04 13:30:00 | 7.747 | 139.3 | 7.652 | 157.1 | 7.144 | 147.988 | 6.955 | 144.2 | 23.43 | 967.356 | 79.7546 | 20.8389
2020-07-04 13:45:00 | 7.303 | 152.9 | 7.427 | 169.9 | 6.961 | 160.046 | 6.888 | 159 | 23.66 | 966.847 | 77.6415 | 24.1236
2020-07-04 14:00:00 | 7.019 | 184 | 7 | 194.8 | 6.32 | 183.502 | 6.341 | 186.6 | 23.97 | 966.843 | 77.5051 | 24.4488
2020-07-04 14:15:00 | 6.79 | 175.2 | 6.314 | 198.7 | 5.633 | 187.175 | 5.485 | 171 | 23.88 | 966.468 | 77.7096 | 22.6753
2020-07-04 14:30:00 | 6.218 | 156.1 | 6.156 | 171.4 | 5.29 | 161.459 | 5.238 | 165.5 | 23.8 | 966.326 | 77.437 | 19.5642
2020-07-04 14:45:00 | 7.476 | 147.2 | 7.726 | 163 | 7.202 | 153.546 | 7.021 | 153 | 23.71 | 965.794 | 78.4595 | 22.6494
2020-07-04 15:00:00 | 7.037 | 148.1 | 6.954 | 164.4 | 6.661 | 154.865 | 6.473 | 154.9 | 23.65 | 965.751 | 78.9384 | 21.6887
2020-07-04 15:15:00 | 6.013 | 153.2 | 6.166 | 168.7 | 5.852 | 158.915 | 5.755 | 162.4 | 23.77 | 965.352 | 80.5848 | 28.9861
2020-07-04 15:30:00 | 7.908 | 147.1 | 8.12 | 162 | 7.716 | 152.604 | 7.571 | 154 | 23.52 | 965.057 | 81.609 | 33.6194
2020-07-04 15:45:00 | 8.94 | 154.4 | 8.94 | 173.3 | 8.73 | 163.249 | 8.65 | 159 | 23.52 | 964.463 | 83.3816 | 32.995
2020-07-04 16:00:00 | 7.939 | 170 | 7.294 | 189 | 6.628 | 178.038 | 6.631 | 171.1 | 23.34 | 964.463 | 82.4271 | 30.2866
2020-07-04 16:15:00 | 6.21 | 154.8 | 5.744 | 169.7 | 5.338 | 159.857 | 5.312 | 161.6 | 23.57 | 965.057 | 80.6547 | 19.2132
2020-07-04 16:30:00 | 7.591 | 181.4 | 7.496 | 196.5 | 6.915 | 185.103 | 6.919 | 183.3 | 23.63 | 964.908 | 80.1775 | 20.3992
2020-07-04 16:45:00 | 5.051 | 170 | 5.011 | 191.5 | 4.822 | 180.393 | 4.869 | 168.7 | 23.58 | 964.612 | 81.1318 | 17.3436
2020-07-04 17:00:00 | 5.183 | 162.8 | 5.149 | 173.7 | 4.183 | 163.625 | 4.12 | 167.2 | 23.51 | 964.315 | 80.9315 | 13.1241
2020-07-04 17:15:00 | 5.929 | 152.4 | 6.22 | 168.4 | 6.495 | 158.633 | 6.522 | 155.1 | 23.47 | 963.87 | 81.0765 | 17.1071
2020-07-04 17:30:00 | 5.886 | 144.9 | 6.151 | 161.1 | 5.849 | 151.756 | 5.801 | 150.7 | 23.51 | 963.573 | 81.281 | 20.4916
2020-07-04 17:45:00 | 6.039 | 149.3 | 6.488 | 166.2 | 6.61 | 156.56 | 6.601 | 153.5 | 23.62 | 964.018 | 80.5317 | 21.02
2020-07-04 18:00:00 | 5.214 | 149 | 5.583 | 169 | 6.093 | 159.198 | 6.129 | 154.4 | 23.79 | 963.87 | 81.2138 | 24.0941
2020-07-04 18:15:00 | 6.644 | 148.5 | 6.79 | 165.4 | 6.94 | 155.807 | 6.881 | 157 | 23.72 | 964.167 | 80.8723 | 26.0413
2020-07-04 18:30:00 | 8.11 | 150.7 | 8.14 | 165.8 | 8.4 | 156.184 | 8.33 | 154.5 | 23.76 | 963.573 | 80.4637 | 27.9072
2020-07-04 18:45:00 | 6.603 | 147.6 | 6.509 | 168.4 | 6.701 | 158.633 | 6.73 | 151.7 | 23.67 | 963.276 | 82.1684 | 34.1367
2020-07-04 19:00:00 | 6.059 | 146.9 | 6.514 | 161.6 | 6.991 | 152.227 | 6.944 | 152.1 | 23.52 | 963.128 | 82.0999 | 32.2782
2020-07-04 19:15:00 | 6.067 | 148.1 | 6.621 | 166.2 | 6.734 | 156.56 | 6.685 | 153.5 | 23.46 | 963.425 | 81.3501 | 31.3618
2020-07-04 19:30:00 | 6.945 | 148.6 | 7.033 | 166.6 | 7.474 | 156.937 | 7.403 | 153.3 | 23.52 | 963.276 | 81.3501 | 30.0871
2020-07-04 19:45:00 | 7.081 | 144.8 | 7.455 | 163.4 | 8.21 | 153.923 | 8.18 | 151.4 | 23.41 | 963.128 | 81.7593 | 42.7568
2020-07-04 20:00:00 | 6.659 | 143.9 | 6.422 | 159.8 | 7.398 | 150.532 | 7.545 | 149.6 | 23.18 | 963.276 | 83.3958 | 33.2093
2020-07-04 20:15:00 | 6.601 | 142.6 | 6.887 | 160.5 | 7.502 | 151.191 | 7.584 | 149 | 23.15 | 963.128 | 81.9648 | 45.8124
2020-07-04 20:30:00 | 6.902 | 145.4 | 7.434 | 162.1 | 8.22 | 152.698 | 8.15 | 151.5 | 23.15 | 963.276 | 81.4206 | 43.9391
2020-07-04 20:45:00 | 7.499 | 148.9 | 7.933 | 165.3 | 8.15 | 155.713 | 8.13 | 153 | 23.22 | 963.425 | 80.6015 | 54.1036
2020-07-04 21:00:00 | 7.464 | 147.7 | 7.759 | 167 | 8.49 | 157.314 | 8.53 | 152.7 | 23.09 | 963.276 | 81.8318 | 56.3612
2020-07-04 21:15:00 | 8.43 | 149.9 | 8.97 | 167.2 | 9.36 | 157.502 | 9.32 | 153.6 | 23.14 | 963.276 | 81.8672 | 54.5987
2020-07-04 21:30:00 | 8.11 | 150.4 | 8.21 | 167 | 9.13 | 157.314 | 9.12 | 153.6 | 23.04 | 963.425 | 82.0706 | 46.8359
2020-07-04 21:45:00 | 8.78 | 146.5 | 8.81 | 164.7 | 9.39 | 155.147 | 9.34 | 151.6 | 23.03 | 963.573 | 82.3092 | 50.6194
2020-07-04 22:00:00 | 7.39 | 145.6 | 8.3 | 161.8 | 9.25 | 152.416 | 9.28 | 150.8 | 22.97 | 963.573 | 81.5301 | 52.138
2020-07-04 22:15:00 | 8.41 | 144 | 8.11 | 161.6 | 9.16 | 152.227 | 9.19 | 150.6 | 22.99 | 962.98 | 80.6802 | 49.5663
2020-07-04 22:30:00 | 7.435 | 146.8 | 7.723 | 165.4 | 9.15 | 155.807 | 9.19 | 151.2 | 23.02 | 962.98 | 81.363 | 56.7713
2020-07-04 22:45:00 | 8.18 | 148.6 | 8.62 | 165.9 | 9.38 | 156.278 | 9.35 | 152.7 | 22.86 | 962.98 | 81.7711 | 60.7498
2020-07-04 23:00:00 | 8.02 | 145.1 | 8.72 | 161.1 | 9.57 | 151.756 | 9.57 | 152.4 | 22.82 | 962.832 | 81.4321 | 63.3038
2020-07-04 23:15:00 | 8.68 | 147.4 | 9.28 | 165.4 | 9.92 | 155.807 | 9.89 | 152.8 | 22.89 | 962.386 | 80.545 | 58.7296
2020-07-04 23:30:00 | 8.33 | 148.1 | 8.88 | 165.4 | 9.58 | 155.807 | 9.49 | 153.3 | 22.85 | 962.386 | 81.6367 | 66.2042
2020-07-04 23:45:00 | 8.06 | 147.5 | 8.89 | 166 | 9.44 | 156.372 | 9.46 | 153.8 | 22.75 | 962.386 | 83.0008 | 61.4046