## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-06 00:00:00 | 9.83 | 145.1 | 10.11 | 161.2 | 10.89 | 151.85 | 10.74 | 149.6 | 25.01 | 956.75 | 82.9734 | 67.5418
2020-07-06 00:15:00 | 10.69 | 143.8 | 11.02 | 160.9 | 11.19 | 151.568 | 11.02 | 149.4 | 24.94 | 956.453 | 84.0642 | 64.1167
2020-07-06 00:30:00 | 9.27 | 141.9 | 9.89 | 159.3 | 10.03 | 150.061 | 9.95 | 147.5 | 24.83 | 956.453 | 83.8607 | 52.9176
2020-07-06 00:45:00 | 6.626 | 147.3 | 6.685 | 164.4 | 7.187 | 154.865 | 7.199 | 152.4 | 24.84 | 956.75 | 83.7918 | 40.7911
2020-07-06 01:00:00 | 6.618 | 145.6 | 6.972 | 163.3 | 7.2 | 153.829 | 7.242 | 149.7 | 24.88 | 956.75 | 84.473 | 34.7131
2020-07-06 01:15:00 | 7.517 | 144.1 | 7.514 | 158.2 | 7.797 | 149.024 | 7.787 | 151.3 | 24.77 | 956.453 | 85.2917 | 37.4916
2020-07-06 01:30:00 | 8.06 | 148.5 | 8.34 | 163.6 | 8.61 | 154.111 | 8.49 | 154.7 | 24.73 | 956.157 | 85.9753 | 40.2258
2020-07-06 01:45:00 | 7.601 | 148 | 7.281 | 163.5 | 7.352 | 154.017 | 7.37 | 153.8 | 24.52 | 955.86 | 85.5674 | 40.2516
2020-07-06 02:00:00 | 7.99 | 145.3 | 8.41 | 162.9 | 8.88 | 153.452 | 8.82 | 150.5 | 24.45 | 956.008 | 87.8157 | 42.8011
2020-07-06 02:15:00 | 7.724 | 144.1 | 7.958 | 160.6 | 8.88 | 151.285 | 8.9 | 149.7 | 24.4 | 956.008 | 86.2517 | 46.7028
2020-07-06 02:30:00 | 8.57 | 143.1 | 9.07 | 159.4 | 9.39 | 150.155 | 9.25 | 149.8 | 24.51 | 955.86 | 85.1317 | 43.6915
2020-07-06 02:45:00 | 7.79 | 145.6 | 8.15 | 161.3 | 9.09 | 151.945 | 9.05 | 151.9 | 24.64 | 956.157 | 85.6777 | 39.4536
2020-07-06 03:00:00 | 6.71 | 147.5 | 7.074 | 164.2 | 7.663 | 154.676 | 7.655 | 152.2 | 24.53 | 956.305 | 87.7563 | 41.3232
2020-07-06 03:15:00 | 7.581 | 145.2 | 8.12 | 161.9 | 8.98 | 152.51 | 8.91 | 151.4 | 24.31 | 956.008 | 88.5434 | 41.6779
2020-07-06 03:30:00 | 7.433 | 144.2 | 7.749 | 161.4 | 8.6 | 152.039 | 8.58 | 151.3 | 24.17 | 956.008 | 89.2579 | 38.7257
2020-07-06 03:45:00 | 7.413 | 145 | 7.695 | 161.6 | 8.26 | 152.227 | 8.16 | 150.3 | 24.14 | 956.008 | 89.5989 | 41.5782
2020-07-06 04:00:00 | 6.894 | 141.5 | 7.445 | 158.8 | 8.08 | 149.59 | 8.1 | 147.2 | 24.02 | 956.008 | 90.0781 | 34.3695
2020-07-06 04:15:00 | 5.812 | 139.8 | 6.35 | 159.3 | 6.653 | 150.061 | 6.634 | 144.5 | 23.98 | 956.305 | 88.851 | 28.6942
2020-07-06 04:30:00 | 6.284 | 131.3 | 6.598 | 148.8 | 6.966 | 140.17 | 6.932 | 139.3 | 24.34 | 956.305 | 88.0325 | 32.8102
2020-07-06 04:45:00 | 6.922 | 139.7 | 7.202 | 158 | 7.968 | 148.836 | 8.02 | 147 | 24.15 | 956.157 | 88.9874 | 45.4244
2020-07-06 05:00:00 | 6.274 | 145.6 | 6.672 | 166.5 | 7.744 | 156.843 | 7.785 | 147.4 | 24.18 | 956.008 | 89.0215 | 53.1393
2020-07-06 05:15:00 | 7.277 | 143.4 | 7.381 | 161 | 7.879 | 151.662 | 7.922 | 147.8 | 23.99 | 956.305 | 89.1915 | 45.5574
2020-07-06 05:30:00 | 7.364 | 141.8 | 7.802 | 157 | 8.58 | 147.894 | 8.58 | 146.3 | 23.91 | 956.157 | 89.6693 | 41.2308
2020-07-06 05:45:00 | 7.507 | 136.1 | 7.805 | 153.4 | 8.66 | 144.503 | 8.57 | 142.8 | 23.93 | 956.453 | 89.3953 | 43.7691
2020-07-06 06:00:00 | 8.01 | 139.5 | 8.54 | 153.5 | 8.92 | 144.597 | 8.75 | 146 | 24.04 | 956.898 | 89.3965 | 39.8267
2020-07-06 06:15:00 | 7.936 | 138.8 | 8.4 | 155.2 | 8.34 | 146.198 | 8.22 | 145.1 | 23.95 | 957.047 | 90.6187 | 39.5238
2020-07-06 06:30:00 | 7.939 | 139.4 | 8.08 | 155.2 | 8.25 | 146.198 | 8.22 | 145.7 | 23.86 | 956.75 | 90.9861 | 43.0745
2020-07-06 06:45:00 | 7.709 | 139.8 | 7.992 | 154.8 | 8.4 | 145.822 | 8.28 | 146.1 | 23.91 | 957.195 | 90.9153 | 38.903
2020-07-06 07:00:00 | 6.938 | 135.2 | 7.051 | 154 | 7.253 | 145.068 | 7.278 | 139.5 | 24.1 | 957.64 | 90.8812 | 29.677
2020-07-06 07:15:00 | 6.733 | 129.6 | 7.179 | 143.3 | 7.019 | 134.989 | 6.995 | 139.3 | 24.32 | 957.77 | 90.2624 | 29.374
2020-07-06 07:30:00 | 5.965 | 123.3 | 6.488 | 137.7 | 7.197 | 129.713 | 7.196 | 129.9 | 24.36 | 958.328 | 89.264 | 19.7822
2020-07-06 07:45:00 | 5.191 | 120.6 | 6.033 | 135.6 | 6.371 | 127.735 | 6.351 | 128.3 | 24.5 | 958.387 | 88.6844 | 11.7016
2020-07-06 08:00:00 | 4.078 | 117.9 | 4.453 | 139.8 | 4.796 | 131.692 | 4.833 | 127.4 | 24.94 | 958.831 | 86.7076 | 8.9822
2020-07-06 08:15:00 | 5.38 | 130.4 | 5.596 | 147.6 | 5.625 | 139.039 | 5.513 | 135.5 | 24.91 | 958.535 | 87.0424 | 10.2126
2020-07-06 08:30:00 | 6.243 | 156.3 | 6.107 | 175.4 | 5.674 | 165.227 | 5.646 | 157.9 | 25.07 | 958.683 | 87.0099 | 9.2371
2020-07-06 08:45:00 | 6.195 | 148.2 | 6.248 | 163.3 | 5.854 | 153.829 | 5.712 | 155 | 24.98 | 959.128 | 88.1386 | 5.4684
2020-07-06 09:00:00 | 5.242 | 154.8 | 5.374 | 169.6 | 4.613 | 159.763 | 4.393 | 160.8 | 25.2 | 958.724 | 86.8392 | 3.4325
2020-07-06 09:15:00 | 4.852 | 145.5 | 4.829 | 165.3 | 4.443 | 155.713 | 4.38 | 149.5 | 25.48 | 959.016 | 85.7928 | 3.0667
2020-07-06 09:30:00 | 4.795 | 139.3 | 4.939 | 154.7 | 4.377 | 145.727 | 4.212 | 147.8 | 25.39 | 959.132 | 86.5418 | 1.6036
2020-07-06 09:45:00 | 4.027 | 144.1 | 4.024 | 159.4 | 3.609 | 150.155 | 3.471 | 152.3 | 26.06 | 959.429 | 83.2028 | 0.014779
2020-07-06 10:00:00 | 3.723 | 175.1 | 3.827 | 195.5 | 0 | 184.161 | 3.045 | 178.5 | 26.94 | 959.577 | 80 | -0.26233
2020-07-06 10:15:00 | 3.044 | 205.7 | 2.5 | 216.5 | 0 | 203.943 | 1.616 | 200.2 | 27.05 | 959.874 | 78.1582 | -0.2845
2020-07-06 10:30:00 | 3.353 | 140.2 | 3.433 | 158.3 | 0 | 149.119 | 2.806 | 147.8 | 27.2 | 960.17 | 78.5559 | -0.25125
2020-07-06 10:45:00 | 4.07 | 187.6 | 3.441 | 200.8 | 0 | 189.154 | 2.683 | 186.7 | 28.1 | 960.022 | 73.1028 | -0.25125
2020-07-06 11:00:00 | 3.306 | 186.1 | 3.477 | 205.1 | 2.929 | 193.204 | 2.772 | 186.9 | 28.33 | 959.874 | 72.0034 | -0.25125
2020-07-06 11:15:00 | 3.611 | 227.5 | 3.799 | 245.1 | 3.486 | 230.884 | 3.517 | 224 | 28.68 | 960.318 | 68.8692 | -0.2882
2020-07-06 11:30:00 | 2.104 | 199.1 | 1.731 | 193.2 | 0.103 | 181.994 | 0.836 | 279.9 | 29.33 | 960.467 | 69.2098 | -0.24016
2020-07-06 11:45:00 | 1.949 | 268.6 | 2.248 | 281.6 | 0 | 265.267 | 1.929 | 275.1 | 29.44 | 960.615 | 63.8284 | -0.29928
2020-07-06 12:00:00 | 2.972 | 244.2 | 3.024 | 259.5 | 0 | 244.449 | 2.594 | 250.5 | 29.29 | 960.759 | 57.4932 | -0.31406
2020-07-06 12:15:00 | 3.036 | 230 | 2.5 | 231.1 | 2.326 | 217.696 | 2.289 | 246.1 | 29.55 | 960.318 | 62.6363 | -0.24386
2020-07-06 12:30:00 | 3.307 | 290.8 | 3.326 | 299.8 | 2.674 | 282.412 | 2.6 | 294.4 | 29.7 | 960.466 | 60.8992 | -0.29928
2020-07-06 12:45:00 | 2.791 | 286.3 | 3.29 | 305.3 | 2.889 | 287.593 | 2.887 | 288 | 29.99 | 960.614 | 55.9946 | -0.34362
2020-07-06 13:00:00 | 3.736 | 284.8 | 4.277 | 291.8 | 3.787 | 274.876 | 3.659 | 293.2 | 29.71 | 960.614 | 60.3542 | -0.2143
2020-07-06 13:15:00 | 2.756 | 297.3 | 2.978 | 308.5 | 2.603 | 290.607 | 2.384 | 301.5 | 29.98 | 960.466 | 54.6322 | 0.33993
2020-07-06 13:30:00 | 4.463 | 302.7 | 4.957 | 316.3 | 4.781 | 297.955 | 4.775 | 304.6 | 30.66 | 960.318 | 54.8706 | 0.60226
2020-07-06 13:45:00 | 3.593 | 305.2 | 4.259 | 315.1 | 4.089 | 296.824 | 4.227 | 306.9 | 30.79 | 960.466 | 54.3256 | 0.56901
2020-07-06 14:00:00 | 4.349 | 296.1 | 4.599 | 307.1 | 4.242 | 289.288 | 4.166 | 296.7 | 30.96 | 960.762 | 55.1431 | 2.3573
2020-07-06 14:15:00 | 2.295 | 345.3 | 2.516 | 332.4 | 1.755 | 313.121 | 1.557 | 357.8 | 31.07 | 960.762 | 54.3597 | 3.8611
2020-07-06 14:30:00 | 4.18 | 308.8 | 4.65 | 319.2 | 4.453 | 300.686 | 4.41 | 315.9 | 31.39 | 961.059 | 54.564 | 7.5412
2020-07-06 14:45:00 | 4.466 | 317.2 | 4.517 | 331.1 | 4.321 | 311.896 | 4.365 | 317.6 | 31.04 | 961.03 | 53.3038 | 5.3243
2020-07-06 15:00:00 | 4.308 | 308 | 4.476 | 309 | 3.954 | 291.078 | 3.83 | 312.5 | 31.22 | 961.178 | 52.861 | 5.6273
2020-07-06 15:15:00 | 2.829 | 7.103 | 3.886 | 23.77 | 3.919 | 22.3913 | 3.7 | 5.14 | 30.77 | 960.905 | 57.9019 | 6.9759
2020-07-06 15:30:00 | 2.424 | 344.2 | 3.136 | 350.7 | 3.293 | 330.359 | 3.216 | 341.9 | 31.23 | 961.01 | 56.4714 | 8.5351
2020-07-06 15:45:00 | 2.169 | 19.02 | 4.129 | 38.94 | 3.934 | 36.6815 | 3.69 | 8.78 | 30.62 | 961.182 | 57.9019 | 9.9059
2020-07-06 16:00:00 | 2.419 | 17.63 | 4.478 | 33.68 | 4.967 | 31.7266 | 4.716 | 16.18 | 30.63 | 961.157 | 59.6049 | 7.3084
2020-07-06 16:15:00 | 1.162 | 22.4 | 4.337 | 33.18 | 5.165 | 31.2556 | 4.736 | 27.32 | 30.4 | 961.232 | 58.9578 | 8.1952
2020-07-06 16:30:00 | 3.267 | 15.15 | 5.778 | 33.05 | 5.165 | 31.1331 | 4.882 | 11.54 | 30.03 | 960.691 | 60.1839 | 11.5575
2020-07-06 16:45:00 | 3.023 | 16.96 | 6.488 | 34.4 | 5.552 | 32.4048 | 5.121 | 14.74 | 29.81 | 960.614 | 59.5027 | 14.2584
2020-07-06 17:00:00 | 3.23 | 6.769 | 5.064 | 28.58 | 4.461 | 26.9224 | 4.362 | 1.061 | 29.91 | 960.614 | 58.6512 | 12.3038
2020-07-06 17:15:00 | 3.976 | 8.21 | 5.315 | 28.07 | 4.763 | 26.4419 | 4.599 | 6.15 | 29.68 | 960.466 | 56.8801 | 9.6362
2020-07-06 17:30:00 | 3.868 | 356.2 | 4.497 | 17.66 | 5.119 | 16.6357 | 5.05 | 356.7 | 29.61 | 960.614 | 57.0173 | 10.9552
2020-07-06 17:45:00 | 4.179 | 7.723 | 5.363 | 27.58 | 5.013 | 25.9804 | 5.2 | 2.639 | 29.51 | 960.466 | 57.7702 | 9.3997
2020-07-06 18:00:00 | 4.512 | 11.25 | 4.865 | 23.66 | 4.349 | 22.2877 | 4.179 | 8.84 | 29.25 | 960.466 | 56.8557 | 10.3714
2020-07-06 18:15:00 | 3.667 | 13.63 | 5.297 | 34.12 | 4.384 | 32.141 | 4.018 | 12.95 | 29.22 | 960.466 | 56.013 | 6.8872
2020-07-06 18:30:00 | 4.037 | 8.62 | 5.164 | 26.98 | 4.188 | 25.4152 | 4.064 | 7.608 | 29.17 | 960.318 | 55.4685 | 5.0435
2020-07-06 18:45:00 | 2.597 | 15.87 | 5.225 | 30.79 | 4.936 | 29.0042 | 4.586 | 19.44 | 28.96 | 960.614 | 54.0375 | 3.3217
2020-07-06 19:00:00 | 3.252 | 14.11 | 4.458 | 26.33 | 3.72 | 24.8029 | 3.443 | 14.38 | 28.96 | 960.466 | 53.356 | 2.2465
2020-07-06 19:15:00 | 2.916 | 18.46 | 4.307 | 35 | 4.305 | 32.97 | 4.125 | 21.19 | 28.82 | 960.351 | 54.3132 | 1.1269
2020-07-06 19:30:00 | 2.648 | 14.99 | 3.333 | 31.59 | 3.397 | 29.7578 | 3.331 | 20.42 | 28.64 | 960.588 | 55.1102 | 1.9915
2020-07-06 19:45:00 | 2.37 | 23.71 | 3.794 | 40.65 | 4.438 | 38.2923 | 4.405 | 27.38 | 28.5 | 960.314 | 56.3682 | 1.925
2020-07-06 20:00:00 | 2.002 | 33.43 | 4.21 | 49.01 | 4.328 | 46.1674 | 4.25 | 37.78 | 28.3 | 960.462 | 57.8031 | 1.1084
2020-07-06 20:15:00 | 2.252 | 31.37 | 3.811 | 50.66 | 4.379 | 47.7217 | 4.349 | 34.2 | 28.25 | 960.61 | 59.8841 | 1.4114
2020-07-06 20:30:00 | 2.699 | 28.29 | 4.284 | 44.89 | 4.972 | 42.2864 | 4.978 | 32.23 | 28.07 | 960.907 | 61.486 | 3.3401
2020-07-06 20:45:00 | 2.684 | 33.46 | 4.553 | 50.35 | 4.987 | 47.4297 | 4.935 | 36.32 | 27.84 | 961.204 | 62.5767 | 6.2923
2020-07-06 21:00:00 | 2.944 | 34.23 | 4.627 | 52.09 | 5.03 | 49.0688 | 5.039 | 37.75 | 27.82 | 961.352 | 63.8718 | 5.8231
2020-07-06 21:15:00 | 2.494 | 32.39 | 4.387 | 47.56 | 4.921 | 44.8015 | 4.869 | 36.52 | 27.61 | 961.648 | 64.1445 | 3.5581
2020-07-06 21:30:00 | 2.293 | 33.46 | 3.771 | 51.41 | 4.412 | 48.4282 | 4.342 | 39.64 | 27.66 | 961.552 | 63.7355 | 2.1134
2020-07-06 21:45:00 | 3.639 | 42.09 | 4.42 | 60.85 | 4.463 | 57.3207 | 4.393 | 45.64 | 27.69 | 961.986 | 64.7239 | 2.882
2020-07-06 22:00:00 | 3.478 | 51.65 | 5.136 | 67.18 | 5.297 | 63.2836 | 5.261 | 55.92 | 27.53 | 961.83 | 66.3258 | 3.5544
2020-07-06 22:15:00 | 2.977 | 54.84 | 4.497 | 70.62 | 4.499 | 66.524 | 4.525 | 59.71 | 27.22 | 961.933 | 66.394 | 2.627
2020-07-06 22:30:00 | 2.975 | 66.18 | 3.464 | 85.6 | 2.767 | 80.6352 | 2.854 | 66.16 | 27.15 | 962.109 | 66.3258 | 3.1554
2020-07-06 22:45:00 | 3.113 | 55.9 | 3.553 | 77.9 | 3.319 | 73.3818 | 3.326 | 56.49 | 27.16 | 961.841 | 65.7805 | 1.356
2020-07-06 23:00:00 | 1.78 | 49.44 | 3.41 | 61.14 | 4.16 | 57.5939 | 3.995 | 51.2 | 27.22 | 961.722 | 67.0087 | 0.35101
2020-07-06 23:15:00 | 1.81 | 40.81 | 2.646 | 58.86 | 2.975 | 55.4461 | 2.737 | 38.5 | 27.23 | 962.231 | 64.2811 | -0.34362
2020-07-06 23:30:00 | 0.876 | 28.55 | 1.666 | 57.81 | 2.164 | 54.457 | 1.994 | 23.88 | 27.29 | 962.237 | 63.6716 | 0.17366
2020-07-06 23:45:00 | 1.481 | 88.1 | 1.817 | 112.8 | 1.953 | 106.258 | 1.707 | 76.81 | 27.52 | 962.22 | 65.6503 | 1.4742