## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-07 00:00:00 | 1.385 | 95 | 2.129 | 115.9 | 2.067 | 109.178 | 1.986 | 90.8 | 27.25 | 962.377 | 64.6307 | 2.3314
2020-07-07 00:15:00 | 1.901 | 130.3 | 3.351 | 147.7 | 2.535 | 139.133 | 2.195 | 135.6 | 26.73 | 962.236 | 68.0033 | 2.0026
2020-07-07 00:30:00 | 0.906 | 58.43 | 1.721 | 87.1 | 1.846 | 82.0482 | 1.57 | 65.59 | 26.62 | 962.386 | 66.6095 | 1.8696
2020-07-07 00:45:00 | 2.74 | 38.96 | 2.866 | 65.35 | 2.52 | 61.5597 | 2.353 | 34.75 | 27.19 | 962.238 | 64.0873 | 1.5481
2020-07-07 01:00:00 | 2.975 | 45.8 | 3.108 | 72.3 | 2.708 | 68.1066 | 2.562 | 43.44 | 27.01 | 962.386 | 66.473 | 1.4927
2020-07-07 01:15:00 | 1.209 | 45.27 | 2.779 | 65.41 | 3.436 | 61.6162 | 3.308 | 42.93 | 26.58 | 962.238 | 68.9957 | 1.6146
2020-07-07 01:30:00 | 2.157 | 34.56 | 3.431 | 56.24 | 3.298 | 52.9781 | 3.147 | 34.05 | 26.95 | 962.535 | 66.2008 | 1.1824
2020-07-07 01:45:00 | 2.311 | 33.83 | 3.525 | 50.48 | 4.369 | 47.5522 | 4.288 | 34.33 | 26.57 | 962.386 | 69.5415 | 0.55053
2020-07-07 02:00:00 | 2.704 | 26.17 | 4.481 | 39.62 | 5.366 | 37.322 | 5.332 | 27.14 | 26.05 | 962.238 | 71.2459 | 3.0224
2020-07-07 02:15:00 | 2.628 | 23.74 | 5.039 | 40.83 | 6.132 | 38.4619 | 6.122 | 28.11 | 25.82 | 962.09 | 68.7915 | 3.9498
2020-07-07 02:30:00 | 2.693 | 35.3 | 4.645 | 51.14 | 5.16 | 48.1739 | 5.113 | 38.25 | 26.18 | 962.98 | 66.2008 | 2.6307
2020-07-07 02:45:00 | 2.727 | 35.15 | 3.638 | 53.31 | 4.43 | 50.218 | 4.387 | 36.18 | 26.65 | 962.832 | 64.769 | 2.4201
2020-07-07 03:00:00 | 2.579 | 37.9 | 3.947 | 56.45 | 4.364 | 53.1759 | 4.242 | 39.58 | 26.66 | 963.128 | 63.4396 | 1.1417
2020-07-07 03:15:00 | 2.957 | 40.42 | 4.116 | 56.54 | 4.438 | 53.2607 | 4.321 | 43.34 | 26.73 | 962.683 | 63.8827 | 0.70571
2020-07-07 03:30:00 | 0.967 | 57.84 | 2.648 | 73.79 | 2.507 | 69.5102 | 2.393 | 58.31 | 26.61 | 963.253 | 64.2918 | 0.41752
2020-07-07 03:45:00 | 2.587 | 43.19 | 3.157 | 64.02 | 3.235 | 60.3068 | 3.163 | 48.29 | 26.64 | 963.128 | 63.2691 | 0.28081
2020-07-07 04:00:00 | 2.323 | 52.03 | 2.836 | 66.03 | 2.757 | 62.2003 | 2.768 | 56.78 | 26.73 | 963.425 | 62.1101 | 0.26603
2020-07-07 04:15:00 | 2.809 | 55.44 | 2.855 | 68.42 | 2.935 | 64.4516 | 2.862 | 54.52 | 26.57 | 963.425 | 62.7919 | 0.99761
2020-07-07 04:30:00 | 2.628 | 45.18 | 4.182 | 64.58 | 4.079 | 60.8344 | 3.947 | 47.16 | 26.4 | 963.276 | 62.8941 | 1.7588
2020-07-07 04:45:00 | 2.073 | 48.44 | 4.172 | 68.7 | 4.107 | 64.7154 | 4.046 | 51.64 | 26.25 | 963.269 | 63.1669 | 2.8413
2020-07-07 05:00:00 | 1.001 | 56.22 | 2.592 | 78.2 | 3.008 | 73.6644 | 3.056 | 57.92 | 26.29 | 963.573 | 63.2009 | 1.8991
2020-07-07 05:15:00 | 0.589 | 61.95 | 2.054 | 82.3 | 2.805 | 77.5266 | 2.717 | 58.23 | 25.92 | 963.425 | 63.6782 | 1.3856
2020-07-07 05:30:00 | 2.043 | 49.02 | 3.055 | 72.93 | 3.787 | 68.7001 | 3.802 | 48.89 | 26.15 | 964.018 | 62.1783 | 0.99391
2020-07-07 05:45:00 | 0.331 | 48.32 | 2.285 | 74.47 | 2.874 | 70.1507 | 2.765 | 47.24 | 26.55 | 964.448 | 59.383 | 0.41382
2020-07-07 06:00:00 | 0.138 | 31.3 | 1.825 | 55.43 | 2.08 | 52.2151 | 1.889 | 34.7 | 26.86 | 964.882 | 60.2598 | -0.2845
2020-07-07 06:15:00 | 0.58 | 20.59 | 2.06 | 29.49 | 1.861 | 27.7796 | 1.444 | 7.469 | 26.71 | 964.622 | 64.5535 | -0.32145
2020-07-07 06:30:00 | 0.969 | 359.7 | 2.05 | 13.01 | 2.749 | 12.2554 | 2.758 | 358.6 | 26.14 | 964.911 | 68.5059 | -0.26972
2020-07-07 06:45:00 | 0.759 | 8.5 | 1.618 | 29.98 | 2.225 | 28.2412 | 1.95 | 7.728 | 25.58 | 965.208 | 69.7281 | -0.28081
2020-07-07 07:00:00 | 1.32 | 3.512 | 1.797 | 20.3 | 1.856 | 19.1226 | 1.696 | 354.1 | 26.22 | 965.12 | 69.8655 | -0.26972
2020-07-07 07:15:00 | 0.53 | 14.13 | 1.483 | 33.53 | 1.519 | 31.5853 | 1.286 | 15.01 | 26.59 | 965.513 | 69.5744 | -0.26972
2020-07-07 07:30:00 | 1.593 | 16.17 | 2.84 | 32.05 | 2.996 | 30.1911 | 2.803 | 20.34 | 26.47 | 965.951 | 65.7581 | -0.2882
2020-07-07 07:45:00 | 2.428 | 18.41 | 3.413 | 34.18 | 3.502 | 32.1976 | 3.361 | 24.28 | 26.6 | 965.803 | 66.3714 | -0.26972
2020-07-07 08:00:00 | 1.781 | 36.27 | 2.479 | 43.9 | 2.248 | 41.3538 | 2.073 | 47.96 | 26.85 | 966.099 | 64.4975 | -0.24016
2020-07-07 08:15:00 | 0.998 | 16.82 | 1.853 | 22.75 | 1.507 | 21.4305 | 1.359 | 10.5 | 27.44 | 966.396 | 63.7747 | -0.24016
2020-07-07 08:30:00 | 1.273 | 26.85 | 2.32 | 40.84 | 1.963 | 38.4713 | 1.614 | 29.3 | 28.08 | 966.692 | 61.3797 | -0.24016
2020-07-07 08:45:00 | 1.977 | 17.34 | 2.045 | 358.2 | 2.456 | 337.424 | 2.176 | 16.4 | 27.85 | 966.989 | 59.2643 | -0.2882
2020-07-07 09:00:00 | 1.889 | 9.58 | 2.602 | 24.72 | 2.265 | 23.2862 | 1.908 | 10.55 | 28.29 | 966.989 | 62.466 | -0.28081
2020-07-07 09:15:00 | 3.515 | 4.435 | 3.98 | 24.6 | 3.364 | 23.1732 | 3.3 | 357.8 | 28.35 | 967.137 | 61.2398 | -0.28081
2020-07-07 09:30:00 | 2.416 | 17.05 | 4.233 | 27.71 | 4.311 | 26.1028 | 4.051 | 15.37 | 28.17 | 967.137 | 57.5613 | 0.91263
2020-07-07 09:45:00 | 3.268 | 12.06 | 4.768 | 27.32 | 4.555 | 25.7354 | 4.331 | 12.89 | 28.39 | 967.137 | 55.9946 | 5.1986
2020-07-07 10:00:00 | 3.007 | 25.68 | 5.22 | 38.51 | 5.165 | 36.2764 | 4.938 | 25.66 | 29.07 | 967.433 | 53.3379 | 7.2862
2020-07-07 10:15:00 | 3.585 | 19.88 | 5.831 | 36.49 | 5.61 | 34.3736 | 5.353 | 22.42 | 29.59 | 967.73 | 47.0368 | 6.9906
2020-07-07 10:30:00 | 2.948 | 22.25 | 5.246 | 33.6 | 5.221 | 31.6512 | 4.813 | 26.82 | 29.79 | 967.433 | 45.6403 | 3.0039
2020-07-07 10:45:00 | 2.866 | 21.61 | 4.374 | 34.31 | 4.59 | 32.32 | 4.502 | 26.12 | 29.9 | 968.026 | 46.2194 | 2.3351
2020-07-07 11:00:00 | 1.89 | 38.12 | 2.772 | 54.44 | 3.27 | 51.2825 | 3.18 | 25.85 | 30.55 | 967.878 | 47.718 | 3.1923
2020-07-07 11:15:00 | 2.947 | 17.95 | 4.154 | 37.59 | 4.256 | 35.4098 | 3.967 | 6.802 | 30.18 | 967.878 | 45.47 | 4.4116
2020-07-07 11:30:00 | 1.98 | 20.67 | 4.568 | 34.16 | 4.974 | 32.1787 | 4.678 | 21.17 | 31.4 | 968.175 | 43.188 | 4.3082
2020-07-07 11:45:00 | 3.48 | 2.672 | 4.292 | 18.46 | 4.115 | 17.3893 | 3.985 | 6.225 | 30.97 | 968.026 | 42.3706 | 4.419
2020-07-07 12:00:00 | 2.749 | 8.64 | 3.942 | 25.05 | 3.899 | 23.5971 | 3.883 | 357.8 | 31.83 | 968.026 | 40.9741 | 9.481
2020-07-07 12:15:00 | 3.596 | 7.453 | 4.768 | 26.35 | 5.028 | 24.8217 | 5.004 | 0.59 | 31.2 | 967.878 | 41.7234 | 11.7755
2020-07-07 12:30:00 | 4.709 | 352.9 | 5.074 | 4.578 | 5.697 | 4.3125 | 5.87 | 351.5 | 30.94 | 967.73 | 41.0763 | 11.0845
2020-07-07 12:45:00 | 2.97 | 14.81 | 4.924 | 30.1 | 4.73 | 28.3542 | 4.441 | 4.412 | 31.33 | 967.73 | 39.6461 | 8.8529
2020-07-07 13:00:00 | 3.183 | 13.85 | 3.501 | 27.28 | 4.201 | 25.6978 | 4.293 | 4.788 | 31.42 | 967.433 | 42.03 | 11.3395
2020-07-07 13:15:00 | 2.304 | 5.387 | 3.057 | 23.74 | 3.387 | 22.3631 | 3.283 | 1.423 | 30.99 | 967.878 | 41.4511 | 9.0154
2020-07-07 13:30:00 | 2.773 | 12.76 | 4.972 | 29.25 | 4.735 | 27.5535 | 4.596 | 6.376 | 31.65 | 967.73 | 41.5531 | 14.1439
2020-07-07 13:45:00 | 4.404 | 12.87 | 6.741 | 27.88 | 6.129 | 26.263 | 5.943 | 12.77 | 31.85 | 968.175 | 42.2003 | 16.5677
2020-07-07 14:00:00 | 5 | 6.426 | 6.046 | 23.63 | 5.714 | 22.2595 | 5.455 | 4.926 | 31.35 | 967.878 | 40.8719 | 14.2288
2020-07-07 14:15:00 | 4.229 | 359.5 | 5.496 | 16.12 | 5.58 | 15.185 | 5.536 | 357.4 | 32.19 | 967.73 | 37.9087 | 15.0998
2020-07-07 14:30:00 | 3.863 | 18.13 | 5.22 | 32.22 | 5.196 | 30.3512 | 5.162 | 20.39 | 31.12 | 967.582 | 41.6553 | 20.3143
2020-07-07 14:45:00 | 4.83 | 14.27 | 6.593 | 30.9 | 5.844 | 29.1078 | 5.686 | 16.09 | 31.55 | 967.73 | 40.7016 | 22.6779
2020-07-07 15:00:00 | 3.639 | 17.11 | 6.493 | 35.7 | 5.926 | 33.6294 | 5.786 | 13.06 | 31.31 | 967.73 | 41.7234 | 18.2341
2020-07-07 15:15:00 | 3.891 | 13.84 | 5.458 | 34.32 | 5.313 | 32.3294 | 5.192 | 6.673 | 31.21 | 967.878 | 42.9496 | 22.4055
2020-07-07 15:30:00 | 4.437 | 15.08 | 5.911 | 31.34 | 6.205 | 29.5223 | 6.025 | 10.99 | 31.34 | 967.582 | 41.3828 | 22.69
2020-07-07 15:45:00 | 3.868 | 10.89 | 5.652 | 27.61 | 5.829 | 26.0086 | 5.536 | 6.563 | 31.14 | 968.026 | 44.3801 | 20.9719
2020-07-07 16:00:00 | 5.038 | 7.22 | 6.263 | 27.51 | 5.971 | 25.9144 | 5.997 | 359.1 | 31.08 | 967.878 | 44.312 | 20.5608
2020-07-07 16:15:00 | 3.577 | 355.8 | 4.696 | 15.36 | 5.315 | 14.4691 | 5.327 | 352.1 | 31.12 | 967.73 | 45.0273 | 17.7907
2020-07-07 16:30:00 | 5.21 | 5.318 | 6.033 | 23.76 | 5.859 | 22.3819 | 6.028 | 360 | 30.91 | 967.285 | 44.7207 | 19.1356
2020-07-07 16:45:00 | 5.978 | 3.062 | 5.859 | 17.57 | 5.75 | 16.5509 | 5.73 | 359.9 | 30.84 | 967.285 | 44.5504 | 19.2206
2020-07-07 17:00:00 | 3.696 | 3.643 | 5.409 | 25.2 | 6.058 | 23.7384 | 6.02 | 356 | 31 | 967.582 | 45.5722 | 16.043
2020-07-07 17:15:00 | 3.726 | 357.7 | 4.765 | 19.04 | 5.081 | 17.9357 | 5.126 | 354.1 | 30.92 | 967.285 | 45.2657 | 15.9913
2020-07-07 17:30:00 | 3.043 | 5.948 | 4.617 | 29.62 | 4.077 | 27.902 | 4.138 | 348.2 | 30.95 | 967.433 | 44.6185 | 14.2732
2020-07-07 17:45:00 | 3.103 | 14.49 | 5.793 | 32.68 | 4.364 | 30.7846 | 4.005 | 7.379 | 31.06 | 967.433 | 45.2316 | 16.2906
2020-07-07 18:00:00 | 5.245 | 0.22 | 5.322 | 22.87 | 5.534 | 21.5435 | 5.607 | 358.3 | 30.4 | 967.285 | 47.6839 | 15.5294
2020-07-07 18:15:00 | 4.144 | 353.4 | 4.783 | 11.43 | 5.257 | 10.7671 | 5.202 | 354.4 | 30.26 | 967.285 | 48.842 | 13.0354
2020-07-07 18:30:00 | 3.092 | 353.7 | 3.829 | 19.8 | 4.631 | 18.6516 | 4.904 | 348.2 | 29.95 | 967.137 | 50.7522 | 10.4379
2020-07-07 18:45:00 | 4.354 | 356.1 | 4.356 | 11.93 | 4.649 | 11.2381 | 4.716 | 356.5 | 29.57 | 966.989 | 51.6828 | 9.8948
2020-07-07 19:00:00 | 4.67 | 10.76 | 4.865 | 16.4 | 5.45 | 15.4488 | 5.699 | 5.123 | 29.28 | 966.248 | 52.9472 | 10.0832
2020-07-07 19:15:00 | 3.784 | 6.569 | 4.103 | 19.3 | 4.181 | 18.1806 | 4.128 | 6.408 | 28.97 | 966.248 | 54.9233 | 7.9661
2020-07-07 19:30:00 | 4.249 | 7.941 | 4.998 | 22.9 | 4.433 | 21.5718 | 4.13 | 10.84 | 28.7 | 966.591 | 56.2313 | 8.7568
2020-07-07 19:45:00 | 3.238 | 18.11 | 4.543 | 31.23 | 4.806 | 29.4187 | 4.663 | 25.65 | 28.4 | 966.54 | 57.0179 | 7.1828
2020-07-07 20:00:00 | 2.773 | 25.06 | 4.177 | 39 | 4.588 | 36.738 | 4.581 | 29.65 | 28.54 | 966.542 | 55.8255 | 4.9733
2020-07-07 20:15:00 | 2.888 | 40.98 | 4.1 | 54.5 | 4.178 | 51.339 | 4.146 | 45.86 | 28.59 | 966.542 | 53.2376 | 4.8735
2020-07-07 20:30:00 | 3.943 | 45.04 | 4.714 | 61.1 | 4.824 | 57.5562 | 4.836 | 53.29 | 28.84 | 966.69 | 52.1806 | 4.8994
2020-07-07 20:45:00 | 2.699 | 36.55 | 3.512 | 50.62 | 4.061 | 47.684 | 3.939 | 41.57 | 28.65 | 966.987 | 52.1472 | 4.5853
2020-07-07 21:00:00 | 4.083 | 50.93 | 4.806 | 66.86 | 5.264 | 62.9821 | 5.261 | 57.16 | 28.65 | 966.987 | 52.1469 | 4.2934
2020-07-07 21:15:00 | 4.029 | 50.6 | 4.954 | 66.65 | 5.229 | 62.7843 | 5.304 | 58.56 | 28.58 | 967.135 | 51.8064 | 5.0582
2020-07-07 21:30:00 | 3.115 | 50.22 | 4.003 | 59.73 | 4.509 | 56.2657 | 4.431 | 56.47 | 28.46 | 966.987 | 52.4199 | 3.536
2020-07-07 21:45:00 | 2.273 | 51.39 | 3.175 | 61.14 | 3.354 | 57.5939 | 3.351 | 62 | 28.34 | 967.431 | 52.2836 | 2.0839
2020-07-07 22:00:00 | 3.557 | 50.94 | 4.402 | 64.87 | 4.613 | 61.1075 | 4.408 | 61.1 | 28.38 | 967.135 | 52.3176 | 1.4151
2020-07-07 22:15:00 | 3.281 | 52.58 | 3.392 | 68.21 | 2.802 | 64.2538 | 2.816 | 60.09 | 28.29 | 967.135 | 52.2154 | 0.55053
2020-07-07 22:30:00 | 2.74 | 65.54 | 2.95 | 77.4 | 1.958 | 72.9108 | 1.763 | 69.7 | 28.2 | 967.135 | 53.1697 | 1.005
2020-07-07 22:45:00 | 1.882 | 83.5 | 2.344 | 86 | 3.357 | 81.012 | 3.55 | 93.3 | 27.98 | 967.135 | 52.3517 | 1.8622
2020-07-07 23:00:00 | 2.529 | 72.5 | 2.648 | 86.9 | 2.608 | 81.8598 | 2.796 | 78.3 | 28.1 | 966.838 | 52.4881 | 4.0717
2020-07-07 23:15:00 | 2.268 | 81 | 2.866 | 95.5 | 3.682 | 89.961 | 3.725 | 90.6 | 28.22 | 966.69 | 52.0109 | 7.0461
2020-07-07 23:30:00 | 4.142 | 83.9 | 4.801 | 97.9 | 5.028 | 92.2218 | 5.08 | 94.8 | 28.21 | 966.542 | 52.5903 | 11.8752
2020-07-07 23:45:00 | 5.12 | 96.2 | 6.202 | 112.9 | 6.312 | 106.352 | 6.488 | 104.3 | 28.1 | 966.69 | 53.3742 | 16.7968