## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-09 00:00:00 | 8.54 | 143.5 | 8.69 | 161.1 | 8.34 | 151.756 | 8.22 | 148.5 | 26.51 | 962.74 | 65.8827 | 33.0097
2020-07-09 00:15:00 | 8.35 | 142.8 | 8.87 | 158.1 | 8.94 | 148.93 | 8.86 | 149.5 | 26.18 | 962.636 | 68.439 | 38.0458
2020-07-09 00:30:00 | 8.58 | 144.8 | 8.56 | 160.4 | 8.4 | 151.097 | 8.26 | 151 | 25.96 | 962.21 | 69.7402 | 42.1545
2020-07-09 00:45:00 | 8.62 | 143.2 | 8.96 | 159.7 | 9.2 | 150.437 | 9 | 148.7 | 25.81 | 961.78 | 70.9715 | 45.2434
2020-07-09 01:00:00 | 8.82 | 141.4 | 9.11 | 157.5 | 9 | 148.365 | 8.81 | 146.6 | 25.54 | 961.645 | 72.6777 | 47.948
2020-07-09 01:15:00 | 9.65 | 143.8 | 9.83 | 161.3 | 9.29 | 151.945 | 9.21 | 147.4 | 25.32 | 961.348 | 73.1549 | 54.414
2020-07-09 01:30:00 | 8.46 | 145 | 8.67 | 161.8 | 9.42 | 152.416 | 9.36 | 149.4 | 25.16 | 961.645 | 74.4844 | 46.4331
2020-07-09 01:45:00 | 7.418 | 141.4 | 7.378 | 160.3 | 7.622 | 151.003 | 7.558 | 146.7 | 25.01 | 961.645 | 76.0184 | 45.6868
2020-07-09 02:00:00 | 7.939 | 137.4 | 8.32 | 153.4 | 8.3 | 144.503 | 8.1 | 143.8 | 24.8 | 961.348 | 77.3835 | 46.9837
2020-07-09 02:15:00 | 8.84 | 139.9 | 8.81 | 155.4 | 8.99 | 146.387 | 8.84 | 144.4 | 24.62 | 961.2 | 78.8156 | 47.4677
2020-07-09 02:30:00 | 8.51 | 141.7 | 8.55 | 158 | 8.36 | 148.836 | 8.26 | 146.5 | 24.45 | 961.052 | 78.4789 | 48.82
2020-07-09 02:45:00 | 9.02 | 138.3 | 9.34 | 155.6 | 9.51 | 146.575 | 9.35 | 145.1 | 24.36 | 960.755 | 77.7342 | 53.3277
2020-07-09 03:00:00 | 8.98 | 140.3 | 9 | 157.1 | 9.05 | 147.988 | 9 | 146.3 | 24.19 | 960.31 | 75.3479 | 51.0997
2020-07-09 03:15:00 | 8.56 | 139.9 | 9.02 | 155.8 | 9.08 | 146.764 | 9.01 | 145.2 | 24.19 | 960.607 | 74.9744 | 47.5564
2020-07-09 03:30:00 | 7.543 | 139.2 | 7.802 | 155.7 | 8.29 | 146.669 | 8.24 | 144.3 | 24.09 | 960.31 | 76.8495 | 49.0528
2020-07-09 03:45:00 | 8.28 | 134.3 | 8.7 | 149.5 | 9.03 | 140.829 | 8.92 | 141.6 | 24.01 | 960.458 | 74.2584 | 48.8348
2020-07-09 04:00:00 | 9.19 | 134 | 9.37 | 150.2 | 9.44 | 141.488 | 9.33 | 139.8 | 24.04 | 960.31 | 74.463 | 49.8545
2020-07-09 04:15:00 | 7.979 | 137.9 | 8.18 | 152.4 | 8.38 | 143.561 | 8.47 | 141.3 | 23.78 | 960.161 | 76.0995 | 49.5627
2020-07-09 04:30:00 | 8.28 | 138.2 | 8.51 | 157.1 | 9.04 | 147.988 | 8.98 | 142.9 | 23.58 | 960.161 | 74.3948 | 46.8617
2020-07-09 04:45:00 | 8.28 | 139.2 | 8.3 | 156 | 8.47 | 146.952 | 8.51 | 144.2 | 23.37 | 960.013 | 73.6447 | 43.6361
2020-07-09 05:00:00 | 7.469 | 144.2 | 7.948 | 161.6 | 8.34 | 152.227 | 8.17 | 148.7 | 23.36 | 960.607 | 74.088 | 38.8698
2020-07-09 05:15:00 | 6.657 | 143.8 | 6.793 | 162.7 | 7.223 | 153.263 | 7.217 | 146.7 | 23.17 | 960.458 | 73.3039 | 38.7774
2020-07-09 05:30:00 | 7.706 | 138.6 | 8.08 | 156.2 | 8.68 | 147.14 | 8.6 | 143.9 | 23.44 | 960.161 | 66.4195 | 39.6531
2020-07-09 05:45:00 | 7.492 | 142.7 | 8.15 | 159.6 | 8.81 | 150.343 | 8.75 | 146.9 | 23.49 | 960.161 | 65.9423 | 42.3318
2020-07-09 06:00:00 | 8.29 | 145.7 | 8.47 | 160.8 | 8.66 | 151.474 | 8.6 | 150.7 | 23.45 | 960.31 | 64.2348 | 37.3401
2020-07-09 06:15:00 | 8.01 | 149.9 | 8.35 | 166.2 | 8.8 | 156.56 | 8.73 | 154.3 | 23.21 | 960.31 | 69.2806 | 48.347
2020-07-09 06:30:00 | 6.955 | 147.5 | 7.756 | 168.8 | 8.76 | 159.01 | 8.84 | 151.2 | 23.06 | 960.31 | 67.9884 | 47.0539
2020-07-09 06:45:00 | 9.03 | 146.8 | 9.47 | 163.4 | 9.98 | 153.923 | 9.86 | 152.1 | 23.13 | 960.31 | 67.9885 | 46.5033
2020-07-09 07:00:00 | 7.683 | 141.6 | 7.693 | 159.8 | 7.82 | 150.532 | 7.889 | 146.7 | 23.27 | 960.755 | 62.7706 | 30.1019
2020-07-09 07:15:00 | 5.393 | 351.9 | 5.99 | 5.618 | 5.3 | 5.2922 | 5.024 | 355.2 | 23.28 | 961.348 | 70.2398 | 7.5486
2020-07-09 07:30:00 | 1.774 | 8.41 | 4.287 | 25.67 | 4.623 | 24.1811 | 4.418 | 9.58 | 22.77 | 961.052 | 85.8607 | 7.9365
2020-07-09 07:45:00 | 5.01 | 355.1 | 5.184 | 5.407 | 5.254 | 5.0934 | 5.106 | 356.8 | 21.63 | 960.903 | 92.6171 | 16.7266
2020-07-09 08:00:00 | 2.765 | 22.49 | 5.274 | 32.2 | 5.498 | 30.3324 | 5.411 | 31.26 | 20.52 | 960.859 | 97.9369 | 15.7031
2020-07-09 08:15:00 | 2.796 | 31.86 | 5.726 | 45.02 | 5.798 | 42.4088 | 5.668 | 38.5 | 20.02 | 960.597 | 97.4686 | 9.0302
2020-07-09 08:30:00 | 3.21 | 24.31 | 4.331 | 34.1 | 3.761 | 32.1222 | 3.613 | 41.18 | 19.68 | 960.751 | 98.1582 | 1.1824
2020-07-09 08:45:00 | 3.723 | 288.8 | 3.964 | 301.2 | 3.276 | 283.73 | 3.127 | 286.4 | 19.79 | 960.9 | 98.2963 | 0.53945
2020-07-09 09:00:00 | 1.535 | 124.2 | 2.238 | 145.5 | 2.609 | 137.061 | 2.852 | 129.9 | 19.56 | 960.9 | 93.6671 | 0.72049
2020-07-09 09:15:00 | 1.538 | 35.87 | 2.308 | 45.23 | 1.366 | 42.6067 | 1.121 | 84.7 | 18.74 | 960.968 | 88.76 | 1.2636
2020-07-09 09:30:00 | 2.674 | 60.2 | 3.489 | 52.79 | 4.316 | 49.7282 | 4.479 | 83 | 18.28 | 960.895 | 95.7189 | 4.3562
2020-07-09 09:45:00 | 2.893 | 74.44 | 3.438 | 79.31 | 4.466 | 74.71 | 4.627 | 87.1 | 18.09 | 960.896 | 98.1068 | 3.9978
2020-07-09 10:00:00 | 1.129 | 119.3 | 2.266 | 133.4 | 2.665 | 125.663 | 2.686 | 130.6 | 17.86 | 961.786 | 99.2345 | 2.6049
2020-07-09 10:15:00 | 0.998 | 176.4 | 1.435 | 173.2 | 1.978 | 163.154 | 2.177 | 194 | 16.87 | 962.083 | 99.6087 | 2.5457
2020-07-09 10:30:00 | 0.965 | 204.2 | 2.177 | 219.2 | 2.879 | 206.486 | 3.05 | 207.4 | 16.76 | 961.49 | 99.7458 | 5.2097
2020-07-09 10:45:00 | 3.291 | 180.1 | 3.602 | 191.8 | 3.96 | 180.676 | 4.013 | 185.5 | 16.68 | 961.49 | 99.9577 | 8.0732
2020-07-09 11:00:00 | 6.064 | 162.4 | 6.777 | 172.9 | 6.6 | 162.872 | 6.585 | 174.3 | 16.77 | 961.193 | 99.8974 | 24.4451
2020-07-09 11:15:00 | 8.7 | 149.1 | 9.5 | 165.6 | 9.89 | 155.995 | 9.75 | 156.1 | 16.88 | 960.599 | 99.9 | 60.7134
2020-07-09 11:30:00 | 10.61 | 145.1 | 10.58 | 160.5 | 10.67 | 151.191 | 10.35 | 154.1 | 17.12 | 960.302 | 99.8006 | 73.1664
2020-07-09 11:45:00 | 9.51 | 144.3 | 9.48 | 164.2 | 10.23 | 154.676 | 10.36 | 145.5 | 17.25 | 960.154 | 99.7967 | 71.8758
2020-07-09 12:00:00 | 8.31 | 144.6 | 8.58 | 161.7 | 8.43 | 152.321 | 8.55 | 149.6 | 17.46 | 960.302 | 99.8953 | 69.4261
2020-07-09 12:15:00 | 5.438 | 136.6 | 5.982 | 157.5 | 6.622 | 148.365 | 6.634 | 144.5 | 18.06 | 960.896 | 99.8854 | 11.6609
2020-07-09 12:30:00 | 6.052 | 173.1 | 6.015 | 187.1 | 6.065 | 176.248 | 6.066 | 175 | 17.86 | 960.896 | 99.885 | 29.2481
2020-07-09 12:45:00 | 10.78 | 139.8 | 10.46 | 151.5 | 10.18 | 142.713 | 9.97 | 149.5 | 18.22 | 959.708 | 99.8827 | 73.5587
2020-07-09 13:00:00 | 11.69 | 142.2 | 12.23 | 157.5 | 12.35 | 148.365 | 12.15 | 148.7 | 18.83 | 960.45 | 98.3117 | 48.7128
2020-07-09 13:15:00 | 6.999 | 154.7 | 7.066 | 182 | 8.79 | 171.444 | 9.13 | 157.7 | 18.72 | 960.302 | 99.5736 | 34.9791
2020-07-09 13:30:00 | 5.697 | 147.3 | 6.228 | 167.4 | 6.851 | 157.691 | 6.898 | 150 | 18.89 | 960.896 | 98.9937 | 38.2269
2020-07-09 13:45:00 | 7.129 | 153.6 | 7.058 | 177 | 8.02 | 166.734 | 8.01 | 156.8 | 19.36 | 961.244 | 98.1401 | 31.5909
2020-07-09 14:00:00 | 7.926 | 150.7 | 7.971 | 167.8 | 8.34 | 158.068 | 8.26 | 158 | 19.81 | 961.197 | 94.6119 | 25.5794
2020-07-09 14:15:00 | 8.71 | 155.3 | 8.86 | 171 | 9.3 | 161.082 | 9.26 | 161.8 | 19.61 | 961.197 | 96.1801 | 43.492
2020-07-09 14:30:00 | 8.29 | 153 | 7.974 | 172.4 | 8.46 | 162.401 | 8.36 | 156.6 | 19.86 | 961.345 | 95.6994 | 31.4986
2020-07-09 14:45:00 | 7.79 | 148.3 | 7.751 | 165 | 7.495 | 155.43 | 7.395 | 153.9 | 20.38 | 961.984 | 95.3114 | 31.0108
2020-07-09 15:00:00 | 7.384 | 141 | 7.089 | 160.9 | 6.656 | 151.568 | 6.565 | 144.9 | 20.22 | 961.645 | 94.7271 | 31.7092
2020-07-09 15:15:00 | 6.327 | 143.5 | 6.228 | 165 | 6.027 | 155.43 | 5.974 | 147.3 | 20.54 | 961.645 | 93.6244 | 26.4662
2020-07-09 15:30:00 | 5.712 | 146.8 | 5.524 | 166.9 | 4.44 | 157.22 | 4.146 | 148 | 21.11 | 961.349 | 92.1241 | 23.9389
2020-07-09 15:45:00 | 6.338 | 143.9 | 6.184 | 165 | 5.325 | 155.43 | 5.21 | 143.5 | 20.49 | 960.903 | 94.8858 | 18.5186
2020-07-09 16:00:00 | 4.642 | 117.7 | 5.115 | 136.5 | 5.412 | 128.583 | 5.411 | 122.5 | 20.58 | 960.607 | 95.4006 | 10.4601
2020-07-09 16:15:00 | 4.581 | 123.9 | 4.837 | 139.1 | 4.799 | 131.032 | 4.851 | 130.5 | 20.84 | 960.31 | 93.0255 | 11.5205
2020-07-09 16:30:00 | 4.721 | 134.3 | 4.952 | 153.4 | 5.386 | 144.503 | 5.302 | 139.8 | 21.12 | 960.458 | 91.6283 | 16.5233
2020-07-09 16:45:00 | 3.396 | 118.5 | 4.026 | 137.4 | 5.018 | 129.431 | 5.179 | 130.4 | 21.13 | 960.755 | 88.9343 | 11.2878
2020-07-09 17:00:00 | 3.741 | 145 | 3.937 | 161.9 | 4.7 | 152.51 | 4.678 | 146.4 | 21.52 | 961.2 | 87.9113 | 10.4712
2020-07-09 17:15:00 | 5.01 | 147.1 | 5.008 | 166.4 | 3.965 | 156.749 | 3.7 | 145.2 | 22.15 | 961.645 | 87.692 | 8.912
2020-07-09 17:30:00 | 3.381 | 125.6 | 3.727 | 141.9 | 3.886 | 133.67 | 3.804 | 132.8 | 21.71 | 961.2 | 85.8495 | 4.7811
2020-07-09 17:45:00 | 4.116 | 130.4 | 4.481 | 145.8 | 4.944 | 137.344 | 4.887 | 136.4 | 21.82 | 960.607 | 85.2369 | 4.2528
2020-07-09 18:00:00 | 4.014 | 140.7 | 4.366 | 155.4 | 4.377 | 146.387 | 4.227 | 143 | 21.84 | 960.607 | 84.6914 | 2.5494
2020-07-09 18:15:00 | 2.148 | 130.7 | 2.595 | 154 | 2.296 | 145.068 | 2.18 | 133 | 21.59 | 960.755 | 89.0016 | 1.0272
2020-07-09 18:30:00 | 0.533 | 78.31 | 2 | 80.4 | 3.062 | 75.7368 | 3.043 | 88.4 | 21.45 | 960.607 | 90.6394 | -0.15149
2020-07-09 18:45:00 | 2.194 | 56.4 | 2.587 | 66.66 | 2.963 | 62.7937 | 2.928 | 65.73 | 21.38 | 960.468 | 90.7076 | -0.099761
2020-07-09 19:00:00 | 0.845 | 38.56 | 1.418 | 45.29 | 2.182 | 42.6632 | 1.902 | 52.51 | 21.45 | 960.964 | 88.5933 | -0.38057
2020-07-09 19:15:00 | 0.978 | 78.5 | 1.364 | 89.4 | 1.215 | 84.2148 | 1.264 | 100.7 | 21.64 | 961.026 | 87.0247 | -0.31776
2020-07-09 19:30:00 | 0.836 | 89.7 | 1.833 | 100.6 | 1.808 | 94.7652 | 1.698 | 102.9 | 21.66 | 961.288 | 86.8883 | -0.29928
2020-07-09 19:45:00 | 3.128 | 85.8 | 3.699 | 101.7 | 3.962 | 95.8014 | 3.942 | 94.8 | 21.59 | 960.876 | 87.2294 | -0.11454
2020-07-09 20:00:00 | 1.604 | 106.3 | 2.126 | 107.9 | 2.528 | 101.642 | 2.612 | 109.6 | 21.61 | 961.029 | 87.2335 | 1.393
2020-07-09 20:15:00 | 1.465 | 80.7 | 2.451 | 79.27 | 2.607 | 74.6723 | 2.472 | 88.2 | 21.54 | 961.192 | 86.828 | 0.90154
2020-07-09 20:30:00 | 1.657 | 91.8 | 2.339 | 104.1 | 2.198 | 98.0622 | 2.13 | 102.7 | 21.68 | 961.196 | 84.7827 | 0.088676
2020-07-09 20:45:00 | 0.624 | 78.73 | 2.395 | 86.1 | 3.184 | 81.1062 | 3.361 | 90.9 | 21.67 | 961.196 | 84.5782 | 0.18474
2020-07-09 21:00:00 | 1.344 | 89.6 | 3.014 | 103 | 3.817 | 97.026 | 3.797 | 98.2 | 21.55 | 961.345 | 84.8527 | 0.46555
2020-07-09 21:15:00 | 2.528 | 87.7 | 4.083 | 98.4 | 4.608 | 92.6928 | 4.754 | 98.4 | 21.65 | 961.196 | 83.2471 | 1.3154
2020-07-09 21:30:00 | 3.258 | 107.2 | 4.126 | 121.1 | 4.687 | 114.076 | 4.797 | 115 | 21.98 | 961.492 | 74.3432 | 3.1997
2020-07-09 21:45:00 | 3.131 | 118.6 | 3.663 | 137.8 | 3.84 | 129.808 | 3.883 | 119.6 | 22.13 | 961.43 | 75.5007 | 3.5581
2020-07-09 22:00:00 | 2.737 | 135.8 | 2.86 | 151.7 | 3.489 | 142.901 | 3.438 | 137.9 | 22.24 | 961.757 | 75.5348 | 2.5531
2020-07-09 22:15:00 | 3.22 | 128.1 | 3.64 | 143.4 | 4.285 | 135.083 | 4.27 | 128.4 | 22.26 | 961.626 | 75.1581 | 3.8389
2020-07-09 22:30:00 | 2.898 | 123.2 | 3.323 | 141.5 | 3.72 | 133.293 | 3.677 | 125.2 | 22.13 | 961.427 | 78.0904 | 4.0495
2020-07-09 22:45:00 | 3.817 | 131 | 4.031 | 150.4 | 4.018 | 141.677 | 3.85 | 135.7 | 21.78 | 961.772 | 80.5456 | 5.6974
2020-07-09 23:00:00 | 3.32 | 118.1 | 3.973 | 131.8 | 4.227 | 124.156 | 4.191 | 125.3 | 21.72 | 961.72 | 80.5468 | 5.5164
2020-07-09 23:15:00 | 4.675 | 128.7 | 5.146 | 144.3 | 5.46 | 135.931 | 5.289 | 134.1 | 21.93 | 961.59 | 81.0915 | 14.5799
2020-07-09 23:30:00 | 5.635 | 137.8 | 6.087 | 156.9 | 6.635 | 147.8 | 6.504 | 142.3 | 21.73 | 961.692 | 87.2295 | 22.5977
2020-07-09 23:45:00 | 6.11 | 136.5 | 6.527 | 155.4 | 7.141 | 146.387 | 7.11 | 141.6 | 21.65 | 961.369 | 86.6841 | 23.5657