## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-10 00:00:00 | 6.202 | 134 | 6.741 | 151 | 7.675 | 142.242 | 7.629 | 139 | 21.52 | 961.305 | 86.9238 | 17.8535
2020-07-10 00:15:00 | 5.663 | 126 | 5.987 | 141.2 | 6.597 | 133.01 | 6.601 | 129.9 | 21.72 | 961.49 | 83.5844 | 15.3373
2020-07-10 00:30:00 | 4.41 | 131.3 | 5.149 | 149.9 | 5.872 | 141.206 | 5.941 | 135.9 | 21.71 | 961.782 | 87.0294 | 15.5294
2020-07-10 00:45:00 | 4.581 | 129.6 | 5.023 | 147.2 | 5.308 | 138.662 | 5.353 | 133.5 | 21.67 | 961.196 | 84.4765 | 17.4618
2020-07-10 01:00:00 | 5.173 | 129.5 | 5.517 | 148.6 | 5.717 | 139.981 | 5.595 | 135.4 | 21.92 | 961.78 | 83.143 | 14.8644
2020-07-10 01:15:00 | 5.906 | 123.1 | 6.089 | 139.1 | 6.327 | 131.032 | 6.254 | 127.8 | 22.03 | 961.193 | 82.0501 | 20.1702
2020-07-10 01:30:00 | 6.123 | 133.5 | 6.187 | 149 | 6.353 | 140.358 | 6.272 | 139.8 | 22.06 | 961.295 | 82.6966 | 21.1087
2020-07-10 01:45:00 | 5.666 | 132.5 | 6.233 | 148.5 | 6.144 | 139.887 | 6.106 | 136.9 | 21.86 | 961.476 | 84.0277 | 19.1873
2020-07-10 02:00:00 | 5.73 | 137.9 | 5.951 | 150.8 | 6.241 | 142.054 | 6.114 | 142.6 | 21.65 | 961.195 | 85.8669 | 18.3301
2020-07-10 02:15:00 | 4.972 | 135.2 | 5.358 | 148.1 | 6.032 | 139.51 | 5.984 | 137.3 | 21.59 | 961.196 | 84.0941 | 15.0343
2020-07-10 02:30:00 | 4.997 | 132.8 | 4.901 | 145.2 | 4.934 | 136.778 | 4.904 | 140.2 | 21.75 | 961.493 | 83.4848 | 14.1808
2020-07-10 02:45:00 | 5.321 | 138.7 | 5.172 | 153.4 | 5.302 | 144.503 | 5.192 | 144 | 21.73 | 961.79 | 84.0975 | 16.1686
2020-07-10 03:00:00 | 5.794 | 135.2 | 6.054 | 151.1 | 6.099 | 142.336 | 6.017 | 141.6 | 21.69 | 961.344 | 81.7808 | 22.9893
2020-07-10 03:15:00 | 4.926 | 141.8 | 4.959 | 160.3 | 5.689 | 151.003 | 5.676 | 145.4 | 21.6 | 961.345 | 79.1233 | 18.1491
2020-07-10 03:30:00 | 4.777 | 153.5 | 4.238 | 186.1 | 4.341 | 175.306 | 4.199 | 150.3 | 21.6 | 961.493 | 82.329 | 14.5577
2020-07-10 03:45:00 | 5.061 | 149.3 | 4.916 | 176.3 | 5.122 | 166.075 | 5.131 | 150.1 | 21.39 | 961.641 | 85.1615 | 13.4973
2020-07-10 04:00:00 | 5.206 | 156.5 | 4.382 | 182.2 | 4.405 | 171.632 | 4.53 | 153.5 | 21.17 | 961.79 | 84.2417 | 10.1904
2020-07-10 04:15:00 | 5.37 | 146.1 | 6.386 | 159.4 | 6.973 | 150.155 | 6.794 | 155.3 | 21.19 | 961.79 | 84.7885 | 8.7716
2020-07-10 04:30:00 | 5.186 | 148.8 | 5.931 | 162.5 | 6.358 | 153.075 | 6.234 | 158.2 | 21.4 | 961.79 | 81.3437 | 5.5977
2020-07-10 04:45:00 | 3.483 | 145.8 | 4.415 | 162 | 4.906 | 152.604 | 4.82 | 151.8 | 21.3 | 962.087 | 82.6398 | 4.0015
2020-07-10 05:00:00 | 2.875 | 143.4 | 3.137 | 164.4 | 3.853 | 154.865 | 3.842 | 149.4 | 21.25 | 961.938 | 81.0354 | 7.4562
2020-07-10 05:15:00 | 4.645 | 141 | 4.814 | 156.5 | 5.056 | 147.423 | 5.032 | 147.7 | 21.33 | 961.79 | 83.4923 | 7.6335
2020-07-10 05:30:00 | 4.063 | 141.9 | 4.614 | 158.3 | 5.137 | 149.119 | 4.988 | 148.3 | 21.12 | 962.087 | 84.5157 | 7.7924
2020-07-10 05:45:00 | 2.658 | 147.1 | 3.53 | 161.7 | 3.504 | 152.321 | 3.361 | 152.8 | 21.05 | 962.383 | 82.1964 | 9.5068
2020-07-10 06:00:00 | 5.145 | 154.2 | 5.238 | 165.9 | 5.597 | 156.278 | 5.612 | 163.5 | 21.22 | 962.532 | 78.9222 | 7.8552
2020-07-10 06:15:00 | 3.45 | 146.6 | 4.451 | 154.1 | 4.313 | 145.162 | 4.166 | 159 | 21.36 | 962.817 | 83.0112 | 4.7959
2020-07-10 06:30:00 | 3.095 | 144 | 3.461 | 157.8 | 3.199 | 148.648 | 3.04 | 148 | 21.51 | 962.885 | 80.4442 | 6.8465
2020-07-10 06:45:00 | 4.412 | 146.7 | 4.78 | 163.4 | 4.852 | 153.923 | 4.744 | 152.8 | 21.92 | 963.278 | 83.0691 | 6.3514
2020-07-10 07:00:00 | 4.463 | 151.5 | 4.172 | 172.8 | 3.774 | 162.778 | 3.626 | 149.4 | 21.67 | 963.277 | 82.8517 | 7.3306
2020-07-10 07:15:00 | 2.819 | 138.3 | 3.369 | 155.4 | 3.37 | 146.387 | 3.216 | 141.8 | 21.9 | 963.128 | 73.4402 | 7.4931
2020-07-10 07:30:00 | 3.761 | 151 | 3.947 | 167.5 | 3.286 | 157.785 | 3.142 | 155.7 | 22.75 | 963.425 | 67.4017 | 6.8687
2020-07-10 07:45:00 | 4.877 | 137.3 | 5.141 | 152.6 | 4.662 | 143.749 | 4.436 | 145.6 | 22.9 | 963.722 | 65.3145 | 5.9191
2020-07-10 08:00:00 | 4.262 | 140.7 | 4.07 | 161.8 | 3.751 | 152.416 | 3.511 | 141.8 | 23.19 | 963.698 | 62.1715 | 4.2934
2020-07-10 08:15:00 | 3.445 | 139.7 | 3.244 | 161.9 | 2.301 | 152.51 | 2.09 | 136.3 | 23.54 | 963.907 | 62.2359 | 2.5531
2020-07-10 08:30:00 | 4.389 | 151.9 | 4.062 | 169.1 | 3.08 | 159.292 | 2.857 | 151.3 | 23.6 | 964.169 | 62.9857 | 1.4188
2020-07-10 08:45:00 | 3.646 | 156.7 | 3.062 | 171.1 | 1.978 | 161.176 | 1.736 | 163.5 | 23.79 | 964.318 | 66.5284 | 0.52097
2020-07-10 09:00:00 | 2.492 | 164 | 2.6 | 176.2 | 1.816 | 165.98 | 1.575 | 176.4 | 24.34 | 964.466 | 64.5866 | 0.029559
2020-07-10 09:15:00 | 1.391 | 139.5 | 1.572 | 164.5 | 1.182 | 154.959 | 0.951 | 152.4 | 24.82 | 964.969 | 63.991 | -0.32515
2020-07-10 09:30:00 | 3.394 | 185.6 | 3.073 | 190.2 | 2.103 | 179.168 | 2.026 | 195.9 | 25.31 | 965.062 | 66.7803 | -0.38057
2020-07-10 09:45:00 | 1.706 | 193 | 1.566 | 216.2 | 1.265 | 203.66 | 1.098 | 218.5 | 25.61 | 964.913 | 65.724 | -0.2845
2020-07-10 10:00:00 | 3.485 | 191.1 | 3.275 | 206.4 | 2.619 | 194.429 | 2.371 | 202.7 | 25.66 | 964.913 | 66.644 | -0.26972
2020-07-10 10:15:00 | 2.021 | 192.2 | 2.117 | 203.3 | 1.333 | 191.509 | 1.27 | 214.1 | 25.32 | 965.358 | 67.3935 | -0.26972
2020-07-10 10:30:00 | 3.164 | 190.6 | 2.919 | 197.8 | 1.847 | 186.328 | 1.79 | 207.5 | 25.1 | 965.358 | 66.7121 | -0.25125
2020-07-10 10:45:00 | 2.868 | 169.8 | 2.82 | 185.6 | 2.421 | 174.835 | 2.271 | 173.7 | 25.84 | 965.506 | 65.6902 | -0.24016
2020-07-10 11:00:00 | 0.745 | 190.1 | 1.411 | 205.7 | 0.234 | 193.769 | 0.353 | 220.6 | 25.66 | 965.506 | 66.8144 | -0.26972
2020-07-10 11:15:00 | 1.265 | 289.5 | 1.661 | 283.1 | 1.23 | 266.68 | 1.182 | 288.7 | 25.39 | 965.358 | 67.121 | -0.25125
2020-07-10 11:30:00 | 2.931 | 281.1 | 2.707 | 292.1 | 1.455 | 275.158 | 1.418 | 279.1 | 25.52 | 965.506 | 67.2913 | -0.25125
2020-07-10 11:45:00 | 0.983 | 265.2 | 1.32 | 270.6 | 0.894 | 254.905 | 0.847 | 275.6 | 26.04 | 965.803 | 62.6235 | -0.25125
2020-07-10 12:00:00 | 1.682 | 273.8 | 2.224 | 287.8 | 1.21 | 271.108 | 1.218 | 281.7 | 26.44 | 965.655 | 65.2811 | -0.24016
2020-07-10 12:15:00 | 2.053 | 2.626 | 2.019 | 5.947 | 1.827 | 5.6021 | 1.704 | 357.4 | 26.67 | 965.803 | 65.8944 | -0.26972
2020-07-10 12:30:00 | 1.372 | 327.4 | 1.665 | 352.9 | 1.645 | 332.432 | 1.516 | 326 | 26.19 | 965.506 | 65.213 | -0.25125
2020-07-10 12:45:00 | 1.73 | 263.4 | 1.954 | 277.7 | 1.587 | 261.593 | 1.541 | 268.9 | 26.4 | 965.655 | 64.4634 | -0.24016
2020-07-10 13:00:00 | 1.893 | 289.2 | 1.949 | 296.3 | 0.909 | 279.115 | 0.573 | 298.5 | 26.87 | 965.951 | 62.351 | -0.24016
2020-07-10 13:15:00 | 1.367 | 251.5 | 1.686 | 273.2 | 1.185 | 257.354 | 1.257 | 250.2 | 26.9 | 965.655 | 64.802 | -0.24016
2020-07-10 13:30:00 | 2.573 | 260.3 | 2.704 | 284 | 2.085 | 267.528 | 2.264 | 261.2 | 26.65 | 965.655 | 65.0753 | -0.24016
2020-07-10 13:45:00 | 1.019 | 202.2 | 1.435 | 205.4 | 0.168 | 193.487 | 0.438 | 211.6 | 26.98 | 965.803 | 65.3492 | -0.25125
2020-07-10 14:00:00 | 2.548 | 240.3 | 2.684 | 258.6 | 1.865 | 243.601 | 2.018 | 240.2 | 26.65 | 965.358 | 64.9063 | -0.25125
2020-07-10 14:15:00 | 2.33 | 242 | 2.756 | 255.3 | 2.186 | 240.493 | 2.259 | 246.7 | 27.15 | 965.506 | 65.6559 | -0.26972
2020-07-10 14:30:00 | 2.942 | 205.2 | 2.858 | 208.7 | 2.498 | 196.595 | 2.459 | 216.7 | 26.83 | 965.358 | 65.4174 | -0.24016
2020-07-10 14:45:00 | 3.023 | 187.6 | 2.942 | 201.2 | 2.334 | 189.53 | 2.21 | 186.3 | 26.74 | 965.062 | 64.7359 | -0.25125
2020-07-10 15:00:00 | 3.286 | 185.3 | 3.385 | 196.5 | 2.605 | 185.103 | 2.704 | 194.4 | 26.71 | 964.765 | 65.3503 | -0.2882
2020-07-10 15:15:00 | 2.229 | 216.6 | 2.633 | 232.7 | 2.392 | 219.203 | 2.483 | 220.1 | 26.74 | 964.819 | 65.7029 | -0.25864
2020-07-10 15:30:00 | 4.057 | 183.8 | 3.927 | 195.6 | 3.395 | 184.255 | 3.305 | 190.8 | 26.66 | 964.553 | 66.1864 | -0.25864
2020-07-10 15:45:00 | 3.24 | 191.3 | 3.246 | 205.1 | 2.501 | 193.204 | 2.87 | 196 | 26.67 | 965.059 | 66.462 | -0.28081
2020-07-10 16:00:00 | 2.102 | 179.8 | 2.17 | 191.5 | 0.267 | 180.393 | 1.168 | 198.6 | 26.7 | 964.911 | 65.9824 | -0.25125
2020-07-10 16:15:00 | 2.62 | 197.7 | 2.618 | 211.8 | 1.494 | 199.516 | 2.037 | 201.4 | 26.66 | 964.466 | 67.1382 | -0.27711
2020-07-10 16:30:00 | 2.145 | 200.4 | 2.239 | 208.5 | 1.159 | 196.407 | 1.614 | 200.2 | 26.66 | 964.466 | 66.5956 | -0.24016
2020-07-10 16:45:00 | 1.691 | 203.7 | 2.07 | 210.7 | 1.217 | 198.479 | 1.657 | 212.7 | 26.79 | 964.466 | 67.1765 | -0.24016
2020-07-10 17:00:00 | 1.362 | 198.2 | 1.551 | 221.9 | 0.022 | 209.03 | 0.548 | 213 | 26.57 | 964.466 | 68.5069 | -0.25864
2020-07-10 17:15:00 | 2.51 | 205.1 | 2.6 | 214.1 | 1.972 | 201.682 | 1.908 | 212.3 | 26.49 | 964.318 | 67.5528 | -0.25125
2020-07-10 17:30:00 | 2.709 | 168.7 | 2.791 | 180.9 | 2.367 | 170.408 | 2.299 | 168.6 | 26.44 | 964.318 | 67.8596 | -0.28081
2020-07-10 17:45:00 | 1.987 | 141.3 | 2.278 | 157.8 | 1.92 | 148.648 | 1.759 | 158.2 | 26.48 | 964.911 | 65.7805 | -0.25125
2020-07-10 18:00:00 | 2.02 | 134.4 | 2.252 | 150.4 | 1.813 | 141.677 | 1.594 | 143.5 | 26.37 | 964.466 | 67.5528 | -0.24016
2020-07-10 18:15:00 | 1.601 | 152.1 | 2.091 | 163.5 | 1.752 | 154.017 | 1.614 | 149.9 | 26.26 | 964.169 | 69.0523 | -0.27342
2020-07-10 18:30:00 | 1.976 | 132.2 | 2.324 | 148.1 | 2.154 | 139.51 | 1.989 | 146.1 | 26.14 | 964.762 | 70.6203 | -0.24016
2020-07-10 18:45:00 | 3.028 | 144.8 | 3.185 | 163 | 3.049 | 153.546 | 2.893 | 148.6 | 26.01 | 964.169 | 74.7444 | -0.25864
2020-07-10 19:00:00 | 2.273 | 172 | 2.661 | 183.6 | 2.581 | 172.951 | 2.475 | 167.3 | 25.75 | 964.322 | 73.6878 | -0.24016
2020-07-10 19:15:00 | 1.73 | 185.7 | 2.137 | 199 | 1.777 | 187.458 | 1.609 | 178.6 | 25.79 | 964.6 | 75.4601 | -0.24016
2020-07-10 19:30:00 | 0.71 | 170.4 | 1.61 | 187 | 1.523 | 176.154 | 1.347 | 173.8 | 25.56 | 964.906 | 74.6146 | -0.24016
2020-07-10 19:45:00 | 0.29 | 200.5 | 1.21 | 208.7 | 0.708 | 196.595 | 0.344 | 200.8 | 25.55 | 964.612 | 75.3025 | -0.24016
2020-07-10 20:00:00 | 0 | 200.5 | 0 | 208.7 | 0 | 196.595 | 0 | 200.8 | 25.52 | 964.463 | 72.8822 | -0.24016
2020-07-10 20:15:00 | 0 | 200.5 | 0 | 208.7 | 0 | 196.595 | 0 | 200.7 | 25.63 | 964.76 | 73.3595 | -0.24016
2020-07-10 20:30:00 | 1.696 | 29.12 | 1.748 | 60.27 | 0.565 | 56.7743 | 0.22 | 182.7 | 25.53 | 964.463 | 74.6234 | -0.26972
2020-07-10 20:45:00 | 1.583 | 39.2 | 2.168 | 53.56 | 1.8 | 50.4535 | 1.599 | 50.64 | 25.51 | 964.76 | 75.6115 | -0.27342
2020-07-10 21:00:00 | 2.26 | 33.82 | 2.776 | 42.26 | 1.945 | 39.8089 | 1.792 | 48.09 | 25.38 | 964.612 | 76.0909 | -0.17735
2020-07-10 21:15:00 | 3.141 | 41.31 | 3.487 | 53.69 | 3.191 | 50.576 | 3.101 | 55.15 | 25.22 | 964.463 | 72.4073 | -0.14779
2020-07-10 21:30:00 | 3.899 | 64.68 | 4.553 | 79.8 | 4.14 | 75.1716 | 4.039 | 72.68 | 25.42 | 964.612 | 73.0879 | 1.356
2020-07-10 21:45:00 | 2.172 | 80.7 | 3.571 | 95.9 | 2.871 | 90.3378 | 2.974 | 89.6 | 24.99 | 964.463 | 72.6834 | 1.5518
2020-07-10 22:00:00 | 2.39 | 69.23 | 2.324 | 77.89 | 2.296 | 73.3724 | 2.302 | 78.5 | 25.22 | 964.612 | 75.0687 | 1.7661
2020-07-10 22:15:00 | 3.794 | 101.3 | 4.389 | 111.3 | 3.492 | 104.845 | 3.438 | 114.2 | 25.44 | 964.315 | 67.2306 | 1.3597
2020-07-10 22:30:00 | 3.069 | 96.8 | 3.643 | 105.5 | 3.237 | 99.381 | 3.196 | 110.7 | 25.84 | 964.463 | 66.5443 | 1.0087
2020-07-10 22:45:00 | 0.413 | 111 | 1.648 | 111.3 | 1.874 | 104.845 | 1.657 | 130.2 | 25.54 | 964.612 | 71.5882 | -0.18474
2020-07-10 23:00:00 | 1.72 | 324.4 | 1.889 | 348.8 | 1.609 | 328.57 | 1.53 | 313.9 | 25.25 | 964.76 | 70.5676 | -0.2882
2020-07-10 23:15:00 | 0 | 13.05 | 0 | 351.7 | 0 | 331.301 | 0 | 14.99 | 25.24 | 964.463 | 70.434 | -0.28081
2020-07-10 23:30:00 | 0 | 275.6 | 0.601 | 310.2 | 0.566 | 292.208 | 0 | 296.6 | 25.18 | 964.612 | 68.393 | -0.25125
2020-07-10 23:45:00 | 0 | 269.5 | 1.007 | 300.1 | 0.95 | 282.694 | 0.571 | 284.1 | 25.31 | 964.612 | 69.2116 | -0.25864