## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-11 00:00:00 | 0.112 | 191 | 1.205 | 219.2 | 0.436 | 206.486 | 0.267 | 186.6 | 25.14 | 964.463 | 70.3023 | -0.10346
2020-07-11 00:15:00 | 0 | 187.3 | 0.135 | 219.2 | 0.195 | 206.486 | 0.082 | 164.4 | 25.24 | 964.463 | 68.8032 | -0.19583
2020-07-11 00:30:00 | 0.928 | 128.2 | 1.663 | 142.6 | 1.963 | 134.329 | 1.878 | 126.1 | 25.32 | 964.167 | 67.4054 | -0.18844
2020-07-11 00:45:00 | 0.756 | 126.7 | 1.904 | 149.3 | 2.421 | 140.641 | 2.488 | 133.2 | 25.35 | 964.315 | 67.8827 | -0.19583
2020-07-11 01:00:00 | 2.194 | 134.9 | 3.101 | 149 | 3.509 | 140.358 | 3.399 | 143.6 | 25.56 | 964.315 | 64.8474 | -0.17735
2020-07-11 01:15:00 | 1.043 | 128.4 | 2.063 | 138.8 | 2.207 | 130.75 | 2.134 | 135.8 | 25.81 | 964.463 | 65.39 | -0.29928
2020-07-11 01:30:00 | 0.808 | 130 | 1.748 | 134.3 | 0.944 | 126.511 | 0.538 | 133.9 | 25.58 | 964.463 | 65.3203 | -0.26972
2020-07-11 01:45:00 | 0 | 130 | 0.635 | 135.1 | 0.684 | 127.264 | 0 | 133.9 | 25.54 | 964.612 | 66.6148 | -0.28081
2020-07-11 02:00:00 | 0 | 135.2 | 0.631 | 135.1 | 1.068 | 127.264 | 1.002 | 133.9 | 25.32 | 964.463 | 66.0699 | -0.26972
2020-07-11 02:15:00 | 0.331 | 117.2 | 1.751 | 123.9 | 1.195 | 116.714 | 0.781 | 132.9 | 25.49 | 964.612 | 63.8901 | -0.28081
2020-07-11 02:30:00 | 0.823 | 116.6 | 1.505 | 126.4 | 1.385 | 119.069 | 1.245 | 132.9 | 25.62 | 964.612 | 66.1381 | -0.24016
2020-07-11 02:45:00 | 0.27 | 95.8 | 1.708 | 95.5 | 2.306 | 89.961 | 2.348 | 109.1 | 25.3 | 964.315 | 68.9341 | -0.26972
2020-07-11 03:00:00 | 1.347 | 96.8 | 2.531 | 98.9 | 2.576 | 93.1638 | 2.414 | 111.1 | 25.15 | 964.463 | 67.0265 | -0.2143
2020-07-11 03:15:00 | 2.372 | 98.1 | 3.252 | 107.3 | 3.166 | 101.077 | 3.045 | 109.5 | 25.53 | 964.315 | 68.5241 | -0.23647
2020-07-11 03:30:00 | 2.804 | 116 | 3.039 | 127.7 | 2.159 | 120.293 | 1.96 | 122.4 | 25.72 | 964.76 | 64.7724 | -0.070202
2020-07-11 03:45:00 | 3.005 | 119.8 | 3.635 | 133.6 | 3.415 | 125.851 | 3.277 | 125.3 | 25.5 | 964.463 | 66.7466 | 1.6811
2020-07-11 04:00:00 | 4.956 | 124.2 | 5.11 | 139.5 | 5.03 | 131.409 | 4.912 | 129 | 25.7 | 964.463 | 68.2462 | 9.5844
2020-07-11 04:15:00 | 4.558 | 119.8 | 4.77 | 139.5 | 4.946 | 131.409 | 4.95 | 123.5 | 25.27 | 964.463 | 71.9277 | 12.8359
2020-07-11 04:30:00 | 4.423 | 121.8 | 4.826 | 144.8 | 4.855 | 136.402 | 4.932 | 123.1 | 25.26 | 964.908 | 72.5754 | 14.4136
2020-07-11 04:45:00 | 4.742 | 129.4 | 5.282 | 146.3 | 5.234 | 137.815 | 5.197 | 132 | 25.07 | 964.76 | 73.4962 | 17.0406
2020-07-11 05:00:00 | 3.649 | 115.6 | 3.799 | 141.6 | 3.998 | 133.387 | 4.135 | 111.8 | 24.96 | 965.205 | 76.7347 | 17.3362
2020-07-11 05:15:00 | 4.783 | 138 | 4.988 | 156.5 | 4.73 | 147.423 | 4.609 | 138.8 | 24.47 | 965.057 | 81.2681 | 19.9485
2020-07-11 05:30:00 | 4.586 | 134.1 | 4.763 | 155.6 | 4.567 | 146.575 | 4.408 | 137 | 23.87 | 965.057 | 84.2106 | 21.5964
2020-07-11 05:45:00 | 4.862 | 132.8 | 4.913 | 153.6 | 4.45 | 144.691 | 4.52 | 135 | 23.8 | 965.205 | 84.0774 | 20.0113
2020-07-11 06:00:00 | 5.268 | 124.2 | 5.609 | 143.1 | 6.251 | 134.8 | 6.325 | 126.8 | 23.78 | 965.353 | 84.4187 | 23.3699
2020-07-11 06:15:00 | 4.91 | 124.7 | 5.241 | 142.6 | 5.478 | 134.329 | 5.546 | 127.1 | 23.73 | 965.501 | 83.9408 | 20.2884
2020-07-11 06:30:00 | 5.526 | 132.1 | 5.9 | 148.8 | 6.264 | 140.17 | 6.188 | 136.6 | 23.79 | 965.501 | 81.9979 | 15.947
2020-07-11 06:45:00 | 4.949 | 130.1 | 5.205 | 143.1 | 5.16 | 134.8 | 5.057 | 138.4 | 23.88 | 965.65 | 81.4865 | 10.8444
2020-07-11 07:00:00 | 3.774 | 128.5 | 4.244 | 143.4 | 4.822 | 135.083 | 4.787 | 135 | 23.92 | 966.095 | 80.531 | 6.6581
2020-07-11 07:15:00 | 4.251 | 135.8 | 4.607 | 152.9 | 4.847 | 144.032 | 4.831 | 143.7 | 23.94 | 966.095 | 78.1437 | 6.2295
2020-07-11 07:30:00 | 5.475 | 139.2 | 5.696 | 153.6 | 5.793 | 144.691 | 5.702 | 146.6 | 24.24 | 966.243 | 75.6184 | 4.9733
2020-07-11 07:45:00 | 4.055 | 134.8 | 4.688 | 149.5 | 4.977 | 140.829 | 4.874 | 141.3 | 24.22 | 966.391 | 74.7277 | 2.4386
2020-07-11 08:00:00 | 4.315 | 130.7 | 4.466 | 146.3 | 4.293 | 137.815 | 4.14 | 139 | 24.34 | 966.54 | 72.7491 | 2.9854
2020-07-11 08:15:00 | 4.453 | 140.4 | 4.862 | 156 | 5.15 | 146.952 | 5.121 | 146.1 | 24.51 | 967.133 | 72.8149 | 1.223
2020-07-11 08:30:00 | 4.05 | 141.2 | 4.185 | 162.2 | 4.336 | 152.792 | 4.224 | 144 | 24.75 | 967.133 | 70.7005 | 0.41382
2020-07-11 08:45:00 | 3.148 | 132.1 | 3.354 | 148.6 | 3.273 | 139.981 | 3.16 | 135.5 | 24.75 | 966.982 | 70.6996 | 0.43599
2020-07-11 09:00:00 | 1.893 | 112.6 | 2.329 | 137.5 | 2.115 | 129.525 | 1.907 | 118.5 | 25.24 | 967.392 | 70.7252 | 0.48772
2020-07-11 09:15:00 | 3.335 | 137.1 | 3.377 | 163.3 | 2.742 | 153.829 | 2.464 | 139.7 | 25.06 | 967.218 | 68.9162 | -0.18844
2020-07-11 09:30:00 | 2.73 | 137.8 | 3.249 | 154.6 | 3.354 | 145.633 | 3.285 | 142.7 | 25.37 | 967.433 | 68.848 | 0.096066
2020-07-11 09:45:00 | 1.357 | 156.9 | 1.786 | 175.1 | 0.469 | 164.944 | 0.205 | 104 | 25.97 | 968.025 | 63.8037 | -0.28081
2020-07-11 10:00:00 | 1.925 | 157.6 | 1.663 | 197.6 | 0.379 | 186.139 | 0.235 | 150.7 | 26.53 | 968.025 | 61.8211 | -0.24016
2020-07-11 10:15:00 | 0.458 | 148.7 | 0.677 | 179.1 | 0 | 168.712 | 0 | 151.4 | 26.69 | 968.618 | 58.5541 | -0.24016
2020-07-11 10:30:00 | 0.112 | 51.43 | 1.193 | 52.68 | 0.342 | 49.6246 | 0.095 | 41.52 | 26.83 | 968.39 | 63.9914 | -0.24016
2020-07-11 10:45:00 | 0.111 | 38.19 | 0.573 | 51.9 | 0.161 | 48.8898 | 0.109 | 39.97 | 26.61 | 968.323 | 61.0903 | -0.24016
2020-07-11 11:00:00 | 0.368 | 47.85 | 1.366 | 68.04 | 1.041 | 64.0937 | 0.868 | 51.17 | 27.49 | 968.619 | 59.4889 | -0.26972
2020-07-11 11:15:00 | 0.728 | 58.1 | 1.738 | 73.91 | 2.072 | 69.6232 | 1.95 | 66.53 | 27.07 | 968.323 | 64.4975 | -0.26233
2020-07-11 11:30:00 | 1.691 | 37.76 | 2.421 | 48.5 | 2.09 | 45.687 | 1.988 | 50.59 | 26.56 | 967.582 | 66.4395 | -0.25125
2020-07-11 11:45:00 | 0.762 | 62.45 | 2.093 | 68.43 | 2.21 | 64.4611 | 2.095 | 72.89 | 26.69 | 967.433 | 65.9625 | -0.25125
2020-07-11 12:00:00 | 0.022 | 16.54 | 1.104 | 25.37 | 2.113 | 23.8985 | 1.869 | 17.97 | 26.69 | 967.73 | 65.8263 | -0.26233
2020-07-11 12:15:00 | 0.03 | 78.03 | 0.717 | 93 | 0.629 | 87.606 | 0.313 | 85.6 | 26.91 | 967.582 | 63.4412 | -0.26972
2020-07-11 12:30:00 | 0.735 | 108.3 | 1.227 | 95.7 | 0.356 | 90.1494 | 0.061 | 93.8 | 26.81 | 967.591 | 67.7683 | -0.26233
2020-07-11 12:45:00 | 0.907 | 136 | 1.531 | 137.7 | 0.44 | 129.713 | 0.188 | 111.4 | 25.96 | 967.276 | 72.6539 | -0.25125
2020-07-11 13:00:00 | 0.197 | 83.5 | 0.547 | 137.7 | 0.283 | 129.713 | 0.086 | 88 | 25.98 | 967.578 | 71.9815 | -0.25125
2020-07-11 13:15:00 | 0.636 | 90.5 | 1.247 | 137 | 0.832 | 129.054 | 0.447 | 74.03 | 26.47 | 967.728 | 70.1412 | -0.24016
2020-07-11 13:30:00 | 0.491 | 85.7 | 0.888 | 95.9 | 0.48 | 90.3378 | 0.234 | 57.83 | 26.87 | 967.742 | 66.352 | -0.24016
2020-07-11 13:45:00 | 1.317 | 47.89 | 2.185 | 57.36 | 2.155 | 54.0331 | 1.997 | 58.43 | 26.94 | 967.615 | 65.5541 | -0.24016
2020-07-11 14:00:00 | 0.048 | 67.79 | 0.633 | 78.23 | 1.009 | 73.6927 | 0.853 | 60 | 26.39 | 966.84 | 67.9746 | -0.24016
2020-07-11 14:15:00 | 0.108 | 61.24 | 1.026 | 70.18 | 1.043 | 66.1096 | 0.8 | 67.53 | 26.48 | 966.93 | 69.0356 | -0.24016
2020-07-11 14:30:00 | 1.144 | 68.49 | 2.439 | 76.51 | 2.362 | 72.0724 | 2.233 | 72.13 | 26.34 | 966.871 | 70.6107 | -0.28081
2020-07-11 14:45:00 | 2.855 | 44.29 | 4.141 | 58.84 | 4.367 | 55.4273 | 4.326 | 50.24 | 26.07 | 966.836 | 73.4136 | -0.27342
2020-07-11 15:00:00 | 1.668 | 33.34 | 4.543 | 47.04 | 4.473 | 44.3117 | 4.367 | 40.53 | 26.01 | 965.949 | 74.4333 | 0.16996
2020-07-11 15:15:00 | 2.118 | 33.29 | 3.927 | 48.84 | 3.741 | 46.0073 | 3.623 | 35.99 | 26 | 965.949 | 74.2299 | 0.97913
2020-07-11 15:30:00 | 2.375 | 19.83 | 4.21 | 32.32 | 4.028 | 30.4454 | 3.804 | 23.16 | 26.09 | 966.097 | 73.4151 | 0.61334
2020-07-11 15:45:00 | 2.81 | 12.15 | 4.458 | 28.18 | 4.056 | 26.5456 | 3.634 | 17.05 | 26.11 | 965.8 | 74.4376 | 0.22169
2020-07-11 16:00:00 | 2.479 | 17.32 | 3.932 | 32 | 3.423 | 30.144 | 3.142 | 22.64 | 26.06 | 965.504 | 75.9032 | -0.18844
2020-07-11 16:15:00 | 1.254 | 28.22 | 2.768 | 41.3 | 2.703 | 38.9046 | 2.518 | 35.36 | 26.03 | 965.504 | 77.4369 | -0.28081
2020-07-11 16:30:00 | 1.059 | 26.31 | 3.246 | 38.27 | 3.003 | 36.0503 | 2.903 | 31 | 25.87 | 965.655 | 79.9591 | -0.28081
2020-07-11 16:45:00 | 0.829 | 47.77 | 1.937 | 63.19 | 1.961 | 59.525 | 1.889 | 48.88 | 25.77 | 965.446 | 79.2093 | -0.077592
2020-07-11 17:00:00 | 2.352 | 135 | 2.789 | 151.4 | 2.26 | 142.619 | 2.047 | 130 | 25.72 | 965.528 | 82.3449 | 1.1897
2020-07-11 17:15:00 | 3.549 | 145.1 | 3.684 | 162.5 | 3.789 | 153.075 | 3.738 | 148.8 | 24.8 | 965.648 | 86.9209 | 1.0826
2020-07-11 17:30:00 | 3.123 | 158 | 3.492 | 178.4 | 2.973 | 168.053 | 2.877 | 160.8 | 23.99 | 965.353 | 88.5631 | 1.2267
2020-07-11 17:45:00 | 2.053 | 175.6 | 2.362 | 194.9 | 2.093 | 183.596 | 1.963 | 174.6 | 23.71 | 965.057 | 87.7494 | 1.2119
2020-07-11 18:00:00 | 3.71 | 155.7 | 3.85 | 170.4 | 3.347 | 160.517 | 3.267 | 160 | 23.57 | 965.205 | 90.3504 | 0.75375
2020-07-11 18:15:00 | 1.575 | 133.9 | 2.62 | 155.6 | 2.856 | 146.575 | 2.615 | 125.3 | 23.22 | 964.76 | 90.0437 | 0.81287
2020-07-11 18:30:00 | 0.483 | 99 | 1.8 | 129.7 | 1.938 | 122.177 | 1.82 | 93.2 | 23.65 | 964.908 | 86.1916 | 2.8302
2020-07-11 18:45:00 | 1.986 | 139.2 | 3.07 | 157.9 | 3.932 | 148.742 | 3.743 | 139 | 23.36 | 964.76 | 85.8166 | 5.7861
2020-07-11 19:00:00 | 3.823 | 111.2 | 3.909 | 134.2 | 3.085 | 126.416 | 3.022 | 109.3 | 23.62 | 965.057 | 85.6514 | 5.8009
2020-07-11 19:15:00 | 3.996 | 116.1 | 4.548 | 141.6 | 3.148 | 133.387 | 3.043 | 109.3 | 23.01 | 965.057 | 85.3195 | 7.7259
2020-07-11 19:30:00 | 4.512 | 108 | 4.655 | 134.2 | 3.614 | 126.416 | 3.631 | 108.1 | 22.96 | 965.057 | 83.8192 | 8.9194
2020-07-11 19:45:00 | 4.073 | 109.1 | 4.369 | 131.8 | 3.774 | 124.156 | 3.86 | 108.9 | 24.13 | 965.501 | 79.8636 | 14.82
2020-07-11 20:00:00 | 5.127 | 109.7 | 5.42 | 132.5 | 5.061 | 124.815 | 5.236 | 111.4 | 23.5 | 965.353 | 78.4655 | 13.0354
2020-07-11 20:15:00 | 4.157 | 94.8 | 4.722 | 113.8 | 3.871 | 107.2 | 3.924 | 96.1 | 24.1 | 965.65 | 78.8406 | 9.0302
2020-07-11 20:30:00 | 3.021 | 82.7 | 3.341 | 100.6 | 2.64 | 94.7652 | 2.595 | 81.6 | 23.9 | 965.353 | 79.8636 | 7.4229
2020-07-11 20:45:00 | 3.286 | 81.4 | 3.119 | 96.4 | 2.281 | 90.8088 | 2.095 | 77.2 | 23.59 | 965.353 | 81.3981 | 8.4169
2020-07-11 21:00:00 | 3.927 | 87.3 | 4.256 | 103.4 | 3.306 | 97.4028 | 3.45 | 92.4 | 23.62 | 965.354 | 80.682 | 5.8268
2020-07-11 21:15:00 | 2.01 | 64.98 | 2.239 | 87.8 | 1.632 | 82.7076 | 1.298 | 73.76 | 23.31 | 965.383 | 83.069 | 5.8268
2020-07-11 21:30:00 | 2.891 | 78.02 | 2.822 | 89.3 | 2.937 | 84.1206 | 3.094 | 80.3 | 23.46 | 965.115 | 78.7724 | 11.0882
2020-07-11 21:45:00 | 3.414 | 79.26 | 3.668 | 92.5 | 3.303 | 87.135 | 3.43 | 80.3 | 23.15 | 965.413 | 78.4318 | 9.4255
2020-07-11 22:00:00 | 4.642 | 97.5 | 5.182 | 114.9 | 5.168 | 108.236 | 5.271 | 101.8 | 22.96 | 965.497 | 73.3202 | 12.2558
2020-07-11 22:15:00 | 4.798 | 106.7 | 4.982 | 125.6 | 5.119 | 118.315 | 5.269 | 109 | 22.08 | 965.499 | 80.4226 | 14.5207
2020-07-11 22:30:00 | 4.68 | 93.1 | 5.251 | 109.3 | 5.119 | 102.961 | 5.314 | 98 | 21.69 | 965.203 | 77.2169 | 18.5777
2020-07-11 22:45:00 | 4.075 | 69.94 | 5.026 | 86.2 | 4.468 | 81.2004 | 4.421 | 68.84 | 21.12 | 964.757 | 81.4461 | 19.058
2020-07-11 23:00:00 | 3.746 | 79.47 | 4.543 | 93 | 4.061 | 87.606 | 4.026 | 79.06 | 20.7 | 964.906 | 79.3346 | 22.5201
2020-07-11 23:15:00 | 4.198 | 73.95 | 4.773 | 89.8 | 4.4 | 84.5916 | 4.441 | 77.2 | 20.56 | 964.786 | 83.7793 | 30.0576
2020-07-11 23:30:00 | 4.885 | 80.2 | 5.629 | 97.3 | 5.445 | 91.6566 | 5.574 | 83.3 | 20.11 | 965.081 | 87.4637 | 55.7505
2020-07-11 23:45:00 | 5.891 | 60.26 | 7.848 | 72.33 | 7.543 | 68.1349 | 7.657 | 63.24 | 19.41 | 964.601 | 85.8946 | 70.7378