## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-12 00:00:00 | 6.864 | 48.94 | 8.14 | 65.12 | 8.28 | 61.343 | 8.34 | 56.4 | 19.07 | 964.309 | 85.2806 | 75.1404
2020-07-12 00:15:00 | 4.497 | 30.25 | 8.24 | 42.39 | 9.32 | 39.9314 | 9.22 | 36.26 | 18.27 | 964.013 | 86.8502 | 65.7239
2020-07-12 00:30:00 | 3.999 | 37.64 | 8.53 | 53.23 | 9.17 | 50.1427 | 9.08 | 42.84 | 18.39 | 963.716 | 80.5087 | 56.1432
2020-07-12 00:45:00 | 5.372 | 44.68 | 7.209 | 60.73 | 7.609 | 57.2077 | 7.629 | 48.15 | 18.33 | 963.271 | 82.4181 | 64.6996
2020-07-12 01:00:00 | 4.816 | 27.89 | 8.53 | 43.55 | 9.08 | 41.0241 | 9.09 | 33.69 | 17.57 | 962.677 | 91.2299 | 68.1239
2020-07-12 01:15:00 | 5.007 | 41.28 | 7.572 | 57.08 | 8.07 | 53.7694 | 8.09 | 46.37 | 17.35 | 962.529 | 89.3251 | 55.2453
2020-07-12 01:30:00 | 3.65 | 27.58 | 8.19 | 37.67 | 9.52 | 35.4851 | 9.53 | 34.57 | 17.25 | 962.677 | 91.9245 | 57.1001
2020-07-12 01:45:00 | 4.014 | 35.95 | 9.5 | 49.94 | 9.94 | 47.0435 | 9.81 | 42.23 | 17.51 | 962.38 | 87.9016 | 50.6896
2020-07-12 02:00:00 | 5.251 | 32.02 | 8.97 | 47.83 | 10.32 | 45.0559 | 10.32 | 39.85 | 17.92 | 962.529 | 86.6746 | 39.5903
2020-07-12 02:15:00 | 4.578 | 32.09 | 7.151 | 48.42 | 7.441 | 45.6116 | 7.39 | 36.53 | 17.79 | 962.529 | 87.0822 | 34.872
2020-07-12 02:30:00 | 4.032 | 26.78 | 6.918 | 40.88 | 7.482 | 38.509 | 7.505 | 34.86 | 17.34 | 962.083 | 87.0154 | 32.1599
2020-07-12 02:45:00 | 4.139 | 26.43 | 7.174 | 38.71 | 7.581 | 36.4648 | 7.535 | 32.33 | 17.22 | 961.935 | 87.049 | 38.6296
2020-07-12 03:00:00 | 4.024 | 30.33 | 7.57 | 41.97 | 7.792 | 39.5357 | 7.836 | 39.03 | 17.29 | 961.49 | 87.596 | 49.4666
2020-07-12 03:15:00 | 4.762 | 27.5 | 9.05 | 41.67 | 9.7 | 39.2531 | 9.55 | 33.01 | 17.44 | 961.341 | 85.5826 | 48.7852
2020-07-12 03:30:00 | 4.867 | 22.74 | 8.82 | 35.16 | 9.23 | 33.1207 | 9.06 | 31.13 | 16.98 | 960.896 | 87.4253 | 45.624
2020-07-12 03:45:00 | 3.518 | 20.28 | 7.202 | 33.66 | 7.945 | 31.7077 | 7.815 | 26.21 | 16.77 | 960.896 | 91.179 | 40.3403
2020-07-12 04:00:00 | 5.319 | 12.57 | 7.938 | 28.41 | 8.05 | 26.7622 | 7.762 | 19.08 | 17.08 | 961.193 | 91.7932 | 40.9019
2020-07-12 04:15:00 | 6.468 | 6.523 | 6.818 | 19.23 | 7.413 | 18.1147 | 7.186 | 11.61 | 16.8 | 960.896 | 94.3866 | 45.5759
2020-07-12 04:30:00 | 5.829 | 6.829 | 7.654 | 23.46 | 8.02 | 22.0993 | 7.553 | 10.46 | 16.99 | 961.49 | 96.7412 | 42.772
2020-07-12 04:45:00 | 7.349 | 9.32 | 10.02 | 23.25 | 10.56 | 21.9015 | 9.8 | 15.8 | 17.26 | 960.896 | 97.0483 | 49.6978
2020-07-12 05:00:00 | 7.487 | 8.94 | 9.83 | 24.11 | 9.78 | 22.7116 | 8.6 | 15.4 | 17.47 | 961.341 | 97.5526 | 43.88
2020-07-12 05:15:00 | 6.825 | 10.82 | 9 | 25.78 | 9.11 | 24.2848 | 8.61 | 16.61 | 17.5 | 961.638 | 98.8744 | 39.1728
2020-07-12 05:30:00 | 6.687 | 5.727 | 7.539 | 21.38 | 7.836 | 20.14 | 7.561 | 9.46 | 17.52 | 961.341 | 99.6852 | 39.0471
2020-07-12 05:45:00 | 7.239 | 6.617 | 8.36 | 22.87 | 8.44 | 21.5435 | 7.955 | 11.49 | 17.56 | 961.49 | 99.8856 | 39.9819
2020-07-12 06:00:00 | 7.035 | 7.942 | 9.17 | 24.4 | 8.67 | 22.9848 | 7.96 | 13.36 | 17.58 | 961.638 | 99.9534 | 42.0141
2020-07-12 06:15:00 | 7.691 | 7.353 | 9.01 | 22.14 | 8.82 | 20.8559 | 8.33 | 10.64 | 17.53 | 961.49 | 99.8827 | 43.1964
2020-07-12 06:30:00 | 8.01 | 7.666 | 9.19 | 23.38 | 9.07 | 22.024 | 8.54 | 12.61 | 17.52 | 961.638 | 99.8847 | 43.6989
2020-07-12 06:45:00 | 6.902 | 9.12 | 9.02 | 23.74 | 9.07 | 22.3631 | 8.17 | 16.71 | 17.58 | 961.341 | 99.8864 | 43.2112
2020-07-12 07:00:00 | 6.746 | 15.76 | 10.86 | 28.42 | 10.99 | 26.7716 | 10.53 | 21.94 | 17.77 | 961.49 | 99.8833 | 45.9639
2020-07-12 07:15:00 | 6.989 | 16.01 | 10.82 | 29.96 | 11.23 | 28.2223 | 10.74 | 21.25 | 17.99 | 961.638 | 99.9162 | 47.1906
2020-07-12 07:30:00 | 6.294 | 13.06 | 10.36 | 28.34 | 10.58 | 26.6963 | 10.12 | 18.44 | 18.16 | 961.786 | 99.8828 | 48.953
2020-07-12 07:45:00 | 6.34 | 14.96 | 10.47 | 29.06 | 10.63 | 27.3745 | 10.11 | 20.31 | 18.21 | 961.935 | 99.8806 | 47.7485
2020-07-12 08:00:00 | 6.654 | 12.42 | 9.66 | 27.28 | 9.68 | 25.6978 | 8.99 | 17.44 | 18.26 | 961.786 | 99.8806 | 48.5207
2020-07-12 08:15:00 | 7.739 | 11.09 | 10.17 | 26.22 | 10.06 | 24.6992 | 9.49 | 18.47 | 18.14 | 961.786 | 99.8806 | 49.9913
2020-07-12 08:30:00 | 7.134 | 11.96 | 10.93 | 28.75 | 10.47 | 27.0825 | 9.75 | 17.27 | 18.09 | 961.786 | 99.9148 | 46.6862
2020-07-12 08:45:00 | 6.639 | 8.24 | 8.63 | 23.54 | 8.53 | 22.1747 | 8.08 | 15.62 | 18.05 | 962.083 | 99.8806 | 46.6069
2020-07-12 09:00:00 | 7.144 | 10.91 | 9.81 | 26.06 | 9.47 | 24.5485 | 8.57 | 15.91 | 18 | 962.083 | 99.8806 | 50.1264
2020-07-12 09:15:00 | 7.019 | 12.91 | 11.2 | 28.81 | 10.73 | 27.139 | 9.8 | 17.88 | 18.12 | 962.232 | 99.8806 | 50.166
2020-07-12 09:30:00 | 6.353 | 9.08 | 8.8 | 25.63 | 8.49 | 24.1435 | 7.879 | 13.13 | 18.26 | 962.51 | 99.9148 | 45.0069
2020-07-12 09:45:00 | 6.468 | 15.02 | 9.81 | 28.88 | 9.94 | 27.205 | 9.37 | 20.74 | 18.34 | 962.23 | 98.9937 | 40.9648
2020-07-12 10:00:00 | 5.725 | 14.62 | 9.01 | 28.78 | 9 | 27.1108 | 8.55 | 20.56 | 18.52 | 961.916 | 99.4031 | 38.2897
2020-07-12 10:15:00 | 4.784 | 21.07 | 9.47 | 32.75 | 9.31 | 30.8505 | 9.05 | 27.72 | 18.54 | 961.904 | 98.1068 | 31.5023
2020-07-12 10:30:00 | 4.476 | 17.79 | 7.946 | 31.27 | 7.51 | 29.4563 | 7.151 | 24.49 | 19.15 | 962.414 | 94.3886 | 27.6153
2020-07-12 10:45:00 | 4.979 | 10.35 | 6.463 | 21.8 | 6.577 | 20.5356 | 6.18 | 16.23 | 19.51 | 962.282 | 93.7063 | 21.1604
2020-07-12 11:00:00 | 5.475 | 8.38 | 6.097 | 18.5 | 6.266 | 17.427 | 5.966 | 9.59 | 19.26 | 962.384 | 94.615 | 20.1184
2020-07-12 11:15:00 | 6.256 | 7.867 | 6.949 | 21.49 | 6.991 | 20.2436 | 6.753 | 12.93 | 19.25 | 961.79 | 97.272 | 29.193
2020-07-12 11:30:00 | 5.674 | 10.27 | 7.718 | 26.88 | 7.625 | 25.321 | 6.893 | 17.26 | 18.99 | 961.493 | 98.2958 | 21.3082
2020-07-12 11:45:00 | 5.457 | 13.86 | 8.02 | 28.21 | 8.05 | 26.5738 | 7.398 | 19.58 | 19.06 | 961.493 | 96.8773 | 17.8978
2020-07-12 12:00:00 | 5.339 | 12.24 | 7.764 | 27.81 | 7.907 | 26.197 | 7.179 | 16.55 | 19.15 | 961.197 | 96.06 | 23.5805
2020-07-12 12:15:00 | 5.975 | 12.65 | 8.38 | 27.51 | 8.51 | 25.9144 | 7.92 | 18.85 | 19.22 | 961.453 | 95.5825 | 27.0019
2020-07-12 12:30:00 | 4.521 | 12.76 | 7.166 | 26.09 | 7.673 | 24.5768 | 7.258 | 20.29 | 19.37 | 961.9 | 94.1156 | 24.6077
2020-07-12 12:45:00 | 4.721 | 9.07 | 6.164 | 24.77 | 5.872 | 23.3333 | 5.393 | 14.24 | 19.56 | 961.793 | 95.2004 | 23.9759
2020-07-12 13:00:00 | 5.556 | 6.985 | 5.964 | 20.23 | 6.142 | 19.0567 | 5.806 | 12.95 | 19.63 | 962.087 | 94.5101 | 22.025
2020-07-12 13:15:00 | 5.199 | 9.97 | 7.122 | 25.04 | 7.528 | 23.5877 | 6.952 | 16.83 | 19.52 | 961.939 | 94.5771 | 21.6814
2020-07-12 13:30:00 | 4.206 | 12.39 | 6.885 | 25.78 | 7.022 | 24.2848 | 6.478 | 18.61 | 19.75 | 962.087 | 91.6099 | 25.3725
2020-07-12 13:45:00 | 5.37 | 15.65 | 8.16 | 28.97 | 8.34 | 27.2897 | 7.938 | 23.22 | 19.69 | 962.235 | 93.1105 | 22.6827
2020-07-12 14:00:00 | 4.938 | 18.89 | 8.3 | 32.68 | 7.95 | 30.7846 | 7.69 | 25.62 | 19.69 | 962.087 | 91.6781 | 23.3477
2020-07-12 14:15:00 | 3.875 | 16.68 | 7.521 | 30.98 | 7.413 | 29.1832 | 7.046 | 23.27 | 20.02 | 962.384 | 88.0969 | 23.7246
2020-07-12 14:30:00 | 3.762 | 19.19 | 6.903 | 33.66 | 6.788 | 31.7077 | 6.43 | 25.55 | 20.5 | 962.68 | 83.97 | 17.835
2020-07-12 14:45:00 | 3.055 | 20.53 | 6.608 | 35.79 | 6.6 | 33.7142 | 6.02 | 26.81 | 21.01 | 962.977 | 81.3662 | 21.0865
2020-07-12 15:00:00 | 4.555 | 17.81 | 6.844 | 33.31 | 6.775 | 31.378 | 6.565 | 23.23 | 21.27 | 962.735 | 80.9889 | 15.8878
2020-07-12 15:15:00 | 4.982 | 26.69 | 7.02 | 44.32 | 6.915 | 41.7494 | 6.797 | 31.91 | 21.41 | 962.683 | 80.1705 | 14.0737
2020-07-12 15:30:00 | 4.2 | 16.55 | 7.595 | 32.74 | 7.06 | 30.8411 | 6.488 | 20.13 | 21.45 | 962.683 | 78.9088 | 13.4751
2020-07-12 15:45:00 | 3.462 | 17.44 | 7.388 | 31.62 | 7.174 | 29.786 | 6.649 | 25.43 | 21.45 | 962.535 | 78.0563 | 12.6142
2020-07-12 16:00:00 | 4.578 | 16.83 | 7.521 | 32.76 | 7.182 | 30.8599 | 6.776 | 21.79 | 21.45 | 962.387 | 77.6812 | 16.564
2020-07-12 16:15:00 | 6.228 | 13.28 | 9.24 | 28.93 | 8.39 | 27.2521 | 7.634 | 17.4 | 21.29 | 962.238 | 79.8977 | 17.835
2020-07-12 16:30:00 | 4.859 | 17.08 | 8.41 | 32.72 | 8.37 | 30.8222 | 8 | 21.99 | 21.22 | 962.535 | 79.0452 | 21.3821
2020-07-12 16:45:00 | 5.351 | 16.39 | 7.383 | 31.34 | 6.874 | 29.5223 | 6.672 | 22.15 | 21.31 | 962.238 | 78.636 | 27.8628
2020-07-12 17:00:00 | 6.713 | 8.29 | 7.258 | 24.07 | 6.452 | 22.6739 | 6.226 | 11.29 | 21.12 | 962.09 | 81.8414 | 37.2034
2020-07-12 17:15:00 | 5.783 | 11.24 | 8.59 | 30.46 | 7.64 | 28.6933 | 6.97 | 14.19 | 20.9 | 962.26 | 82.9327 | 37.802
2020-07-12 17:30:00 | 6.695 | 9.36 | 8.35 | 26.19 | 7.541 | 24.671 | 7.191 | 11.72 | 20.84 | 962.554 | 82.6601 | 36.664
2020-07-12 17:45:00 | 5.842 | 15.23 | 9.66 | 31.47 | 9.19 | 29.6447 | 8.28 | 18.15 | 20.84 | 962.357 | 82.5294 | 38.456
2020-07-12 18:00:00 | 5.937 | 15.31 | 8.66 | 31.16 | 8.33 | 29.3527 | 7.762 | 19.58 | 20.7 | 962.68 | 82.7383 | 43.0611
2020-07-12 18:15:00 | 6.419 | 18.27 | 10.9 | 34.41 | 11.06 | 32.4142 | 10.57 | 22.3 | 20.57 | 962.828 | 85.7433 | 38.4929
2020-07-12 18:30:00 | 7.137 | 6.735 | 6.828 | 20.23 | 6.477 | 19.0567 | 6.366 | 5.526 | 19.93 | 962.828 | 95.5661 | 41.1938
2020-07-12 18:45:00 | 7.43 | 0.384 | 7.468 | 21.22 | 8.71 | 19.9892 | 9.12 | 1.032 | 19.46 | 962.383 | 99.5225 | 41.1004
2020-07-12 19:00:00 | 7.213 | 5.962 | 7.263 | 22.42 | 7.146 | 21.1196 | 7.133 | 6.541 | 18.91 | 962.383 | 99.9335 | 39.5719
2020-07-12 19:15:00 | 7.009 | 7.908 | 8.36 | 24.25 | 7.714 | 22.8435 | 7.202 | 13.61 | 18.79 | 962.57 | 99.8803 | 32.8065
2020-07-12 19:30:00 | 7.471 | 14.84 | 10.18 | 29 | 10.04 | 27.318 | 9.5 | 21.14 | 18.65 | 963.022 | 99.9488 | 30.7374
2020-07-12 19:45:00 | 6.289 | 15.4 | 9.41 | 30.27 | 9.18 | 28.5143 | 8.59 | 20.25 | 18.63 | 963.241 | 99.9147 | 26.5622
2020-07-12 20:00:00 | 5.944 | 15.1 | 9.77 | 31.35 | 9.83 | 29.5317 | 9.01 | 18.45 | 18.68 | 963.27 | 99.8806 | 26.8948
2020-07-12 20:15:00 | 7.019 | 12.6 | 9.38 | 28.19 | 9.14 | 26.555 | 8.59 | 17.56 | 18.62 | 963.271 | 99.8806 | 21.8829
2020-07-12 20:30:00 | 5.847 | 13.93 | 8.89 | 31.22 | 8.59 | 29.4092 | 7.976 | 17.6 | 18.75 | 963.418 | 98.4479 | 18.4077
2020-07-12 20:45:00 | 5.686 | 7.252 | 7.189 | 26.17 | 6.65 | 24.6521 | 6.387 | 10.68 | 18.94 | 963.864 | 97.0152 | 16.8781
2020-07-12 21:00:00 | 4.928 | 11.2 | 6.327 | 27.79 | 6.376 | 26.1782 | 6.066 | 12.26 | 19.14 | 963.864 | 97.2198 | 14.9161
2020-07-12 21:15:00 | 4.892 | 6.652 | 5.542 | 22.41 | 5.867 | 21.1102 | 5.829 | 8.58 | 19.22 | 964.31 | 96.674 | 16.6638
2020-07-12 21:30:00 | 5.582 | 6.576 | 6.235 | 20.47 | 6.355 | 19.2827 | 5.852 | 12.31 | 19.23 | 964.152 | 96.4012 | 16.2462
2020-07-12 21:45:00 | 5.533 | 12.22 | 8.02 | 27.17 | 8.01 | 25.5941 | 7.176 | 19.33 | 19.3 | 964.097 | 94.2862 | 16.4901
2020-07-12 22:00:00 | 6.501 | 15.56 | 9.85 | 30.7 | 9.87 | 28.9194 | 9.34 | 21.33 | 19.54 | 964.075 | 90.1245 | 15.1341
2020-07-12 22:15:00 | 6.749 | 7.855 | 7.593 | 24.07 | 6.582 | 22.6739 | 6.376 | 11.32 | 19.49 | 964.001 | 94.0815 | 15.5184
2020-07-12 22:30:00 | 5.855 | 6.828 | 6.107 | 21.65 | 6.399 | 20.3943 | 6.213 | 8.77 | 19.39 | 963.872 | 95.5825 | 13.6155
2020-07-12 22:45:00 | 6.378 | 7.579 | 6.808 | 23.84 | 6.149 | 22.4573 | 5.984 | 10 | 19.28 | 964.051 | 96.674 | 13.368
2020-07-12 23:00:00 | 6.488 | 1.673 | 6.159 | 18.19 | 6.073 | 17.135 | 5.936 | 4.163 | 19.2 | 963.901 | 98.175 | 17.0332
2020-07-12 23:15:00 | 6.524 | 2.828 | 6.169 | 18.96 | 6.846 | 17.8603 | 6.99 | 3.135 | 19.06 | 963.877 | 98.8913 | 19.6751
2020-07-12 23:30:00 | 7.244 | 2.458 | 6.913 | 16.54 | 7.324 | 15.5807 | 7.273 | 5.266 | 18.97 | 963.832 | 98.1409 | 14.4358
2020-07-12 23:45:00 | 7.28 | 4.332 | 7.232 | 21.38 | 6.889 | 20.14 | 6.797 | 5.711 | 18.84 | 963.995 | 99.1984 | 20.2551