## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-13 00:00:00 | 6.588 | 3.585 | 6.764 | 18.61 | 7.126 | 17.5306 | 7.056 | 4.567 | 18.57 | 963.71 | 99.8806 | 22.9302
2020-07-13 00:15:00 | 6.401 | 7.986 | 6.908 | 24.22 | 6.554 | 22.8152 | 6.32 | 8.72 | 18.41 | 963.568 | 99.8806 | 24.6631
2020-07-13 00:30:00 | 6.662 | 7.91 | 7.726 | 23.35 | 7.185 | 21.9957 | 6.786 | 12.25 | 18.36 | 963.419 | 99.8806 | 18.2858
2020-07-13 00:45:00 | 5.914 | 2.17 | 5.806 | 17.81 | 6.154 | 16.777 | 5.936 | 5.369 | 18.34 | 963.568 | 99.8806 | 20.6727
2020-07-13 01:00:00 | 7.479 | 6.813 | 7.457 | 22.67 | 7.19 | 21.3551 | 7.044 | 10.65 | 18.37 | 963.122 | 99.9488 | 22.0693
2020-07-13 01:15:00 | 6.504 | 9.48 | 7.856 | 26.23 | 7.495 | 24.7087 | 7.107 | 13.71 | 18.37 | 963.419 | 99.8806 | 20.4694
2020-07-13 01:30:00 | 5.898 | 10.18 | 8.31 | 27.74 | 7.403 | 26.1311 | 6.646 | 14.57 | 18.4 | 963.271 | 99.8806 | 16.3645
2020-07-13 01:45:00 | 5.6 | 11.4 | 7.327 | 25.26 | 7.373 | 23.7949 | 6.687 | 17.94 | 18.4 | 963.271 | 99.9147 | 10.4121
2020-07-13 02:00:00 | 5.452 | 7.607 | 6.238 | 22 | 6.277 | 20.724 | 6.005 | 11.39 | 18.4 | 963.419 | 99.8806 | 8.6496
2020-07-13 02:15:00 | 5.13 | 6.024 | 5.057 | 21.34 | 5.196 | 20.1023 | 5.042 | 10 | 18.41 | 963.568 | 99.8806 | 4.4153
2020-07-13 02:30:00 | 3.994 | 7.392 | 4.134 | 21.05 | 4.59 | 19.8291 | 4.426 | 9.16 | 18.4 | 964.013 | 99.9147 | 5.5497
2020-07-13 02:45:00 | 4.997 | 359.1 | 5.202 | 15.89 | 6.391 | 14.9684 | 6.544 | 2.331 | 18.37 | 963.716 | 99.8806 | 8.79
2020-07-13 03:00:00 | 5.628 | 354.2 | 5.489 | 14.72 | 6.483 | 13.8662 | 6.702 | 356 | 18.37 | 963.864 | 99.8806 | 7.0091
2020-07-13 03:15:00 | 4.476 | 353.8 | 4.451 | 19.62 | 5.88 | 18.482 | 6.104 | 352.9 | 18.37 | 963.864 | 99.9147 | 8.1471
2020-07-13 03:30:00 | 3.812 | 349 | 3.569 | 16.36 | 4.756 | 15.4111 | 5.006 | 349.7 | 18.4 | 963.864 | 99.8806 | 8.1582
2020-07-13 03:45:00 | 5.235 | 355.6 | 4.819 | 21.39 | 5.748 | 20.1494 | 5.949 | 355.8 | 18.41 | 963.864 | 99.9147 | 7.3121
2020-07-13 04:00:00 | 4.923 | 7.165 | 4.86 | 20.26 | 4.883 | 19.0849 | 4.871 | 6.135 | 18.4 | 963.864 | 99.9488 | 5.8859
2020-07-13 04:15:00 | 4.785 | 358.6 | 4.492 | 10.27 | 4.916 | 9.6743 | 4.759 | 3.931 | 18.38 | 964.31 | 99.8806 | 3.9276
2020-07-13 04:30:00 | 4.137 | 350.3 | 3.584 | 8.52 | 4.041 | 8.0258 | 4.186 | 355.8 | 18.33 | 964.31 | 99.8806 | 4.8181
2020-07-13 04:45:00 | 4.474 | 348.4 | 3.941 | 6.537 | 5.249 | 6.1578 | 5.414 | 349.4 | 18.29 | 964.31 | 99.9147 | 10.4527
2020-07-13 05:00:00 | 4.966 | 354.9 | 5.225 | 20 | 6.182 | 18.84 | 6.333 | 357.8 | 18.25 | 964.607 | 99.9147 | 11.2508
2020-07-13 05:15:00 | 4.133 | 353.1 | 4.545 | 19.9 | 5.542 | 18.7458 | 5.768 | 350.5 | 18.16 | 964.607 | 99.9147 | 16.4421
2020-07-13 05:30:00 | 4.776 | 350.6 | 5.325 | 16.96 | 6.185 | 15.9763 | 6.341 | 351.5 | 18.07 | 964.755 | 99.9147 | 18.526
2020-07-13 05:45:00 | 4.489 | 352 | 5.228 | 20.19 | 6.338 | 19.019 | 6.593 | 350.8 | 18.05 | 964.903 | 99.8806 | 13.7005
2020-07-13 06:00:00 | 5.291 | 354.2 | 5.276 | 23.29 | 6.063 | 21.9392 | 6.348 | 354.1 | 18.13 | 965.052 | 99.8806 | 15.7844
2020-07-13 06:15:00 | 4.589 | 357.4 | 4.962 | 21.71 | 6.004 | 20.4508 | 6.313 | 353.5 | 18.21 | 965.052 | 99.8806 | 16.5714
2020-07-13 06:30:00 | 6.218 | 6.335 | 6.36 | 24.49 | 6.078 | 23.0696 | 6.269 | 3.422 | 18.27 | 965.2 | 99.8806 | 19.7674
2020-07-13 06:45:00 | 6.041 | 5.421 | 6.488 | 27.42 | 6.368 | 25.8296 | 6.399 | 5.963 | 18.33 | 965.349 | 99.8806 | 19.276
2020-07-13 07:00:00 | 6.215 | 4.313 | 6.271 | 25.45 | 5.971 | 23.9739 | 6.076 | 4.571 | 18.29 | 965.349 | 99.8806 | 19.0691
2020-07-13 07:15:00 | 5.602 | 5.848 | 5.831 | 25.6 | 5.425 | 24.1152 | 5.49 | 4.445 | 18.37 | 965.349 | 99.8806 | 18.5481
2020-07-13 07:30:00 | 6.805 | 5.299 | 6.744 | 22.79 | 6.205 | 21.4682 | 6.168 | 6.213 | 18.34 | 965.646 | 99.8806 | 20.0926
2020-07-13 07:45:00 | 6.32 | 4.434 | 6.345 | 23.36 | 6.287 | 22.0051 | 6.412 | 5.746 | 18.39 | 965.646 | 99.8806 | 19.3979
2020-07-13 08:00:00 | 6.144 | 359.8 | 6.647 | 23.31 | 7.009 | 21.958 | 7.115 | 2.231 | 18.38 | 965.794 | 99.8806 | 16.7598
2020-07-13 08:15:00 | 4.719 | 356.6 | 5.118 | 25.19 | 6.615 | 23.729 | 6.919 | 356.8 | 18.38 | 965.943 | 99.9147 | 10.933
2020-07-13 08:30:00 | 4.435 | 2.44 | 4.599 | 27.71 | 5.493 | 26.1028 | 5.837 | 358.5 | 18.53 | 966.239 | 99.8806 | 12.9504
2020-07-13 08:45:00 | 4.144 | 356.9 | 5.156 | 29.22 | 5.791 | 27.5252 | 6.191 | 352 | 18.68 | 965.922 | 99.9488 | 16.5418
2020-07-13 09:00:00 | 5.342 | 3.989 | 6.184 | 22.71 | 6.404 | 21.3928 | 6.529 | 2.25 | 18.7 | 966.183 | 99.9147 | 15.9285
2020-07-13 09:15:00 | 5.896 | 8.29 | 7.033 | 28.3 | 6.154 | 26.6586 | 6.012 | 6.01 | 18.82 | 966.302 | 99.8806 | 15.4186
2020-07-13 09:30:00 | 6.151 | 9.46 | 6.744 | 27.52 | 6.274 | 25.9238 | 6.221 | 9.08 | 18.92 | 966.366 | 99.9488 | 16.2684
2020-07-13 09:45:00 | 5.028 | 15.1 | 8.54 | 32.13 | 7.942 | 30.2665 | 7.408 | 18.42 | 19.1 | 966.261 | 99.9147 | 17.314
2020-07-13 10:00:00 | 6.108 | 9.54 | 7.294 | 26.2 | 6.531 | 24.6804 | 6.201 | 13 | 19.24 | 967.132 | 99.9364 | 13.6968
2020-07-13 10:15:00 | 5.058 | 13.27 | 7.396 | 30.16 | 7.37 | 28.4107 | 6.911 | 17.89 | 19.76 | 967.28 | 94.7477 | 13.5823
2020-07-13 10:30:00 | 4.44 | 14.26 | 6.419 | 30.25 | 5.862 | 28.4955 | 5.528 | 18.22 | 20.99 | 967.606 | 84.7742 | 15.0454
2020-07-13 10:45:00 | 5.464 | 19.36 | 8.16 | 37.38 | 7.688 | 35.212 | 7.354 | 21.31 | 21.79 | 967.578 | 84.385 | 19.6824
2020-07-13 11:00:00 | 6.348 | 14.94 | 8.72 | 32.72 | 7.808 | 30.8222 | 7.179 | 16.28 | 21.89 | 967.43 | 85.8408 | 24.2419
2020-07-13 11:15:00 | 6.258 | 11.87 | 8.13 | 27.82 | 7.675 | 26.2064 | 7.196 | 15.72 | 22.04 | 967.727 | 80.8933 | 17.3806
2020-07-13 11:30:00 | 4.704 | 10.99 | 6.299 | 30.44 | 5.707 | 28.6745 | 5.6 | 5.476 | 22.35 | 968.017 | 83.6203 | 18.4374
2020-07-13 11:45:00 | 6.624 | 10.3 | 7.25 | 28.18 | 5.997 | 26.5456 | 5.918 | 7.104 | 22.19 | 967.875 | 80.2795 | 14.8496
2020-07-13 12:00:00 | 4.343 | 7.565 | 5.338 | 33.93 | 5.285 | 31.9621 | 5.286 | 359.4 | 22.71 | 968.165 | 80.5863 | 15.0602
2020-07-13 12:15:00 | 5.319 | 8.05 | 5.619 | 27.48 | 5.007 | 25.8862 | 4.983 | 5.648 | 22.02 | 967.43 | 86.5178 | 19.4681
2020-07-13 12:30:00 | 5.023 | 7.54 | 5.555 | 30.36 | 5.386 | 28.5991 | 5.521 | 3.412 | 22.07 | 967.43 | 87.0642 | 13.5379
2020-07-13 12:45:00 | 5.921 | 10.78 | 7.286 | 27.23 | 6.134 | 25.6507 | 5.755 | 14.04 | 21.67 | 967.43 | 84.2017 | 17.0702
2020-07-13 13:00:00 | 5.125 | 15.27 | 8.25 | 32.48 | 7.513 | 30.5962 | 7.041 | 16.8 | 22.04 | 967.43 | 85.4297 | 23.2849
2020-07-13 13:15:00 | 6.746 | 11.63 | 7.365 | 28.42 | 6.111 | 26.7716 | 5.852 | 14.07 | 21.14 | 967.726 | 89.2468 | 15.2043
2020-07-13 13:30:00 | 3.856 | 18.97 | 5.023 | 35.56 | 4.776 | 33.4975 | 4.693 | 15.8 | 21.81 | 967.726 | 84.5769 | 7.4599
2020-07-13 13:45:00 | 4.527 | 10.75 | 5.397 | 27.67 | 4.799 | 26.0651 | 4.599 | 11.44 | 22.49 | 968.172 | 79.4274 | 9.348
2020-07-13 14:00:00 | 4.949 | 13.92 | 6.302 | 29.5 | 6.068 | 27.789 | 6 | 7.45 | 23.21 | 967.726 | 81.3704 | 10.3086
2020-07-13 14:15:00 | 3.629 | 3.586 | 4.023 | 26.66 | 4.033 | 25.1137 | 4.056 | 358.6 | 22.32 | 967.726 | 81.8817 | 5.1876
2020-07-13 14:30:00 | 3.866 | 23.78 | 5.53 | 37.68 | 4.901 | 35.4946 | 4.724 | 30.48 | 23.02 | 968.145 | 81.5278 | 2.8044
2020-07-13 14:45:00 | 1.63 | 8.21 | 2.387 | 29.25 | 2.367 | 27.5535 | 2.337 | 0.472 | 23.54 | 968.627 | 73.4833 | 1.3819
2020-07-13 15:00:00 | 2.471 | 18.77 | 3.88 | 39.37 | 3.202 | 37.0865 | 2.979 | 10.21 | 23.95 | 968.47 | 74.0244 | 0.49511
2020-07-13 15:15:00 | 2.703 | 10.53 | 3.574 | 30.99 | 3.048 | 29.1926 | 2.938 | 359.4 | 24.22 | 968.321 | 74.7774 | 0.39535
2020-07-13 15:30:00 | 2.486 | 14.49 | 3.428 | 26.45 | 3.225 | 24.9159 | 3.017 | 2.688 | 24.84 | 968.223 | 74.7568 | 1.6885
2020-07-13 15:45:00 | 1.362 | 16.73 | 2.458 | 37.9 | 3.357 | 35.7018 | 3.071 | 17.44 | 24.37 | 968.027 | 77.3425 | 2.0396
2020-07-13 16:00:00 | 2.891 | 17.7 | 4.182 | 33.81 | 3.756 | 31.849 | 3.379 | 18.16 | 24.01 | 967.582 | 75.1278 | 2.313
2020-07-13 16:15:00 | 3.807 | 11.68 | 4.75 | 32.65 | 3.812 | 30.7563 | 3.822 | 3.433 | 23.91 | 967.611 | 76.9336 | 3.5692
2020-07-13 16:30:00 | 2.385 | 14.15 | 4.075 | 28.15 | 3.418 | 26.5173 | 3.122 | 14.7 | 24.17 | 967.911 | 74.3608 | 5.6273
2020-07-13 16:45:00 | 2.6 | 20.37 | 4.337 | 29.43 | 4.346 | 27.7231 | 4.026 | 16.84 | 24.55 | 967.901 | 72.3734 | 7.2567
2020-07-13 17:00:00 | 2.218 | 359.1 | 3.451 | 29.39 | 4.074 | 27.6854 | 4.105 | 347.9 | 23.75 | 967.204 | 73.8852 | 5.158
2020-07-13 17:15:00 | 2.414 | 8.85 | 2.76 | 24.93 | 2.589 | 23.4841 | 2.826 | 346.8 | 24.22 | 967.58 | 74.2648 | 4.4079
2020-07-13 17:30:00 | 3.493 | 10.07 | 3.737 | 26.74 | 3.039 | 25.1891 | 2.994 | 3.875 | 23.88 | 967.283 | 78.322 | 3.5877
2020-07-13 17:45:00 | 2.582 | 4.354 | 3.533 | 31.99 | 3.338 | 30.1346 | 3.249 | 356.8 | 23.87 | 967.728 | 78.9332 | 3.9018
2020-07-13 18:00:00 | 2.647 | 7.791 | 3.748 | 33.84 | 3.072 | 31.8773 | 2.809 | 4.456 | 23.76 | 967.135 | 76.7207 | 3.4066
2020-07-13 18:15:00 | 2.151 | 357.9 | 2.896 | 21.84 | 2.993 | 20.5733 | 2.88 | 350.6 | 23.88 | 967.728 | 77.3688 | 1.8991
2020-07-13 18:30:00 | 2.814 | 350.8 | 3.226 | 17.13 | 3.461 | 16.1365 | 3.415 | 351 | 23.73 | 967.135 | 77.8118 | 2.446
2020-07-13 18:45:00 | 3.016 | 358.5 | 3.985 | 18.41 | 3.845 | 17.3422 | 3.817 | 358 | 23.51 | 966.838 | 79.6182 | 2.276
2020-07-13 19:00:00 | 2.607 | 348.3 | 2.988 | 11.11 | 3.408 | 10.4656 | 3.522 | 345.8 | 23.3 | 966.7 | 82.0041 | 3.3069
2020-07-13 19:15:00 | 3.265 | 357.9 | 3.689 | 15.55 | 4.043 | 14.6481 | 4.146 | 358 | 22.98 | 966.527 | 83.3813 | 4.8218
2020-07-13 19:30:00 | 4.586 | 358.8 | 4.456 | 7.882 | 4.163 | 7.4248 | 4.202 | 11.57 | 22.81 | 966.391 | 82.8448 | 5.2652
2020-07-13 19:45:00 | 3.922 | 8.02 | 3.722 | 16.23 | 3.718 | 15.2887 | 3.7 | 4.626 | 22.74 | 966.243 | 83.7019 | 4.1382
2020-07-13 20:00:00 | 3.539 | 7.79 | 3.331 | 20.94 | 3.382 | 19.7255 | 3.206 | 7.824 | 22.66 | 966.391 | 84.9679 | 2.0543
2020-07-13 20:15:00 | 3.506 | 8.51 | 3.868 | 23.27 | 3.425 | 21.9203 | 3.562 | 12.8 | 22.5 | 966.391 | 85.5919 | 1.5777
2020-07-13 20:30:00 | 3.202 | 1.561 | 3.656 | 17.1 | 3.631 | 16.1082 | 3.094 | 8.86 | 22.47 | 966.391 | 85.5925 | 1.175
2020-07-13 20:45:00 | 2.306 | 11.77 | 3.497 | 31.74 | 4.168 | 29.8991 | 4.158 | 21.27 | 22.23 | 966.391 | 88.3887 | 0.65768
2020-07-13 21:00:00 | 2.684 | 33.01 | 3.837 | 47.01 | 4.127 | 44.2834 | 4.044 | 38.58 | 22.06 | 966.396 | 83.4782 | 1.005
2020-07-13 21:15:00 | 2.699 | 53.85 | 3.671 | 67.39 | 2.945 | 63.4814 | 2.969 | 59.84 | 22.48 | 966.46 | 78.8406 | 0.69833
2020-07-13 21:30:00 | 2.924 | 43.48 | 4.371 | 58.26 | 4.547 | 54.8809 | 4.494 | 48.25 | 22.66 | 967.003 | 78.2608 | 0.87937
2020-07-13 21:45:00 | 2.635 | 41.85 | 3.528 | 54.63 | 3.957 | 51.4615 | 3.949 | 47.46 | 22.51 | 967.073 | 78.8747 | 1.0641
2020-07-13 22:00:00 | 3.526 | 51.48 | 4.113 | 63.15 | 4.018 | 59.4873 | 4.082 | 56.24 | 22.59 | 966.904 | 77.8516 | 0.83134
2020-07-13 22:15:00 | 2.081 | 75.16 | 2.161 | 88.5 | 1.906 | 83.367 | 1.717 | 81.7 | 22.59 | 966.798 | 77.5447 | 0.59487
2020-07-13 22:30:00 | 1.721 | 75.52 | 1.583 | 82 | 1.722 | 77.244 | 1.86 | 81.9 | 22.58 | 966.747 | 76.2489 | 0.033254
2020-07-13 22:45:00 | 1.837 | 77.75 | 2.125 | 85.2 | 2.411 | 80.2584 | 2.511 | 93.9 | 22.71 | 966.736 | 73.9983 | -0.055423
2020-07-13 23:00:00 | 3.358 | 114.1 | 3.538 | 125.8 | 3.431 | 118.504 | 3.333 | 120.6 | 23.18 | 966.605 | 73.1117 | 0.11454
2020-07-13 23:15:00 | 4.175 | 119.5 | 4.272 | 134.4 | 4.003 | 126.605 | 3.878 | 125.3 | 23.34 | 966.693 | 71.7817 | 0.5025
2020-07-13 23:30:00 | 3.95 | 139 | 4.059 | 156.3 | 4.117 | 147.235 | 4 | 139.8 | 23.17 | 966.392 | 77.2037 | 1.7514
2020-07-13 23:45:00 | 3.125 | 145.6 | 3.382 | 166.3 | 4.425 | 156.655 | 4.367 | 148.6 | 22.45 | 966.392 | 79.7954 | 2.2649