## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-14 00:00:00 | 3.537 | 140.7 | 4.077 | 156.7 | 4.552 | 147.611 | 4.489 | 143 | 22.51 | 966.392 | 76.9309 | 2.0691
2020-07-14 00:15:00 | 3.843 | 133.9 | 3.863 | 151.6 | 3.804 | 142.807 | 3.725 | 135.6 | 22.84 | 965.976 | 74.1347 | 1.7255
2020-07-14 00:30:00 | 3.419 | 130.9 | 3.914 | 150.5 | 4.339 | 141.771 | 4.258 | 134.8 | 22.8 | 966.098 | 76.6581 | 1.223
2020-07-14 00:45:00 | 4.361 | 130.1 | 4.586 | 149.4 | 4.923 | 140.735 | 4.859 | 132.7 | 22.82 | 965.951 | 73.4527 | 1.7255
2020-07-14 01:00:00 | 3.537 | 124.3 | 3.919 | 144.2 | 4.682 | 135.836 | 4.612 | 129.9 | 22.58 | 965.947 | 70.7246 | 1.3819
2020-07-14 01:15:00 | 4.479 | 123.8 | 4.806 | 140.8 | 4.761 | 132.634 | 4.68 | 126.1 | 23.5 | 966.096 | 69.7698 | 0.69094
2020-07-14 01:30:00 | 3.215 | 147.4 | 3.177 | 164.4 | 3.27 | 154.865 | 3.206 | 149.5 | 22.3 | 965.947 | 80.6138 | 1.2304
2020-07-14 01:45:00 | 4.338 | 134.7 | 4.563 | 152.8 | 4.527 | 143.938 | 4.459 | 136.1 | 21.92 | 965.815 | 81.8414 | 3.2219
2020-07-14 02:00:00 | 3.503 | 142.8 | 3.725 | 160 | 4.127 | 150.72 | 4.118 | 142.3 | 21.56 | 965.727 | 84.1603 | 5.8194
2020-07-14 02:15:00 | 3.547 | 117.8 | 4.111 | 140.5 | 4.784 | 132.351 | 4.81 | 121.7 | 21.58 | 965.921 | 82.5259 | 4.9031
2020-07-14 02:30:00 | 3.238 | 127.8 | 3.858 | 150.2 | 4.687 | 141.488 | 4.673 | 129.2 | 21.46 | 965.945 | 83.0773 | 5.0841
2020-07-14 02:45:00 | 5.005 | 134.5 | 5.527 | 148.7 | 5.727 | 140.075 | 5.508 | 141.2 | 21.8 | 966.241 | 77.5523 | 3.7503
2020-07-14 03:00:00 | 4.139 | 124.1 | 4.982 | 135.8 | 4.656 | 127.924 | 4.451 | 131.4 | 22.59 | 966.538 | 72.5052 | 2.1615
2020-07-14 03:15:00 | 1.312 | 95.1 | 1.398 | 65.93 | 1.636 | 62.1061 | 1.496 | 122.1 | 21.88 | 966.565 | 76.8634 | 3.0298
2020-07-14 03:30:00 | 0.697 | 122.1 | 1.29 | 113.3 | 1.774 | 106.729 | 1.902 | 115.2 | 21.97 | 966.491 | 78.9775 | 2.749
2020-07-14 03:45:00 | 1.978 | 124.1 | 2.825 | 141.8 | 2.98 | 133.576 | 2.903 | 130.4 | 21.73 | 966.675 | 76.4578 | 3.0815
2020-07-14 04:00:00 | 1.727 | 129.7 | 2.866 | 144.5 | 3.906 | 136.119 | 3.85 | 136.5 | 21.94 | 966.377 | 80.8214 | 6.0965
2020-07-14 04:15:00 | 3.94 | 136.3 | 5.312 | 148.8 | 5.155 | 140.17 | 4.899 | 144.1 | 21.85 | 966.686 | 80.2741 | 8.4095
2020-07-14 04:30:00 | 4.466 | 134.5 | 5.184 | 146.9 | 4.606 | 138.38 | 4.38 | 144.7 | 21.95 | 966.681 | 77.9589 | 5.7787
2020-07-14 04:45:00 | 3.751 | 130.7 | 4.049 | 140.4 | 3.621 | 132.257 | 3.481 | 139.8 | 22.19 | 967.132 | 76.0121 | 6.3256
2020-07-14 05:00:00 | 2.275 | 143.2 | 3.121 | 156.1 | 3.835 | 147.046 | 3.69 | 152.7 | 22.05 | 966.941 | 79.1148 | 7.5153
2020-07-14 05:15:00 | 3.064 | 148 | 4.195 | 162.9 | 3.888 | 153.452 | 3.674 | 157.4 | 22.1 | 967.073 | 77.6821 | 6.1519
2020-07-14 05:30:00 | 3.386 | 143.6 | 4.338 | 156.1 | 4.054 | 147.046 | 3.809 | 152.1 | 22.23 | 966.981 | 77.6132 | 4.7294
2020-07-14 05:45:00 | 2.722 | 135.8 | 3.832 | 150 | 3.789 | 141.3 | 3.644 | 144 | 22.13 | 967.076 | 76.3854 | 3.5877
2020-07-14 06:00:00 | 2.274 | 141.3 | 2.541 | 154.7 | 2.909 | 145.727 | 2.865 | 152.8 | 22.55 | 966.895 | 75.4987 | 2.9854
2020-07-14 06:15:00 | 2.019 | 153 | 2.449 | 159.2 | 1.823 | 149.966 | 1.698 | 170.3 | 22.73 | 967.431 | 73.7937 | 1.1639
2020-07-14 06:30:00 | 1.928 | 154.8 | 2.242 | 164.8 | 1.54 | 155.242 | 1.355 | 156.6 | 22.84 | 967.727 | 72.6343 | 1.0937
2020-07-14 06:45:00 | 0 | 124.2 | 0.606 | 156.8 | 1.116 | 147.706 | 1.044 | 156.7 | 23.35 | 968.023 | 74.5995 | 1.9435
2020-07-14 07:00:00 | 1.725 | 157.1 | 2.283 | 176.5 | 1.803 | 166.263 | 1.833 | 173.4 | 23.35 | 968.468 | 73.1643 | 2.0506
2020-07-14 07:15:00 | 2.763 | 152.8 | 2.676 | 170.3 | 2.268 | 160.423 | 2.213 | 155.8 | 23.24 | 968.617 | 72.3368 | 1.7698
2020-07-14 07:30:00 | 3.057 | 146.7 | 3.195 | 164.5 | 2.902 | 154.959 | 2.824 | 151.4 | 23.28 | 968.792 | 75.8692 | 1.5038
2020-07-14 07:45:00 | 3.166 | 131.7 | 2.922 | 153.6 | 2.5 | 144.691 | 2.505 | 135.6 | 23.37 | 969.211 | 75.2556 | 0.85351
2020-07-14 08:00:00 | 1.697 | 131.6 | 2.017 | 150.1 | 1.604 | 141.394 | 1.531 | 131.9 | 23.13 | 968.766 | 76.6871 | 1.1676
2020-07-14 08:15:00 | 2.237 | 120.7 | 2.341 | 148 | 1.976 | 139.416 | 1.917 | 129.8 | 23.26 | 968.338 | 76.619 | 0.69833
2020-07-14 08:30:00 | 1.109 | 98.1 | 1.905 | 127.2 | 1.068 | 119.822 | 0.972 | 104.4 | 23.6 | 968.614 | 73.0402 | 0.82026
2020-07-14 08:45:00 | 3.184 | 130.7 | 3.346 | 151.8 | 2.983 | 142.996 | 2.915 | 134.9 | 23.29 | 967.899 | 77.574 | 1.755
2020-07-14 09:00:00 | 1.42 | 133.2 | 1.61 | 149.6 | 0.469 | 140.923 | 0.409 | 134.1 | 22.76 | 968.313 | 80.8247 | 0.50989
2020-07-14 09:15:00 | 1.768 | 112.1 | 1.645 | 150 | 1.754 | 141.3 | 1.91 | 115.8 | 22.8 | 968.616 | 79.1546 | -0.11454
2020-07-14 09:30:00 | 0.06 | 82.4 | 1.129 | 73.17 | 1.291 | 68.9261 | 1.368 | 98.7 | 23.49 | 968.765 | 77.5865 | -0.27342
2020-07-14 09:45:00 | 1.529 | 65.72 | 2.531 | 76.94 | 2.286 | 72.4775 | 2.205 | 83.3 | 23.68 | 969.204 | 68.2802 | -0.092371
2020-07-14 10:00:00 | 2.283 | 149.2 | 2.367 | 169 | 1.703 | 159.198 | 1.623 | 150.6 | 24.98 | 969.515 | 67.5529 | -0.12932
2020-07-14 10:15:00 | 1.503 | 166.5 | 1.699 | 191.6 | 0.885 | 180.487 | 0.75 | 157.3 | 25.69 | 969.34 | 65.563 | -0.1404
2020-07-14 10:30:00 | 4.499 | 162 | 3.735 | 177.3 | 3.008 | 167.017 | 2.961 | 168.7 | 25.02 | 969.361 | 69.4379 | 1.8991
2020-07-14 10:45:00 | 5.194 | 147.7 | 5.057 | 161.6 | 4.331 | 152.227 | 4.268 | 156.8 | 24.66 | 969.212 | 73.3901 | 1.9693
2020-07-14 11:00:00 | 5.903 | 193.7 | 5.68 | 208.9 | 4.646 | 196.784 | 4.563 | 196.3 | 24.41 | 968.619 | 71.8601 | 1.6479
2020-07-14 11:15:00 | 4.691 | 185.8 | 4.466 | 200.7 | 3.596 | 189.059 | 3.644 | 190.5 | 24.27 | 968.753 | 74.4342 | 0.99761
2020-07-14 11:30:00 | 3.325 | 172 | 3.129 | 195.2 | 3.214 | 183.878 | 3.163 | 168.9 | 24.24 | 968.914 | 74.8464 | 0.80548
2020-07-14 11:45:00 | 5.252 | 188.3 | 5.046 | 201.2 | 4.29 | 189.53 | 4.242 | 192.9 | 24.21 | 968.321 | 77.471 | 1.2415
2020-07-14 12:00:00 | 4.951 | 186 | 4.648 | 199.2 | 4.303 | 187.646 | 4.339 | 188.9 | 23.98 | 968.321 | 77.0961 | 0.75005
2020-07-14 12:15:00 | 4.969 | 179.4 | 4.788 | 195.5 | 3.853 | 184.161 | 3.764 | 182.9 | 23.95 | 968.266 | 75.7328 | 0.42121
2020-07-14 12:30:00 | 3.133 | 174.7 | 3.336 | 187.2 | 2.868 | 176.342 | 2.885 | 180.9 | 24.16 | 968.745 | 69.8023 | -0.17366
2020-07-14 12:45:00 | 3.263 | 153.5 | 3.344 | 172.3 | 2.83 | 162.307 | 2.803 | 161.9 | 24.26 | 968.909 | 72.2222 | -0.22908
2020-07-14 13:00:00 | 3.646 | 153.1 | 3.929 | 166.6 | 3.441 | 156.937 | 3.389 | 160.5 | 24.4 | 968.829 | 67.1438 | -0.062812
2020-07-14 13:15:00 | 3.465 | 159.2 | 3.691 | 176.9 | 3.512 | 166.64 | 3.529 | 164.1 | 24.75 | 968.915 | 62.1336 | -0.20322
2020-07-14 13:30:00 | 3.081 | 149.8 | 3.226 | 156.5 | 2.778 | 147.423 | 2.764 | 166.9 | 25 | 969.063 | 60.7362 | -0.29559
2020-07-14 13:45:00 | 3.36 | 141.3 | 3.395 | 159.2 | 2.401 | 149.966 | 2.358 | 146.4 | 25.18 | 968.915 | 65.2349 | -0.24016
2020-07-14 14:00:00 | 3.565 | 136.7 | 3.484 | 151.7 | 3.08 | 142.901 | 3.061 | 143.6 | 24.93 | 968.47 | 67.1046 | -0.27711
2020-07-14 14:15:00 | 4.369 | 150 | 4.331 | 166.6 | 3.802 | 156.937 | 3.718 | 154.9 | 24.55 | 968.321 | 71.0284 | 0.31776
2020-07-14 14:30:00 | 5.035 | 167.3 | 4.988 | 181.5 | 4.247 | 170.973 | 4.158 | 171.7 | 24.78 | 968.321 | 72.8016 | 2.095
2020-07-14 14:45:00 | 5.39 | 182.5 | 5.256 | 195.7 | 4.529 | 184.349 | 4.487 | 187.6 | 25.21 | 968.47 | 73.3771 | 2.9596
2020-07-14 15:00:00 | 5.533 | 179.3 | 5.489 | 193.5 | 4.331 | 182.277 | 4.191 | 183.6 | 25.11 | 968.025 | 71.5009 | 1.7255
2020-07-14 15:15:00 | 4.987 | 185.1 | 4.783 | 197.6 | 3.568 | 186.139 | 3.575 | 192.3 | 24.86 | 967.877 | 71.2333 | 1.7883
2020-07-14 15:30:00 | 4.154 | 146.1 | 4.277 | 160.3 | 3.746 | 151.003 | 3.679 | 155.5 | 24.79 | 967.877 | 73.3469 | 1.1232
2020-07-14 15:45:00 | 3.738 | 148.8 | 3.737 | 168.8 | 3.316 | 159.01 | 3.29 | 155 | 24.42 | 967.432 | 75.1193 | 0.27342
2020-07-14 16:00:00 | 3.605 | 146.6 | 3.704 | 163.2 | 3.453 | 153.734 | 3.389 | 150.1 | 24.39 | 967.322 | 74.5058 | 0.26972
2020-07-14 16:15:00 | 3.935 | 148.6 | 4.154 | 163.8 | 3.563 | 154.3 | 3.501 | 155 | 24.37 | 967.379 | 76.9598 | 1.3486
2020-07-14 16:30:00 | 4.244 | 142.4 | 4.486 | 157.8 | 4.14 | 148.648 | 4.074 | 147.9 | 24.21 | 967.52 | 77.5051 | 2.0802
2020-07-14 16:45:00 | 4.558 | 142.6 | 4.566 | 158.4 | 3.995 | 149.213 | 4.013 | 150 | 24.49 | 967.99 | 77.4369 | 2.9374
2020-07-14 17:00:00 | 5.528 | 187.8 | 5.213 | 205.3 | 4.097 | 193.393 | 4.161 | 186.7 | 25.2 | 967.581 | 70.5521 | 2.9189
2020-07-14 17:15:00 | 5.503 | 184.5 | 5.233 | 199.2 | 4.158 | 187.646 | 4.14 | 185.5 | 24.72 | 967.283 | 74.8125 | 4.6223
2020-07-14 17:30:00 | 6.583 | 185.5 | 6.159 | 201 | 4.967 | 189.342 | 4.94 | 188 | 24.77 | 967.432 | 77.5051 | 5.8231
2020-07-14 17:45:00 | 6.024 | 178.8 | 5.765 | 194.3 | 5.048 | 183.031 | 5.032 | 181.5 | 24.42 | 967.283 | 74.6421 | 5.7787
2020-07-14 18:00:00 | 6.003 | 177.8 | 6.038 | 192.7 | 5.391 | 181.523 | 5.36 | 180.6 | 24.35 | 966.987 | 79.6864 | 4.5484
2020-07-14 18:15:00 | 5.865 | 174.3 | 5.793 | 190 | 5.28 | 178.98 | 5.223 | 178.4 | 24 | 966.989 | 81.9359 | 3.4916
2020-07-14 18:30:00 | 5.561 | 173.2 | 5.496 | 188.6 | 4.949 | 177.661 | 4.96 | 178.5 | 23.87 | 966.811 | 81.6023 | 4.1271
2020-07-14 18:45:00 | 5.209 | 173.4 | 5.241 | 183.9 | 4.603 | 173.234 | 4.612 | 179.1 | 23.92 | 967.43 | 76.2911 | 2.8155
2020-07-14 19:00:00 | 5.306 | 169.3 | 5.261 | 185.6 | 4.99 | 174.835 | 4.973 | 173.3 | 23.95 | 966.984 | 79.9045 | 1.3782
2020-07-14 19:15:00 | 4.119 | 158.7 | 4.461 | 173.4 | 4.143 | 163.343 | 4.11 | 166.9 | 23.59 | 966.391 | 82.0182 | 3.1406
2020-07-14 19:30:00 | 5.13 | 172.1 | 5.338 | 185.9 | 5.269 | 175.118 | 5.294 | 176.8 | 23.54 | 966.243 | 81.4844 | 3.9572
2020-07-14 19:45:00 | 4.116 | 167.5 | 4.425 | 185.3 | 4.257 | 174.553 | 4.278 | 172.7 | 23.35 | 966.243 | 84.2823 | 2.494
2020-07-14 20:00:00 | 3.598 | 169.8 | 4.065 | 181.7 | 3.804 | 171.161 | 3.883 | 176.2 | 23.22 | 966.54 | 85.7825 | 0.34362
2020-07-14 20:15:00 | 3.228 | 169.9 | 3.564 | 184.8 | 3.532 | 174.082 | 3.646 | 174.8 | 23.07 | 966.391 | 88.309 | 0.21061
2020-07-14 20:30:00 | 3.825 | 165.1 | 4.203 | 177.2 | 3.944 | 166.922 | 3.983 | 173.8 | 22.97 | 966.391 | 89.4789 | 0.67616
2020-07-14 20:45:00 | 4.193 | 163 | 4.561 | 176.1 | 4.148 | 165.886 | 4.209 | 170.5 | 22.83 | 966.243 | 89.8194 | 1.2784
2020-07-14 21:00:00 | 4.323 | 164 | 4.653 | 179.7 | 4.522 | 169.277 | 4.578 | 169.5 | 22.8 | 966.243 | 90.4689 | 2.749
2020-07-14 21:15:00 | 4.675 | 162.2 | 4.865 | 178.9 | 4.784 | 168.524 | 4.808 | 168.1 | 22.78 | 966.391 | 90.2984 | 3.6911
2020-07-14 21:30:00 | 4.885 | 173 | 5.422 | 187.2 | 5.048 | 176.342 | 5.108 | 175.1 | 22.57 | 966.391 | 87.5021 | 4.2565
2020-07-14 21:45:00 | 5.395 | 175.1 | 5.793 | 187 | 5.572 | 176.154 | 5.668 | 179.5 | 22.71 | 966.391 | 84.2967 | 4.02
2020-07-14 22:00:00 | 4.91 | 173 | 5.269 | 183.7 | 5.269 | 173.045 | 5.33 | 179.9 | 22.53 | 966.838 | 85.8312 | 4.4597
2020-07-14 22:15:00 | 5.132 | 169.2 | 5.248 | 181.7 | 5.191 | 171.161 | 5.289 | 177.9 | 22.45 | 966.541 | 89.0366 | 4.323
2020-07-14 22:30:00 | 4.905 | 166.6 | 5.138 | 179.9 | 4.967 | 169.466 | 4.948 | 174.7 | 22.41 | 966.568 | 90.4348 | 3.0039
2020-07-14 22:45:00 | 5.482 | 172.2 | 5.665 | 183.1 | 5.173 | 172.48 | 5.213 | 177.3 | 22.33 | 966.446 | 92.0034 | 6.1926
2020-07-14 23:00:00 | 5.217 | 163 | 5.381 | 176 | 5.531 | 165.792 | 5.521 | 170.9 | 22.17 | 966.263 | 94.8678 | 6.7616
2020-07-14 23:15:00 | 5.697 | 165 | 5.939 | 177.2 | 5.964 | 166.922 | 6.089 | 171.5 | 21.78 | 966.144 | 96.5388 | 10.4712
2020-07-14 23:30:00 | 5.549 | 166.3 | 5.601 | 177 | 5.371 | 166.734 | 5.345 | 173.4 | 21.71 | 966.2 | 96.6411 | 8.7937
2020-07-14 23:45:00 | 5.799 | 170.9 | 5.795 | 179.5 | 5.702 | 169.089 | 5.714 | 178.5 | 21.6 | 966.081 | 97.8693 | 10.0721