## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-15 00:00:00 | 5.62 | 165.9 | 5.78 | 177.2 | 5.714 | 166.922 | 5.671 | 175.5 | 21.5 | 966.089 | 97.8724 | 9.4921
2020-07-15 00:15:00 | 5.099 | 161.6 | 5.371 | 172.2 | 5.564 | 162.212 | 5.561 | 169.6 | 21.42 | 965.945 | 99.721 | 8.5905
2020-07-15 00:30:00 | 4.852 | 165.2 | 5.028 | 177.5 | 5.074 | 167.205 | 5.052 | 172.8 | 21.33 | 965.945 | 99.4529 | 8.5351
2020-07-15 00:45:00 | 4.476 | 162.2 | 4.763 | 175.4 | 5.102 | 165.227 | 5.134 | 169 | 21.5 | 966.241 | 98.9765 | 7.2197
2020-07-15 01:00:00 | 4.19 | 162.3 | 4.476 | 175.2 | 4.367 | 165.038 | 4.377 | 171.9 | 21.33 | 965.648 | 99.045 | 7.0128
2020-07-15 01:15:00 | 4.31 | 163.3 | 4.53 | 178.5 | 4.242 | 168.147 | 4.242 | 171.1 | 21.35 | 965.945 | 99.7254 | 5.6827
2020-07-15 01:30:00 | 3.994 | 174.6 | 4.407 | 183.6 | 3.934 | 172.951 | 4.041 | 182.2 | 21.32 | 965.648 | 99.9318 | 6.0374
2020-07-15 01:45:00 | 4.474 | 165.8 | 4.803 | 177.9 | 5.051 | 167.582 | 5.116 | 175.3 | 21.19 | 965.499 | 99.8977 | 5.8674
2020-07-15 02:00:00 | 4.068 | 162.4 | 4.41 | 173.7 | 4.702 | 163.625 | 4.741 | 171.7 | 21.09 | 965.648 | 99.9318 | 3.281
2020-07-15 02:15:00 | 3.031 | 156.7 | 3.704 | 166.8 | 4.305 | 157.126 | 4.324 | 164.7 | 21.05 | 965.648 | 99.8635 | 1.4373
2020-07-15 02:30:00 | 1.584 | 165.7 | 2.468 | 176.6 | 3.514 | 166.357 | 3.72 | 169.6 | 21.11 | 965.648 | 99.8635 | 2.2502
2020-07-15 02:45:00 | 3.166 | 166.3 | 3.571 | 179.5 | 3.324 | 169.089 | 3.28 | 171.7 | 21 | 965.499 | 99.8977 | 2.6529
2020-07-15 03:00:00 | 3.554 | 154.1 | 3.998 | 166 | 4.27 | 156.372 | 4.301 | 161.8 | 20.99 | 965.499 | 99.8635 | 3.414
2020-07-15 03:15:00 | 3.71 | 162.6 | 4.254 | 175.9 | 3.853 | 165.698 | 3.822 | 170.3 | 20.84 | 965.499 | 99.8635 | 3.8722
2020-07-15 03:30:00 | 4.351 | 158.1 | 4.87 | 169.8 | 4.969 | 159.952 | 4.892 | 165.6 | 20.79 | 965.351 | 99.8635 | 3.8242
2020-07-15 03:45:00 | 4.274 | 156.1 | 4.819 | 167.1 | 4.883 | 157.408 | 4.856 | 166.6 | 20.78 | 965.351 | 99.8977 | 3.1406
2020-07-15 04:00:00 | 3.457 | 144.8 | 3.612 | 153.7 | 3.746 | 144.785 | 3.654 | 157.8 | 20.68 | 965.351 | 99.9318 | 2.627
2020-07-15 04:15:00 | 3.784 | 150.7 | 4.328 | 158.2 | 4.196 | 149.024 | 4.072 | 160.8 | 20.71 | 965.054 | 99.8635 | 5.7935
2020-07-15 04:30:00 | 3.343 | 147 | 3.855 | 160.9 | 4.522 | 151.568 | 4.372 | 154.7 | 20.62 | 965.203 | 99.8635 | 6.8687
2020-07-15 04:45:00 | 4.486 | 141.1 | 5.21 | 159.6 | 5.025 | 150.343 | 4.719 | 151 | 20.66 | 965.499 | 99.8977 | 7.1643
2020-07-15 05:00:00 | 4.16 | 139.2 | 4.803 | 156.4 | 4.639 | 147.329 | 4.309 | 147 | 20.9 | 965.499 | 99.5225 | 7.0498
2020-07-15 05:15:00 | 3.245 | 141 | 4.369 | 155.3 | 3.832 | 146.293 | 3.662 | 151 | 20.84 | 965.499 | 96.1118 | 6.2332
2020-07-15 05:30:00 | 2.571 | 141.9 | 3.51 | 153.3 | 3.141 | 144.409 | 2.915 | 152.8 | 21.24 | 965.351 | 95.3615 | 4.8292
2020-07-15 05:45:00 | 3.34 | 160 | 4.103 | 179 | 3.774 | 168.618 | 3.598 | 164.2 | 21.33 | 965.648 | 98.2264 | 4.4929
2020-07-15 06:00:00 | 3.846 | 156.5 | 4.121 | 172.7 | 4.107 | 162.683 | 4.033 | 163.4 | 20.94 | 965.796 | 99.8977 | 4.0754
2020-07-15 06:15:00 | 4.249 | 166.8 | 4.241 | 181.8 | 3.84 | 171.256 | 3.73 | 169.9 | 20.73 | 965.648 | 99.8977 | 4.7405
2020-07-15 06:30:00 | 2.607 | 152.9 | 3.024 | 171.2 | 3.146 | 161.27 | 3.137 | 154 | 20.72 | 965.945 | 99.8609 | 3.9387
2020-07-15 06:45:00 | 2.186 | 149.5 | 2.82 | 171.3 | 2.718 | 161.365 | 2.674 | 155.3 | 21.24 | 966.123 | 96.5746 | 3.7022
2020-07-15 07:00:00 | 3.138 | 155.4 | 3.17 | 173.5 | 2.863 | 163.437 | 2.819 | 157.3 | 21.91 | 966.837 | 94.8567 | 3.4325
2020-07-15 07:15:00 | 3.291 | 158.1 | 3.116 | 176.1 | 2.795 | 165.886 | 2.753 | 158.2 | 22.39 | 966.985 | 91.3614 | 3.7429
2020-07-15 07:30:00 | 3.93 | 153.4 | 3.788 | 173.8 | 3.614 | 163.72 | 3.545 | 156.7 | 22.39 | 966.985 | 92.4818 | 3.4325
2020-07-15 07:45:00 | 3.531 | 147 | 3.395 | 167.8 | 3.326 | 158.068 | 3.147 | 154.2 | 22.43 | 966.944 | 90.7977 | 1.4447
2020-07-15 08:00:00 | 3.943 | 160.3 | 3.714 | 173.9 | 3.019 | 163.814 | 2.877 | 165.1 | 22.58 | 967.284 | 89.3661 | 1.2304
2020-07-15 08:15:00 | 3.138 | 144.6 | 2.955 | 161.5 | 2.301 | 152.133 | 2.202 | 151.6 | 23.08 | 967.432 | 87.2522 | 0.43599
2020-07-15 08:30:00 | 2.776 | 153.9 | 2.331 | 164.5 | 1.278 | 154.959 | 0.98 | 151.3 | 23.26 | 967.728 | 81.2833 | 0.3547
2020-07-15 08:45:00 | 3.45 | 165.8 | 3.062 | 178.8 | 2.54 | 168.43 | 2.485 | 177.2 | 23.63 | 968.025 | 83.0573 | 1.1934
2020-07-15 09:00:00 | 4.223 | 153.4 | 3.906 | 167.6 | 3.151 | 157.879 | 3.084 | 163.6 | 23.22 | 967.728 | 90.0465 | 0.83873
2020-07-15 09:15:00 | 3.733 | 152.1 | 3.587 | 169.9 | 3.138 | 160.046 | 3.017 | 161.2 | 22.87 | 967.432 | 91.2032 | 0.20322
2020-07-15 09:30:00 | 3.759 | 154.9 | 3.576 | 169.8 | 2.912 | 159.952 | 2.809 | 162.4 | 22.95 | 967.58 | 90.1159 | 0.32145
2020-07-15 09:45:00 | 4.573 | 183 | 3.99 | 196 | 3.138 | 184.632 | 3.119 | 186 | 23.63 | 967.877 | 85.1738 | 0.20691
2020-07-15 10:00:00 | 4.76 | 190.3 | 4.387 | 205.3 | 3.565 | 193.393 | 3.501 | 198.1 | 24.17 | 967.432 | 80.9773 | 0.12193
2020-07-15 10:15:00 | 4.208 | 188.6 | 4.111 | 208 | 3.42 | 195.936 | 3.361 | 188.4 | 24.16 | 967.58 | 78.5588 | 0.72789
2020-07-15 10:30:00 | 4.897 | 196.1 | 4.798 | 207 | 4.069 | 194.994 | 4.069 | 198.5 | 23.94 | 967.135 | 78.1842 | 0.88307
2020-07-15 10:45:00 | 4.474 | 187 | 4.274 | 202.4 | 3.624 | 190.661 | 3.636 | 190.7 | 24.49 | 967.728 | 76.9227 | 0.58748
2020-07-15 11:00:00 | 4.147 | 183 | 4.003 | 196 | 3.481 | 184.632 | 3.501 | 187.3 | 24.94 | 968.025 | 72.1848 | 0.20691
2020-07-15 11:15:00 | 4.609 | 187.5 | 4.244 | 195.6 | 3.682 | 184.255 | 3.769 | 197.1 | 25.24 | 967.728 | 70.004 | 0.4988
2020-07-15 11:30:00 | 4.346 | 187.4 | 4.379 | 199.3 | 3.431 | 187.741 | 3.371 | 194.2 | 25.57 | 967.968 | 65.9784 | -0.17366
2020-07-15 11:45:00 | 3.165 | 190.5 | 3.085 | 203.8 | 2.274 | 191.98 | 2.205 | 195.2 | 25.94 | 967.596 | 63.4439 | -0.25494
2020-07-15 12:00:00 | 3.943 | 169.5 | 4.077 | 189 | 3.595 | 178.038 | 3.488 | 171.2 | 26.36 | 967.582 | 61.9421 | -0.22539
2020-07-15 12:15:00 | 4.303 | 152 | 4.236 | 170 | 3.527 | 160.14 | 3.435 | 160.9 | 26.67 | 967.582 | 60.1704 | -0.22908
2020-07-15 12:30:00 | 2.793 | 147.7 | 3.211 | 158.8 | 3.003 | 149.59 | 3.007 | 155.3 | 26.34 | 967.285 | 62.2493 | -0.20691
2020-07-15 12:45:00 | 4.04 | 150.3 | 3.845 | 169 | 3.593 | 159.198 | 3.578 | 152.3 | 26.69 | 967.37 | 60.2462 | 0.16627
2020-07-15 13:00:00 | 5.007 | 185.2 | 4.975 | 200.5 | 4.232 | 188.871 | 4.283 | 185.8 | 26.79 | 967.067 | 55.4844 | 0.93849
2020-07-15 13:15:00 | 4.729 | 137.4 | 4.41 | 149.9 | 3.998 | 141.206 | 3.988 | 146.7 | 26.73 | 967.281 | 60.1891 | 1.7403
2020-07-15 13:30:00 | 3.728 | 135.9 | 3.955 | 153.7 | 3.967 | 144.785 | 3.944 | 144.5 | 26.75 | 967.269 | 59.1664 | 1.3745
2020-07-15 13:45:00 | 3.437 | 166 | 3.4 | 182 | 2.657 | 171.444 | 2.747 | 165.6 | 26.97 | 967.209 | 60.6641 | 1.5888
2020-07-15 14:00:00 | 3.812 | 141.2 | 3.957 | 156.7 | 3.403 | 147.611 | 3.361 | 146.9 | 26.86 | 967.857 | 63.4537 | 2.0063
2020-07-15 14:15:00 | 5.924 | 199.1 | 5.606 | 207.3 | 4.855 | 195.277 | 4.938 | 203.2 | 27.17 | 966.842 | 61.9766 | 3.717
2020-07-15 14:30:00 | 5.247 | 194.2 | 5.149 | 207.4 | 4.341 | 195.371 | 4.281 | 192.8 | 27.35 | 966.84 | 59.2845 | 3.0224
2020-07-15 14:45:00 | 4.609 | 146.7 | 4.829 | 159.4 | 3.873 | 150.155 | 3.766 | 156.9 | 27.39 | 966.84 | 59.9659 | 3.5766
2020-07-15 15:00:00 | 4.795 | 155.7 | 4.681 | 172.5 | 4.305 | 162.495 | 4.321 | 156.1 | 27.27 | 967.433 | 60.8518 | 3.5027
2020-07-15 15:15:00 | 4.576 | 186.4 | 4.346 | 199.5 | 3.779 | 187.929 | 3.83 | 191.4 | 27.51 | 966.84 | 58.7394 | 3.0261
2020-07-15 15:30:00 | 4.045 | 189.2 | 4.131 | 207.9 | 4.082 | 195.842 | 4.153 | 191 | 27.59 | 966.396 | 57.5809 | 2.5125
2020-07-15 15:45:00 | 4.379 | 156.2 | 4.586 | 168.2 | 4.237 | 158.444 | 4.316 | 166.4 | 27.36 | 966.84 | 54.7189 | 2.446
2020-07-15 16:00:00 | 4.775 | 188.9 | 4.717 | 201.1 | 4.077 | 189.436 | 4.26 | 195 | 27.88 | 966.84 | 53.6968 | 3.7466
2020-07-15 16:15:00 | 5.439 | 191.8 | 5.473 | 202.2 | 4.893 | 190.472 | 4.943 | 197.3 | 27.94 | 966.396 | 51.3796 | 3.5064
2020-07-15 16:30:00 | 6.437 | 180.5 | 6.169 | 193.1 | 5.353 | 181.9 | 5.335 | 182.3 | 27.81 | 966.544 | 50.6303 | 3.451
2020-07-15 16:45:00 | 4.53 | 183 | 4.665 | 194.6 | 4.387 | 183.313 | 4.441 | 188.8 | 27.92 | 966.544 | 50.7325 | 2.9078
2020-07-15 17:00:00 | 4.892 | 178.2 | 4.857 | 190.7 | 4.26 | 179.639 | 4.278 | 185.1 | 27.84 | 966.544 | 51.1755 | 2.5642
2020-07-15 17:15:00 | 4.632 | 191.4 | 4.673 | 208 | 4.377 | 195.936 | 4.474 | 195.3 | 27.91 | 966.396 | 52.5043 | 3.2441
2020-07-15 17:30:00 | 5.796 | 187 | 5.614 | 201 | 5.025 | 189.342 | 5.093 | 191.5 | 27.59 | 966.248 | 53.4242 | 3.802
2020-07-15 17:45:00 | 5.487 | 179.8 | 5.184 | 195.6 | 4.707 | 184.255 | 4.734 | 182.8 | 27.72 | 966.099 | 53.5605 | 3.063
2020-07-15 18:00:00 | 4.989 | 182.4 | 4.913 | 196.7 | 4.227 | 185.291 | 4.247 | 185.3 | 27.6 | 965.951 | 54.8552 | 2.7305
2020-07-15 18:15:00 | 4.172 | 164.2 | 4.389 | 180.5 | 3.937 | 170.031 | 4.044 | 171.5 | 27.3 | 965.803 | 55.8092 | 2.0285
2020-07-15 18:30:00 | 3.777 | 167.6 | 3.829 | 187.3 | 3.624 | 176.437 | 3.677 | 167.9 | 27.26 | 965.739 | 56.195 | 1.223
2020-07-15 18:45:00 | 3.84 | 173.8 | 3.944 | 188.6 | 3.637 | 177.661 | 3.654 | 180.4 | 27.1 | 965.344 | 56.6451 | 0.76853
2020-07-15 19:00:00 | 4.142 | 175 | 4.346 | 187.7 | 4.003 | 176.813 | 4.11 | 181 | 26.93 | 965.355 | 58.4489 | 0.65768
2020-07-15 19:15:00 | 3.777 | 173.1 | 3.732 | 185.4 | 3.698 | 174.647 | 3.799 | 177.6 | 26.71 | 965.207 | 59.1683 | 0.19952
2020-07-15 19:30:00 | 3.325 | 167.5 | 3.727 | 181.1 | 3.527 | 170.596 | 3.664 | 175 | 26.56 | 965.059 | 62.3722 | 0.0073897
2020-07-15 19:45:00 | 2.288 | 181.8 | 3.009 | 193.3 | 2.899 | 182.089 | 3.05 | 191.8 | 26.19 | 964.89 | 64.1445 | -0.062812
2020-07-15 20:00:00 | 2.061 | 189.9 | 3.108 | 198 | 2.866 | 186.516 | 3.012 | 194.9 | 26.02 | 965.19 | 66.0598 | 0.24386
2020-07-15 20:15:00 | 1.885 | 182.9 | 2.802 | 194.5 | 2.79 | 183.219 | 2.974 | 190.2 | 25.92 | 965.205 | 66.4733 | 0.39165
2020-07-15 20:30:00 | 2.094 | 193.9 | 2.871 | 204.8 | 3.054 | 192.922 | 3.252 | 197.9 | 25.76 | 965.65 | 66.6098 | 0.27711
2020-07-15 20:45:00 | 1.385 | 186.6 | 2.467 | 192.6 | 2.599 | 181.429 | 2.791 | 191.5 | 25.79 | 965.353 | 66.7462 | 0.16996
2020-07-15 21:00:00 | 2.73 | 174 | 3.489 | 182.7 | 3.286 | 172.103 | 3.415 | 179.7 | 25.73 | 965.205 | 66.3371 | 0.41752
2020-07-15 21:15:00 | 3.087 | 166.9 | 3.765 | 178.3 | 3.576 | 167.959 | 3.72 | 175.8 | 25.83 | 965.501 | 66.1326 | 0.30298
2020-07-15 21:30:00 | 3.823 | 167.9 | 4.231 | 181.2 | 4.031 | 170.69 | 4.133 | 175.2 | 25.79 | 965.353 | 67.4962 | 0.61334
2020-07-15 21:45:00 | 3.646 | 165.6 | 4.169 | 178.3 | 4.326 | 167.959 | 4.408 | 173.1 | 25.54 | 965.353 | 69.4733 | 1.2156
2020-07-15 22:00:00 | 4.351 | 164.6 | 4.678 | 175.3 | 4.392 | 165.133 | 4.454 | 174.5 | 25.37 | 965.353 | 65.6565 | 3.0409
2020-07-15 22:15:00 | 4.241 | 167.9 | 4.405 | 179.2 | 4.43 | 168.806 | 4.54 | 175.8 | 25.5 | 965.205 | 64.8382 | 3.6283
2020-07-15 22:30:00 | 4.387 | 167.2 | 4.614 | 180.1 | 4.672 | 169.654 | 4.808 | 175.2 | 25.33 | 965.205 | 65.0434 | 4.4671
2020-07-15 22:45:00 | 4.116 | 167 | 4.821 | 178.2 | 5.081 | 167.864 | 5.167 | 178.3 | 25.27 | 965.205 | 65.5217 | 4.1715
2020-07-15 23:00:00 | 4.208 | 162.7 | 5.034 | 174.7 | 5.447 | 164.567 | 5.541 | 171.8 | 25.06 | 965.353 | 67.8086 | 5.5607
2020-07-15 23:15:00 | 5.155 | 163.3 | 5.519 | 176.4 | 5.465 | 166.169 | 5.561 | 170.5 | 25.2 | 965.205 | 64.332 | 5.7418
2020-07-15 23:30:00 | 4.793 | 168.6 | 5.248 | 179.9 | 5.519 | 169.466 | 5.615 | 175.5 | 25.21 | 965.353 | 63.344 | 5.0472
2020-07-15 23:45:00 | 4.798 | 171.4 | 4.783 | 179.8 | 4.896 | 169.372 | 5.039 | 179.8 | 25.05 | 965.501 | 65.4597 | 3.7244