## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-16 00:00:00 | 4.56 | 163.1 | 5.121 | 173.1 | 5.259 | 163.06 | 5.381 | 172.3 | 24.67 | 965.501 | 66.7555 | 5.5423
2020-07-16 00:15:00 | 4.987 | 163.4 | 5.44 | 172.6 | 5.422 | 162.589 | 5.554 | 175.5 | 24.46 | 965.057 | 65.7331 | 6.1482
2020-07-16 00:30:00 | 4.882 | 159.8 | 5.144 | 170 | 5.068 | 160.14 | 5.177 | 168.9 | 24.39 | 965.057 | 69.076 | 5.775
2020-07-16 00:45:00 | 5.01 | 164.1 | 5.496 | 174.1 | 5.684 | 164.002 | 5.803 | 174.3 | 24.14 | 965.205 | 70.508 | 6.5694
2020-07-16 01:00:00 | 5.219 | 165.2 | 5.829 | 174.7 | 5.997 | 164.567 | 6.096 | 177.1 | 24.05 | 965.205 | 68.7351 | 6.8244
2020-07-16 01:15:00 | 5.247 | 160.9 | 5.486 | 170.4 | 5.768 | 160.517 | 5.938 | 171.6 | 24.02 | 965.057 | 69.8261 | 7.3823
2020-07-16 01:30:00 | 5.538 | 161 | 5.967 | 170.9 | 6.027 | 160.988 | 6.114 | 171.2 | 23.87 | 964.908 | 70.0307 | 7.5597
2020-07-16 01:45:00 | 5.102 | 160.6 | 5.573 | 169.5 | 5.961 | 159.669 | 6.122 | 171.2 | 23.88 | 964.76 | 69.7579 | 7.5079
2020-07-16 02:00:00 | 5.291 | 162.4 | 5.747 | 171.7 | 6.218 | 161.741 | 6.351 | 170.6 | 23.82 | 964.76 | 70.4398 | 8.875
2020-07-16 02:15:00 | 5.204 | 157.3 | 5.714 | 170.6 | 5.994 | 160.705 | 6.094 | 166.6 | 23.73 | 964.612 | 69.8945 | 11.1843
2020-07-16 02:30:00 | 5.674 | 158.3 | 6.153 | 170.8 | 6.371 | 160.894 | 6.438 | 167.6 | 23.62 | 964.463 | 70.1711 | 11.6055
2020-07-16 02:45:00 | 5.457 | 162.9 | 6.013 | 173.9 | 6.714 | 163.814 | 6.812 | 172.2 | 23.57 | 964.463 | 70.4421 | 10.4601
2020-07-16 03:00:00 | 6.036 | 158.3 | 6.363 | 169.9 | 6.332 | 160.046 | 6.402 | 166.6 | 23.62 | 964.76 | 71.4011 | 10.2052
2020-07-16 03:15:00 | 5.518 | 163.2 | 6.102 | 171.5 | 6.589 | 161.553 | 6.715 | 174.8 | 23.41 | 964.463 | 73.6526 | 11.3469
2020-07-16 03:30:00 | 5.753 | 164.3 | 6.386 | 173.1 | 6.704 | 163.06 | 6.82 | 176.2 | 23.31 | 964.315 | 74.576 | 12.1043
2020-07-16 03:45:00 | 5.426 | 158.7 | 5.977 | 166.4 | 6.063 | 156.749 | 6.249 | 171.2 | 23.18 | 964.463 | 75.224 | 10.5673
2020-07-16 04:00:00 | 5.684 | 162.5 | 6.102 | 170.1 | 6.371 | 160.234 | 6.455 | 175.6 | 23.22 | 964.612 | 75.4305 | 11.0254
2020-07-16 04:15:00 | 4.844 | 165.4 | 5.693 | 171 | 6.058 | 161.082 | 6.16 | 176.2 | 23.2 | 964.463 | 75.2941 | 10.0574
2020-07-16 04:30:00 | 4.852 | 160.6 | 5.412 | 166.9 | 5.684 | 157.22 | 5.824 | 173.5 | 23.18 | 964.463 | 74.2711 | 9.1854
2020-07-16 04:45:00 | 5.25 | 164.4 | 5.898 | 173.3 | 6.06 | 163.249 | 6.101 | 176.5 | 23.27 | 964.612 | 74.2029 | 10.7742
2020-07-16 05:00:00 | 4.91 | 158.8 | 5.507 | 167 | 5.737 | 157.314 | 5.816 | 169.5 | 23.3 | 964.612 | 74.5439 | 9.1373
2020-07-16 05:15:00 | 5.017 | 156.2 | 5.422 | 163.5 | 5.554 | 154.017 | 5.635 | 168.7 | 23.35 | 964.612 | 73.7937 | 9.2149
2020-07-16 05:30:00 | 4.933 | 159.5 | 5.524 | 169.5 | 5.483 | 159.669 | 5.582 | 170 | 23.3 | 965.057 | 75.6341 | 7.5412
2020-07-16 05:45:00 | 4.287 | 165.2 | 4.814 | 170.3 | 4.794 | 160.423 | 4.925 | 175.4 | 23.2 | 965.057 | 75.9062 | 7.9218
2020-07-16 06:00:00 | 4.548 | 169.1 | 5.302 | 180.7 | 5.552 | 170.219 | 5.635 | 177.8 | 23.15 | 965.353 | 76.3766 | 8.5203
2020-07-16 06:15:00 | 3.577 | 162.5 | 4.141 | 171 | 4.453 | 161.082 | 4.586 | 173.6 | 23.08 | 965.65 | 74.804 | 5.5866
2020-07-16 06:30:00 | 3.526 | 155 | 3.911 | 163.9 | 4.074 | 154.394 | 4.235 | 168.4 | 23.35 | 965.947 | 75.0767 | 5.3612
2020-07-16 06:45:00 | 3.197 | 152.2 | 3.712 | 161 | 3.822 | 151.662 | 3.944 | 165.8 | 23.4 | 965.798 | 75.0689 | 4.759
2020-07-16 07:00:00 | 4.328 | 151.4 | 4.397 | 160.7 | 3.914 | 151.379 | 3.995 | 160.3 | 23.62 | 965.947 | 74.1095 | 5.7196
2020-07-16 07:15:00 | 2.885 | 143.8 | 3.589 | 157.4 | 3.863 | 148.271 | 3.911 | 156.3 | 23.83 | 966.357 | 74.0369 | 4.6998
2020-07-16 07:30:00 | 3.72 | 141 | 4.031 | 153 | 3.927 | 144.126 | 3.97 | 149.8 | 24.14 | 966.115 | 73.1766 | 4.5188
2020-07-16 07:45:00 | 3.771 | 135.6 | 4.238 | 152.5 | 4.077 | 143.655 | 4.082 | 144 | 24.37 | 966.245 | 71.0293 | 2.9411
2020-07-16 08:00:00 | 3.56 | 136 | 3.845 | 148.2 | 3.242 | 139.604 | 3.292 | 145.8 | 24.56 | 966.097 | 70.0025 | 1.8548
2020-07-16 08:15:00 | 4.336 | 135.9 | 4.517 | 156 | 4.201 | 146.952 | 4.227 | 139.7 | 24.79 | 966.233 | 70.277 | 1.9324
2020-07-16 08:30:00 | 4.343 | 145 | 4.463 | 162.9 | 4.346 | 153.452 | 4.311 | 149.1 | 24.78 | 965.855 | 71.7671 | 2.4756
2020-07-16 08:45:00 | 4.601 | 144.8 | 4.704 | 160.5 | 4.097 | 151.191 | 4.003 | 153.1 | 24.68 | 965.954 | 72.0275 | 1.489
2020-07-16 09:00:00 | 4.795 | 142.3 | 4.617 | 157.3 | 3.99 | 148.177 | 4.026 | 150 | 24.81 | 966.099 | 72.2658 | 2.2908
2020-07-16 09:15:00 | 4.272 | 155.1 | 4.185 | 160 | 3.42 | 150.72 | 3.499 | 164.6 | 24.87 | 966.544 | 70.5963 | 2.0174
2020-07-16 09:30:00 | 4.629 | 137.7 | 4.602 | 152.4 | 3.769 | 143.561 | 3.728 | 143.8 | 25.25 | 966.544 | 71.414 | 3.3475
2020-07-16 09:45:00 | 4.619 | 139.6 | 4.602 | 154.5 | 4.163 | 145.539 | 4.194 | 144.4 | 25.46 | 966.248 | 70.2556 | 4.7737
2020-07-16 10:00:00 | 5.023 | 134.3 | 4.965 | 151.8 | 4.45 | 142.996 | 4.38 | 143.7 | 25.68 | 966.84 | 70.6985 | 6.381
2020-07-16 10:15:00 | 4.836 | 133.3 | 5.287 | 149.1 | 4.784 | 140.452 | 4.808 | 138.7 | 26.01 | 966.692 | 69.983 | 7.6409
2020-07-16 10:30:00 | 6.021 | 137.5 | 6.343 | 152.9 | 6.045 | 144.032 | 6.02 | 143.3 | 25.96 | 966.396 | 68.4838 | 10.4379
2020-07-16 10:45:00 | 5.403 | 130.4 | 5.448 | 142.6 | 4.954 | 134.329 | 4.922 | 138.6 | 26.32 | 966.84 | 64.8041 | 11.1067
2020-07-16 11:00:00 | 5.324 | 142.2 | 5.473 | 158.7 | 4.679 | 149.495 | 4.66 | 145.2 | 26.48 | 966.84 | 64.6678 | 11.0698
2020-07-16 11:15:00 | 4.749 | 136.1 | 4.949 | 156.2 | 4.359 | 147.14 | 4.359 | 142.5 | 26.79 | 966.692 | 61.0903 | 11.7496
2020-07-16 11:30:00 | 6.866 | 133.2 | 6.872 | 150.1 | 6.498 | 141.394 | 6.389 | 140.1 | 26.75 | 966.692 | 63.9523 | 13.6414
2020-07-16 11:45:00 | 6.805 | 135.9 | 6.856 | 151 | 6.266 | 142.242 | 6.198 | 144.4 | 27.07 | 966.989 | 63.5775 | 8.8233
2020-07-16 12:00:00 | 5.109 | 131.7 | 5.021 | 144.7 | 4.349 | 136.307 | 4.349 | 138.2 | 27.05 | 966.692 | 62.862 | 11.7792
2020-07-16 12:15:00 | 5.209 | 145.8 | 5.276 | 164.5 | 4.779 | 154.959 | 4.846 | 151.6 | 27.23 | 966.84 | 63.1687 | 11.8161
2020-07-16 12:30:00 | 4.568 | 165.8 | 4.576 | 180 | 4.021 | 169.56 | 4.097 | 167 | 27.4 | 966.544 | 63.7479 | 13.7448
2020-07-16 12:45:00 | 5.109 | 142.8 | 5.151 | 155.4 | 5.058 | 146.387 | 4.999 | 149.7 | 27.45 | 966.544 | 60.4429 | 15.2671
2020-07-16 13:00:00 | 6.468 | 182.9 | 6.279 | 196.3 | 6.02 | 184.915 | 6.239 | 190.1 | 27.86 | 966.099 | 57.3084 | 15.5996
2020-07-16 13:15:00 | 8.1 | 182.6 | 7.836 | 199 | 7.342 | 187.458 | 7.382 | 184.9 | 27.87 | 966.099 | 58.4668 | 16.1206
2020-07-16 13:30:00 | 7.305 | 185.8 | 7.396 | 199 | 6.933 | 187.458 | 7.005 | 188.3 | 27.96 | 966.099 | 57.4787 | 16.1834
2020-07-16 13:45:00 | 4.072 | 159.8 | 4.259 | 175.7 | 4.066 | 165.509 | 3.949 | 166.2 | 28.13 | 966.396 | 55.0256 | 15.6477
2020-07-16 14:00:00 | 5.898 | 176.1 | 5.555 | 188.6 | 4.946 | 177.661 | 4.948 | 179.9 | 28.25 | 966.248 | 57.5469 | 15.9359
2020-07-16 14:15:00 | 6.958 | 191 | 6.936 | 204.8 | 6.083 | 192.922 | 6.152 | 192.2 | 28.11 | 966.396 | 56.7632 | 12.1893
2020-07-16 14:30:00 | 7.75 | 188.9 | 7.462 | 202.7 | 6.572 | 190.943 | 6.623 | 191.5 | 28.39 | 966.248 | 56.3544 | 13.1426
2020-07-16 14:45:00 | 7.042 | 180.9 | 6.624 | 193.8 | 5.6 | 182.56 | 5.712 | 188.2 | 28.53 | 965.951 | 56.7291 | 14.942
2020-07-16 15:00:00 | 7.775 | 190.8 | 7.319 | 205.8 | 6.231 | 193.864 | 6.234 | 189.9 | 28.53 | 965.803 | 55.2641 | 19.2871
2020-07-16 15:15:00 | 6.169 | 179.8 | 6.095 | 191.7 | 5.529 | 180.581 | 5.623 | 186.9 | 28.46 | 965.655 | 54.3782 | 18.404
2020-07-16 15:30:00 | 6.394 | 191.7 | 6.207 | 199.9 | 5.038 | 188.306 | 5.037 | 195 | 28.55 | 966.248 | 56.0818 | 13.5712
2020-07-16 15:45:00 | 6.69 | 186.1 | 6.711 | 197 | 6.015 | 185.574 | 5.959 | 189.3 | 28.49 | 965.951 | 54.4804 | 11.5649
2020-07-16 16:00:00 | 5.661 | 184.2 | 5.926 | 194.3 | 5.386 | 183.031 | 5.444 | 193.6 | 28.57 | 965.951 | 54.4804 | 9.5327
2020-07-16 16:15:00 | 6.527 | 179.2 | 6.353 | 192.9 | 5.923 | 181.712 | 5.954 | 183 | 28.57 | 965.951 | 54.6508 | 10.1091
2020-07-16 16:30:00 | 6.251 | 180.2 | 6.128 | 192.9 | 5.18 | 181.712 | 5.144 | 185.5 | 28.57 | 965.803 | 54.9574 | 9.263
2020-07-16 16:45:00 | 5.574 | 175.2 | 5.606 | 188.5 | 5.234 | 177.567 | 5.258 | 181.7 | 28.31 | 965.951 | 55.4685 | 11.4355
2020-07-16 17:00:00 | 5.061 | 182.1 | 5.154 | 196.9 | 4.216 | 185.48 | 4.174 | 184.5 | 28.22 | 965.951 | 56.6951 | 9.5364
2020-07-16 17:15:00 | 6.031 | 183.8 | 5.696 | 197.5 | 4.888 | 186.045 | 4.889 | 187.9 | 28.14 | 965.062 | 56.4225 | 7.6003
2020-07-16 17:30:00 | 5.832 | 178.7 | 5.455 | 194.2 | 4.86 | 182.936 | 4.836 | 182.3 | 28.07 | 965.358 | 56.7632 | 8.5942
2020-07-16 17:45:00 | 5.661 | 176.3 | 5.284 | 195.5 | 4.545 | 184.161 | 4.528 | 177.4 | 27.99 | 965.21 | 57.2402 | 8.6792
2020-07-16 18:00:00 | 6.932 | 181 | 6.46 | 197.3 | 5.338 | 185.857 | 5.215 | 180.8 | 27.81 | 964.697 | 56.225 | 11.1141
2020-07-16 18:15:00 | 5.171 | 168.7 | 5.374 | 188.6 | 4.672 | 177.661 | 4.553 | 170.2 | 27.58 | 964.905 | 56.2353 | 11.7607
2020-07-16 18:30:00 | 4.76 | 165.1 | 4.768 | 179.1 | 4.501 | 168.712 | 4.492 | 168.4 | 27.49 | 965.059 | 56.507 | 8.779
2020-07-16 18:45:00 | 5.574 | 173.9 | 5.243 | 194.3 | 4.372 | 183.031 | 4.339 | 175.1 | 27.36 | 964.762 | 58.0083 | 7.87
2020-07-16 19:00:00 | 5.421 | 176 | 5.22 | 192.3 | 4.697 | 181.147 | 4.66 | 179.1 | 27.28 | 964.911 | 58.4185 | 9.5475
2020-07-16 19:15:00 | 4.037 | 174.1 | 4.09 | 193.2 | 3.815 | 181.994 | 3.942 | 177.6 | 26.94 | 964.911 | 61.0088 | 7.9402
2020-07-16 19:30:00 | 3.794 | 168.8 | 4.106 | 184.1 | 4.155 | 173.422 | 4.184 | 174.4 | 26.84 | 964.911 | 62.9175 | 7.3971
2020-07-16 19:45:00 | 3.966 | 175 | 4.1 | 188.2 | 4 | 177.284 | 4.166 | 176.7 | 26.61 | 964.964 | 63.8037 | 6.0854
2020-07-16 20:00:00 | 4.3 | 166 | 4.238 | 175.5 | 4.092 | 165.321 | 4.13 | 172 | 26.48 | 964.933 | 65.3033 | 6.6359
2020-07-16 20:15:00 | 4.415 | 159.3 | 4.747 | 172.7 | 4.247 | 162.683 | 4.214 | 165.1 | 26.3 | 965.621 | 64.3518 | 8.1287
2020-07-16 20:30:00 | 3.677 | 162.9 | 3.878 | 175.9 | 3.845 | 165.698 | 3.914 | 167.3 | 26.15 | 965.65 | 65.1768 | 8.1287
2020-07-16 20:45:00 | 4.057 | 158.2 | 4.356 | 172.2 | 4.331 | 162.212 | 4.306 | 163.3 | 26.07 | 965.501 | 65.1095 | 10.9626
2020-07-16 21:00:00 | 4.499 | 154.8 | 4.834 | 175.1 | 4.982 | 164.944 | 4.94 | 158.7 | 25.95 | 965.501 | 67.9734 | 12.8691
2020-07-16 21:15:00 | 4.405 | 160.5 | 4.448 | 178.2 | 4.361 | 167.864 | 4.352 | 165.5 | 25.71 | 965.501 | 66.0303 | 12.411
2020-07-16 21:30:00 | 4.359 | 153.4 | 4.709 | 165.4 | 4.829 | 155.807 | 4.795 | 160.3 | 25.83 | 965.5 | 63.3373 | 10.6485
2020-07-16 21:45:00 | 4.001 | 149.8 | 4.566 | 165.5 | 4.979 | 155.901 | 4.93 | 156.1 | 25.71 | 965.501 | 64.0191 | 9.0376
2020-07-16 22:00:00 | 3.628 | 164.9 | 4.008 | 175.3 | 3.593 | 165.133 | 3.616 | 172.4 | 25.82 | 965.798 | 63.8827 | 8.1176
2020-07-16 22:15:00 | 3.978 | 153.4 | 4.502 | 165.9 | 4.789 | 156.278 | 4.713 | 160.4 | 25.56 | 965.65 | 64.769 | 6.0891
2020-07-16 22:30:00 | 4.208 | 163.2 | 4.134 | 172.1 | 4.003 | 162.118 | 4.021 | 170.4 | 25.46 | 965.501 | 65.7917 | 6.647
2020-07-16 22:45:00 | 4.581 | 157.2 | 4.75 | 167.9 | 4.791 | 158.162 | 4.874 | 165.4 | 25.38 | 965.353 | 66.8144 | 6.8244
2020-07-16 23:00:00 | 4.956 | 157.7 | 5.077 | 169.3 | 4.715 | 159.481 | 4.739 | 163 | 25.07 | 965.501 | 67.5643 | 9.8246
2020-07-16 23:15:00 | 4.083 | 153 | 4.059 | 172.3 | 4.842 | 162.307 | 4.843 | 154.2 | 24.96 | 965.205 | 69.3029 | 9.8505
2020-07-16 23:30:00 | 4.3 | 163.2 | 4.254 | 182.7 | 4.524 | 172.103 | 4.584 | 162.9 | 24.74 | 965.353 | 69.0653 | 11.2286
2020-07-16 23:45:00 | 2.513 | 156.6 | 2.81 | 179.4 | 3.609 | 168.995 | 3.845 | 158.9 | 24.72 | 965.353 | 69.374 | 9.9798