## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-17 00:00:00 | 4.318 | 161.2 | 4.43 | 182.7 | 5.188 | 172.103 | 5.332 | 164.9 | 24.78 | 965.057 | 70.6421 | 7.7222
2020-07-17 00:15:00 | 3.876 | 157.2 | 4.307 | 171 | 4.562 | 161.082 | 4.55 | 164.4 | 24.71 | 965.353 | 71.767 | 5.8379
2020-07-17 00:30:00 | 4.063 | 154.5 | 4.244 | 168 | 4.206 | 158.256 | 4.153 | 162.2 | 24.55 | 965.057 | 73.1318 | 5.6199
2020-07-17 00:45:00 | 4.078 | 154.4 | 4.438 | 165.8 | 4.328 | 156.184 | 4.191 | 164.9 | 24.31 | 965.057 | 74.7697 | 5.5792
2020-07-17 01:00:00 | 2.906 | 147.7 | 3.441 | 163.3 | 3.878 | 153.829 | 3.893 | 154.9 | 24.1 | 965.205 | 74.9403 | 5.9487
2020-07-17 01:15:00 | 3.937 | 152.5 | 4.011 | 172.5 | 4.295 | 162.495 | 4.265 | 155 | 23.96 | 965.057 | 75.2129 | 9.8763
2020-07-17 01:30:00 | 3.904 | 149.5 | 4.673 | 170.4 | 5.336 | 160.517 | 5.276 | 151.6 | 23.83 | 964.76 | 75.6563 | 12.2189
2020-07-17 01:45:00 | 4.711 | 149.9 | 5.011 | 167.1 | 5.323 | 157.408 | 5.225 | 154.8 | 23.65 | 964.612 | 76.7814 | 13.4899
2020-07-17 02:00:00 | 4.474 | 143.9 | 4.847 | 160.1 | 5.096 | 150.814 | 5.177 | 149.6 | 23.52 | 964.76 | 76.2359 | 14.5023
2020-07-17 02:15:00 | 4.029 | 148.6 | 4.509 | 167.9 | 5.188 | 158.162 | 5.236 | 153.4 | 23.39 | 964.612 | 76.0687 | 13.464
2020-07-17 02:30:00 | 4.632 | 142.8 | 5.118 | 159.7 | 5.341 | 150.437 | 5.36 | 149 | 23.35 | 964.612 | 76.7852 | 16.213
2020-07-17 02:45:00 | 5.194 | 133.7 | 5.45 | 147.4 | 5.107 | 138.851 | 5.009 | 143.9 | 23.34 | 964.463 | 79.2408 | 12.0895
2020-07-17 03:00:00 | 6.912 | 135.4 | 7.125 | 148.8 | 6.889 | 140.17 | 6.817 | 143.5 | 23.4 | 964.612 | 79.7214 | 12.6512
2020-07-17 03:15:00 | 6.419 | 140.3 | 6.58 | 155.7 | 6.729 | 146.669 | 6.634 | 146.4 | 23.29 | 964.315 | 81.6311 | 15.2893
2020-07-17 03:30:00 | 6.072 | 145.6 | 6.335 | 162 | 6.612 | 152.604 | 6.606 | 149.9 | 23 | 964.612 | 84.2257 | 17.2623
2020-07-17 03:45:00 | 5.646 | 146.7 | 5.619 | 168 | 5.765 | 158.256 | 5.691 | 150.4 | 22.58 | 964.463 | 86.547 | 16.0689
2020-07-17 04:00:00 | 5.219 | 157.1 | 5.432 | 175.5 | 5.877 | 165.321 | 5.788 | 161 | 22.38 | 964.315 | 87.7749 | 12.7029
2020-07-17 04:15:00 | 4.854 | 157.6 | 5 | 174.1 | 5.292 | 164.002 | 5.225 | 160.9 | 22.23 | 964.167 | 89.173 | 14.6759
2020-07-17 04:30:00 | 6.555 | 161.7 | 6.747 | 176 | 6.465 | 165.792 | 6.392 | 165.9 | 22.21 | 964.167 | 89.6163 | 15.0085
2020-07-17 04:45:00 | 4.892 | 155.3 | 5.251 | 169.4 | 5.267 | 159.575 | 5.134 | 162.4 | 22.14 | 964.612 | 90.0938 | 11.8789
2020-07-17 05:00:00 | 4.647 | 155.3 | 4.885 | 169.3 | 4.45 | 159.481 | 4.37 | 163.6 | 22.02 | 964.511 | 90.1961 | 10.704
2020-07-17 05:15:00 | 3.728 | 157.6 | 3.725 | 168.8 | 4.069 | 159.01 | 4.128 | 159.7 | 21.93 | 964.528 | 91.3896 | 9.1632
2020-07-17 05:30:00 | 3.604 | 151.6 | 3.743 | 173 | 4.255 | 162.966 | 4.196 | 152.9 | 21.87 | 964.775 | 91.4579 | 9.0487
2020-07-17 05:45:00 | 3.404 | 156.6 | 3.502 | 176.4 | 3.32 | 166.169 | 3.375 | 150.1 | 21.8 | 964.612 | 91.526 | 15.1045
2020-07-17 06:00:00 | 4.18 | 153.2 | 4.814 | 170.7 | 5.109 | 160.799 | 5.078 | 153.8 | 21.82 | 964.887 | 89.48 | 12.8581
2020-07-17 06:15:00 | 3.743 | 149.4 | 4.607 | 168.4 | 5.061 | 158.633 | 5.05 | 154.5 | 21.99 | 965.289 | 88.5934 | 9.8172
2020-07-17 06:30:00 | 4.683 | 153.1 | 4.862 | 166.5 | 4.873 | 156.843 | 4.851 | 156.6 | 22 | 965.503 | 87.9796 | 11.5057
2020-07-17 06:45:00 | 3.907 | 149.6 | 3.87 | 163.7 | 4.127 | 154.205 | 4.148 | 156.2 | 22.05 | 965.65 | 89.2754 | 10.2754
2020-07-17 07:00:00 | 4.926 | 127.8 | 5.563 | 143.1 | 5.084 | 134.8 | 4.854 | 137.3 | 22.06 | 965.353 | 88.457 | 6.998
2020-07-17 07:15:00 | 3.835 | 150.4 | 3.95 | 170.7 | 4.293 | 160.799 | 4.224 | 152.8 | 21.94 | 965.502 | 90.2302 | 7.0719
2020-07-17 07:30:00 | 5.076 | 130 | 5.374 | 144.5 | 5.358 | 136.119 | 5.202 | 136.7 | 21.91 | 965.65 | 88.9344 | 5.9487
2020-07-17 07:45:00 | 4.964 | 135 | 5.233 | 149.8 | 5.295 | 141.112 | 5.185 | 140.8 | 22.08 | 965.798 | 88.1842 | 6.418
2020-07-17 08:00:00 | 5.347 | 140.8 | 5.545 | 158.8 | 5.811 | 149.59 | 5.712 | 145.4 | 22.12 | 965.798 | 89.6846 | 4.5816
2020-07-17 08:15:00 | 4.484 | 135.6 | 4.619 | 157.1 | 4.743 | 147.988 | 4.655 | 141.7 | 22.02 | 965.947 | 89.4105 | 3.6764
2020-07-17 08:30:00 | 4.908 | 145.7 | 4.471 | 162.3 | 4.275 | 152.887 | 4.151 | 151.1 | 22.18 | 966.243 | 89.263 | 4.6962
2020-07-17 08:45:00 | 4.734 | 142.3 | 4.678 | 159 | 4.323 | 149.778 | 4.148 | 149.6 | 22.26 | 966.243 | 88.442 | 5.775
2020-07-17 09:00:00 | 3.94 | 131 | 4.034 | 148.2 | 3.853 | 139.604 | 3.741 | 133.2 | 22.43 | 966.243 | 87.5554 | 5.6346
2020-07-17 09:15:00 | 4.32 | 133.2 | 4.481 | 151.5 | 4.196 | 142.713 | 4.033 | 138.7 | 22.4 | 966.095 | 87.6236 | 6.7283
2020-07-17 09:30:00 | 5.16 | 129.2 | 5.172 | 146.4 | 4.921 | 137.909 | 4.795 | 133.7 | 22.39 | 966.095 | 87.2822 | 7.9772
2020-07-17 09:45:00 | 4.964 | 135.6 | 5.028 | 156.1 | 4.641 | 147.046 | 4.454 | 136.9 | 22.52 | 965.947 | 83.4296 | 12.6253
2020-07-17 10:00:00 | 4.594 | 131.1 | 4.821 | 148.3 | 4.326 | 139.699 | 4.092 | 131.9 | 22.67 | 965.798 | 84.0775 | 10.4897
2020-07-17 10:15:00 | 3.986 | 135.6 | 4.318 | 149.7 | 4.186 | 141.017 | 3.993 | 137.7 | 22.74 | 965.947 | 82.6457 | 9.3812
2020-07-17 10:30:00 | 4.28 | 122.9 | 4.256 | 145 | 4.209 | 136.59 | 4.224 | 120.6 | 22.82 | 965.798 | 85.5097 | 12.2336
2020-07-17 10:45:00 | 4.31 | 144.3 | 4.371 | 163.6 | 4.064 | 154.111 | 4.036 | 147.2 | 22.83 | 965.65 | 84.793 | 10.5303
2020-07-17 11:00:00 | 6.562 | 145.3 | 6.55 | 160.6 | 6.16 | 151.285 | 5.949 | 150.2 | 22.67 | 965.65 | 84.0095 | 9.9724
2020-07-17 11:15:00 | 4.706 | 145.7 | 4.819 | 166.1 | 4.677 | 156.466 | 4.584 | 151.6 | 22.67 | 965.65 | 84.214 | 11.0476
2020-07-17 11:30:00 | 5.589 | 159.6 | 5.803 | 175.6 | 4.974 | 165.415 | 4.971 | 162.3 | 22.64 | 965.353 | 86.1912 | 12.6253
2020-07-17 11:45:00 | 4.831 | 162.6 | 4.752 | 174.1 | 4.135 | 164.002 | 4.102 | 171.7 | 22.46 | 965.65 | 88.851 | 11.4097
2020-07-17 12:00:00 | 3.833 | 159.1 | 3.666 | 178.2 | 3.334 | 167.864 | 3.376 | 162.8 | 22.3 | 965.057 | 88.1691 | 7.737
2020-07-17 12:15:00 | 5.873 | 153 | 6.049 | 169.7 | 5.318 | 159.857 | 5.19 | 157.7 | 22.12 | 965.798 | 89.8397 | 5.6346
2020-07-17 12:30:00 | 5.15 | 153 | 5.53 | 169.7 | 5.643 | 159.857 | 5.498 | 157.2 | 22.13 | 966.243 | 89.5329 | 4.7627
2020-07-17 12:45:00 | 5.265 | 188.9 | 4.75 | 204.7 | 3.731 | 192.827 | 3.517 | 186.1 | 22.64 | 966.392 | 87.6577 | 4.8587
2020-07-17 13:00:00 | 4.739 | 136.6 | 4.962 | 154.3 | 4.496 | 145.351 | 4.357 | 143.8 | 23.27 | 966.243 | 82.6002 | 9.7064
2020-07-17 13:15:00 | 6.401 | 138 | 6.565 | 153.8 | 6.457 | 144.88 | 6.341 | 143.5 | 22.89 | 966.095 | 81.6772 | 11.7348
2020-07-17 13:30:00 | 5.783 | 134.1 | 6.079 | 150.1 | 5.73 | 141.394 | 5.61 | 136.8 | 23.08 | 965.798 | 78.3365 | 16.8965
2020-07-17 13:45:00 | 6.069 | 138.4 | 6.793 | 156.3 | 6.554 | 147.235 | 6.529 | 143.2 | 23.02 | 965.045 | 80.7909 | 19.1984
2020-07-17 14:00:00 | 6.624 | 134.4 | 6.897 | 153.4 | 6.678 | 144.503 | 6.562 | 137.7 | 23.05 | 965.501 | 79.0864 | 17.7944
2020-07-17 14:15:00 | 6.621 | 131.7 | 6.874 | 151.6 | 6.851 | 142.807 | 6.822 | 133.6 | 23.25 | 965.501 | 80.8591 | 20.0704
2020-07-17 14:30:00 | 6.325 | 136 | 6.846 | 154.9 | 6.658 | 145.916 | 6.468 | 136.8 | 23.22 | 965.205 | 80.2455 | 20.85
2020-07-17 14:45:00 | 7.647 | 133.4 | 8.14 | 150.7 | 7.955 | 141.959 | 7.869 | 138.6 | 23.19 | 965.501 | 79.2228 | 14.3766
2020-07-17 15:00:00 | 5.569 | 137.7 | 5.826 | 153.3 | 5.447 | 144.409 | 5.32 | 143.7 | 23.51 | 965.65 | 78.4728 | 10.1387
2020-07-17 15:15:00 | 6.016 | 144.2 | 5.885 | 164.1 | 5.88 | 154.582 | 5.826 | 143.2 | 23.61 | 965.65 | 77.8928 | 11.1252
2020-07-17 15:30:00 | 6.2 | 138.2 | 6.174 | 160 | 5.524 | 150.72 | 5.37 | 143 | 24.14 | 965.854 | 78.5279 | 11.4873
2020-07-17 15:45:00 | 5.898 | 141.3 | 5.928 | 161.4 | 5.363 | 152.039 | 5.167 | 142.4 | 23.64 | 965.504 | 79.1411 | 10.837
2020-07-17 16:00:00 | 5.37 | 144.2 | 5.967 | 161.4 | 5.531 | 152.039 | 5.429 | 148.1 | 23.88 | 965.059 | 78.9366 | 10.571
2020-07-17 16:15:00 | 5.367 | 133.6 | 5.563 | 146.6 | 5.259 | 138.097 | 5.19 | 140.6 | 23.6 | 964.53 | 79.3456 | 12.0932
2020-07-17 16:30:00 | 3.618 | 126.3 | 4.09 | 145.5 | 4.16 | 137.061 | 4.123 | 132.2 | 23.64 | 964.86 | 80.4396 | 6.684
2020-07-17 16:45:00 | 3.238 | 139.5 | 3.44 | 156.3 | 3.381 | 147.235 | 3.334 | 139.9 | 23.66 | 964.76 | 79.4272 | 4.0976
2020-07-17 17:00:00 | 3.945 | 132.7 | 4.555 | 145.4 | 4.308 | 136.967 | 4.296 | 140.7 | 23.84 | 964.76 | 78.4387 | 2.9522
2020-07-17 17:15:00 | 3.107 | 143.1 | 4.052 | 161.2 | 3.385 | 151.85 | 3.185 | 138.6 | 23.95 | 964.448 | 78.7455 | 2.8746
2020-07-17 17:30:00 | 2.027 | 123.2 | 2.681 | 143.9 | 2.303 | 135.554 | 2.325 | 117.8 | 24.04 | 964.463 | 79.9727 | 2.3462
2020-07-17 17:45:00 | 2.469 | 129.5 | 2.817 | 140.4 | 2.619 | 132.257 | 2.584 | 135.2 | 23.89 | 964.76 | 80.8249 | 1.3449
2020-07-17 18:00:00 | 1.966 | 106 | 2.244 | 119.5 | 2.35 | 112.569 | 2.281 | 113.6 | 23.89 | 964.612 | 80.9272 | 0.32515
2020-07-17 18:15:00 | 3.039 | 119.1 | 3.062 | 125 | 2.603 | 117.75 | 2.607 | 132 | 23.82 | 964.463 | 80.6886 | 0.18844
2020-07-17 18:30:00 | 2.819 | 122.9 | 3.515 | 134.7 | 2.871 | 126.887 | 2.824 | 129.5 | 23.89 | 964.463 | 79.9397 | 0.77961
2020-07-17 18:45:00 | 2.306 | 104.5 | 3.004 | 121.6 | 3.161 | 114.547 | 3.206 | 111.8 | 23.75 | 964.612 | 81.6465 | -0.12932
2020-07-17 19:00:00 | 2.577 | 115.4 | 2.886 | 127.9 | 2.708 | 120.482 | 2.809 | 120.5 | 23.57 | 964.018 | 81.2791 | 0.24016
2020-07-17 19:15:00 | 3.593 | 112.4 | 3.852 | 127.1 | 3.626 | 119.728 | 3.646 | 119.7 | 23.57 | 963.87 | 81.1454 | 2.6751
2020-07-17 19:30:00 | 4.091 | 114.5 | 4.387 | 132.3 | 4.321 | 124.627 | 4.324 | 122.7 | 23.57 | 963.722 | 78.5203 | 5.8083
2020-07-17 19:45:00 | 3.325 | 106.7 | 3.748 | 122.3 | 3.815 | 115.207 | 3.901 | 113.6 | 23.56 | 963.87 | 80.4637 | 3.0482
2020-07-17 20:00:00 | 1.751 | 113.6 | 2.566 | 130.2 | 2.647 | 122.648 | 2.753 | 116.3 | 23.39 | 964.018 | 79.9863 | 1.4188
2020-07-17 20:15:00 | 2.768 | 117.1 | 2.789 | 149.5 | 2.234 | 140.829 | 2.295 | 130.4 | 23.48 | 963.87 | 79.3735 | 1.1676
2020-07-17 20:30:00 | 3.399 | 126.4 | 3.622 | 143.5 | 3.776 | 135.177 | 3.792 | 130.5 | 23.4 | 964.018 | 79.5447 | 1.9065
2020-07-17 20:45:00 | 2.564 | 116.4 | 2.797 | 135.8 | 3.415 | 127.924 | 3.545 | 125 | 23.35 | 963.722 | 79.4465 | 5.11
2020-07-17 21:00:00 | 3.92 | 105.8 | 4.379 | 122.3 | 4.499 | 115.207 | 4.629 | 112.1 | 23.29 | 963.722 | 80.8117 | 6.6285
2020-07-17 21:15:00 | 4.075 | 100.7 | 4.469 | 111.8 | 4.422 | 105.316 | 4.553 | 108.7 | 23.07 | 963.425 | 82.4543 | 5.2836
2020-07-17 21:30:00 | 3.304 | 105 | 3.51 | 120.7 | 3.881 | 113.699 | 4.005 | 116.2 | 23 | 963.425 | 82.5915 | 4.892
2020-07-17 21:45:00 | 3.771 | 127.3 | 3.965 | 143.1 | 3.962 | 134.8 | 3.957 | 132.5 | 22.88 | 963.722 | 83.0008 | 4.8587
2020-07-17 22:00:00 | 2.444 | 118.4 | 2.978 | 134 | 3.375 | 126.228 | 3.404 | 120.9 | 22.76 | 963.425 | 82.2506 | 6.2849
2020-07-17 22:15:00 | 3.271 | 116.2 | 3.607 | 141 | 3.754 | 132.822 | 3.789 | 117.2 | 22.73 | 963.276 | 82.4893 | 9.0635
2020-07-17 22:30:00 | 3.371 | 132.7 | 3.696 | 144.2 | 3.489 | 135.836 | 3.496 | 136.6 | 22.73 | 963.276 | 82.4552 | 6.6803
2020-07-17 22:45:00 | 3.261 | 115.1 | 3.648 | 130.9 | 3.609 | 123.308 | 3.618 | 120.1 | 22.68 | 963.128 | 82.1483 | 9.3738
2020-07-17 23:00:00 | 2.768 | 116.8 | 2.968 | 134.2 | 3.644 | 126.416 | 3.82 | 124 | 22.52 | 962.683 | 83.4441 | 16.0135
2020-07-17 23:15:00 | 4.206 | 105.5 | 4.962 | 123.9 | 5.536 | 116.714 | 5.702 | 110.8 | 22.39 | 962.535 | 82.5916 | 18.1639
2020-07-17 23:30:00 | 5.934 | 114 | 6.931 | 132.7 | 7.591 | 125.003 | 7.726 | 120.3 | 22.28 | 962.09 | 80.4092 | 24.471
2020-07-17 23:45:00 | 6.47 | 109.3 | 6.764 | 131 | 7.085 | 123.402 | 7.27 | 114.6 | 22.27 | 961.793 | 78.0903 | 22.2651