## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-18 00:00:00 | 5.309 | 114.2 | 6.015 | 131.1 | 6.633 | 123.496 | 6.636 | 119.2 | 22.2 | 962.09 | 80.0682 | 18.5592
2020-07-18 00:15:00 | 4.854 | 108.3 | 5.88 | 123.6 | 6.096 | 116.431 | 6.208 | 114.5 | 22.13 | 962.268 | 79.659 | 19.1319
2020-07-18 00:30:00 | 4.382 | 105.8 | 4.967 | 124.2 | 5.188 | 116.996 | 5.419 | 113.2 | 22.05 | 962.387 | 81.705 | 16.3829
2020-07-18 00:45:00 | 4.596 | 111.1 | 4.98 | 128.1 | 5.193 | 120.67 | 5.307 | 117 | 21.92 | 962.13 | 82.7962 | 19.3314
2020-07-18 01:00:00 | 4.361 | 125 | 4.694 | 146.4 | 4.646 | 137.909 | 4.752 | 126.2 | 21.86 | 962.283 | 83.1372 | 19.627
2020-07-18 01:15:00 | 3.072 | 117 | 3.666 | 140.3 | 4.275 | 132.163 | 4.354 | 120.8 | 21.86 | 962.356 | 83.1372 | 12.145
2020-07-18 01:30:00 | 2.293 | 117.1 | 3.163 | 127.3 | 3.871 | 119.917 | 3.934 | 121.8 | 21.83 | 962.63 | 83.751 | 8.3947
2020-07-18 01:45:00 | 3.307 | 113 | 3.64 | 131.9 | 4.209 | 124.25 | 4.352 | 116.4 | 21.71 | 962.412 | 84.9446 | 9.3369
2020-07-18 02:00:00 | 2.751 | 111.2 | 3.617 | 121 | 3.812 | 113.982 | 3.84 | 121.6 | 21.61 | 962.284 | 85.9335 | 7.4858
2020-07-18 02:15:00 | 3.7 | 135.4 | 4.093 | 150.6 | 4.038 | 141.865 | 3.863 | 139.7 | 21.54 | 962.329 | 86.6199 | 6.599
2020-07-18 02:30:00 | 3.131 | 118.8 | 3.737 | 144.3 | 3.611 | 135.931 | 3.595 | 123.6 | 21.46 | 962.361 | 87.3675 | 3.414
2020-07-18 02:45:00 | 2.137 | 133.2 | 2.531 | 149.2 | 2.365 | 140.546 | 2.292 | 137.4 | 21.4 | 962.085 | 88.4629 | 3.1111
2020-07-18 03:00:00 | 2.827 | 119.6 | 2.843 | 135.1 | 2.96 | 127.264 | 2.936 | 125.5 | 21.31 | 961.937 | 88.6678 | 1.2932
2020-07-18 03:15:00 | 0.145 | 116.9 | 0.99 | 131.1 | 0.959 | 123.496 | 1.092 | 122.3 | 21.26 | 961.79 | 89.3511 | -0.19583
2020-07-18 03:30:00 | 1.979 | 123.9 | 2.387 | 139.3 | 2.576 | 131.221 | 2.523 | 127.8 | 21.15 | 961.493 | 89.2201 | 0.83134
2020-07-18 03:45:00 | 2.582 | 113.4 | 2.866 | 136.3 | 2.922 | 128.395 | 2.944 | 115.9 | 21.1 | 961.345 | 90.1432 | 0.59487
2020-07-18 04:00:00 | 1.377 | 101.5 | 2.037 | 122.8 | 2.238 | 115.678 | 2.241 | 106.3 | 20.92 | 961.196 | 90.0409 | -0.059118
2020-07-18 04:15:00 | 0.471 | 52.3 | 1.856 | 51.93 | 2.451 | 48.9181 | 2.383 | 68.43 | 20.77 | 961.493 | 91.8827 | -0.16257
2020-07-18 04:30:00 | 0 | 91 | 0.034 | 359.6 | 0.171 | 338.743 | 0.334 | 91.8 | 20.57 | 961.196 | 91.6439 | -0.33623
2020-07-18 04:45:00 | 0 | 87.5 | 0.912 | 309.8 | 0.28 | 291.832 | 0.122 | 75.79 | 20.57 | 961.493 | 91.8144 | -0.2882
2020-07-18 05:00:00 | 0 | 343.2 | 0.706 | 324.3 | 0.274 | 305.491 | 0.259 | 60.89 | 20.65 | 961.196 | 90.4855 | -0.29928
2020-07-18 05:15:00 | 0 | 11.76 | 0.954 | 43.41 | 0.981 | 40.8922 | 0.817 | 60.58 | 20.78 | 961.048 | 89.5998 | -0.29928
2020-07-18 05:30:00 | 1.515 | 10.24 | 2.087 | 19.77 | 2.027 | 18.6233 | 1.758 | 15.26 | 20.82 | 961.196 | 90.8609 | -0.25864
2020-07-18 05:45:00 | 3.12 | 352.7 | 3.581 | 1.385 | 3.25 | 1.3047 | 3.14 | 2.743 | 20.74 | 961.196 | 90.655 | -0.22169
2020-07-18 06:00:00 | 2.212 | 6.255 | 2.927 | 13.91 | 3.352 | 13.1032 | 3.481 | 356.8 | 20.63 | 961.345 | 92.8377 | -0.18844
2020-07-18 06:15:00 | 3.263 | 358.6 | 4.008 | 11.99 | 3.85 | 11.2946 | 3.904 | 45.72 | 20.6 | 961.493 | 92.4284 | -0.18844
2020-07-18 06:30:00 | 2.919 | 356.7 | 3.177 | 12.26 | 4.333 | 11.5489 | 4.268 | 355.7 | 20.79 | 961.641 | 92.4284 | -0.059118
2020-07-18 06:45:00 | 3.496 | 3.159 | 3.52 | 16.72 | 3.815 | 15.7502 | 4.018 | 357.2 | 20.85 | 961.78 | 90.0985 | -0.018474
2020-07-18 07:00:00 | 3.733 | 14.11 | 4.159 | 21.36 | 3.977 | 20.1211 | 4.051 | 5.027 | 21.11 | 961.669 | 89.4118 | 1.1528
2020-07-18 07:15:00 | 3.667 | 1.78 | 3.773 | 30.07 | 3.899 | 28.3259 | 3.929 | 353.7 | 21.31 | 962.238 | 88.3881 | 2.6197
2020-07-18 07:30:00 | 3.195 | 14.1 | 4.681 | 38.21 | 3.583 | 35.9938 | 3.58 | 6.056 | 21.65 | 962.238 | 86.7718 | 5.6088
2020-07-18 07:45:00 | 5.061 | 9.47 | 5.576 | 24.32 | 5.099 | 22.9094 | 5.075 | 8.84 | 21.7 | 962.535 | 83.6683 | 7.4414
2020-07-18 08:00:00 | 3.644 | 20 | 5.476 | 36.97 | 4.466 | 34.8257 | 4.227 | 20.34 | 22.27 | 962.98 | 80.5599 | 6.4327
2020-07-18 08:15:00 | 3.013 | 23.37 | 5.701 | 39.76 | 5.203 | 37.4539 | 5.039 | 25.02 | 22.59 | 962.83 | 80.8591 | 8.7753
2020-07-18 08:30:00 | 5.515 | 13.02 | 8.65 | 29.59 | 7.973 | 27.8738 | 7.331 | 17.71 | 22.42 | 963.128 | 79.4273 | 11.7644
2020-07-18 08:45:00 | 5.661 | 13.56 | 7.675 | 30.26 | 6.8 | 28.5049 | 6.654 | 13.41 | 22.71 | 963.113 | 78.3365 | 15.2302
2020-07-18 09:00:00 | 4.235 | 20.62 | 6.238 | 41.29 | 4.936 | 38.8952 | 4.882 | 9.78 | 23.38 | 963.573 | 78.4715 | 13.0798
2020-07-18 09:15:00 | 4.224 | 16.08 | 7.076 | 33.1 | 6.358 | 31.1802 | 5.992 | 17.16 | 22.77 | 963.406 | 79.0759 | 14.6279
2020-07-18 09:30:00 | 3.787 | 8.48 | 4.545 | 29.92 | 4.86 | 28.1846 | 4.902 | 357.6 | 23.08 | 963.271 | 80.5107 | 19.5014
2020-07-18 09:45:00 | 4.188 | 8.76 | 5.721 | 30.77 | 4.934 | 28.9853 | 4.991 | 3.426 | 23.05 | 963.41 | 79.4232 | 11.8013
2020-07-18 10:00:00 | 3.614 | 14.76 | 5.448 | 32.68 | 4.862 | 30.7846 | 4.612 | 9.31 | 23.73 | 963.519 | 77.4386 | 13.7596
2020-07-18 10:15:00 | 4.721 | 6.53 | 5.374 | 31.36 | 5.379 | 29.5411 | 5.472 | 2.345 | 23.59 | 963.135 | 76.0055 | 12.0895
2020-07-18 10:30:00 | 5.408 | 8.77 | 6.823 | 26.6 | 5.984 | 25.0572 | 6.033 | 4.965 | 23.93 | 963.28 | 77.3006 | 14.1254
2020-07-18 10:45:00 | 3.229 | 17.46 | 6.105 | 37.24 | 6.114 | 35.0801 | 5.885 | 14.87 | 24.08 | 962.983 | 73.4492 | 17.5801
2020-07-18 11:00:00 | 3.873 | 16.98 | 6.36 | 36.42 | 5.605 | 34.3076 | 5.419 | 14.41 | 24.81 | 963.576 | 74.0955 | 13.4973
2020-07-18 11:15:00 | 4.755 | 12.08 | 6.859 | 30.56 | 6.104 | 28.7875 | 5.857 | 12.51 | 24.79 | 963.725 | 73.6171 | 16.0356
2020-07-18 11:30:00 | 4.056 | 6.796 | 5.187 | 27.9 | 4.951 | 26.2818 | 5.162 | 355.9 | 24.57 | 963.873 | 71.0266 | 14.4358
2020-07-18 11:45:00 | 3.018 | 3.218 | 4.078 | 25.26 | 4.639 | 23.7949 | 4.606 | 355.2 | 24.81 | 963.725 | 71.2291 | 15.6366
2020-07-18 12:00:00 | 4.892 | 8.5 | 5.969 | 30.55 | 5.274 | 28.7781 | 5.414 | 2.297 | 25.07 | 963.725 | 70.2749 | 16.4938
2020-07-18 12:15:00 | 4.06 | 10.62 | 6.153 | 28.94 | 6.233 | 27.2615 | 6.137 | 7.426 | 25.41 | 963.576 | 68.267 | 19.0728
2020-07-18 12:30:00 | 3.112 | 13.78 | 6.476 | 35.68 | 5.569 | 33.6106 | 5.289 | 9.22 | 25.5 | 963.725 | 67.958 | 24.4303
2020-07-18 12:45:00 | 6.046 | 13.37 | 7.93 | 33.84 | 6.015 | 31.8773 | 6.048 | 7.815 | 25.36 | 963.866 | 66.1847 | 25.5921
2020-07-18 13:00:00 | 6.276 | 11.55 | 7.005 | 31.72 | 6.696 | 29.8802 | 7.074 | 4.113 | 25.28 | 962.975 | 66.9695 | 22.9154
2020-07-18 13:15:00 | 4.269 | 3.649 | 6.054 | 26.56 | 6.979 | 25.0195 | 7.005 | 0.629 | 25.74 | 963.28 | 67.4149 | 22.8748
2020-07-18 13:30:00 | 4.862 | 14.61 | 7.056 | 34.34 | 5.521 | 32.3483 | 5.256 | 12.31 | 25.41 | 963.131 | 67.4151 | 21.2158
2020-07-18 13:45:00 | 5.357 | 17.27 | 6.726 | 37.77 | 5.936 | 35.5793 | 6 | 3.706 | 25.4 | 962.983 | 67.1746 | 23.0411
2020-07-18 14:00:00 | 5.27 | 16.12 | 8.01 | 34.53 | 6.737 | 32.5273 | 6.267 | 15.12 | 25.25 | 962.538 | 67.5481 | 27.5931
2020-07-18 14:15:00 | 6.113 | 8.94 | 7.409 | 27.71 | 6.422 | 26.1028 | 6.259 | 9.6 | 25.18 | 961.945 | 67.3481 | 24.2345
2020-07-18 14:30:00 | 4.068 | 5.539 | 5.944 | 33.48 | 5.781 | 31.5382 | 6.038 | 357.4 | 25.27 | 962.835 | 65.9168 | 17.6577
2020-07-18 14:45:00 | 2.844 | 354.8 | 4.839 | 31.62 | 5.633 | 29.786 | 5.941 | 346.5 | 26.13 | 963.576 | 66.1857 | 21.9437
2020-07-18 15:00:00 | 3.896 | 8.53 | 6.706 | 27.01 | 6.495 | 25.4434 | 6.267 | 7.593 | 25.51 | 962.093 | 66.5954 | 28.7644
2020-07-18 15:15:00 | 5.852 | 7.747 | 8.24 | 29.5 | 7.083 | 27.789 | 6.651 | 5.974 | 25.24 | 962.093 | 65.676 | 31.4357
2020-07-18 15:30:00 | 3.887 | 353.9 | 5.269 | 27.57 | 5.559 | 25.9709 | 5.921 | 346.6 | 25.45 | 963.131 | 64.758 | 23.126
2020-07-18 15:45:00 | 3.801 | 15.18 | 6.639 | 34.5 | 5.381 | 32.499 | 5.284 | 7.257 | 25.73 | 963.28 | 64.278 | 22.8304
2020-07-18 16:00:00 | 4.525 | 1.06 | 5.509 | 22.21 | 5.697 | 20.9218 | 5.773 | 353.9 | 25.64 | 962.983 | 67.4117 | 27.6301
2020-07-18 16:15:00 | 5.201 | 13.18 | 9.46 | 31.28 | 8.43 | 29.4658 | 7.69 | 15.7 | 25.41 | 962.538 | 69.7292 | 27.0315
2020-07-18 16:30:00 | 6.156 | 11.4 | 7.365 | 30.52 | 6.312 | 28.7498 | 6.382 | 10.02 | 25.45 | 962.835 | 65.7101 | 23.7394
2020-07-18 16:45:00 | 6.031 | 8.76 | 7.061 | 27.88 | 6.724 | 26.263 | 7.026 | 8.31 | 25.33 | 962.686 | 66.3564 | 25.0695
2020-07-18 17:00:00 | 5.364 | 5.156 | 7.074 | 25.41 | 7.388 | 23.9362 | 7.275 | 8.04 | 25.38 | 962.39 | 68.232 | 22.7972
2020-07-18 17:15:00 | 4.964 | 17.83 | 9.47 | 34.21 | 9.07 | 32.2258 | 8.83 | 21.65 | 25.17 | 961.5 | 70.2088 | 28.299
2020-07-18 17:30:00 | 5.818 | 11.42 | 8.55 | 28.78 | 7.876 | 27.1108 | 7.224 | 15.73 | 24.94 | 961.648 | 72.3245 | 22.1506
2020-07-18 17:45:00 | 6.412 | 10.65 | 7.797 | 27.85 | 6.879 | 26.2347 | 6.494 | 13.74 | 24.96 | 961.812 | 70.1431 | 19.3425
2020-07-18 18:00:00 | 4.742 | 18.72 | 8.03 | 37.64 | 7.04 | 35.4569 | 6.677 | 18.95 | 24.83 | 962.579 | 70.109 | 16.4199
2020-07-18 18:15:00 | 4.943 | 6.767 | 5.251 | 20.7 | 5.29 | 19.4994 | 5.146 | 8.55 | 24.72 | 962.239 | 70.3476 | 17.4655
2020-07-18 18:30:00 | 5.112 | 12.85 | 8.56 | 29.25 | 8.25 | 27.5535 | 7.293 | 18.41 | 24.55 | 962.081 | 72.8424 | 13.597
2020-07-18 18:45:00 | 3.976 | 13.84 | 6.754 | 30.68 | 6.338 | 28.9006 | 5.951 | 18.08 | 24.34 | 962.36 | 71.7913 | 9.1817
2020-07-18 19:00:00 | 4.619 | 14.12 | 6.862 | 29 | 6.452 | 27.318 | 5.849 | 17.66 | 24.19 | 962.09 | 74.1776 | 12.2447
2020-07-18 19:15:00 | 3.532 | 15.27 | 7.355 | 30.78 | 7.113 | 28.9948 | 6.588 | 20.63 | 24 | 961.942 | 74.0422 | 9.1632
2020-07-18 19:30:00 | 3.534 | 16.13 | 6.752 | 32.5 | 6.539 | 30.615 | 6.173 | 20.17 | 23.89 | 962.09 | 75.3481 | 5.8268
2020-07-18 19:45:00 | 4.177 | 14.2 | 6.391 | 29.08 | 6.238 | 27.3934 | 5.544 | 18.8 | 23.68 | 961.645 | 76.3716 | 10.6227
2020-07-18 20:00:00 | 5.326 | 8.27 | 6.741 | 25.49 | 6.091 | 24.0116 | 5.63 | 11.06 | 23.6 | 961.793 | 77.7361 | 9.0893
2020-07-18 20:15:00 | 3.426 | 12.57 | 6.123 | 29.57 | 5.844 | 27.8549 | 5.23 | 15.7 | 23.22 | 961.942 | 79.9182 | 5.8822
2020-07-18 20:30:00 | 3.999 | 0.694 | 4.254 | 13.25 | 4.717 | 12.4815 | 4.731 | 3.592 | 23.04 | 961.942 | 81.9638 | 9.2334
2020-07-18 20:45:00 | 4.913 | 358.2 | 5.016 | 13.29 | 6.317 | 12.5192 | 6.573 | 5.705 | 22.77 | 962.238 | 84.8297 | 10.5451
2020-07-18 21:00:00 | 5.63 | 6.72 | 5.22 | 21.5 | 5.135 | 20.253 | 5.047 | 6.966 | 22.6 | 961.793 | 86.4778 | 12.3777
2020-07-18 21:15:00 | 5.6 | 7.457 | 6.488 | 24.58 | 5.755 | 23.1544 | 5.73 | 9.83 | 22.44 | 961.497 | 87.8428 | 11.3875
2020-07-18 21:30:00 | 4.834 | 13.93 | 6.568 | 29.32 | 6.124 | 27.6194 | 5.615 | 17.85 | 22.27 | 961.942 | 88.5933 | 7.3786
2020-07-18 21:45:00 | 4.359 | 9 | 5.524 | 22.96 | 5.285 | 21.6283 | 4.94 | 12.87 | 22.21 | 961.793 | 89.3435 | 5.5607
2020-07-18 22:00:00 | 4.183 | 7.664 | 4.525 | 19.82 | 4.341 | 18.6704 | 4.105 | 6.729 | 22.16 | 961.942 | 89.9574 | 6.7135
2020-07-18 22:15:00 | 5.681 | 6.092 | 5.611 | 20.21 | 5.43 | 19.0378 | 5.228 | 8.38 | 22 | 961.497 | 91.7988 | 10.2052
2020-07-18 22:30:00 | 5.554 | 8 | 6.384 | 22.85 | 5.74 | 21.5247 | 5.472 | 10.82 | 21.8 | 961.661 | 92.549 | 7.1828
2020-07-18 22:45:00 | 4.959 | 2.366 | 5.074 | 10.65 | 4.959 | 10.0323 | 4.787 | 6.605 | 21.67 | 962.18 | 95.8568 | 5.509
2020-07-18 23:00:00 | 4.098 | 2.85 | 4.389 | 13.81 | 4.664 | 13.009 | 4.39 | 4.773 | 21.4 | 961.789 | 98.1415 | 12.9098
2020-07-18 23:15:00 | 4.032 | 346.2 | 3.888 | 14.58 | 4.539 | 13.7344 | 4.734 | 349.6 | 21.04 | 961.9 | 99.6434 | 8.5905
2020-07-18 23:30:00 | 3.802 | 358.5 | 4.236 | 24.78 | 4.817 | 23.3428 | 4.915 | 353.8 | 20.84 | 961.789 | 99.8909 | 6.2184
2020-07-18 23:45:00 | 4.366 | 357.4 | 4.364 | 18.51 | 4.547 | 17.4364 | 4.66 | 359.6 | 20.7 | 961.493 | 99.9305 | 8.4501