## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-19 00:00:00 | 5.536 | 5.878 | 5.108 | 13.53 | 5.219 | 12.7453 | 5.039 | 6.231 | 20.56 | 961.345 | 99.8625 | 6.9648
2020-07-19 00:15:00 | 4.683 | 13.15 | 5.668 | 26.65 | 5.397 | 25.1043 | 5.281 | 19.53 | 20.47 | 961.196 | 99.8977 | 4.7479
2020-07-19 00:30:00 | 5.005 | 8.41 | 5.614 | 21.96 | 5.503 | 20.6863 | 5.088 | 14.92 | 20.38 | 960.9 | 99.8977 | 2.6344
2020-07-19 00:45:00 | 1.995 | 23.96 | 3.888 | 35.7 | 4.234 | 33.6294 | 4.186 | 28.81 | 20.38 | 961.345 | 99.8635 | 1.1269
2020-07-19 01:00:00 | 3.835 | 8.63 | 4.489 | 20.85 | 4.903 | 19.6407 | 4.237 | 16.76 | 20.39 | 961.048 | 99.8977 | 3.7429
2020-07-19 01:15:00 | 5.702 | 5.156 | 5.384 | 10.54 | 5.208 | 9.9287 | 4.894 | 6.041 | 20.43 | 960.603 | 99.8977 | 12.1893
2020-07-19 01:30:00 | 6.419 | 351.9 | 5.762 | 12.69 | 6.75 | 11.954 | 6.881 | 351 | 20.28 | 960.009 | 99.8635 | 27.5599
2020-07-19 01:45:00 | 4.512 | 350.9 | 5.05 | 21.2 | 5.783 | 19.9704 | 5.826 | 346.5 | 20.19 | 960.158 | 99.8977 | 26.1004
2020-07-19 02:00:00 | 6.169 | 355 | 7.038 | 17.59 | 8.07 | 16.5698 | 8.22 | 355.3 | 20.06 | 960.009 | 99.8977 | 31.9013
2020-07-19 02:15:00 | 7.195 | 2.116 | 7.588 | 21.37 | 8.27 | 20.1305 | 8.58 | 3.218 | 20.04 | 960.158 | 99.8977 | 29.0008
2020-07-19 02:30:00 | 6.823 | 357.3 | 6.882 | 19.43 | 8.16 | 18.3031 | 8.69 | 0.584 | 19.9 | 959.713 | 99.8635 | 30.9887
2020-07-19 02:45:00 | 6.723 | 2.971 | 7.048 | 20.78 | 7.502 | 19.5748 | 7.561 | 4.855 | 19.79 | 959.564 | 99.8635 | 28.2656
2020-07-19 03:00:00 | 6.761 | 6.342 | 7.018 | 24.9 | 6.806 | 23.4558 | 6.792 | 6.158 | 19.73 | 959.564 | 99.932 | 33.3755
2020-07-19 03:15:00 | 7.466 | 357.5 | 6.949 | 19.35 | 8.35 | 18.2277 | 8.7 | 356.9 | 19.64 | 959.713 | 99.8716 | 32.2043
2020-07-19 03:30:00 | 6.391 | 2.13 | 6.501 | 23.84 | 7.314 | 22.4573 | 7.596 | 1.502 | 19.61 | 960.158 | 99.9389 | 25.6127
2020-07-19 03:45:00 | 7.474 | 5.582 | 7.792 | 26.23 | 7.151 | 24.7087 | 6.901 | 9.59 | 19.64 | 960.009 | 99.8744 | 26.5253
2020-07-19 04:00:00 | 7.298 | 2.975 | 7.301 | 24.27 | 7.309 | 22.8623 | 7.354 | 5.286 | 19.64 | 960.009 | 99.8792 | 23.1113
2020-07-19 04:15:00 | 6.493 | 1.108 | 6.427 | 23.26 | 7.027 | 21.9109 | 7.268 | 1.051 | 19.65 | 960.158 | 99.8791 | 21.2564
2020-07-19 04:30:00 | 7.944 | 6.444 | 7.659 | 22.44 | 7.312 | 21.1385 | 7.174 | 7.958 | 19.6 | 960.158 | 99.9112 | 28.6905
2020-07-19 04:45:00 | 7.882 | 7.81 | 9 | 27.39 | 7.828 | 25.8014 | 7.433 | 9.87 | 19.56 | 960.028 | 99.9477 | 27.9478
2020-07-19 05:00:00 | 8.06 | 7.803 | 8.24 | 24.07 | 7.742 | 22.6739 | 7.563 | 10.37 | 19.49 | 960.049 | 99.88 | 29.1117
2020-07-19 05:15:00 | 7.497 | 6.424 | 8.16 | 25.98 | 7.187 | 24.4732 | 7.008 | 7.773 | 19.47 | 960.159 | 99.8806 | 26.3886
2020-07-19 05:30:00 | 7.142 | 1.632 | 6.974 | 21.84 | 7.35 | 20.5733 | 7.589 | 3.298 | 19.46 | 960.335 | 99.8806 | 26.3147
2020-07-19 05:45:00 | 7.374 | 6.349 | 7.999 | 26.14 | 7.261 | 24.6239 | 7.095 | 10.14 | 19.42 | 960.027 | 99.8806 | 22.2282
2020-07-19 06:00:00 | 7.017 | 12.87 | 9.28 | 28.56 | 9.19 | 26.9035 | 8.44 | 18.59 | 19.3 | 959.718 | 99.8806 | 25.5683
2020-07-19 06:15:00 | 6.973 | 9.01 | 9.01 | 26.34 | 9 | 24.8123 | 8.29 | 15.34 | 19.2 | 959.63 | 99.9147 | 29.0747
2020-07-19 06:30:00 | 7.609 | 3.878 | 7.547 | 20.49 | 7.63 | 19.3016 | 7.492 | 6.483 | 19.16 | 960.057 | 99.8806 | 26.263
2020-07-19 06:45:00 | 7.64 | 3.298 | 6.984 | 17.92 | 7.543 | 16.8806 | 7.449 | 4.853 | 19.16 | 960.07 | 99.9147 | 21.1715
2020-07-19 07:00:00 | 6.815 | 359.9 | 6.606 | 15.1 | 7.296 | 14.2242 | 7.545 | 3.637 | 19.2 | 960.836 | 99.9147 | 20.6764
2020-07-19 07:15:00 | 7.178 | 2.747 | 6.81 | 18.01 | 7.53 | 16.9654 | 7.724 | 2.511 | 19.17 | 960.559 | 99.9147 | 24.2714
2020-07-19 07:30:00 | 6.585 | 2.555 | 6.828 | 22.67 | 7.716 | 21.3551 | 7.841 | 3.801 | 19.17 | 960.393 | 99.8806 | 25.524
2020-07-19 07:45:00 | 6.488 | 10.09 | 8.04 | 26.27 | 7.876 | 24.7463 | 7.586 | 12.66 | 19.3 | 960.664 | 99.9147 | 19.8376
2020-07-19 08:00:00 | 6.016 | 12.61 | 8.22 | 29.33 | 8.03 | 27.6289 | 7.79 | 15.63 | 19.28 | 960.625 | 99.8789 | 20.1849
2020-07-19 08:15:00 | 7.4 | 4.539 | 7.825 | 23.16 | 7.635 | 21.8167 | 7.55 | 6.035 | 19.31 | 960.326 | 99.8806 | 26.492
2020-07-19 08:30:00 | 8.08 | 0.014 | 8.23 | 18.5 | 9.21 | 17.427 | 9.38 | 4.12 | 19.25 | 960.617 | 99.8805 | 41.4857
2020-07-19 08:45:00 | 8.1 | 357.1 | 7.935 | 18.51 | 8.98 | 17.4364 | 9.21 | 355.6 | 19.43 | 960.603 | 99.8757 | 43.9306
2020-07-19 09:00:00 | 6.736 | 356 | 7.355 | 22.35 | 8.08 | 21.0537 | 8.38 | 352 | 19.49 | 960.751 | 99.9035 | 43.1225
2020-07-19 09:15:00 | 6.846 | 354.5 | 7.797 | 21.21 | 8.91 | 19.9798 | 9.25 | 351.3 | 19.55 | 960.603 | 99.898 | 44.8554
2020-07-19 09:30:00 | 7.734 | 357.9 | 7.746 | 22.56 | 8.7 | 21.2515 | 9.02 | 356 | 19.8 | 960.9 | 99.1815 | 52.1492
2020-07-19 09:45:00 | 7.446 | 357.1 | 8.64 | 23.23 | 9.32 | 21.8827 | 9.85 | 354.4 | 20.08 | 960.603 | 97.1351 | 62.3949
2020-07-19 10:00:00 | 9.85 | 5.63 | 10.86 | 23.41 | 11.4 | 22.0522 | 11.49 | 4.79 | 20.28 | 960.751 | 93.8268 | 57.3588
2020-07-19 10:15:00 | 9.69 | 359.4 | 9.49 | 21.26 | 10.28 | 20.0269 | 10.67 | 357.5 | 20.36 | 960.9 | 93.7245 | 60.6435
2020-07-19 10:30:00 | 7.839 | 357.3 | 8.27 | 22.15 | 9.42 | 20.8653 | 9.72 | 355.3 | 20.5 | 961.048 | 92.87 | 48.336
2020-07-19 10:45:00 | 5.274 | 354.6 | 7.22 | 27.49 | 7.729 | 25.8956 | 8.06 | 348.4 | 20.68 | 961.337 | 91.2652 | 38.6333
2020-07-19 11:00:00 | 7.77 | 354.9 | 8.4 | 25.08 | 8.92 | 23.6254 | 9.41 | 351.5 | 20.82 | 960.981 | 91.3264 | 38.6037
2020-07-19 11:15:00 | 5.531 | 356.2 | 7.11 | 27.76 | 8.08 | 26.1499 | 8.41 | 350.3 | 21.08 | 961.082 | 90.4349 | 40.6323
2020-07-19 11:30:00 | 7.405 | 2.299 | 8.33 | 24.57 | 8.64 | 23.1449 | 9.11 | 359.1 | 21.07 | 961.083 | 90.2643 | 40.5103
2020-07-19 11:45:00 | 5.347 | 356.5 | 6.608 | 24.04 | 7.279 | 22.6457 | 7.736 | 345.4 | 21.45 | 960.905 | 90.0256 | 40.6211
2020-07-19 12:00:00 | 7.331 | 357 | 8.92 | 23.31 | 9.96 | 21.958 | 10.16 | 355.7 | 21.44 | 961.052 | 87.2293 | 42.5018
2020-07-19 12:15:00 | 5.83 | 359.6 | 7.67 | 27.02 | 8.16 | 25.4528 | 8.34 | 351.3 | 21.83 | 961.2 | 85.6607 | 40.1777
2020-07-19 12:30:00 | 6.68 | 355 | 8.24 | 26.31 | 9.96 | 24.784 | 10.32 | 352.8 | 21.9 | 961.497 | 82.3162 | 34.3288
2020-07-19 12:45:00 | 5.206 | 358.5 | 6.657 | 28.61 | 6.8 | 26.9506 | 6.909 | 348.3 | 22.37 | 961.497 | 82.3732 | 32.0823
2020-07-19 13:00:00 | 7.584 | 8.44 | 8.49 | 27.46 | 7.424 | 25.8673 | 7.589 | 6.307 | 22.26 | 961.497 | 82.5768 | 30.6377
2020-07-19 13:15:00 | 4.852 | 358.4 | 6.194 | 25.36 | 7.116 | 23.8891 | 7.39 | 347.8 | 22.7 | 961.942 | 78.8953 | 36.6149
2020-07-19 13:30:00 | 6.792 | 5.837 | 7.693 | 32.94 | 7.123 | 31.0295 | 7.421 | 359.9 | 23.01 | 962.238 | 77.1807 | 35.6516
2020-07-19 13:45:00 | 4.716 | 354.3 | 6.284 | 24.31 | 7.787 | 22.9 | 7.971 | 350 | 23.15 | 962.535 | 76.1548 | 27.6079
2020-07-19 14:00:00 | 3.633 | 15.67 | 5.767 | 23.64 | 5.91 | 22.2689 | 5.574 | 11.84 | 23.33 | 962.377 | 76.2911 | 27.3714
2020-07-19 14:15:00 | 3.736 | 0.356 | 5.512 | 24.27 | 5.475 | 22.8623 | 5.592 | 348.8 | 23.59 | 963.128 | 76.5639 | 21.4042
2020-07-19 14:30:00 | 3.701 | 4.698 | 4.988 | 24.25 | 5.018 | 22.8435 | 5.062 | 356.1 | 23.87 | 963.284 | 72.5974 | 25.221
2020-07-19 14:45:00 | 3.391 | 0.368 | 5.236 | 18.65 | 5.628 | 17.5683 | 5.877 | 350.3 | 24.29 | 962.688 | 72.8357 | 25.0252
2020-07-19 15:00:00 | 3.227 | 20.49 | 4.529 | 31.19 | 5.015 | 29.381 | 4.365 | 7.035 | 24.07 | 962.39 | 71.6428 | 19.978
2020-07-19 15:15:00 | 2.958 | 12.36 | 4.903 | 29.79 | 5.02 | 28.0622 | 4.948 | 3.562 | 24.05 | 962.835 | 71.5065 | 15.7363
2020-07-19 15:30:00 | 4.127 | 348.8 | 4.461 | 3.59 | 4.077 | 3.3818 | 4.198 | 341 | 24.2 | 962.687 | 71.4383 | 12.5071
2020-07-19 15:45:00 | 2.661 | 9.79 | 4.351 | 22.31 | 5.44 | 21.016 | 5.302 | 4.597 | 24.54 | 963.131 | 71.0975 | 13.9554
2020-07-19 16:00:00 | 4.541 | 11.49 | 7.094 | 30.2 | 5.104 | 34.2417 | 4.892 | 7.746 | 24.27 | 962.39 | 68.5072 | 14.2325
2020-07-19 16:15:00 | 2.813 | 13.12 | 5.108 | 33.33 | 4.4 | 31.3969 | 4.325 | 357.9 | 24.15 | 962.538 | 71.3361 | 8.8787
2020-07-19 16:30:00 | 3.426 | 2.633 | 4.246 | 26.38 | 3.611 | 32.4048 | 3.555 | 354.1 | 24.1 | 962.725 | 70.4158 | 10.1276
2020-07-19 16:45:00 | 3.421 | 2.652 | 4.599 | 29.35 | 4.667 | 27.6477 | 4.626 | 358.4 | 23.89 | 962.779 | 72.2948 | 6.8798
2020-07-19 17:00:00 | 2.567 | 0.4 | 3.496 | 23.77 | 4.188 | 10.1077 | 4.135 | 348.9 | 23.75 | 962.534 | 72.9501 | 3.7133
2020-07-19 17:15:00 | 2.877 | 2.763 | 3.52 | 17.75 | 4.328 | 16.7205 | 4.377 | 358.7 | 23.68 | 962.535 | 71.9618 | 2.5753
2020-07-19 17:30:00 | 3.585 | 10.67 | 4.829 | 29.51 | 3.817 | 23.0413 | 3.822 | 6.056 | 23.61 | 962.09 | 71.932 | 2.5642
2020-07-19 17:45:00 | 3.192 | 6.067 | 4.175 | 22.57 | 4.133 | 22.9754 | 3.746 | 10.06 | 23.54 | 962.238 | 73.7768 | 1.4632
2020-07-19 18:00:00 | 2.559 | 13.27 | 4.614 | 31.79 | 3.878 | 29.9462 | 3.494 | 12.8 | 23.44 | 962.09 | 75.3489 | 1.9583
2020-07-19 18:15:00 | 3.355 | 9.44 | 4.458 | 25.87 | 3.949 | 24.5862 | 3.552 | 12.39 | 23.35 | 962.238 | 73.1664 | 2.9596
2020-07-19 18:30:00 | 3.442 | 11.39 | 4.19 | 24.38 | 3.756 | 22.966 | 3.435 | 6.786 | 23.36 | 962.09 | 71.3263 | 2.4053
2020-07-19 18:45:00 | 3.164 | 8.73 | 3.978 | 23.44 | 3.715 | 22.7681 | 3.517 | 9.82 | 23.35 | 962.09 | 72.7582 | 0.98652
2020-07-19 19:00:00 | 2.206 | 11.97 | 3.528 | 28.23 | 3.517 | 26.2535 | 3.185 | 15.48 | 23.28 | 962.09 | 73.2356 | -0.52467
2020-07-19 19:15:00 | 1.505 | 11.04 | 2.597 | 26.88 | 3.077 | 25.321 | 2.837 | 15.43 | 23.22 | 962.238 | 72.8946 | -0.3547
2020-07-19 19:30:00 | 0 | 9.02 | 0.447 | 13.78 | 0.947 | 22.0993 | 0.684 | 7.22 | 23.35 | 962.535 | 72.0764 | -0.2882
2020-07-19 19:45:00 | 0 | 3.358 | 0.03 | 13.83 | 0.093 | 13.0279 | 0.012 | 7.223 | 23.1 | 962.535 | 73.5788 | -0.2882
2020-07-19 20:00:00 | 0 | 3.355 | 0.177 | 13.83 | 1.216 | 13.0279 | 1.102 | 6.337 | 23.13 | 962.683 | 70.2116 | -0.26972
2020-07-19 20:15:00 | 0 | 327.7 | 1.237 | 13.73 | 1.526 | 12.9337 | 1.392 | 343.8 | 23.3 | 963.128 | 72.532 | -0.26972
2020-07-19 20:30:00 | 0.72 | 332.6 | 1.746 | 7.102 | 2.07 | 12.9337 | 1.986 | 341.8 | 23.18 | 963.276 | 70.4518 | -0.25125
2020-07-19 20:45:00 | 0.06 | 322.3 | 1.36 | 354.2 | 1.34 | 333.656 | 1.146 | 342 | 23.29 | 963.425 | 73.1458 | -0.25125
2020-07-19 21:00:00 | 0 | 328.2 | 1.378 | 352.5 | 1.29 | 333.656 | 1.062 | 342 | 23.22 | 963.722 | 72.6002 | -0.26972
2020-07-19 21:15:00 | 0 | 328.9 | 1.35 | 330.5 | 1.185 | 311.331 | 0.944 | 342 | 23.24 | 963.87 | 69.7698 | -0.26972
2020-07-19 21:30:00 | 0 | 316 | 1.191 | 330.5 | 0.848 | 311.331 | 0.505 | 342 | 23.17 | 963.87 | 73.6573 | -0.26972
2020-07-19 21:45:00 | 0 | 315.9 | 0 | 330.5 | 0.096 | 311.331 | 0.037 | 341.9 | 23.06 | 964.042 | 71.7135 | -0.2882
2020-07-19 22:00:00 | 0 | 315.9 | 0.759 | 330.5 | 0 | 311.331 | 0 | 341.9 | 23.09 | 963.87 | 72.873 | -0.26972
2020-07-19 22:15:00 | 0 | 287.1 | 0.173 | 330.5 | 0 | 311.331 | 0 | 341.9 | 23.08 | 963.943 | 71.4066 | -0.2882
2020-07-19 22:30:00 | 0 | 287.1 | 0.316 | 330.5 | 0 | 311.331 | 0.188 | 341.9 | 23.16 | 964.103 | 70.6223 | -0.26972
2020-07-19 22:45:00 | 1.545 | 232.9 | 2.278 | 230.9 | 1.749 | 217.508 | 1.683 | 248.8 | 22.98 | 963.948 | 72.1568 | -0.2882
2020-07-19 23:00:00 | 2.52 | 217.9 | 2.784 | 223.1 | 2.64 | 210.16 | 2.676 | 230.1 | 22.92 | 964.355 | 75.9079 | -0.26972
2020-07-19 23:15:00 | 3.68 | 200.5 | 3.863 | 203.9 | 3.644 | 192.074 | 3.746 | 220.1 | 22.75 | 964.328 | 77.988 | -0.2882
2020-07-19 23:30:00 | 3.649 | 199.8 | 3.771 | 205.9 | 3.197 | 193.958 | 3.18 | 212.9 | 22.87 | 964.464 | 76.3171 | 0.014779
2020-07-19 23:45:00 | 3.741 | 197 | 4.215 | 210.3 | 3.812 | 198.103 | 3.832 | 204.5 | 22.84 | 964.469 | 75.8397 | 0.15518