## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-21 00:00:00 | 8.01 | 142.6 | 8.27 | 159.7 | 9.38 | 150.437 | 9.46 | 148.1 | 24.09 | 968.172 | 71.3945 | 50.5529
2020-07-21 00:15:00 | 9.18 | 144.6 | 9.2 | 162.4 | 9.44 | 152.981 | 9.45 | 149.4 | 24.03 | 967.726 | 71.2581 | 49.4038
2020-07-21 00:30:00 | 9.95 | 138.6 | 10.61 | 153.6 | 11.18 | 144.691 | 11.06 | 144.5 | 23.94 | 967.578 | 71.5308 | 48.5671
2020-07-21 00:45:00 | 10.11 | 138.5 | 11 | 154.9 | 11.71 | 145.916 | 11.58 | 145.8 | 23.69 | 967.281 | 70.6785 | 54.148
2020-07-21 01:00:00 | 11.32 | 140 | 11.43 | 155.8 | 12.39 | 146.764 | 12.33 | 145.5 | 23.76 | 967.133 | 70.3052 | 53.93
2020-07-21 01:15:00 | 11.37 | 141.2 | 12.09 | 156.4 | 12.92 | 147.329 | 12.72 | 147.3 | 23.64 | 966.985 | 69.5551 | 54.85
2020-07-21 01:30:00 | 11.03 | 140.1 | 12.08 | 154.9 | 13.02 | 145.916 | 12.78 | 145.9 | 23.69 | 967.133 | 70.1027 | 54.6615
2020-07-21 01:45:00 | 11.03 | 140.4 | 11.42 | 155.6 | 11.95 | 146.575 | 11.84 | 146 | 23.61 | 967.578 | 70.6488 | 48.6574
2020-07-21 02:00:00 | 9.35 | 135 | 9.69 | 152.4 | 11.2 | 143.561 | 11.14 | 141 | 23.7 | 967.43 | 71.8743 | 42.3318
2020-07-21 02:15:00 | 8.73 | 137.6 | 9.51 | 152.1 | 9.97 | 143.278 | 9.87 | 143.7 | 23.51 | 967.578 | 73.5156 | 41.1755
2020-07-21 02:30:00 | 9.61 | 136.2 | 9.83 | 149.7 | 10.14 | 141.017 | 10.09 | 142.4 | 23.45 | 967.43 | 72.8366 | 38.2047
2020-07-21 02:45:00 | 7.351 | 133.2 | 8.37 | 150.3 | 8.71 | 141.583 | 8.7 | 137.5 | 23.28 | 967.875 | 74.5412 | 35.7698
2020-07-21 03:00:00 | 6.682 | 139.9 | 6.81 | 153.8 | 7.192 | 144.88 | 7.199 | 144.6 | 23.29 | 968.172 | 75.7712 | 33.3977
2020-07-21 03:15:00 | 7.494 | 137.1 | 7.728 | 150.6 | 7.446 | 141.865 | 7.298 | 141.4 | 23.35 | 968.023 | 74.2365 | 27.4121
2020-07-21 03:30:00 | 6.634 | 132 | 7.304 | 148 | 7.53 | 139.416 | 7.512 | 138.5 | 23.14 | 968.023 | 76.0443 | 25.7789
2020-07-21 03:45:00 | 7.607 | 129.4 | 7.646 | 145.1 | 7.836 | 136.684 | 7.711 | 135.7 | 23.07 | 968.023 | 75.7033 | 27.0537
2020-07-21 04:00:00 | 7.195 | 131.8 | 7.491 | 145.7 | 7.736 | 137.249 | 7.752 | 136.5 | 22.98 | 968.023 | 76.6581 | 29.9282
2020-07-21 04:15:00 | 7.548 | 136.6 | 8.23 | 150.8 | 8.37 | 142.054 | 8.34 | 144.4 | 22.93 | 968.172 | 77.5447 | 26.6731
2020-07-21 04:30:00 | 7.037 | 132.2 | 7.542 | 150.8 | 8.32 | 142.054 | 8.26 | 136.7 | 23.08 | 968.023 | 76.2489 | 32.5811
2020-07-21 04:45:00 | 5.692 | 131.8 | 6.45 | 152.1 | 7.472 | 143.278 | 7.441 | 136.1 | 23.11 | 968.468 | 76.8627 | 26.4847
2020-07-21 05:00:00 | 5.98 | 133.8 | 6.284 | 152.3 | 6.429 | 143.467 | 6.338 | 136.9 | 23.08 | 968.616 | 76.8627 | 23.6322
2020-07-21 05:15:00 | 5.423 | 130.7 | 6.008 | 146.5 | 6.495 | 138.003 | 6.427 | 135.8 | 23.03 | 968.616 | 76.8968 | 21.9511
2020-07-21 05:30:00 | 6.317 | 128 | 6.877 | 141.9 | 6.979 | 133.67 | 6.919 | 135.4 | 23.21 | 968.468 | 76.6922 | 30.6857
2020-07-21 05:45:00 | 6.269 | 130.6 | 6.688 | 148.5 | 6.892 | 139.887 | 6.781 | 137.6 | 23.14 | 968.765 | 76.9991 | 32.123
2020-07-21 06:00:00 | 8.12 | 130.6 | 8.46 | 146.2 | 8.45 | 137.72 | 8.38 | 136.1 | 23.22 | 969.062 | 77.0989 | 35.5703
2020-07-21 06:15:00 | 7.747 | 131 | 8.1 | 148.5 | 8.65 | 139.887 | 8.65 | 137.2 | 23.2 | 968.913 | 77.8741 | 38.7441
2020-07-21 06:30:00 | 8.92 | 131.6 | 9.22 | 149.7 | 9.4 | 141.017 | 9.35 | 135.6 | 23.3 | 969.062 | 78.3157 | 40.1483
2020-07-21 06:45:00 | 7.658 | 133.2 | 7.92 | 150 | 8.09 | 141.3 | 8.15 | 138.9 | 23.01 | 969.358 | 79.9864 | 41.0719
2020-07-21 07:00:00 | 8.98 | 130.9 | 9.66 | 146.3 | 10.12 | 137.815 | 9.99 | 137.3 | 22.96 | 969.21 | 80.3955 | 39.3353
2020-07-21 07:15:00 | 7.173 | 129.2 | 7.381 | 146.9 | 8.07 | 138.38 | 8.12 | 135.4 | 22.82 | 969.655 | 81.4184 | 34.1368
2020-07-21 07:30:00 | 6.396 | 125.6 | 6.821 | 141 | 7.322 | 132.822 | 7.365 | 132.7 | 22.81 | 969.655 | 82.0321 | 37.4842
2020-07-21 07:45:00 | 8.05 | 134.8 | 8.24 | 150.3 | 8.49 | 141.583 | 8.45 | 139.2 | 23.26 | 969.803 | 80.9397 | 32.0047
2020-07-21 08:00:00 | 7.66 | 132.8 | 7.956 | 147.7 | 8.44 | 139.133 | 8.33 | 138.5 | 23.42 | 970.396 | 80.1115 | 32.9618
2020-07-21 08:15:00 | 6.394 | 134.4 | 6.445 | 151.7 | 6.577 | 142.901 | 6.527 | 138.4 | 23.81 | 970.515 | 79.4273 | 26.5438
2020-07-21 08:30:00 | 6.399 | 137.1 | 6.473 | 151.1 | 6.709 | 142.336 | 6.72 | 138.9 | 23.36 | 970.467 | 82.4136 | 24.2604
2020-07-21 08:45:00 | 6.787 | 133 | 7.138 | 147.4 | 6.745 | 138.851 | 6.636 | 138.4 | 23.85 | 970.324 | 81.7314 | 23.3514
2020-07-21 09:00:00 | 6.585 | 135.9 | 6.918 | 154 | 6.477 | 145.068 | 6.356 | 142.1 | 24.4 | 970.991 | 79.7546 | 16.1945
2020-07-21 09:15:00 | 7.584 | 144.5 | 7.81 | 161.3 | 7.652 | 151.945 | 7.538 | 148 | 24.2 | 970.842 | 80.3681 | 15.1673
2020-07-21 09:30:00 | 5.957 | 142.7 | 6.061 | 160.8 | 5.77 | 151.474 | 5.618 | 146.5 | 24.24 | 971.139 | 80.3681 | 13.8039
2020-07-21 09:45:00 | 5.814 | 137.7 | 5.918 | 151.7 | 6.02 | 142.901 | 5.954 | 144.9 | 24.15 | 971.435 | 80.9134 | 12.9874
2020-07-21 10:00:00 | 4.08 | 130.9 | 4.555 | 151.9 | 4.618 | 143.09 | 4.571 | 137.2 | 24.63 | 971.287 | 79.2093 | 10.8813
2020-07-21 10:15:00 | 6.669 | 152.4 | 6.711 | 169.6 | 6.424 | 159.763 | 6.308 | 156.3 | 24.51 | 971.584 | 78.3231 | 13.3273
2020-07-21 10:30:00 | 6.343 | 152.7 | 6.378 | 167.7 | 6.274 | 157.973 | 6.191 | 155 | 25.23 | 971.435 | 77.2325 | 14.687
2020-07-21 10:45:00 | 5.919 | 141.2 | 6.307 | 161 | 6.139 | 151.662 | 6.104 | 145.1 | 25.68 | 971.435 | 75.187 | 18.3449
2020-07-21 11:00:00 | 5.498 | 154.8 | 5.987 | 171.4 | 5.478 | 161.459 | 5.404 | 158.1 | 25.4 | 971.435 | 75.7311 | 15.8287
2020-07-21 11:15:00 | 6.233 | 145 | 6.335 | 158.9 | 5.531 | 149.684 | 5.467 | 151.3 | 25.37 | 971.435 | 75.3896 | 15.5627
2020-07-21 11:30:00 | 7.088 | 150.8 | 7.317 | 167.5 | 7.126 | 157.785 | 7.064 | 155.5 | 25.63 | 971.287 | 74.4337 | 18.4484
2020-07-21 11:45:00 | 6.481 | 148.5 | 6.432 | 158.7 | 6.05 | 149.495 | 5.936 | 161.7 | 26 | 971.287 | 71.0572 | 17.5136
2020-07-21 12:00:00 | 6.81 | 153.6 | 7.056 | 167.7 | 6.498 | 157.973 | 6.356 | 157.4 | 25.82 | 971.435 | 73.3758 | 17.436
2020-07-21 12:15:00 | 5.332 | 139 | 5.486 | 154.3 | 5.45 | 145.351 | 5.432 | 145.2 | 26.14 | 971.287 | 70.7166 | 11.8605
2020-07-21 12:30:00 | 5.357 | 148.2 | 5.507 | 164.8 | 5.427 | 155.242 | 5.312 | 152.7 | 26.37 | 972.177 | 68.6414 | 7.7148
2020-07-21 12:45:00 | 4.195 | 144.5 | 4.515 | 159.7 | 4.476 | 150.437 | 4.408 | 145.5 | 26.65 | 972.161 | 69.7305 | 6.4697
2020-07-21 13:00:00 | 5.16 | 144.2 | 5.422 | 158.7 | 5.053 | 149.495 | 5.103 | 148.1 | 26.77 | 971.463 | 65.7952 | 7.1421
2020-07-21 13:15:00 | 4.997 | 145.6 | 4.995 | 164.4 | 4.438 | 154.865 | 4.342 | 148.3 | 26.78 | 971.139 | 64.8382 | 6.9648
2020-07-21 13:30:00 | 4.135 | 154.9 | 4.389 | 177.8 | 3.985 | 167.488 | 3.909 | 156.4 | 26.99 | 971.436 | 66.8825 | 5.5681
2020-07-21 13:45:00 | 4.356 | 138.6 | 4.397 | 152.8 | 3.98 | 143.938 | 3.848 | 141.7 | 26.66 | 971.139 | 68.2113 | 8.6053
2020-07-21 14:00:00 | 3.958 | 140 | 4.307 | 154.2 | 4.466 | 145.256 | 4.362 | 146.3 | 26.86 | 971.139 | 64.9074 | 9.3886
2020-07-21 14:15:00 | 5.852 | 136.3 | 6.031 | 151.1 | 6.02 | 142.336 | 5.913 | 142.3 | 27.35 | 970.993 | 62.2151 | 12.1376
2020-07-21 14:30:00 | 5.278 | 151 | 5.348 | 167.9 | 5.46 | 158.162 | 5.353 | 157.2 | 27.44 | 971.139 | 61.1244 | 11.3653
2020-07-21 14:45:00 | 5.865 | 127.4 | 6.289 | 143.3 | 6.114 | 134.989 | 6.028 | 135.6 | 27.9 | 971.436 | 58.9097 | 12.1856
2020-07-21 15:00:00 | 5.533 | 136.1 | 5.734 | 153.8 | 5.854 | 144.88 | 5.732 | 142.7 | 28.31 | 971.436 | 55.6729 | 14.9826
2020-07-21 15:15:00 | 5.896 | 151.2 | 5.954 | 169.4 | 5.414 | 159.575 | 5.332 | 157.6 | 27.56 | 971.139 | 58.5008 | 17.3806
2020-07-21 15:30:00 | 4.974 | 178 | 4.565 | 205.4 | 4.232 | 193.487 | 4.171 | 173.5 | 28.28 | 970.546 | 57.2402 | 15.6514
2020-07-21 15:45:00 | 6.044 | 151.6 | 6.34 | 166.8 | 5.938 | 157.126 | 5.837 | 155 | 27.81 | 970.843 | 56.6951 | 14.9346
2020-07-21 16:00:00 | 5.633 | 151.1 | 5.289 | 170.6 | 5.196 | 160.705 | 5.131 | 154.2 | 27.77 | 970.695 | 58.2623 | 11.018
2020-07-21 16:15:00 | 5.457 | 140.2 | 5.461 | 159.1 | 5.786 | 149.872 | 5.702 | 149.6 | 27.94 | 970.843 | 58.5008 | 16.83
2020-07-21 16:30:00 | 6.315 | 138.1 | 6.44 | 155.3 | 6.198 | 146.293 | 6.106 | 144.8 | 27.83 | 970.695 | 59.2163 | 15.3669
2020-07-21 16:45:00 | 5.738 | 138.1 | 5.985 | 154.1 | 5.898 | 145.162 | 5.816 | 142.9 | 27.81 | 970.25 | 58.9438 | 13.5194
2020-07-21 17:00:00 | 5.038 | 144.6 | 5.397 | 162.6 | 5.363 | 153.169 | 5.258 | 148.3 | 27.63 | 969.953 | 57.3083 | 12.5329
2020-07-21 17:15:00 | 6.177 | 144.8 | 6.427 | 161.1 | 6.088 | 151.756 | 6.056 | 148 | 27.73 | 970.102 | 55.9455 | 13.9776
2020-07-21 17:30:00 | 5.436 | 159.8 | 5.65 | 172.2 | 4.626 | 162.212 | 4.578 | 169.3 | 27.64 | 969.805 | 56.7632 | 13.5527
2020-07-21 17:45:00 | 5.16 | 153.7 | 5.228 | 169.2 | 5.094 | 159.386 | 4.968 | 158.6 | 27.42 | 969.857 | 57.323 | 14.2104
2020-07-21 18:00:00 | 5.651 | 158 | 5.53 | 169.5 | 5.013 | 159.669 | 4.958 | 161.9 | 27.3 | 969.951 | 58.2129 | 13.8705
2020-07-21 18:15:00 | 3.958 | 155.7 | 4.077 | 171.9 | 4.005 | 161.93 | 4.016 | 162.2 | 27.27 | 969.804 | 59.6423 | 11.018
2020-07-21 18:30:00 | 4.655 | 159.4 | 4.742 | 176.9 | 4.539 | 166.64 | 4.533 | 160.7 | 27 | 969.211 | 60.9727 | 8.8898
2020-07-21 18:45:00 | 4.747 | 153 | 4.814 | 169.7 | 4.88 | 159.857 | 4.754 | 156.9 | 26.89 | 969.211 | 62.1673 | 7.4525
2020-07-21 19:00:00 | 3.748 | 153.5 | 3.732 | 170 | 3.789 | 160.14 | 3.7 | 155.7 | 26.69 | 969.062 | 63.8718 | 9.1189
2020-07-21 19:15:00 | 5.36 | 148.1 | 5.563 | 164.7 | 5.773 | 155.147 | 5.638 | 153.1 | 26.37 | 969.062 | 65.5078 | 13.8113
2020-07-21 19:30:00 | 4.665 | 164 | 4.773 | 186.4 | 4.539 | 175.589 | 4.66 | 166.3 | 26.28 | 969.088 | 64.5535 | 18.3819
2020-07-21 19:45:00 | 5.835 | 159.4 | 5.964 | 174.9 | 5.91 | 164.756 | 6.058 | 164.7 | 26.2 | 968.875 | 60.1227 | 19.664
2020-07-21 20:00:00 | 8.02 | 169.2 | 7.718 | 183.6 | 6.572 | 172.951 | 6.524 | 171 | 26.15 | 968.891 | 60.4651 | 23.2332
2020-07-21 20:15:00 | 6.44 | 155.6 | 6.644 | 169.1 | 6.279 | 159.292 | 6.15 | 165.3 | 25.87 | 968.763 | 61.9714 | 22.7713
2020-07-21 20:30:00 | 7.124 | 159.2 | 7.391 | 172.3 | 7.642 | 162.307 | 7.731 | 163.8 | 25.6 | 968.759 | 64.0191 | 20.196
2020-07-21 20:45:00 | 7.259 | 153.7 | 7.754 | 170.2 | 8.1 | 160.328 | 8.02 | 159.7 | 25.43 | 968.616 | 66.9848 | 24.7407
2020-07-21 21:00:00 | 7.285 | 150.3 | 7.616 | 165.3 | 7.52 | 155.713 | 7.492 | 158.6 | 25.2 | 968.913 | 68.6552 | 25.0954
2020-07-21 21:15:00 | 7.372 | 152.3 | 7.907 | 167.7 | 8.7 | 157.973 | 8.74 | 157.4 | 24.97 | 968.616 | 69.4733 | 26.2334
2020-07-21 21:30:00 | 8.18 | 150.6 | 8.76 | 166.4 | 9.29 | 156.749 | 9.21 | 155.7 | 24.9 | 968.913 | 70.1556 | 23.4438
2020-07-21 21:45:00 | 5.344 | 147 | 5.76 | 162.2 | 6.78 | 152.792 | 6.947 | 151.3 | 24.53 | 969.062 | 72.6824 | 19.1689
2020-07-21 22:00:00 | 6.299 | 149.4 | 6.721 | 166.9 | 8.01 | 157.22 | 8.16 | 152.8 | 24.27 | 968.913 | 75.8243 | 21.8328
2020-07-21 22:15:00 | 6.894 | 147.7 | 7.373 | 163.9 | 7.469 | 154.394 | 7.377 | 154.4 | 24.16 | 968.765 | 79.4401 | 22.1395
2020-07-21 22:30:00 | 5.911 | 147.6 | 6.217 | 161.8 | 6.587 | 152.416 | 6.598 | 151.3 | 23.98 | 969.062 | 79.6108 | 19.0395
2020-07-21 22:45:00 | 5.883 | 150.9 | 6.187 | 167.7 | 6.732 | 157.973 | 6.82 | 155.8 | 23.9 | 968.765 | 80.8728 | 20.0778
2020-07-21 23:00:00 | 6.521 | 144.2 | 6.961 | 159.9 | 7.2 | 150.626 | 7.016 | 152.1 | 23.82 | 969.062 | 82.9185 | 18.2119
2020-07-21 23:15:00 | 5.181 | 160.9 | 5.149 | 174.6 | 5.285 | 164.473 | 5.32 | 165.7 | 23.63 | 968.913 | 84.4869 | 15.7992
2020-07-21 23:30:00 | 5.789 | 154.7 | 6.069 | 167.9 | 5.292 | 158.162 | 5.123 | 161.2 | 23.6 | 968.765 | 85.7824 | 15.4777
2020-07-21 23:45:00 | 6.126 | 151.3 | 6.534 | 166.6 | 6.294 | 156.937 | 6.191 | 159 | 23.54 | 968.765 | 86.4644 | 13.1758