## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-22 00:00:00 | 5.822 | 158.1 | 5.668 | 173.7 | 5.671 | 163.625 | 5.653 | 164.1 | 23.42 | 968.468 | 87.2826 | 13.5712
2020-07-22 00:15:00 | 5.158 | 157.8 | 5.443 | 173 | 5.221 | 162.966 | 5.149 | 162.7 | 23.31 | 968.32 | 88.9192 | 12.5144
2020-07-22 00:30:00 | 5.681 | 151.7 | 5.839 | 168.9 | 6.218 | 159.104 | 6.058 | 157.8 | 23.12 | 968.468 | 90.761 | 14.2547
2020-07-22 00:45:00 | 6.108 | 157.8 | 6.043 | 170.1 | 5.374 | 160.234 | 5.284 | 164.2 | 23.04 | 968.023 | 89.1995 | 10.0685
2020-07-22 01:00:00 | 4.532 | 146.8 | 4.821 | 163.5 | 5.394 | 154.017 | 5.286 | 153.5 | 22.89 | 968.023 | 91.7614 | 7.8589
2020-07-22 01:15:00 | 5.426 | 145.9 | 5.632 | 163 | 5.982 | 153.546 | 5.809 | 152.8 | 22.81 | 968.172 | 92.31 | 7.3971
2020-07-22 01:30:00 | 4.555 | 151.5 | 5.021 | 167.8 | 5.173 | 158.068 | 4.999 | 156.7 | 22.81 | 967.726 | 91.2529 | 4.5779
2020-07-22 01:45:00 | 3.71 | 145.1 | 4.169 | 162.2 | 4.819 | 152.792 | 4.698 | 151.1 | 22.75 | 967.875 | 92.0715 | 4.7294
2020-07-22 02:00:00 | 4.469 | 144.4 | 4.548 | 157.9 | 4.458 | 148.742 | 4.301 | 149.2 | 22.71 | 967.578 | 89.8549 | 4.2047
2020-07-22 02:15:00 | 3.881 | 150.3 | 4.098 | 169 | 4.506 | 159.198 | 4.5 | 151.9 | 22.62 | 967.43 | 90.0597 | 4.6481
2020-07-22 02:30:00 | 3.537 | 151.6 | 3.998 | 169.4 | 4.537 | 159.575 | 4.449 | 153.7 | 22.58 | 967.43 | 87.6044 | 4.9733
2020-07-22 02:45:00 | 3.802 | 149.9 | 3.776 | 173.1 | 4.166 | 163.06 | 4.204 | 154 | 22.56 | 967.133 | 85.6607 | 6.429
2020-07-22 03:00:00 | 3.021 | 134.7 | 3.413 | 140.7 | 3.487 | 132.539 | 3.427 | 146.4 | 22.66 | 966.837 | 83.0008 | 5.7566
2020-07-22 03:15:00 | 3.687 | 144.5 | 3.835 | 157.2 | 3.975 | 148.082 | 3.98 | 149.5 | 22.6 | 966.688 | 83.41 | 6.2554
2020-07-22 03:30:00 | 4.461 | 153 | 4.75 | 170.6 | 4.931 | 160.705 | 4.787 | 157.3 | 22.45 | 966.837 | 87.9113 | 4.3562
2020-07-22 03:45:00 | 4.047 | 157.7 | 4.256 | 174.3 | 4.392 | 164.191 | 4.349 | 161.2 | 22.28 | 966.391 | 87.5703 | 3.7059
2020-07-22 04:00:00 | 3.861 | 180 | 3.597 | 201.7 | 2.566 | 190.001 | 2.439 | 180.5 | 22.48 | 966.095 | 87.1611 | 3.3549
2020-07-22 04:15:00 | 2.321 | 148.6 | 2.525 | 154.8 | 2.5 | 145.822 | 2.498 | 149.7 | 22.29 | 966.243 | 88.9684 | 1.7403
2020-07-22 04:30:00 | 1.798 | 128.4 | 2.482 | 137.2 | 2.362 | 129.242 | 2.284 | 138.5 | 22.21 | 966.243 | 91.0145 | 0.11454
2020-07-22 04:45:00 | 0.44 | 93.1 | 1.27 | 120.7 | 0.942 | 113.699 | 0.884 | 119.9 | 22.21 | 966.398 | 90.7417 | -0.43969
2020-07-22 05:00:00 | 2.431 | 116.5 | 2.462 | 125.2 | 2.151 | 117.938 | 2.078 | 117.6 | 21.99 | 966.251 | 93.572 | -0.31037
2020-07-22 05:15:00 | 2.265 | 100.9 | 2.894 | 109.7 | 3.041 | 103.337 | 3.043 | 111.9 | 21.86 | 966.003 | 94.3904 | -0.081287
2020-07-22 05:30:00 | 3.608 | 117 | 3.906 | 126.3 | 3.876 | 118.975 | 3.817 | 124.6 | 21.93 | 966.343 | 92.8218 | 0.18844
2020-07-22 05:45:00 | 2.827 | 113.1 | 3.162 | 126.5 | 3.603 | 119.163 | 3.601 | 120.9 | 22.14 | 966.692 | 92.0716 | 0.38796
2020-07-22 06:00:00 | 2.939 | 125.3 | 3.236 | 147.6 | 3.293 | 139.039 | 3.244 | 125.6 | 22.12 | 966.29 | 91.3214 | 1.0678
2020-07-22 06:15:00 | 3.011 | 126.4 | 3.175 | 142 | 3.214 | 133.764 | 3.163 | 130.3 | 22.14 | 966.542 | 91.2191 | 0.8609
2020-07-22 06:30:00 | 1.924 | 124.4 | 2.639 | 142 | 2.706 | 133.764 | 2.691 | 126.9 | 22.27 | 966.54 | 89.6163 | 0.67616
2020-07-22 06:45:00 | 1.186 | 137.5 | 1.83 | 153.1 | 1.852 | 144.22 | 1.794 | 138.1 | 22.28 | 966.846 | 90.2302 | 0.8572
2020-07-22 07:00:00 | 2.029 | 92.1 | 2.524 | 101.2 | 2.467 | 95.3304 | 2.422 | 99.9 | 22.35 | 966.837 | 92.2762 | 1.2045
2020-07-22 07:15:00 | 3.662 | 103.7 | 4.057 | 118.6 | 4.168 | 111.721 | 4.237 | 109.7 | 22.19 | 966.837 | 94.6291 | 1.7588
2020-07-22 07:30:00 | 2.613 | 100.1 | 3.418 | 114.4 | 3.896 | 107.765 | 4.011 | 104.4 | 22.27 | 966.837 | 96.5038 | 1.6183
2020-07-22 07:45:00 | 3.33 | 98.8 | 4.185 | 115.6 | 4.468 | 108.895 | 4.566 | 103.1 | 22.42 | 966.985 | 94.4221 | 2.1726
2020-07-22 08:00:00 | 3.526 | 100.7 | 4.453 | 117.7 | 5.058 | 110.873 | 5.192 | 107.1 | 22.49 | 966.837 | 94.0372 | 3.8574
2020-07-22 08:15:00 | 4.31 | 100.8 | 5.049 | 114.7 | 5.524 | 108.047 | 5.671 | 109.2 | 22.54 | 967.133 | 93.6256 | 5.9154
2020-07-22 08:30:00 | 2.74 | 98.3 | 3.451 | 111 | 3.848 | 104.562 | 3.944 | 104.4 | 22.61 | 966.837 | 94.0339 | 10.3677
2020-07-22 08:45:00 | 4.76 | 95.2 | 5.785 | 112.6 | 6.236 | 106.069 | 6.458 | 99.8 | 22.72 | 966.837 | 89.6693 | 16.6527
2020-07-22 09:00:00 | 6.486 | 103.1 | 7.718 | 118.3 | 7.823 | 111.439 | 7.966 | 108.5 | 22.43 | 966.837 | 85.1354 | 16.0615
2020-07-22 09:15:00 | 4.318 | 110.2 | 4.998 | 132 | 5.185 | 124.344 | 5.246 | 112.8 | 22.25 | 966.837 | 92.6059 | 22.5312
2020-07-22 09:30:00 | 5.092 | 111.8 | 5.645 | 128.8 | 5.877 | 121.33 | 5.9 | 115.7 | 21.86 | 966.985 | 94.6628 | 24.3638
2020-07-22 09:45:00 | 5.426 | 111.2 | 6.059 | 129.8 | 6.007 | 122.272 | 6.005 | 112.6 | 21.62 | 966.392 | 93.3674 | 22.8378
2020-07-22 10:00:00 | 6.47 | 109.3 | 7.301 | 127.1 | 7.892 | 119.728 | 8.06 | 111.3 | 21.37 | 966.392 | 95.4134 | 28.5057
2020-07-22 10:15:00 | 5.74 | 111.1 | 6.391 | 128.7 | 6.48 | 121.235 | 6.679 | 112.5 | 20.95 | 966.251 | 97.971 | 29.762
2020-07-22 10:30:00 | 5.268 | 106.1 | 6.118 | 126.8 | 6.009 | 119.446 | 6.221 | 107.4 | 20.8 | 966.261 | 97.6985 | 20.2293
2020-07-22 10:45:00 | 4.313 | 93.9 | 5.593 | 115.1 | 5.002 | 108.424 | 5.167 | 94.1 | 20.98 | 966.474 | 97.0526 | 14.7609
2020-07-22 11:00:00 | 3.083 | 73.52 | 3.934 | 94.2 | 4.166 | 88.7364 | 4.252 | 75.76 | 21.82 | 966.905 | 88.0484 | 20.5988
2020-07-22 11:15:00 | 2.52 | 61.44 | 4.471 | 72.4 | 4.6 | 68.2008 | 4.553 | 67.64 | 22.49 | 967.282 | 85.2489 | 24.7
2020-07-22 11:30:00 | 4.938 | 65.51 | 6.378 | 76.36 | 5.437 | 71.9311 | 5.34 | 72.51 | 22.52 | 966.837 | 83.0208 | 27.496
2020-07-22 11:45:00 | 3.161 | 70.15 | 4.52 | 86.8 | 3.812 | 81.7656 | 3.797 | 72.05 | 22.76 | 966.54 | 81.4787 | 19.3536
2020-07-22 12:00:00 | 3.552 | 58.81 | 4.573 | 77.96 | 4.387 | 73.4383 | 4.382 | 67.24 | 23.07 | 966.54 | 81.6772 | 16.128
2020-07-22 12:15:00 | 3.357 | 55.26 | 4.839 | 67.42 | 4.583 | 63.5096 | 4.339 | 66.38 | 22.85 | 966.243 | 82.1544 | 14.9272
2020-07-22 12:30:00 | 4.514 | 47.9 | 5.131 | 64.64 | 5.04 | 60.8909 | 4.988 | 50.57 | 22.8 | 965.502 | 79.5977 | 14.2067
2020-07-22 12:45:00 | 2.78 | 22.05 | 5.491 | 37.83 | 5.684 | 35.6359 | 5.47 | 29.31 | 22.88 | 965.057 | 78.7796 | 14.2547
2020-07-22 13:00:00 | 3.796 | 42.87 | 5.841 | 58.26 | 5.992 | 54.8809 | 5.89 | 52.42 | 23.45 | 965.205 | 76.5638 | 13.7522
2020-07-22 13:15:00 | 3.299 | 28.99 | 6.455 | 43.3 | 6.635 | 40.7886 | 6.28 | 34.77 | 23.65 | 964.752 | 72.4686 | 20.7392
2020-07-22 13:30:00 | 2.238 | 23.72 | 5.795 | 36.32 | 6.485 | 34.2134 | 6.134 | 32.06 | 23.57 | 964.583 | 73.8966 | 18.1676
2020-07-22 13:45:00 | 5.043 | 36.65 | 8.07 | 52.95 | 8.31 | 49.8789 | 8.16 | 41.09 | 23.6 | 964.271 | 75.1563 | 24.1717
2020-07-22 14:00:00 | 4.92 | 38.05 | 8 | 52.66 | 8.35 | 49.6057 | 8.23 | 43.76 | 23.34 | 964.053 | 77.2328 | 22.9007
2020-07-22 14:15:00 | 3.732 | 36.22 | 6.718 | 52.08 | 6.872 | 49.0594 | 6.669 | 40.77 | 23.33 | 964.013 | 77.9249 | 13.9776
2020-07-22 14:30:00 | 3.379 | 39.34 | 6.376 | 55.71 | 6.416 | 52.4788 | 6.308 | 41.47 | 23.48 | 963.867 | 78.6429 | 19.4275
2020-07-22 14:45:00 | 4.502 | 42.21 | 6.486 | 58.3 | 6.846 | 54.9186 | 6.753 | 46.35 | 23.47 | 963.413 | 77.9956 | 15.9987
2020-07-22 15:00:00 | 2.413 | 21.2 | 5.371 | 34.34 | 6.198 | 32.3483 | 5.77 | 25.71 | 23.48 | 963.276 | 79.4955 | 18.138
2020-07-22 15:15:00 | 3.731 | 43.58 | 6.757 | 55.96 | 7.225 | 52.7143 | 7.13 | 48.8 | 23.12 | 962.832 | 81.2021 | 16.6268
2020-07-22 15:30:00 | 4.006 | 33.45 | 6.412 | 49.68 | 6.193 | 46.7986 | 5.979 | 37.72 | 22.72 | 962.535 | 84.0771 | 12.2004
2020-07-22 15:45:00 | 4.869 | 44.97 | 7.171 | 61.16 | 6.671 | 57.6127 | 6.476 | 48.38 | 22.14 | 961.793 | 92.5332 | 14.517
2020-07-22 16:00:00 | 3.435 | 30.9 | 5.957 | 49.67 | 6.083 | 46.7891 | 5.971 | 34.69 | 21.38 | 961.2 | 96.8452 | 12.5181
2020-07-22 16:15:00 | 3.359 | 23.33 | 5.622 | 35.18 | 5.559 | 33.1396 | 5.388 | 29.16 | 21.14 | 960.983 | 98.4143 | 14.3582
2020-07-22 16:30:00 | 3.485 | 15.77 | 7.358 | 29.41 | 7.21 | 27.7042 | 6.832 | 22.92 | 20.96 | 961.301 | 98.9642 | 16.3756
2020-07-22 16:45:00 | 4.18 | 14.2 | 6.836 | 27.19 | 7.174 | 25.613 | 6.715 | 20.72 | 20.83 | 961.196 | 99.8937 | 13.4677
2020-07-22 17:00:00 | 4.045 | 15.79 | 6.317 | 28.25 | 6.348 | 26.6115 | 6.109 | 22.52 | 20.65 | 961.196 | 99.8963 | 12.278
2020-07-22 17:15:00 | 4.502 | 10.02 | 5.537 | 23.41 | 5.674 | 22.0522 | 5.205 | 18.6 | 20.58 | 961.493 | 99.9318 | 8.6607
2020-07-22 17:30:00 | 4.195 | 4.213 | 4.65 | 16.98 | 4.702 | 15.9952 | 4.405 | 9.32 | 20.58 | 961.493 | 99.8977 | 9.1004
2020-07-22 17:45:00 | 4.808 | 5.215 | 5.103 | 19.28 | 5.254 | 18.1618 | 4.907 | 10.91 | 20.57 | 961.196 | 99.8635 | 9.2888
2020-07-22 18:00:00 | 5.081 | 8.89 | 5.867 | 24.43 | 5.712 | 23.0131 | 5.424 | 12.25 | 20.66 | 961.493 | 99.8635 | 9.6398
2020-07-22 18:15:00 | 5.492 | 1.656 | 5.243 | 16.41 | 5.567 | 15.4582 | 5.747 | 4.307 | 20.81 | 961.196 | 99.8635 | 17.5247
2020-07-22 18:30:00 | 6.978 | 1.843 | 6.703 | 18.18 | 6.668 | 17.1256 | 6.69 | 4.969 | 20.56 | 961.196 | 99.8635 | 26.3775
2020-07-22 18:45:00 | 7.093 | 6.748 | 7.447 | 23.12 | 6.5 | 21.779 | 6.486 | 8.78 | 20.51 | 961.345 | 99.8977 | 23.6159
2020-07-22 19:00:00 | 6.057 | 1.549 | 6.041 | 21.26 | 6.246 | 20.0269 | 6.308 | 4.743 | 20.59 | 961.641 | 99.8635 | 20.6025
2020-07-22 19:15:00 | 5.618 | 9.82 | 6.432 | 27.66 | 5.595 | 26.0557 | 5.299 | 10.91 | 20.78 | 961.493 | 99.8977 | 18.1491
2020-07-22 19:30:00 | 4.841 | 11.33 | 6.833 | 28.13 | 6.188 | 26.4985 | 5.699 | 16.31 | 20.84 | 961.641 | 99.8977 | 18.9361
2020-07-22 19:45:00 | 4.862 | 5.187 | 5.532 | 21.89 | 5.346 | 20.6204 | 5.22 | 6.292 | 20.73 | 961.938 | 99.8635 | 19.0211
2020-07-22 20:00:00 | 5.633 | 7.754 | 6.644 | 28.38 | 5.76 | 26.734 | 5.569 | 8.08 | 20.65 | 961.938 | 99.8977 | 21.4597
2020-07-22 20:15:00 | 5.038 | 13.44 | 8.13 | 29.11 | 8.12 | 27.4216 | 7.199 | 18.87 | 20.65 | 961.79 | 99.8977 | 21.4005
2020-07-22 20:30:00 | 4.885 | 12.27 | 7.516 | 28.22 | 7.421 | 26.5832 | 6.616 | 17.65 | 20.6 | 961.79 | 99.8977 | 19.3684
2020-07-22 20:45:00 | 5.36 | 16.63 | 7.966 | 29.37 | 7.719 | 27.6665 | 7.321 | 22.4 | 20.58 | 961.79 | 99.8977 | 17.7981
2020-07-22 21:00:00 | 5.143 | 11.37 | 6.509 | 24.15 | 6.416 | 22.7493 | 6.089 | 19.21 | 20.54 | 961.79 | 99.8635 | 15.5812
2020-07-22 21:15:00 | 5.086 | 12.84 | 6.849 | 24.53 | 6.91 | 23.1073 | 6.481 | 20.55 | 20.53 | 961.79 | 99.9318 | 16.2241
2020-07-22 21:30:00 | 5.789 | 9.18 | 6.928 | 25.48 | 6.391 | 24.0022 | 6.022 | 13.77 | 20.51 | 961.79 | 99.8977 | 17.6466
2020-07-22 21:45:00 | 5.408 | 11.3 | 7.097 | 26.44 | 6.668 | 24.9065 | 6.241 | 17.19 | 20.44 | 962.087 | 99.8977 | 14.6168
2020-07-22 22:00:00 | 5.056 | 8.74 | 6.67 | 23.81 | 6.388 | 22.429 | 6.16 | 14.35 | 20.5 | 962.087 | 99.8977 | 13.8372
2020-07-22 22:15:00 | 5.365 | 7.207 | 5.709 | 25.75 | 5.348 | 24.2565 | 5.243 | 9.49 | 20.51 | 962.087 | 99.8977 | 13.5601
2020-07-22 22:30:00 | 5.699 | 8.28 | 5.977 | 24.26 | 5.47 | 22.8529 | 5.32 | 12.25 | 20.43 | 961.79 | 99.8977 | 15.9802
2020-07-22 22:45:00 | 6.052 | 356.9 | 5.987 | 15.77 | 6.889 | 14.8553 | 7.077 | 359.5 | 20.3 | 962.235 | 99.8977 | 18.3929
2020-07-22 23:00:00 | 5.794 | 0.483 | 5.397 | 14.49 | 6.004 | 13.6496 | 5.959 | 2.872 | 20.24 | 962.532 | 99.8977 | 15.1193
2020-07-22 23:15:00 | 5.005 | 356.2 | 4.994 | 17.04 | 6.526 | 16.0517 | 6.667 | 354.3 | 20.23 | 962.383 | 99.8977 | 15.6144
2020-07-22 23:30:00 | 5.286 | 4.637 | 5.514 | 19.68 | 5.844 | 18.5386 | 5.877 | 5.545 | 20.17 | 962.235 | 99.8977 | 11.2914
2020-07-22 23:45:00 | 4.41 | 346.1 | 4.453 | 19.77 | 5.956 | 18.6233 | 5.638 | 342.3 | 20.03 | 962.383 | 99.8977 | 17.5949