## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-23 00:00:00 | 4.893 | 355.4 | 5.261 | 22.12 | 6.826 | 20.837 | 6.842 | 351 | 19.76 | 962.235 | 99.8977 | 24.8183
2020-07-23 00:15:00 | 6.366 | 355.7 | 6.322 | 16.76 | 7.665 | 15.7879 | 7.915 | 356.6 | 19.59 | 961.938 | 99.867 | 29.4775
2020-07-23 00:30:00 | 5.505 | 353.6 | 5.862 | 17.3 | 6.864 | 16.2966 | 7.013 | 353.9 | 19.46 | 961.79 | 99.875 | 26.2445
2020-07-23 00:45:00 | 7.019 | 350 | 6.747 | 11.38 | 8.36 | 10.72 | 8.55 | 354.3 | 19.37 | 961.792 | 99.9467 | 30.7485
2020-07-23 01:00:00 | 6.504 | 353.3 | 6.458 | 13.55 | 7.599 | 12.7641 | 7.708 | 353.7 | 19.17 | 961.976 | 99.8806 | 34.1921
2020-07-23 01:15:00 | 5.786 | 345.7 | 6.217 | 16.78 | 7.678 | 15.8068 | 7.894 | 346.2 | 18.67 | 961.896 | 99.8806 | 37.1221
2020-07-23 01:30:00 | 7.344 | 354.3 | 7.907 | 19.41 | 9.05 | 18.2842 | 9.45 | 351.6 | 17.93 | 961.72 | 99.8806 | 54.0769
2020-07-23 01:45:00 | 8.65 | 359.9 | 8.3 | 19.71 | 9.11 | 18.5668 | 9.73 | 0.619 | 16.8 | 961.489 | 99.9147 | 54.1406
2020-07-23 02:00:00 | 8.89 | 6.134 | 9.56 | 28.73 | 8.45 | 27.0637 | 8.5 | 7.423 | 16.54 | 961.49 | 99.9147 | 59.8011
2020-07-23 02:15:00 | 8.29 | 3.458 | 8.86 | 24.77 | 9.03 | 23.3333 | 9.36 | 0.991 | 16.43 | 962.083 | 99.8814 | 59.146
2020-07-23 02:30:00 | 8.48 | 8.59 | 10.04 | 28.56 | 8.95 | 26.9035 | 8.78 | 10.83 | 16.7 | 962.083 | 99.885 | 54.1517
2020-07-23 02:45:00 | 6.961 | 14.04 | 9.76 | 31.34 | 10.06 | 29.5223 | 9.35 | 18.55 | 16.67 | 961.49 | 99.964 | 52.9508
2020-07-23 03:00:00 | 6.59 | 19.9 | 11.05 | 34.21 | 11.11 | 32.2258 | 10.9 | 25.61 | 17.16 | 961.49 | 99.8985 | 64.0243
2020-07-23 03:15:00 | 5.801 | 22.51 | 12.13 | 37.87 | 13.2 | 35.6735 | 13.08 | 27.55 | 18.7 | 961.935 | 88.6353 | 57.3107
2020-07-23 03:30:00 | 6.904 | 24.06 | 12.19 | 39.31 | 12.72 | 37.03 | 12.58 | 29.27 | 19.51 | 962.38 | 81.1211 | 58.8942
2020-07-23 03:45:00 | 6.309 | 27.56 | 12.13 | 45.45 | 13.14 | 42.8139 | 13.05 | 31.92 | 19.88 | 962.677 | 79.1404 | 59.6385
2020-07-23 04:00:00 | 5.459 | 34.1 | 10.24 | 48.74 | 11.11 | 45.9131 | 11.04 | 38.36 | 20.12 | 962.675 | 84.3255 | 47.161
2020-07-23 04:15:00 | 5.717 | 19.77 | 9.73 | 34.94 | 9.82 | 32.9135 | 9.5 | 24.21 | 20.21 | 963.099 | 87.3956 | 37.5396
2020-07-23 04:30:00 | 6.519 | 1.69 | 7.071 | 14.85 | 7.574 | 13.9887 | 7.403 | 6.573 | 18.87 | 962.546 | 90.1928 | 33.8004
2020-07-23 04:45:00 | 6.562 | 9.57 | 8.14 | 21.85 | 8.99 | 20.5827 | 8.49 | 13.79 | 18.84 | 962.621 | 89.8516 | 30.8889
2020-07-23 05:00:00 | 7.195 | 7.959 | 7.772 | 16.95 | 8.29 | 15.9669 | 7.772 | 10.21 | 18.42 | 962.442 | 90.5339 | 31.081
2020-07-23 05:15:00 | 6.708 | 7.271 | 6.611 | 17.17 | 7.329 | 16.1741 | 6.496 | 12.78 | 17.69 | 962.823 | 95.8554 | 16.7709
2020-07-23 05:30:00 | 4.517 | 342 | 4.865 | 346.8 | 5.038 | 326.686 | 5.159 | 354.1 | 17.31 | 963.568 | 97.4928 | 8.6275
2020-07-23 05:45:00 | 2.447 | 346.3 | 2.84 | 4.767 | 3.982 | 4.4905 | 4.151 | 351.5 | 17.3 | 963.568 | 98.789 | 6.5288
2020-07-23 06:00:00 | 3.618 | 349.7 | 4.126 | 10.15 | 5.633 | 9.5613 | 5.747 | 352.8 | 17.34 | 963.864 | 98.9596 | 9.2962
2020-07-23 06:15:00 | 4.688 | 8.98 | 5.31 | 18.7 | 6.338 | 17.6154 | 6.185 | 8.21 | 17.59 | 963.864 | 96.8447 | 10.6855
2020-07-23 06:30:00 | 5.771 | 7.858 | 5.79 | 13.9 | 6.539 | 13.0938 | 6.402 | 6.731 | 17.63 | 964.013 | 99.1643 | 14.4949
2020-07-23 06:45:00 | 5.492 | 6.146 | 5.617 | 15.07 | 6.709 | 14.1959 | 6.947 | 3.498 | 17.7 | 964.458 | 99.369 | 18.2599
2020-07-23 07:00:00 | 6.343 | 10.78 | 7.337 | 30.84 | 6.734 | 29.0513 | 6.743 | 11.54 | 18.17 | 964.161 | 96.4012 | 30.1278
2020-07-23 07:15:00 | 7.318 | 9.51 | 7.03 | 22.58 | 7.083 | 21.2704 | 7.072 | 9.11 | 18.59 | 964.555 | 96.0942 | 29.3075
2020-07-23 07:30:00 | 6.881 | 7.304 | 6.867 | 25.74 | 6.953 | 24.2471 | 7.298 | 3.87 | 19.09 | 964.651 | 96.1965 | 26.9908
2020-07-23 07:45:00 | 6.996 | 5.782 | 7.066 | 25.52 | 7.5 | 24.0398 | 7.731 | 4.132 | 19.22 | 964.758 | 96.8692 | 24.7
2020-07-23 08:00:00 | 6.146 | 3.907 | 6.892 | 30.69 | 7.553 | 28.91 | 7.82 | 356.5 | 19.51 | 965.351 | 96.931 | 26.0154
2020-07-23 08:15:00 | 7.607 | 6.698 | 8.16 | 25.37 | 8 | 23.8985 | 8.22 | 7.067 | 19.9 | 964.906 | 96.2483 | 30.1869
2020-07-23 08:30:00 | 8.08 | 8.46 | 8.65 | 23.56 | 8.53 | 22.1935 | 8.41 | 6.968 | 20.21 | 965.055 | 94.7104 | 36.6382
2020-07-23 08:45:00 | 7.272 | 4.171 | 7.644 | 27.15 | 7.65 | 25.5753 | 7.955 | 2.105 | 20.67 | 965.09 | 93.504 | 38.3747
2020-07-23 09:00:00 | 7.548 | 4.046 | 7.721 | 25.7 | 7.965 | 24.2094 | 8.1 | 1.567 | 21.13 | 965.65 | 89.7507 | 37.7392
2020-07-23 09:15:00 | 6.281 | 6.603 | 7.462 | 29.16 | 7.228 | 27.4687 | 7.533 | 3.813 | 21.62 | 965.947 | 86.6013 | 33.9482
2020-07-23 09:30:00 | 7.116 | 8.63 | 8.55 | 31.19 | 7.808 | 29.381 | 8.06 | 7.27 | 21.93 | 966.392 | 82.8502 | 31.99
2020-07-23 09:45:00 | 7.898 | 11.28 | 9.08 | 27.88 | 7.843 | 26.263 | 7.874 | 10.04 | 22.01 | 967.133 | 81.0016 | 30.7596
2020-07-23 10:00:00 | 7.257 | 8.33 | 8.26 | 25.98 | 7.261 | 24.4732 | 7.092 | 5.936 | 22.36 | 966.837 | 81.7116 | 26.9391
2020-07-23 10:15:00 | 5.206 | 18.69 | 8.97 | 33.99 | 8.28 | 32.0186 | 7.792 | 22.44 | 22.75 | 967.133 | 77.5865 | 25.2912
2020-07-23 10:30:00 | 6.407 | 9.45 | 7.552 | 27.04 | 6.961 | 25.4717 | 7.291 | 3.346 | 22.86 | 966.977 | 80.1773 | 26.1226
2020-07-23 10:45:00 | 5.73 | 8.29 | 6.959 | 26.77 | 6.737 | 25.2173 | 6.949 | 5.383 | 22.84 | 966.985 | 75.1315 | 20.0667
2020-07-23 11:00:00 | 4.591 | 4.685 | 5.484 | 22.89 | 5.671 | 21.5624 | 5.75 | 358.3 | 23.23 | 967.413 | 77.1067 | 23.9204
2020-07-23 11:15:00 | 3.889 | 2.502 | 5.645 | 19.96 | 5.615 | 18.8023 | 5.564 | 355.7 | 23.47 | 967.689 | 78.7363 | 22.7972
2020-07-23 11:30:00 | 5.536 | 2.674 | 6.391 | 30.35 | 6.373 | 28.5897 | 6.73 | 356.6 | 23.64 | 967.365 | 76.0056 | 22.461
2020-07-23 11:45:00 | 4.472 | 21.35 | 8.28 | 38.38 | 7.294 | 36.154 | 6.809 | 20.14 | 23.93 | 967.176 | 74.6421 | 27.426
2020-07-23 12:00:00 | 5.505 | 14.44 | 7.529 | 33.67 | 6.64 | 31.7171 | 6.588 | 3.955 | 24.4 | 967.877 | 71.4383 | 30.8483
2020-07-23 12:15:00 | 5.388 | 8.31 | 6.603 | 33.27 | 6.017 | 31.3403 | 6.162 | 359.6 | 24.2 | 967.581 | 72.9039 | 26.4034
2020-07-23 12:30:00 | 6.21 | 10.02 | 6.849 | 29.39 | 6.656 | 27.6854 | 6.886 | 3.918 | 24.75 | 967.432 | 67.6551 | 28.2988
2020-07-23 12:45:00 | 5.183 | 359.9 | 6.583 | 30.29 | 6.915 | 28.5332 | 6.97 | 347.9 | 24.74 | 967.58 | 67.0075 | 29.9393
2020-07-23 13:00:00 | 6.08 | 6.829 | 7.37 | 26.3 | 7.48 | 24.7746 | 7.685 | 2.053 | 25.27 | 967.728 | 65.985 | 30.9739
2020-07-23 13:15:00 | 5.069 | 11.57 | 7.222 | 31.8 | 6.271 | 29.9556 | 6.048 | 9.92 | 25.2 | 967.728 | 64.7239 | 26.7698
2020-07-23 13:30:00 | 4.974 | 14.98 | 6.943 | 33.68 | 6.348 | 31.7266 | 6.252 | 13.1 | 25.5 | 968.025 | 62.7812 | 22.8305
2020-07-23 13:45:00 | 4.829 | 6.25 | 6.054 | 26.93 | 5.887 | 25.3681 | 5.959 | 3.536 | 25.7 | 968.321 | 63.6674 | 21.6961
2020-07-23 14:00:00 | 4.262 | 10.06 | 5.903 | 32.31 | 5.781 | 30.436 | 5.984 | 1.484 | 26.2 | 968.618 | 61.7543 | 21.1382
2020-07-23 14:15:00 | 2.549 | 21.04 | 4.047 | 21.33 | 5.89 | 20.0929 | 5.658 | 15.24 | 26.4 | 968.915 | 61.5175 | 23.0189
2020-07-23 14:30:00 | 2.566 | 3.121 | 4.004 | 29.36 | 3.563 | 27.6571 | 3.7 | 347 | 26.24 | 969.039 | 62.4003 | 13.2904
2020-07-23 14:45:00 | 3.153 | 21.86 | 3.393 | 19.52 | 5.114 | 18.3878 | 4.902 | 20.75 | 26.55 | 969.069 | 62.5896 | 19.5051
2020-07-23 15:00:00 | 5.115 | 15.07 | 6.833 | 35.4 | 6.226 | 33.3468 | 5.946 | 13.22 | 26.06 | 968.768 | 64.4634 | 21.7589
2020-07-23 15:15:00 | 5.36 | 1.196 | 6.509 | 30.96 | 7.042 | 29.1643 | 7.171 | 354.2 | 26.19 | 968.619 | 57.5809 | 28.9048
2020-07-23 15:30:00 | 5.957 | 4.926 | 7.475 | 24.97 | 8.08 | 23.5217 | 7.976 | 1.603 | 26.75 | 968.471 | 55.6729 | 32.2966
2020-07-23 15:45:00 | 5.898 | 352.2 | 5.89 | 24.23 | 7.317 | 22.8247 | 7.609 | 347.7 | 26.24 | 968.323 | 59.6252 | 31.4114
2020-07-23 16:00:00 | 5.458 | 9.6 | 8.08 | 31.18 | 6.5 | 29.3716 | 6.247 | 7.491 | 26.28 | 968.175 | 55.9796 | 29.943
2020-07-23 16:15:00 | 6.172 | 3.821 | 7.813 | 25.37 | 7.609 | 23.8985 | 7.782 | 359 | 26.63 | 968.471 | 51.4481 | 32.7659
2020-07-23 16:30:00 | 6.075 | 10.81 | 7.723 | 28.82 | 7.406 | 27.1484 | 7.252 | 7.791 | 26.35 | 968.323 | 51.8569 | 32.9285
2020-07-23 16:45:00 | 5.127 | 2.533 | 6.355 | 26.74 | 7.218 | 25.1891 | 7.349 | 356.3 | 26.36 | 968.026 | 51.3799 | 26.0597
2020-07-23 17:00:00 | 5.582 | 356.4 | 6.156 | 20.95 | 7.34 | 19.7349 | 7.584 | 351.7 | 26.3 | 968.175 | 52.9472 | 21.1298
2020-07-23 17:15:00 | 5.475 | 354.3 | 6.739 | 18.82 | 8.06 | 17.7284 | 8.36 | 357.6 | 26.09 | 967.871 | 53.7037 | 18.3375
2020-07-23 17:30:00 | 5.38 | 353.8 | 5.647 | 20.27 | 7.07 | 19.0943 | 7.342 | 355.9 | 25.88 | 967.578 | 55.8953 | 14.9974
2020-07-23 17:45:00 | 5.671 | 6.339 | 5.578 | 24.65 | 5.239 | 23.2203 | 5.269 | 6.488 | 25.86 | 967.431 | 57.3956 | 11.6166
2020-07-23 18:00:00 | 4.742 | 2.214 | 4.783 | 23.58 | 5.198 | 22.2124 | 5.312 | 2.788 | 25.84 | 968.025 | 57.4642 | 9.9317
2020-07-23 18:15:00 | 4.877 | 7.472 | 4.791 | 21.05 | 5.348 | 19.8291 | 5.447 | 5.046 | 25.8 | 968.173 | 60.3953 | 11.3543
2020-07-23 18:30:00 | 4.522 | 9.02 | 5.343 | 22.47 | 4.878 | 21.1667 | 4.512 | 10.43 | 25.61 | 968.025 | 61.7587 | 10.6448
2020-07-23 18:45:00 | 3.958 | 7.184 | 5.374 | 22.63 | 4.779 | 21.3175 | 4.456 | 10.37 | 25.29 | 968.027 | 63.0538 | 9.093
2020-07-23 19:00:00 | 4.139 | 8.07 | 5.172 | 21.45 | 4.684 | 20.2059 | 4.522 | 10.1 | 25.11 | 967.987 | 65.2368 | 9.9096
2020-07-23 19:15:00 | 3.422 | 8.6 | 5.366 | 25.45 | 4.646 | 23.9739 | 4.191 | 11.3 | 24.84 | 968.022 | 65.5186 | 10.7446
2020-07-23 19:30:00 | 3.233 | 8.27 | 5.177 | 24.23 | 4.58 | 22.8247 | 4.278 | 10.81 | 24.69 | 968.023 | 66.269 | 11.5427
2020-07-23 19:45:00 | 3.703 | 13.78 | 5.453 | 29.08 | 5.534 | 27.3934 | 4.775 | 17.75 | 24.49 | 967.578 | 66.4061 | 11.3432
2020-07-23 20:00:00 | 3.741 | 17.69 | 5.179 | 32.61 | 5.903 | 30.7186 | 5.498 | 20.24 | 24.55 | 967.875 | 65.7969 | 9.7322
2020-07-23 20:15:00 | 3.027 | 21.14 | 4.816 | 40.88 | 5.414 | 38.509 | 5.32 | 25.47 | 24.44 | 968.023 | 65.2561 | 8.4797
2020-07-23 20:30:00 | 3.274 | 18.8 | 5.478 | 37.31 | 6.096 | 35.146 | 5.895 | 23.12 | 24.34 | 967.875 | 62.4614 | 8.79
2020-07-23 20:45:00 | 2.54 | 18.99 | 4.065 | 35.67 | 5.035 | 33.6011 | 4.876 | 21.31 | 24.5 | 968.172 | 59.0522 | 5.3982
2020-07-23 21:00:00 | 2.559 | 20.94 | 3.873 | 37.97 | 4.265 | 35.7677 | 4.158 | 23.28 | 24.47 | 968.468 | 59.4954 | 4.6555
2020-07-23 21:15:00 | 2.878 | 22.56 | 3.97 | 39.07 | 4.227 | 36.8039 | 4.219 | 26.69 | 24.45 | 968.468 | 58.8476 | 4.2749
2020-07-23 21:30:00 | 3.161 | 24.65 | 4.801 | 42.21 | 5.262 | 39.7618 | 5.205 | 27.98 | 24.36 | 968.616 | 59.0853 | 4.3969
2020-07-23 21:45:00 | 2.674 | 24.72 | 4.218 | 44.71 | 4.773 | 42.1168 | 4.754 | 28.41 | 24.17 | 968.765 | 59.7341 | 4.4116
2020-07-23 22:00:00 | 2.712 | 26.38 | 4.305 | 43.42 | 4.997 | 40.9016 | 4.981 | 28.78 | 24.17 | 968.765 | 60.5523 | 5.0028
2020-07-23 22:15:00 | 2.763 | 28.24 | 4.325 | 45.43 | 5.018 | 42.7951 | 4.95 | 30.42 | 23.99 | 968.616 | 61.5752 | 4.8329
2020-07-23 22:30:00 | 2.661 | 30.82 | 4.683 | 47.73 | 5.272 | 44.9617 | 5.223 | 34.36 | 24.02 | 968.32 | 62.6662 | 5.4019
2020-07-23 22:45:00 | 2.169 | 27.86 | 4.568 | 45.69 | 5.025 | 43.04 | 4.976 | 31.51 | 23.86 | 968.616 | 64.5755 | 3.0335
2020-07-23 23:00:00 | 1.854 | 28.16 | 3.456 | 45.15 | 3.807 | 42.5313 | 3.736 | 33.39 | 23.83 | 968.616 | 65.462 | 0.1441
2020-07-23 23:15:00 | 1.781 | 28.53 | 2.876 | 41.77 | 3.27 | 39.3473 | 3.229 | 35.16 | 23.74 | 968.616 | 66.0421 | 0.45816
2020-07-23 23:30:00 | 2.796 | 21.5 | 3.893 | 36.38 | 3.901 | 34.27 | 3.853 | 26.71 | 23.65 | 968.468 | 67.0304 | 0.23647
2020-07-23 23:45:00 | 2.436 | 29.36 | 3.824 | 47.14 | 4.242 | 44.4059 | 4.207 | 32.56 | 23.44 | 968.32 | 68.3313 | 1.1158